## Sheet1
ID | Manufacturer | Category | Subcategory | A&A | POC | FBC | Comments | Stat. | FBC
Certification Method - FBC Voted Approval
520-R1 | BERMUDA ROOF CO., INC | Roofing | Roof Tile Adhesives | a | a | a | Recommend Approval | r | 2004
586-R1 | Elk Corporation | Roofing | Asphalt Shingles | a | a | a | Recommend Approval | r | 2004
599-R2 | Nu-Vue Industries Inc. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | r | 2004
615-R1 | Nu-Vue Industries Inc. | Shutters | Storm Panels | a | a | a | Recommend Approval | r | 2004
651-R1 | Tischler und Sohn(USA)Limited | Exterior Doors | Swinging | a | a | a | Recommend Approval | r | 2004
652-R1 | Tischler und Sohn(USA)Limited | Windows | Fixed | a | a | a | Recommend Approval | r | 2004
653-R1 | Tischler und Sohn(USA)Limited | Windows | Casement | a | a | a | Recommend Approval | r | 2004
654-R1 | Tischler und Sohn(USA)Limited | Exterior Doors | Other - Mullions | a | a | a | Recommend Approval | r | 2004
655-R1 | Tischler und Sohn(USA)Limited | Exterior Doors | Sliding | a | a | a | Recommend Approval | r | 2004
656-R1 | Tischler und Sohn(USA)Limited | Windows | Double Hung | a | a | a | Recommend Approval | r | 2004
657-R1 | Tischler und Sohn(USA)Limited | Windows | Single Hung | a | a | a | Recommend Approval | r | 2004
682-R1 | TAMKO Roofing Products, Inc. | Roofing | Other - Composite Shingle | a | a | a | Recommend Approval | r | 2004
699-R1 | Olympic Fasteners | Roofing | Roofing Fasteners | a | a | a | Recommend Approval | r | 2004
728-R1 | Elk Corporation | Roofing | Asphalt Shingles | a | a | a | Recommend Approval | r | 2004
1262-R1 | Alenco | Windows | Fixed | a | a | a | Recommend Approval | r | 2004
1476-R1 | Elk Corporation | Roofing | Asphalt Shingles | a | a | a | Recommend Approval | r | 2004
1481-R1 | TAMKO Roofing Products, Inc. | Roofing | Underlayments | a | a | a | Recommend Approval | r | 2004
1870-R1 | EcoStar | Roofing | Roofing Tiles | a | a | a | Recommend Approval | r | 2004
1875-R1 | Cooley Incorporated | Roofing | Single Ply Roof Systems | a | a | a | Recommend Approval | r | 2001
1956-R1 | TAMKO Roofing Products, Inc. | Roofing | Asphalt Shingles | a | a | a | Recommend Approval | r | 2004
1960-R1 | TAMKO Roofing Products, Inc. | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | r | 2004
2047-R1 | Nu-Vue Industries Inc. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | r | 2004
2143-R1 | Elk Corporation | Roofing | Asphalt Shingles | a | a | a | Recommend Approval | r | 2004
2571-R1 | O'Hagin's, Inc. | Roofing | Other - Ventilation | a | a | a | Recommend Approval | r | 2004
2576-R1 | O'Hagin's, Inc. | Roofing | Other - Ventilation | a | a | a | Recommend Approval | r | 2004
3101-R1 | Windsor Republic Door, Inc. | Exterior Doors | Swinging | a | a | a | Recommend Approval | r | 2004
3453-R1 | Elk Corporation | Roofing | Underlayments | a | a | a | Recommend Approval | r | 2004
3492-R2 | IKO Production Inc | Roofing | Asphalt Shingles | a | a | a | Recommend Approval | r | 2004
4052-R1 | Cherokee Metals Company | Roofing | Other - Canopy Deck Panels | a | a | a | Recommend Approval | r | 2004
4103-R1 | TAMKO Roofing Products, Inc. | Roofing | Other - Ventilation | a | a | a | Recommend Approval | r | 2004
4166-R1 | Nu-Vue Industries Inc. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | r | 2004
4201 | PHILIPS PRODUCTS INC. | Windows | Fixed | a | a | a | Recommend Approval | n | 2001
4328-R1 | Pella Corporation | Windows | Single Hung | a | a | a | Recommend Approval | r | 2001
4387-R1 | Cherokee Metals Company | Roofing | Other - Canopy Deck Panels | a | a | a | Recommend Approval | r | 2004
4402 | The Kewanee Corporation | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2001
4410-R1 | Re-New Wood, Inc | Roofing | Roofing Tiles | a | a | a | Recommend Approval | r | 2004
4417 | Green River Log Sales (1996) Ltd | Roofing | Wood Shingles and Shakes | a | a | a | Recommend Approval | n | 2001
4449 | Naturalite Skylights | Sky Lights | Skylight | a | a | a | Recommend Approval | n | 2001
4450 | Combo Window Shutters, Inc. | Shutters | Accordion | a | a | a | Recommend Approval | n | 2004
4452 | Custom Window Systems, Inc. | Windows | Casement | a | a | a | Recommend Approval | n | 2001
4453 | Westshore Glass Corp. | Panel Walls | Storefronts | a | a | a | Recommend Approval | n | 2001
4455 | ARMOR MANUFACTURING, INC. | Shutters | Accordion | a | a | a | Recommend Approval | n | 2004
4456 | Windsor Windows and Doors | Windows | Double Hung | a | a | a | Recommend Approval | n | 2004
4457 | Windsor Windows and Doors | Windows | Casement | a | a | a | Recommend Approval | n | 2004
4458 | Windsor Windows and Doors | Windows | Awning | a | a | a | Recommend Approval | n | 2004
4460 | Croft,LLC | Windows | Single Hung | a | a | a | Recommend Approval | n | 2004
4461 | Croft,LLC | Exterior Doors | Sliding | a | a | a | Recommend Approval | n | 2004
4477 | Roller Star USA | Shutters | Accordion | a | a | a | Recommend Approval | n | 2001
4489 | Polaris Technologies | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4492 | Modern Window and Door Inc. | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2004
4493 | Modern Window and Door Inc. | Exterior Doors | Sliding | a | a | a | Recommend Approval | n | 2004
4500 | Trufast Corporation | Roofing | Roofing Fasteners | a | a | a | Recommend Approval | n | 2004
4507 | A.E. Mason Ltd. Corp. | Shutters | Accordion | a | a | a | Recommend Approval | n | 2004
4520 | Miami Wall Systems, Inc | Windows | Horizontal Slider | a | a | a | Recommend Approval | n | 2001
4549 | Pella Corporation | Windows | Double Hung | a | a | a | Recommend Approval | n | 2004
4550 | Pella Corporation | Windows | Single Hung | a | a | a | Recommend Approval | n | 2004
4551 | Pella Corporation | Exterior Doors | Sliding | a | a | a | Recommend Approval | n | 2004
4552 | Pella Corporation | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4553 | Ceco Door Products | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2004
4559 | Four Seasons Solar Products LLC | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2001
4562 | Four Seasons Solar Products LLC | Windows | Awning | a | a | a | Recommend Approval | n | 2001
4568 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Double Hung | a | a | a | Recommend Approval | n | 2004
4571 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | n | 2004
4572 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | n | 2004
4573 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4580 | American Building Components, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | n | 2004
4581 | American Building Components, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | n | 2004
4582 | American Building Components, Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4585 | UNION CORRUGATING COMPANY | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n | 2004
4586 | UNION CORRUGATING COMPANY | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4597 | Graham Architectural Products | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4600 | Henry Company | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | n | 2004
4602 | Exeter Architectural Products | Shutters | Storm Panels | a | a | a | Recommend Approval | n | 2004
4625 | Vaproshield, LLC - Division of A Proctor Group, Ltd. | Roofing | Underlayments | a | a | a | Recommend Approval | n | 2004
4652 | Sowers Manufacturing, Inc. | Shutters | Storm Panels | a | a | a | Recommend Approval | n | 2004
4659 | PGT Industries | Exterior Doors | Sliding | a | a | a | Recommend Approval | n | 2001
4669 | Window Craftsmen Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4671 | M W Manufacturers Inc. | Windows | Single Hung | a | a | a | Recommend Approval | n | 2001
4673 | KML Windows, Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4674 | M W Manufacturers Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2001
4680 | KML Windows, Inc. | Windows | Casement | a | a | a | Recommend Approval | n | 2004
4681 | Loewen Windows | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4682 | Loewen Windows | Windows | Awning | a | a | a | Recommend Approval | n | 2004
4683 | Loewen Windows | Windows | Casement | a | a | a | Recommend Approval | n | 2004
4684 | Loewen Windows | Windows | Double Hung | a | a | a | Recommend Approval | n | 2004
4685 | Loewen Windows | Windows | Single Hung | a | a | a | Recommend Approval | n | 2004
4686 | Loewen Windows | Exterior Doors | Sliding | a | a | a | Recommend Approval | n | 2004
4687 | Loewen Windows | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2004
4688 | Parrett Manufacturing, Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4689 | Velux-America, Inc. | Sky Lights | Skylight | a | a | a | Recommend Approval | n | 2004
4691 | Pella Corporation | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4693 | Pella Corporation | Exterior Doors | Sliding | a | a | a | Recommend Approval | n | 2004
4694 | Pella Corporation | Windows | Casement | a | a | a | Recommend Approval | n | 2004
4695 | Pella Corporation | Windows | Awning | a | a | a | Recommend Approval | n | 2004
4696 | Pella Corporation | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2004
4697 | Pella Corporation | Windows | Double Hung | a | a | a | Recommend Approval | n | 2004
4705 | Florida Extruders International, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | n | 2001
4708 | Florida Extruders International, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | n | 2001
4731 | Four Seasons Solar Products LLC | Windows | Casement | a | a | a | Recommend Approval - This application applied under FL4562 and had to be split. | n | 2004
Certification Method - FBC Voted Conditional Approval
1096-R1 | Croft,LLC | Windows | Single Hung | c | c | c | Recommend Conditional Approval - Remove products not listed. | r | 2004
1214-R1 | Alenco | Windows | Single Hung | c | c | c | Recommend Conditional Approval - Remove products not listed. | r | 2004
1251-R1 | BITEC, INC. | Roofing | Modified Bitumen Roof System | c | c | c | Recommend Conditional Approval - Remove products not listed. | r | 2004
2690-R1 | AEP Span | Roofing | Deck-Roof | c | c | c | Recommend Conditional Approval - Remove products not listed. | r | 2004
3273-R1 | Alenco | Windows | Horizontal Slider | c | c | c | Recommend Conditional Approval - Remove products not listed. | r | 2004
3519-R1 | Alenco | Windows | Single Hung | c | c | c | Recommend Conditional Approval - Remove products not listed. | r | 2004
3520-R1 | Alenco | Windows | Fixed | c | c | c | Recommend Conditional Approval - Remove products not listed. | r | 2004
4429 | Marvin Windows and Doors | Windows | Casement | c | c | c | Recommend Conditional Approval - Remove products not listed. | n | 2004
4511 | Noble Products, LLC. | Exterior Doors | Swinging | c | c | c | Recommend Conditional Approval - Remove products not listed. | n | 2004
4651 | Miami Wall Systems, Inc | Windows | Single Hung | c | c | c | Recommend Conditional Approval - Remove products not listed. | n | 2001
4663 | H-R Windows | Windows | Fixed | c | c | c | Recommend Conditional Approval - Remove products not listed. | n | 2001
4664 | H-R Windows | Windows | Single Hung | c | c | c | Recommend Conditional Approval - Remove products not listed. | n | 2001
2418-R1 | Maxim Industries, Inc. | Sky Lights | Skylight | c | c | c | Recommend Conditional Approval - Remove sections of code. Remove extra lines. | r | 2004
4471 | Miami Wall Systems, Inc | Exterior Doors | Sliding | c | c | c | Recommend Conditional Approval - Identify NOAs. On limits of use indicate max. size tested and performance grade. | n | 2001
4482 | Modern Window and Door Inc. | Windows | Single Hung | c | c | c | Recommend Conditional Approval - Remove products not impact. Include glass configuration. | n | 2004
4535 | Tejas Borja S.A. | Roofing | Roofing Tiles | c | c | c | Recommend Conditional Approval - Remove sections of code notation. Remove extra line on limits of use and include the NOA # on limits of use. | n | 2004
4548 | Miami Wall Systems, Inc | Windows | Fixed | c | c | c | Recommend Conditional Approval - Correct NOA # on 4548.3 | n | 2001
4589 | Absolute Storm Protection | Exterior Doors | Swinging | c | c | c | Recommend Conditional Approval - Separate subcategories. Indicate glass configuration. Certification agency does not indicate testing standards. | n | 2004
4626 | Santa Maria Tiles Corp | Roofing | Roofing Tiles | c | c | c | Recommend Conditional Approval - Remove NOA # from section and include testing standards. On limits of use include NOA #. | n | 2004
4634 | Croft,LLC | Windows | Fixed | c | c | c | Recommend Conditional Approval - Compliance with ASTM E1300-02 | n | 2004
4668 | Masonite International | Exterior Doors | Swinging | c | c | c | Recommend Conditional Approval - Indicate DLO of glass. Provide Bill of Materials of hardware. Mullion to be tested in accordance with Sect. 2315.1.11 or indicate "Not for use in HVHZ". Indicate edge distance and penetration of anchors. | n | 2001
4679 | Premium Coatings,LLC | Roofing | Liquid Applied Roof Systems | c | c | c | Recommend Conditional Approval - Provide compliance with HVHZ requirements or on the limits of use include : "Not to be used in HVHZ" and remove the reference to Section 1523.6.2 | n | 2004
Certification Method - FBC Voted Denial
4490 | Atlas Roofing Corp | Roofing | Underlayments | y | y | y | Recommend Denial - This product is for fire protection. Outside the rule. | n | 2004
4518 | Miami Wall Systems, Inc | Windows | Horizontal Slider | y | y | y | Recommend Denial - Duplicate of FL4520 | n | 2001
Evaluation by Engineer/ Architect - FBC Voted Approval
705-R1 | American Buildings Company | Panel Walls | Siding | a | a | a | Recommend Approval | r | 2004
1365-R1 | Polyfoam Products, Inc | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | r | 2004
1416-R2 | Windsor Door Company | Exterior Doors | Sectional | a | a | a | Recommend Approval | r | 2004
1423-R1 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | r | 2001
1901-R1 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | r | 2001
2355-R1 | Simpson Strong-Tie Co. | Structural Components | Other - Fasteners | a | a | a | Recommend Approval | r | 2001
2632 | Gulf Coast Supply and Mfg., Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | r | 2004
3026-R1 | Clopay Building Products Company | Exterior Doors | Sectional | a | a | a | Recommend Approval | r | 2004
3060-R1 | Clopay Building Products Company | Exterior Doors | Sectional | a | a | a | Recommend Approval | r | 2004
3403-R1 | Shutter Solutions, Inc. | Shutters | Storm Panels | a | a | a | Recommend Approval | r | 2004
3746-R1 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | r | 2001
3750-R1 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | r | 2001
4054-R1 | Gulf States Manufacturers | Structural Components | Deck-Roof | a | a | a | Recommend Approval | r | 2004
4055-R1 | Gulf States Manufacturers | Panel Walls | Siding | a | a | a | Recommend Approval | r | 2004
4191 | MBCI, L.P. | Panel Walls | Siding | a | a | a | Recommend Approval - Deferred from May 2005 meting. Changed validator and engineer signed and sealed tables. | d | 2001
4224 | MBCI, L.P. | Panel Walls | Soffits | a | a | a | Recommend Approval - Deferred from May 2005 meting. Changed validator and engineer signed and sealed tables. | d | 2001
4227 | MBCI, L.P. | Panel Walls | Siding | a | a | a | Recommend Approval - Deferred from May 2005 meting. Changed validator and engineer signed and sealed tables. | d | 2001
4236 | Dimensional Metals Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4245 | Advance Hurricane Technology Inc. | Shutters | Roll-up | a | a | a | Recommend Approval | n | 2001
4249 | US Building Systems Corp | Panel Walls | Other - Steel Arch Building | a | a | a | Recommend Approval - The skin of the product acts as the supporting structure. | n | 2001
4327 | Lott's Concrete Products | Structural Components | Other - Lintels | a | a | a | Recommend Approval - Deferred from May 2005. Complied with conditions. | d | 2001
4408 | Trinity Glass International | Exterior Doors | Other - Glass Panels | a | a | a | Recommend Approval - Deferred from May 2005 meeting. Changed compliance method from certification agency to evaluation by Professional Engineer. | d | 2001
4409 | ATAS International, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval - Deferred from May 2005. Complied with conditions. | d | 2001
4425 | Metal Systems, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2001
4462 | Contractors Supply, Inc | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4464 | Schuco, USA L.P. | Exterior Doors | Other - Dual Action | a | a | a | Recommend Approval | n | 2004
4487 | Hurricant, LLC | Shutters | Storm Panels | a | a | a | Recommend Approval | n | 2004
4503 | Schuco, USA L.P. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4517 | Schuco, USA L.P. | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2001
4519 | Coastal Metal Roofing, Inc | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4525 | Metal Building Supplies, LLC | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4537 | Dixieland Metals, Inc. | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n | 2004
4538 | E.F. Bavis and Associates, Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4541 | Discount Direct Metal Roofing | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4546 | Roller Star USA | Shutters | Accordion | a | a | a | Recommend Approval | n | 2004
4554 | ODL, Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4569 | Cement Precast Products, Inc | Structural Components | Other - Lintels | a | a | a | Recommend Approval | n | 2004
4574 | RPS Rollformers | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n | 2004
4575 | Metal Building Supplies, LLC | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n | 2004
4587 | Clopay Building Products Company | Exterior Doors | Sectional | a | a | a | Recommend Approval | n | 2004
4590 | Schuco, USA L.P. | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2001
4592 | Flamm Roofing | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4593 | Tri-County Metals | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n | 2004
4594 | Silverline Building Products Corp. | Windows | Double Hung | a | a | a | Recommend Approval | n | 2001
4595 | Tri-County Metals | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4599 | Garrison Design &amp; Construction | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n | 2004
4601 | Wayne-Dalton Corp. | Exterior Doors | Sectional | a | a | a | Recommend Approval | n | 2004
4604 | Garrison Design &amp; Construction | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4610 | Flash Custom Metal Roofing Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4611 | Charlotte Sheet Metal | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4612 | General American Door | Exterior Doors | Sectional | a | a | a | Recommend Approval | n | 2004
4614 | Soprema, Inc. | Roofing | Modified Bitumen Roof System | a | a | a | Recommend Approval | n | 2004
4615 | Lakeside Salvage | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4616 | Comfort Line Inc. | Exterior Doors | Sliding | a | a | a | Recommend Approval | n | 2001
4617 | Owens Corning | Panel Walls | Siding | a | a | a | Recommend Approval | n | 2004
4618 | Gulf Coast Supply and Mfg., Inc. | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n | 2004
4619 | Berridge Manufacturing Co. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4628 | VEKA Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4641 | Golden Giant, Inc | Exterior Doors | Sliding | a | a | a | Recommend Approval | n | 2004
4643 | Marlyn Metals, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4656 | BENCHMARK ARCHITECTURAL SYSTEMS, INC. | Panel Walls | Siding | a | a | a | Recommend Approval | n | 2004
4660 | VEKA Inc. | Windows | Casement | a | a | a | Recommend Approval | n | 2004
4662 | BMP Metal Products | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n | 2004
4665 | VEKA Inc. | Windows | Fixed | a | a | a | Recommend Approval | n | 2004
4666 | YKK AP America | Panel Walls | Storefronts | a | a | a | Recommend Approval | n | 2004
4667 | Trinity Glass International | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2004
4670 | VEKA Inc. | Windows | Casement | a | a | a | Recommend Approval | n | 2004
4672 | IB Roof Systems | Roofing | Single Ply Roof Systems | a | a | a | Recommend Approval | n | 2004
4676 | Barrier Metals | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4677 | Contractors Supply, Inc | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2001
4692 | M W Manufacturers Inc. | Exterior Doors | Sliding | a | a | a | Recommend Approval | n | 2001
4702 | BMP Metal Products | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4711 | Schuco, USA L.P. | Exterior Doors | Other - Tilt and Slide | a | a | a | Recommend Approval | n | 2004
4713 | Schuco, USA L.P. | Exterior Doors | Other - Tilt and Slide | a | a | a | Recommend Approval | n | 2004
Evaluation by Engineer / Architect - FBC Voted Conditional Approval
2249-R1 | Town and Country Industries, Inc. | Shutters | Accordion | c | c | c | Recommend Conditional Approval - Hardcopy of evaluation report missing. | r | 2004
2250-R1 | Town and Country Industries, Inc. | Shutters | Storm Panels | c | c | c | Recommend Conditional Approval - Hardcopy of evaluation report missing. | r | 2004
2251-R1 | Town and Country Industries, Inc. | Shutters | Roll-up | c | c | c | Recommend Conditional Approval - Hardcopy of evaluation report missing. | r | 2004
2754-R1 | Madden Mfg. | Shutters | Storm Panels | c | c | c | Recommend Conditional Approval - Hardcopy of evaluation report missing. | r | 2004
2927-R1 | Vinyl Technologies Inc. | New/Innovative Envelope Products | Other - Vinyl Window Buck | c | c | c | Recommend Conditional Approval - Correct testing standards. Show compliance with Ch. 26 plastic requirements from FBC and demonstrate compliance with HVHZ, or on limits of use indicate "not for use in HVHZ" | r | 2004
4483 | Petersen Aluminum Corporation | Panel Walls | Soffits | c | c | c | Recommend Conditional Approval - Provide signed and sealed hardcopy of the revised evaluation report. | n | 2004
4629 | PUYAT Steel Corporation | Roofing | Non-structural Metal Roofing | c | c | c | Recommend Conditional Approval - Correct standards. Hardcopy of signed and sealed plans missing. | n | 2004
4642 | Diversified Window Solutions, Inc. | Shutters | Storm Panels | c | c | c | Recommend Conditional Approval - Missing Certificate of Independence. Validator is performing outside of accreditation. Limits of use should indicate max. size tested and missile level. Hardcopy of signed and sealed plans missing. | n | 2004
4645 | C.H.I. Overhead Doors | Exterior Doors | Sectional | c | c | c | Recommend Conditional Approval - For Plastics panels indicate testing in accordance with Ch. 26. Door with plastic panels will need shutter protection in Wind debris zone. Indicate not to be used in HVHZ. | n | 2004
4646 | Shutter Solutions, Inc. | Shutters | Storm Panels | c | c | c | Recommend Conditional Approval - Missing Certificate of Independence. Validator is performing outside of accreditation. Limits of use should indicate max. size tested and missile level. Hardcopy of signed and sealed plans missing. | n | 2004
4648 | Pella Corporation | Windows | Mullions | c | c | c | Recommend Conditional Approval - Validator is performing outside of accreditation. Limits of use should indicate "Not to be used in HVHZ" | n | 2004
4690 | Westshore Glass Corp. | Panel Walls | Storefronts | c | c | c | Recommend Conditional Approval - Tests reports do not indicate the sealants used. Provide detail of sealants. | n | 2001
4700 | Corle Building Systems | Roofing | Other - Exposed Fastener | c | c | c | Recommend Conditional Approval - List standards with the corresponding year. On the limits of use indicate: Not for use in HVHZ unless tested to HVHZ requirements (in compliance with TAS 110 and RAS 133). Indicate max. uplift. | n | 2004
4707 | Corle Building Systems | Panel Walls | Siding | c | c | c | Recommend Conditional Approval - Correct years of standards. Indicate whether galvanized or not and compliance with HVHZ weather protection requirements. If not in accordance with HVHZ indicate on limits of use "Not for use in HV HZ". Indicate max load pressure. | n | 2004
4709 | Florida Precast Specialty Products, LLC | Panel Walls | Siding | c | c | c | Recommend Conditional Approval - Indicate sizes of veneer - Indicate load testing of adhesive. | n | 2004
Evaluation by Engineer / Architect - FBC Voted Deferral
704-R1 | American Buildings Company | Roofing | Other | d | d | d | Recommend Deferral - This application has products of different categories: roofing and structural components. | r | 2004
4212 | Elixir Industries | Structural Components | Deck-Roof | d | d | d | Recommend Deferral - Testing is required. Details of anchors. Correct sections and standards. Recommended to seek a DEC statement. | n | 2004
4647 | Aluma Shield Industries | Panel Walls | Other - Insulated Wall Panel | d | d | d | Recommend Deferral - Validator is performing outside of accreditation. Testing standard ASTM E72 not adopted in 2004 FBC. Indicate section properties. | n | 2004
4658 | Aluma Shield Industries | Roofing | Other - Insulated Roof Panel | d | d | d | Recommend Deferral - Validator is performing outside of accreditation. Testing standard ASTM E72 not adopted in 2004 FBC. Indicate section properties. Hardcopy of signed and sealed plans missing. | n | 2004
Evaluation by Engineer / Architect - FBC Voted Denial
202-R1 | NuAir Windows and Doors | Windows | Awning | y | y | y | Recommend Denial - Deferred from May 2005. Anchor spacing not indicated. | d | 2001
209-R1 | NuAir Windows and Doors | Windows | Horizontal Slider | y | y | y | Recommend Denial - Defered from May 2005. This is a revision application Sizes of windows larger than tested sizes. Anchors are overstressed. | d | 2001
211-R1 | NuAir Windows and Doors | Windows | Single Hung | y | y | y | Recommend Denial - Defered from May 2005. Anchors are overstressed. | d | 2001
212-R1 | NuAir Windows and Doors | Exterior Doors | Sliding | y | y | y | Recommend Denial - Defered from May 2005. Anchors are overstressed. Added a new product with a different subcategory. | d | 2001
2705-R1 | NuAir Windows and Doors | Windows | Fixed | y | y | y | Recommend Denial - Defered from Jan, March and May 2005. On a revision changed subcategory. | d | 2001
2708 | NuAir Windows and Doors | Windows | Fixed | y | y | y | Recommend Denial - Defered from Jan, March and May 2005. Anchors are overstressed | d | 2001
2709-R1 | NuAir Windows and Doors | Windows | Horizontal Slider | y | y | y | Recommend Denial - Defered from Jan, March and May 2005. Anchors are overstressed | d | 2001
2710-R1 | NuAir Windows and Doors | Windows | Single Hung | y | y | y | Recommend Denial - Defered from Jan, March and May 2005. Anchors are overstressed | d | 2001
2712-R1 | NuAir Windows and Doors | Exterior Doors | Sliding | y | y | y | Recommend Denial - Defered from Jan, March and May 2005. Anchors are overstressed | d | 2001
4099 | Starline Industries | Windows | Fixed | y | y | y | Recommend Denial - Deferred from May 2005. Did not comply with conditions: The test report is for testing standards different from those on application. The anchors are overstressed. The limits of use should indicate : "Not for use in HVHZ" | d | 2001
4185 | Mitten Inc. | Panel Walls | Siding | y | y | y | Recommend Denial - Deferred from May 2005. Did not comply with conditions of: identify testing, include certificate of independence and indicate on limits of use "Not to be used in HVHZ". | d | 2001
4300 | Westshore Glass Corp. | Exterior Doors | Swinging | y | y | y | Recommend Denial - Deferred from May 2005. Did not comply with conditions of: indicate attachment to structure and indicate on limits of use "Not to be used in HVHZ". | d | 2001
Evaluation by Test Report - FBC Voted Approval
3716 | Simpson Door Company | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2004
3778-R1 | Merchant &amp; Evans, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | r | 2004
4305 | Marty Robbins Roofing | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4434 | Metal Roofing, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2001
4442 | Suncoast Building Components | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2001
4443 | Mobile Roofing Systems | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4484 | Superior Metal Products Company, INC. | Panel Walls | Other - Sunroom Wall Panels | a | a | a | Recommend Approval | n | 2004
4504 | Barrier Metals | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4514 | Special-Lite, Inc. | Exterior Doors | Swinging | a | a | a | Recommend Approval | n | 2004
4566 | Royal Dynamics Co. | Roofing | Roofing Tiles | a | a | a | Recommend Approval | n | 2004
4675 | Cheesboro Roofing | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
Evaluation by Test Report - FBC Voted Conditional Approval
1498-R1 | Moulding Associates Incorporated | Exterior Doors | Swinging | c | c | c | Recommend Conditional Approval - Remove models not included on tests reports. | r | 2004
2469 | ELIXIR INDUSTRIES ALABAMA DIVISION VINYL SIDING | Panel Walls | Siding | c | c | c | Recommend Conditional Approval - Obtain equivalency of standard. | n | 2001
3383 | Berridge Manufacturing Co. | Roofing | Non-structural Metal Roofing | c | c | c | Recommend Conditional Approval - Not to be used in HVHZ unless tested to HVHZ requirements. | n | 2004
3388 | Berridge Manufacturing Co. | Roofing | Non-structural Metal Roofing | c | c | c | Recommend Conditional Approval - Not to be used in HVHZ unless tested to HVHZ requirements. | n | 2004
4343 | Diamond Door Products | Exterior Doors | Swinging | c | c | c | Recommend Conditional Approval - On limits of use include maximum size tested. Either demonstrate compliance with appropriate HVHZ standards, or indicate "Not for use in HVHZ" | n | 2004
4430 | Liquid Plastics Inc. | Roofing | Liquid Applied Roof Systems | c | c | c | Recommend Conditional Approval - Testing report is summary and does not provide the results on the limits of use. The engineering justification is an evaluation by the manufacturer. | n | 2001
4502 | Crest Metal Doors, Inc. | Exterior Doors | Swinging | c | c | c | Recommend Conditional Approval - Remove not applicable section of the code. On the limits of use include max. size tested. | n | 2004
4510 | Shwinco Industries Inc. | Windows | Mullions | c | c | c | Recommend Conditional Approved - There are no tests of mullions. This application should be an evaluation by engineer with proper rational analysis. | n | 2004
4516 | Vistawall Group | Windows | Projected | c | c | c | Recommend Conditional Approval - On limits of use include glass configuration. | n | 2004
4621 | Kux Architectural | Panel Walls | Siding | c | c | c | Recommend Conditional Approval - Remove NOA # on limits of use. This NOA is from a different manufacturer. | n | 2004
4631 | Moulding Associates Incorporated | Exterior Doors | Swinging | c | c | c | Recommend Conditional Approval - Indicate models not tested for water penetration. Provide details of qualifying doors. | n | 2004
4633 | Moulding Associates Incorporated | Windows | Fixed | c | c | c | Recommend Conditional Approval - Indicate on limits of use max. size tested and refer to test report for glass configuration. Test Report only indicates one test specimen, three required (per TAS 202). On limits of use add "Not for use in HVHZ" | n | 2004
4640 | Hibco Plastics, Inc. | Roofing | Other - Ridge Vent | c | c | c | Recommend Conditional Approval - Indicate on limits of use "Not to be used in HVHZ" unless tested to plastics requirements for HVHZ. | n | 2004
4644 | Shield Technology Group, Inc. | Shutters | Roll-up | c | c | c | Recommend Conditional Approval - Sizes on limits of use are larger than tested. On the limits of use include design tested pressures. Provide equivalency of standards on ASTM E 1886. | n | 2004
Evaluation by Test Report - FBC Voted Denial
2556-R1 | Metal Building Supplies, LLC | Roofing | Non-structural Metal Roofing | y | y | y | Recommend Denial. This revision is for a product different from original application. | r | 2001
Evaluation by Evaluation Entity - FBC Voted Approval
820-R1 | United Steel Products Company | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | r | 2004
859-R1 | United Steel Products Company | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | r | 2004
1077-R1 | Nailite International Inc | Panel Walls | Siding | a | a | a | Recommend Approval | r | 2004
3664-R1 | TAMKO Roofing Products, Inc. | Roofing | Underlayments | a | a | a | Recommend Approval | r | 2004
3901-R1 | TAMKO Roofing Products, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n | 2004
4426 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | n | 2001
4432 | Simpson Strong-Tie Co. | Panel Walls | Other - Shear Wall | a | a | a | Recommend Approval | n | 2001
4448 | AERCON Florida, LLC | New/Innovative Envelope Products | Other - wall and roof system | a | a | a | Recommend Approval | n | 2004
Evaluation by Evaluation Entity - FBC Voted Conditional Approval
1453-R1 | Cleveland Steel Specialty Co. | Structural Components | Wood Connectors Anchors | c | c | c | Recommend Conditional Approval - Products HJU, NVHJU, SH and NVSH tables indicate that wind allowable stress increases were obtained. Indicate reduced values according to 2004 FBC. | r | 2004
2661-R1 | Alcan Composites USA Inc. | Panel Walls | Siding | c | c | c | Recommend Conditional Approval - Not tested to HVHZ requirements. On limits of use indicate "Not to be used in HVHZ". Evaluation report refers to manufacturer literature for installation. This has to be attached. Provide analysis or tests of installation. | r | 2004
3468 | Advanced Connector Systems | Structural Components | Wood Connectors Anchors | a | c | c | Recommend Conditional Approval - Correct tables that include a 33% wind increase. | n | 2001
4312 | National Shelter Products, Inc. | New/Innovative Envelope Products | Other - Wall Sheathing | c | c | c | Recommend Conditional Approval - Delete obsolete evaluation. Correct standards. Modify models. Delete non-structural model. Add limits of use on loads and professional engineer. | n | 2001
4478 | Trus Joist, A Weyerhaeuser Business | Structural Components | Wall | c | c | c | Recommend Conditional Approval - Missing certificate of independence. Panels to be tested in accordance with Sect. 2315.1.11 or indicate "Not for use in HVHZ". Correct testing standards on application. | n | 2004
4501 | Alcan Composites USA Inc. | Panel Walls | Siding | c | c | c | Recommend Conditional Approval - Indicate 4501.1 as Non HVHZ. Demonstrate equivalency of standards. | n | 2004
4521 | Hardy Frame, Inc. | Panel Walls | Other - Shear Wall | c | c | c | Recommend Conditional Approval - Certificate of independence is missing. Correct testing standards and code references. The limits of use shall indicate that all loads with steel components need to be divided by 1.33 in accordance with 2004 FBC. | n | 2004
4039 | W. H. Porter, Inc. | Structural Components | Other - building panels | c | c | c | Recommend Conditional Approval - Missing certificate of independence. Panels to be tested in accordance with Sect. 2315.1.11 and Ch. 26 plastics requirements or indicate "Not for use in HVHZ". This application is for walls and roofs panels. Roof panels shall be outside the scope of this application and tested in accordance with Ch. 15. Correct testing standards on application. | n | 2004
Evaluation by Evaluation Entity - FBC Voted Denial
3124-R1 | RGM Products, Inc. | Roofing | Asphalt Shingles | y | y | y | Recommend Denial - Deferred from May 2005. Did not comply with conditions. Did not revise application. | d | 2004
4253 | GAF Materials Corporation | Roofing | Asphalt Shingles | y | y | y | Recommend Denial - Deferred from May 2005. Did not comply with conditions. Did not revise application. | d | 2001