ADMINISTRATIVE TAC

FBC TRACKING CHART: PROPOSED MODIFICATIONS

## 2006 Annual Interim Code Amendments to the 2004 Florida Building Code

This chart is organized according to mod/proponent, section number, and a summary of the proposed change for modifications related to the Technical Advisory Committee’s (TAC) area of responsibility.  Common designations are:

Admin: Integration of the administration and enforcement portions of all codes and private swimming pool barriers.

Elec: Related to Electrical codes and standards

Energy: Related to the energy codes and standards

Fire: Related to the Fire and life/safety issues as contained within the building code and standards.

Mech: Related to the Mechanical codes and standards.

PlumbGas: Related to the Plumbing, Gas and swimming pool codes and standards (except commercial pools and pool barriers).

SpecOcc: Codes and related standards associated with facilities for special occupancies that are regulated by state agencies.

Struc: Related to the Building code for structural, technical, and material requirements and wind standards.

The proposals are listed sequentially by code section number for the base code designated.  The proposed mod numbers are assigned by the BCIS web site as they are received.  They are assigned to the TAC which administers that specific subject area.  Notations concerning where a proposal has been assigned for action are made in the Comments column. For example, if the first proposed modification to the base code FBC-Mechanical code is for section 603.1.2 (related to duct construction), it would be assigned to the Energy TAC because the issue is with the energy chapter in the building base code.  This chart can be used for quick reference and for tracking the status of proposals.

Status Codes:

AS = Approved as submitted

AM = Approved as modified

NA = Not approved

W = Withdrawn

I = Insufficient (Incomplete or does not meet criteria)

| Mod # | Section/Chapter | Summary | TAC Action | Commission Action | Comment |
| --- | --- | --- | --- | --- | --- |
| BUILDING |  |  |  |  |  |
| 1561_Original Betty Stevens | 101.4.9 | Adds a new section for manufactured buildings that refers to section 428 and Rule 9B-1(FAC) for additional requirements |  |  |  |
| 1912_Original Joe Belcher | 105.1 | Adds requirements for installation of hurricane protection |  |  |  |
| 1185_Original Oriol Haage | 105.2 | Adds electrical items to list pertaining to work that is exempt from permit |  |  |  |
| 1483_Original Hamid Bahadori | 106.1.1.1 | Editorial change to be consistent with Chpt 471 (Florida Statute) |  |  |  |
| 1241_Original Betty Stevens | 106.3 | Editorial change to correct reference to Florida Statute |  |  |  |
| 1184_Original Oriol Haage | 109.3 | Adds requirement for slab inspection |  |  |  |
| 1911_Original Joe Belcher | 109.3 | Adds requirement for the inspection of hurricane protection devices |  |  |  |
| ## RESIDENTIAL |  |  |  |  |  |
| 1579_Original Betty Stevens | R101.2 | Deletes text pertaining to practices not covered by this code |  |  |  |
| ## EXISTING BUILDING |  |  |  |  |  |
| 1646_Original James Gregory | 101.4 | Reintroduces language from the 2003 FBC for Existing Buildings to comply with codes |  |  |  |
| 1558_Original 1559_Original (duplicate of 1558) Robert Boyer | 310.1-310.4.7 | Adds new section and sub-section pertaining to demolition standards |  |  |  |
| 1218_Original James Schock | 407.1.1 | Deletes text and replaces section as “Reserved” |  |  |  |
| 1560_Original Robert Boyer | 407.3.2 | Adds language pertaining to repairs in excess of 50 percent of the building’s value |  |  |  |
| 1219_Original James Schock | 507.2 | Deletes section in entirety |  |  |  |