Electrical TAC

FBC TRACKING CHART: PROPOSED MODIFICATIONS

FOR INCLUSION IN THE 2006 Replacement Pages of the 2004 FLORIDA BUILDING CODE

This chart is organized according to mod/proponent, section number, and a summary of the proposed change for modifications related to the Technical Advisory Committee’s (TAC) area of responsibility.  Common designations are:

Admin: Integration of the administration and enforcement portions of all codes and private swimming pool barriers.

Elec: Related to Electrical codes and standards

Energy: Related to the energy codes and standards

Fire: Related to the Fire and life/safety issues as contained within the building code and standards.

Mech: Related to the Mechanical codes and standards.

PlumbGas: Related to the Plumbing, Gas and swimming pool codes and standards (except commercial pools and pool barriers).

SpecOcc: Codes and related standards associated with facilities for special occupancies that are regulated by state agencies.

Struc: Related to the Building code for structural, technical, and material requirements and wind standards.

The proposals are listed sequentially by code section number for the base code designated.  The proposed mod numbers are assigned by the BCIS web site as they are received.  They are assigned to the TAC which administers that specific subject area.  Notations concerning where a proposal has been assigned for action are made in the Comments column. For example, if the first proposed modification to the base code FBC-Mechanical code is for section 603.1.2 (related to duct construction), it would be assigned to the Energy TAC because the issue is with the energy chapter in the building base code.  This chart can be used for quick reference and for tracking the status of proposals.

Status Codes:

AS = Approved as submitted

AM = Approved as modified

NA = Not approved

W = Withdrawn

I = Insufficient (Incomplete or does not meet criteria)

| Mod # | Section/Chapter | Summary | TAC Action | Commission Action | Comment |
| --- | --- | --- | --- | --- | --- |
| ## FBC Building- Electrical |  |  |  |  |  |
| Oriol Haage Mod 1173 orig | Sec. 424.1.4.2.4 FBC Building, Chap 4 | Overhead wiring shall comply with the currently adopted NEC NFPA 70 |  |  |  |
| Jay Dagner Mod1273orig | Sec. 2704 / Chap 27 FBC Building | Building Code, Bonding Metal Framing Members: |  |  |  |
| Jay Dagner Mod1275orig | Sec. 2703 / Chap 27 FBC Building | Building Code, Cross references Defining Electrical Requirements |  |  |  |
| Oriol Haage Mod1172orig | Sec.2702 /Chap.27 FBC Building | Building Code, amendment to EMERGENCY AND STANDBY POWER SYSTEMS |  |  |  |
| Jay Dagner Mod1245orig 1245_comment1 | Sec. 3303 / Chap 33 FBC Building | Residential Code, new language on Bonding Metal Framing Members The proposal to ground metal framing members should be rejected as it is unwarranted and expensive. |  |  |  |
| Tarry L. Baker Mod1215orig | Sec 3501 Chap 35 FBC Building | Building Code, replace NFPA edition NFPA 70-02 05 |  |  |  |
| Tarry L. Baker Mod1214orig | Sec.3501 /Chap.35 FBC Building | Building Code, replace NFPA edition NFPA 70-02 05 |  |  |  |

| Mod # | Section/Chapter | Summary | TAC Action | Commission Action | Comment |  |
| --- | --- | --- | --- | --- | --- | --- |
| L. Devine ### Mod 1843 orig | Sec. 608 Chap 6 ### FBC Existing | 608.3.7.2.1 Ground fault circuit interrupters, new language |  |  |  |  |
| ### FBC Existing- Electrical |  |  |  |  |  |  |
| #### L. Devine Mod 1846 orig | Sec. 408 Chap 4 Existing Code | Ground-fault circuit interrupter protected receptacles required per NFPA 70, 2002 NEC Article 406.3(d)(2) |  |  |  |  |
| Oriol Haage Mod 1283 orig | Sec 408.1 Existing Code | Repairs, in accordance with Chap 27 of the FBC and the NFPA 70B, equip. maintenance and inspection to NFPA 73 |  |  |  |  |
| #### L.Devine Mod 1845 orig | Sec. 508 Chap 5 Existing Code | Requirement of ground fault circuit interrupters | 1845 is a duplicate of 1842 |  |  |  |
| #### L. Devine Mod 1842 orig | Sec. 508, Chap 5 Existing Code | Requirement of ground fault circuit interrupters |  |  |  |  |

| #### Mod # | Section/Chapter | Summary | TAC Action | Commission Action | Comment |
| --- | --- | --- | --- | --- | --- |
| ## FBC Residential- Electrical |  |  |  |  |  |
| Jay Dagner Mod1247orig | Sec. E3302 / Chap 33 Residential Code | Residential Code, Cross references Defining Electrical Requirements |  |  |  |
| #### Tarry Baker Mod 1453 orig | Chap 43 Ref Stand Residential Code | Residential Code, NFPA 70-2002, 2005 |  |  |  |