Plumbing TAC

FBC TRACKING CHART: PROPOSED MODIFICATIONS

FOR INCLUSION IN THE 2006 Replacement Pages of the 2004 FLORIDA BUILDING CODE

This chart is organized according to mod/proponent, section number, and a summary of the proposed change for modifications related to the Technical Advisory Committee’s (TAC) area of responsibility.  Common designations are:

Admin: Integration of the administration and enforcement portions of all codes and private swimming pool barriers.

Elec: Related to Electrical codes and standards

Energy: Related to the energy codes and standards

Fire: Related to the Fire and life/safety issues as contained within the building code and standards.

Mech: Related to the Mechanical codes and standards.

PlumbGas: Related to the Plumbing, Gas and swimming pool codes and standards (except commercial pools and pool barriers).

SpecOcc: Codes and related standards associated with facilities for special occupancies that are regulated by state agencies.

Struc: Related to the Building code for structural, technical, and material requirements and wind standards.

The proposals are listed sequentially by code section number for the base code designated.  The proposed mod numbers are assigned by the BCIS web site as they are received.  They are assigned to the TAC which administers that specific subject area.  Notations concerning where a proposal has been assigned for action are made in the Comments column. For example, if the first proposed modification to the base code FBC-Mechanical code is for section 603.1.2 (related to duct construction), it would be assigned to the Energy TAC because the issue is with the energy chapter in the building base code.  This chart can be used for quick reference and for tracking the status of proposals.

Status Codes:

AS = Approved as submitted

AM = Approved as modified

NA = Not approved

W = Withdrawn

I = Insufficient (Incomplete or does not meet criteria)

| Mod # | Section/Chapter | Summary | TAC Action | Commission Action | Comment |
| --- | --- | --- | --- | --- | --- |
| ## FBC Plumbing |  |  |  |  |  |
| Dale Greiner Moc1213orig 1213_comment2 | Sec.312.9 Chap 3, FBC Plumbing | Delete 312.9 addressing inspection and testing of backflow prevention assemblies and applicable standards The FDEP does NOT require water purveyors to monitor or conduct testing of INTERNAL backflow preventers installed at potable water outlets or connections within customers plumbing systems. |  |  |  |
| ### Susan D’Aries Mod1451orig | Sec.312.9.1 Chap 3 FBC Plumbing | 312.9.1 Inspections, Annual inspections shall be made of all backflow prevention assemblies and air gaps.. |  |  |  |
| ### M Zambrano Mod1549orig | Table 403 Chap 4 FBC Plumbing | Minimum number of required plumbing fixtures , see 403.2 and 403.3 |  |  |  |
| ### Betty Stevens Mod1652orig | Table 403 Chap 4 FBC Plumbing | Reformat table 403.8 to show Men’s restrooms over Urinals, WC and Lavs and Women’s restrooms over the two columns on the far right as shown |  |  |  |
| Betty Stevens Mod1653orig | Table 403 Chap 4 FBC Plumbing | Reformat table 403.8 to show Men’s restrooms over Urinals, WC and Lavs and Women’s restrooms over the two columns on the far right as shown | Note: Mod 1653 is duplicate of Mod 1652 |  |  |
| ### J. Pasquale Mod 1326 orig | Sec.1101, Chap 11 FBC Plumbing | 1101.2 Where required – balconies, balconies with screen enclosures and patios shall drain into separate storm sewer system |  |  |  |
| ##### FBC Residential |  |  |  |  |  |
| ### Ann Stanton Mod1750orig | Sec.G2408.4 Chap 24 FBC Residential | G2408.4 Clearances from grade, new added language and exception |  |  |  |
| R. Trumbower Mod1665orig | Sec. G2422 Chap 24 FBC Residential | G2422, Outdoor appliance connectors, new language |  |  |  |
| Susan D’Aries Mod 1196 orig | Sec. R2503.7.2 Chap 25 FBC Residential |  |  |  |  |
| Dale Greiner Mod1212 rig 1212_comment1 | Sec.R2503.7.2, Chap 25, FBC Residential | Delete P2503.7 addressing backflow prevention devices The FDEP does NOT require water purveyors to monitor or conduct testing of INTERNAL backflow preventers installed at potable water outlets or connections within customers plumbing systems. |  |  |  |
| #### FBC- Building |  |  |  |  |  |
| ### Ken Gregory Mod1458orig | Sec.424.2.6.6.3 Chap 4 FBC Building | Sec.424.2.6.6.3, Entrapment avoidance, add Exception: Pools having dual “main drains”……… |  |  |  |
| ### L. Alster Mod1391orig | Sec.424.2.19 Chap 4 FBC Building | .424.2.6.6, Final inspection , add language “only after a barrier complying with 424.2.17.1.10 has been constructed……. |  |  |  |
| ### Gary S. Duren Mod 1334 orig | Sec.424.2.6.6 Chap 4 FBC Building | .424.2.6.6, Entrapment protection for suction inlets, delete existing language and titles and replace with proposed |  |  |  |