STRUCTURAL TAC

FBC TRACKING CHART: PROPOSED MODIFICATIONS

#### 2006 Annual Interim Code Amendments to the 2004 Florida Building Code

This chart is organized according to mod/proponent, section number, and a summary of the proposed change for modifications related to the Technical Advisory Committee’s (TAC) area of responsibility.  Common designations are:

Admin: Integration of the administration and enforcement portions of all codes and private swimming pool barriers.

Elec: Related to Electrical codes and standards

Energy: Related to the energy codes and standards

Fire: Related to the Fire and life/safety issues as contained within the building code and standards.

Mech: Related to the Mechanical codes and standards.

PlumbGas: Related to the Plumbing, Gas and swimming pool codes and standards (except commercial pools and pool barriers).

SpecOcc: Codes and related standards associated with facilities for special occupancies that are regulated by state agencies.

Struc: Related to the Building code for structural, technical, and material requirements and wind standards.

The proposals are listed sequentially by code section number for the base code designated.  The proposed mod numbers are assigned by the BCIS web site as they are received.  They are assigned to the TAC that administers that specific subject area.  Notations concerning where a proposal has been assigned for action are made in the Comments column. For example, if the first proposed modification to the base code FBC-Mechanical code is for section 603.1.2 (related to duct construction), it would be assigned to the Energy TAC because the issue is with the energy chapter in the building base code.  This chart can be used for quick reference and for tracking the status of proposals.

Status Codes:

AS = Approved as submitted

AM = Approved as modified

NA = Not approved

W = Withdrawn

I = Insufficient (Incomplete or does not meet criteria)

| Mod # | Section/Chapter | Summary | TAC Action | Commission Action | Comment |
| --- | --- | --- | --- | --- | --- |
| #### BUILDING |  |  |  |  |  |
| 1730_Original Dale Thornberry | 202 | Revises definition of “sunroom” |  |  |  |
| 1724_Original Dale Thornberry | 202 | Revises definition of “habitable space” to include “sunrooms” |  |  |  |
| 1758_Original Matthew Dobson | 202 | Adds definition for “vinyl siding” |  |  |  |
| 1819_Original Jeffrey Stone 1819_Comment1 Jeffrey Stone | 202 | Adds definition for “balloon-frame construction” Makes revision to Original 1819 |  |  |  |
| 1589_Original Steve Munnell | 202 | Adds definition for “roof section” |  |  |  |
| 1588_Original Jamie Gascon | 1403 | Adds structural wind and wind driven rain requirements for soffits applicable to HVHZ and non-HVHZ |  |  |  |
| 1874_Original Timothy Reinhold | 1403.2 | Changes text to require a weather-resistant covering over masonry walls. |  |  |  |
| 1631_Original Betty Stevens | 1404.4.1 | Adds a section that recesses concrete slab edges and concrete beams supporting exterior walls to create a water intrusion barrier |  |  |  |
| 1459_Original Siggi Valentin | 1404.9 | Adds ASTM D 4477 and ASTM D 4756 as standard requirements for vinyl siding |  |  |  |
| 1773_Original Matthew Dobson | 1404.9 | Adds requirement for vinyl siding to be certified and labeled by an approved quality control agency |  |  |  |
| 1460_Original Siggi Valentin | 1405.13 | Adds ASTM D 4477 and ASTM D 4756 as standard requirements for vinyl siding. |  |  |  |
| 1591_Original Steve Munnell | 1502 | Adds definition for “roof section” |  |  |  |
| 1632_Original Betty Stevens | 1503.3 | Adds requirement for metal coping to comply with ANSI/SPRI ES-1 |  |  |  |
| 1592_Original Steve Munnell | 1503.4 | Adds exception for drainage of sloped roofs |  |  |  |
| 1593_Original Steve Munnell | 1503.4.3 | Adds title to section |  |  |  |
| 1785_Original Lorraine Ross | 1504.1.1, 1507.2.7, 1507.2.8, Table 1508.2.8 | Replaces referenced section; Replaces fastening requirements of asphalt shingles; Adds new section and table on wind resistance of asphalt shingles; Also adds ASTM D 7158-05 as new referenced standard in chpt 35 |  |  |  |
| 1595_Original Steve Munnell | 1504.2 | Adds compliance with FRSA/TRI 07320 as a requirement for clay and concrete roof tile coverings |  |  |  |
| 1596_Original Steve Munnell | 1504.3.1 | Adds text pertaining to individual roof assembly components |  |  |  |
| 1633_Original Betty Stevens | 1504.3.2 | Separates testing requirements of structural metal panel roof systems from non-structural metal panel roof systems |  |  |  |
| 1597_Original Steve Munnell | 1504.5 | Adds RAS 111 as an option for determining basic wind speed for edge securement for low-slope roofs |  |  |  |
| 1598_Original Steve Munnell | 1505.2 | Deletes inclusion of ferrous or copper shingles or sheets as Class A roof assemblies in the Exception |  |  |  |
| 1850_Original Lorraine Ross | 1505.7 | Deletes “Special purpose roofs” section in entirety |  |  |  |
| 1599_Original 1600_Original (duplicate of 1599) Steve Munnell | 1506.4 | Adds new section on nails |  |  |  |
| 1601_Original Steve Munnell | 1506.5 | Adds new section on screws |  |  |  |
| 1602_Original Steve Munnell | 1506.6 | Adds new section on clips |  |  |  |
| 1603_Orginal Steve Munnell | Table 1507.2 | Deletes cold climate requirements and minimum fastening requirements from “Asphalt Shingle Application” table |  |  |  |
| 1867_Original Lorraine Ross | Table 1507.2 | Deletes “Asphalt Shingle Application” Table in its entirety |  |  |  |
| 1552_Original Richard O’Donnell | 1507.2.1 | Adds section requiring all gaps to be filled on underlayment of all roofs |  |  |  |
| 1789_Original Lorraine Ross | 1507.2.2, 1507.2.3, 1507.2.8, 1507.2.8.1 | Adds ASTM D 6757 as a compliance option for underlayment; Replaces underlayment application requirements; Deletes 1507.2.8.1 in entirety; Adds ASTM D 6757 to Chpt 35 |  |  |  |
| 1634_Original Betty Stevens | 1507.2.5.1 | Adds new section for asphalt shingles with sealed tabs. |  |  |  |
| 1604_Original Steve Munnell | 1507.2.7 | Replaces requirements on the attachment of asphalt shingles |  |  |  |
| 1605_Original Steve Munnell | 1507.2.8.1 | Deletes application requirements for fasteners on attachments in high wind areas. |  |  |  |
| 1606_Original Steve Munnell | 1507.2.9.2 | Replaces ASTM D 224 with ASTM D 6380 |  |  |  |
| 1786_Original Lorraine Ross | 1507.2.9.2 | Adds “self adhered polymer modified bitumen” to close valley portion of section; Also adds ASTM D 6380-03 to Chpt 35 |  |  |  |
| 1607_Original Steve Munnell | 1507.2.9.3 | Adds requirements for fastening of drip edges to text |  |  |  |
| 1608_Original Steve Munnell | 1507.3.3 | Adds compliance with FRSA/TRI 07320 as an application requirement for underlayment |  |  |  |
| 1609_Original Steve Munnell | 1507.3.3.1 | Deletes “Low-slope roofs” section in entirety |  |  |  |
| 1610_Original Steve Munnell | 1507.3.3.2 | Deletes “High-slope roofs” section in entirety |  |  |  |
| 1611_Original Steve Munnell | 1607.3.6 | Deletes language pertaining to perimeter fastening areas from text |  |  |  |
| 1612_Original Steve Munnell | Table 1507.4.3 | Reformats Table 1507.4.3 |  |  |  |
| 1613_Original Steve Munnell | 1507.6.4 | Replaces ASTM D 224 with ASTM D 6380 and deletes ASTM D 249 from text pertaining to material standards |  |  |  |
| 1788_Original Lorraine Ross | 1507.6.4 | Deletes ASTM D 224, ASTM D 249, and ASTM D 371 from “Material standards” and adds ASTM D 6380; Also adds ASTM D 6380-03 to Chpt 35 |  |  |  |
| 1615_Original Steve Munnell | 1507.7.6 | Changes minimum width for valley flashing from 15 to 16 inches |  |  |  |
| 1616_Original Steve Munnell | Table 1507.8 | Adds new table—“Wood Shingle and Shake Installation” |  |  |  |
| 1617_Original Steve Munnell | 1507.11.2 | Revises text to allow modified bitumen coverings to meet only one of the listed standards |  |  |  |
| 1635_Original Betty Stevens | 1509.7, 1509.8, 1509.8.1, 1509.8.2, 1509.8.3 | Adds sections pertaining to roof mounted equipment |  |  |  |
| 1618_Original Steve Munnell | 1510.1.1 | Adds new section on existing roofs |  |  |  |
| 1619_Original Steve Munnel | 1510.2.1 | Adds new section on attachment of existing roofs |  |  |  |
| 1879_Original Timothy Reinhold | 1510.3 | Adds an additional condition for recovering or replacing roof coverings |  |  |  |
| 1620_Original Steve Munnell | 1510.3 | Adds an additional condition for recovering or replacing roof coverings; Deletes Exception 2 of section |  |  |  |
| 1621_Original Steve Munnell | 1510.4 | Deletes “Roof recovering” section in entirety |  |  |  |
| 1252_Original Mark Zehnal | 1513.1 | Adds definition for “positive roof drainage” |  |  |  |
| 1286_Original Mark Zehnal | 1521.11 | Adds requirement for fastening of recover roofing assemble anchor or base sheet |  |  |  |
| 1649_Original Mason Knowles | 1521.16 | Deletes restriction of recovering application over existing tile and adds text allowing the use of SPF roofing systems over existing clay and concrete tile roofs |  |  |  |
| 1648_Original Mason Knowles | 1521.18.1 | Adds text to allow the use of SPF roofing systems over composition shingle roofing |  |  |  |
| 1441_Original Do Kim | 1603.1.4 | Deletes the requirement to list components and cladding design pressures |  |  |  |
| 1907_Original Joe Belcher | 1604.3 | Adds new footnote to Table 1604.3 |  |  |  |
| 1443_Original Justin Gatzemeyer | 1604.8.2 | Adds language pertaining to calculation of lateral forces on concrete and masonry walls |  |  |  |
| 1923_Original Timothy Reinhold 1923_Comment1 Timothy Reinhold | Figure 1609 | Deletes footnotes 4 and 5 and changes title of Figure Makes corrections to Original 1923 |  |  |  |
| 1908_Original Joe Belcher | 1609.1.1 | Adds additional Exception to section |  |  |  |
| 1875_Original Timothy Reinhold 1875_Comment1 Jeffrey Stone | 1609.1.1, 1609.1.1.1, 2308.2.1 | Replaces SBCCI SSTD 10 with IBHS Guideline for Hurricane Resistant Residential Construction 2005 AF&PA opposes replacement of SSTD 10… |  |  |  |
| 1723_Original Monica Ross | 16091.4, 1609.2, 1609.6.1, 1609.6.1.1, 1609.6.2, 1609.2.1, 1609.6.2.1.1, 1609.6.2.2, 1609.6.2.2.1, 1609.6.2.3, 1609.6.3, 1609.6.4, 1609.6.4.1, 1609.6.5, 1609.6.5.1 | Editorial changes by staff |  |  |  |
| 1544_Original Do Kim 1544_Comment2 Dick Wilhelm | 1603.1.4 | Deletes reference to SSTD 12 in text Comment on Original 1544 |  |  |  |
| 1166 Original Siegfried Valentin | 1609.1.4 | Adds AAMA 506 as a referenced standard requirement for glazing in wind-borne debris regions. |  |  |  |
| 1084 Original Joseph Hetzel | 1609.1.4 | Adds reference to ANSI/DASMA 115 Standard (for garage and rolling doors) in language pertaining to protection of openings in 1609.1.4 and as a Referenced Standard in Chapter 43 |  |  |  |
| 1872_Original T. Eric Stafford | 1609.1.4 | Deletes the option for designing buildings as partially enclosed |  |  |  |
| 1884_Original T. Eric Stafford | 1609.1.4, Table 1609.1.4 | Adds a requirement for using permanently mounted hardware when using wood structural panel shutters for window protection for new construction |  |  |  |
| 1914_Original Joe Belcher | 1609.1.4 (proposal also contains modification for the same change to section R301.2.1.2) | Adds requirement for hurricane protection of openings |  |  |  |
| 1090 Original James Bailey | 1609.2, Figure 1609 | Deletes text to revise definition of wind-borne debris region. Also revises key to wind speed map. |  |  |  |
| 1922_Original Timothy Reinhold | 1609.3 | Deletes “special wind regions” reference in text |  |  |  |
| 1876_Original Timothy Reinhold | 1609.4 | Deletes “Exposure A” definition; Revises “Exposure C” definition |  |  |  |
| 1729_Original 1736_Original (duplicate of 1729) Monica Ross | Figure 1609.6.A | Editorial change by staff |  |  |  |
| 1738_Original Monica Ross | Figure 1609.6.B | Editorial change by staff |  |  |  |
| 1737_Original Monica Ross | Figure 1609.6C | Editorial change by staff |  |  |  |
| 1743_Original Monica Ross | Table 1609.6.A | Editorial change by staff |  |  |  |
| 1744_Original Monica Ross | Table 1609.6.B | Editorial change by staff |  |  |  |
| 1741_Original Monica Ross | Table 1609.6.C | Editorial change by staff |  |  |  |
| 1740_Original Monica Ross | Table 1609.6.D | Editorial change by staff |  |  |  |
| 1085 Original Joseph Hetzel | 1609.5.1, Table 1609.6E | Adds language to include rolling doors to section 1609.5.1 and to title of Table 1609.6E |  |  |  |
| 1747_Original Monica Ross | Figure 1609 | Editorial change by staff; Deletes year edition of ASCE 7 on map key |  |  |  |
| 1343_Original Iqbal Shaikh | Table 1615 | Adds “garages” and an additional note to table |  |  |  |
| 1182_Original Iqbal Shaikh | 1618.9 | Revises referenced section of ASCE 7 and adds text |  |  |  |
| 1353_Original Iqbal Shaikh | 1618.9 | Adds text pertaining to cantilevered projections to section |  |  |  |
| 1193_Original Iqbal Shaikh | 1620.3 | Revises referenced section of ASCE 7 in text |  |  |  |
| 1187_Original Iqbal Shaikh | 1622.1.1, 1622.1.2 | Revises ASCE 7 reference; Deletes 1622.1.2 in entirety |  |  |  |
| 1175_Original Iqbal Shaikh | 1624.2, 1624.2.1 | Deletes both sections entirely |  |  |  |
| 1859_Original Robert Boyer | 1714.5.2.1.2 | Adds new section |  |  |  |
| 1852_Original Robert Boyer 1852_Comment1 Dennis Braddy | 1714.5.2.1 | Adds reference to ASTM E 1300 and requirement for label Comment on Original mod 1852 |  |  |  |
| 1445_Original Dave Olmstead | 1714.5.2.1 | Adds 3 Exceptions |  |  |  |
| 1348_Original Chuck Anderson | 1714.5.2.1.3 | Adds new section |  |  |  |
| 1342_Original Chuck Anderson | 1714.5.2.1.1, 1714.5.2.1.2 | Adds 2 new sections pertaining to labeling |  |  |  |
| 1340_Original Chuck Anderson | 1714.5.2.1 | Adds criteria for water penetration resistance of windows |  |  |  |
| 1167 Original Siegfried Valentin | 1714.5.2.1 | Adds ASTM F 588 and ASTM F 842 as referenced standards for forced entry requirements for testing and labeling of exterior glazing. |  |  |  |
| 1086 Original Joseph Hetzel | 1714.5.3.1 | Adds ASTM E 330 Procedure A as a referenced standard and guidelines for compliance |  |  |  |
| 1242_Original Siggi Valentin | 1714.5.3.3.1 | Adds additional testing requirement |  |  |  |
| 1461_Original Robert Boyer 1461_Comment1 Dick Wilhelm | 1714.5.4.1 | Adds text pertaining to the authority of building official with regards to modifications of anchoring systems Comment regarding altering anchorage calculations |  |  |  |
| 1863_Original Mike Moore 1863_Comment1 J. Kenneth Grace 1863_Comment2 Philip G. Koehler | 1816.1, 202 | Adds language pertaining to protection of buildings in areas with Formosan termites; Also adds definition for “termite resistant material” in 202 Comment supporting the modification. Termite resistant building materials have been required by code for almost 20 years in Hawaii and are necessary to prevent destruction by Formosan subterranean termites. I oppose the modification as written. I have 12 objections that need to be addressed for the modification to be acceptable |  |  |  |
| 1906_Original Joe Belcher | 2002.2.1, 2002.3.2, 2002.4 | Adds definitions for “primary member”, “secondary members”, and “structural members”; Deletes and replaces text in 2002.4 |  |  |  |
| 1919_Original Joe Belcher | Table 2002.4 | Revises Table 2002.4 |  |  |  |
| 1590_Original Dennis Braddy 1590_Comment1 Dennis Braddy 1590_Comment2 blank form 1590_Comment15 Tom Tefelski 1590_Comment | 2002.4.1 | Deletes reference to AAF Guide to Aluminum Construction in High Wind Areas Revisions to Original 1590 THE AAF GUIDE HAS MANY DEFICENCES TO NUMEROUS TO LIST IN THIS SHORT FORUM. THE GUIDE SHOULD BE REMOVED FROM THE CODE BECAUSE OF THESE PROBLEMS. THE GUIDE DOES NOT ADDRESS MANY ISSUES SUCH AS ROOF BRACING AND DIAPHRAM ACTION IN SCREEN EN |  |  |  |
| 1909_Original Joe Belcher | 2002.4.2 | Adds new section pertaining to screen enclosures on new foundations |  |  |  |
| 1142 Original Iqbal Shaikh | 2003.7.1 | Replaces reference to FBC Building Section 1613 with Section 2.3 of “Allowable Stress Design Specifications for Aluminum Structures of Aluminum Design Manual ADM-1” |  |  |  |
| 1655_Original Rober Boyer | 2104.1.10 | Adds new section |  |  |  |
| 1369_Original Iqbal Shaikh | 2121.1.6 | Adds spacing requirement to text |  |  |  |
| 1344_Original Iqbal Shaikh | 2121.2.3.2 | Editorial change |  |  |  |
| 1141 Original Iqbal Shaikh | 2214.3 | Adds “Supplement No.1 to the Specification for Structural Steel Buildings, 2001” as a reference for steel construction in HVHZ |  |  |  |
| 1183 Original Thomas Sputo | 2211.2.1 | Adds factor of safety and resistance factor values for design shear determination in cold-formed steel light-framed shear walls |  |  |  |
| 1476_Original Joseph Holland | 2303.2.2.2 | Adds compliance with ASTM D 6841 as a requirement |  |  |  |
| 1742_Original Monica Ross | Table 2304.9.1 | Editorial change by staff to refer to correct section reference |  |  |  |
| 1554_Original Joseph Holland 1554_Comment2 Joseph Holland | 2304.9.5, 2304.9.5.1, 2304.9.5.2, 2304.9.5.3, 2304.9.5.4 | Separates the requirements for fasteners into 4 new sections and adds language for FRTW used in the interior of a building Revisions to Original 1554 |  |  |  |
| 1258_Original Kirk Grundahl 1258_Comment1 Jeffrey Stone | 2314.4.9 | Replaces reference to HIB-91 with reference to BCSI 1-03 and corrects address for TPI AF&PA support of updating standard on wood trusses. |  |  |  |
| 1256_Original Kirk Grundahl | 2319.17.2.4.1 | Replaces reference to HIB-91 with reference to BCSI 1-03 |  |  |  |
| 1099_Original Kirk Grundahl 1099_Comment1 Jeffrey Stone | 2319.17.2.4.3 (proposes same change for R4409.6.17.2.4.3) | Replaces reference to HIB-91 with reference to BCSI 1-03 AF&PA support of updating standard on wood trusses. |  |  |  |
| 1351_Original Chuck Anderson | 1714.5.2 | Deletes section 1714.5.2 in entirety |  |  |  |
| 1243_Original Siggi Valentin | 2411.3.2.1.1 | Adds additional testing requirement |  |  |  |
| 1071 Original Bruce Cynamon | 2411.6.1 | Adds language pertaining to tub and shower doors to section |  |  |  |
| 1092 Original Larry Giacin | 2411.6.1 | Adds language pertaining to tub and shower doors and enclosures |  |  |  |
| 1384_Original Jaime Gascon | 2612.2 | Adds additional text to definition of “approved plastic—class c-2” |  |  |  |
| 1358_Original Iqbal Shaikh | 35 | Replaces ANSI/TIA/EIA-222-F-96 with ANSI/TIA-222-G-05 as a referenced standard |  |  |  |
| 1257_Original Kirk Grundahl 1257_Comment1 Jeffrey Stone | 35 | Replaces HIB-91 with BCSI 1-03 and corrects TPI address AF&PA support for updating standards on wood trusses. |  |  |  |
| 1759_Original Siggi Valentin | 35 | Updates the referenced standards for the American Architectural Manufacturers Association (AAMA) |  |  |  |
| 1783_Original Siggi Valentin | 35 | Adds 2 new standards—ASTM D 4477 and ASTM D 4756 |  |  |  |
| 1814_Original 1818_Original (duplicate of 1814) Jeffrey Stone | 35 | Updates standard year for ASTM D 3737, D 5055, and D5456 |  |  |  |
| 1763_Original Matthew Dobson 1763_Comment1 Matthew Dobson | 35 | Updates standard year for ASTM D 3679 Adds name of standard to Original 1763 |  |  |  |
| 1905_Original Joe Belcher | 35 | Updates standard year for ADM 1 |  |  |  |
| 1931_Original Joseph Holland 1931_Comment1 Joseph Holland | 35 | Adds ASTM D as a referenced standard Adds sections where standard is to be referenced |  |  |  |
| 1913_Original Joe Belcher | 35(proposes same change for ch 43 in FBCR) | Updates ASTM E 1886 and ASTM E 1996 |  |  |  |
| #### RESIDENTIAL |  |  |  |  |  |
| 1822_Original Charles Everly | R202 | Revises definition of “basic wind speed” |  |  |  |
| 1567_Original Jack Glenn | R202 | Adds definition for “naturally durable wood” |  |  |  |
| 1622_Original Steve Munnell | R202 | Adds definition for “roof section” |  |  |  |
| 1916_Original Joe Belcher | R202, (also 1202—FBC, Bldg) | Deletes definition of “sunroom addition” and revises definition of “sunroom” |  |  |  |
| 1766_Original Matthew Dobson | R202 | Adds definition for “vinyl siding” |  |  |  |
| 1522_Original James Schock | R202 | Adds definition for “water resistive barrier” |  |  |  |
| 1749_Original Monica Ross | Figure R301.2(1) | Editorial change by staff to add Figure title |  |  |  |
| 1924_Original Timothy Reinhold | Figure R301.2(4) | Deletes note #4 and revises Figure title |  |  |  |
| 1745_Original Monica Ross | Figure R301.2(4) | Editorial change by staff to remove year edition of ASCE 7 from map key |  |  |  |
| 1087 Original Joseph Hetzel | R301.2.1 | Adds language pertaining to garage doors with respect to wind limitations. Also adds new table for garage door loads. |  |  |  |
| 1815_Original Jeffrey Stone | R301.2.1.1 | Editorial change to correct mph conversion |  |  |  |
| 1877_Original Timothy Reinhold 1877_Comment1 Jeffrey Stone 1877_Comment3 Edward L. Keith | R301.2.1.1 Exception 5 | Replaces reference to SBCCI SSTD 10 with reference to IBHS Guideline for Hurricane Resistant Residential Construction—05 and adds text pertaining to the new reference AF&PA opposes replacement of SSTD 10… Comment on Original 1877 |  |  |  |
| 1917_Original Joe Belcher | R301.2.1.1.1 (proposes same text as new section 2002.5 in FBC, Bldg) | Adds new section pertaining to sunrooms with reference to AAMA 2100-02; Also adds AAMA 2100-02 as a new standard in Chpt 43 |  |  |  |
| 1161_Original Siggi Valentin | R301.2.1.2 | Adds AAMA 506 as an option for compliance of glazed opening protection for wind-borne debris |  |  |  |
| 1885_Original T. Eric Stafford | R301.2.1.2, Table R301.2.1.2 | Adds text pertaining to wood structural panel requirements; Revises Table R301.2.1.2 |  |  |  |
| 1873_Original T. Eric Stafford | R301.2.1.2 | Eliminates the option to design buildings as partially enclosed |  |  |  |
| 1088_Original Joseph Hetzel | R301.2.1.2 | Adds ANSI/DASMA 115 as an option for compliance testing of garage doors |  |  |  |
| 1878_Original Timothy Reinhold | R301.2.1.4 | Deletes “Exposure A” in entirety and redefines “Exposure C” |  |  |  |
| 1734_Original Monica Ross | R301.2.1.4 | Editorial change by staff to delete definition of “Exposure A” |  |  |  |
| 1925_Original Timothy Reinhold | R301.2.1.5 | Deletes reference to special wind regions in text |  |  |  |
| 1820_Original Jeffrey Stone | R301.3 | Adds the term “conventional light-frame construction” to text pertaining to story height |  |  |  |
| 1860_Original Robert Boyer | R308.1 | Adds text pertaining to manufacturer’s label requirements |  |  |  |
| 1870_Original Mike Moore 1870_Comment1 J. Kenneth Grace 1870_Comment2 Philip G. Koehler | R320.1, R202 | Adds language pertaining to protection of buildings in areas with Formosan termites; Also adds definition for “termite resistant material” in R202 Comment supporting the modification. Comment opposing this proposal |  |  |  |
| 1645_Original Charles Everly 1645_Comment2 Charles Everly 1645_Comment1 Jeffrey Stone | R401.1, R401.2, Table 401.1B | Adds foundation uplift as a design issue for foundations; Adds a table of foundation uplift for light frame buildings Makes corrections to Original 1645 AF&PA opposition to proposal as written with suggestion to require a professional engineer where the design wind speed is 100 mph or greater. |  |  |  |
| 1812_Original Charles Everly 1812_Comment1 Charles Everly | R401.1, R404.1.1.1, R404.1.1.2, R404.1.4, R404.1.4.1, R404.1.4.2, R404.1.5.1 | Adds new sections pertaining to uplift on foundations from aerodynamic uplift from the roof and uplift from over-turn on a range of building shapes and sizes. Adds additional proposal and makes corrections to Original 1812 |  |  |  |
| 1803_Original Charles Everly 1803_Comment1 Jeffrey Stone | R403.1.1, R403.1.2 | Adds section on uplift resistance and foundation drawings AF&PA opposition to proposal |  |  |  |
| 1647_Original Betty Stevens 1647_Comment1 Jeffrey Stone | R404.1.6 | Editorial change by staff to delete section replication AF&PA opposition to proposal. |  |  |  |
| 1260_Original Kirk Grundahl 1260_Comment1 Jeffrey Stone | R502.11.2 | Replace reference to HIB-91 with reference to BCSI 1-03 AF&PA support of updating standard on wood trusses. |  |  |  |
| 1821_Original Jeffrey Stone 1821_Comment1 Jeffrey Stone | R502.1-R502.3 | Reorganizes the provisions for wood frame construction of floors Makes revisions to Original 1821 |  |  |  |
| 1823_Original Jeffrey Stone | R602.1-R602.3.1 | Reorganizes the provisions for wood frame construction of walls |  |  |  |
| 1813_Original Charles Everly | R606.8.2, R606.8.2.1, R606.8.2.2, R606.10 | Adds new sections on roof structures and floor diagrams |  |  |  |
| 1654_Original Robert Boyer | R606.15 | Adds new section pertaining to “water stop” on exterior wall masonry units |  |  |  |
| 1651_Original T. Eric Stafford 1651_Comment1 T.Eric Stafford | R613.1-R613.8.3 | Adds new referenced standards pertaining to fenestrations and their components; Also adds new sections on flashings, sealants, and weather stripping Makes corrections to Original 1651 |  |  |  |
| 1864_Original Robert Boyer | R613.2.1 | Adds new section |  |  |  |
| 1444_Original Dave Olmstead | R613.3.1 | Adds 3 Exceptions to section |  |  |  |
| 1866_Original Robert Boyer 1866_Comment1 Dennis Braddy | R613.3.1 | Adds requirements for label display on glazing Comment on Original 1866 |  |  |  |
| 1378_Original Chuck Anderson | R613.3.1 | Adds a minimum performance level for window resistance to water penetration |  |  |  |
| 1162_Original Siggi Valentin | R613.3.1 | Adds ASTM F 588 and ASTM F 842 as options for compliance of forced entry requirements |  |  |  |
| 1385_Original Chuck Anderson 1385_Comment1 Chuck Anderson | R613.3.1.1, R613.3.1.2 | Adds 2 new section pertaining to labeling Corrects section numbers in Mod 1385 Original |  |  |  |
| 1163_Original Siggi Valentin | R613.4 | Adds AAMA 1304 as a testing requirement for exterior doors |  |  |  |
| 1426_Original Chuck Anderson | R613.7.1 | Adds compliance sections for “mullions” |  |  |  |
| 1918_Original Joe Belcher 1918_Comment3 Joe Belcher 1918_Comment4 Unknown 1918_Comment5 Joe Belcher | R614 | Adds new section, subsection, and drawings pertaining to concrete and masonry construction in high wind areas Revisions to Original 1918 Comment on Original 1918 Additional revision to Original 1918 |  |  |  |
| 1920_Original T. Eric Stafford | R614.1 | Adds new section pertaining to combined concrete, masonry, icf, steel and wood exterior wall construction |  |  |  |
| 1768_Original 1772_Original (duplicate of 1768) Matthew Dobson | R703.11 | Adds certification requirement to ASTM D 3679 for vinyl siding |  |  |  |
| 1731_Original T. Eric Stafford 1731_Comment1 T. Eric Stafford 1731_Comment5 John Mulder | R703.1-R703.14 | Clarifies the applicability limits of existing provisions of the FBCR as it pertains to wind load resistance Makes corrections to Original 1731 Correct errors and omissions to R703.10 and Table R703.4. |  |  |  |
| 1339_Original Glen Clapper 1339_Comment1 Jeffrey Stone | R703.7 | Adds an exception for detached one- and two- family dwellings regarding stone and masonry veneer AF&PA support of exception for stone and masonry veneer over wood- frame construction in low wind areas. |  |  |  |
| 1521_Original 1523_Original duplicate of 1521 James Schock 1523_Comment1 Sergio Aguiar | R703.8 | Replaces entire section pertaining to “flashing” Comment on Original 1523 |  |  |  |
| 1244_Original Dale Greiner | R703.8 | Editorial change to clarify section |  |  |  |
| 1639_Original Betty Stevens | R703.11 | Adds section pertaining to recessed concrete slabs and supporting exterior walls |  |  |  |
| 1824_Original Jeffrey Stone | R802.1-R802.3 | Reorganizes the provisions for wood frame construction of ceilings |  |  |  |
| 1933_Original Joseph Holland | R802.1.3.2.2 | Adds reference to ASTM D 6841-03 to section |  |  |  |
| 1259_Original Kirk Grundahl | R802.10.2 | Replaces reference to HIB-91 with reference to BCSI 1-03 in section |  |  |  |
| 1889_Original 1891_Original (duplicate of 1889) Charles Everly 1889_Comment1 Jeffrey Stone | Table R802.11 | Add 2 new tables on roof bearing uplift for Exposures B and C AF&PA opposes modification |  |  |  |
| 1886_Original Timothy Reinhold | R802.11.1 | Adds text that pertaining to requirements for rafter construction straps and/or clips |  |  |  |
| 1881_Original T. Eric Stafford 1881_Comment1 Jeffrey Stone | R803.2.3, R803.2.3.1 | Adds section and 4 Exceptions pertaining to sheathing fastenings AF&PA opposition to proposal. |  |  |  |
| 1659_Original 1660_Original (duplicate of 1659) Gary Walker 1659_Comment1 Gary Walker | R901.4, R904.1 | Adds a new section title, a new section on minimum uplift pressure, and a new table pertaining to design uplift pressure for non air-permeable roof coverings Correct the section and table numbers. Add the reference to the table footnotes to Original 1659 |  |  |  |
| 1657_Original 1661_Original (duplicate of 1657) Gary Walker 1657_Comment1 Gary Walker | R901.5 | Adds new section on safety factor for roof assemblies Clarify that the safety factor applies to systems and not components in Original 1657 |  |  |  |
| 1662_Original Gary Walker 1662_Comment1 Gary Walker | R901.6, Table R901.6 | Adds new section and Table on deflection limits Correct section and table number. Change the footnotes identification from alpha to numeric in Original 1662 |  |  |  |
| 1663_Original Gary Walker | R903.2.1 | Editorial change that replaces reference to Table R903.1 with reference to Table R903.2.3 |  |  |  |
| 1664_Original Gary Walker | R903.2.2 | Adds new section on membrane flashings |  |  |  |
| 1666_Original Gary Walker | R903.2.3, Table R903.2.3 | Adds new section and table on metal flashing |  |  |  |
| 1641_Original Betty Stevens | R903.3 | Adds compliance requirements for metal coping |  |  |  |
| 1623_Original Steve Munnel | R903.4 | Revises section on roof drainage |  |  |  |
| 1667_Original Gary Walker 1667_Comment1 Gary Walker | R903.5.1 | Adds new section pertaining to gutters and leaders on one- and two- family dwellings Add section number and section title to Original 1667 |  |  |  |
| 1668_Orignal Gary Walker 1668_Comment1 Gary Walker | R903.6 | Adds new section and sub-sections on gravel stop and drip edge; Also adds new table on flashing fastener spacing Correct Table number to agree with the section numbering in Original 1668 |  |  |  |
| 1669_Original Gary Walker 1669_Comment1 Gary Walker | R904.4-R904.4.3 | Adds new sections and sub-sections pertaining to requirements for nails, screws, and clips Correct section number for "Product Identification" in Original 1669 |  |  |  |
| 1711_Original Gary Walker 1711_Comment1 Gary Walker | R906.2-R906.7 | Adds new sections on roof assemblies Corrects section numbering in Original 1711 |  |  |  |
| 1790_Original Lorraine Ross | R905.2.2 | Adds ASTM D 6757 as a compliance option for underlayment; Replaces underlayment application requirements; Deletes R905.2.7.2 in entirety; Adds ASTM D 6757 to Chpt 43 |  |  |  |
| 1642_Original Betty Stevens | R905.2.4.1 | Adds new section on asphalt shingles with sealed tabs |  |  |  |
| 1670_Original Gary Walker 1670_Comment1 Gary Walker | R905.2.5 Exception | Adds an Exception to section pertaining to asphalt shingle fasteners Clarify that the referenced Chapter 16 is in the Florida Building Code, Building. |  |  |  |
| 1796_Original Lorraine Ross | R905.2.6, R905.2.7 | Replaces compliance requirements for asphalt shingles; Adds new section and table on wind resistance of asphalt shingles |  |  |  |
| 1671_Original Gary Walker | R905.2.6, Table R905.2.6 | Replaces text in section and adds new table on attachment of asphalt shingles |  |  |  |
| 1672_Original Gary Walker 1672_Comment1 Gary Walker | R905.2.7 | Upgrades the prescriptive requirements for underlayment application Make corrections to Original 1672 |  |  |  |
| 1673_Original Gary Walker 1673_Comment1 Gary Walker | R905.2.8.1 | Upgrades the prescriptive requirements for base and counter flashing Makes corrections to Original 1673 |  |  |  |
| 1674_Original Gary Walker | R905.2.8.2 | Upgrades the prescriptive requirements for valley linings |  |  |  |
| 1794_Original Lorraine Ross | R905.2.8.2 | Replaces compliance requirement with ASTM D 224 with ASTM D 6380 for valley linings; Also adds ASTM D 6380 to chpt 43 |  |  |  |
| 1675_Original Gary Walker | R905.2.8.6 | Upgrades the prescriptive requirements for drip edge |  |  |  |
| 1676_Original Gary Walker | R905.3 | Replaces the installation compliance requirements for clay and concrete tile |  |  |  |
| 1677_Original Gary Walker | R905.3.3 | Provides compliance requirements with FRSA/TRI 07320 for underlayment |  |  |  |
| 1678_Original Gary Walker | R905.3.3.2 | Upgrades prescriptive requirements for high slope roofs |  |  |  |
| 1679_Original Gary Walker | R905.3.4 | Clarifies section heading |  |  |  |
| 1680_Original Gary Walker 1680_Comment1 Gary Walker | R905.3.7.4 | Adds new section on hip and ridge tiles Makes corrections to Original 1680 |  |  |  |
| 1681_Original Gary Walker | R905.4.3 | Adds installation compliance requirement for underlayment |  |  |  |
| 1682_Original Gary Walker | R905.4.4, Table R905.4.4 | Adds compliance requirements and a new table for metal roof shingles |  |  |  |
| 1683_Original Gary Walker 1683_Comment1 Gary Walker | R905.4.5 | Replaces application requirements for metal roof shingles Correct referenced Table number in Original 1683 |  |  |  |
| 1684_Original Gary Walker | R905.4.6 | Editorial change |  |  |  |
| 1685_Original Gary Walker | R905.5.4 | Replaces reference to ASTM D 224 and ASTM D 249 with reference to ASTM D 6380 for mineral-surfaced roll roofing |  |  |  |
| 1686_Original Gary Walker 1686_Comment Gary Walker | R905.5.5 | Replaces application requirements for mineral-surfaced roll roofing Correct referenced Table number in Original 1686 |  |  |  |
| 1687_Original Gary Walker | R905.6.3 | Adds installation compliance requirements for underlayment to text |  |  |  |
| 1688_Original Gary Walker 1688_Comment1 Gary Walker | R905.6.6 | Add new section on installation compliance requirements for slate and slate-type shingles Correct referenced Table number in Original 1688 |  |  | need comment |
| 1689_Original Gary Walker 1689_Comment1 Gary Walker | R905.6.6 | Upgrades prescriptive requirements for flashing Corrects section numbers in Original 1689 |  |  |  |
| 1690_Original Gary Walker | R905.7.5, Table R905.7.5 | Replaces section pertaining to application with section on attachment of wood shingles; Also adds new table on wood shingle and shake installation |  |  |  |
| 1691_Original Gary Walker 1691_Comment1 Gary Walker | R905.7.6-R905.7.6.1.4 | Adds new sections and sub-sections pertaining to wood shingles Makes corrections to Original 1691 |  |  |  |
| 1693_Original Gary Walker 1693_Comment1 Gary Walker | R905.7.6, R905.7.8.1 | Replaces section on valley flashing with section on flashing; Adds new section on valley flashing Corrects section numbers in Original 1693 |  |  |  |
| 1692_Original Gary Walker | R905.7.7 | Revises installation requirements for wood shingles |  |  |  |
| 1694_Original Gary Walker | R905.8.2 | Upgrades prescriptive requirements for wood shakes’ deck slope |  |  |  |
| 1695_Original Gary Walker 1695_Comment1 Jeffrey Stone | R905.8.4 | Deletes section R905.8.4 in entirety AF&PA opposition to proposal. |  |  |  |
| 1696_Original Gary Walker | R905.8.4 | Adds new section on attachment compliance requirements |  |  |  |
| 1697_Original Gary Walker | R905.8.6 | Adds new section on attachment compliance requirements |  |  | comment |
| 1699_Original Gary Walker | R905.8.6, Table R905.8.6 | Renumbers section and table; Deletes text in section pertaining to wood shake fasteners |  |  | comment |
| 1698_Original Gary Walker | R905.8.7-R905.8.5.3 | Adds new section and sub-sections of attachment of wood shakes for higher wind resistance |  |  | comment |
| 1700_Original Gary Walker | R905.8.8 R905.8.10, R905.8.10.1 | Replaces section on valley flashing with section on flashing; Adds new section on valley flashing |  |  |  |
| 1701_Original Gary Walker 1701_Comment1 Gary Walker | R905.9.3 | Adds prescriptive requirements to section on built-up roofs Corrects section numbers in Original 1701 |  |  |  |
| 1702_Original Gary Walker | R905.10.3 | Replaces reference to Table R905.10.3 with reference to Table R905.4.4 in section pertaining to metal-sheet roof covering systems; Also deletes Table R905.10.3 in entirety |  |  |  |
| 1703_Original Gary Walker | R905.10.4 | Editorial change |  |  |  |
| 1704_Original Gary Walker 1704_Comment1 Gary Walker | R905.10.5 | Adds new section on installation requirements for metal roof panels Makes corrections to Original 1704 |  |  |  |
| 1705_Original Gary Walker | R905.10.6 | Adds new section pertaining to underlayment installation requirements |  |  |  |
| 1706_Original Gary Walker 1706_Comment1 Gary Walker | R905.11.3 | Adds prescriptive requirements to section on the installation of a modified bitumen roof Corrects section numbering in Original 1706 |  |  |  |
| 1707_Original Gary Walker | R905.12.3 | Adds prescriptive requirements to section on the installation of a thermoset single-ply roof |  |  |  |
| 1708_Original Gary Walker | R905.13.3 | Adds prescriptive requirements to section on the installation of a thermoset single-ply roof |  |  |  |
| 1709_Original Gary Walker 1709_Comment1 Gary Walker | R905.14.3 | Adds prescriptive requirements to section on foamed in place roof insulation Corrects section numbering in Original 1709 |  |  |  |
| 1710_Original Gary Walker 1710_Comment1 Gary Walker | R905.15.3 | Adds prescriptive requirements to section on liquid-applied roof coatings Corrects section numbering in Original 1710 |  |  |  |
| 1712_Original Gary Walker | R907.1 | Adds new section on compliance requirements on re-roofing |  |  |  |
| 1624_Original Steve Munnell | R907.1 | Adds new section pertaining to re-roofing requirements |  |  |  |
| 1100_Original Kirk Grundahl 1100_Comment1 Jeffrey Stone | 43 | Updates reference from HIB-91 to BSCI 1-03; Also updates TPI’s address AF&PA support of updating standards on wood trusses. |  |  |  |
| 1765_Original Siggi Valentin | 43 | Updates the referenced standards of AAMA |  |  |  |
| 1932_Original Joseph Holland 1932_Comment1 Joseph Holland | 43 | Adds ASTM D 6841-03 as a referenced standard Adds section where standard is to be referenced |  |  |  |
| 1828_Original Charles Everly 1828_Comment1 Charles Everly | 43 | Updates year of standard for ACI 530/530.1 Makes revisions to Original 1828 |  |  |  |
| 1770_Original Matthew Dobson 1770_Comment1 Matthew Dobson | 43 | Updates year of standard for ASTM D 3679 Adds name of standard to proposal |  |  |  |
| 1254_Original Mark Zehnal | R4402.2.1 | Adds definition for “positive roof drainage” |  |  |  |
| 1269_Original Mark Zehnal | R4402.7.8.10 | Editorial change |  |  |  |
| 1276_Original 1278_Original (duplicate of 1276) Mark Zehnal | R4402.8.16-RR4402.8.16.6.2 | Adds new sections and sub-section on waterproofing |  |  |  |
| 1288_Original 1290_Original (duplicate of 1288) Mark Zehnal | R4402.10.11 | Adds requirements for recover roofing assembly anchor/base sheet |  |  |  |
| 1357_Original Eduardo Fernandez | R4403.7.3.6.2 | Editorial change to correct section numbering |  |  |  |
| 1355_Original Iqbal Shaikh | R4403.7.8 | Revises the referenced section of ASCE 7; Also adds text to restrict the allowable stress increase of cantilevered projections |  |  |  |
| 1203_Original Iqbal Shaikh | R4403.7.8 | Revises the referenced section of ASCE 7 |  |  |  |
| 1202_Original Iqbal Shaikh | R4403.9.3 | Revises the referenced section of ASCE 7 |  |  |  |
| 1206_Original Iqbal Shaik | R4403.12.1.1, R4403.12.1.2 | Revises the reference of ASCE 7; Deletes section R4403.12.1.2 in entirety |  |  |  |
| 1194_Original Iqbal Shaikh | R4407.5.1 | Updates referenced year of ACI 530 and corrects typographical errors |  |  |  |
| 1735_Original Monica Ross | R4409.2.5.2, R4409.2.5.3 | Editorial change to correct typographical errors |  |  |  |
| 1263_Original Kirk Grundahl 1263_Comment1 Jeffrey Stone | R4409.1.4.9 | Replaces reference to HIB-91 with reference to BCSI 1-03 and corrects TPI’s address AF&PA support of updating standard on wood trusses. |  |  |  |
| 1261_Original Kirk Grundahl | R4409.6.17.2.4.1 | Replaces reference to HIB-91 with reference to BCSI 1-03 and corrects TPI’s address |  |  |  |
| 1262_Original Kirk Grundahl 1262_Comment1 Jeffrey Stone | R4409.6.17.2.4.3 | Replaces reference to HIB-91 with reference to BCSI 1-03 AF&PA support of updating standard on wood trusses. |  |  |  |
| 1164_Original Siggi Valentin | R4410.2.3.2.1 | Adds AAMA NAFS-02 and the AAMA & ASTM forced entry standards to section on operative window and door assemblies |  |  |  |
| 1368_Original Eduardo Fernandez | R4410.2.4.1 | Editorial change to correct referenced section number |  |  |  |
| #### TEST PROTOCOLS |  |  |  |  |  |
| 1098_Original Robert Whitcomb | RAS 117.6 | Corrects sample formulas |  |  |  |
| 1349_Original Mark Zehnal | RAS 118-3.08.A.5 | Revises section pertaining to storm clips |  |  |  |
| 1350_Original Mark Zehnal | RAS 119-3.10.B | Revises section pertaining to storm clips |  |  |  |
| 1091_Original Michael Goolsby | RAS 119-3.09.B | Editorial change |  |  |  |
| 1280_Original 1282_Original (duplicate of 1280) Mark Zehnal | RAS 120-3.10 | Revises section pertaining to hip and ridge installation |  |  |  |
| 1294_Original Mark Zehnal | TAS 106-6.1.2 | Adds requirements to enhance the current test procedure including hip and ridge as a tested component |  |  |  |
| 1346_Original Mark Zehnal | TAS 106-4.1 | Adds text to include hip and ridge tile as a requirement of the physical inspection process |  |  |  |
| 1373_Original Jaime Gascon | TAS 139 | Editorial change to update the weathering standard reference |  |  |  |
| 1374_Original Jaime Gascon | TAS 201-8.3, TAS 202-8.3, TAS 203-9.3 | Deletes reference of fees |  |  |  |
| 1376_Original Jaime Gascon | TAS 201-9 TAS 202-9 TAS 203-10 | Updates video recording requirements |  |  |  |
| 1377_Original Jaime Gascon | TAS 201-5.2, TAS 202-5.5, TAS 203-5.5 | Deletes sections in entirety |  |  |  |
| 1379_Original Jaime Gascon | TAS 202-12.1 | Replaces forced entry test compliance requirements |  |  |  |
| 1375_Original Jaime Gascon | TAS 301-6, TAS 301-7, TAS 301-10 | Adds independence requirements and deletes reference to fees |  |  |  |
| #### EXISTING BUILDINGS |  |  |  |  |  |
| 1625_Original Steve Munnell | 202 | Adds definition for “roof section” |  |  |  |
| 1626_Original Steve Munnell | 511.1.2 | Adds new section pertaining to re-roofing of existing buildings |  |  |  |
| 1880_Original Timothy Reinhold | 511.3 | Adds new item (#5) pertaining to tested assemblies |  |  |  |
| 1636_Original Betty Stevens | 511.3.1 | Adds a new section for removing existing roof covering when the wind speed is 100 mph or greater |  |  |  |