## Sheet1
ID | Manufacturer | Category | Subcategory | TBA | POC | FBC | Comments | Stat.
Certification Method - TBA Reviewers Recommend Approval
239-R11 | PGT Industries | Windows | Single Hung | a |  |  | Recommend Approval | Revision
242-R7 | PGT Industries | Windows | Horizontal Slider | a |  |  | Recommend Approval | Revision
243-R6 | PGT Industries | Windows | Fixed | a |  |  | Recommend Approval | Revision
251-R9 | PGT Industries | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
539-R5 | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
1743-R2 | Reward Wall Systems, Inc. | Structural Components | Insulation Form Systems | a |  |  | Recommend Approval | Revision
2023-R3 | Georgia-Pacific Wood Products LLC | Structural Components | Engineered Lumber | a |  |  | Recommend Approval | Revision
2453 | Exclusive Wood Doors | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
2859-R1 | Construction Specialties, Inc. | Panel Walls | Wall Louver | a |  |  | Recommend Approval | Revision
3294-R2 | Quality Engineered Products | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
4091-R2 | Custom Window Systems, Inc. | Windows | Single Hung | a |  |  | Recommend Approval | Revision
4334-R3 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
4904-R2 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
5165-R1 | Simonton Windows | Windows | Double Hung | a |  |  | Recommend Approval | Revision
5246-R1 | Simonton Windows | Windows | Fixed | a |  |  | Recommend Approval | Revision
6431-R2 | Pella Corporation | Windows | Single Hung | a |  |  | Recommend Approval
6500-R1 | Hy-Lite Products Inc. | Windows | Fixed | a |  |  | Recommend Approval | Editorial Change
6793-R1 | DORMA Architectural Hardware | Exterior Doors | Exterior Door Components | a |  |  | Recommend Approval | Revision
8228-R2 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
8299-R2 | PHILIPS PRODUCTS INC. | Windows | Single Hung | a |  |  | Recommend Approval | Revision
8959-R1 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
10102 | Marvin Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval
10129 | Peerless Products, Inc. | Windows | Casement | a |  |  | Recommend Approval | New
10160-R1 | Simonton Windows | Windows | Horizontal Slider | a |  |  | Recommend Approval | Revision
10165 | Peetz Windows and Doors, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10168 | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10169 | E.S. Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10171 | Marvin Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10172 | Marvin Windows and Doors | Windows | Fixed | a |  |  | Recommend Approval | New
10173 | Peetz Windows and Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10174 | Peetz Windows and Doors, Inc. | Windows | Casement | a |  |  | Recommend Approval | New
10175 | Peetz Windows and Doors, Inc. | Windows | Double Hung | a |  |  | Recommend Approval | New
10176 | Peetz Windows and Doors, Inc. | Windows | Mullions | a |  |  | Recommend Approval | New
10178 | E.S. Windows, Inc. | Windows | Mullions | a |  |  | Recommend Approval | New
10181 | Nan Ya Plastics Corporation USA | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10182 | Kawneer Company, Inc. | Windows | Casement | a |  |  | Recommend Approval | New
10185 | Nan Ya Plastics Corporation USA | Windows | Fixed | a |  |  | Recommend Approval | New
10189 | Traco Windows and Doors, Inc. | Windows | Mullions | a |  |  | Recommend Approval | New
10190 | Traco Windows and Doors, Inc. | Windows | Single Hung | a |  |  | Recommend Approval | New
10205 | Traco Windows and Doors, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10206 | Architectural Openings Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10207 | Architectural Openings Inc. | Windows | Fixed | a |  |  | Recommend Approval | New
10208 | Window Craftsmen Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10218 | Cox Designer Windows, Inc. | Windows | Fixed | a |  |  | Recommend Approval | New
10235 | Ruskin Company | Panel Walls | Wall Louver | a |  |  | Recommend Approval | New
10254 | Florida Shutters, Inc. | Shutters | Colonial | a |  |  | Recommend Approval | New
10255 | Florida Shutters, Inc. | Shutters | Bahama | a |  |  | Recommend Approval | New
10263 | Custom Window Systems, Inc. | Windows | Horizontal Slider | a |  |  | Recommend Approval | New
10268 | BEVEL KING DOOR AND GLASS CO. INC. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10269 | Custom Window Systems, Inc. | Windows | Horizontal Slider | a |  |  | Recommend Approval | New
10270 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10272 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10274 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10277 | Petersen Aluminum Corporation | Roofing | Metal Roofing | a |  |  | Recommend Approval | New
10281 | Blocksom & Co. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a |  |  | Recommend Approval | New
10287 | PGT Industries | Windows | Single Hung | a |  |  | Recommend Approval | New
10288 | PGT Industries | Windows | Double Hung | a |  |  | Recommend Approval | New
10289 | PGT Industries | Windows | Fixed | a |  |  | Recommend Approval | New
10290 | The Murus Company | Structural Components | Structural Wall | a |  |  | Recommend Approval | New
10294 | Dominion Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10296 | JELD-WEN | Windows | Casement | a |  |  | Recommend Approval | New
10297 | JELD-WEN | Windows | Fixed | a |  |  | Recommend Approval | New
10298 | JELD-WEN | Windows | Double Hung | a |  |  | Recommend Approval | New
10299 | Windsor Windows and Doors | Windows | Fixed | a |  |  | Recommend Approval | New
10300 | Magnolia Window & Door | Windows | Single Hung | a |  |  | Recommend Approval | New
10302 | Windsor Windows and Doors | Windows | Double Hung | a |  |  | Recommend Approval | New
10303 | Magnolia Window & Door | Windows | Fixed | a |  |  | Recommend Approval | New
10309 | Georgia-Pacific Wood Products South LLC | Structural Components | Engineered Lumber | a |  |  | Recommend Approval | New
10317 | Wayne-Dalton Corp. | Windows | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | New
10324 | Hartman Windows and Doors LLC. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10326 | Hartman Windows and Doors LLC. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10327 | Hartman Windows and Doors LLC. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10328 | Hartman Windows and Doors LLC. | Windows | Fixed | a |  |  | Recommend Approval | New
10330 | Hartman Windows and Doors LLC. | Windows | Mullions | a |  |  | Recommend Approval | New
10331 | Alenco | Windows | Fixed | a |  |  | Recommend Approval | New
10332 | Alenco | Windows | Horizontal Slider | a |  |  | Recommend Approval | New
10333 | Inteplast Group | Shutters | Storm Panels | a |  |  | Recommend Approval | New
10335 | JELD-WEN | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10338 | JELD-WEN | Windows | Fixed | a |  |  | Recommend Approval | New
10344 | Crest Metal Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10346 | Pella Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10350 | MI Windows and Doors | Windows | Single Hung | a |  |  | Recommend Approval | New
10351 | Alenco | Windows | Single Hung | a |  |  | Recommend Approval | New
10354 | Pella Corporation | Windows | Fixed | a |  |  | Recommend Approval | New
10356 | Ingersoll Rand Security Technologies | Exterior Doors | Exterior Door Components | a |  |  | Recommend Approval | New
10361 | YKK AP America Residential | Windows | Casement | a |  |  | Recommend Approval | New
10366 | Vi Win Tech | Windows | Fixed | a |  |  | Recommend Approval | New
10367 | Vi Win Tech | Windows | Single Hung | a |  |  | Recommend Approval | New
10368 | Vi Win Tech | Windows | Single Hung | a |  |  | Recommend Approval | New
10372 | THERMOPLAST | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10377 | ACCU-WELD LLC | Windows | Double Hung | a |  |  | Recommend Approval | New
Certification Method - TBA Reviewers Recommend Denial
1258-R3 | Rosenlew RKW Finland LTD | Roofing | Underlayments | y |  |  | Recommend Denial - Applicant requested deferral to March 2008 meeting to complete renewed certifications. - Deferred from December 2007 meeting. Applicant did not revise conditions of: For Products FL1258.1 and .2, NOA’s have expired. Provide new certification. | Deferred
Evaluation by Engineer/ Architect -TBA Reviewers Recommend Approval
1654-R2 | POLYGLASS USA | Roofing | Modified Bitumen Roof System | a |  |  | Recommend Approval | Revision
6871-R1 | T.M. Window and Door, LLC. | Windows | Single Hung | a |  |  | Recommend Approval | Revision
6881-R1 | T.M. Window and Door, LLC. | Windows | Casement | a |  |  | Recommend Approval | Revision
8246 | Douglas Metal Roofing | Panel Walls | Siding | a |  |  | Recommend Approval | New
8566-R1 | Eagle Window and Door, Inc | Windows | Mullions | a |  |  | Recommend Approval | Revision
9231-R1 | Dunbarton Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9274-R1 | Sika Sarnafil, Inc. | Roofing | Single Ply Roof Systems | a |  |  | Recommend Approval | Revision
9895 | Sentrigard Metal Roofing Systems-NBHandy COMP | Roofing | Metal Roofing | a |  |  | Recommend Approval | New
10104 | Merchant & Evans, Inc. | Panel Walls | Soffits | a |  |  | Recommend Approval | New
10106 | Elite Storm Systems | Shutters | Storm Panels | a |  |  | Recommend Approval | New
10209 | Classic Products, Inc. | Roofing | Metal Roofing | a |  |  | Recommend Approval | New
10219 | Bonneville Windows and Doors | Windows | Casement | a |  |  | Recommend Approval | New
10227 | St. Cloud Window, Inc. | Windows | Fixed | a |  |  | Recommend Approval | New
10228 | St. Cloud Window, Inc. | Windows | Double Hung | a |  |  | Recommend Approval | New
10230 | Wincore Window Company, LLC | Windows | Double Hung | a |  |  | Recommend Approval | New
10232 | Onity Inc. | Exterior Doors | Exterior Door Components | a |  |  | Recommend Approval | New
10233 | Onity Inc. | Exterior Doors | Exterior Door Components | a |  |  | Recommend Approval | New
10236 | Brannen Millwork Company | Windows | Mullions | a |  |  | Recommend Approval | New
10237 | Kane Manufacturing Corporation | Shutters | Storm Panels | a |  |  | Recommend Approval | New
10238 | Kane Manufacturing Corporation | Shutters | Storm Panels | a |  |  | Recommend Approval | New
10239 | Eagle Window and Door, Inc | Windows | Double Hung | a |  |  | Recommend Approval | New
10240 | Metalforming Inc | Roofing | Metal Roofing | a |  |  | Recommend Approval | New
10241 | Southern Custom Woodworks | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10243 | Schuco, USA L.P. | Windows | Horizontal Slider | a |  |  | Recommend Approval | New
10246 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors | a |  |  | Recommend Approval | New
10260 | ProVia Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10264 | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | a |  |  | Recommend Approval | New
10271 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10273 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10284 | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | a |  |  | Recommend Approval | New
10285 | Kawneer Company, Inc. | Panel Walls | Curtain Walls | a |  |  | Recommend Approval | New
10291 | POLYGLASS USA | Roofing | Cements-Adhesives-Coatings | a |  |  | Recommend Approval | New
10292 | Tapco,Inc | Shutters | Storm Panels | a |  |  | Recommend Approval | New
10293 | Wincore Window Company, LLC | Windows | Fixed | a |  |  | Recommend Approval | New
10319 | Coastal Metal Roofing, Inc | Roofing | Metal Roofing | a |  |  | Recommend Approval | New
10340 | Clear Strength USA LLC | Shutters | Storm Panels | a |  |  | Recommend Approval | New
10353 | Hexaport International, Ltd. | Panel Walls | Curtain Walls | a |  |  | Recommend Approval | New
10355 | The Hurricane Window and Door Factory | Windows | Double Hung | a |  |  | Recommend Approval | New
10358 | West Tampa Glass Company | Panel Walls | Curtain Walls | a |  |  | Recommend Approval | New
10369 | West Tampa Glass Company | Panel Walls | Curtain Walls | a |  |  | Recommend Approval | New
10374 | The Hurricane Window and Door Factory | Windows | Casement | a |  |  | Recommend Approval | New
10375 | The Hurricane Window and Door Factory | Windows | Awning | a |  |  | Recommend Approval | New
Evaluation by Engineer/ Architect - TBA Reviewers Recommend Denial
1852-R3 | Elite Aluminum Corporation | Windows | Horizontal Slider | y |  |  | Recommend Denial - Deferred Jan 2008 - Requested by applicant to complete testing - Deferred from Dec 2007 meeting with conditions of: Indicate grade of aluminum. Provide anchor detail thru extrusion. Remove all other than the two lite wide, and non-impact configuration. Did not comply with conditions of deferral. | Deferred
Evaluation by Test Report - TBA Reviewers Recommend Approval
9732 | NORTHERN ELASTOMERIC INC | Roofing | Underlayments | a |  |  | Recommend Approval | New
10092 | NORTHERN ELASTOMERIC INC | Roofing | Underlayments | a |  |  | Recommend Approval | New
10137 | Four Seasons Solar Products LLC | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10162 | Aerosmith Fastening Systems | Structural Components | Wood Connectors | a |  |  | Recommend Approval | New
10345 | Soprema, Inc. | Roofing | Modified Bitumen Roof System | a |  |  | Recommend Approval | New
Evaluation by Evaluation Entity - TBA Reviewers Recommend Approval
2197-R2 | MiTek Industries, Inc. | Structural Components | Truss Plates | a |  |  | Recommend Approval | Revision
4432-R2 | Simpson Strong-Tie Co. | Panel Walls | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | Revision
10101 | ITW TACC | Structural Components | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | New
Evaluation by Engineer/ Architect - Applications With Public Comments
10349 | Southern Metals Products,LLC | Shutters | Accordion | a |  |  | Recommend Approval - Public comment submitted is not supported by building code or Rule 9B-72 requirements. | New
10349 | Public Comment Jaime Gascon | [5 empty] | Testing referenced is over 14 years old. Needs to update testing if for use in the HVHZ. If a more recent test can not be provided, indicate ‘NO’ for use in the HVHZ.
10349 | Response by Administrator | [5 empty] | Public comment submitted is not a building code or Rule 9B-72 requirement. Original recommendation for approval should remain.
10306 | Storm Smart Industries | Shutters | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | New
10306 | Public Comment akitahank@verizon.net | [5 empty] | We feel that FL10306 does not meet Tas203 requirements for a design pressure of 90PSF @ 192” Cyclical testing is a critical component in the determination of whether a property and or life saving device will withstand the stress (fatigue) of an entire episode of a hurricane. The cyclical maximum pressure regulates deployment of this device in known maximum conditions. Tas 203-94 5.1 Test specimen – All parts of the test specimen must be full size…..Methods of construction Lab 5451 Report#2 File #07-508 Screens A1, A2, A3, A4 Size 292x114 Tested Tas203-94 60PSF Screen B1 Size 150.5 x114 Not Tested for Tas203-94 Lab 4750 Report #4 Size 229 x 154 Tested Tas203-94 60 PSF Screen A1,A2 A3,A4 Size 229x154 unlike method of construction 60PSF Fl10306 installation instruction limits it’s product at 90 PSF at a span of 192” The cyclical max load of 90PSF has no substantiating evidence without testing. This is the second time this product (FL#10132) has faced the commission with different values
10306 | [6 empty] | FL 10306 has listed in their Product Eval report two testing reports 1) Fenestration Lab 5451 Report #2 File # 07-508 and 2) Fenestration Lab # 4750 Report #4 File# 05-422 yet neither of these reports are listed on the FBC's Application Detail for FL# 10306.1 for viewing by the public. Testing report #4750 is listed at least two times with two different manufacturers. This report is listed on Fl 6288 using Storm Catcher as the Manufacturer. Is this allowed? The public only has 2 weeks for public comment and(1) without the testing reports submitted with the application and (2) the question of ownership and or (3) sharing of test reports between two manufacturers, I feel this application should be deferred
10306 | Public Comment Albert Ries | [5 empty] | FL 10306 has listed in their Product Eval report two testing reports 1) Fenestration Lab 5451 Report #2 File # 07-508 and 2) Fenestration Lab # 4750 Report #4 File# 05-422 yet neither of these reports are listed on the FBC's Application Detail for FL# 10306.1 for viewing by the public. Testing report #4750 is listed at least two times with two different manufacturers. This report is listed on Fl 6288 using Storm Catcher as the Manufacturer. Is this allowed? The public only has 2 weeks for public comment and(1) without the testing reports submitted with the application and (2) the question of ownership and or (3) sharing of test reports between two manufacturers, I feel this application should be deferred
10306 | Response by Administrator |  |  | d |  |  | Recommend Deferral - The evaluation report refers to test reports not attached to application. There are public comments related to the test reports referrenced on evaluation report. One comment refers to the ownership of the test report. Another comment refers to the discrepancy of tested values with the design and span values indicated on evaluation drawings. Therefore it is recommended that application be deferred with conditions of: Re-evaluate application in accordance with tested values and provide authorization for use of test reports. | New
10348 | Storm Watch Industries | Shutters | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | New
10348 | Public Comment Jaime Gascon | [5 empty] | 1. Needs to show horizontal and vertical reactions at the head and sill required of the supporting structure to support the membrane barrier. (Catenary) 2. Confirm that prying action was considered in anchor calculations for details on sheet 2 of 5. 3. Detail number of stitches required on seams to match the tested conditions.
10348 | Response by Administrator |  |  | d |  |  | Recommend Deferral - There is agreement with public comments and upon additional review the conditions should be: Needs to show horizontal and vertical reactions at the head and sill required of the supporting structure to support the membrane barrier. (Catenary). Confirm that prying action was considered in anchor calculations for details on sheet 2 of 5. Provide testing and detail of stitch condition and adjacent joining of panels or remove. Remove notes expressing use of equivalent anchors. | New
Evaluation by Test Report - Applications With Public Comments
10295 | Sunoptics Prismatic Skylights | Sky Lights | Skylight | a |  |  | Recommend Approval | New
10295 | Public Comment Roger LeBrun | [5 empty] | Concern: After reviewing the attachments, the test report indicates the unit tested used a greater number of mounting fasteners than the installation instructions indicate are necessary. Citation: Apparent violation of Question #8 on the Administrative Validation Checklist
10295 | Public Comment Carey Thornton | [5 empty] | The above product indicates changes to the product were made per page Appendix A, Alteration Addendum. These changes were made due to a failure under negative pressure. The "action taken" per the test report was that "fifteen #10 X 3/4" hex washer head self drilling screws were added." It continues that "seven screws 6" on center at midspan and four additional screws spaced 12" on center. Along the short side, five screws were placed 9" on center at midspan." The number of screws do not add up to fifteen, nor do these screws appear on any of the drawings.
10295 | Response by Administrator |  |  | d |  |  | Recommend Deferral - Installation drawings were provided from a drawing that is a part of the test report and has the stamp of the test lab. The anchors on the installation drawings do not reflect spacing on the text of the test report or the added anchors on "Appendix A" of the test report. Recommend deferral with conditions of: Test laboratory should provide drawing with installation as tested and installation drawing shall be same as tested. | New
10307 | Wasco Products, Inc. | Sky Lights | Skylight | a |  |  | Recommend Approval | New
10307 | Public Comment Roger LeBrun | [5 empty] | Concerns: 1. Did not see evidence of compliance with ASTM E1300 for the glazing. 2. The test report shows the unit tested included intermediate rafters, but the installation details provided do not mention the assembly of a unit containing these elements. Citations: 1. Code requires glass to meet ASTM E1300 2. Apparent violation of Question #8 on the Administrative Validation Checklist
10307 | Response by Administrator |  |  | d |  |  | Recommend Deferral - Conditions of deferral shall be: Provide analysis of glazing in accordance with ASTM E1300. Provide installation drawings indicating framing as tested. | New
Entities Application -TBA Reviewers Recommend Approval
TST 2609 | Architectural Testing, Inc. - California | Product Testing Laboratory |  | a |  |  | Recommend Approval | Revision
TST 3892 | Hurricane Test Laboratory, LLC - Georgia | Product Testing Laboratory |  | a |  |  | Recommend Approval | Revision
VAL 1620 | Window and Door Manufacturers Association | Product Validation Entity |  | a |  |  | Recommend Approval | Revision
VAL 7331 | American Architectural Manufacturers Association (AAMA) | Product Validation Entity |  | a |  |  | Recommend Approval | New
Entities Application -TBA Reviewers Recommend Denial
CER 7243 | NSF International | Product Certification Agency |  | y |  |  | Recommend Denial - Accreditation is outside the scope for products included in Product Approval Rule 9B-72. | New
Note on A167: Ted Berman: