| Fuel Gas Local Technical Amendments to the 2017 6th Edition Florida Building Code |  |  |  |
| --- | --- | --- | --- |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | TEXT OF TECHNICAL AMENDMENT | TAC REVEW |
| Pinellas County Construction Licensing Board | Florida Building Code, Residential – Chapter G24 | Chapter 24, Fuel Gas, G2415.15 Outlet closures. Gas outlets that do not connect to appliances shall be capped gas tight and labeled with a weatherproof label stating “Connection of a gas appliance to this outlet in the future will require a permit and inspection.” Appliance shutoff valves required by G2420.5 [409.5] shall be installed only at the time of appliance connection to gas outlets. | Plumbing TAC |
| Pinellas County Construction Licensing Board | Florida Building Code, Fuel Gas Ch 4 | 404.15 Outlet closures. Gas outlets that do not connect to appliances shall be capped gas tight and be labeled with a weatherproof label stating “Connection of a gas appliance to this outlet in the future will require a permit and inspection.” Appliance shutoff valves required by G2420.5 [409.5] shall be installed only at the time of appliance connection to gas outlets. | Plumbing TAC |