Page 1 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Pending Review

TAC Recommendation

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

SubCode:

Building



9-Fire Protection Systems

Section

915

7383

Chapter

Mod #

This proposed modification deletes all the CO alarm requirements in Section 908.8 and adds all the current CO alarm requirements of the 2018 IBC into an expanded Section 915.

9

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

10-Means of Egress

Mod #

8347

Proponent

1015.6

Section

10

Chapter

Pending Review

Modifies requirements for fall arrest anchorage for steep roofs.

Summary

AS

AM

NAR

I

W

TAC Action

Ann Russo2

31-Special Construction

Mod #

7365

Proponent

3111

Section

31

Chapter

Pending Review

This proposed modification updates requirement for solar energy systems in the FBC-B.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

SubCode:

Existing Building



4-Prescriptive Compliance Method

Page 2 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Section

402.6

7355

Chapter

Mod #

This proposed modification adds CO alarm requirement to the prescriptive compliance method on the FBC-Existing Building.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Section

403.13

7357

Chapter

Mod #

This proposed modification adds CO alarm requirement to the prescriptive compliance method on the FBC-Existing Building.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

6-Repairs

Mod #

8388

Proponent

601.2

Section

6

Chapter

Pending Review

The current text talks about the condition &quot;before the repair was undertaken.&quot; This means the damaged condition. What these provisions intend is to restore the condition that existed before the damage, not before the repair.

Summary

AS

AM

NAR

I

W

TAC Action

Ann Russo8

8-Alterations - Level 2

Section

804.4.4

7358

Chapter

Mod #

This proposed modification adds CO alarm requirement to the &quot;Level 2 Alteration&quot; requirements of the FBC-Existing Building.

8

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

SubCode:

Mechanical



2-Definitions

Page 3 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

7273

Proponent

202

Section

2

Chapter

Pending Review

This proposal simply updates a definition to indicate what organization is responsible for WEEL values, which has no impact on construction cost.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7274

Proponent

202

Section

2

Chapter

Pending Review

Changes text of definitions “ACCESS (TO)” and “READY ACCESS (TO).

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Section

202

7275

Chapter

Mod #

describes what would be considered as commercial food service

establishments

2

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James Bickford

Section

202

7276

Chapter

Mod #

Clarifies definition of Machine Room

2

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James Bickford

Page 4 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

7278

Proponent

202

Section

2

Chapter

Pending Review

The proposal removes brass because brass is a copper-alloy and copper-alloy is the term used to identify materials manufactured where copper is the base metal and includes brass and bronze.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7279

Proponent

202

Section

2

Chapter

Pending Review

To replace the term &quot;PRESS&quot; with the industry recognized term &quot;PRESS-CONNECT&quot;.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7442

Proponent

202

Section

2

Chapter

Pending Review

The modification of the 100 HP power threshold in Item 7 clarifies that this is compressor drive power, which is the terminology used in IIAR 2 Section 4.2.3 and ASHRAE 15 Section 7.2.2(g).

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7836

Proponent

202

Section

2

Chapter

Pending Review

Adds definition for Large-diameter ceiling fan

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

Page 5 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

8007

Proponent

202

Section

2

Chapter

Pending Review

Revises definition “PRESS-CONNECT”. Revises section 1203.8 and 1203.8.3 to reflect this change of Press-connect.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

3-General Regulations

Mod #

7166

Proponent

307.2

Section

3

Chapter

Pending Review

We have developed a new safety control, the No Freeze Control, that prevents the evaporator coils on an ac unit from freezing up. This stops potential water in the unit and prevents mold and mildew damage to the unit and home.

Summary

AS

AM

NAR

I

W

TAC Action

Brad Ketner

Mod #

7281

Proponent

303.7

Section

3

Chapter

Pending Review

This modification completes this section and has all the information necessary for a complete and code compliant installation.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7282

Proponent

303.9

Section

3

Chapter

Pending Review

Adds new section 303.9 &quot;Fireplaces in Group I-2 Condition 2 Occupancies&quot; and 901.5 &quot;Solid fuel-burning fireplaces and appliances in Group I-2 Condition 2&quot;

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Page 6 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

7283

Proponent

305.4

Section

3

Chapter

Pending Review

The horizontal support spacing for both PEX and PE-RT tubing (piping) up to and including 1&quot; size is 32&quot; (2- 2/3Ft) and 48&quot; (4Ft) for sizes 1- 1/4&quot; and larger. These dimensions are consistent with all published PEX literature and manufacture&#39;s installation instructions.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7284

Proponent

305.4

Section

3

Chapter

Pending Review

Modifies table 305.4

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7285

Proponent

306.1.1

Section

3

Chapter

Pending Review

Delete section without substitution

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7286

Proponent

307.2.2

Section

3

Chapter

Pending Review

Adds copper alloy to code section

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

4-Ventilation

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Mechanical

2/26/2019

Page 7 of 23

Total Mods for this report:    87

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Aligns with 2021 IMC in approving limited applications of factory-built intake/exhaust combination termination fittings.

Mod #

Chapter

8209

401.4

Section

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

Changes text of Section 404.1 “Enclosed parking garages.” It also deletes Section 404.2. Section 404.2 is being rolled into Section 404.1.    It clarifies that the exhaust system either has to run constantly or it has to run automatically.

Pending Review

Chapter

4

Section

404.1

Proponent

7290

Mod #

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

Adds UL 2075-13 standard

Pending Review

Chapter

4

Section

404.1

Proponent

7289

Mod #

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

Changes text of Table 401.5

Pending Review

Chapter

4

Section

401.5

Proponent

7287

Mod #

87

Mechanical

TAC:

Total Mods for    Mechanical in    Pending Review

Mike Moore

Page 8 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Section

403.3.2.5

8217

Chapter

Mod #

Aligns with Section 301.7 of the 2017 FBC, Mechanical; the 2021 IMC; and the 2021 IRC in requiring listing and labeling of ventilation fans to ANSI/AMCA 210 - ANSI/ASHRAE 51.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Mike Moore

Mod #

8326

Proponent

403.3.2.1

Section

4

Chapter

Pending Review

Provides a credit for balanced mechanical ventilation.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Lstiburek

5-Exhaust Systems

Section

501.2

7292

Chapter

Mod #

Clarify the intent of these sections

5

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James Bickford

Mod #

7293

Proponent

504.4

Section

5

Chapter

Pending Review

Section 504 covers duct construction for dryers, however, it is unclear on the requirement to seal dryer ducts. Sealing is specified in 603.9.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Page 9 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

7294

Proponent

504.4.1

Section

5

Chapter

Pending Review

Adds new section 504.4.1 “Exhaust termination outlet and passageway size.”

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Section

505

7295

Chapter

Mod #

The code needs added coverage for domestic exhaust equipment and downdraft equipment and needs to reference the relevant product standards

5

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James Bickford

Mod #

7311

Proponent

505.1

Section

5

Chapter

Pending Review

Adds text to Section 505.1 “Domestic systems.” Modification regarding fire suppression for range hoods installation in Groups I-1 and I-2 occupancies.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7319

Proponent

506.3.13.2

Section

5

Chapter

Pending Review

Modifies section 506.3.13.2 “Termination through an exterior wall.” Intent of change is fire safety related. Clarification to show that Exterior openings shall be located in accordance with section 506.3.13.3.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Page 10 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

7320

Proponent

506.3.13.2

Section

5

Chapter

Pending Review

Clarifies exhaust outlet termination location

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7321

Proponent

507.2.6

Section

5

Chapter

Pending Review

Modification of Section 507.2.6 “Clearances for Type I hood.”

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Section

507.6.1

7322

Chapter

Mod #

Clarifies what a smoke generator is.

5

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James Bickford

Mod #

7323

Proponent

510.8.1

Section

5

Chapter

Pending Review

Adds new section requiring clean outs on ducts conveying combustible dust.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Page 11 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

7324

Proponent

512.2

Section

5

Chapter

Pending Review

The proposal removes brass because brass is a copper alloy and reworded the sentence without changing the meaning

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

6-Duct Systems

Mod #

7341

Proponent

602.1

Section

6

Chapter

Pending Review

Modification of text for Section 602.1 “General” to permit as a plenum framing cavities addressed in Section 602.3.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7343

Proponent

602.2.1

Section

6

Chapter

Pending Review

Modification of text for Section 602.2.1 “Materials within plenums.” Concerning material installation within a plenum that should be listed for the application.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7344

Proponent

602.2.1.1

Section

6

Chapter

Pending Review

Modification of text for Sections 602.2.1.1 “Wiring”, 602.2.1.2 “Fire sprinkler piping,” and 602.2.1.3 “Pneumatic tubing.” This proposal concerns consistency with the pass/fail criteria for the testing of products from in these sections, and the listing and labeling requirements.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Page 12 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

7346

Proponent

602.2.1.6

Section

6

Chapter

Pending Review

Entirely replaces Section 602.2.1.6 “Foam plastic insulation in plenums as interior finish or interior trim”. Deletes sections 602.2.1.6.1, 602.2.1.6.2, 602.2.1.6.3.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7386

Proponent

602.2.1.7

Section

6

Chapter

Pending Review

Modification of text for Section 602.2.1.7 “Plastic plumbing piping and tubing.”    Adds new standard UL 2846-14,

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7387

Proponent

602.2.1.8

Section

6

Chapter

Pending Review

Adds new Section 602.2.1.8 “Pipe and duct insulation within plenums.”

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7388

Proponent

603.5.2

Section

6

Chapter

Pending Review

Adds new Section 603.5.2 “Phenolic ducts.” Adds new standard “SMACNA Phenolic Duct Construction Standard 1st edition 2015.” Phenolic duct is a new air distribution material.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Page 13 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

TAC Action

W

I

NAR

AM

AS

Summary

This modification revises language in section 607.4

Pending Review

Chapter

6

Section

607.4

Proponent

7936

Mod #

James Bickford

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

6

Adds exception to Section 604.11 “Vapor retarders”. Proposal adds an option to the vapor retarder requirements for duct insulation of the FMC.

Mod #

Chapter

7394

604.11

Section

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

This proposal will reduce construction cost and still reduce energy loss that would occur due to duct leakage outside conditioned space. Low pressure longitudinal seam duct leakage is very limited and the small amount of leakage within conditioned space is still useful energy.

Pending Review

Chapter

6

Section

603.9

Proponent

7393

Mod #

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

Modifies Section 603.8.2 “Sealing.” Ducts shall be sealed, secured, and then tested prior to concrete encasement or direct burial.

Pending Review

Chapter

6

Section

603.8.2

Proponent

7389

Mod #

87

Mechanical

TAC:

Total Mods for    Mechanical in    Pending Review

Amanda Hickman

Page 14 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

8253

Proponent

602.2.1.6

Section

6

Chapter

Pending Review

This proposal is intended to revise the requirements for foam plastic in plenums. There is a companion proposal for the Florida Building Code. This code change is intended to not revise technical requirements, but clarifies the code&#39;s intent for the use of foam plastic in plenums.

Summary

AS

AM

NAR

I

W

TAC Action

John Woestman

Section

601.5

8320

Chapter

Mod #

Allow return air from closets

6

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Lstiburek

Section

601.5

8322

Chapter

Mod #

Allows return air to be taken from a boiler room, furnace room or mechanical room warming the room reducing relative humidity and mold.

6

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Lstiburek

Section

601.5

8325

Chapter

Mod #

Allows return air in bathrooms.

6

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Lstiburek

8-Chimneys and Vents

Page 15 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

7395

Proponent

805.8

Section

8

Chapter

Pending Review

Adds new Section 805.8 “Insulation shield.” the code should require insulation shields for factory-built and metal chimneys as they require clearance to insulation and represents a fire hazard when one is not installed.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

9-Specific Appliances, Fireplaces and Solid Fuel-burning Equipment

Mod #

7839

Proponent

929

Section

9

Chapter

Pending Review

This proposal adds language regarding the testing and labeling of Large-diameter ceiling fans.

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

11-Refrigeration

Mod #

7440

Proponent

1104.2.2

Section

11

Chapter

Pending Review

Revises Section 1104.2.2 “Industrial occupancies and refrigerated rooms.”    The proposal clarifies that Section 1104.2.2 only applies when a machinery room is otherwise required.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

7453

Proponent

1104.2.2

Section

11

Chapter

Pending Review

Deletes item from Section 1104.2.2 “Industrial occupancies and refrigerated rooms.” The section proposed for deletion is archaic.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Mechanical

2/26/2019

Page 16 of 23

Total Mods for this report:    87

TAC Action

W

I

NAR

AM

AS

Summary

Modifies Section 1107.5.2 “Copper and copper-alloy pipe.”    Removes term brass because brass is a copper alloy

Pending Review

Chapter

11

Section

1107.5.2

Proponent

7492

Mod #

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

Adds new Section 1105.6.1.1 “Indoor exhaust opening location.”

Pending Review

Chapter

11

Section

1105.6.1.1

Proponent

7491

Mod #

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

Deletes definition in “REFRIGERATED ROOM OR SPACE.” Modifies Section 1104.2.2 “Industrial Occupancies and refrigerated rooms.”

Pending Review

Chapter

11

Section

202

Proponent

7489

Mod #

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

Adds exceptions to Section 1104.2.2 (4) “Industrial occupancies and refrigerated rooms.”

Pending Review

Chapter

11

Section

1104.2.2

Proponent

7488

Mod #

87

Mechanical

TAC:

Total Mods for    Mechanical in    Pending Review

James Bickford

Page 17 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

12

TAC Action

W

I

NAR

AM

AS

Summary

Adds exception to 1208.1 “General.” Adds language from PPFA which allows for limited air testing of plastic piping systems

Pending Review

Chapter

Section

1208.1

Proponent

8008

Mod #

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

Deletes section 1203.5 Brass pile and 1203.6 Brass tubing.    Brass is a copper allow and is covered by section 1203.7 and 1203.8

Pending Review

Chapter

12

Section

1203.5

Proponent

8004

Mod #

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

ASSE 1061 Performance Requirements for Push Fit Fittings are already referenced in the FPC.

Pending Review

Chapter

12

Section

1202.5

Proponent

7572

Mod #

12-Hydronic Piping

James Bickford

TAC Action

W

I

NAR

AM

AS

Summary

Modifies Section 1107.5.3 “Copper tube.” Modification adds press-connect joints to mechanical joints to 1107.5.3

Pending Review

Chapter

11

Section

1107.5.3

Proponent

7494

Mod #

87

Mechanical

TAC:

Total Mods for    Mechanical in    Pending Review

James Bickford

Page 18 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

8011

Proponent

1209.3

Section

12

Chapter

Pending Review

Modifies text for Section 1209 “Embedded piping.” Adds new Section 1209.3.5 “Cross-linked polyethylene (PEX) joints.”

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

8013

Proponent

1209.5

Section

12

Chapter

Pending Review

Modifies text of Section 1209.5 “Thermal barrier required.” Deleted sections 1209.5.1 and 1209.5.2.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

13-Fuel Oil Piping and Storage

Mod #

8030

Proponent

1303.1.1

Section

13

Chapter

Pending Review

The proposal removes brass because brass is a copper-alloy and copper-alloy is the term used to identify materials manufactured where copper is the base metal and includes brass and bronze.

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

Mod #

8033

Proponent

1303.4

Section

13

Chapter

Pending Review

The proposal removes brass section because brass is a copper-alloy and copper-alloy is used to identify materials manufactured where copper is the base metal including brass and bronze

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

14-Solar Systems

Page 19 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

8034

Proponent

1402.4

Section

14

Chapter

Pending Review

Modifies text of Section 1402.4 “Roof-mounted collectors,” and 1402.4.1 “Collectors mounted above the roof.”

Summary

AS

AM

NAR

I

W

TAC Action

James Bickford

15-Referenced Standards

Mod #

7113

Proponent

1

Section

15

Chapter

Pending Review

The shown reference year of 2008 for AMCA 550 is incorrect.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Steele

Mod #

7842

Proponent

1

Section

15

Chapter

Pending Review

AMCA 230-15 Reference Standard

UL 507-2014 Reference Standard

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

Mod #

7976

Proponent

1

Section

15

Chapter

Pending Review

This modification updates the reference standard AMCA 550-08 to the current version, AMCA/ANSI 550-15 (Rev. 09/18).

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

SubCode:

Residential



2-Definitions

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Mechanical

2/26/2019

Page 20 of 23

Total Mods for this report:    87

John Hall

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

3

The modification provides for solar ready features to facilitate the instalation of solar PV and solar thermal systems without resort to destructive methods.

Mod #

Chapter

7645

324

Section

Bryan Holland

TAC Action

W

I

NAR

AM

AS

Summary

This proposed modification adds a new section on Stationary Storage Battery Systems to the code.

Pending Review

Chapter

3

Section

329

Proponent

7350

Mod #

Bryan Holland

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

3

This proposed modification completely replaces the current R315 in the FBC-R related to carbon monoxide alarm requirements with R315 of the 2018 IRC.

Mod #

Chapter

7339

315

Section

3-Building Planning

Bryan Holland

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

2

This proposed modification revises the current definition of Carbon Monoxide Alarm and adds a definition for Carbon Monoxide Detector.

Mod #

Chapter

7361

202

Section

87

Mechanical

TAC:

Total Mods for    Mechanical in    Pending Review

4-Foundations

Page 21 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

7655

Proponent

408.3

Section

4

Chapter

Pending Review

This change adds an option for dehumidification for unvented crawl spaces.

Summary

AS

AM

NAR

I

W

TAC Action

Ann Russo8

14-Heating and Cooling Equipment and Appliances

Mod #

8360

Proponent

1411.6

Section

14

Chapter

Pending Review

Refrigerant piping insulation minimum R-value is shown as R-4 in this section and is in conflict with the R-3 shown on Energy Code R403.4. This change would resolve the conflict.

Summary

AS

AM

NAR

I

W

TAC Action

Oscar Calleja

15-Exhaust Systems

Mod #

8152

Proponent

1507

Section

15

Chapter

Pending Review

Reduces ventilation rates, aligns with 2021 IRC.

Summary

AS

AM

NAR

I

W

TAC Action

Mike Moore

Mod #

8205

Proponent

1507.3.2

Section

15

Chapter

Pending Review

Requires labeling of ventilation system control.

Summary

AS

AM

NAR

I

W

TAC Action

Mike Moore

Page 22 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Total Mods for    Mechanical in    Pending Review

TAC:

Mechanical

87

Mod #

8362

Proponent

1502.4.1

Section

15

Chapter

Pending Review

Adds clarification by adding the corresponding metal gauge to listed duct thickness for dryer exhaust metal ducts.

Summary

AS

AM

NAR

I

W

TAC Action

Oscar Calleja

Mod #

8364

Proponent

1502.4.2

Section

15

Chapter

Pending Review

Removes requirement for screws in Residential Dryer exhaust ducts. The use of screws was historically prohibited in dryer ducts due to the potential for lint accumulation and fire risk.

Summary

AS

AM

NAR

I

W

TAC Action

Oscar Calleja

16-Duct Systems

Mod #

7800

Proponent

1602.2

Section

16

Chapter

Pending Review

Incorporating TAC’s declaratory statements as required by 553.73(7)(d), Florida Statutes.

DS2016-100

Summary

AS

AM

NAR

I

W

TAC Action

Mo Madani

2712-Reference Standards

Mod #

7975

Proponent

1

Section

46

Chapter

Pending Review

This modification updates the reference standard ANSI/AMCA 210-ANSI/ASHRAE 51—07 to the current version ANSI/AMCA 210-16 / ASHRAE 51-16

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

Search Criteria

Page 23 of 23

2/26/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    87

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

TAC Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

M

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived: