Page 1 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    102

Pending Review

TAC Recommendation

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

102

SubCode:

Building



2-Definitions

Mod #

7603

Proponent

202

Section

2

Chapter

Pending Review

This proposal clarifies and makes corrections to the definition. Specifically, in the definition in the Building and Residential Codes it

replaces one of the redundant &quot;vapor retarder&quot; listings with &quot;underlayment&quot;.

Summary

AS

AM

NAR

I

W

TAC Action

Ann Russo5

Mod #

8264

Proponent

202

Section

2

Chapter

Pending Review

This change will make the FBCB definition consistent with the ICC Green Building Code and ASTM D1079.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Crum

15-Roof Assemblies and Rooftop Structures

Mod #

7161

Proponent

1501.1

Section

15

Chapter

Pending Review

The modification provides for inclusion of Florida Building Code, Building Section 1507.18.1 in the High Velocity Hurricane Zone.

Summary

AS

AM

NAR

I

W

TAC Action

John Hall

Page 2 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7182

Proponent

1514

Section

15

Chapter

Pending Review

Clarifying roof drainage requirements.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Goolsby

Mod #

7185

Proponent

1523.6.4

Section

15

Chapter

Pending Review

Clarify required uplift test procedure.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Goolsby

Mod #

7186

Proponent

1525

Section

15

Chapter

Pending Review

Establish consistency with ASCE 7-16.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Goolsby

Mod #

7316

Proponent

1511

Section

15

Chapter

Pending Review

This modification adds language to clarify that salvaged slate, clay and concrete roof tile of like kind can be used in certain applications

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

Page 3 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7338

Proponent

1521.13

Section

15

Chapter

Pending Review

Eliminate a reference in the code to a section that has been removed from the code.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

Mod #

7342

Proponent

1523.6.5.2.8

Section

15

Chapter

Pending Review

Correct a typo error.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

Mod #

7356

Proponent

1507.3

Section

15

Chapter

Pending Review

This modification updates Referenced Standard: FRSA/TRI High Wind Concrete and Clay Roof Tile Manual from the Fifth to the Sixth Edition

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

Mod #

7380

Proponent

1507.9.6

Section

15

Chapter

Pending Review

Revise out dated code language

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Crum

Page 4 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7427

Proponent

1510.7.1

Section

15

Chapter

Pending Review

Correlates the wind loading requirements in the code for rooftop PV with ASCE 7-16.

Summary

AS

AM

NAR

I

W

TAC Action

T Stafford

Mod #

7437

Proponent

1515.2

Section

15

Chapter

Pending Review

Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

Mod #

7438

Proponent

1523.6.5.2.4.1

Section

15

Chapter

Pending Review

Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

Mod #

7580

Proponent

1507.1.1

Section

15

Chapter

Pending Review

This modification adds an exception to underlayment attachment that provides for an existing self-adhering membrane to act as a secondary water barrier similar to the 4&quot; wide strip in the current exception.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

Page 5 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7600

Proponent

1510.11

Section

15

Chapter

Pending Review

Creates new code section to provide minimum standards for positioning and securing metal conduit and electrical wiring near a roof assembly.

Summary

AS

AM

NAR

I

W

TAC Action

Deborah Lawson

Mod #

7696

Proponent

1507.1.1

Section

15

Chapter

Pending Review

This proposal will require a sealed roof deck consistent with the IBHS Fortified Bronze designation.

Summary

AS

AM

NAR

I

W

TAC Action

T Stafford

Mod #

7703

Proponent

1505

Section

15

Chapter

Pending Review

The testing for photovoltaic panel systems are covered in both UL 1703 and UL 2703.    This proposal adds two new UL standards to this section, UL 1703 and 2703, which are ANSI consensus standards.    These standard provide the test method for testing panels and mounting systems.

Summary

AS

AM

NAR

I

W

TAC Action

Jon Roberts

Mod #

7830

Proponent

1504

Section

15

Chapter

Pending Review

This modification moves ASCE 7 as it applies to roof coverings from Chapter 16 to Chapter 15

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

Page 6 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7872

Proponent

1505

Section

15

Chapter

Pending Review

Adds guidance by referencing table 501 for building integrated photovoltaic products to ensure that they have the proper fire classification.

Summary

AS

AM

NAR

I

W

TAC Action

Jon Roberts

Mod #

7878

Proponent

1504

Section

15

Chapter

Pending Review

New Section for Metal roof shingles that recognizes ASTM D3161 classification based on wind resistance code requirements.

Summary

AS

AM

NAR

I

W

TAC Action

Andy Williams

Mod #

8061

Proponent

1507.1.1

Section

15

Chapter

Pending Review

Revision of requirements related to synthetic underlayment.

Summary

AS

AM

NAR

I

W

TAC Action

Greg Keeler

Mod #

8063

Proponent

1507.1.1

Section

15

Chapter

Pending Review

Modifies table to include placeholder for proposed ASTM Polymeeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.

Summary

AS

AM

NAR

I

W

TAC Action

Greg Keeler

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Roofing

2/27/2019

Page 7 of 26

Total Mods for this report:    103

TAC Action

W

I

NAR

AM

AS

Summary

The proposal expands the definition of roofing beyond recognizing metal roof singles

Pending Review

Chapter

15

Section

1507.2.7.1

Proponent

8164

Mod #

Ann Russo5

TAC Action

W

I

NAR

AM

AS

Summary

The proposal expands the definition of roofing beyond recognizing metal roof singles

Pending Review

Chapter

15

Section

1507.2.7.1

Proponent

8161

Mod #

Ann Russo5

TAC Action

W

I

NAR

AM

AS

Summary

The proposal expands the definition of roofing beyond recognizing metal roof singles

Pending Review

Chapter

15

Section

1504.3.3

Proponent

8158

Mod #

T Stafford

TAC Action

W

I

NAR

AM

AS

Summary

Revises the roof tile section to clarify that wind loads on tile have to comply with ASCE 7-16.

Pending Review

Chapter

15

Section

1507.3

Proponent

8080

Mod #

103

Roofing

TAC:

Total Mods for    Roofing in    Pending Review

Ann Russo5

Page 8 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

8273

Proponent

1510.2.5

Section

15

Chapter

Pending Review

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

TAC Action

Paul Coats

Mod #

8291

Proponent

1504

Section

15

Chapter

Pending Review

Updating to match currently applicable standards and references

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

Mod #

8292

Proponent

1505

Section

15

Chapter

Pending Review

Address inconsistency between FBC and FBC-R fire requirements.

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

Mod #

8293

Proponent

1507

Section

15

Chapter

Pending Review

Updating language of section to reflect Chapter 2 definition

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

Page 9 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

8294

Proponent

1507

Section

15

Chapter

Pending Review

Clarifies practice and prescriptive requirements

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

Mod #

8295

Proponent

1516

Section

15

Chapter

Pending Review

Alignment of fire classification between HVHZ and non-HVHZ (Section 1505)

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

Mod #

8397

Proponent

1503.1

Section

15

Chapter

Pending Review

Editorial Change to general requirements

Summary

AS

AM

NAR

I

W

TAC Action

Michael Fischer

Mod #

8399

Proponent

1504.7

Section

15

Chapter

Pending Review

Removes withdrawn referenced standards.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Fischer

31-Special Construction

Page 10 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7365

Proponent

3111

Section

31

Chapter

Pending Review

This proposed modification updates requirement for solar energy systems in the FBC-B.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

35-Referenced Standards

Mod #

7366

Proponent

35

Section

35

Chapter

Pending Review

This modification updates Referenced Standards: FRSA/TRI Florida High Wind Concrete and Clay Roof Tile Installation Manual from the Fifth to the Sixth Edition.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

Mod #

7843

Proponent

35

Section

35

Chapter

Pending Review

Add ASTM E2140-01, Standard Test Method for Water Penetration    of Metal Roof Panel Systems by Static Water Pressure Head.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

Mod #

8301

Proponent

1

Section

35

Chapter

Pending Review

Update referenced standard

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

Page 11 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

8303

Proponent

1

Section

35

Chapter

Pending Review

Update referenced standard

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

SubCode:

Existing Building



2-Definitions

Mod #

7312

Proponent

202

Section

2

Chapter

Pending Review

The modification adds the definition of &quot;Positive Roof Drainage&quot; to the Existing Sub Code Chapter 2 which is currently only in the Building Code Chapter 2. The term only applies to existing buildings.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

7-Alterations - Level 1

Mod #

7219

Proponent

706.7.2.1

Section

7

Chapter

Pending Review

The current language does not correctly describe the limitation on the width of the modified bitumen tape that can be used as a secondary water barrier.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

Mod #

7314

Proponent

706

Section

7

Chapter

Pending Review

This modification adds language to clarify that salvaged slate, clay and concrete roof tile of a like kind can be used in certain applications.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

Page 12 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Section

706

7525

Chapter

Mod #

Expands 706.7 Mitigation by eliminating &quot;single family residential&quot; thereby covering all applicable site built structures. It removes the &quot;roofing materials are removed&quot; trigger and replaces it with prescriptive methods already in code.

7

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Silvers (FRSA)

Mod #

7581

Proponent

707

Section

7

Chapter

Pending Review

This modification changes the trigger from &quot;where roofing materials are removed from more than 50% of the roof diaphragm&quot; to a recognized trigger using a specific accumulated value of proposed work as a ratio of the value of the structure.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

Mod #

7960

Proponent

707.3.2

Section

7

Chapter

Pending Review

Resolves the issue of a routine maintenance activity (i.e. reroofing) establishing a burdensome requirement that is contemplated in Chapter 9 of the Florida Building Code Existing Building, when an Alteration Level Three is reached.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

Section

706.1

8083

Chapter

Mod #

[BS] 706.1 General.

[BS] 706.2 Structural and construction loads.

706.3 Roof replacement.

706.3.1 Roof recover.

706.3.1.1 Exceptions

7

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Harold Barrineau

SubCode:

Residential



2-Definitions

Page 13 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

TAC Action

W

I

NAR

AM

AS

Summary

This proposed modification deletes unneeded &quot;reserved&quot; sections and adds pointers to other applicable rules or standards related to solar energy systems.

Pending Review

Chapter

9

Section

907

Proponent

7347

Mod #

9-Roof Assemblies

Ann Russo1

TAC Action

W

I

NAR

AM

AS

Summary

Editorial improvement.

Pending Review

Chapter

8

Section

806.5

Proponent

7726

Mod #

8-Roof-Ceiling Construction

John Hall

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

3

The modification provides for solar ready features to facilitate the instalation of solar PV and solar thermal systems without resort to destructive methods.

Mod #

Chapter

7645

324

Section

3-Building Planning

Ann Russo1

TAC Action

W

I

NAR

AM

AS

Summary

Add definition to the building-integrated photovoltaic roof panel

Pending Review

Chapter

2

Section

202

Proponent

8177

Mod #

103

Roofing

TAC:

Total Mods for    Roofing in    Pending Review

Bryan Holland

Page 14 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7348

Proponent

909

Section

9

Chapter

Pending Review

This proposed modification deletes R909 as it is no longer needed with the updated information in R324 (Mod 7345) and R907 (Mod 7347).

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7353

Proponent

905.3

Section

9

Chapter

Pending Review

This modification updates Referenced Standard: FRSA/TRI High Wind Concrete and Clay Roof Tile Manual from the Fifth to the Sixth Edition

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

Mod #

7426

Proponent

905.17.1

Section

9

Chapter

Pending Review

Correlates the wind loading requirements in the code for rooftop PV with ASCE 7-16.

Summary

AS

AM

NAR

I

W

TAC Action

T Stafford

Mod #

7571

Proponent

905

Section

9

Chapter

Pending Review

This modification adds an exception to underlayment attachment that provides for an existing self-adhering membrane to act as a secondary water barrier similar to the 4&quot; wide strip in the current exception.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

Page 15 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7665

Proponent

905.1.1

Section

9

Chapter

Pending Review

This proposal clarifies requirements related to use of synthetic underlayment.

Summary

AS

AM

NAR

I

W

TAC Action

Greg Keeler

Mod #

7694

Proponent

905.1.1

Section

9

Chapter

Pending Review

This proposal will require a sealed roof deck consistent with the IBHS Fortified Bronze designation.

Summary

AS

AM

NAR

I

W

TAC Action

T Stafford

Mod #

7730

Proponent

905.15.3

Section

9

Chapter

Pending Review

Add necessary language for the application of roof coatings.

Summary

AS

AM

NAR

I

W

TAC Action

Ann Russo1

Mod #

7782

Proponent

905.8.5

Section

9

Chapter

Pending Review

The existing text was outdated, requiring clarification and updates to current AWPA section numbering.

Summary

AS

AM

NAR

I

W

TAC Action

Scott McAdam

Page 16 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7806

Proponent

906.2

Section

9

Chapter

Pending Review

This proposal will add reference to the appropriate ASTM Standard specification for mineral wool roof insulation and make Table R906.2 consistent with IBC Table 1508.2.

Summary

AS

AM

NAR

I

W

TAC Action

Scott McAdam

Mod #

7865

Proponent

902

Section

9

Chapter

Pending Review

This proposal adds a section to the code related to rooftop mounted photovoltaic panel systems.    It requires rooftop mounted panel systems to be listed and identified with a fire classification in accordance with UL 1703 and UL 2703.

Summary

AS

AM

NAR

I

W

TAC Action

Jon Roberts

Mod #

7967

Proponent

905

Section

9

Chapter

Pending Review

Addition of Wind Resistance testing ASTM D3161 to measure metal roof shingle wind resistance performance

Summary

AS

AM

NAR

I

W

TAC Action

Andy Williams

Mod #

8060

Proponent

905.1.1

Section

9

Chapter

Pending Review

Placeholder for proposed ASTM Polymeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.

Summary

AS

AM

NAR

I

W

TAC Action

Greg Keeler

Page 17 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

8062

Proponent

905.1.1

Section

9

Chapter

Pending Review

Modifies table to include placeholder for proposed ASTM Polymeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.

Summary

AS

AM

NAR

I

W

TAC Action

Greg Keeler

Mod #

8077

Proponent

905.3

Section

9

Chapter

Pending Review

Revises the roof tile section to clarify that wind loads on tile have to comply with ASCE 7-16.

Summary

AS

AM

NAR

I

W

TAC Action

T Stafford

Mod #

8170

Proponent

905.16

Section

9

Chapter

Pending Review

Expanding the requirements for Building-integrated Photovoltaic roof panels.

Summary

AS

AM

NAR

I

W

TAC Action

Ann Russo1

Mod #

8288

Proponent

905

Section

9

Chapter

Pending Review

Update to meet intent of code definition

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

Page 18 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

8290

Proponent

905

Section

9

Chapter

Pending Review

Clarifies practice and prescriptive requirements

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

Mod #

8400

Proponent

905.11.2

Section

9

Chapter

Pending Review

Removes withdrawn standards

Summary

AS

AM

NAR

I

W

TAC Action

Michael Fischer

Appendix U -Solar-Ready Provisions-Detached-One and Two-family Dwellings(Townhouses)

Section

103

7463

Chapter

Mod #

Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.

Appendix U

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Richard Schauland

Chapter 46-Reference Standards

Mod #

7367

Proponent

46

Section

46

Chapter

Pending Review

This modification updates Referenced Standards: FRSA/TRI Florida High Wind Concrete and Clay Roof Tile Installation Manual from the Fifth to the Sixth Edition.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Silvers (FRSA)

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Roofing

2/27/2019

Page 19 of 26

Total Mods for this report:    103

Michael Goolsby

TAC Action

W

I

NAR

AM

AS

Summary

Establish consistency with ASCE 7-16, update preservative standard and clarify Table 2 requirements.

Pending Review

Chapter

RAS 111

Section

3.3

Proponent

7191

Mod #

RAS 111



Test Protocols

SubCode:

Chadwick Collins

TAC Action

W

I

NAR

AM

AS

Summary

Update referenced standard

Pending Review

Chapter

46

Section

1

Proponent

8305

Mod #

Chadwick Collins

TAC Action

W

I

NAR

AM

AS

Summary

Update referenced standard

Pending Review

Chapter

46

Section

1

Proponent

8302

Mod #

Scott McAdam

TAC Action

W

I

NAR

AM

AS

Summary

This proposal will add reference to the appropriate ASTM C726 Standard specification for mineral wool roof insulation and make Table R906.2 consistent with IBC Table 1508.2.

Pending Review

Chapter

46

Section

906.2

Proponent

7808

Mod #

103

Roofing

TAC:

Total Mods for    Roofing in    Pending Review

RAS 115

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Roofing

2/27/2019

Page 20 of 26

Total Mods for this report:    103

W

I

NAR

AM

AS

Summary

Clearly indicate that drip edge metal shall be installed over anchor/base sheet.    This is a current code requirement and needs to be precisely specified.    Eliminate unnecessary requirement to coat joints of metals.

Pending Review

Chapter

RAS 115

Section

5.3

Proponent

7221

Mod #

103

Roofing

TAC:

Total Mods for    Roofing in    Pending Review

TAC Action

Gaspar Rodriguez

Mod #

7349

Proponent

4.2

Section

RAS 115

Chapter

Pending Review

Add language to more correctly reflect code requirements for recently approved products.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

RAS 117

Mod #

7297

Proponent

3.10

Section

RAS 117

Chapter

Pending Review

Clarifies how tapered insulation should be used when substituting standard insulation.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

RAS 118

Mod #

7198

Proponent

2

Section

RAS 118

Chapter

Pending Review

Update standard for treated wood and clarify coastal building zone.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Goolsby

Page 21 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7351

Proponent

3.06

Section

RAS 118

Chapter

Pending Review

Indicate the minimum requirements for height vent pipes, need to extend above roof.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

RAS 119

Mod #

7200

Proponent

2

Section

RAS 119

Chapter

Pending Review

Update standard for treated wood and clarify coastal building zone.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Goolsby

RAS 120

Mod #

7201

Proponent

2

Section

RAS 120

Chapter

Pending Review

Update standard for treated wood and clarify coastal building zone.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Goolsby

Mod #

7592

Proponent

3

Section

RAS 120

Chapter

Pending Review

Clearly indicate current code requirements, specifically back-nailing of underlayment and minimum height of vent pipes.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

RAS 130

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Roofing

2/27/2019

Page 22 of 26

Total Mods for this report:    103

Michael Goolsby

TAC Action

W

I

NAR

AM

AS

Summary

Establish consistency with ASCE 7-16.

Pending Review

Chapter

TAS 105

Section

8

Proponent

7184

Mod #

TAS 105

Chadwick Collins

TAC Action

W

I

NAR

AM

AS

Summary

HVHZ roofing updates

Pending Review

Chapter

TAS 104

Section

1

Proponent

8283

Mod #

TAS 104

Chadwick Collins

TAC Action

W

I

NAR

AM

AS

Summary

HVHZ Roofing Updates

Pending Review

Chapter

TAS 103

Section

1

Proponent

8282

Mod #

TAS 103

Michael Goolsby

TAC Action

W

I

NAR

AM

AS

Summary

Establish consistency with industry standard for installation of wood shingles and wood shakes.

Pending Review

Chapter

RAS 130

Section

4

Proponent

7384

Mod #

103

Roofing

TAC:

Total Mods for    Roofing in    Pending Review

TAS 107

Page 23 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

8284

Proponent

1

Section

TAS 107

Chapter

Pending Review

HVHZ roofing updates

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

TAS 110

Mod #

7299

Proponent

1

Section

TAS 110

Chapter

Pending Review

Specifies Testing Labs must verify manufacturing location of tested products.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

Mod #

7300

Proponent

4

Section

TAS 110

Chapter

Pending Review

Modifies Table 4 in Section 4 to include updated requirement for TPO membranes.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

Mod #

7301

Proponent

8

Section

TAS 110

Chapter

Pending Review

Modifies Table 8 in Section 8 to include requirements for Gypsum and Cementitious insulation boards and Lightweight Insulating Concrete.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

Page 24 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7303

Proponent

9

Section

TAS 110

Chapter

Pending Review

Modifies Table 9 footnote in Section 9 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

Mod #

7304

Proponent

10

Section

TAS 110

Chapter

Pending Review

Modifies Table 10 footnote in Section 10 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

Mod #

7305

Proponent

11

Section

TAS 110

Chapter

Pending Review

Modifies Table 11(A) and 11(B) footnote 3 in Section 11 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

Mod #

7306

Proponent

17

Section

TAS 110

Chapter

Pending Review

Modifies Table 17 footnote in Section 17 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

Page 25 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7439

Proponent

15

Section

TAS 110

Chapter

Pending Review

Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.

Summary

AS

AM

NAR

I

W

TAC Action

Gaspar Rodriguez

Mod #

8299

Proponent

1

Section

TAS 110

Chapter

Pending Review

HVHZ roofing updates

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

TAS 114

Mod #

7308

Proponent

1

Section

TAS 114

Chapter

Pending Review

Modifies TAS 114 Appendix D uplift test over steel substrates.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

Mod #

8300

Proponent

1

Section

TAS 114

Chapter

Pending Review

HVHZ roofing updates

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

TAS 124

Page 26 of 26

2/27/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    103

Total Mods for    Roofing in    Pending Review

TAC:

Roofing

103

Mod #

7183

Proponent

1

Section

TAS 124

Chapter

Pending Review

Clarification of uplift testing requirements and reporting.

Summary

AS

AM

NAR

I

W

TAC Action

Michael Goolsby

TAS 131

Mod #

7307

Proponent

1

Section

TAS 131

Chapter

Pending Review

Modifies the standard because the TPO TAS 131 testing requirements are being incorporated into TAS 110 as a submitted code mod.

Summary

AS

AM

NAR

I

W

TAC Action

Jorge Acebo

Mod #

8286

Proponent

1

Section

TAS 131

Chapter

Pending Review

HVHZ roofing updates

Summary

AS

AM

NAR

I

W

TAC Action

Chadwick Collins

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

TAC Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

R

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived:

Search Criteria