## Sheet1
ID | Manufacturer | Category | Subcategory | A&A | POC | FBC | Comments | Stat.
Certification Method - POC Recommends Approval
42-R4 | Florida Extruders International, Inc. | Windows | Single Hung | a | a |  | Recommend Approval | Revision
43-R4 | Florida Extruders International, Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
44-R4 | Florida Extruders International, Inc. | Windows | Fixed | a | a |  | Recommend Approval | Revision
45-R4 | Florida Extruders International, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
239-R8 | PGT Industries | Windows | Single Hung | a | a |  | Recommend Approval | Revision
251-R6 | PGT Industries | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
253-R5 | PGT Industries | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
2646-R3 | Pella Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | c |  | Recommend Approval | Revision
3663-R4 | Owens Corning | Roofing | Asphalt Shingles | a | a |  | Recommend Approval | Revision
4062-R3 | Florida Extruders International, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
4328-R3 | Pella Corporation | Windows | Single Hung | a | a |  | Recommend Approval | Revision
4708-R3 | Florida Extruders International, Inc. | Windows | Single Hung | a | a |  | Recommend Approval | Revision
5047-R1 | Pella Corporation | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
6074-R1 | Pella Corporation | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
6431-R1 | Pella Corporation | Windows | Single Hung | a | a |  | Recommend Approval | Revision
6502-R1 | MI Windows and Doors | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
6571 | Yale Ogron Windows and Doors | Windows | Single Hung | c | a |  | Recommend Approval | New
6684-R1 | Pella Corporation | Windows | Single Hung | a | a |  | Recommend Approval | Revision
6688-R1 | MI Windows and Doors | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
6694-R1 | Pella Corporation | Windows | Fixed | a | a |  | Recommend Approval | Revision
7130 | Gulf Coast Clay Tile, Inc. | Roofing | Roofing Tiles | a | a |  | Recommend Approval | New
7397 | Home Front Homes, LLC | Panel Walls | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval - Deferred from March 2007 meeting. Complied with conditions of: Application has two different categories and or subcategories. (Panel wall and roof deck). The certification does not indicate if the design load has a safety factor. Roof panels details do not indicate attachment to structure. ASTM E 330 is not a proper test for roof panels uplift or shear values. | Deferred
7776 | Yale Ogron Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
8327 | Technical Roofing Solutions | Roofing | Liquid Applied Roof Systems | a | a |  | Recommend Approval | New
8397 | JELD-WEN | Windows | Fixed | a | a |  | Recommend Approval | New
8532 | Hurst Awning Company Inc. | Shutters | Storm Panels | a | a |  | Recommend Approval | New
8533 | Traco Windows and Doors, Inc. | Windows | Single Hung | a | a |  | Recommend Approval | New
8542 | Traco Windows and Doors, Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
8544 | Waldun Forest Products Partnership | Roofing | Wood Shingles and Shakes | a | a |  | Recommend Approval | New
8548 | Kolbe and Kolbe Millwork | Windows | Casement | a | a |  | Recommend Approval | New
8573 | Elk Corporation | Roofing | Asphalt Shingles | a | a |  | Recommend Approval | New
8576 | Folding Shutter Corporation | Shutters | Accordion | a | a |  | Recommend Approval | New
8583 | Henselstone Window and Door Systems | Windows | Dual Action | a | a |  | Recommend Approval | New
8590 | RC Aluminum Industries, Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
8602 | Folding Shutter Corporation | Shutters | Accordion | a | a |  | Recommend Approval | New
8603 | Kolbe and Kolbe Millwork | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
8605 | ParexLahabra, Incorporated | Panel Walls | Exterior Insulation Finish System | a | a |  | Recommend Approval | New
8619 | Traco Windows and Doors, Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
8636 | Sargent Manufacturing Company | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | New
8638 | Pella Corporation | Windows | Double Hung | a | a |  | Recommend Approval | New
8641 | Great Lakes Window, Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
8642 | Owens Corning | Roofing | Asphalt Shingles | a | a |  | Recommend Approval | New
8643 | Traco Windows and Doors, Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
8649 | Morgan Windows & Glass, Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
8670 | GAF Materials Corporation | Roofing | Asphalt Shingles | a | a |  | Recommend Approval | New
8678 | Shwinco Industries Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
8679 | Wind King | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
8696 | C and M Custom Welding, Inc. d/b/a C and M Hurricane Protection Services | Shutters | Accordion | a | a |  | Recommend Approval | New
8697 | Four Seasons Solar Products LLC | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
8700 | System Components Corporation | Roofing | Underlayments | a | a |  | Recommend Approval | New
8704 | General Aluminum Company | Windows | Single Hung | a | a |  | Recommend Approval | New
8705 | General Aluminum Company | Windows | Casement | a | a |  | Recommend Approval | New
8710 | Atrium Windows and Doors- Florida | Windows | Single Hung | a | a |  | Recommend Approval | New
8714 | Atrium Windows and Doors - Texas | Windows | Single Hung | a | a |  | Recommend Approval | New
8715 | Atrium Windows and Doors - Texas | Windows | Fixed | a | a |  | Recommend Approval | New
8716 | Atrium Windows and Doors - Texas | Windows | Casement | a | a |  | Recommend Approval | New
8717 | Atrium Windows and Doors - Texas | Windows | Awning | a | a |  | Recommend Approval | New
8718 | Construction Specialties, Inc. | Panel Walls | Wall Louver | a | a |  | Recommend Approval | New
8720 | Atrium Windows and Doors - Texas | Windows | Fixed | a | a |  | Recommend Approval | New
8740 | DOME'L INC. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
8745 | Megrame U.S. Windows & Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
8750 | MI Windows and Doors | Windows | Single Hung | a | a |  | Recommend Approval | New
8752 | MI Windows and Doors | Windows | Double Hung | a | a |  | Recommend Approval | New
8754 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
8755 | Traco Windows and Doors, Inc. | Windows | Mullions | a | a |  | Recommend Approval | New
8756 | MI Windows and Doors | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
8759 | MI Windows and Doors | Windows | Fixed | a | a |  | Recommend Approval | New
8760 | MI Windows and Doors | Windows | Casement | a | a |  | Recommend Approval | New
8761 | Energy Saving Products of Florida | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
8766 | MI Windows and Doors | Windows | Single Hung | a | a |  | Recommend Approval | New
8767 | MI Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
8769 | ASHE industries | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
8773 | Alukon GMBH & Co. KG | Shutters | Roll-up | a | a |  | Recommend Approval | New
8774 | JELD-WEN | Windows | Fixed | a | a |  | Recommend Approval | New
8776 | JELD-WEN | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
8777 | Storm Depot Of America, Inc. dba Storm-Busters | Shutters | Storm Panels | a | a |  | Recommend Approval | New
8778 | Storm Depot Of America, Inc. dba Storm-Busters | Shutters | Storm Panels | a | a |  | Recommend Approval | New
8779 | RSL, Inc. | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | New
8781 | Wayne-Dalton Corp. | Shutters | Roll-up | a | a |  | Recommend Approval | New
Certification Method - POC Recommends Conditional Approval
2691-R1 | Windoworld Industries Inc. | Windows | Fixed | a | c |  | Recommend Conditional Approval - Indicate on limits of use that for HVHZ only white PVC is certified. Deferred from March 2007. Complied with: Remove unsigned draft notice for plastic requirements by Miami Dade and use the proper AAMA certification for Rayhau testing. Remove certification for FER requirements, as this is a fixed window. Provide proper and final certification on laminate. | Deferred
2699-R1 | Windoworld Industries Inc. | Windows | Dual Action | a | c |  | Recommend Conditional Approval - Indicate on limits of use that for HVHZ only white PVC is certified. Deferred from March 2007. Complied with: Remove unsigned draft notice for plastic requirements by Miami Dade and use the proper AAMA certification for Rayhau testing. Remove certification for FER requirements, as this is a fixed window. Provide proper and final certification on laminate. | Deferred
2701-R1 | Windoworld Industries Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | c |  | Recommend Conditional Approval - Indicate on limits of use that for HVHZ only white PVC is certified. Deferred from March 2007. Complied with: Provide threshold detail as tested for both inswing and outswing. Provide final certification on laminate. | Deferred
2988 | INDUSTRIAL MILLWORK CORP | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Certification agency to verify compliance with 2004 FBC. Model/Number or Name is not the same as in NOA. Installation Instructions are different from the Certification Agency Certificate. | New
4334-R2 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - There is rational analysis on application. FL PE to validate application. | Revision
5508-R1 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - There is rational analysis on application. FL PE to validate | Revision
7351-R1 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - There is rational analysis on application. FL PE to validate application. | Revision
8228-R1 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - There is rational analysis on application. FL PE to validate application. | Revision
8692 | Masonite International | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - There is rational analysis on application. FL PE to validate application. | New
7833-R1 | Vi Win Tech | Windows | Casement | d | c |  | Recommend Conditional Approval - Standard Years on Certification for ASTM E1886/1996 are not the same as on Application. Standard Year for ASTM E1996 given on Certification is not FBC adopted. Applicant, Vi Win Tech, does not appear as listed under the AAMA Certified Profile Licensees (uploaded under Certification Agency Certificate). For product 7833.3, there is no Certification Agency Certificate uploaded. Could not verify Limits of Use. | Revision
7880-R1 | Vi Win Tech | Windows | Single Hung | d | c |  | Recommend Conditional Approval - Standard Years on Certification for ASTM E1886/1996 are not the same as on Application. Standard Year for ASTM E1996 given on Certification is not FBC adopted. Applicant, Vi Win Tech, does not appear as listed under the AAMA Certified Profile Licensees (uploaded under Certification Agency Certificate). For Product 7880.1, Design Pressure is exceeded under Installation Instructions. | Revision
7882-R1 | Vi Win Tech | Windows | Fixed | d | c |  | Recommend Conditional Approval - Standard Years on Certification for ASTM E1886/1996 are not the same as on Application. Standard Year for ASTM E1996 given on Certification is not FBC adopted. Applicant, Vi Win Tech, does not appear as listed under the AAMA Certified Profile Licensees (uploaded under Certification Agency Certificate). For Products 7882.2, .4 and .5, Design Pressures are exceeded under Installation Instructions. | Revision
8359 | General Aluminum Company | Windows | Single Hung | c | c |  | Recommend Conditional Approval - For Products 8359.8, .9, .10 and 11, unable to verify Design Pressures. | New
8546 | Gorell Enterprises Inc. | Windows | Horizontal Slider | c | c |  | Recommend Conditional Approval - Use on application same testing standards as on certification. | New
8571 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval. Provide hardware schedule as tested. | New
8580 | Extech Exterior Technologies | Windows | Projected | c | c |  | Recommend Conditional Approval. "Miami-Dade NOA is not a standard. Remove. Indicate testing standards on application. | New
8626 | LONG'S MILLWORK INC. | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Indicate hardware as tested. Standard Years given on Application are not FBC adopted. | New
8736 | Energy Saving Products of Florida | Windows | Single Hung | c | c |  | Recommend Conditional Approval - Negative pressure above tested are not certified by certification agency. | New
8738 | Energy Saving Products of Florida | Windows | Single Hung | c | c |  | Recommend Conditional Approval - Certification agency on application indicated they are not certifying these products. Select the correct certification agency. | New
8741 | Majestic Entry Doors | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Specify hardware as tested. | New
8742 | M W Manufacturers Inc. | Windows | Single Hung | c | c |  | Recommend Conditional Approval - For Product 8742.4, there is no verifiable evidence of structural load testing required by FBC (AAMA or equivalent). | New
8748 | M W Manufacturers Inc. | Windows | Casement | c | c |  | Recommend Conditional Approval - Certificates now shows Standard ANSI/AAMA/NWWDA 101/I.S.2-97 testing, but Application only shows AAMA/WDMA/CSA 101/I.S./2A440-05, which is not on the Certificate. | New
8751 | Gorell Enterprises Inc. | Windows | Horizontal Slider | c | c |  | Recommend Conditional Approval - Standard year is not FBC adopted. | New
8768 | CURRIES | Exterior Doors | Exterior Door Components | c | c |  | Recommend Conditional Approval - Specify mullion as tested on an assembly, indicate an approved mullion or remove the reference to the mullion and indicate connection to substrate. Indicate max. D.L.O. Provide certification of polycarbonate. Air limitation for louvered doors has not been indicated. Door skin material has not been indicated. Material, dimensions and thickness of wire anchors has not been indicated. Max shim space is not indicated. Source of 3/8" expansion anchor and capacity, edge distance and substrate strength is not indicated. Capacity of lag screw with 2.5" penetration is exceeded. Indicate source of capacity for #8 X 1" drywall screw into wood or steel stud. The stud thickness for bearing is not known. | New
8770 | CURRIES | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Specify mullion as tested on an assembly, indicate an approved mullion or remove the reference to the mullion and indicate connection to substrate. Indicate max. D.L.O. Provide certification of polycarbonate. Air limitation for louvered doors has not been indicated. Door skin material has not been indicated. Material, dimensions and thickness of wire anchors has not been indicated. Max shim space is not indicated. Source of 3/8" expansion anchor and capacity, edge distance and substrate strength is not indicated. Capacity of lag screw with 2.5" penetration is exceeded. Indicate source of capacity for #8 X 1" drywall screw into wood or steel stud. The stud thickness for bearing is not known. | New
Certification Method - POC Recommends Deferral
7881-R1 | Vi Win Tech | Windows | Double Hung | d | d |  | Recommend Deferral - Standard Years on Certification for ASTM E1886/1996 are not the same as on Application. Standard Year for ASTM E1996 given on Certification is not FBC adopted. Applicant, Vi Win Tech, does not appear as listed under the AAMA Certified Profile Licensees (uploaded under Certification Agency Certificate). For Product 7881.4, Model/Number is not the same as on NAMI Certification. | Revision
8204-R1 | Vi Win Tech | Windows | Single Hung | d | d |  | Recommend Deferral - Standard Years on Certification for ASTM E1886/1996 are not the same as on Application. Standard Year for ASTM E1996 given on Certification is not FBC adopted. Standards ASTM E1886/1996 and TAS 201/202/203 are missing on the Application Standards list. Applicant, Vi Win Tech, does not appear as listed under the AAMA Certified Profile Licensees (uploaded under Certification Agency Certificate). For Products 8204.1, .2 and .3, there are no NAMI Certificates uploaded. For Products 8204.2 and .3, Design Pressures are exceeded, as per Installation Instructions. | Revision
8206-R1 | Vi Win Tech | Windows | Double Hung | d | d |  | Recommend Deferral - Standard Years on Certification for ASTM E1886/1996 are not the same as on Application. Standard Year for ASTM E1996 given on Certification is not FBC adopted. Standards ASTM E1886/1996 and TAS 201/202/203 are missing on the Application Standards list. Applicant, Vi Win Tech, does not appear as listed under the AAMA Certified Profile Licensees (uploaded under Certification Agency Certificate). For Products 8204.2, .3 and .4, there are no NAMI Certificates uploaded. For Products 8204.3 and .4, Design Pressures are exceeded, as per Installation Instructions. | Revision
8772 | Englert, Inc. | Roofing | Underlayments | c | d |  | Recommend Deferral - Standard years are not FBC adopted. Application shall be made by the manufacturing holding the NOA. Installation instructions are beyond certification. | New
8780 | Vi Win Tech | Windows | Casement | d | d |  | Recommend Deferral - Standard Years on Certification for ASTM E1886/1996 are not the same as on Application. Standard Year for ASTM E1996 given on Certification is not FBC adopted. Applicant, Vi Win Tech, does not appear as listed under the AAMA Certified Profile Licensees (uploaded under Certification Agency Certificate). For All Products, there are no NAMI Certificates uploaded. For Products 8780.2 and .3, Design Pressures are exceeded, as per Installation Instructions. | New
8782 | Vi Win Tech | Windows | Casement | d | d |  | Recommend Deferral - Applicant, Vi Win Tech, does not appear as listed under the AAMA Certified Profile Licensees (uploaded under Certification Agency Certificate). For All Products, there are no NAMI Certificates uploaded. For Products 8782.2, and .3, Design Pressures are exceeded, as per Installation Instructions. | New
Certification Method - Incomplete Applications
4509 | DOME'L INC. | Exterior Doors | Swinging Exterior Door Assemblies |  |  |  |  | New
8308 | E-Z TAPING SYSTEMS, INC. | Structural Components | Structural Wall |  |  |  | Withdrawn | New
8593 | Martin Door Manufacturing | Exterior Doors | Sectional Exterior Door Assemblies |  |  |  |  | New
8775 | JELD-WEN | Windows | Casement |  |  |  |  | New
Evaluation by Engineer/ Architect -POC Recommends Approval
1800-R2 | Millennium Adhesive Products, Inc. | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | Revision
3915-R2 | Soprema, Inc. | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Revision
4210 | Green Products, LLC | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | New
5684-R1 | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
6218-R6 | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
6356-R1 | The Foundry | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
7484 | BAKER METAL WORKS & SUPPLY, INC. | Roofing | Metal Roofing | a | a |  | Recommend Approval - Deferred from March 2007 Complied with: Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | New
8124 | Alside, Inc., Division of AMI | Windows | Casement | a | a |  | Recommend Approval | New
8125-R1 | Alside, Inc., Division of AMI | Windows | Double Hung | a | a |  | Recommend Approval | Revision
8391 | Architectural Metal Fabrication/Gutter Drain | Roofing | Metal Roofing | a | a |  | Recommend Approval - Deferred from March 2007 Complied with: Missing hardcopy signed and sealed of evaluation report. Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | Deferred
8392 | Modern Metal Systems Incorporated | Roofing | Metal Roofing | a | a |  | Recommend Approval - Deferred from March 2007 Complied with: Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | Deferred
8393 | MarlynMetals, Incorporated | Roofing | Metal Roofing | a | a |  | Recommend Approval - Deferred from March 2007 Complied with: Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | Deferred
8406 | TRIAD CORRUGATED METALS | Roofing | Metal Roofing | a | a |  | Recommend Approval - Deferred from March 2007 Complied with: Missing hardcopy signed and sealed of evaluation report. Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | Deferred
8407 | Gulf Coast Supply and Mfg., Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval - Deferred from March 2007 Complied with: Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | Deferred
8408 | Florida Southern Roofing | Roofing | Metal Roofing | a | a |  | Recommend Approval - Deferred from March 2007 Complied with: Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | Deferred
8413 | Mid Metal Roofing Manufacturing & Supply, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval - Deferred from March 2007 Complied with: Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | Deferred
8415 | Metal Building Supplies, LLC | Roofing | Metal Roofing | a | a |  | Recommend Approval - Deferred from March 2007 Complied with: Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | Deferred
8472-R1 | Hendee Enterprises | Shutters | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
8534 | RightConcept | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
8535 | RightConcept | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
8543 | Fabral | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
8551 | Eagle Window and Door, Inc | Windows | Casement | a | a |  | Recommend Approval | New
8554 | Eagle Window and Door, Inc | Windows | Awning | a | a |  | Recommend Approval | New
8556 | Eagle Window and Door, Inc | Windows | Fixed | a | a |  | Recommend Approval | New
8557 | Eagle Window and Door, Inc | Windows | Fixed | a | a |  | Recommend Approval | New
8558 | Eagle Window and Door, Inc | Windows | Fixed | a | a |  | Recommend Approval | New
8559 | Eagle Window and Door, Inc | Windows | Double Hung | a | a |  | Recommend Approval | New
8560 | Eagle Window and Door, Inc | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
8614 | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
8618 | Schulte Building Systems | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
8621 | Windsor Republic Doors, Inc. Little Rock, AR | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
8627 | Alside, Inc., Division of AMI | Windows | Mullions | a | a |  | Recommend Approval | New
8630 | MBCI, L.P. | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
8631 | MBCI, L.P. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
8645 | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
8646 | South Florida Metal Supply, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | New
8667 | Metal Sales Manufacturing Corporation | Panel Walls | Siding | a | a |  | Recommend Approval | New
8675 | Berridge Manufacturing Co. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
8676 | Berridge Manufacturing Co. | Panel Walls | Siding | a | a |  | Recommend Approval | New
8683 | Regency Plus Incorporated | Windows | Mullions | a | a |  | Recommend Approval | New
8684 | Regency Plus Incorporated | Windows | Mullions | a | a |  | Recommend Approval | New
8686 | Graber Post Buildings, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
8687 | Graber Post Buildings, Inc. | Panel Walls | Siding | a | a |  | Recommend Approval | New
8688 | Ecolite Concrete USA, Inc. | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | New
8702 | Schulte Building Systems | Structural Components | Structural Wall | a | a |  | Recommend Approval | New
8706 | YKK AP America | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
8713 | VP Buildings, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | New
8723 | Palram Americas, Inc. | Shutters | Storm Panels | a | a |  | Recommend Approval | New
8725 | Mid Florida Metal Roofing and Supply, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
8727 | Competitive Hurricane Protection, LLC | Shutters | Storm Panels | a | a |  | Recommend Approval | New
8728 | Cat 5 Hurricane Products, LLC | Shutters | Storm Panels | a | a |  | Recommend Approval | New
8739 | T.M. Window and Door, LLC. | Windows | Single Hung | a | a |  | Recommend Approval | New
8747 | Hurricane Fabric .com | Shutters | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | New
8763 | Rollsecure | Shutters | Roll-up | a | a |  | Recommend Approval | New
8765 | Scandinavian Profiling System, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
Evaluation by Engineer/ Architect - POC Recommends Conditional Approval
7179 | Gorell Enterprises Inc. | Windows | Mullions | c | c |  | Recommend Conditional Approval -Both Products seem to be the same. Remove one. For Product 7179.2, Installation Instructions are for Series 5301. Application Model/Number is 98115 Hurricane Mull. | New
8414 | Thompson Construction and Remodeling | Roofing | Metal Roofing | c | c |  | Recommend Conditional Approval - Quality Assurance Entity chosen indicated that the applicant is not under their inspection program. Provide certificate from an approved quality assurance entity. Deferred from March 2007 Complied with: Fire barrier is not optional for TAS110, remove the word optional, or indicate no for HVHZ. Accreditation body to review the multiple tests on a single day at the test facility. | Deferred
8562 | Eagle Window and Door, Inc | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval -Specify hardware as tested. Remove all the optional or as equal on hardware. Missing from Standards List: TAS 201/202/203 and ASTM E330/1886/1996. They are in the Evaluation Reports. | New
8564 | Eagle Window and Door, Inc | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval -Provide hardware as tested. | New
8569 | Elegante Iron, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval -Provide hardware as tested. | New
8612 | Nana Wall Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | c | c |  | Recommend Conditional Approval -Evaluation report refers to Comparative Analysis. Explain how was it analyzed testing a single size with a single load pressure. | New
8622 | USA Shutter Company LLC | Shutters | Roll-up | a | c |  | Recommend Conditional Approval - Unlimited height & width not acceptable. Tec screws and lag screws are not designed to be removed and re-installed (capacity is reduced). | New
8629 | Metalforming Inc | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8644 | LYNN METAL COMPANY, INC | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8651 | Armored Metal Works | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8652 | Cheesboro Roofing | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8653 | Comfort Enclosures | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8654 | Crowther Roofing and Sheet Metal | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8655 | Florida Southern Roofing | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8657 | Metal Building Supplies, LLC | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8658 | Mid Florida Metal Roofing and Supply, Inc. | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8659 | Modern Metal Systems Incorporated | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8660 | Mullets Aluminum | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8661 | Prestige Aluminum | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8662 | Roofmetix Industries | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8664 | SunSky Metal,LLC | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8665 | TRIAD CORRUGATED METALS | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8690 | Coastal Metal Roofing, Inc | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8694 | Architectural Metal Fabrication/Gutter Drain | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8695 | ASI Building Products | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8709 | Roofmetix Industries | Roofing | Metal Roofing | a | c |  | Recommend Conditional Approval - Need to verify the fastening pattern used in TAS 100 matches pattern for corners and limit load as tested on TAS 100. | New
8637 | StormWatch | Shutters | Products Introduced as a Result of New Technology | c | c |  | Recommend Conditional Approval - Missing hardcopy signed and sealed of evaluation report. | New
8639 | Guardian Building Products - Ashley Aluminum, LLC | Structural Components | Products Introduced as a Result of New Technology | a | c |  | Recommend Conditional Approval - Indicate on limits of use on application: "For exterior patio use only". | New
8685 | Guardian Building Products - Ashley Aluminum, LLC | Structural Components | Products Introduced as a Result of New Technology | a | c |  | Recommend Conditional Approval - Indicate on limits of use on application: "For exterior patio use only". | New
8648 | Elite Aluminum Corporation | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval -Indicate grade and thickness of aluminum components. Indicate hardware as tested. Verify glazing detail as tested. | New
8650 | Folding Shutter Corporation | Shutters | Roll-up | c | c |  | Recommend Conditional Approval -Remove storm bar and mullions span larger than tested for impact/cycling. | New
8707 | Best Rolling Doors,Inc | Exterior Doors | Roll-Up Exterior Door Assemblies | c | c |  | Recommend Conditional Approval -Remove sizes larger than tested or indicate not for HVHZ. | New
8711 | RGM Products, Inc. | Roofing | Modified Bitumen Roof System | a | c |  | Recommend Conditional Approval - Comply with HVHZ requirements of acelerated weathering and TAS 114 Appendix A, F, G, I, K or indicate "Not for HVHZ". | New
8712 | YKK AP America | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval -TAS 201/203 are missing on the Standard List. Provide the name and accreditation of testing lab performing the tests on the gaskets for 8712.3 | New
8722 | Milliken Distribution | Shutters | Storm Panels | a | c |  | Recommend Conditional Approval - Provide thickness of buildout channels. | New
8731 | YKK AP America | Panel Walls | Storefronts | c | c |  | Recommend Conditional Approval -There is no evidence of the location of the gasket testing. | New
8735 | Acurlite Structural Skylgihts, Inc. | Sky Lights | Skylight | a | c |  | Recommend Conditional Approval - Note 7 on drawing is not acceptable. If only a 4' X 8' size was tested all other shapes do not qualify for HVHZ. Verify a factor of safety of 2 was used for pressure and uplift. Otherwise indicate "Not for HVHZ". | New
8753 | YKK AP America | Exterior Doors | Sliding Exterior Door Assemblies | c | c |  | Recommend Conditional Approval -Design is based on rational analysis when the building code indicates specific testing standards on the product. | New
Evaluation by Engineer/ Architect - Incomplete Applications
4690-R1 | Westshore Glass Corp. | Panel Walls | Storefronts |  |  |  |  | Revision
4990-R1 | Westshore Glass Corp. | Exterior Doors | Swinging Exterior Door Assemblies |  |  |  |  | Revision
8061 | Weatherguard Building Products | Shutters | Storm Panels |  |  |  |  | New
8237 | URoll Shutters | Shutters | Roll-up |  |  |  |  | New
8349 | Nana Wall Systems, Inc. | Exterior Doors | Swinging Exterior Door Assemblies |  |  |  |  | New
8567 | Sincol | Exterior Doors | Swinging Exterior Door Assemblies |  |  |  |  | New
8615 | URoll Shutters | Shutters | Roll-up |  |  |  |  | New
8693 | A.R.B.S. alternative blocking | Roofing | Roofing Accessories that are an Integral Part of the Roofing System |  |  |  |  | New
8724 | URoll Shutters | Shutters | Roll-up |  |  |  |  | New
Evaluation by Test Report - POC Recommends Approval
5259-R2 | POLYGLASS USA | Roofing | Underlayments | a | a |  | Recommend approval | Revision
5792-R1 | C-Thru Industries | Structural Components | Structural Wall | a | a |  | Recommend approval | Editorial Change
6391-R2 | TEMO Sunrooms, Inc. | Structural Components | Structural Wall | a | a |  | Recommend approval | Revision
6809 | Agri-Metal Supply Inc. | Roofing | Metal Roofing | a | a |  | Recommend approval | New
8289 | GlassCraft Door Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
8588 | Simonton Windows | Windows | Mullions | a | a |  | Recommend Approval | New
8672 | Quality Edge | Panel Walls | Siding | a | a |  | Recommend Approval | New
8677 | BETCO, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
8729 | Quality Edge | Panel Walls | Soffits | a | a |  | Recommend Approval | New
Evaluation by Test Report - POC Recommends Conditional Approval
3227-R5 | Wayne-Dalton Corp. | Shutters | Storm Panels | c | c |  | Recommend Conditional Approval - Provide specification of fabric material. Provide porosity of shutter system. | Revision
8193 | VEKA Inc. | Windows | Casement | c | c |  | Recommend Conditional Approval - Test reports are not signed and sealed by a FL PE. There is no certification of extrusion or laminate. Load test were of a different glass configuration than the impact test. The laminate glass description does not indicate the components. The installation instructions do not indicate spacing. | New
8198 | VEKA Inc. | Windows | Double Hung | c | c |  | Recommend Conditional Approval - Test reports are not signed and sealed by a FL PE. There is no certification of extrusion or laminate. Load test were of a different glass configuration than the impact test. The laminate glass description does not indicate the components. The installation instructions do not indicate spacing. | New
8201 | VEKA Inc. | Windows | Fixed | c | c |  | Recommend Conditional Approval - Test reports are not signed and sealed by a FL PE. There is no certification of extrusion or laminate. Load test were of a different glass configuration than the impact test. The laminate glass description does not indicate the components. The installation instructions do not indicate spacing. | New
8356 | EFCO Corporation | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Installation instructions indicate anchors other than tested. There is no certification of laminate. Test report is not signed and sealed by FL PE. | New
8625 | Armaclad, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | c | c |  | Recommend Conditional Approval - Indicate hardware as tested, Provide testing of foam as required on Chapter 26. Installation instructions indicate glazing. Remove. Resolve conflict between test report and installation instructions related to air and water requirements. | New
8647 | Elite Aluminum Corporation | Structural Components | Structural Wall | c | c |  | Recommend Conditional Approval - ASTM E72 is not an adopted standard in the 2004 FBC. Installation instructions are not as tested. Some of the test reports are not signed and sealed by FL PE. Others have pages that are ilegible. | New
8656 | Tognana USA/Tognana Industrie E Fornaci | Roofing | Roofing Tiles | a | c |  | Recommend Conditional Approval - Tiles are missing call-out for identification on tile. Products 8656.1, .3 and .4 are missing the calculation data for the Aerodynamic Multiplier and Restoring Momets. This is required for moment based systems. Otherwise indicate "Not for HVHZ". | New
8682 | YKK AP America | Panel Walls | Curtain Walls | c | c |  | Recommend Conditional Approval - There is no evidence of the testing location for the gasket. 8682.1 and .2 were not tested for air or water infiltration. Mull was not impacted. | New
Evaluation by Test Report - POC Recommends Denial
Evaluation by Test Report - Incomplete applications
4999-R1 | Westshore Glass Corp. | Panel Walls | Storefronts |  |  |  |  | Revision
8279 | Winco Window Company | Windows | Fixed | y |  |  | Withdrawn | Deferred
Evaluation by Evaluation Entity - POC Recommends Approval
8596 | MD Enterprises, Inc. | Structural Components | Structural Wall | a | a |  | Recommend Approval | New
Evaluation by Evaluation Entity - POC Recommends Conditional Approval
8547 | LP | Structural Components | Structural Wall | c | c |  | Recommend Conditional Approval - There is no Certificate of Independence. AC321 is not an FBC approved Standard. Under Equivalence of Product Standards, “FL8547 RO Equiv ac321.pdf” does not load. Evaluation report contains rational analysis. Validation has to be by FL PE. | New
Evaluation by Evaluation Entity - POC Recommends Deferral
8555 | Protecto Wrap Company | Windows | Products Introduced as a Result of New Technology | d | d |  | Recommend Deferral - There is no Certificate of Independence. ASTM 2112 is not FBC adopted. ASTM E331-90 Year is not FBC adopted. Application does not indicate structural load testing standard. Could not download Certificate of Product Standards. R I Ogawa & Associates, Inc. is not FBC approved as a Product Validation Entity. Could not download Evaluation Reports. Could not download Installation Instructions. There is no verifiable evidence of Impact Resistance. | New
Entities Application -POC Recommends Approval
TST 4120 | Architectural Testing Inc. - Wisconsin | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 4744 | National Certified Testing Laboratories-York | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision