## Sheet1
ID | Manufacturer | Category | Subcategory | TBA | POC | FBC | Comments | Stat.
Certification Method - TBA Reviewers Recommend Approval
251-R10 | PGT Industries | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
539-R6 | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
601-R2 | MonierLifetile | Roofing | Roofing Tiles | a |  |  | Recommend Approval
2037 | Celcore Incorporated | Roofing | Roofing Insulation | a |  |  | Recommend Approval | New
3546-R2 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a |  |  | Recommend Approval | Revision
3548-R2 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a |  |  | Recommend Approval | Revision
4795-R2 | Kolbe and Kolbe Millwork | Windows | Double Hung | a |  |  | Recommend Approval | Revision
4809-R1 | Marvin Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
4939-R1 | Marvin Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
4972-R1 | Marvin Windows and Doors | Windows | Horizontal Slider | a |  |  | Recommend Approval | Revision
5027-R2 | LL Building Products, Inc sub of GAFMC | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a |  |  | Recommend Approval | Revision
7392-R2 | PHILIPS PRODUCTS INC. | Windows | Single Hung | a |  |  | Recommend Approval | Revision
9386 | Adurel International | Roofing | Cements-Adhesives-Coatings | a |  |  | Recommend Approval | New
10188 | Marvin Windows and Doors | Windows | Fixed | a |  |  | Recommend Approval | New
10191 | Marvin Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10196 | Marvin Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10197 | Marvin Windows and Doors | Windows | Casement | a |  |  | Recommend Approval | New
10199 | Marvin Windows and Doors | Windows | Awning | a |  |  | Recommend Approval | New
10234 | Ruskin Company | Panel Walls | Wall Louver | a |  |  | Recommend Approval | New
10248 | Marvin Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10257 | Marvin Windows and Doors | Windows | Double Hung | a |  |  | Recommend Approval | New
10318 | Marvin Windows and Doors | Windows | Double Hung | a |  |  | Recommend Approval | New
10321 | Marvin Windows and Doors | Windows | Casement | a |  |  | Recommend Approval | New
10323 | Marvin Windows and Doors |  |  | a |  |  | Recommend Approval | New
10325 | Marvin Windows and Doors | Windows | Fixed | a |  |  | Recommend Approval | New
10351-R1 | Alenco | Windows | Single Hung | a |  |  | Recommend Approval | Revision
10398 | Kolbe and Kolbe Millwork | Windows | Double Hung | a |  |  | Recommend Approval | New
10422 | Kolbe and Kolbe Millwork | Windows | Awning | a |  |  | Recommend Approval | New
10430 | Alenco | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
10480 | Marvin Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10485 | Marvin Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10493 | Grand Glass Company | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10507 | PGT Industries | Windows | Horizontal Slider | a |  |  | Recommend Approval | New
10541 | JORDAN WINDOWS and DOORS | Windows | Fixed | a |  |  | Recommend Approval | New
10542 | JORDAN WINDOWS and DOORS | Windows | Horizontal Slider | a |  |  | Recommend Approval | New
10543 | JORDAN WINDOWS and DOORS | Windows | Single Hung | a |  |  | Recommend Approval | New
10555 | M W Manufacturers Inc. | Windows | Awning | a |  |  | Recommend Approval | New
10558 | M W Manufacturers Inc. | Windows | Casement | a |  |  | Recommend Approval | New
10559 | M W Manufacturers Inc. | Windows | Fixed | a |  |  | Recommend Approval | New
Evaluation by Engineer/ Architect -TBA Reviewers Recommend Approval
1654-R3 | POLYGLASS USA | Roofing | Modified Bitumen Roof System | a |  |  | Recommend Approval | Revision
2948-R2 | Johns Manville | Roofing | Modified Bitumen Roof System | a |  |  | Recommend Approval | Revision
4141-R2 | Modtech Holdings, Inc. | Panel Walls | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | Revision
4866-R1 | MILLENNIUM METALS INC. | Roofing | Metal Roofing | a |  |  | Recommend Approval | Revision
5211-R1 | MILLENNIUM METALS INC. | Roofing | Metal Roofing | a |  |  | Recommend Approval | Revision
5215-R1 | BITEC, INC. | Roofing | Underlayments | a |  |  | Recommend Approval | Revision
7559-R1 | MILLENNIUM METALS INC. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a |  |  | Recommend Approval | Revision
7809-R1 | MILLENNIUM METALS INC. | Roofing | Metal Roofing | a |  |  | Recommend Approval | Revision
8248-R2 | Wayne-Dalton Corp. | Exterior Doors | Sectional Exterior Door Assemblies | a |  |  | Recommend Approval
8390-R1 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9162-R1 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9368-R1 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9390-R1 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9406-R1 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9539-R1 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9540-R1 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9541-R1 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9542-R1 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9603-R1 | Innovative Metals Company, Inc. | Roofing | Underlayments | a |  |  | Recommend Approval | Revision
9693 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9694 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9927-R1 | Silverline Building Products Corp. | Windows | Fixed | a |  |  | Recommend Approval | Revision
9930-R1 | Johns Manville | Roofing | Single Ply Roof Systems | a |  |  | Recommend Approval | Revision
10201 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a |  |  | Recommend Approval | New
10203 | C.H.I. Overhead Doors | Exterior Doors | Exterior Door Components | a |  |  | Recommend Approval | New
10242 | Southern Custom Woodworks | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10291-R1 | POLYGLASS USA | Roofing | Cements-Adhesives-Coatings | a |  |  | Recommend Approval | Revision
10352 | Bovard Studio, Inc. | Shutters | Storm Panels | a |  |  | Recommend Approval | New
10376 | The Hurricane Window and Door Factory | Windows | Fixed | a |  |  | Recommend Approval | New
10402 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a |  |  | Recommend Approval | New
10403 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a |  |  | Recommend Approval | New
10424 | Silverline Building Products Corp. | Windows | Casement | a |  |  | Recommended Approval | New
10429 | Wayne-Dalton Corp. | Exterior Doors | Sectional Exterior Door Assemblies | a |  |  | Recommended Approval | New
10435 | Brannen Millwork Company | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10442 | Merchant & Evans, Inc. | Roofing | Metal Roofing | a |  |  | Recommend Approval | New
10451 | Gulf Coast Supply and Mfg., Inc. | Roofing | Metal Roofing | a |  |  | Recommend Approval | New
10453 | Alside Window Company | Windows | Single Hung | a |  |  | Recommend Approval | New
10463 | Gentek Building Products | Windows | Single Hung | a |  |  | Recommend Approval | New
10464 | Revere Building Products | Windows | Single Hung | a |  |  | Recommend Approval | New
10465 | Associated Materials Inc. | Windows | Single Hung | a |  |  | Recommend Approval | New
10467 | Coral Industries, Inc | Panel Walls | Storefronts | a |  |  | Recommend Approval | New
10468 | Coral Industries, Inc | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10476 | Gulf Coast Supply and Mfg., Inc. | Structural Components | Roof Deck | a |  |  | Recommend Approval | New
10486 | Bonneville Windows and Doors | Windows | Fixed | a |  |  | Recommend Approval | New
10487 | Mule-Hide Products Co., Inc. | Roofing | Cements-Adhesives-Coatings | a |  |  | Recommend Approval | New
10489 | NuAir Windows and Doors | Windows | Casement | a |  |  | Recommend Approval | New
10494 | Corle Building Systems | Roofing | Metal Roofing | a |  |  | Recommend Approval | New
10497 | Mule-Hide Products Co., Inc. | Roofing | Modified Bitumen Roof System | a |  |  | Recommend Approval | New
10499 | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a |  |  | Recommend Approval | New
10500 | Concrecel International, Inc. | Roofing | Roofing Insulation | a |  |  | Recommend Approval | New
10510 | Advanced Green Technologies | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a |  |  | Recommend Approval | New
10516 | Associated Materials Inc. | Windows | Horizontal Slider | a |  |  | Recommend Approval | New
10517 | Florida Powder Coating and Shutters Inc | Shutters | Bahama | a |  |  | Recommend Approval | New
10518 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a |  |  | Recommend Approval | New
10528 | UNION CORRUGATING COMPANY | Roofing | Metal Roofing | a |  |  | Recommend Approval | New
10530 | Florida Powder Coating and Shutters Inc | Shutters | Colonial | a |  |  | Recommend Approval | New
10538 | Silverline Building Products Corp. | Windows | Casement | a |  |  | Recommend Approval | New
10548 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10549 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10551 | NuAir Windows and Doors | Windows | Casement | a |  |  | Recommend Approval | New
10554 | NuAir Windows and Doors | Windows | Single Hung | a |  |  | Recommend Approval | New
Evaluation by Engineer/ Architect - TBA Reviewers Recommend Denial
8363-R1 | Armor Screen Corp. | Shutters | Products Introduced as a Result of New Technology | y |  |  | Recommend Denial - Deferred on January 2008. Did not comply with condition of: Pneumatic device not impacted and deflection measured when impacted; provide deflection of pneumatic device and its bearing load on glazing under pressure and impact, or remove. Does not comply with (For HVHZ): Section 1626.2.6.1 of the Florida Building Code: “If external protection devices are employed to protect windows, fixed doors or skylights, they must resist the large missile impacts specified in Sections 1626.2.3 and 1626.2.4 without deformations which result in contact with the windows, fixed glass, glass block, and doors or skylights they are intended to protect.” Section 1613.1.9 of the Florida Building Code: “Storm shutters and fold-down awnings, which in the closed position shall provide a minimum clear separation from the glass of 1 inch (25 mm) but not to exceed 2 inches (51 mm) when the shutter or awning is at its maximum point of permissible deflection”…. Hardcopy of validation checklist is not signed and sealed. | Deferred
Evaluation by Test Report - TBA Reviewers Recommend Approval
9059 | Winco Window Company | Windows | Fixed | a |  |  | Recommend Approval | New
9060 | Winco Window Company | Windows | Single Hung | a |  |  | Recommend Approval | New
10280 | major industries | Panel Walls | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | New
10400 | TAMKO Building Products, Inc. | Roofing | Modified Bitumen Roof System | a |  |  | Recommend Approval | New
10416 | Coral Industries, Inc | Panel Walls | Storefronts | a |  |  | Recommend Approval | New
10432 | Coral Industries, Inc | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10503 | Atlantis Plastics, Inc. | Panel Walls | Siding | a |  |  | Recommend Approval | New
10523 | Wasco Products, Inc. | Sky Lights | Skylight | a |  |  | Recommend Approval | New
Evaluation by Test Method - TBA Reviewers Recommend Denial
10295 | Sunoptics Prismatic Skylights | Sky Lights | Skylight | y |  |  | Recommend Denial - Deferred from March 2008 - Did not revise deferral conditions of: Test laboratory should provide drawing with installation as tested and installation drawing shall be same as tested. | Deferred
Evaluation by Evaluation Entity - TBA Reviewers Recommend Approval
8850 | Southeastern Metals Mfg. Co. | Shutters | Storm Panels | a |  |  | Recommend Approval | New
10194 | ParexLahabra, Incorporated | Panel Walls | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | New
Evaluation by Evaluation Entity - TBA Reviewers Recommend Denial
9316-R3 | Insulfoam LLC | Roofing | Roofing Insulation | y |  |  | Recommend Denial - Changed performance to the 2007 FBC with new evaluations and applied as an editorial change. This application should have been a "New" or "Revised" application. | Editorial Change
9316-R3 |  |  |  | w |  |  | Applicant has requested withdrawal and has applied with a new application. Recommend withdrawal.
Applications with Public Comments
Certification Method
1844-R3 | PGT Industries | Windows | Horizontal Slider | a |  |  | Recommend Approval | Revision
1844-R3 | Public Comment Rick Wright | [5 empty] | a. Applicant posted test report under Installation Instructions. The drawing contained in the test report does not state edge distances and max shim spacing. b. Based on the drawings as represented there should be a note in Limits of Use – Other: This product can only be installed directly to a 2x Southern Yellow Pine wood buck. (cannot be used on stud construction with sheathing)
1844-R3 | Response Lucas Turner | [5 empty] | PGT utilizes third-party test laboratories and certification agencies to document and certify the actual testing performed on our products. I believe all of the test reports uploaded comply with the intent of Rule 9B-72. They graphically show anchorage locations and give concise written details about anchorage size and spacing.
1844-R3 | Response Lucas Turner (Cont.) | [5 empty] | Shim Details and Limitation to 2x Bucks: We follow the industry standard practice of testing in 2x wood bucks without shims. Other applications such as installation to concrete, metal, wood framed openings with sheathing and wrap, etc., all with or without shims, are supplied with installation details as-needed based on analysis and the specific application in the field. We found no requirement in Rule 9B-72 that stipulates we must supply all methods of installation within the Florida Product Approval, so we chose to simply use the test report to document the tested method and to continue to provide other details as-needed.
1844-R3 | Response Lucas Turner (Cont.) | [5 empty] | So I absolutely disagree that we need to stipulate in the Florida Product Approvals that these products can only be installed to 2x wood with no sheathing. The test reports speak for themselves; they clearly document that one tested installation method, but it is perfectly acceptable for our products to be used in other ways when alternative details are provided. The limitation of use in the Florida Product Approval to unsheathed 2x wood would preclude other methods from being used in the field, and there is no reason for that. The function of Florida Product Approvals is first and foremost to show third-party Quality Assurance and compliance with the building code, which we have done; the Approval should not limit us from using various code-compliant installation methods in the field.
1844-R3 | Administrator's Recommendation. | [5 empty] | Installation instructions provided were from a test report that included a diagram that is compliant with Rule 9B-72 requirements. Recommend Approval
10288-R1 | PGT Industries | Windows | Double Hung | a |  |  | Recommend Approval | Revision
10288-R1 | Public Comment Rick Wright | [5 empty] | 1. a. Applicant posted test report under Installation Instructions. The drawing contained in the test report does not show any shim distance from buck or anchor spacing. Can the window be installed in the field as shown in the test drawing with 0.0” shim space on all four sides? 2. Conflict between test report and drawings contained within the test report a. Test report page 7 of 24 Installation: specimens 7 and 9 utilize #6 x 1-1/4” drywall screws other specimens utilize 1-1/2 roofing nails. Sheet 16 of drawing references 1-1/2” roofing nails only. b. Based on the drawings as represented there should be a note in Limits of Use – Other: This product can only be installed directly to a 2x Southern Yellow Pine wood buck. (cannot be used on stud construction with sheathing)
10288-R1 | Response Lucas Turner | [5 empty] | PGT utilizes third-party test laboratories and certification agencies to document and certify the actual testing performed on our products. I believe all of the test reports uploaded comply with the intent of Rule 9B-72. They graphically show anchorage locations and give concise written details about anchorage size and spacing.
10288-R1 | Response Lucas Turner (Cont.) | [5 empty] | Shim Details and Limitation to 2x Bucks: We follow the industry standard practice of testing in 2x wood bucks without shims. Other applications such as installation to concrete, metal, wood framed openings with sheathing and wrap, etc., all with or without shims, are supplied with installation details as-needed based on analysis and the specific application in the field. We found no requirement in Rule 9B-72 that stipulates we must supply all methods of installation within the Florida Product Approval, so we chose to simply use the test report to document the tested method and to continue to provide other details as-needed.
10288-R1 | Response Lucas Turner (Cont.) | [5 empty] | So I absolutely disagree that we need to stipulate in the Florida Product Approvals that these products can only be installed to 2x wood with no sheathing. The test reports speak for themselves; they clearly document that one tested installation method, but it is perfectly acceptable for our products to be used in other ways when alternative details are provided. The limitation of use in the Florida Product Approval to unsheathed 2x wood would preclude other methods from being used in the field, and there is no reason for that. The function of Florida Product Approvals is first and foremost to show third-party Quality Assurance and compliance with the building code, which we have done; the Approval should not limit us from using various code-compliant installation methods in the field.
10288-R1 | Response Lucas Turner (Cont.) | [5 empty] | Nails vs. Screws in Drawings: The graphical attachment details are labeled as “Typical” which means they are not all-inclusive, and they are used to indicate the location of the anchors in relation to the product and the way the product is intended to be applied to the opening. The graphical details shown are not meant to be stand-alone documents; they are a part of the test report as a whole. So when a previous part of the test report indicates that some product configurations were tested with screws, that clearly means those product configurations would need to be installed with screws in the field, but the graphical details may still be used to show location of fasteners within the product.
10288-R1 | Administrator's Recommendation. | [5 empty] | Installation instructions provided were from a test report that included a diagram that is compliant with Rule 9B-72 requirements. The spacing of anchors is not on a diagram but on the test report. POC could discuss a requirement of the spacing of anchors on a diagram. Recommend Approval
10289-R1 | PGT Industries | Windows | Fixed | a |  |  | Recommend Approval | Revision
10289-R1 | Public Comment Rick Wright | [5 empty] | 1. a. Applicant posted test report under Installation Instructions. The drawing contained in the test report does not show any shim distance from buck or anchor spacing. Can the window be installed in the field as shown in the test drawing with 0.0” shim space on all four sides? 2. Conflict between test report and drawings contained within the test report a. Test report page 3 of 11 Installation: mulled units utilize #6 x 1-1/4” drywall screws other specimens utilize 1-1/2 roofing nails. Sheet 6 of drawing references 1-1/2” roofing nails only. b. Based on the drawings as represented there should be a note in Limits of Use – Other: This product can only be installed directly to a 2x Southern Yellow Pine wood buck. (cannot be used on stud construction with sheathing)
10289-R1 | Response Lucas Turner | [5 empty] | PGT utilizes third-party test laboratories and certification agencies to document and certify the actual testing performed on our products. I believe all of the test reports uploaded comply with the intent of Rule 9B-72. They graphically show anchorage locations and give concise written details about anchorage size and spacing.
10289-R1 | Response Lucas Turner (Cont.) | [5 empty] | Shim Details and Limitation to 2x Bucks: We follow the industry standard practice of testing in 2x wood bucks without shims. Other applications such as installation to concrete, metal, wood framed openings with sheathing and wrap, etc., all with or without shims, are supplied with installation details as-needed based on analysis and the specific application in the field. We found no requirement in Rule 9B-72 that stipulates we must supply all methods of installation within the Florida Product Approval, so we chose to simply use the test report to document the tested method and to continue to provide other details as-needed.
10289-R1 | Response Lucas Turner (Cont.) | [5 empty] | So I absolutely disagree that we need to stipulate in the Florida Product Approvals that these products can only be installed to 2x wood with no sheathing. The test reports speak for themselves; they clearly document that one tested installation method, but it is perfectly acceptable for our products to be used in other ways when alternative details are provided. The limitation of use in the Florida Product Approval to unsheathed 2x wood would preclude other methods from being used in the field, and there is no reason for that. The function of Florida Product Approvals is first and foremost to show third-party Quality Assurance and compliance with the building code, which we have done; the Approval should not limit us from using various code-compliant installation methods in the field.
10289-R2 | Response Lucas Turner (Cont.) | [5 empty] | Nails vs. Screws in Drawings: The graphical attachment details are labeled as “Typical” which means they are not all-inclusive, and they are used to indicate the location of the anchors in relation to the product and the way the product is intended to be applied to the opening. The graphical details shown are not meant to be stand-alone documents; they are a part of the test report as a whole. So when a previous part of the test report indicates that some product configurations were tested with screws, that clearly means those product configurations would need to be installed with screws in the field, but the graphical details may still be used to show location of fasteners within the product.
10289-R1 | Administrator's Recommendation. | [5 empty] | Installation instructions provided were from a test report that included a diagram that is compliant with Rule 9B-72 requirements. The spacing of anchors is not on a diagram but on the test report. POC could discuss a requirement of the spacing of anchors on a diagram. Recommend Approval
5300-R2 | PHILIPS PRODUCTS INC. | Windows | Single Hung | a |  |  | Recommend Approval | Revision
5300-R2 | Public Comment Jaime Gascon | [5 empty] | Product 5300.3 needs testing to TAS201, TAS202 and TAS203. See evaluation where tests conducted are listed and these were not performed.
5300-R2 | Response by Rick Wright | [5 empty] | 5300.3 is supported by the APC issued by AAMA which lists reports numbered 05-113-16467.0 (A440) and 05-113-16183.1 (TAS 201, 202, & 203) Attached anchor evaluation (FL-5300.3) lists under Supporting Documents item B no. 2 the TAS test report numbered (05-113-16183.1) but identified as ASTM E1996/1886-02. The Certification Agency is taking responsibility for the product meeting the 2007 FBC HVHZ as evidenced with the issuance of the APC. So as not to cause any further confusion we will be glad to change the ASTM to the TAS 201,202, 203. We can do this in the next day or two or if you like just set as a conditional at the POC. I have attached a pdf of the report referenced as evidence of a TAS 201, 202, 203 test having been conducted.
5300-R2 | Administrator's Recommendation. |  |  | c |  |  | Recommend Conditional Approval - With condition of revise evaluation report for 5300-R2 to include the HVHZ testing.
9630-R1 | Alenco | Windows | Single Hung | a |  |  | Recommend Approval | Revision
9630-R1 | Public Comment Wendell Haney | [5 empty] | 1. The anchor capacity calculations indicate the calcs were done to NDS-2001. NDS-2005 is referenced in the 2007 FBC (this is a 2007 FBC application). 2. The load distribution used in the engineer’s calculations does not follow accepted engineering practice for single hung windows; the concentrated loads at the meeting rails have not been considered. (See the attached Excel file for detail info).
9630-R1 | Public Comment Wendell Haney (Cont.) | [5 empty] | 3. The +35.0 / -47.2 PSF table in the uploaded drawing has the following issue: a. The 53” x 62” units states 3 anchors req’d in the jambs; I assume this means 1 anchor at the meeting rail location. Proper consideration of the load distribution shows that the engineer’s calculated screw capacity of 158 lbs. is overloaded at the meeting rails. (See the attached PDF document for details). This same condition exists for the 49-5/8” and the 37-3/8” height units as well. I have not calculated all the width / height combinations in this table or the +35.0 / -35.0 PSF table to see if there are others that overload the meeting rail location. 4. No bending (cantilever) consideration has been given to the calculated anchor capacity of the 3/16” concrete screw approved for use in the drawing. Also, no specific manufacturer of the concrete screw has been specified so I couldn’t provide the bending capacity using either BORA method or ACI 318 methods.
9630-R1 | [6 empty] | This is a 2004 application therefore the NDS 2001 is still good. 2. The meeting rail loading was considered when performing anchor calculations. 3. There is no cantilever present between the frame and the substrate. However, we would like to ask a conditional approval to change the date on the installation drawing to show 2004 instead of 2007.
9630-R1 | Administrator's Recommendation |  |  | d |  |  | Recommend Deferral with conditions of: Analysis of anchors should revise NDS standard year to agree with application's 2004 FBC. Evaluator should re-evaluate analysis of anchors at meeting rails condition of less that 4 anchors on jambs.
10388 | Kawneer Company, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
10388 | Comment | [5 empty] | ASTM E330, E283, 1304 standard year 2004 is not adopted.
10388 | Administrator's Recommendation |  |  | c |  |  | Recommend Conditional Approval - Provide equivalency of standards for testing standards not adopted on FBC or correct if application had a typo.
10419 | BiltBest Windows and Patio Doors | Windows | Double Hung | a |  |  | Recommend Approval | New
10419 | Public Comment Rick Wright | [5 empty] | a. Applicant posted written instructions
10419 | Administrator's Recommendation |  |  | d |  |  | Recommend Deferral with conditions of: Applicant shall provide installation instructions with a diagram as required for windows on Rule 9B-72.
10511 | Entreprises Doco | Windows | Double Hung | a |  |  | Recommend Approval | New
| Public Comment Jaime Gascon | [5 empty] | Does not meet Small missile requirements of 2007 FBC 2411. See installation instructions. Therefore not for HVHZ.
| Response by Luis Lomas | [5 empty] | The comment is correct for the small missile requirements. However, we would like to ask for a conditional approval to remove the small missile notations of the installation instructions and leave it as large missile impact product in the HVHZ.
| Administrator's Recommendation |  |  | c |  |  | Recommend Conditional Approval with condition to include on limits of use: Not to be used within HVHZ for small missile requirements.
10512 | Entreprises Doco | Windows | Awning | a |  |  | Recommend Approval | New
| Public Comment Jaime Gascon | [5 empty] | Does not meet Small missile requirements of 2007 FBC 2411. See installation instructions. Therefore not for HVHZ.
| Response by Luis Lomas | [5 empty] | The comment is correct for the small missile requirements. However, we would like to ask for a conditional approval to remove the small missile notations of the installation instructions and leave it as large missile impact product in the HVHZ.
| Administrator's Recommendation |  |  | c |  |  | Recommend Conditional Approval with condition to include on limits of use: Not to be used within HVHZ for small missile requirements.
10513 | Entreprises Doco | Windows | Casement | a |  |  | Recommend Approval | New
| Public Comment Jaime Gascon | [5 empty] | Does not meet Small missile requirements of 2007 FBC 2411. See installation instructions. Therefore not for HVHZ.
| Response by Luis Lomas | [5 empty] | The comment is correct for the small missile requirements. However, we would like to ask for a conditional approval to remove the small missile notations of the installation instructions and leave it as large missile impact product in the HVHZ.
| Administrator's Recommendation |  |  | c |  |  | Recommend Conditional Approval with condition to include on limits of use: Not to be used within HVHZ for small missile requirements.
10514 | Entreprises Doco | Windows | Fixed | a |  |  | Recommend Approval | New
| Public Comment Jaime Gascon | [5 empty] | Does not meet Small missile requirements of 2007 FBC 2411. See installation instructions. Also, does not meet ASTM E1300 for 60 psf.; 48 psf max per glass standard. Therefore not for HVHZ.
| Public Comment Wendell Haney | [5 empty] | 1. The anchor calc’s uploaded by the engineer indicate NDS-2001 calculations; NDS-2005 is referenced in the 2007 FBC (this is a 2007 FBC application). 2. The anchor capacity calculations uploaded by the engineer indicate a capacity of 79.9 lbs. per screw. The value used in the calculation of quantity of anchors req’d was 80 lbs. per screw. Rounding up is not allowed on capacity calculations. 3. At the 10” CL spacing of anchors shown in the installation drawing, the actual load acting on a single anchor is ((10”)(25”))/(144 sq-in) * 60.0 PSF = 104.16 lbs, which is greater than the 79.9 lbs. screw capacity calculated by the engineer. 4. The laminated glass detail shows the laminated lite installed against snap-in applied stop, but the vertical section shows the laminated lite applied against the integral stop (which is the more common arrangement); this is a critical detail for impact units.
| Response by Luis Lomas | [5 empty] | Short Load Duration, Resistance, and Deflection Data Load (~ 3 sec.): 60.0 psf Load Resistance: > 209 psf Approximate center of glass deflection: 0.38
| Response by Luis Lomas | [5 empty] | The comment is correct for the small missile requirements. b. The anchor calculations were performed using the 2005 NDS, even tough the document indicates 2001. c. The anchor capacity shows as round up, but in the spread sheet formulas it is used as the real result without any rounding up. d. The load applied to the product is UNIFORM LOAD, which to my understanding is equally distributed to the anchors that are affected by that UNIFORM LOAD, therefore the approach of using the spacing area to determine the anchor load should not be used, since some of that load will affect the other anchors assigned to that complete area. e. The laminated should be shown against the integral stop.
| Administrator's Recommendation |  |  | c |  |  | Installation instructions are for condition as tested. The anchor analysis is consistent with standard engineering practice. Compliance with ASTM E1300 has been clarified with response. Recommend Conditional Approval with condition of: 1. To include on limits of use: "Not to be used within HVHZ for small missile requirements". 2. Analysis of anchors should revise NDS standard year to agree with application's 2007 FBC. 3. The laminated lite to be shown against the integral stop.
10515 | Entreprises Doco | Windows | Fixed | a |  |  | Recommend Approval | New
| Public Comment Jaime Gascon | [5 empty] | Does not meet Small missile requirements of 2007 FBC 2411. See installation instructions. Therefore not for HVHZ.
| Public Comment Wendell Haney | [5 empty] | 1. The anchor calc’s uploaded by the engineer indicate NDS-2001 calculations; NDS-2005 is referenced in the 2007 FBC (this is a 2007 FBC application). 2. The anchor capacity calculations uploaded by the engineer indicate a capacity of 79.9 lbs. per screw. The value used in the calculation of quantity of anchors req’d was 80 lbs. per screw. Rounding up is not allowed on capacity calculations. 3. At the 9” CL spacing of anchors shown in the installation drawing, the actual load acting on a single anchor is ((9”)(20”))/(144 sq-in) * 80.0 PSF = 100.0 lbs, which is greater than the 79.9 lbs. screw capacity calculated by the engineer. 4. The anchor screw at the centerline of the head and sill has a tributary area of 1.604 sq.-feet; at 80 PSF this equates to a 128.3 lbs. load which is greater than the 79.9 lbs. capacity calculated by the engineer. 5. This application is under the fixed window sub-category and indicates a fixed window on the drawing, however the cross-sections in the drawing show an operable casement.
| Response by Luis Lomas | [5 empty] | The comment is correct for the small missile requirements. However, we would like to ask for a conditional approval to remove the small missile notations of the installation instructions and leave it as large missile impact product in the HVHZ.
| Response by Luis Lomas | [5 empty] | The anchor calculations were performed using the 2005 NDS, even tough the document indicates 2001. c. The anchor capacity shows as round up, but in the spread sheet formulas it is used as the real result without any rounding up. d. The load applied to the product is UNIFORM LOAD, which to my understanding is equally distributed to the anchors that are affected by that UNIFORM LOAD, therefore the approach of using the spacing area to determine the anchor load should not be used, since some of that load will affect the other anchors assigned to that complete area. e. This is a fixed window, the cross section shows a lock not a handle. This lock is screwed shut. In the event that the glass needs to be replaced, the screws will be removed from the lock, the lock will be opened and the sash can be removed for replacement. The application is in the right category.
| Administrator's Recommendation |  |  | c |  |  | Installation instructions are for condition as tested. The anchor analysis is consistent with standard engineering practice. Recommend Conditional Approval with condition to include on limits of use: Not to be used within HVHZ for small missile requirements.
Evaluation by Engineer/ Architect
8432-R1 | Alutech United, Inc. | Shutters | Roll-up | a |  |  | Recommend Approval | Revision
8432-R1 | Public Comment Jason Killen (From applicant) | [5 empty] | I need to request for a re-apply for 8432-R1 Revision for Alutech United, Inc. The installation drawings are wrong. Please advise if you need more info.
8432-R1 | Recommendation by Administrator |  |  | d |  |  | Recommend Deferral as requested by applicant.
9166-R1 | Wayne-Dalton Corp. | Exterior Doors | Sectional Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9166-R1 | Public Comment Jaime Gascon | [5 empty] | With use of the vertical reinforcement bar on the 18' wide doors, will it be possible to install a garage door opener? How is section 5.1.1 of TAS201 complied with when using the vertical bar?
9166-R1 | Response by Applicant | [5 empty] | Question 1: Response: Yes. Question 2: Response: Note 3 on sheet 1 states "Key lock or slide locks required". The drawing shows a picture of an installed slide lock with a note "Key lock or slide lock each end (see note 3). Slide lock shown for clarity". Either type of locking system is permanently installed to the door and will engage both sets of vertical track to lock the door in the closed position.
9166-R1 | Recommendation by Administrator |  |  | c |  |  | Section 5.1.1 of TAS 201 relates to "Locking mechanisms shall be permanently mounted on the specimen". The straps to attach the vertical bar are attached to the door, but the bar vertical bar and the anchors are not attached to door. Recommend Conditional Approval with condition of: provide attachment of vertical bar and its anchors to door for 18' wide door.
10167 | West Tampa Glass Company | Panel Walls | Curtain Walls | a |  |  | Recommend Approval | New
10167 | Commnentary | [5 empty] | Incorrect standard year for ASTM E1300
10167 | Recommendation by Administrator |  |  | c |  |  | Recommend Conditional Approval - Provide equivalency of standard to 2007 FBC adopted standard or correct if a typo.
10306 | Storm Smart Industries | Shutters | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval - Deferred from March 2008. Complied with conditions of: Re-evaluate application in accordance with tested values and provide authorization for use of test reports. | Deferred
10306 | Public Comment Albert Ries | [5 empty] | The manufacture of Fl# 10306 is being advertised as a dual purpose product on Tv and on their Website (http://www.stormsmart.com/products/roll-downshuters/)as both a hurricane shutter and as a sun shade. This additional use (Sun shade) will maximize it's exposure to UV rays. The installation Instructions #9 states that the screen "should" be rolled up under normal weather conditions. The installation instructions states that a 138 Denier Polyester thread is to be used for sewing the major connection point of the screen to the spline assembly. (www.johnhowardcompany.com) SAE J1885 testing results show that Polyester thread will lose about 78% strength in a mere 1000 hours. Since the public already has the perception that the roll down can be used as a sun shade additional testing should be required. Rule 9B (Tas 201)12.2 & 12.3, (Tas 202) 12.2 12.3,(Tas 203) 13.2 & 13.3)
10306 | Response by Applicant | [5 empty] | We have reviewed the public comments and respond with the following: 1. Because the public comment comes from a person who does not concisely identify whom he works for or what industry he represents, we can only surmise his motives. 2. The statement “(www.johnhowardcompany.com) SAE J1885 testing results show that Polyester thread will lose about 78% strength in a mere 1000 hours” is misleading, not factual and invalid. 3. To assume some unidentified thread the John Howard Company is comparing its own product to is of the same quality and materials as the Solution Dyed 138 Denier thread that Storm Smart uses, is also invalid and not credible as well as being quite a stretch on his part. 4. The opinion of the public’s perception and the suggestion that the product be required to follow Rule 9B (TAS 201)12.2 & 12.3, (TAS 202) 12.2 12.3,(TAS 203) 13.2 & 13.3) is a feeling, not a fact and has no basis in the Florida Building Code.
10306 | Response by Applicant (Cont.) | [5 empty] | • Polyester thread - there are various factors that affect the long term useful life. a) Initial strength b) Manufacturer of polyester c) Type and application of dyes. • Regarding dyes, these can be introduced during the yarn extrusion process otherwise known as "solution dyed". This process eliminates fading and also serves to protect against UV degradation more than traditional vat dyeing of colors. Storm Smart uses solution dyed thread. Because of these factors, weather meter tests such as the one listed in the complaint could have incorrect numbers and conclusions.
| Response by Applicant (Cont.) | [5 empty] | • It is widely accepted the amount and the speed of material degradation is hard to calculate. No industry expert will attempt to identify how long 1000 KJ hours would mean in real world time. The 1000 hours referenced is in the metric KJ and means Kilojoules. However, and based on our supplier, most estimates generally suggest about 300 hours may amount to about a year of UV exposure. But the reality of every product has different exposure circumstances like actual sun hours, angle of exposure, humidity, etc. For the complainant to say a "mere" 1000 hours are presumptuous. • Regarding the issue of thread strength, what we refer to as “single end strength”, is only part of the equation considering our product. "Seam Strength" is really the bigger issue. Seam strength is a combination of the 1) thread used 2) type of stitching and 3) stitches per inch. In addition, the number of seams in a product affects the overall performance at end use. Consequently, the way we "build" our product could very well be superior to any given competitor.
| Administrator's Recommendation. | [5 empty] | The application does not indicate testing for UV exposure. The installation instructions indicate "The roll-up screen should be stored in the roll-up position during normal weather conditions" in-lieu of the testing for UV exposure. POC could discuss a condition that a warning label be attached to product to indicate the storage except for a high wind condition and indicate the condition on limits of use. Recommend Approval
Evaluation by Test Method - Applications with Public Comments
9731 | Winco Window Company | Windows | Projected | a |  |  | Recommend Approval | New
9731 | Public Comment Jaime Gascon | [5 empty] | 9731.2 outswing condition not tested with Uvecol laminated glass. Limit to Solutia laminate as tested, and remove reference to Uvecol NOAs on 9731.2.
9731 | Recommendation by Administrator |  |  | c |  |  | Recommend Conditional Approval - Remove reference to Uvecol NOA on 9731.2
Evaluation by Evaluation Entity - Applications with Public Comments
10535 | Durable Woods Products USA, Inc. | Roofing | Wood Shingles and Shakes | a |  |  | Recommend Approval | New
10535 | Public Comment Jaime Gascon | [5 empty] | Needs TAS100 and fastener pull through resistance per ASTM D3462 section 8.1.11.
10535 | Recommendation by Administrator | [5 empty] | Evaluation report indicates compliance with AC07. AC07 requires testing for TAS100. ASTM D3462 is not required for wood products, it is a test for asphalt shingles. Recommend Approval.
Entities Application -TBA Reviewers Recommend Approval
CER 1497 | Intertek Testing Services NA Inc. - ETL Warnock Hersey. | Product Certification Agency |  | a |  |  | Recommend Approval | Revision
TST 6049 | Trinity ERD - South Carolina | Product Testing Laboratory |  | a |  |  | Recommend Approval | Revision
TST 1657 | Fenestration Test Lab | Product Testing Laboratory |  | a |  |  | Recommend Approval | Revision
TST 1999 | Construction Testing Corporation | Product Testing Laboratory |  | a |  |  | Recommend Approval | Revision
TST 4744 | National Certified Testing Laboratories - York | Product Testing Laboratory |  | a |  |  | Recommend Approval | Revision
TST 2513 | APA - The Engineered Wood Association | Product Testing Laboratory |  | a |  |  | Recommend Approval | Revision
TST 6485 | Encon Technology Inc | Product Testing Laboratory |  | a |  |  | Recommend Approval | New
QUA 1673 | Intertek Testing Services NA Inc. - ETL Warnock Hersey. | Product Quality Assurance |  | a |  |  | Recommend Approval | Revision
QUA 1824 | Keystone Certifications, Inc. | Product Quality Assurance |  | a |  |  | Recommend Approval | Revision
QUA 7309 | Smith Emery Laboratories | Product Quality Assurance |  | a |  |  | Recommend Approval | New
QUA 7318 | Lenard Gabert and Associates | Product Quality Assurance |  | a |  |  | Recommend Approval | New
VAL 1623 | Keystone Certifications, Inc. | Validation Entity |  | a |  |  | Recommend Approval | Revision
VAL 7374 | FM Approvals LLC | Validation Entity |  | a |  |  | Recommend Approval | New
VAL 7396 | Architectural Testing Inc - Certification Services | Validation Entity |  | a |  |  | Recommend Approval | New