## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 984 | 12 | Revision | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-16 15:06 | a
2 | 1559 | 10 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-15 14:27 | a
3 | 3443 | 21 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:13 | a
4 | 3915 | 22 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-29 15:40 | a
5 | 4930 | 13 | Revision | Seaman Corporation | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:14 | a
6 | 5259 | 26 | Revision | POLYGLASS USA | Roofing | Underlayments | Recommend Approval | 2016-02-16 17:26 | a
7 | 5680 | 18 | Revision | GAF | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-20 10:24 | a
8 | 6964 | 5 | Revision | DBCI | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval | 2016-02-19 14:23 | a
9 | 9274 | 11 | Revision | Sika Sarnafil, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-01-20 10:43 | a
10 | 9777 | 9 | Revision | Owens Corning | Roofing | Underlayments | Recommend Approval | 2016-02-19 19:25 | a
11 | 10015 | 7 | Revision | Pella Corporation | Windows | Casement | Recommend Approval | 2016-02-17 15:15 | a
12 | 10022 | 7 | Revision | Pella Corporation | Windows | Fixed | Recommend Approval | 2016-02-18 23:00 | a
13 | 10026 | 7 | Revision | Pella Corporation | Windows | Awning | Recommend Approval | 2016-01-15 13:31 | a
14 | 10084 | 4 | Revision | Graham Architectural Products | Windows | Fixed | Recommend Approval | 2016-02-14 14:39 | a
15 | 10238 | 4 | Revision | Kane Manufacturing Corporation | Impact Protective Systems | Operable | Recommend Approval | 2016-02-15 12:25 | a
16 | 10703 | 7 | Revision | Mule-Hide Products Co., Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 15:03 | a
17 | 11141 | 16 | Revision | Associated Materials Inc. | Windows | Horizontal Slider | Recommend Approval | 2016-02-09 14:43 | a
18 | 12194 | 4 | Revision | Aluminum Coils, Inc. | Panel Walls | Soffits | Recommend Approval | 2016-02-16 15:09 | a
19 | 12772 | 4 | Revision | Mule-Hide Products Co., Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 14:01 | a
20 | 12979 | 5 | Revision | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:11 | a
21 | 13157 | 3 | Revision | Graham Architectural Products | Windows | Horizontal Slider | Recommend Approval | 2016-02-19 21:28 | a
22 | 13993 | 3 | Revision | Tuff Industries, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-18 09:58 | a
23 | 14218 | 9 | Revision | YKK AP America | Panel Walls | Storefronts | Recommend Approval | 2016-02-16 17:24 | a
24 | 14475 | 6 | Revision | Hope's Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-14 10:45 | a
25 | 14692 | 2 | Revision | Loewen Windows | Windows | Double Hung | Recommend Approval | 2016-02-03 10:07 | a
26 | 14693 | 2 | Revision | Loewen Windows | Windows | Single Hung | Recommend Approval | 2016-02-16 19:48 | a
27 | 14694 | 2 | Revision | Loewen Windows | Windows | Fixed | Recommend Approval | 2016-01-24 15:19 | a
28 | 15413 | 4 | Revision | NewSouth Window Solutions | Windows | Mullions | Recommend Approval | 2016-01-24 15:32 | a
29 | 15417 | 4 | Revision | Doers Window Manufacturing, LLC | Windows | Mullions | Recommend Approval | 2016-02-08 21:31 | a
30 | 15505 | 3 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 09:53 | a
31 | 15894 | 13 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 19:04 | a
32 | 16039 | 10 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-05 16:13 | a
33 | 16111 | 1 | Revision | Merchant & Evans, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-05 16:22 | a
34 | 16280 | 2 | Revision | Pella Corporation | Windows | Fixed | Recommend Approval | 2016-02-05 16:46 | a
35 | 16722 | 2 | Revision | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | Recommend Approval | 1899-12-31 | a
36 | 16732 | 8 | Revision | GAF | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-15 21:11 | a
37 | 16734 | 3 | Revision | Dorma USA, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-01 10:12 | a
38 | 16739 | 10 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 13:11 | a
39 | 16755 | 3 | Revision | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 11:58 | a
40 | 16758 | 9 | Revision | Johns Manville | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 12:56 | a
41 | 16853 | 5 | Revision | Doers Window Manufacturing, LLC | Windows | Horizontal Slider | Recommend Approval | 2016-02-18 18:47 | a
42 | 17136 | 3 | Revision | Door Engineering and Manufacturing LLC | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-19 13:03 | a
43 | 17322 | 3 | Revision | Atlas Roofing Corporation | Roofing | Underlayments | Recommend Approval | 2016-02-08 21:22 | a
44 | 17323 | 2 | Revision | SR Products | Roofing | Liquid Applied Roof Systems | Recommend Approval | 2016-02-19 21:29 | a
45 | 17671 | 1 | Revision | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-19 21:30 | a
46 | 17680 | 1 | Revision | USP Structural Connectors, a MiTek Company | Structural Components | Wood Connectors | Recommend Approval | 2016-02-18 15:42 | a
47 | 18596 | 1 | Revision | Marvin Windows and Doors | Windows | Mullions | Recommend Approval | 2016-02-16 15:12 | a
48 | 19566 | 1 | Revision | Mule-Hide Products Co., Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-01-05 11:27 | a
49 | 19968 | 1 | Revision | Mule-Hide Products Co., Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:08 | a
50 | 20325 | 3 | Revision | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-14 22:00 | a
51 | 20424 | 0 | New | CH Machine, Inc. | Structural Components | Wood Connectors | Recommend Approval | 2016-01-19 19:18 | a
52 | 20461 | 1 | Revision | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-01-14 22:23 | a
53 | 20678 | 2 | Revision | Tremco Incorporated | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-19 18:59 | a
54 | 20701 | 1 | Revision | Enviralum Industries Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 11:48 | a
55 | 21074 | 2 | Revision | Ridged Systems, LLC | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-15 14:25 | a
56 | 21082 | 1 | Revision | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 12:40 | a
57 | 21167 | 1 | Revision | US Aluminum Inc. - Division of CR Laurence | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-29 18:48 | a
58 | 21388 | 1 | Revision | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval | 2015-12-31 14:24 | a
59 | 21554 | 0 | New | Pro Guard Coatings,Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 08:23 | a
60 | 21835 | 1 | Revision | E.S. Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-19 14:35 | a
61 | 21869 | 0 | New | Doorscapes, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 08:37 | a
62 | 21873 | 0 | New | DSA Master Crafted Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-12 15:47 | a
63 | 21891 | 1 | Revision | MILLWORK 360 | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-13 15:47 | a
64 | 21901 | 0 | New | Impact Hurricane Systems Inc. | Shutters | Roll-up | Recommend Approval | 2016-02-14 15:47 | a
65 | 21961 | 0 | New | DAYBAR INDUSTRIES LIMITED | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-15 15:47 | a
66 | 21986 | 0 | New | Windoor Incorporated | Windows | Mullions | Recommend Approval | 2016-02-19 15:47 | a
67 | 21993 | 0 | New | Kolbe Windows and Doors - Wausau | Windows | Fixed | Recommend Approval | 2016-02-21 15:47 | a
68 | 22005 | 0 | New | Paragon Windows and Doors, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-22 15:47 | a
69 | 22026 | 0 | New | N.R. Architectural Products, Inc. | Windows | Fixed | Recommend Approval | 2016-02-23 15:47 | a
70 | 22036 | 0 | New | Tri County Metals | Roofing | Metal Roofing | Recommend Approval | 2016-02-25 15:47 | a
71 | 22046 | 0 | New | Tecnoglass LLC. | Windows | Projected | Recommend Approval | 2016-02-26 15:47 | a
72 | 22211 | 0 | New | Tell Manufacturing, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-27 15:47 | a
73 | 22212 | 0 | New | Tell Manufacturing, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-28 15:47 | a
74 | 22216 | 0 | New | Tremco Incorporated | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-29 15:47 | a
75 | 22217 | 0 | New | Tremco Incorporated | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-03-01 15:47 | a
76 | 22218 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-03-03 15:47 | a
77 | 22223 | 0 | New | Graham Architectural Products | Windows | Single Hung | Recommend Approval | 2016-03-04 15:47 | a
78 | 22224 | 0 | New | Weiland Sliding Doors and Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-05 15:47 | a
79 | 22226 | 0 | New | Reed Metals, Inc. | Structural Components | Roof Deck | Recommend Approval | 2016-03-07 15:47 | a
80 | 22227 | 0 | New | Rogue Valley Door | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-08 15:47 | a
81 | 22228 | 0 | New | YKK AP America | Panel Walls | Storefronts | Recommend Approval | 2016-03-09 15:47 | a
82 | 22232 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-10 15:47 | a
83 | 22244 | 0 | New | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-03-11 15:47 | a
84 | 22245 | 0 | New | Sunshine Metal Supply, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-03-12 15:47 | a
85 | 22250 | 0 | New | E.S. Windows, Inc. | Windows | Single Hung | Recommend Approval | 2016-03-14 15:47 | a
86 | 22251 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-16 15:47 | a
87 | 22254 | 0 | New | BASF Corporation | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-03-18 15:47 | a
88 | 22255 | 0 | New | New Age Windows & Doors, Corp. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-20 15:47 | a
89 | 22256 | 0 | New | ICP Adhesives & Sealants, Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-03-21 15:47 | a
90 | 22257 | 0 | New | Enviralum Industries Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-22 15:47 | a
91 | 22259 | 0 | New | Beacon Sales Acquisitions, Inc. c/o Owens Corning Roofing and Asphalt LLC | Roofing | Underlayments | Recommend Approval | 2016-03-23 15:47 | a
92 | 22264 | 0 | New | Crawford Glass Door | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-24 15:47 | a
93 | 22266 | 0 | New | E.S. Windows, Inc. | Windows | Projected | Recommend Approval | 2016-03-25 15:47 | a
94 | 22267 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-26 15:47 | a
95 | 22270 | 0 | New | Eastern Metal Supply | Shutters | Storm Panels | Recommend Approval | 2016-03-27 15:47 | a
Test Report
96 | 21971 | 0 | New | Petersen Aluminum Corporation | Panel Walls | Siding | Recommend Approval | 2016-02-16 15:58 | a
COMMENTS
Architect and Engineer Evaluation Method
97 | 16503 | 2 | Revision | KAYCAN LTD | Panel Walls | Soffits | Recommend Approval |  | c
|  |  | R.Amoruso's comment | Kaycan and Engineer of Record, Robert J. Amoruso. P.E. wish to make a public comment on FL16503.4, Rev. 2. The installation drawing uploaded under this portion of the approval, KAY0011, Rev. 0 contains an error on the Design Pressure table show on sheet 2. The description of the 3 Panel / No. 605 Venter Soffit describes it as 12” in width. Actually, it is 16” in width as correctly indicated in other sections of the drawing (DP Table on Sheet 1 and Profile on Sheet 8). We wish conditional approval of this application, allowing us to upload a corrected version of the drawing.
|  |  | Staff analysis | Staff agrees with the applicant's request and recommends conditional approval to allow the applicant to correct the 12" 3 Panel / No. 605 Venter Soffit as 16"3 Panel / No. 605 Venter Soffit on sheet 2of 9 on the installation instructions.
98 | 17955 | 2 | Revision | Southeastern Metals Mfg. Co. | Roofing | Metal Roofing | Recommend Approval |  | c
|  |  | H.Makar's comment-Miami -Dade | Evidence of testing of physical properties for the "Stealth Bond Adhesive" not provided.
|  |  | Z. Priest Response | I would like to respond with the following comment: "Evidence of physical properties will be provided for the StealthBond Adhesive. Please consider conditional approval"
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to add evidence of testing of physical properties for the "Stealth Bond Adhesive" on the application
99 | 17999 | 2 | Revision | Euro-Wall Systems, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | c
|  |  | H.Makar's comment-Miami -Dade | Clarify DLO (Daylight Opening) corresponding to Design Pressure Tables in sheet 2 and also clarify how the X operable panels can be converted to O fixed condition.(FL17999.1)
|  |  | S.Collin's Response | 1) The inoperable panels operate in the exact same fashion as the operable panels and lock to the jamb, in the same way the X-X panels lock to each other. We will add a note on the installation drawings to clarify this 2) The panel size in the DP chart on sheet 2 is an overall panel size. All extrusions have a 3" profile on elevation. Thus, the DLO for width and Height is panel size x 3" profile x 2. We propose to add this clarity to the installation package. As such, we request a "conditional approval" based on the above responses to Further clarify the installation drawings
|  |  | Staff analysis | Staff agrees with the applicants'response and recommends conditional approval to allow the applicant to indicate notes as follows on the installation instructions "The inoperable panels operate in the exact same fashion as the operable panels and lock to the jamb, in the same way the X-X panels lock to each other. " and "The panel size in the DP chart on sheet 2 is an overall panel size. All extrusions have a 3" profile on elevation. Thus, the DLO for width and Height is panel size x 3" profile x 2." .
100 | 19958 | 1 | Revision | CGI Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c
|  |  | H.Makar's comment-Miami -Dade | “ADA threshold in both FL 19958.1 and FL 19958.2 is not qualified per CTLA3076W and CTLA3076W-1. ADA threshold has not been tested per TAS 201, 202, and 203.”
|  |  | T.Grove's Response | The ADA threshold was tested per TAS 201, 202 and 203 in test report HTL-0080-0304-11 (specimens #1 & 4). We have included it in the revised evaluation report attached. If required, I can also send the test report itself. We will upload the revised evaluation report as necessary.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to upload the revised evaluation report referencing the test report HTL-0080-0304-11 on the application.
101 | 21969 | 1 | Revision | Construction Specialties, Inc. | Panel Walls | Wall Louver | Recommend Approval |  | c
|  |  | M.Steele's comment | 21969.1 and .2 -(for both .1 and .2) The PE evaluation report's "Performance Summary" section, second sentence, incorrectly lists TAS-201, it should list TAS-203. This is assuming it is referencing the optional TAS-203 cyclical testing that can be done after the AMCA 540 impact test. If assumption is wrong, TAS-201 still needs to be removed from the second sentence as it is not a part of the AMCA 540 impact test. -(for .1) The model name as listed in the Installation Instructions of "DC-5704" does not match the model name as listed in the FPA's Model name section of "DCH-5704". Please correct the Installation Instruction's model names so it matches the FPA application. -(for .2) The model name as listed in the Installation Instructions of "DC-5704" does not match the model name as listed in the FPA's Model name section of "DCV-5704". Please correct the Installation Instruction's model names so it matches the FPA application. -(for both .1 and .2) The Installation Instructions do not indicate how the blades are fastened to the frame, nor how the frame corners are fastened together (as in what type and size of screw or weld). Without this information, job site inspectors nor manufacturing plant inspectors cannot verify of the product's construction in comparison to how it was tested. Please have the drawings updated with the fastener information.
|  |  | R. Geist's | I will get the evaluation report corrected. For the 2nd and 3rd comments, I plan to add the following sentence to address these; These louvers may be used with the blades in a horizontal orientation under model name DCH-5704 or with the blades in a vertical orientation under model name DCV-5704. This will be found on sheet 1 of 7 of the installation instructions as item #8. I will address the fasteners for securing the blades and frames together.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to upload the revised evaluation report for TAS 201, add the sentence "These louvers may be used with the blades in a horizontal orientation under model name DCH-5704 or with the blades in a vertical orientation under model name DCV-5704. " on sheet 1 of 7of the installation instructions as item #8 and address the fasteners for securing the blades and frames together.
102 | 22027 | 0 | New | YKK AP America Residential | Windows | Mullions
|  |  | H.Makar's comment-Miami -Dade | For FL22027.2; Please clarify impact rating in HVHZ area. Note 3 indicates an impact protective system is required; however, product description, evaluation report and limits of use indicate the product is impact rated for the use in the HVHZ. Please clarify.
|  |  | S.Moore's response | We would like to request a conditional approval on FL22027.2 such that drawing General Note 3 be removed and Note 2 be updated to state “Approved impact protective system is not required on these products such that adjoining windows are equally impact rated”.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to revise FL22027.2 such that drawing General Note 3 be removed and Note 2 be updated to state “Approved impact protective system is not required on these products such that adjoining windows are equally impact rated”.
103 | 22225 | 0 | New | Weiland Sliding Doors and Windows, Inc. | Windows | Fixed | Recommend Approval |  | c
|  |  | H.Makar's comment-Miami -Dade | For FL22225.2; Evaulation report does not indicate TAS 202 testing.
|  |  | S.Moore's Response | We would like to request a conditional approval such that the evaluation report is corrected to indicate TAS 202 testing.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to indicate TAS 202 testing on the eval report.
104 | 22248 | 0 | New | Construction Concepts Unlimited, Inc. | Panel Walls | Wall Louver | Recommend Approval |  | c
|  |  | M. Steele's Comment | 22248.1 -Both the application's Certificate of Independence and PE Evaluation Report are vague as the documents do not specifically state the alpha numeric model name as is done on the FPA's "Model" name section. Both reports need to specifically state the "L-110" model as part of the document's model name in order to verify what model the reports are referring to. -Under "Limits of use - Other" section the following (which is typically done for other wall louver products) needs to be added, "The area behind the louver must be designed to drain any water that penetrates the louver. The equipment, components or supplies in the area must be waterproof or water resistant." The wording is due to the louver having not been tested to AMCA 550 for hurricane wind driven rain water resistance as required per FBC, Mechanical, 401.5, and 501.3.2. See FPA 15929, 21968, and 21969 for some of many louver FPAs that have this limitation wording. -Under "Limits of use - Other" section the following (which is typically done for other wall louver products) needs to be added, "Rated for Basic Missile Impact Level D (50 fps)." The wording is added to clarify to which impact level of resistance the louver is qualified to of Impact Level D (50 fps) or E (80 fps) as the more severe level E is required for Risk Category IV buildings per FBC, Building, 1626.2.4. See FPA 15929, 21968, and 21969 for some of many louver FPAs that have this limitation wording. Note this wording may not be applicable if the following item is approved.
|  |  | M. Steele's Comment | -Due to this louver not having an NOA that automatically qualifies it for approved for use outside the HVHZ a special situation arises. The louver is impact resistant for inside the HVHZ as it was tested to TAS-201/202/203, but it is not impact resistant for use outside the HVHZ (as it was not tested to AMCA 540 nor have an impact covering). This is due to the HVHZ requiring TAS-201 impact resistance (FBC, Building, 1626.2.1), and non-HVHZ requiring AMCA 540 impact resistance (FBC, Building, 16209.1.2.1). Therefore, the "Limits of Use" section of the FPA application must be changed to match one of the following combinations: Option 1 (clarifies TAS-201 impact resistance for within the HVHZ): Approved for use in the HVHZ = YES Approved for use outside the HVHZ = NO Impact Resistant = YES OR Option 2 (clarifies no impact resistance, but is allowed outside of the HVHZ): Approved for use in the HVHZ = NO Approved for use outside the HVHZ = YES Impact Resistant = NO
|  |  | R. Neet's Response | 22248.1 -Both the application's Certificate of Independence and PE Evaluation Report are vague as the documents do not specifically state the alpha numeric model name as is done on the FPA's "Model" name section. Both reports need to specifically state the "L-110" model as part of the document's model name in order to verify what model the reports are referring to. 1. We will make this change and resubmit documents -Under "Limits of use - Other" section the following (which is typically done for other wall louver products) needs to be added, "The area behind the louver must be designed to drain any water that penetrates the louver. The equipment, components or supplies in the area must be waterproof or water resistant." The wording is due to the louver having not been tested to AMCA 550 for hurricane wind driven rain water resistance as required per FBC, Mechanical, 401.5, and 501.3.2. See FPA 15929, 21968, and 21969 for some of many louver FPAs that have this limitation wording. 2. We will make this change and resubmit documents -Under "Limits of use - Other" section the following (which is typically done for other wall louver products) needs to be added, "Rated for Basic Missile Impact Level D (50 fps)." The wording is added to clarify to which impact level of resistance the louver is qualified to of Impact Level D (50 fps) or E (80 fps) as the more severe level E is required for Risk Category IV buildings per FBC, Building, 1626.2.4. See FPA 15929, 21968, and 21969 for some of many louver FPAs that have this limitation wording. Note this wording may not be applicable if the following item is approved. 3. We will make this change and resubmit documents
|  |  | R. Neet's Response | Due to this louver not having an NOA that automatically qualifies it for approved for use outside the HVHZ a special situation arises. The louver is impact resistant for inside the HVHZ as it was tested to TAS-201/202/203, but it is not impact resistant for use outside the HVHZ (as it was not tested to AMCA 540 nor have an impact covering). This is due to the HVHZ requiring TAS-201 impact resistance (FBC, Building, 1626.2.1), and non-HVHZ requiring AMCA 540 impact resistance (FBC, Building, 16209.1.2.1). Therefore, the "Limits of Use" section of the FPA application must be changed to match one of the following combinations: 4. There are multiple similar products in the Florida system that are approved under TAS 201, 202 and 203 that are approved for impact within and outside the HVHZ that have not been tested to AMCA 540.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to make the following changes : 1- to reference "L-110" model in the uploaded documents. 2- to revise limits of use to clarify comliance with AMCA 550. 3- to revise limits of use to clarify level of impact resistance" missile level E or D" for the product
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146