## Results
2017 FLcode ERI Method Tests |  |  |  |  | Software Name: | Wrightsoft Right-Energy® Florida v1.0 2018-May-16 11:59:43
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Test Case | ERI | Reference Home End Use Loads (REUL) |  |  | Reference Home End Use Energy Consumption (EC_r) |  |  | Rated Home End Use Energy Consumption (EC_x) |  |  |  | ERI Tests | Manufacturer's Equipment Performance Rating (MEPR)
|  | Winter | Summer | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | L&A |  | Heating |  | Cooling |  | Hot Water
|  | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) |  | Fuel | MEPR | Fuel | MEPR | Fuel | MEPR
L100AO-01 | 57.31 | 2.17 | 37.45 | 6.26 | 1.11 | 12.86 | 6.97 | 0.81 | 6.18 | 1.63 | 17.46 | PASS | elec | 8.5 | elec | 16 | elec | 3.2
L100AO-02 | 65.65 | 2.17 | 37.45 | 6.26 | 3.48 | 12.79 | 12.39 | 3.05 | 6.84 | 10.04 | 17.46 | PASS | gas | 82% | elec | 14 | gas | 0.63
L100AO-03* | 54.3 | 2.17 | 37.45 | 6.26 | 1.11 | 12.86 | 6.97 | 0.52 | 5.72 | 1.49 | 17.46 | PASS | elec | 9.5 | elec | 18 | elec | 3.5
L100AO-04* | 56.42 | 2.17 | 37.45 | 6.26 | 1.11 | 12.86 | 6.97 | 0.45 | 6.25 | 1.49 | 17.46 | PASS | elec | 9.5 | elec | 18 | elec | 3.5
* For Cases L100A-03 and L100A-04 photovoltaic (PV) generation is not to be included in Rated Home results

## Worksheet
Test Case | Coefficients | [5 empty] | DSE_r |  |  | EEC_x |  |  | EEC_r |  |  | nEC_x |  |  | nMEUL |  |  | Total Loads |  | HERS Score
| Heating |  | Cooling |  | Hot Water |  | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | TnML | TRL
| a | b | a | b | a | b
1 | 2.2561 | 0 | 3.809 | 0 | 0.92 | 0 | 0.86653 | 0.76455 | 0.97623 | 0.40153 | 0.21331 | 0.3125 | 0.44325 | 0.26254 | 1.087 | 0.81001 | 6.1801 | 1.63 | 1.5835 | 17.9971 | 1.464 | 38.5046 | 67.1518 | 57.3397
2 | 1.0943 | 0.403 | 3.809 | 0 | 1.1877 | 1.013 | 0.79944 | 0.76873 | 0.85635 | 1.2195 | 0.24379 | 1.5873 | 1.2821 | 0.26254 | 1.6949 | 2.9868 | 6.8401 | 9.351 | 1.8625 | 20.0282 | 4.7245 | 44.0752 | 67.1518 | 65.6351
3 | 2.2561 | 0 | 3.809 | 0 | 0.92 | 0 | 0.86653 | 0.76455 | 0.97623 | 0.35926 | 0.18961 | 0.28571 | 0.44325 | 0.26254 | 1.087 | 0.52 | 5.7201 | 1.49 | 1.0166 | 16.6575 | 1.3382 | 36.4723 | 67.1518 | 54.3133
4 | 2.2561 | 0 | 3.809 | 0 | 0.92 | 0 | 0.86653 | 0.76455 | 0.97623 | 0.35926 | 0.18961 | 0.28571 | 0.44325 | 0.26254 | 1.087 | 0.45 | 6.2501 | 1.49 | 0.87974 | 18.201 | 1.3382 | 37.8789 | 67.1518 | 56.4079
Test Case | Home |  | Lighting & Appliance Energy Uses
| CFA | Nbr | resMELs | intLgt | extLgts | Fridg | TVs | R/O | cDryer | dWash | cWash | total
1 | 1539 | 3 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 1.529 | 3.314 | 0.58362 | 0.23208 | 21.2718
2 | 1539 | 3 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 1.529 | 3.314 | 0.58362 | 0.23208 | 21.2718
3 | 1539 | 3 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 1.529 | 3.314 | 0.58362 | 0.23208 | 21.2718
4 | 1539 | 3 | 4.7798 | 5.7549 | 0.60392 | 2.3584 | 2.116 | 1.529 | 3.314 | 0.58362 | 0.23208 | 21.2718