## Results
RESNET Pub 002-17 DHW Test Results:
Software Name: | Wrightsoft Right-Energy® HERS v1.0 Wed 16-May-18 12:14:49 pm |  | Test Case Pass/Fail Criteria
|  |  |  | Duluth MN Cases: | MBtu/y | Range Min | Range Max | Pass/Fail
User input data fields indicated by pale yellow |  |  |  | L100AD-HW-01 | 19.701 | 19.11 | 19.73 | pass
Test result fields indicated by pale green |  |  |  | L100AD-HW-02 | 26.249 | 25.54 | 26.36 | pass
|  |  |  | L100AD-HW-03 | 17.472 | 17.03 | 17.5 | pass
Test Case Results: |  |  |  | L100AD-HW-04 | 25.41 | 24.75 | 25.52 | pass
| DHW Energy | Recirc Pump |  | L100AD-HW-05 | 57.0255 | 55.43 | 57.15 | pass
Minnesota | [therms] | [kWh] |  | L100AD-HW-06 | 23.0481 | 22.39 | 23.09 | pass
L100AD-HW-01 | 197.01 |  |  | L100AD-HW-07 | 20.895 | 20.29 | 20.94 | pass
L100AD-HW-02 | 262.49 |  |  | Miami FL Cases: | MBtu/y | Range Min | Range Max | Pass/Fail
L100AD-HW-03 | 174.72 |  |  | L100AM-HW-01 | 10.979 | 10.59 | 11.03 | pass
L100AD-HW-04 | 254.1 |  |  | L100AM-HW-02 | 13.625 | 13.17 | 13.68 | pass
L100AD-HW-05 | 555.31 | 438 |  | L100AM-HW-03 | 9.022 | 8.81 | 9.13 | pass
L100AD-HW-06 | 230.31 | 5 |  | L100AM-HW-04 | 13.303 | 12.87 | 13.36 | pass
L100AD-HW-07 | 208.95 |  |  | L100AM-HW-05 | 31.2035 | 30.19 | 31.31 | pass
|  |  |  | L100AM-HW-06 | 12.3391 | 11.9 | 12.38 | pass
| Energy | Pump |  | L100AM-HW-07 | 12.081 | 11.68 | 12.14 | pass
Florida | [therms] | [kWh] |  | MN Delta Cases: | %Change | Range Min | Range Max | Pass/Fail
L100AM-HW-01 | 109.79 |  |  | MN (1-2 delta) | -33.24% | -34.01% | -32.49% | pass
L100AM-HW-02 | 136.25 |  |  | MN (1-3 delta) | 11.31% | 10.74% | 11.57% | pass
L100AM-HW-03 | 90.22 |  |  | MN (2-4 delta) | 3.196% | 3.06% | 3.22% | pass
L100AM-HW-04 | 133.03 |  |  | MN (2-5 delta) | -117.2% | -118.5% | -115.6% | pass
L100AM-HW-05 | 297.09 | 438 |  | MN (2-6 delta) | 12.19% | 12.17% | 12.51% | pass
L100AM-HW-06 | 123.22 | 5 |  | MN (2-7 delta) | 20.4% | 20.15% | 20.78% | pass
L100AM-HW-07 | 120.81 |  |  | FL Delta Cases: | %Change | Range Min | Range Max | Pass/Fail
|  |  |  | FL (1-2 delta) | -24.1% | -24.54% | -23.47% | pass
|  |  |  | FL (1-3 delta) | 17.82% | 16.65% | 18.12% | pass
|  |  |  | FL (2-4 delta) | 2.363% | 2.2% | 2.38% | pass
|  |  |  | FL (2-5 delta) | -129% | -130.9% | -127.5% | pass
|  |  |  | FL (2-6 delta) | 9.438% | 9.38% | 9.74% | pass
|  |  |  | FL (2-7 delta) | 11.33% | 11% | 11.4% | pass
|  |  |  | MN-FL Delta Cases | %Change | Range Min | Range Max | Pass/Fail
|  |  |  | MN-FL (01) | 44.27% | 43.35% | 45% | pass
|  |  |  | MN-FL (02) | 48.09% | 47.26% | 48.93% | pass
|  |  |  | MN-FL (03) | 48.36% | 47.38% | 48.74% | pass
|  |  |  | MN-FL (04) | 47.65% | 46.81% | 48.48% | pass
|  |  |  | MN-FL (05) | 45.28% | 44.41% | 45.99% | pass
|  |  |  | MN-FL (06) | 46.46% | 45.6% | 47.33% | pass
|  |  |  | MN-FL (07) | 42.18% | 41.32% | 42.86% | pass

## TestCases (hidden)
Case L100AD-HW-01 (heater base case , evolved from DHW-MN-56-2)
Climate location: Duluth, MN
Bedrooms: 2
Type: 40 gallon storage
Fuel: gas
Efficiency: EF = 0.56
Recovery Efficiency: RE = 0.78
DHW Heater Location: conditioned space
Plumbing fixtures: Standard flow
Pipe insulation: None
Piping length = Reference Home piping length
Recirculation: None (Standard system)
DWHR: None
Case L100AD-HW-02 (distribution base case , evolved from DHW-MN-56-4)
Same as Case L100AD-HW-01 except with 4 bedrooms
Case L100AD-HW-03 (evolved from DHW-MN-62-2)
Same as Case L100AD-HW-01 except gas water heater has EF=0.62
Case L100AD-HW-04
Same as Case L100AD-HW-02 except with all low-flow fixtures (all bath faucets and showers ≤ 2gpm)
Case L100AD-HW-05
Same as Case L100AD-HW-02 except with recirculation
· Control = none
· 50 W pump
· Loop length is same as reference loop length
· Branch length is 10 ft
· All hot water pipes insulated to R-3
Case L100AD-HW-06
Same as Case L100AD-HW-05 except with Control = Manual Demand
Case L100AD-HW-07
Same as Case L100AD-HW-02 except with Drain Water Heat Recovery
· DWHR efficiency = 54%
· All showers connected to DWHR unit
· DWHR preheats both hot and cold supplies for showers
Cases L100AM-HW-01 through L100AM-HW-07
Same as Cases L100AD-HW except climate location = Miami, FL