## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 298 | 5 | Revision | GCP Applied Technologies Inc. | Roofing | Underlayments | Recommend Approval |  | a
2 | 2905 | 6 | Revision | ATAS International, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
3 | 3162 | 6 | Revision | ATAS International, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
4 | 3556 | 7 | Revision | ATAS International, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
5 | 3915 | 25 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
6 | 4911 | 13 | Revision | GAF | Roofing | Waterproofing | Recommend Approval |  | a
7 | 5680 | 20 | Revision | GAF | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
8 | 8248 | 14 | Revision | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
9 | 9517 | 8 | Revision | Davinci Roofscapes, LLC | Roofing | Products Introduced as a Result of New Technology | Recommend Approval |  | a
10 | 10264 | 14 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
11 | 10342 | 11 | Revision | Siplast Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
12 | 10442 | 3 | Revision | Merchant & Evans, Inc | Structural Components | Roof Deck | Recommend Approval |  | a
13 | 11602 | 5 | Revision | Owens Corning Roofing and Asphalt, LLC | Roofing | Underlayments | Recommend Approval |  | a
14 | 11794 | 1 | Revision | Arconic Architectural Products | Panel Walls | Siding | Recommend Approval |  | a
15 | 11946 | 9 | Revision | GAF | Roofing | Built up Roofing | Recommend Approval |  | a
16 | 13139 | 4 | Revision | Royal Building Products | Panel Walls | Soffits | Recommend Approval |  | a
17 | 13198 | 3 | Revision | Atlantic Coast Roofing and Metal Fabricators, LLC | Roofing | Metal Roofing | Recommend Approval |  | a
18 | 13275 | 3 | Revision | Mitten Inc. | Panel Walls | Soffits | Recommend Approval |  | a
19 | 13314 | 3 | Revision | R & R Roofing of Brevard, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
20 | 13364 | 3 | Revision | USA Steel Buildings Inc | Structural Components | Roof Deck | Recommend Approval |  | a
21 | 13456 | 3 | Revision | Major Industries | Sky Lights | Skylight | Recommend Approval |  | a
22 | 13504 | 4 | Revision | Major Industries | Panel Walls | Products Introduced as a Result of New Technology | Recommend Approval |  | a
23 | 13613 | 3 | Revision | Discount Direct Metal Roofing | Roofing | Metal Roofing | Recommend Approval |  | a
24 | 13754 | 3 | Revision | East Coast Metal Systems | Structural Components | Structural Wall | Recommend Approval |  | a
25 | 13817 | 3 | Revision | Portalp USA, Inc. | Exterior Doors | Automatic Exterior Door Assemblies | Recommend Approval |  | a
26 | 13844 | 4 | Revision | Pella Corporation | Windows | Mullions | Recommend Approval |  | a
27 | 13992 | 3 | Revision | Mitten Inc. | Panel Walls | Siding | Recommend Approval |  | a
28 | 14083 | 17 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
29 | 14164 | 7 | Revision | Kingspan Insulation LLC | Roofing | Roofing Insulation | Recommend Approval |  | a
30 | 14207 | 17 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
31 | 14313 | 8 | Revision | Crawford Tracey Corporation | Panel Walls | Curtain Walls | Recommend Approval |  | a
32 | 14411 | 11 | Revision | Crawford Tracey Corporation | Panel Walls | Curtain Walls | Recommend Approval |  | a
33 | 14417 | 6 | Revision | Wasco Products, Inc. | Sky Lights | Skylight | Recommend Approval |  | a
34 | 14512 | 5 | Revision | International Door Products, Inc | Exterior Doors | Exterior Door Components | Recommend Approval |  | a
35 | 14666 | 3 | Revision | LaPolla Industries, Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
36 | 14724 | 3 | Revision | Gaco Western, Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
37 | 15146 | 2 | Revision | Gammans Skylight Systems, Inc. | Sky Lights | Skylight | Recommend Approval |  | a
38 | 15216 | 4 | Revision | Owens Corning Roofing and Asphalt, LLC | Roofing | Underlayments | Recommend Approval |  | a
39 | 15449 | 7 | Revision | NewSouth Window Solutions | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
40 | 15450 | 8 | Revision | Doers Window Manufacturing, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
41 | 15545 | 4 | Revision | Tremco Incorporated | Roofing | Liquid Applied Roof Systems | Recommend Approval |  | a
42 | 15546 | 3 | Revision | Tremco Incorporated | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
43 | 15623 | 4 | Revision | Future Steel Buildings Intl Corp | Structural Components | Structural Wall | Recommend Approval |  | a
44 | 15692 | 3 | Revision | CertainTeed Corporation-Roofing | Roofing | Underlayments | Recommend Approval |  | a
45 | 15734 | 6 | Revision | ALUCOM, LLC | Roofing | Metal Roofing | Recommend Approval |  | a
46 | 15822 | 2 | Revision | G.M.C. Roofing & Building Paper Products Inc. | Roofing | Underlayments | Recommend Approval |  | a
47 | 15857 | 3 | Revision | Quaker Window Products Co. Inc. | Windows | Fixed | Recommend Approval |  | a
48 | 15860 | 3 | Revision | Quaker Window Products Co. Inc. | Panel Walls | Wall Louver | Recommend Approval |  | a
49 | 15892 | 12 | Revision | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
50 | 15894 | 15 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
51 | 16039 | 12 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
52 | 16440 | 13 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
53 | 16443 | 13 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
54 | 16463 | 2 | Revision | Windoor Incorporated | Windows | Mullions | Recommend Approval |  | a
55 | 16543 | 4 | Revision | CertainTeed Corporation-Roofing | Roofing | Underlayments | Recommend Approval |  | a
56 | 16546 | 10 | Revision | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
57 | 16548 | 4 | Revision | Kawneer Company | Panel Walls | Curtain Walls | Recommend Approval |  | a
58 | 16660 | 8 | Revision | Haas Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
59 | 16723 | 4 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
60 | 16732 | 10 | Revision | GAF | Roofing | Modified Bitumen Roof System | Recommend Approval |  | a
61 | 16733 | 5 | Revision | GAF | Roofing | Built up Roofing | Recommend Approval |  | a
62 | 16996 | 2 | Revision | National Approved Shutter Association LLC | Impact Protective Systems | Operable | Recommend Approval |  | a
63 | 17053 | 3 | Revision | Kawneer Company | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
64 | 17184 | 5 | Editorial Change | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
65 | 17186 | 3 | Revision | Mitsubishi Chemical Composites America | Panel Walls | Siding | Recommend Approval |  | a
66 | 17202 | 3 | Revision | Lomanco, Inc | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a
67 | 17273 | 2 | Revision | Vi Win Tech | Windows | Mullions | Recommend Approval |  | a
68 | 17460 | 2 | Revision | Premier Products, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
69 | 17473 | 1 | Revision | FORTIFIED BUILDING PRODUCTS, INC. | Shutters | Bahama | Recommend Approval |  | a
70 | 17474 | 1 | Revision | FORTIFIED BUILDING PRODUCTS, INC. | Shutters | Colonial | Recommend Approval |  | a
71 | 17539 | 1 | Revision | Global Performance Window d.b.a. Epsylon USA | Windows | Projected | Recommend Approval |  | a
72 | 17669 | 1 | Revision | OLDCASTLE BUILDING ENVELOPE | Sky Lights | Skylight | Recommend Approval |  | a
73 | 17678 | 5 | Revision | Drexel Metals, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
74 | 17679 | 5 | Revision | Drexel Metals, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
75 | 17687 | 1 | Revision | OLDCASTLE BUILDING ENVELOPE | Windows | Fixed | Recommend Approval |  | a
76 | 17689 | 2 | Revision | OLDCASTLE BUILDING ENVELOPE | Panel Walls | Storefronts | Recommend Approval |  | a
77 | 17690 | 1 | Revision | OLDCASTLE BUILDING ENVELOPE | Panel Walls | Curtain Walls | Recommend Approval |  | a
78 | 17692 | 3 | Revision | OLDCASTLE BUILDING ENVELOPE | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
79 | 17693 | 1 | Revision | OLDCASTLE BUILDING ENVELOPE | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
80 | 17728 | 1 | Revision | Global Performance Window d.b.a. Epsylon USA | Panel Walls | Curtain Walls | Recommend Approval |  | a
81 | 17869 | 1 | Revision | All American Shutters and Glass | Shutters | Storm Panels | Recommend Approval |  | a
82 | 17893 | 1 | Revision | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
83 | 18374 | 2 | Revision | Continental Materials Inc. | Roofing | Underlayments | Recommend Approval |  | a
84 | 18410 | 2 | Revision | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a
85 | 18413 | 2 | Revision | TRULITE GLASS & ALUMINUM SOLUTIONS | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
86 | 18426 | 1 | Revision | La Finestra, LC | Windows | Casement | Recommend Approval |  | a
87 | 19019 | 1 | Revision | Global Performance Window d.b.a. Epsylon USA | Panel Walls | Curtain Walls | Recommend Approval |  | a
88 | 19023 | 2 | Revision | Global Performance Window d.b.a. Epsylon USA | Panel Walls | Curtain Walls | Recommend Approval |  | a
89 | 19076 | 1 | Revision | Master Block Company | Structural Components | Structural Wall | Recommend Approval |  | a
90 | 19151 | 1 | Revision | Hartman Windows and Doors, LLC | Windows | Double Hung | Recommend Approval |  | a
91 | 19589 | 1 | Revision | ProVia â€“ Heartland | Panel Walls | Soffits | Recommend Approval |  | a
92 | 19598 | 1 | Revision | ProVia â€“ Heartland | Panel Walls | Siding | Recommend Approval |  | a
93 | 20516 | 1 | Revision | Hartman Windows and Doors, LLC | Windows | Casement | Recommend Approval |  | a
94 | 20517 | 1 | Revision | Hartman Windows and Doors, LLC | Windows | Mullions | Recommend Approval |  | a
95 | 20651 | 2 | Revision | N.R. Architectural Products, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
96 | 20652 | 2 | Revision | Hartman Windows and Doors, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
97 | 20657 | 2 | Revision | Tremco Incorporated | Roofing | Liquid Applied Roof Systems | Recommend Approval |  | a
98 | 21045 | 2 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval |  | a
99 | 21133 | 2 | Revision | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
100 | 21204 | 1 | Revision | OLDCASTLE BUILDING ENVELOPE | Panel Walls | Storefronts | Recommend Approval |  | a
101 | 21392 | 1 | Revision | Tropical Roofing Products | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
102 | 21423 | 2 | Revision | Sunlast Metal | Roofing | Metal Roofing | Recommend Approval |  | a
103 | 21553 | 1 | Revision | Tri-Built Materials Group, LLC | Roofing | Underlayments | Recommend Approval |  | a
104 | 21555 | 2 | Revision | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a
105 | 21699 | 1 | Revision | Master Panel, S.L. | Structural Components | Roof Deck | Recommend Approval |  | a
106 | 21719 | 2 | Revision | SL Westwood Design S de RL de CV | Shutters | Storm Panels | Recommend Approval |  | a
107 | 21841 | 3 | Revision | CertainTeed Corporation-Roofing | Roofing | Underlayments | Recommend Approval |  | a
108 | 22011 | 0 | New | Continental Glass Systems, LLC. | Panel Walls | Curtain Walls | Recommend Approval |  | a
109 | 22212 | 1 | Revision | Tell Manufacturing, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval |  | a
110 | 22232 | 1 | Revision | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
111 | 22244 | 4 | Revision | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval |  | a
112 | 22259 | 2 | Revision | Beacon Sales Acquisitions, Inc. c/o Owens Corning Roofing and Asphalt LLC | Roofing | Underlayments | Recommend Approval |  | a
113 | 22266 | 1 | Revision | E.S. Windows, Inc. | Windows | Projected | Recommend Approval |  | a
114 | 22356 | 1 | Revision | JELD-WEN | Windows | Mullions | Recommend Approval |  | a
115 | 22537 | 1 | Revision | PALM CITY MILLWORK, INC. | Windows | Casement | Recommend Approval |  | a
116 | 22628 | 1 | Revision | Winco Window Company | Windows | Casement | Recommend Approval |  | a
117 | 22837 | 1 | Revision | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
118 | 24220 | 1 | Revision | GM&P Consulting and Glazing Contractors Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
119 | 24436 | 0 | New | Winco Window Company | Windows | Fixed | Recommend Approval |  | a
120 | 24523 | 1 | Revision | DAYBAR INDUSTRIES LIMITED | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
121 | 24537 | 2 | Revision | Mid-America Door | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
122 | 25577 | 0 | New | Morton Buildings, Inc | Roofing | Metal Roofing | Recommend Approval |  | a
123 | 25610 | 1 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval |  | a
124 | 25670 | 1 | Revision | Eco Window Systems | Windows | Horizontal Slider | Recommend Approval |  | a
125 | 25673 | 2 | Revision | Faour Glass Technologies | Panel Walls | Storefronts | Recommend Approval |  | a
126 | 25829 | 0 | New | Morton Buildings, Inc | Panel Walls | Siding | Recommend Approval |  | a
127 | 25896 | 0 | New | Mainstream Engineering Corporation | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval |  | a
128 | 26341 | 1 | Revision | Elemex Architectural Systems | Panel Walls | Siding | Recommend Approval |  | a
129 | 26344 | 1 | Revision | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Storefronts | Recommend Approval |  | a
130 | 26345 | 1 | Revision | Latchable, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval |  | a
131 | 26347 | 1 | Revision | Latchable, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
132 | 26349 | 1 | Revision | Owens Corning Roofing and Asphalt, LLC | Roofing | Underlayments | Recommend Approval |  | a
133 | 26357 | 1 | Revision | Schuco USA L.L.L.P. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
134 | 26458 | 0 | New | Nana Wall Systems, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
135 | 26460 | 0 | New | VERSCENE, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
136 | 26482 | 0 | New | Gardner Asphalt Corp. | Roofing | Underlayments | Recommend Approval |  | a
137 | 26506 | 0 | New | CENTRIA | Structural Components | Structural Wall | Recommend Approval |  | a
138 | 26512 | 0 | New | Jab-O Metal Fabrication, Inc. | Roofing | Metal Roofing | Recommend Approval |  | a
139 | 26540 | 0 | New | Continental Glass Systems, LLC. | Windows | Horizontal Slider | Recommend Approval |  | a
140 | 26558 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
141 | 26575 | 0 | New | US Aluminum Inc. - Division of CR Laurence | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
142 | 26591 | 0 | New | Tiger Door LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
143 | 26592 | 0 | New | Chem-Pruf Door Co., Ltd. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
144 | 26593 | 0 | New | Fib-R-Dor, A Division of Chase Industries, inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
145 | 26891 | 0 | New | Euro-Wall Systems, LLC | Windows | Mullions | Recommend Approval |  | a
146 | 26893 | 0 | New | Exclusive Wood Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
147 | 26906 | 0 | New | Sunrise Windows, LTD. | Windows | Single Hung | Recommend Approval |  | a
148 | 26907 | 0 | New | Sunrise Windows, LTD. | Windows | Casement | Recommend Approval |  | a
149 | 26908 | 0 | New | Sunrise Windows, LTD. | Windows | Fixed | Recommend Approval |  | a
150 | 26909 | 0 | New | Sunrise Windows, LTD. | Windows | Horizontal Slider | Recommend Approval |  | a
151 | 26910 | 0 | New | Sunrise Windows, LTD. | Windows | Double Hung | Recommend Approval |  | a
152 | 26912 | 0 | New | Lomanco, Inc | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a
153 | 26942 | 0 | New | Mr Glass Doors & Windows Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
154 | 26944 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
155 | 26946 | 0 | New | Mr Glass Doors & Windows Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a
156 | 26962 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Storefronts | Recommend Approval |  | a
157 | 26965 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Storefronts | Recommend Approval |  | a
158 | 26972 | 0 | New | Eco Window Systems | Windows | Single Hung | Recommend Approval |  | a
159 | 26977 | 0 | New | Schuco USA L.L.L.P. | Windows | Fixed | Recommend Approval |  | a
160 | 26978 | 0 | New | Schuco USA L.L.L.P. | Windows | Dual Action | Recommend Approval |  | a
161 | 26980 | 0 | New | Advanced Hurricane Technology Inc. | Impact Protective Systems | Operable | Recommend Approval |  | a
162 | 26981 | 0 | New | Rheem Manufacturing Company | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval |  | a
163 | 27000 | 0 | New | Mr Glass Doors & Windows Inc. | Panel Walls | Storefronts | Recommend Approval |  | a
164 | 27003 | 0 | New | Gaco Western, Inc. | Roofing | Waterproofing | Recommend Approval |  | a
165 | 27013 | 0 | New | Continental Glass Systems, LLC. | Windows | Projected | Recommend Approval |  | a
166 | 27018 | 0 | New | Continental Glass Systems, LLC. | Panel Walls | Curtain Walls | Recommend Approval |  | a
167 | 27020 | 0 | New | Phoenix Aluminum Products, llc. | Panel Walls | Storefronts | Recommend Approval |  | a
168 | 27021 | 0 | New | United Enertech | Panel Walls | Wall Louver | Recommend Approval |  | a
169 | 27023 | 0 | New | Euro-Wall Systems, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
Test Report
170 | 2894 | 7 | Revision | G.A.P. Roofing | Roofing | Underlayments | Recommend Approval |  | a
171 | 13823 | 3 | Revision | Citadel Architectural Products, Inc. | Panel Walls | Siding | Recommend Approval |  | a
172 | 14449 | 6 | Revision | G.A.P. Roofing | Roofing | Underlayments | Recommend Approval |  | a
173 | 22853 | 1 | Revision | G.A.P. Roofing | Roofing | Underlayments | Recommend Approval |  | a
174 | 26581 | 0 | New | Gardner Asphalt Corp. | Roofing | Underlayments | Recommend Approval |  | a
175 | 26913 | 0 | New | ELRO Manufacturing, LLC | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a
Architect and Engineer Evaluation Method
176 | 14911 | 10 | Revision | Silver Line Building Products Corp. | Windows | Single Hung | Recommend Approval |  | a
|  |  | Miami Dade's comment | Does not comply with 2411.1.11
|  |  | S.Spencer's response | Section 2411.1.11 requires safety glazing in the HVHZ area for applications over 30’. The HVHZ approved products (sub-products 4 & 5) contain a requirement on the drawing stating “All glazing configurations shall comply with safety glazing requirements outlined in current FBC”, therefore no changes should be necessary.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
177 | 17112 | 4 | Revision | Goldbrecht USA, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
|  |  | Miami Dade's comment | Sheet 1 the frame width to be limited per FBC 2411.3.2.4(i) (10)
|  |  | S.Wolters's response | I have reviewed the public comment you forwarded, this is our response: The maximum frame widths are listed in the Design Pressure chart on Sheet 1, and meet the requirements of Section 2411.3.2.4(i)(2). Please note: (a) When tested, the doors with Type I vertical door stiles and steel reinforcing met the L/180 deflection criteria. Per section 2411.3.2.4(i)(2), The overall frame width is unlimited. The max. width per panel is listed in the chart. (b) Doors with Type I vertical door stiles and no steel reinforcing did not meet the L/180 deflection criteria. They were tested as 6 panel doors. The frame width has been limited to 9 panels overall per section 2411.3.2.4(i)(2). (c) Doors with Type II vertical door stiles and steel reinforcing did not meet the L/180 deflection requirement. They were tested as 4 panel doors. The frame width has been limited to 6 panels overall per section 2411.3.2.4(i)(2).
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
178 | 17668 | 1 | Revision | OLDCASTLE BUILDING ENVELOPE | Windows | Projected | Recommend Approval |  | c
|  |  | Miami Dade's comment | Does not comply with FBC 2411.1.11.
|  |  | J.Westphal's response | I would refer to the exceptions under that Section.
The application in question is a large missile impact.
|  |  | Staff analysis | Staff agrees with the public comment and recommends conditional approval to allow the applicant to comply with S.2411.11 by either limiting the product installation to up to 30ft of grade or meeting the requirements of safety glazing.
179 | 17691 | 2 | Revision | OLDCASTLE BUILDING ENVELOPE | Panel Walls | Curtain Walls | Recommend Approval |  | c
|  |  | Miami Dade's comment | Does not comply with FBC 2411.1.11.
|  |  | J.Westphal's response | I would refer to the exceptions under that Section.
|  |  | J.Westphal's response | The application in question is a large missile impact.
|  |  | Staff analysis | Staff agrees with the public comment and recommends conditional approval to allow the applicant to comply with S.2411.11 by either limiting the product installation to up to 30ft of grade or meeting the requirements of safety glazing.
180 | 18568 | 1 | Revision | EFCO Corporation | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
|  |  | Miami Dade's comment | DP unknown, Material not identified
|  |  | R.Amoruso's response | Test Report Method is used for this product approval. Design Pressure is identified in the test reports uploaded under “TEST REPORTS” in the application. Under Limits of Use, a note is present that refers users to the test report for the Design Pressure. Similarly, the frame material is identified in the test reports in the drawing section for each of the extrusion drawings. The GLAZING DETAILS document uploaded under “TEST REPORTS” in the application lists the interlayer manufacturers and applicable MD NOA component approvals.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
181 | 19179 | 1 | Revision | Hartman Windows and Doors, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | c
|  |  | Miami Dade's comment | Clarify size of spacer in glazing detail F.
|  |  | J.Posada's response | We would like to correct the application as per comment with conditional approval process.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to clarify the size of spacer in glazing detail F on the installation instructions.
182 | 21969 | 3 | Revision | Construction Specialties, Inc. | Panel Walls | Wall Louver | Recommend Approval |  | c
|  |  | M.Steele's comment | FL21969 The “Performance Summary” section of the PE Evaluation Report references an incorrect TAS test standard after the report’s listed ANSI/AMCA 540-13 impact test. The issue is believed to be a simple typo. It currently reads “Product passed ANSI/AMCA Standard 540-13 (including TAS 201-94)…”, but should read, “Product passed ANSI/AMCA Standard 540-13 (including TAS-203-94)…”. This product is listed as “Yes” for use inside the HVHZ on its FPA application. Therefore, TAS 203 cyclical testing is required as part of the ANSI/AMCA 540-13 impact test as per in the test standard’s Section 8.1 as cited below: “Louvers located in High-Velocity Hurricane Zones (HVHZ) of Florida require cycle testing post-AMCA Standard 540 impact testing. Impact testing shall be conducted in accordance with this standard. Louvers shall be cycle tested to all of the requirements in test standard TAS 203,…” AMCA 540 impact testing is required as per FBC, Building, Ch. 16 (Structural Design), Section 1609.1.2 (Protection of openings) .1 (Louvers) for impact protection of intake or exhaust ducts located within 30 ft of grade as well as for the protection of open louvers for life safety purposes (such as breathable atmosphere for shelters). I propose conditional approval based upon the condition that the PE Evaluation Report is corrected to show the TAS 203-94 cyclical loading test in regards to the ANSI/AMCA 540-13 test impact test.
|  |  | R.Geist's response | I would like to request a conditional approval while this gets corrected.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to correct typo error as "including TAS 203-94".
183 | 22267 | 3 | Revision | E.S. Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | a
|  |  | Miami Dade's comment | Limit the frame area tested per FBC 2411.3.2.4. Also tested elevation doesn't indicate corner condition.
|  |  | Y.Wang's response | We have the following response to the comments. 1) The sliding glass door panel area were limited to tested door panel area. 2) Test report # BT-ESW-18-002 mock #2 tested 90 deg. and 135 deg Corner as shown below.
Y.Wang's response
|  |  | Y.Wang's response | In the installation drawings show max. width and max. height on corner mullions as per test reports:
Y.Wang's response
|  |  | Y.Wang's response | The installation drawings are very well demenstate the max. limits. No additional elevation is needed.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
184 | 23358 | 1 | Revision | CGI Windows and Doors | Windows | Single Hung | Recommend Approval |  | a
|  |  | Miami Dade's comment | Does not show required setting block 2411.3.3.1
|  |  | L.Miller's response | The required setting blocks are specified in the bill of materials on sheet 4 of the installation drawings for FL23358.1 and FL23358.2 as shown below.
L.Miller's response
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
185 | 23359 | 1 | Revision | CGI Windows and Doors | Windows | Horizontal Slider | Recommend Approval |  | a
|  |  | Miami Dade's comment | Does not show required setting block 2411.3.3.1.”
|  |  | L.Miller's response | The required setting blocks are specified in the bill of materials on sheet 6 of the installation drawings for FL23359.1 and FL23359.2 as shown below.
L.Miller's response
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
186 | 25943 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
|  |  | Miami Dade's comment | FTL7242 indicate contadicting locking device.The comment is: “FTL7242 indicate contradicting locking device.” The clarification is: Fenestration Testing Lab to clarify the locking devices per test report FTL7242 (sample A-1 and A-2). The 2-point concealed locking activated by panic devices tested to +/- 150 PSF has been identified ad Adams Rite in test report, however marked-up drawings shows Jackson 2086 and Jackson 1200 series. Further Adam Rites in marked-up drawings is 3-point locking system that contains 4015 top Rods and 4016 bottom Rods with MS 1850S Dead bolt. The exact locking devices that achieved the +/-150 PSF performance needs to be clarified
|  |  | Miami Dade's comment 05/23/18 regarding to Y.Wang's response on 05/22/18 | The above referenced Fenestration Testing Test report FTL 7242 identifies panic device marking as “Adam Rites” (see attached page 3 of the test report). The marked-up Dwgs contradict the test report by identifying Panic Devices being “Jackson”. Additionally the marked-up drawings also contains the “Adam Rites” 2-point and 3-point device, which consist of Adam Rite 4016 (header bolt Rod), Adam Rite 4015 (threshold-bottom bolt Rods) and the dead bolt (MS 1580S) see attached. The test lab to clarify, exactly which devices were used for +/-150 PSF rating. Please note we have another test report in the file from Black Water testing report # BT-ESW-17-020, where Adam Rite 3-point locking ( Adam Rite 4016, 4015 and MS1580S dead bolt) were tested to +/- 130 PSF only.
|  |  | Y.Wang's response | In test report there are for specimen. Mock up A-1 & A-2 is double panel door and Mock-up B-1 & C-1 are single panel door. In double panel door two point lock are used. One for active panel and one for inactive panel. Jackson 2086 and Jackson 1200 series are two point locks with concealed vertical rods for double door. (see screen shots below). This matches test reports.
Y.Wang's response
Y.Wang's response
Y.Wang's response
|  |  | Y.Wang's response | For single panel door the three point lock is used: MS deadbolt with 4016 head bolt and 4015 threshold bolt to become three point lock look is right to me. They are matches test reports.
Y.Wang's response
Y.Wang's response
Y.Wang's response
|  |  | Y.Wang's response | From above explanation I think the product meet the Florida Building code requirements.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
187 | 26350 | 0 | New | Nana Wall Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | c
|  |  | Miami Dade's comment | sys to be limited per FBC 2411.3.2.4. No glazing detail nor extrusion or parts identified.
|  |  | Staff analysis | Staff agrees with the public comment and recommends conditional approval to allow the applicant to affirm compliance with FBC 2411.3.2.4 as applicable.
188 | 27001 | 0 | New | Mr Glass Doors & Windows Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c
|  |  | Miami Dade's comment | Locking per FTL 7242 unkown, Additional test per BW-ESW-1702 required.
|  |  | Y.Poyato's response ( Al Farooq) | We have reviewed the testing, have received clarification from the test lab and a revised test report. We have the following response to the public comment: As per clarification from the lab for test FTL 7242 the locking will be modified on the installation drawings. Based on previous test reports we have provided calculations to verify items qualified under BW-ESW-17-020. We will modify installation drawings to match calculations. We request the application be set for Conditional Approval so that we may upload revised installation drawings.
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to modify the locking as per FTL7242 installation drawings to match calculations.
189 | 27022 | 0 | New | Burmon Building Products | Structural Components | Wood Connectors | Recommend Approval |  | c
|  |  | K. Cullum's comment | FL27022.1 and FL27022.2 evaluation reports both list ASTM D1761 (2006) as a referenced test protocol; however, per 2017 FBC Section 2303.5.2, allowable loads for premanufactured connectors shall be determined in accordance with ASTM D7147.
|  |  | G. Hartman's response | I as the P.E. evaluator, Gary Hartman, P.E. (Intertek Test Lab) and the validator do not agree that the brackets in FL27022.1 & FL27022.2 fit the FBC 6th, section 2303.5, description "for joist hangers". The brackets in the two test & reports bear on top of concrete, CMU, or framed walls. The brackets do not hang on the walls. After considerable consultation between myself and Intertek, it was decided that FBC 6th, chapter 35, ASTM D1761 would be the best model protocol to test these brackets for uplift. Since this is a new configuration bracket (with a patent), and did not exactly fit a standard, Rule 61G20-3.005 (2) Method 2B was selected and the accepted code section 1708.2 is the basis of the evaluation. The test method for the reports meet the requirement of FBC 6th section 1708.2 that "The test procedure shall simulate loads and conditions of the application..."
|  |  | G. Hartman's response | The test method for the reports meet the requirement of FBC 6th section 1708.2 that "The test procedure shall simulate loads and conditions of the application..." Below is additional supporting information from the P.E. at Intertek, as to the test protocol. I do agree with the comment about "Referenced Test" or "Referenced Standard". This implies that the evaluation method should have been Method 1. (although the Code Compliance section of the reports states compliance to FBC 6th, section 1708.2 and Method 2 Option B is on the first BCIS web page). I would like to propose the following minor edits for Conditional Approval to prevent any further misunderstanding. Proposed edits for Conditional Approval for both method 2B evaluation reports FL27022.1 & FL27022.2 on page 3 of 7 (both reports)
|  |  | G. Hartman's response | Test Performance Standards: The following test protocol was performed to demonstrate compliance with the intent of the code as this product does not specifically addressed the performance standard in the code. • ASTM D1761 (2006) – Standard Test Methods for Mechanical Fasteners in Wood, Sections 21 through 30 • ( Uplift performance only) Code Compliance: The product described herein has demonstrated compliance with the Florida Building Code 6th Edition (2017). Section 1708.2 Page 5 of 7, Revised Test Report File No. & Date, additional clarification notes Referenced Data: Intertek Testing Report File No. H3848.02-16 R1 Date, 5/21/18
|  |  | Staff analysis | Staff agrees with the applicant's response and recommends conditional approval to allow the applicant to provide additional information on the evaluation reports as stated on the response.