Betty, please add to the comment file on the 2006 Supplement.

Thanks to both

Mo

-----Ann Stanton/DCA/FLEOC wrote: -----

To: Mo Madani/DCA/FLEOC@fleoc, Betty Stevens/DCA/FLEOC@fleoc, pfairey@fsec.ucf.edu

From: Ann Stanton/DCA/FLEOC

Date: 06/15/2006 01:40PM

Subject: Comment on code, Mod 1779

A new section, 13-C1.1 Baseline features, was added to Appendix C of Chapter 13 of the Florida Building Code, Building, by Mod 1779.  Baseline features listed in the section describe Internal gains as 17,900 + 23.8 X CFA + 4104 X Nbf.  Internal gains used in the EnergyGauge Fla/Res computer program are actually as follows:   South:                    Central:                    North:

Summer: CFA* 11.36          Summer: CFA*9.14          Summer: CFA*6.77

Winter: CFA*(- 0.38)           Winter: CFA* (-1.15)          Winter: CFA*(-2.72)

This should be corrected.

Ann Stanton