----- Forwarded by Ann Stanton/DCA/FLEOC on 07/05/2006 01:14 PM -----

| Ann Stanton/DCA/FLEOC 06/30/2006 09:40 AM |  |
| --- | --- |

To

Mo Madani/DCA/FLEOC, Betty Stevens/DCA/FLEOC

cc

Subject

Comment on Supplement

This is an official comment on the 2006 Supplement to the 2004 Florida Building Code, Building.  The following code sections need minor editorial changes to Section 437, Hospice Inpatient Facilities and Units and Hospice Residences, to make them fit into the code appropriately:

Section 437.2.2.1 needs to be fixed as follows:

437.2.2.1 All new inpatient units and facilities, and additions or renovations to existing units and facilities shall be in compliance with the

requirements for:

`			1. Institutional Occupancy –Group I-2, of the Florida Building

Code as described in Chapter 3 of Section 308.3 of this code

as adopted by the Florida Building Commission; and

2. [No change]

Section 437.3.2.1 needs to be fixed as follows:

437.3.2.1 All new facilities and additions and renovations to existing facilities shall be in compliance with:

1. The Florida Building Code, Building as described

in Chapter 3 of Section 310.1 of this code for Group R-4 (R4)

occupancy;

2-3 [No change]