## Result_data
DSE Test Suite Results |  |  |  |  | Software Name: | Wrightsoft Right-Energy® Simulation v1.0 Wed 13-Sep-17 11:44:22 am
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Results:
Base Cases |  | Heat/cool | Fan | Total | % change
| HVAC-3a | 696.463 | 370.022 | 70.9092 | --- |  | base for cases 3b - 3d
| HVAC-3e | 5524.8118 | 685.667 | 6210.4787 | --- |  | base for cases 3f - 3h
Criteria:
Test Cases |  | Heat/cool | Fan | Total | % change |  | max | avg | min | Pass/Fail
| HVAC-3b | 848.718 | 450.9138 | 86.4108 | 21.86% |  | 31.4% | 26.4% | 21.4% | pass
| HVAC-3c | 730.679 | 388.2014 | 74.3928 | 4.913% |  | 12.5% | 7.5% | 2.5% | pass
| HVAC-3d | 805.665 | 428.0731 | 82.0275 | 15.68% |  | 25% | 20% | 15% | pass
| HVAC-3f | 7249.878 | 898.4349 | 8148.3129 | 31.2% |  | 36.2% | 31.2% | 26.2% | pass
| HVAC-3g | 6002.7207 | 745.7396 | 6748.4603 | 8.662% |  | 16.5% | 11.5% | 6.5% | pass
| HVAC-3h | 6713.666 | 827.9878 | 7541.6538 | 21.43% |  | 31.1% | 26.1% | 21.1% | pass