## Results
HVAC Test Suite Results: | [5 empty] | Software Name: | Wrightsoft Right-Energy® Simulation v1.0 Wed 13-Sep-17 11:43:09 am
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Results
Cooling tests: | [6 empty] | Criteria
| Case | Cool | Cool Fan | Cool Tot | % change |  | min | max
| HVAC-1a | 5573.5929 | 947.4094 | 6521.0024 | ---
| HVAC-1b | 4413.5679 | 947.4094 | 5360.9773 | -17.79% |  | -21.24% | -17.38% | pass
Heating tests:
| Case | Heat | Heat Fan | Heat Tot | % change
| HVAC-2a | 727.257 | 533.8828 | 74.5478 | ---
| HVAC-2b | 630.29 | 533.8828 | 64.8511 | -13.01% |  | -13.3% | -11.57% | pass
| Case | Heat | Heat Fan | Heat Tot | % change
| HVAC-2c | 8742.0251 | 1324.3927 | 10066.4178 | ---
| HVAC-2d | 6027.0674 | 1169.9336 | 7197.001 | -28.5% |  | -29.03% | -16.73% | pass
| HVAC-2e | 16619.6128 | 533.8828 | 17153.4956 | 70.4% |  | 41.81% | 80.81% | pass
Plot Data: |  | HVAC-1b | HVAC-2b | HVAC-2d
| min | -21.24% | -13.3% | -29.03%
| max | -17.38% | -11.57% | -16.73%
| avg | -19.31% | -12.43% | -22.88%
| Result | -17.79% | -13.01% | -28.5%
HVAC-2e
| min | 41.81%
| max | 80.81%
| avg | 61.31%
| Result | 70.4%