## WeeklyCommisionReport (1)
| FL# | Revision # | Category | Subcategory | Manufacturer | Application Type | DBPR | POC | FBC | Comments
Certification Mark or Listing
1 | 4763 | 0 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Active Ventilation Products | NEW | a
2 | 7026 | 3 | EXTDOORS | Exterior Door Components | Tiger Door LLC | REV | a
3 | 7883 | 10 | WINDOWS | Horizontal Slider | Vi Win Tech | EDIT_CHG | a
4 | 8784 | 9 | WINDOWS | Fixed | Vi Win Tech | EDIT_CHG | a
5 | 10196 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | Marvin Windows and Doors | REV | a
6 | 10947 | 7 | WINDOWS | Horizontal Slider | JELD-WEN | EDIT_CHG | a
7 | 10970 | 6 | WINDOWS | Single Hung | JELD-WEN | EDIT_CHG | a
8 | 11757 | 5 | EXTDOORS | Exterior Door Component Products Introduced as a Result of New Technology | Anemostat Door Products | REV | a
9 | 12875 | 4 | PANEL | Siding | Nichiha Corporation | EDIT_CHG | a
10 | 12875 | 5 | PANEL | Siding | Nichiha Corporation | REV | a
11 | 13999 | 7 | WINDOWS | Casement | JELD-WEN | EDIT_CHG | a
12 | 14087 | 7 | WINDOWS | Fixed | JELD-WEN | EDIT_CHG | a
13 | 14088 | 7 | WINDOWS | Fixed | JELD-WEN | EDIT_CHG | a
14 | 14090 | 7 | WINDOWS | Horizontal Slider | JELD-WEN | EDIT_CHG | a
15 | 14462 | 4 | WINDOWS | Single Hung | JELD-WEN | EDIT_CHG | a
16 | 14464 | 5 | WINDOWS | Horizontal Slider | JELD-WEN | EDIT_CHG | a
17 | 14605 | 6 | EXTDOORS | Sliding Exterior Door Assemblies | Eastern Architectural Systems | EDIT_CHG | a
18 | 15508 | 1 | ROOFING | Asphalt Shingles | Building Products of Canada | REV | a
19 | 15654 | 3 | ROOFING | Cements-Adhesives-Coatings | R. M. Lucas Co. | REV | a
20 | 16475 | 4 | WINDOWS | Single Hung | Magnolia Windows & Doors | REV | a
21 | 16585 | 2 | PANEL | Glass Block | Mulia,INC (FL) | EDIT_CHG | a
22 | 17565 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | Unilux AG | REV | a
23 | 17757 | 2 | EXTDOORS | Exterior Door Assembly Products Introduced as a Result of New Technology | CURRIES Division of AADG, Inc | REV | a
24 | 17804 | 1 | WINDOWS | Single Hung | Legacy Vinyl Windows | REV | a
25 | 20376 | 0 | WINDOWS | Single Hung | Magnolia Windows & Doors | NEW | a
26 | 21081 | 0 | SKY_LITE | Skylight | Kingspan Light + Air | NEW | a
27 | 21413 | 1 | WINDOWS | Fixed | Continental Glass Systems, LLC. | REV | a
28 | 21414 | 1 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | CertainTeed Corporation-Roofing | REV | a
29 | 21415 | 0 | WINDOWS | Fixed | Henselstone Window and Door Systems | NEW | a
30 | 21421 | 0 | WINDOWS | Single Hung | EFCO Corporation | NEW | a
31 | 21468 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | Henselstone Window and Door Systems | NEW | a
32 | 21834 | 1 | WINDOWS | Awning | Winco Window Company | EDIT_CHG | a
33 | 22034 | 1 | EXTDOORS | Sliding Exterior Door Assemblies | Eastern Architectural Systems | EDIT_CHG | a
34 | 22058 | 1 | STRUCT | Products Introduced as a Result of New Technology | Covestro, LLC | REV | a
35 | 22289 | 1 | WINDOWS | Single Hung | Soft-Lite LLC | EDIT_CHG | a
36 | 22295 | 1 | WINDOWS | Double Hung | Soft-Lite LLC | EDIT_CHG | a
37 | 22314 | 1 | WINDOWS | Fixed | Soft-Lite LLC | EDIT_CHG | a
38 | 22317 | 1 | WINDOWS | Horizontal Slider | Soft-Lite LLC | REV | a
39 | 22369 | 0 | WINDOWS | Horizontal Slider | JELD-WEN | NEW | a
40 | 22369 | 1 | WINDOWS | Horizontal Slider | JELD-WEN | REV | a
41 | 22371 | 0 | WINDOWS | Single Hung | JELD-WEN | NEW | a
42 | 22539 | 0 | ROOFING | Roofing Tiles | M.C. A. Maruhachi Ceramics of America, Inc. | NEW | a
43 | 22611 | 0 | WINDOWS | Horizontal Slider | Doers Window Manufacturing, LLC | NEW | a
44 | 22629 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | Doers Window Manufacturing, LLC | NEW | a
45 | 22631 | 0 | EXTDOORS | Pre-Engineered Roof Access Hatches | Nystrom, Inc. | NEW | a
46 | 22634 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Masonite International | NEW | a
47 | 22661 | 0 | EXTDOORS | Pre-Engineered Roof Access Hatches | Babcock-Davis | NEW | a
48 | 22956 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | MI Windows and Doors | NEW | a
Evaluation Report from a Product Evaluation Entity
49 | 2030 | 9 | PANEL | Exterior Insulation Finish System | Dryvit Systems, Inc | REV | a
50 | 2847 | 8 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Lomanco, Inc | REV | a
51 | 5027 | 11 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | GAF/LL Building Products, Inc sub of GAF | REV | a
52 | 8947 | 3 | SHUTTERS | Storm Panels | Palram Americas, Inc. | REV | a
53 | 12098 | 5 | PANEL | Siding | Nichiha USA, Inc. | REV | a
54 | 16407 | 1 | ROOFING | Roofing Tiles | Ceramica Industrial de Tecate, S.A. de C.V. | REV | a
55 | 16850 | 2 | ROOFING | Underlayments | Epilay Inc | REV | a
56 | 22350 | 0 | ROOFING | Waterproofing | Protecto Wrap Company | NEW | a
57 | 22638 | 0 | ROOFING | Underlayments | Sentry Building Innovations | NEW | a
58 | 22648 | 0 | PANEL | Products Introduced as a Result of New Technology | Multi-Panels | NEW | a
Certification and Evaluation Entity Method
59 | 14608 | 6 | WINDOWS | Fixed | Eastern Architectural Systems | EDIT_CHG | a
| H.Makar's comment-Miami-DADE |  | Heat strengthened glass not permitted as exterior lite at heights above 30'.
| R.Lomas's Response |  | We have reviewed the application and we will be submitting an editorial change to add the following note in the "other" section of the application: WHEN INSTALLED IN THE HVHZ THIS PRODUCT IS TO BE INSTALLED AT 30' OR LESS ABOVE GROUND LEVEL.
| Staff analysis |  | As per the applicant’s response the application is being revised to add the following note in the "other" section of the application:WHEN INSTALLED IN THE HVHZ THIS PRODUCT IS TO BE INSTALLED AT 30' OR LESS ABOVE GROUND LEVEL. to address the public comment. No further action is needed.
60 | 22633 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Masonite International | NEW | a
| H.Makar's comment-Miami-DADE |  | For FL22633.1,.4 and .7; Please specify glass thickness. For FL 22633.3; Please specify glass thickness. Please identify non-impact glass and add tested impact glass (sheet 1, note 3) detail and coordinate shutter notes between sheets 1 & 2 of the drawings.
| S.Schreiber's Response |  | Per the public comment, we will revise all the drawings for each line item to ensure glass thickness is specified and will add impact glass details where requested. This will be accomplished under an editorial revision.
| Staff analysis |  | As per the applicant’s response the application is being revised to ensure glass thickness is specified and will add impact glass details where requested to address the public comment. No further action is needed.
61 | 22692 | 0 | ROOFING | Underlayments | FT Synthetics Inc. | NEW | a
| H.Makar's Comment-Miami-DADE |  | Product has not been tested to applicable sections of ASTM D 226.
| R.Robson's Response |  | Response to comment: Per Rule 61G20-3.005 (c) An evaluation report from an approved product evaluation entity that covers the subject product and, based upon standard tests or standard comparative or rational analysis, or a combination thereof, indicates that the product was evaluated to be in compliance with the Code and that the product is, for the purpose intended, at least equivalent to that required by the Code. As stated in our submission via CCRR-1028 it states FT Synthetics underlayments are used in the field of the roof as an alternative to the ASTM D226 Type I and type II roof underlayments specified in Chapter 15 of the IBC and Chapter 9 of the IRC.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.