Additional Items for the Recommendations from the Subcommittee Report

11-4.1.3(5) – Add to end of exceptions

As used in this section, “persons” is not interchangeable with “occupancy” or “occupant load” as calculated in the Building Code. “Persons” refers to an actual count of five (5) people.

11-4.17.3(1) – Add to end of exception (1)

This section does not apply to alterations; it is specific to Florida and should not be used in conjunction with 11-4.1.6(1)(b) which is specific to the accessible toilet stalls as described in ADAAG.