FLORIDA BUILDING COMMISSION

### FACILITATOR’S SUMMARY OF ISSUES FOR INCLUSION IN THE 2009 REPORT TO THE FLORIDA LEGISLATURE

DECEMBER 10, 2008

Report By Jeff A. Blair

Florida Conflict Resolution Consortium

Florida State University

jblair@fsu.edu

http://consensus.fsu.edu/FBC/index.html

This document is available in alternate formats upon request to Dept. of Community Affairs, Codes & Standards, 2555 Shumard Oak Blvd., Tallahassee, FL 32399, (850) 487-1824

- TABLE OF CONTENTS

1 	Executive Summary and Recommendations

2 	Introduction

3 	Legislative Assignments

4 	Florida Building Code

5 	Energy Efficiency Initiatives and Code Changes

6 	Hurricane Response and Code Changes

7 	Product Approval

8 	Building Code Training Program

9 	Florida Building Code System Updates and 2008 Commission Actions

10  	Appendices

A    	Commission 2008 Milestones

B 	Commission Process Enhancements

C 	Code Administration Recommendations

D 	Hurricane Research Advisory Committee Project Update

E 	Bedroom Definition Workgroup Report and Recommendations

F 	Soffit Systems Workgroup Report and Recommendations

G 	Window Wall Workgroup Report and Recommendations

H 	Regional AC Efficiency and Humidity and Moisture Control Workgroup

Report and Recommendations

I  	Wind Mitigation Workgroup Report and Recommendations

# FLORIDA BUILDING COMMISSION

SUMMARY OF ISSUES FOR INCLUSION IN THE 2009 REPORT TO THE FLORIDA LEGISLATURE

### OVERVIEW

The Florida Building Commission is a 25 member Governor appointed stakeholder group who successfully created, implemented, and maintains the statewide Florida Building Code, which became effective in 2002. The Commission is comprised of the Governor’s Chair, and 24 members appointed according to criteria established by the American National Standards Institute (ANSI) for representation. They are as follows: in the general interest category: four code officials, two state government representatives, a local government representative, a representative of persons with disability, and a representative of the green building industry; in the consumer category: an architect, a structural engineer, a mechanical or electrical engineer, representatives of fire protection technology, the building management industry, and the insurance industry; and in the producer category: a general contractor, residential contractor, mechanical contractor, plumbing contractor, electrical contractor, roofing/sheet metal/air conditioning contractor, a manufactured building representative, a building product manufacturer, and a swimming pool contractor.

The Florida Building Commission (FBC) seeks to develop consensus decisions on its recommendations and policy decisions.  General consensus is a participatory process whereby, on matters of substance, the members strive for agreements which all of the members can accept, support, live with or agree not to oppose.  In instances where, after vigorously exploring possible ways to enhance the members’ support for the final decision on substantive decisions, and the Commission finds that 100% acceptance or support is not achievable, final decisions require at least 75% favorable vote of all members present and voting.  This super majority decision rule underscores the importance of actively developing consensus throughout the process on substantive issues with the participation of all members and which all can live with and support.

The Commission’s consensus process is conducted as an open public process with multiple opportunities for the public to provide input to the Commission on substantive issues.

At each Commission meeting, the public is welcome to speak during the public comment period provided for each substantive issue under consideration, as well as general public comment periods provided at the end of each day’s meeting. In addition, most substantive issues before the Commission go through a workgroup process where consensus recommendations are developed by appointed representative stakeholder groups, providing additional opportunities for public input. Workgroup recommendations approved by the Commission usually require rule development to implement, affording at least two additional entry points for public comment.

Since its formation in July of 1998, The Commission has demonstrated a commitment to working with affected interests to build consensus on complex issues. The adoption of the first edition of the Florida Building Code (2001 Edition), developed from September 1998 through January of 2001, involved 27 Commission meetings, dozens of facilitated public workshops, and hundreds of TAC meetings. The Commission has consistently worked with all affected interests to build the best possible consensus-based decisions for the citizens of Florida.

Through its committees and workgroups of experts, the Commission has always developed its decisions on the results of the best engineering-based science available. Although the Code is by law a minimum building code, the Florida Building Code is the strongest consensus and science based building code in the Country.

In summary, the Florida Building Commission provides a forum for stakeholders representing different interests to participate in a consensus-building process where issues affecting the construction industry are discussed and evaluated on their technical merits and cost-benefits to the citizens of the State of Florida.

##### SUMMARY OF RECOMMENDATIONS

Monitoring the building code system and determining refinements that will make it more efficacious is a primary responsibility of the Commission, and consequently the Commission is continually effecting refinements to the building code system by administrative rule amendment(s) where the statutes provide authority. However, the building code system is established in law, requiring that some refinements must be implemented through changes to law. The Commission’s recommendations for  2009 legislative actions designed to improve the system’s effectiveness are summarized as follows:

Building Code CO detectors/alarms legislative recommendations.

## Authority for the Commission to charge a fee for issuing non-binding interpretations.

Recommendations regarding evaluation entities recognized in law.

Statutory clarification that TAC members may serve on TAC’s despite their personal or associates’ appearance before the Commission or appendages on matters unrelated to TAC service.

## Commission supports a DCA initiative seeking authority to hire an administrator for the manufacturing building program, and for manufactures to pay fees directly to the administrator.

### 2008 LEGISLATIVE ASSIGNMENTS

Develop Criteria for Evaluation Entity Approval and Adopt by Rule or Develop Recommendation for 2009 Legislature for Entities to be Recognized in Law {30.}

Develop list of evaluation entities & report to Legislature, or develop criteria for approving evaluation entities by Rule

Section 16, SB 697 requires the Commission to address approval of additional evaluation entities for product approval:

“(17)(a) The Florida Building Commission shall review the list of evaluation entities in subsection (8) and, in the annual report required under s. 553.77, shall either recommend amendments to the list to add evaluation entities the commission determines should be authorized to perform product evaluations or shall report on the criteria adopted by rule or to be adopted 938 by rule allowing the commission to approve evaluation entities that use the commission's product evaluation process. If the commission adopts criteria by rule, the rulemaking process must be completed by July 1, 2009.”

### The Commission’s Product Approval POC reviewed and developed recommendations which were adopted by the Commission at the December 2008 meeting. Following are the Commission’s recommendations to the 2009 Florida Legislature:

Develop mitigation techniques for retrofit of existing site-built residential buildings {17.}

In response to legislation required by Chapter 2007-126 LOF, during the summer of 2007 the Commission completed rule development by adopting the first edition of prescriptive techniques for required hurricane mitigation retrofit of homes by deck nailing, secondary water barriers installation, and roof to wall connections enhancement when a roof is replaced and voluntary gable end bracing in order to comply with the Legislature’s mandated  implementation date of October 1, 2007. The Commission’s Wind Mitigation Workgroup continued working with industry groups and other stakeholders during 2008 to propose amendments to enhance the efficacy of the Rule. The focus of the Workgroup was to ensure the Rule provides protections for homeowners, is enforceable by building officials, and understandable and implementable by industry. Code amendments were evaluated and adopted during the 2008 Glitch Amendment process.

Study Energy Conservation Measures and Develop a Plan for 20% Increased Efficiency Requirement for 2010 FBC {35.}

Develop Plan to Implement Legislated Energy Efficiency Increases

Section 109, HB 7153 establishes a schedule for increases in building energy efficiency requirements. This task expands the study of energy conservation measures for residential buildings to investigation of efficiency options for commercial buildings and the development of a plan to implement the requirements of the new law. Section 553.9061 “Scheduled increases in thermal efficiency standards.” was created to establish percent increases in efficiency to be implemented in the 2010, 2013, 2016 and 2019 Code.

With the adoption of the 2007 Edition of the Florida Building Code the Commission implemented a strategy for increasing the energy efficiency provisions of the Code by 15%. The Commission’s Energy TAC is working with stakeholder to evaluate options for achieving an additional 5% increase for the 2010 Edition of the Code, and for achieving the progressive increases in efficiency required for subsequent editions of the code.

Develop Rule for Energy Code Cost Effectiveness Test {27.}

Section 109, HB 7153 directs the Commission develop a rule for determining cost effectiveness of energy conservation measures to be considered for inclusion in the Florida Energy Code. The rule must be completed and applied to the update of the energy provisions of the for the 2010 Florida Building Code.

“(3) The Florida Building Commission shall, prior to implementing the goals established in subsection (1), adopt by rule and implement a cost-effectiveness test for proposed increases in energy efficiency. The cost-effectiveness test shall measure cost-effectiveness and shall ensure that energy efficiency increases result in a positive net financial impact.”

The Commission will be working with stakeholders during 2009 to develop cost effectiveness test criteria to be applied to justification for increased residential building energy efficiency requirements. The Commission will conclude rule making in time for the adopted rule to be effective prior to the 2010 Code adoption process.

Identify Specific Building Options to Achieve the Energy Efficiency Improvements {42.}

The Energy Act of 2008 (HB 7135) directs the Commission to include, as a minimum, certain

technologies for achieving enhanced building efficiency targets established by the Act in the Florida Energy Code. The Building Code Act of 2008 (HB 697) directs the Commission to facilitate and

promote the use of certain renewable energy technologies.

The Commission’s Energy TAC will work with stakeholders beginning in early 2009 on a comprehensive evaluation of options for achieving energy efficiency initiatives for the Florida Building Code including: mandated increases in energy efficiencies for subsequent editions of the Code, criteria for cost effectiveness test for increases in energy efficiency, studying energy conservation measures for replacement of air conditioning equipment, investigating humidity and moisture control problems for hot and humid climates, and evaluating rainwater collection and reuse and waste water recycling techniques.

Evaluate elimination of gravel and stone roofing systems {19.}

Gravel Roof Covering Research. The Commission contracted with the University of Florida to conduct a literature review regarding gravel roof coverings in order to assist the Commission in completing their legislative assignment regarding whether gravel or stone roofing systems should be eliminated from the Code per the 2006 International Building Code. The Commission documented and evaluating the following issues for determining whether to eliminate the systems from Code:

- Scientific basis or reason for elimination,

- An available alternative equivalent in cost and durability,

- Whether elimination will unnecessarily restrict or eliminate business or consumer choice in roofing systems,

- And in coordination with Fish and Wildlife Conservation Commission, whether elimination will negatively affect the nesting habitat of any species of nesting bird.

Throughout 2008 the Commission’s Wind Mitigation Workgroup worked with researchers and stakeholders to evaluate a range of options and recommendations for adoption in the 2007 Edition of the Florida Building Code. The Commission adopted the following Code Amendment:

“Aggregate shall be permitted as roof surfacing when installed on slopes of 3:12 or less, not less than 400 pound (182 kg) of roofing gravel or 300 pounds  (145 kg) of slag per  square shall be applied. A minimum of 50 percent of the total aggregate shall be embedded in the flood coat of bitumen or installed in accordance with its product approval. Aggregate shall be dry and free from dirt and shall be in compliance with the sizing requirements set forth in ASTM D 1863. A building official may request a test to confirm compliance with these requirements.”

The Commission will continue to evaluate the issue during the 2010 code adoption process.

Electrical bonding and grounding for swimming pool decks {18.}

The 2007 Florida Legislature directed adoption of the alternative pool bonding requirements by non-Code rule in 2007 and adoption in the 2007 Florida Building Code. The Commission’s Electrical TAC worked with stakeholders to evaluate alternative techniques and made recommendations that were adopted by the Commission in the 2007 Glitch Amendment process.

Implement requirements of law for carbon monoxide detectors {20.}

The 2007 Florida Legislature directed the Commission to adopt carbon monoxide detector requirements written into law as a separate non-Code rule to take effect July 1, 2008 and to adopt the requirements in

law into the 2007 Code. The Commission’s Mechanical TAC worked with stakeholders to develop recommendations for consideration by the Commission during the 2007 Code Adoption process. The Commission adopted CO detector Code requirements with the 2007 Edition of the Code and the 2007

Glitch amendment process. As a result of the adopted Code requirements the Commission is making recommendations to the 2009 Legislature based on stakeholder input developed from the Commission’s

CO Detector Workgroup process.

Repeal of CO Detector, Pool Bonding and Mitigation Rules {42.}

The Legislature required the Commission to adopt non-code rules for CO detectors, pool bonding and mitigation requirements. The Commission completed each of these tasks as reported in the 2008 Report to the Legislature, and during 2008 has incorporated them into the 2007 Edition of the Florida Building Code. As a result the Commission has initiated the repeal of the separate rules.

COMMISSION 2008 BUILDING CODE IMPLEMENTATIONS

Glitch Amendments to the 2007 Florida Building Code {2.}

The primary focus of the Commission during 2008 was to adopt Glitch Amendments to the 2007 Florida

Building Code. The Commission provided an extended opportunity for members of the public to submit proposed Glitch Code Amendments with a submittal deadline of July 15, 2008. The Commission’s technical advisory committees (TAC) reviewed and developed recommendations on proposed amendments throughout

the summer and fall of 2008. The Commission conducted a Rule Development Workshop in October and a

Rule Adoption Hearing in December of 2008. As a result of delays created by Hurricane Fay necessitating the cancellation of the Commission’s August 2008 meeting, the Commission voted to make the effective date of the 2007 Florida Building Code, the 2008 Supplement to the 2007 Florida Building Code to implement glitch code amendments, and the 2007 Florida Energy Code to March 1, 2009. The 2007 Edition of the Florida Building Code represents significant increases in energy efficiency, enhanced wind and water infiltration requirements, additional structural integrity requirements, and includes updated standards for product approvals.

## Amend the Florida Energy Code to Require 15% More Efficiency in Buildings {14.}

A primary focus for the Commission during 2008 was amending the Florida Energy Code to require 15% more efficiency in buildings. At the March 2008 meeting the Commission conducted a rule development workshop on Rule 9B-13, for the purpose of amending the Energy Code to implement provisions necessary to comply with the Governor’s 15% efficiency increase for the Florida Energy Code. At that meeting the Commission voted to require 85 points for demonstrating compliance by the residential and commercial building performance methods (instead of the current 100 points required), with no changes to the prescriptive methods. At the May 2008 meeting the Commission conducted a rule adoption hearing and voted to adopt additional clarifying provisions, to publish a notice of change integrating the approved changes and to file the Rule for adoption without an additional hearing.

Subsequent to the May Rule Adoption hearing DCA staff compiled the provisions proposed to implement the Commission’s Energy Code amendments, and identified several issues that required additional evaluated by the Commission. As a result, the Commission conducted a supplementary rule adoption hearing, originally scheduled for the August 2008 meeting but delayed by Hurricane Fay until the October meeting, for the purpose of TAC and public review of the comprehensive package of Commission Energy Code amendments, and to complete rulemaking for Rule 9B-13, the Energy Code.

At the October 2008 meeting the Commission’s Energy TAC conducted a review of the Commission’s Code amendments regarding renovations and equipment change-outs for existing buildings and Method B requirements for commercial buildings, and developed recommendations for the Commission’s consideration. At the October Supplemental Rule Adoption Hearing the Commission adopted the Energy TAC’s consensus recommendations to enhance amendments already adopted and moved to file the rule. The Commission was able to achieve the 15% increase in efficiency in buildings and implement code amendments that are efficient, consistent, understandable and enforceable for the full spectrum of Energy Code users.

Following are the changes implemented in the 2007 Energy Code:

General

- Removed the “.2” performance-based requirements from both Subchapter 13-4 and 13-6 of the code and put them into Appendices 13-B and 13-C.

- Deleted the exception in Section 13-103.1.1.1 that typed names and registration numbers may be provided in lieu of a design professional’s signature where all relevant information has been included on signed and sealed plans.

- Revised the exceptions to code compliance in Section 13-101.5.7 for 1) buildings containing a system designed and sold for dehumidification purposes only and 	    5) electrical equipment switching buildings in which no-one works on a regular basis to require that the electric power provisions of Section 13-413 shall apply.

- Revised standards in Subchapter 13-3 to ASHRAE 90.1-2004. Revised ASHRAE 62 to 62.1-2004 for consistency with FBC-Mechanical.

- In Section 13-101.6, added criteria for demonstrating the efficiency of mechanical systems undergoing alteration.

Commercial and High-Rise Residential

- Updated Subchapter 13-4 of the code to ASHRAE 90.1-2004 and simplified the text by moving performance criteria to Appendix 13-B.

- Changed climate zones to ASHRAE Climate Zone 1 (Broward, Miami-Dade, and Monroe counties) and ASHRAE Climate Zone 2 (the rest of the State)

- Revised the Subchapter 13-4 Baseline features (ASHRAE 90.1-2004) to utilize a 0.85 multiplier, making the commercial energy code provisions 15 percent more stringent.

- Deleted Methods B and C because of difficulty in making them 15 percent more stringent.

- Added a new commercial compliance Method B (and Form 400B-08) for shell buildings, renovations, equipment change-outs and other instances where specific components shall meet code for that item(s) alone.

- Shell buildings shall meet compliance Method A at final build-out to demonstrate that the 15 percent overall increase in code stringency has been met for equipment and lighting as well.

- Added an exception under Section 13-407.AB.2.4 Off-hour controls, for HVAC systems having a design heating capacity and cooling capacity less than 15,000 Btu/h that are equipped with readily accessible manual on/off controls.

- Clarified Section 13-407.AB.3.1.1 Equipment efficiency verification criteria per ASHRAE 90.1-2004.

- Consolidated the water-cooled centrifugal water-chilling package criteria in Section 13-407.AB.3.2.2 into three tables by size of chiller.

- Deleted Section 13-407.1.ABC.3.4.2, Fan speed control.

- Clarified Table 13-409.AB.3.3, Maximum damper leakage.

- Revised Table 13-410.AB.2.2, Minimum Duct Insulation R-values, fixed the R-value for ducts in unconditioned spaces, and deleted the R-8 duct requirement for unvented attic spaces in Broward, Miami-Dade and Monroe counties.

Residential

- Revised Subchapter 13-6, the Method A code compliance methodology for multiple-family residential up to and including 3 stories and simplified the text by moving performance criteria to Appendix 13-C.

- Moved the residential provisions of Chapter 13 of the Florida Building Code, Building, into Chapter 11 of the FBC-Residential for one and two-family dwellings.

- Switched to the EnergyGauge USA Fla/Res computer program, which uses hourly simulation modeling, as the Method A residential energy code compliance tool.

- Moved the Method A Baselines to Table 13-613.A.1-1 [ N1113.A.1-1]. The Baselines are similar to the Standard Reference Design in Table 404.5.2(1) of the 2006 International Energy Conservation Code (IECC).

- Revised the “2007” Baselines with a 0.85 multiplier to make the residential energy code 15 percent more stringent in the “2008” energy code provisions.

- Revised the compliance Method B provisions to reflect the 15 percent increase in stringency, including U-0.65, SHGC 0.35 glazing, with a maximum of 16 percent glass to conditioned floor area, and ducts either interior to conditioned space or tested to demonstrate they are “air tight”.

- Deleted compliance Method C in its entirety.  Renovations, equipment change-outs, and small additions were moved to compliance with the component efficiencies in Method B.

- Kept the old Residential Points System Method (Form 600A) only as a hand calculation; it also has a 0.85 multiplier on the Baseline and can be found in Appendix G-C of the FBC-Residential and in Appendix 13-2C of the FBC-Building.

- Revised treatment of gas and electric hot water and conditioning systems; they will be compared to the same fuel type Baseline.

- Added that HVAC sizing calculations shall account for directional orientation of the building.

- Eliminated the restriction of using the rooftop for outside air intake.

Review the 2008 National Electric Code for Adoption by Separate 2009 Glitch Amendment {41.}

At the October 2008 Rule Development Workshop conducted for the purpose of considering amendments to Rule 9B-3.047 Glitch Amendments, the Commission considered whether to adopt the 2008 National Electrical Code as a Glitch Amendment. The criteria provided in Chapter 553.73(7) F.S for considering Glitch Amendments specifies the Commission many consider updates to the NEC if delay of implementing the updated edition causes undue hardship to stakeholders, or otherwise threatens the public health, safety and welfare. The Commission considered testimony on both sides and decided to defer action on deciding whether to consider adoption of the 2008 NEC as a Glitch Amendment, and to set a schedule for rulemaking to implement the Commission’s actions relative to adopting the 2008 NEC, by July 1, 2009. The NEC will be reviewed by the Electrical TAC and recommendations provided to the Commission.

Develop Legislative Recommendation for Building Code Carbon Monoxide Detector

Requirements {28.}

The 2007 Legislature established CO detector requirements to be enforced through the Code. The detector placement requirements were developed based on consideration of deaths in single family homes and hotels/motels and applied globally to all occupancies which have sleeping rooms. Hospitals and nursing home organizations proposed changes to the law for these institutional occupancies but the 2008 Legislature elected not to expand tailoring of requirements to other occupancies and suggested in response to Commission inquiries that the Commission develop recommendations to be brought back to the 2009 Legislature if further changes are necessary. The Commission convened a Workgroup for the purpose of making recommendations to the Commission. At the December 2008 meeting the Commission voted to make the following recommendations to the 2009 Florida Legislature:

## Evaluate and Adopt the Development Process for the 2010 Florida Building Code {22.}

## Development Process for the 2010 Florida Building Code

The Commission is required by law to update the Florida Building Code (Code) every three years, and the 2007 Edition represents the second update and third edition of the Code. The update process is based on the code development cycle of the national model building codes which serve as the “foundation” codes for the Florida Building Code. National model building codes and most engineering standards are updated every three years and the intent is to keep the Code up-to-date with evolving national standards of health, safety and welfare of the public. In early 2009 Chairman Rodriguez will appoint a study committee which will develop recommendations which the Commission will consider and adopt following a public hearing conducted in the April of 2009.

The Commission will begin development of the 2010 Florida Building Code in the Spring of 2009. After each update to the Code the Commission conducts a review of the update process and determines what modifications would make the next process run smoother and more efficiently and the committee will make recommendations to enhance the code update process.

Research for Hurricane Resistance Code Enhancements

As a result of hurricanes affecting Florida during the 2004 and 2005 seasons, the Florida Building Commission’s Hurricane Research Advisory Committee (HRAC) continues to meet at most Commission meeting to review research and make recommendations to the Commission regarding proposed code enhancements and research needs. Some of the Committee’s recommendations were adopted with the 2006 Glitch Code amendments to the 2004 Code and others were adopted during the 2007 Code Update cycle, and still others were implemented during the 2008 Glitch Code amendment process. The Committee continues to consider enhancements to the Florida Building Code based on sound science. In addition, the Committee has recommended research to advance the science and allow the Commission to continually study and update the storm protection provisions of the Florida Building Code. The Committee is continuously monitoring current research and recommending the development of standards and installation practices related to protecting against wind damage and water infiltration. Research is being conducted in cooperation with related product manufacturers and provided to standards development initiatives. Some of the current areas of research include:

- window/water leakage

- window/wall interface

- soffit performance

###### Load Side Wind Pressure Research {9.}

The Commission’s Hurricane Research Advisory Committee (HRAC) is reviewing research regarding design pressure requirement errors identified while conducting wind tunnel testing for the Panhandle wind-borne debris projected directed by the Legislature. Subsequent research was conducted to provide the base of improved roof edge design pressure requirements. The HRAC is in the process of evaluating the research and will evaluate possible code amendments for the 2010 Code Update process.

Resistance Side Component and Cladding and MWFRS Research {10.}

The Commission’s Hurricane Research Advisory Committee (HRAC) identified building failures from the 2004 and 2005 hurricanes and made code recommendations for the 2007 Update process, as well as research needs before additional standards and code amendments can be developed. The research is being conducted and the HRAC continues to review the research prior to developing recommendations for code enhancements for the 2010 Code Update process.

## Evaluate Hurricane Wind Pressure and Wind Driven Rain Criteria for Soffit Systems and Establish Labeling Requirements {24.}

Soffit industry manufacturers approached the Commission with a request that the Commission organize a process paralleling the processes it conducted for developing criteria for labeling of windows, shutters and garage doors for inclusion in the Code. The Commission convened a Soffit Systems Workgroup for the purpose of evaluating and building consensus on recommendations regarding labeling and performance requirements for soffit systems in the Florida Building Code. The goal is to develop recommendations for the 2010 Code Update process.

Develop Integration of Florida Accessibility Law into the New ADAAG Being Adopted by the US Department of Justice {40.}

The Commission’s Accessibility TAC recommended and the Commission approved convening a workgroup to evaluate and develop recommendations regarding the integration of the Florida Accessibility Law into the new ADAAG that is being adopted by the US Department of Justice. The Commission will convene the workgroup during 2009 and will adopt recommendations to the Governor and Legislature in the 2010 Report to the Legislature.

## COMMISSION 2008 ENERGY RELATED RECOMMENDATIONS

All of the following energy related tasks will be a part of the Commission’s comprehensive effort to evaluate and enhance energy efficiencies in the Florida Building Code. Recommendations will be developed for the 2010 Code Update process.

Work with DCA to evaluate updated energy efficiency standards for energy using products {16.} Efficiency standards for energy using products

This project is a directive of Governor’s Executive Order 127 to the Department of Community Affairs to achieve 15% energy efficiency requirement improvement for products. The law requires the Code to follow the product efficiency requirements established by the product standards established by the department. The department recommended efficiency criteria for the Commission’s approval as a cooperative approach. The DCA requested the Commission assist it in meeting this directive; however, at the May 2008 meeting the Commission did not vote to support DCA’s proposals.

Develop Design Criteria for Energy Efficient Pool Systems (29.)

The Energy act of 2008 (HB 7135) directs adoption of pool pump efficiencies in the 2010 Code. During discussions with the Florida Spa and Pool Association regarding energy efficiency requirements for pool pumps members suggested improved efficiency could be achieved through criteria for pool hydronic system design. This initiative would be conducted in coordination with the national industry and other state’s initiatives currently underway. This task will be evaluated during 2009 as a part of the Commission’s comprehensive review of energy efficiency initiatives.

## Investigate Humidity Control Problems for Hot and Humid Climates (26.)

At the recommendation of the Energy TAC the Commission convened a Regional AC Efficiency Workgroup. The Workgroup was charged with developing recommendations on whether the Commission and DCA should recommend to the United States Department of Energy (USDOE) regional AC efficiency standards for the hot and humid climate. The USDOE now has authority to develop and adopt regional AC efficiency standards. The Workgroup worked with affected stakeholder interests in a facilitated workgroup process. The Workgroup investigated the feasibility of a hot-and-humid climate regional efficiency rating for air-conditioner and heat-pump systems and if determined a regional standard is a good strategy, then to develop recommendations for the technical requirements.

Following the first meeting, the scope of the Workgroup was changed to develop recommendations regarding AC equipments’ role in controlling humidity and moisture in buildings in a hot and humid climate. The Workgroup is tasked with considering a range of issues and options regarding the manufacturing, design and installation of AC equipment in controlling moisture and preventing mold and mildew in the hot and humid Florida climate.

In addition, air conditioning contractors raised the concern that building energy efficiency optimization, commodity grade air conditioning systems and mechanical systems construction practices are combining to cause indoor humidity control problems. This task will be evaluated during 2009 as a part of the Commission’s comprehensive review of energy efficiency initiatives.

## Study Energy Conservation Measures for Replacement of Air Conditioning Equipment (39.)

This task is a recommendation of the Commission’s Energy TAC resulting from consideration of Energy Code amendment proposals regarding replacement air-conditioning systems at the October 2008 meeting. The task was approved by the Commission at the October 2008 meeting, and will be evaluated during 2009 as a part of the Commission’s comprehensive review of energy efficiency initiatives.

## COMMISSION 2008 POLICY IMPLEMENTATIONS

The following are policy decisions by the  Commission implemented during 2008 with existing Commission authority through administrative rule development:

Evaluate Amending 9B-72.180 on Equivalency of ASTM E 1300-02 and ASTM E 1300-04 and Rule 9B-72.090 on Product Approval Self Affirmation {37.}

Manufacturers requested the Product Approval POC evaluate limitations on self affirmation currently in Rule 9B-72 to determine if the Rule could be modified to facilitate affirming compliance of products approved under the 2004 FBC with the 2007 FBC. Window manufacturers requested recognition of the equivalence of ASTM E 1300 2004 edition with the 2002 edition. The Commission will conduct a rule development workshop in December of 2008 to address these Product Approval rule initiatives.

Design Charette for Hotel Room Accessibility {32.}

The Accessibility TAC identified the design charette as a way to address shortcomings in the accessibility of remodeled hotel and motel sleeping rooms. Prior charettes on theater seating and miniature golf  sponsored by the Commission provided much needed clarification and guidelines for improving the accessibility of those facilities and limited the incidence of noncompliance and petitions for waiver of the Florida Accessibility Code. The Commission will convene a design charette during the December 2008 meeting for hotel room accessibility.

Evaluate Swimming Pool Entrapment Standards Application to Existing Pools {33.}

The Plumbing TAC recommended the Commission evaluate how swimming pool entrapment protections could be addressed for future editions of the Code. The request was initiated in response to a failed glitch amendment proposal to the 2007 FBC by the National Spa and Pool Association representatives.

Evaluate Need for 4 Hour Bldg Code Core Course as Licensing Requirement {36.}

The Education POC recommended, based on public input, that the Commission evaluate whether a core course on the building code was still needed. The requirement was originally enacted in law when the Florida Building Code replaced all local codes. The Commission will submit recommendations in their Report to the 2009 Legislature.

## Develop Criteria for Use of Gravel Roof Systems {31.}

Gravel roof systems are a source of wind-borne debris in hurricane prone regions. The 2006 International Building Code prohibits their use in Florida and the 2007 Legislature directed the Commission to determine whether this elimination was necessary before implementing it in the 2007 Florida Building Code. The decision was not to prohibit gravel roof systems entirely but instead to impose the High Velocity Hurricane Zone requirements for those systems throughout Florida in the near term. The Commission received assurances that the Florida Roofing and Sheet Metal Association is committed to determining how to improve the systems to limit their potential for developing wind-borne debris. The Commission will work with industry to evaluate criteria for consideration during the 2010 Code Update process.

## Evaluate Adoption of Flood Standards in the Florida Building Code {38.}

At the request of the Division of Emergency Management (DEM) the Commission convened a Flood Standards Workgroup charged with developing recommendations for integrating the IBC flood damage-resistant provisions in the Florida Building Code. FEMA is providing funding to support the workgroup, and has worked with ICC for past 10 years on flood standards for buildings that would satisfy the needs of the National Flood Insurance Program, and is now satisfied with the standards in the IBC. When the 2001 Florida Building Code was developed the decision was made, primarily for administrative reasons, to eliminate flood standards from the foundation model code and continue the practice of building standards being adopted through Flood Plain Management Ordinances of communities participating in National Flood Insurance Program. In addition, the State is requesting that the policy be reviewed to resolve any identified administrative issues and the IBC flood standards be retained in the 2010 FBC. The Commission will conduct this process during 2009.

COMMISSION 2008 INTERAGENCY COLLABORATION INITIATIVES

Investigate A Consistent Definition of “Bedroom” for Department of Health On-site Septic System Sizing Regulations {25.}

The Commission convened a facilitated joint workgroup process with the Florida Department of Health (DOH) to develop recommendations regarding requirements for the sizing of septic systems. The purpose of the Workgroup is to develop recommendations regarding an acceptable definition of “Bedrooms” used for the sizing of septic systems. The definition should work from the Florida Building Code (FBC) and Department of Health (DOH) perspectives. This initiative is a cooperative effort with the Florida Department of Health directed to improving the definition used by the DOH rule for septic system sizing.

The Workgroup voted unanimously to recommend in concept the following strategy for sizing septic systems:

- Use census definition of rooms for calculating system sizes,

- All rooms that meet the “Room” definition are counted as a room,

- Use 70 square feet as minimum room size, and

- Use a conversion factor of 50 gallons per day/room for sizing septic systems.

- The proposal will be submitted to the Department of Health’s (DOH) Technical Review and Advisory Panel (TRAP) for evaluation and feedback.

- DOH should also evaluate the 50gpd/room and 70 square foot criteria to ensure they are the best numbers to use in the formula for calculating septic system sizing.

- The Workgroup will meet a final time once TRAP has evaluated the Workgroup’s consensus recommendations regarding a strategy for method for the sizing of septic systems.

## Evaluate Rainwater Collection and Reuse for Process Water and Other “Green” Technologies in Coordination with DOH, Health Officials, DEP and Other Water Management Agencies {34.}

The Plumbing TAC identified rainwater collection as a growing “Green Building” practice that should be evaluated by building and health regulators. It is expected that appropriate requirements would facilitate implementation of the practice, and the Commission will convened a workgroup during 2009 to address this issue.

Evaluate in-home waste water recycling in coordination with Department of Health and Department of Environmental Protection {6.}

This task was originated at the request of the Florida Department of Health and Florida Department of Environmental Protection. It was first addressed for the 2007 Code and resulted in the inclusion of the Florida Department of Health requirements for home grey water capture and reuse for irrigation outside homes. This task will be further evaluated for the 2010 Code Update process.

## OTHER COMMISSION 2008 INITIATIVES

## Hurricane Damage Investigations—Hurricane Research Advisory Committee

As a result of hurricanes affecting Florida during the 2004 and 2005 seasons, the Florida Building Commission’s Hurricane Research Advisory Committee (HRAC) continues to meet at most Commission meeting to review research and make recommendations to the Commission regarding proposed code enhancements and research needs. Some of the Committee’s recommendations were adopted with the 2006 Glitch Code amendments to the 2004 Code and others were adopted during the 2007 Code Update cycle, and still others were implemented during the 2008 “Glitch” code annual interim amendment process. The Committee continues to consider enhancements to the Florida Building Code based on sound science. In addition, the Committee has recommended research to advance the science and allow the Commission to continually study and update the storm protection provisions of the Florida Building Code. The Committee is continuously monitoring current research and recommending the development of standards and installation practices related to protecting against wind damage and water infiltration.

During 2008 the Committee has:

- Reviewed the University of Florida/National Science Foundation research project on window performance.

- Considered and developed recommendations for allocation of FY 2007-08 research contract resources to work supporting Code development for new construction and mitigation of existing buildings.

- Reviewed the status of 2004-2005 Hurricanes Response Initiative.

- Heard a presentation by University of Florida on 2007-2008 research and 2008 hurricanes.

- Heard a presentation by ARA on Load Side—Wind Pressure Research.

- Heard a presentation by ARA on 2008 Loss Costs Relativity Study Conducted for Florida

- Office of Insurance Regulation.

- Heard a Presentation on Proposed ASCE 7- 2010 Design Wind Speed and Windborne Debris Criteria.

- Discussed additional research supporting hurricane resistant construction standards development.

## Code Administration Assessment Project

Local administration and enforcement of the Code is one of the key foundations of the Building Code System, and during 2007 the Commission sought the views of local jurisdictions—of all sizes and in all geographic regions of the State—on their perspectives and needs regarding the local administration of the Code, as well as their recommendations for measures to improve the uniform and effective enforcement of the Code, including how the Commission could best assist local jurisdictions relative to the administration of the Florida Building Code. The Florida Conflict Resolution Consortium at Florida State University (http://consensus.fsu.edu/) designed and conducted an on-line survey in order to ensure that the needs and views of the broadest possible spectrum of local jurisdictions were considered during the survey which was linked to  BOAF’s website and distributed to BOAF’s members. The Survey was completed and reviewed with the Commission at the October 2008 meeting.  Subsequently the Commission’s Code Administration TAC, met over several meetings and developed recommendations for the Commission. The Commission reviewed the recommendations at the May 2008 meeting and DCA staff is researching implementation costs and will report back at a subsequent meeting. No funds available

Following are the TAC’s recommendations:

### Provide a compilation of the rationale for Code changes as soon as possible after adoption.

### Provide regular updates and notices to local jurisdictions, and construction and design professionals, including designing and using a clearer and easier to use website and electronic notices, on Commission legal interpretations, declaratory statements, Code interpretations, Code changes, and policy decisions.

- E-mail link to Commission minutes to interested parties with option to unsubscribe.

- The Commission should encourage local officials to attend Commission meetings so they are informed of the Commission’s work.

- Web cast live Commission meetings.

- Video tape meetings and archive Commission meetings.

- Provide outreach to citizens/public to make them aware of the permits required for repairs or alterations to their homes.

### Seek Legislative authority for the Commission to issue Accessibility Code interpretations.

- Encourage local bldg dept to regularly establish measurable performance standards for customer service based on volume and ability to do the work.

## BUILDING CODE SYSTEM

### PRODUCT APPROVAL SYSTEM

Product Approval Rule Amendments

With the significant enhancements to the Product Approval system implemented through revisions through Rule 9B-72, State Product Approval—details of the revisions were described in the 2006, 2007 and 2008 Reports to the Legislature—and the hiring of a Product Approval administrator to process applications, the Product Approval System is functioning more efficiently and user satisfaction, as determined by surveys, is very high.

During 2008 the Commission implemented the following major changes to the BCIS:

- Adopted and developed a Code amendment process ensuring proposed amendments are consistent and easy to submit on-line.

- Developed an enhanced on-line process for collecting the surcharge fees from building permit sales.

- Developed on-line module for the Educations System’s Accrediation.

During 2008 the Commission revoked product approvals for products that no longer complied with the requirements of their product approvals. The ability to determine the need for product revocation demonstrates the efficacy of the Product Approval System.

Since inception, the Commission has approved 5,591 product applications under the 2004 Florida Building Code, and 1,042 product applications under the 2007 Florida Building Code. In addition, the Commission approved 135 testing laboratories, 61 quality assurance entities, 7 accreditation bodies, 6 evaluation entities, 33 certification agencies, and 6 evaluation entities. In addition, the Commission has approved 22,510 products under the 2004 Code, and 5,689 products under the 2007 Code. Following are relevant product approval system statistics since inception:

Product Approval and Entities Statistics Report

| Entities | Accreditation Body | Certification Agency | Evaluation Entity | Quality Assurance Entity | Testing Laboratory | Validation Entity | Totals |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Approved | 6 | 14 | 6 | 26 | 49 | 13 | 114 |
| Pending | 0 | 0 | 0 | 1 | 0 | 0 | 0 |
| Pending Accreditation | 0 | 0 | 0 | 0 | 0 | 0 | 2 |
| Denied | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Suspended | 0 | 0 | 0 | 0 | 0 | 1 | 1 |
| Expired | 1 | 4 | 0 | 8 | 26 | 15 | 54 |
| Renewed / Revised | 0 | 15 | 0 | 26 | 59 | 19 | 119 |
| Totals | 7 | 33 | 6 | 61 | 135 | 48 | 290 |

| CODE VERSION | 2004 |  | 2007 |  |
| --- | --- | --- | --- | --- |
|  | Applications | Products | Applications | Products |
| Approved | 5,591 | 22,510 | 1,042 | 5,689 |
| Applied For | 27 | 35 | 212 | 1,362 |
| Denied | 155 | 483 | 1 | 1 |
| Validated | 19 | 31 | 168 | 537 |
| Suspended | 0 | 0 | 0 | 0 |
| Re-Apply | 10 | 30 | 26 | 113 |
| Pending FBC Approval | 2 | 10 | 39 | 107 |
| Revoked | 1 | 1 | 0 | 0 |
| Archived | 495 | 1,751 | 90 | 346 |
| Over 180 Days Old and Not Approved, Denied, Validated, or Pending Status | 19 | 42 | 28 | 124 |
| Totals | 6,319 | 24,893 | 1,606 | 8,279 |

EDUCATION SYSTEM

The state building code system, first established in 1974, was overhauled in 1998 to improve its effectiveness. The Legislature recognized the effectiveness of the Florida Building Code depended on the various participants’ knowledge of the codes.  The Building Code Training Program was intended to improve compliance and enforcement by providing a focus for code-related education through coordination of existing training resources, including those of universities, community colleges, vocational technical schools, private construction schools and industry and professional associations.

During 2008 the Commission’s Education Program Oversight Committee (POC), working with the program administrator and other entities, developed

Manufactured Buildings Program

Manufactured (Modular) Buildings Program

The Manufactured (Modular) Buildings Program is authorized under Chapter 553, Part I, Florida Statute, and Rule 9B-1, Florida Administrative Code, to regulate factory-built buildings constructed to the Florida Building Code. All approved buildings bear a Department of Community Affairs (DCA) insignia, which attests to compliance with the Florida Building Code.

Certification of manufacturing facilities, quality control manuals, plan reviews, product approval and in-plant inspections are conducted by private Agencies, acting as agents for the Department of Community Affairs.  Agency personnel are licensed by the Department of Business and Professional Regulation.

The Department issued 33,716 modular building insignias during Fiscal Year 2007-2008:

Storage Sheds					24,723

Portable Classrooms				  6,040

Residential					     757

Commercial					  2,196

In 2008, the Department initiated changes to Rule 9B-1, F.A.C., Manufactured Building Program, to clarify programmatic procedures for onsite modifications of previously approved manufactured buildings, documentation required for code-related items not installed at the manufacturing facility, and recertification of previously approved manufactured buildings.

The Department of Community Affairs and Department of Business and Professional Regulation staff conducted a comprehensive review and update of the Modular Plans Review and Inspector licensing examinations in 2008.  The updated examinations, in coordination with previous changes to the Building Code Administrators and Inspectors Board rules, should increase the number of individuals licensed to conduct modular building plan reviews and inspections.

The Codes and Standards Section has been targeted for a reduction of four Full-Time Employees (FTEs) in Fiscal Year 2009-2010.  The staff reductions, plus additional budget cuts, will negatively impact the Department’s ability to continue the current management structure of the Manufactured (Modular) Buildings Program.  Legislative authority to allow the Department to contract the administrative responsibilities to a private vendor is necessary to insure a continued viable Manufactured (Modular) Buildings Program.  As with the Product Evaluation and Approval System, the Department and Florida Building Commission will maintain the responsibility for program oversight.

The Department requests the Commissions’ support of its initiative to request legislative authority to:

- Contract the Manufactured (Modular) Building administrative responsibilities;

- Manufacturers pay the vendor directly for plans review and inspection services via the Building Code Information System;

- Department will establish plans review and inspection fees.

WORKPLAN PRIORITIZATION RANKING EXERCISE RESULTS

Each year the Commission conducts a Workplan prioritization Exercise in order to focus resources on Commission priorities.

Commissioners were asked to rank each of the twenty (20) Workplan Tasks on a five point continuum/scale where a 5 equals the highest level of priority and a 1 equals the lowest level of priority. Members were asked to rank the priority of each topic independently and not in relation to the other topics. Each of the Workplan Task’s rankings were tallied and arranged in order of highest priority (1) to lowest priority (20).

Following are the results of the Commission’s prioritization exercise for 2008:

| WORKPLAN PRIORITIZATION EXERCISE RESULTS CONDUCTED OCTOBER 15, 2008 |  |
| --- | --- |
| WORKPLAN TASK | OVERALL RANKING |
| 39.) Energy conservation measures | 1 |
| 1.) Report to 2009 Legislature | 2 |
| 22.) 2010 Code development process | 3 |
| 9./10.) Research for hurricane resistance Code enhancements - window/water leakage - window/wall interface - soffit performance | 4 |
| 28.) CO detectors recommendations | 5 |
| 35.) Develop plan to implement legislated energy efficiency increases | 6 |
| 27.) Criteria for cost effectiveness test for increases in energy efficiency | 7 |
| 30.) Develop list of evaluation entities & report to Legislature, or develop criteria for approving evaluation entities by rule | 8 |
| 26./11.) Indoor Humidity & Moisture Control | 9 |
| 16.) Efficiency standards for energy using products | 10 |
| 38.) Evaluate adoption of flood standards in FBC (DEM, FEMA) | 11 |
| 25.) Bedroom definition for septic tank sizing with DOH | 12 |
| 33.) Entrapment standards for existing pools | 13 |
| 37.) Evaluate equivalency of ASTM E 1300-02 and 04 & self affirmation for PA Rule 9B-72 | 14 |
| 24.) Soffit system labeling requirements | 14 |
| 32.) Design charette for hotel room accessibility | 16 |
| 31.) Develop enhancements for gravel roof systems | 17 |
| 34.) Evaluate rainwater collection and use with DOH | 18 |
| 36.) Evaluate need for Code Core Course requirement for licensing | 19 |
| 29.) Criteria for energy efficient pool systems | 20 |

APPENDIX A

COMMISSION MILESTONES FOR 2008

http://consensus.fsu.edu/FBC/index.html

January 2008	Commission adopts Green Building Model Ordinance and Public Awareness Campaign. Commission approves Report and Recommendations to 2008 Legislature. Commission conducts rule adoption hearings on Rule 9B-72, Product Approval, and Rule 9B-70, Education. Commission conducts annual effectiveness assessment survey.

March 2008	Commission votes to seek legislative authority to issue declaratory statements on the Florida Accessibility Code, based on Accessibility TAC and Accessibility Code Interpretation workshop participant recommendations. Commission conducts 	rule development workshops on Rule 9B-13, Energy Code, Rule 9B-3.050, Amendments to Florida Building Code, and Rule 9B-3.053, Alternative Plans Review and Inspection Form. Commission conducts rule adoption hearings on Rule 9B-7.042, Accessibility Code, and Rule 9B-70 Education. Commission Chair 	creates and appoints Soffit System Workgroup and Septic System Sizing Workgroup. Chair creates Regional AC Efficiency Workgroup. Commission hears presentation on state of the construction industry sector of the economy.

May 2008	Commission conducts 	rule adoption hearings on Rule 9B-13, Energy Code, Rule 9B-3.050, Amendments to Florida Building Code, and Rule 9B-3.053, Alternative Plans Review and Inspection Form. Commission voted to notice changes for Rule 9B-70.002, Commission Approval and Accreditation of Advanced Building Code Training Course. Commission voted to send a letter to Governor requesting the preservation of the Commission’s funding within the DCA Operating Trust Fund. Commission voted to delay implementation date of adopted Energy Code amendments until January 1, 2009, and notices changes to the proposed rule to achieve 15% increased efficiency and to file the rule with the Department of State for adoption. Any additional Energy Code Amendments will be considered during the 2010 Code Update process. Commission receives final report and recommendations from the Code Administration Assessment project.

June 2008	Commission votes to make the effective date of the 2007 Florida Building Code

and 2007 Florida Energy Code December 31, 2008, and to extend the deadline for submitting Glitch changes to July 15, 2008. TAC’s begin process of commenting on proposed Glitch Amendments to the 2007 Florida Building Code. Commission votes to consider all Glitch Amendments during a rule development workshop on Rule 9B-3.047, Florida Building Code Glitch Amendments, to be conducted at the August 2008 meeting. The Commission will conduct a rule adoption hearing at the October 2008 meeting for Glitch Amendments. Commission votes to conduct rule development on Rule 9B-72 for Self-Affirmation (9B-72.090) and for Equivalency of Standards (9B-72.180) between ASTM E 1300-02 and 1300-04.

August 2008		August 2008 Commission meeting cancelled due to travel risks associated with

Hurricane Fay.

September 2008	Commission conducts teleconference meeting and votes to make effective date of

2007 Florida Building Code, the 2008 Supplement to the 2007 Florida Building Code to implement glitch code amendments, and the 2007 Florida Energy Code to

March 1, 2009.

October 2008	Commission Chair creates a Flood Standards Workgroup charged with developing recommendations for integrating the IBC flood damage-resistant provisions in the Florida Building Code. Commission votes to convene a CO Detector Workgroup charged with developing recommendations regarding implementation of the 2008 statutory requirements for CO detectors. Commission conducts a supplementary rule adoption hearing for Rule 9B-13, the Energy Code Rule and votes to adopt amendments that implement the Governor’s Executive Order 127 directive to increase building efficiency requirements by 15 percent, and to proceed with rule adoption by filing the rule. Commission conducts a rule development workshop for Rule 9B-70, Education, to develop amendments for on-line forms for the Education Program. Commission conducts a rule development workshop on Rule 9B-3.047, Florida Building Code, Glitch Amendments, and votes to integrate and notice the approved amendments, and to conduct a rule adoption hearing at the December 2008 meeting. Commission votes to initiate rulemaking to amend Rule 9B-72 to recognize the Equivalency of Standards between ASTM E 1300-02 and ASTM E 1300-04. Commission votes to set a schedule for rulemaking to implement the Commission’s actions relative to adopting the 2008 NEC, by July 1, 2009. Commission votes to adopt a Commission policy requiring that Commission programs shall be required to be self-supporting for all costs, and fees will be adjusted to reflect the true cost of administering the program(s).

December 2008

APPENDIX B

COMMISSION PROCESS ENHANCEMENTS

(Adopted Unanimously October 14, 2008)

FBC TELECONFERENCE PROCESS

ATTENDANCE

- Facilitator will ask Commissioner or committee members to identify themselves.

- Members will offer their names one at a time. To avoid confusion and to ensure accuracy, please wait until facilitator repeats and confirms a name before offering another.

- Once attendance is complete, the agenda will be reviewed and approved by the Commission or Committee.

- Commission or committee members should announce if they have to sign-off before the teleconference meeting is complete, to ensure a quorum and accurate count of votes.

PARTICIPANT ETIQUETTE

- Background noise from participants is picked-up and amplified on the conference leader’s phone, especially if you are on a speaker-phone.

- Please place your phone on mute unless speaking, to cut down on ambient background noise.

DISCUSSION PROCESS

- Chair/Facilitator will introduce discussion item or presenter.

- Presenter will provide overview of issue and recommendation(s) for Commission or committee action.

- Hold questions until presentation is complete.

- Once presentation is complete, Chair/Facilitator will ask if Commissioners or committee members have clarifying questions on the issue, create a speaker’s list, and call on members in-turn for clarification.

- Chair/Facilitator will ask if anyone from the public wishes to discuss the issue or propose alternative options, create a speaker’s list, and call on participants in-turn for discussion.

- Chair/Facilitator will ask if any Commissioner or committee member wishes to discuss the issue or propose alternative options, create a speaker’s list, and call on members in-turn for discussion.

- Once clarification and discussion is complete, Chair/Facilitator will ask if a Commissioner or committee member wishes to make a motion on the issue.

- Following a second for the motion, Chair/Facilitator will ask if there is any additional discussion.

- If the motion involves an option the public has already provided input on, then the vote is taken following any additional Commission or committee discussion; if the proposed action (motion) is materially different from what was previously discussed, an additional opportunity is provided for public comment, and then the Commission or committee votes on the motion.

## FLORIDA BUILDING COMMISSION

## CONSENSUS-BUILDING AND DISCUSSION PROCESS

The Commission seeks to develop consensus-based policy decisions and recommendations. General consensus is a participatory process whereby, on matters of substance, the members strive for agreements which all of the members can accept, support, live with or agree not to oppose.  In instances where, after vigorously exploring possible ways to enhance the members’ support for a final decision on an issue and the Commission finds that 100% acceptance or support is not achievable, final decisions will require at least 75% favorable vote of all members present and voting.  This super majority decision rule underscores the importance of actively developing consensus throughout the process on substantive issues with the participation of all members and which all can live with.  In instances where the Commission finds that even 75% acceptance or support is not achievable, publication of recommendations will include documentation of the differences and the options that were considered for which there is more than 50% support from the Commission.

The Commission develops its decisions and recommendations using consensus-building techniques with the assistance of the Facilitator (i.e., brainstorming, acceptability ranking, prioritization, etc).

The Commission’s consensus process is conducted as an open process consistent with applicable law and rule.  Commission members, staff, and facilitator are the only participants seated at the table, and only Commission members may vote on proposals and recommendations. To the extent reasonable, on each substantive issue the Commission shall identify and evaluate the full range of options prior to offering a formal motion. This ensures that the Commission makes the best possible decision informed by the public’s and Commissioner’s perspective on the issue and range of alternatives.

Substantive Discussion Issue Process Overview

- Issue is presented to the Commission,

- TAC, POC, Workgroup, Ad Hoc, or staff recommendations are presented,

- Commission asks clarifying questions (addresses a specific point that is not understood),

- Commission identifies any additional options they want discussed/evaluated,

- Public is provided an opportunity to comment on the options, and/or to offer alternative options for Commission consideration,

- Commission discusses the range of options,

- A motion is made for a specific action on the issue,

- Commissioners may, though the Chair or Facilitator, request clarification from the public,

- If the motion involves an option the public has already provided input on, then the vote is taken following any additional Commission discussion; if the proposed action (motion) is materially different from what was previously discussed, an additional opportunity is provided for public comment, and then the Commission votes on the motion.

To enhance the possibility of constructive discussions as members educate themselves on the issues and engage in consensus-building, members agree to refrain from public statements that may prejudge the outcome of the Commission’s consensus process.  In discussing the Commission process with the media, members agree to be careful to present only their own views and not the views or statements of other participants. In addition, in order to provide balance to the Commission process, members agree to represent and consult with their stakeholder interest groups to the extent feasible.

## FLORIDA BUILDING COMMISSION

## PUBLIC INPUT ON COMMISSION DISCUSSION PROCESS

Discussion item is introduced and any background information provided. If there is a specific action requested of the Commission, the proposal is summarized and any rationale provided.

Chair or Facilitator asks Commission members only for clarifying questions (a clarifying question addresses a specific point that is not understood, and should not indicate support or opposition to the proposal).

After questions, the Chair or Facilitator opens the issue up for discussion. All Commission members wishing to speak must raise their hand(s) and be acknowledged by the Chair/Facilitator prior to speaking. Commission adopted meeting guidelines are in effect at all times.

Following Commission’s preliminary discussion on a substantive issue, the Chair or Facilitator asks if any members of the public wishes to address the Commission on the current issue under Commission consideration. Members of the public will be provided one opportunity to comment per discussion/agenda item, and may be time limited depending on number of people wishing to speak and number of issues on the agenda. The Facilitator serves as the moderator for public input. The Facilitator asks for those who wish to speak in favor of the proposal or topic under discussion to offer brief comments, others who wish to speak in favor are asked to offer new points or simply state agreement with previous speakers. The same opportunity and requirements are offered for those who wish to speak in opposition to the proposal or topic under discussion. In addition, the public may offer alternative options for Commission consideration. The Facilitator ensures that the full range of views are expressed and similar views are not repeated. Members may, through the Chair/Facilitator, ask clarifying questions to members of the public offering comments. This process is used for substantive issues and not for procedural matters before the Commission.

After discussion and public comment, a Commission member may offer a motion for an action on the issue. If there is a second to the motion the Chair/Facilitator calls for discussion. Once a motion is made and seconded, the discussion is restricted to only Commission members unless the Chair/Facilitator requests specific clarification from a member of the public. Commission members may request specific clarification from a member of the public through the Chair/Facilitator at any time. A member may wish to second a motion for the purpose of Commission discussion and not necessarily as a show of support for the motion. If the motion involves an option that the public has already commented on, then the vote is taken, if the proposed action (motion) is materially different from what was previously discussed, an additional opportunity is provided for public comment, and then the Commission votes on the motion.

Only motions to approve are considered. If there is no motion after discussion the requested action is not approved, and “dies” for a lack of a second.

In addition, members of the public are welcome to provide input to the Commission during the public comment period provided at each meeting, and all comments submitted on the blue “Public Comment” forms provided at each meeting are included in the Facilitator’s summary reports.

APPENDIX C

CODE ADMINISTRATION PROJECT

# Overview

One of the Florida Building Commission’s (the Commission) responsibilities is making a continual study of the Florida Building Code and related laws, and on a triennial basis reporting findings and recommendations to the Legislature. The first triennial assessment was conducted in 2005 and recommendations were reported to the 2006 Legislature. A variety of issues were identified during the course of the assessment survey and ad hoc committee review process, and one of the recommendations developed and adopted by the Commission was to conduct an assessment of local building officials on their needs regarding administration of the Florida Building Code (the Code). Some of the key issues identified during the review process included training and education, communication and outreach, staffing and qualifications, interpretations and appeals, funding, and state oversight.

Local administration and enforcement of the Code is one of the key foundations of the Building Code System, and the Commission, through an on-line assessment survey, sought the views of local jurisdictions—of all sizes and in all geographic regions of the State—on their perspectives and needs regarding the local administration of the Code, as well as their recommendations for measures to improve the uniform and effective enforcement of the Code, including how the Commission could best assist local jurisdictions relative to the administration of the Florida Building Code.

# Project Webpage

Information on the project, including agenda packets, meeting reports, and related documents may be found in downloadable formats at the project webpage below:

http://consensus.fsu.edu/FBC/fbc_survey.html

Following are the Code Administration TAC’s recommendations to the Commission. DCA staff is researching implementation factors including costs relative to each recommendation:

### Provide a compilation of the rationale for Code changes as soon as possible after adoption.

### Provide regular updates and notices to local jurisdictions, and construction and design professionals, including designing and using a clearer and easier to use website and electronic notices, on Commission legal interpretations, declaratory statements, Code interpretations, Code changes, and policy decisions.

- E-mail link to Commission minutes to interested parties with option to unsubscribe.

- The Commission should encourage local officials to attend Commission meetings, ensuring awareness of Commission actions.

- Provide live web-castings of Commission meetings.

- Video tape Commission meetings and archive the tapes.

- Provide outreach to citizens/public to make them aware of permits required for repairs or alterations to their homes.

### Seek Legislative authority for the Commission to issue Accessibility Code interpretations.

- Encourage local bldg dept to regularly establish measurable performance standards for customer service based on volume and ability to do the work.

APPENDIX D

HURRICANE RESEARCH ADVISORY COMMITTEE

Overview

At the January 26, 2005 Commission meeting, Chairman Rodriguez appointed a small coordinating group consisting of Commissioners and other stakeholder representatives, charged with identifying what research is being conducted related to building failure issues resulting from the 2004 hurricanes, identifying any research gaps on key issues identified but not being researched, and finally, to ensure that the Commission is provided with all relevant research findings on each of the major issues, prior to the Commission considering code enhancements resulting from lessons learned. The Committee has been instrumental in evaluating and making recommendations to the Commission on a broad suite of proposals regarding Building Code enhancements and research projects.

As a result of hurricanes affecting Florida during the 2004 and 2005 seasons, the Florida Building Commission’s Hurricane Research Advisory Committee (HRAC) continues to meet at most Commission meeting to review research and make recommendations to the Commission regarding proposed code enhancements and research needs. Some of the Committee’s recommendations were adopted with the 2006 Glitch Code amendments to the 2004 Code and others were adopted during the 2007 Code Update cycle, and still others will be implemented during the 2008 “Glitch” code annual interim amendment process. The Committee continues to consider enhancements to the Florida Building Code based on sound science. In addition, the Committee has recommended research to advance the science and allow the Commission to continually study and update the storm protection provisions of the Florida Building Code. The Committee is continuously monitoring current research and recommending the development of standards and installation practices related to protecting against wind damage and water infiltration, and the development of hurricane resistant construction standards.

During 2008 the Committee has focused on evaluating Code enhancements regarding the window/wall interface and soffit labeling and performance standards. Current research initiatives includes:

- Evaluation of fenestration installation techniques.

- Evaluation of secondary water protection options.

- Quantification of tile missile impacts.

- Evaluation of the window/wall interface.

- 2008 hurricane deployment initiatives.

The Committee has recommended that research is needed in the following topical areas:

- Wall penetrations for water intrusion.

- Secondary barrier performance standards for the mitigation rule.

HRAC RESEARCH TOPIC STATUS

| ## Recommendation | # Actions | Targeted Code Change | # Action Plan # and # Assignment |
| --- | --- | --- | --- |
| A bond break be provided between primary drainage planes and stucco renderings in drained assemblies. In simple terms this will require two layers of building paper or a layer of building paper over a plastic housewrap. | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| The specification, rating and testing of WRB’s be consistent with their installed exposure – i.e. tested and rated as part of a stucco assembly. Appropriate performance specifications need to be developed for WRB’s used with stucco renderings and the Florida Building Code altered to require them. | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| The Florida Building Code be altered to come into compliance with the International Residential Code to explicitly allow for the construction of unvented roof assemblies. | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| Require application of exterior surface coatings to appropriate standard or manufacturer’s specification. | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| Require wood, metal or other structural support “ridge board” for tile attachment methods 1, 2 and 4A | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |

| ## Recommendation | # Actions | Targeted Code Change | # Action Plan # and # Assignment |
| --- | --- | --- | --- |
| Require FBC approved pre-bagged mortar to attach hip and ridge tiles attachment methods 3 and 4B (pre-bagged mortar requirement applies to systems where mortar is the attachment component not systems utilizing ridge board and mechanical or adhesive-set) | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| Require testing of ridge attachment systems according to SSTD 11 to establish wind up-lift resistance. | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| Utilize an additional tile factor of 2-1 above that specified in SSTD 11 or TAS 101 to determine the “allowable overturning moment” or “attachment resistance expressed as a moment (Mf)” | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| Prohibit component substitution without proper laboratory testing and FBC Product Approval | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| Allow hip and ridge attachment systems with demonstrated performance equal or superior to that required by the identified systems | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| Address requirements for installation instructions via Product Approval Workgroup Recommendations | HRAC recommended Expedited Amendment Commission approved Expedited | Expedited Amendments 11/1/05 | Completed |
| ## Recommendation | # Actions | Targeted Code Change | # Action Plan # and # Assignment |
| The moisture storage capacity of mass walls be increased by providing a “seat” at the base of these assemblies. | HRAC recommended expedited amendment Commission rejected | None | Referred back to FHBA (recommendation was from FHBA water intrusion report) |
| Define the terms “weather resistant” and “weather protection” | HRAC recommended expedited amendment Commission rejected | None | Referred back to Central Florida BOAF Chapter to pursue its recommendation |
| Delete the criteria of chapter 14 that deems walls constructed according to the masonry chapter and concrete chapter requirements to be weather resistant. | HRAC recommended expedited amendment Commission rejected | None | Referred back to Central Florida BOAF Chapter to pursue its recommendation |
| Require compliance with ANSI/SPRI ES-1 for edge flashings and copings. | HRAC recommended expedited amendment Commission deferred to glitch amendments | Glitch Amendments 12/23/06 | Completed |
| Require compliance with ASTM E-1592 for testing the uplift resistance of metal panel roof systems. (Note: Require ASTM E-1592 for structural metal panel roof systems and UL 580 for non-structural metal panel roof systems) | HRAC recommended expedited amendment Commission deferred to glitch amendments | Glitch Amendments 12/23/06 | Completed |
| Require asphalt shingles to comply with UL 2390 testing and rating based on wind speed categories | HRAC recommended expedited amendment Commission deferred to glitch amendments | Glitch Amendments 12/23/06 | Completed |
| ## Recommendation | # Actions | Targeted Code Change | # Action Plan # and # Assignment |
| Require removal of existing roof covering down to the deck and replacement of deteriorated sheathing in areas where basic wind speed is 110 mph or greater. If existing sheathing attachment does not comply with loads derived from Chapter 16, require installation of additional fasteners to meet the loads. | HRAC recommended expedited amendment Commission deferred to glitch amendments | Glitch Amendments 12/23/06 | Completed |
| Make the requirements of 2001 FBC Section 1522 (Rooftop Mounted Equipment) applicable throughout the state for all wind speeds. Include in Mechanical Volume also. | HRAC recommended expedited amendment Commission deferred to glitch amendments | Glitch Amendments 12/23/06 | Completed |
| Add criteria regarding wind and wind driven rain resistance of ridge vents. Attachment criteria require development but TAS 100A could be referenced for rain resistance. | HRAC recommended adoption in post “expedited” amendment | Deferred to further research |  |
| Criteria for wind resistance of soffits should be developed and added. | HRAC recommended adoption in post “expedited” amendment | Glitch Amendments 12/23/06 | Completed Further research also |
| Criteria for wind-driven rain resistance of soffits should be developed and added. | HRAC recommended adoption in post “expedited” amendment | Long range – post 2007 FBC update. | Conduct R&D to establish criteria. Budget authority requested for 2007-08 |
| Water managed window and door installation requirements be developed and the Florida Building Code altered to require them. | HRAC recommended adoption in post “expedited” amendment | 2007 FBC Update 10/1/08 | Prescriptive default criteria developed by 3 national window groups and submitted for 2007 FBC Update |

| ## Recommendation | # Actions | Targeted Code Change | # Action Plan # and # Assignment |
| --- | --- | --- | --- |
| Windows and doors be correctly rated and tested according to ANSI/AAMA 101. Mulled window units, double windows or composite windows be tested and held to the same requirements as single units. | HRAC recommended adoption in post “expedited” amendment | Glitch | Completed |
| Water managed window and door installation requirements be developed and the Florida Building Code altered to require them. | HRAC recommended adoption in post “expedited” amendment | 2007 FBC Update 10/1/08 | Prescriptive default criteria developed by 3 national window groups and submitted for 2007 FBC Update. Not adopted for 2007 FBC |
| Water managed details for dryer vents, electrical panel boxes, electrical boxes, vent fan hoods be developed and the Florida Building Code Altered to require them. | HRAC recommended adoption in post “expedited” amendment | Long range – post 2007 FBC update. | Conduct R&D to establish criteria. FY 07-08 project. |
| Remove the partially enclosed design option at the next code cycle. | HRAC recommended adoption in post “expedited” amendment | Special FBC amendment 1/1/07 | Automatically enacted by adoption of 2006 IRC as required by 2005 SB 442. Implemented early-Jan 2007 via HB 1-A |
| Adopt ASCE 24-05 for elevation requirements and flood resistant materials, equipment. | HRAC recommended adoption in post “expedited” amendment | Out of Commission’s jurisdiction | FEMA and Florida DCA coordination. Special project for 2010 FBC. |
| Re-evaluate the hazard identification/mapping approaches in Coastal A/V Zones. | HRAC recommended adoption in post “expedited” amendment | Out of Commission’s jurisdiction | FEMA and Florida DCA coordination. Prepare and submit amendment. |

| For hurricane shelters and EHPA, adopt wind speed recommended by Florida DCA in the State Emergency Shelter Program and the ASCE 7-02/2001 FBC wind speed map design wind speed plus 40 mph using Performance Criteria 3. | HRAC recommended adoption in post “expedited” amendment | Out of Commission’s jurisdiction | Florida DCA, DOE and School Board Association negotiation. Not adopted for 2007 FBC |
| --- | --- | --- | --- |
| ## Recommendation | # Actions | Targeted Code Change | # Action Plan # and # Assignment |
| Pressure relieved/baffled soffit assemblies be developed for vented roof assemblies and the Florida Building Code altered to require them. | HRAC recommended adoption in post “expedited” amendment | Long range – post 2007 FBC update. | Conduct R&D to evaluate soffit water intrusion control methods. |
| It is unlikely that a practical paint specification can be developed in the short term to address micro-cracking stucco issues as the relationships among water vapor permeability, mil thickness and elasticity are not known. It is recommended that these relationships be explored and that until these relationships are understood the Florida Building Code not be altered to require “elastomeric paints” on stucco renderings. | HRAC recommended adoption in post “expedited” amendment | Long range – post 2007 FBC update. | Conduct R&D on water penetration, absorption and transport through concrete and masonry wall assemblies to establish criteria for coatings or other water control measures. |
| Add technically-based criteria regarding blow-off resistance of aggregate on built-up and sprayed polyurethane foam roofs (Roof Coverings for Roofs with Slopes Less than 2:12). | HRAC recommended adoption in post “expedited” amendment | Long range supported by R&D | Conduct R&D to establish criteria. |
| Develop window water leakage test and performance criteria specific to hurricane prone regions. | HRAC recommended adoption in post “expedited” amendment | Long range supported by R&D | Conduct R&D in support of AAMA standard development. Windows Work Group/UF research project |

| Develop criteria that pertain to attaching lightning protection systems. Include in the Electrical Volume also. | HRAC recommended adoption in post “expedited” amendment | Long range supported by R&D | Support industry standard development activity. Tom Smith/FEMA |
| --- | --- | --- | --- |
| Revise the Florida panhandle criteria to match ASCE 7 wind borne debris region. | HRAC recommended adoption in post “expedited” amendment | Legislature must change the law- Done Amend FBC by 7/1/07 | Completed (Conducted Study as directed by 2005 Legislature. Issue decided legislatively. Code amended effective July 1, 2007.) |

Note:	Red text indicates recommendations for expedited amendments to FBC

Black text indicates deferral to glitch amendment proceeding decided 6/28/05

Blue text indicates deferral to glitch amendment proceeding decided 5/10/05

Purple text indicates Commission deferral of HRAC recommended expedited amendments,

to the glitch amendment proceeding.

# Project Webpage

Information on the project, including recommendations, agenda packets, meeting reports, and related documents may be found in downloadable formats at the project webpage below:

http://consensus.fsu.edu/FBC/hrac.html

APPENDIX E

BEDROOM DEFINITION WORKGROUP

The purpose of the Bedroom Definition Workgroup is to develop recommendations regarding

an acceptable methodology for sizing septic systems. The Workgroup reviewed the strategy of using “Bedrooms” for the sizing of septic systems, and evaluated an universal bedroom definition that will work from the Florida Building Code (FBC) and Department of Health (DOH) perspectives.

The Workgroup evaluated a range of options and voted unanimously, to recommend the Commission support in concept, the following strategy for sizing septic systems:

Use census definition of rooms for calculating system sizes,

All rooms that meet the “Room” definition are counted as a room,

Use 70 square feet as minimum room size, and

Use a conversion factor of 50 gallons per day/room for sizing septic systems.

The Workgroup identified the following additional considerations and next steps:

- The proposal should be reviewed by DOH’s TRAP for feedback.

- DOH should evaluate the formula’s factors to ensure they are accurate.

- DOH should analyze additional floor plans to ensure the methodology works.

- The effects of additions should be evaluated to ensure the formula still works.

# Project Webpage

Information on the project, including agenda packets, meeting reports, and related documents may be found in downloadable formats at the project webpage below:

http://consensus.fsu.edu/FBC/ubdw.html

APPENDIX F

SOFFIT SYSTEMS WORKGROUP

The purpose of the Soffits Systems Workgroup is to evaluate and build consensus on recommendations regarding labeling and performance requirements for soffit systems in the Florida Building Code.

Workgroup members were asked to identify key topical issues that should be evaluated for developing soffit

systems labeling recommendations for the Florida Building Code.

Following are the key topical issues identified by the Workgroup:

- Format

- Content (what should be provided on the label)

- Inspection Needs (providing on-site what the building inspector needs to ensure the product complies with the Code)

- Performance Standards (product/material types and prescriptive requirements)

- Installation Instructions

The Workgroup will continue meeting in 2009 and deliver recommendations to the Commission for implementation,

# Project Webpage

Information on the project, including agenda packets, meeting reports, and related documents may be found in downloadable formats at the project webpage below:

http://consensus.fsu.edu/FBC/soffit.html

APPENDIX G

WINDOW WALL WORKGROUP

The Window Wall Workgroup was formed out of the work conducted by the Hurricane Research Advisory Committee and the Window Workgroup. The Window Workgroup developed recommendations for enhancing the performance of windows and identified the need for research on water infiltration regarding the window wall interface. The Workgroup is working in collaboration with the HRAC, and in January 2008 identified research issues needed to develop recommendations for code enhancements. The Workgroup identified the following topics for research:

- Origin, path and mechanisms of water intrusion.

- Validation of water intrusion test and window installation specifications.

- Innovation of new mitigation technologies for fenestration.

- Mitigation of existing window/wall systems.

Research on the window/wall interface is currently be conducted by the University of Florida in cooperation with industry stakeholders. The HRAC and Window/Wall workgroup continues to review and evaluate the research results with the goal of developing code recommendations for the 2010 Code Update process.

# Project Webpage

Information on the project, including agenda packets, meeting reports, and related documents may be found in downloadable formats at the project webpage  below:

http://consensus.fsu.edu/FBC/wwg.html

APPENDIX H

AC EFFICIENCY AND HUMIDITY AND MOISTURE CONTROL

At the recommendation of the Energy TAC the Commission convened a Regional AC Efficiency Workgroup. The Workgroup was charged with developing recommendations on whether the Commission and DCA should recommend to the United States Department of Energy (USDOE) regional AC efficiency standards for the hot and humid climate. The USDOE now has authority to develop and adopt regional AC efficiency standards. The Workgroup worked with affected stakeholder interests in a facilitated workgroup process. The Workgroup investigated the feasibility of a hot-and-humid climate regional efficiency rating for air-conditioner and heat-pump systems and if determined a regional standard is a good strategy, then to develop recommendations for the technical requirements.

Following the first meeting, the scope of the Workgroup was changed to develop recommendations regarding AC equipments’ role in controlling humidity and moisture in buildings in a hot and humid climate. The Workgroup is tasked with considering a range of issues and options regarding the manufacturing, design and installation of AC equipment in controlling moisture and preventing mold and mildew in the hot and humid Florida climate.

Prioritization of Near-Term Options

Members were asked to rank each of the short-term options for controlling indoor moisture and humidity on their importance for achieving control of indoor humidity and moisture on a five-point scale, where 5 is the highest level of importance and 1 the lowest level of importance.

Following are the results of the prioritization exercise regarding level of importance for controlling

indoor humidity and moisture control:

| TOPIC | ##### RANK |
| --- | --- |
| Airtight air distribution system | 1 |
| Use of ECM’s/TXV | 2 |
| Location of ductwork-encourage conditioned space | 3 |
| Outside air ventilation | 4 |
| Humidity control devices | 4 |
| Envelope performance | 6 |
| Fan overrun/settings | 7 |
| Aux. dehumidification equipment in high performance buildings | 7 |
| Startup commissioning of equipment | 9 |
| Source control | 10 |
| Maintenance of equipment | 10 |
| Code mandated design criteria | 10 |
| Power consumption/testing at multiple points/dehumidification performance | 13 |

Identification and Discussion of Long-Term Issues and Action Plan

Members were asked to identify options that should be evaluated in the long-term regarding controlling indoor building humidity and moisture in a hot and humid climate.

Following are the issues/options identified during the meeting:

- Commercial building moisture control should be evaluated.

- Have the ARI directories list the moisture removal of equipment.

- Incorporate humidity removal in regional methodology for efficiency of AC.

- Consider a regional AC efficiency rating for the hot-and-humid climate.

- Come up with a humidity removal number label or rating as it relates to energy consumption.

- Proper enforcement of energy code could eliminate many of the problems.

- Review whether humidity control features are better located in mechanical code or energy code,  or both.

- Have trained and certified system designers.

# Project Webpage

Information on the project, including agenda packets, meeting reports, and related documents may be found in downloadable formats at the project webpage  below: http://consensus.fsu.edu/FBC/hmcw.html

APPENDIX I

WIND MITIGATION WORKGROUP

Overview (Wind Mitigation Retrofits—Rule 9B-3.0475)

At the June 2007 meeting the Commission conducted a rule development workshop on wind mitigation retrofits in order to implement the 2007 legislative direction regarding developing mitigation techniques for the retrofit of existing site-built residential buildings. In addition, at the request of stakeholders the Commission conducted a facilitated workshop in Tampa on August 8, 2007 and participants provided recommendations for the Commission’s consideration regarding the legislative directive. At the August 2007 meeting the Commission conducted a rule adoption hearing and voted to adopt the first edition of prescriptive techniques for required hurricane mitigation retrofit of homes by deck nailing, secondary water barriers installation, and roof to wall connections enhancement when a roof is replaced and voluntary gable end bracing in time for the Legislature’s mandated  implementation date of October 1, 2007. The Commission also voted to support the Florida Roofing and Sheet Metal Association’s request that the Legislature delay implementation of the mitigation requirements. The Commission recommended that the Florida Legislature delay the implementation date to October 1, 2008 allowing adoption of the rule through the Commission’s Glitch Amendments to the 2007 Florida Building Code process. The reason(s) for the recommended delay included the issues identified by stakeholders during the rule adoption hearing (i.e., licensure issues, permitting issues, liability issues, inspection and enforcement issues, structural efficacy issues regarding the roof-to-wall requirements, and the need to conduct a comprehensive review and development of recommendations working with all interested stakeholders). In order to comply with the 2007 Legislature’s direction for an October 1, 2007 implementation date, at the August 2007 Commission meeting the Commission adopted Rule 9B-3.0475, Wind Mitigation retrofits. However, during the rule development process the public identified numerous concerns with some of the Rule’s requirement including the roof to wall connection provisions, and as a result the Commission acknowledged that the current draft needs enhancements and the Commission committed to working with stakeholders during the Glitch Code process to consider enhancements to the Rule. As a result Chairman Rodriguez appointed a Wind Mitigation Workgroup to develop recommendations to the Commission on the wind mitigation provisions for implementation during the glitch code amendment process. The Workgroup met throughout 2008 and developed recommendations that were adopted by the Commission in the 2008 Glitch Amendment process.

# Project Webpage

Information on the project, including agenda packets, meeting reports, and related documents may be found in downloadable formats at the project webpage  below:

http://consensus.fsu.edu/FBC/wmw.html