| Proponent | Mod # | Section | Summary | Comment/Staff |
| --- | --- | --- | --- | --- |
|  |  | Building |  |  |
| Gene Boecker | 3235 | 412.2.1 | He disagrees with the use of “property lines” that would result in 2 hr rated exterior walls of condos, etc. | The code change was approved for consistency with the I-Code. It was a misprint. |
| Gene Boecker |  | 423.14.2.1 | Emergency is incorrectly spelled in the labeling instructions. | The spelling error will be corrected. |
| Ann Quist | 3177r | 424.1.2.1 | LEED rating systems use SRI (Solar Reflectance Index) to quantify reflected/absorbed light. | The comment is not a glitch. The approved mod was necessary to make the Code consistent with DOH rules for public swimming pools. |
| Gene Boecker | 2871r | 503.1.1 | This is not a glitch; it contains incorrect rationale statements. Operations within large buildings create risks to health and safety. The provision does not improve the code. | The Code change was a glitch necessary to resolve conflict within the code on this subject. |
| Ann Quist |  | 704.8.2 | Add “above grade” to clear the confusion in the language. The 2004 text had fewer modifiers and was clearer to read. | The proposed change is not a glitch. |
| Richard Roberts |  | 913.1.1 | The proposal will ensure that both hard wired alarms meeting ANSI/UL 2034 and ANSI/UL 2075 detectors will be permitted for installation in new construction. |  |
| Steven M. Sincere | 3234 | T 2002.4 | Note 7 reduces structural loading and promotes less dense screen which is potentially threatening to health and safety. The proposal lacks engineering data supporting the reduced loads on the structure. |  |
| Gene Boecker | 3145 | 3002.4 | Change the Statute instead of the building code. Larger elevator sizes are needed to accommodate larger stretchers in use in the country. Current stretcher sizes in the statutes handicap EMS | The code change was approved as glitch to resolve conflict with the statutes. |
| Fred Dudley | 3176 | Comment 3176com | Proposed Rule 9B-3.047 – Proposed Lower Cost Regulatory Alternative; Request for Preparation of Statement of Estimated Regulatory Costs; Request for Public Hearing |  |
| Marie Jones |  | 106.1 | Wants to add interior designers to be able to sign and seal construction documents for permitting. |  |
|  |  | Existing Building |  |  |
| Staff |  | 305.5 | 305.5 Energy. Buildings undergoing a change in occupancy that would result in an increase in demand for either fossil fuel or electrical energy shall comply with Chapter 13 of the Florida Building Code, Building . | The change is needed to be consistent with the Florida Energy Code. |
|  |  | Mechanical |  |  |
| Pete Quintela | comment | 202 | The boiler, hot water supply definition is inaccurate. | The definition was changed to be consistent with the definition “Boiler” as per 554.109 Florida Statutes. |
| Pete Quintela | 3003 | 202 | The change is not a glitch and should have been considered by the Mechanical TAC. | The Energy TAC took action on this mod with consultation with the Chair of the Mechanical TAC. |