William Wright – WG/Mo ,  11-18-2011

- Climate data – use all TMY3 and use the nearest city with respect to the property/site for the project.

- Use text from previous code.  B-1.1.1.

13-C4.1.2 Multiple heating or cooling systems. Where two or more systems of the same type are installed with different levels of efficiency serving different parts of the house, a capacity-weighted performance rating shall be used to determine compliance.

13-C6.2 Multiple water heating systems. Where two or more water heating systems are installed with different levels of efficiency, a single capacity-weighted efficiency shall be calculated for determining compliance with this code.

- Can be treated either way as long as the standard/referenced building and the proposed building provide for the same analysis.

- See print out provided in the Appendix.

- See print out provided in the Appendix.

- Section was deleted.  No action needed.

- Already covered.  No action needed.

- See criteria in the Code.  FSEC will make info. for this item available including info. for item 9, 10, 11, 12, 13, and 14.