## WeeklyCommisionReport (38)
| FL# | Revision # | Category | Subcategory | Manufacturer | Application Type | DBPR | POC | FBC | Comments
Certification Mark or Listing
1 | 242 | 22 | WINDOWS | Horizontal Slider | PGT Industries | REV | a
2 | 245 | 12 | WINDOWS | Casement | PGT Industries | REV | a
3 | 330 | 16 | WINDOWS | Casement | PGT Industries | REV | a
4 | 699 | 8 | ROOFING | Roofing Fasteners | OMG, Inc. | REV | a
5 | 720 | 5 | ROOFING | Cements-Adhesives-Coatings | Dow Chemical | REV | a
6 | 735 | 12 | ROOFING | Modified Bitumen Roof System | TAMKO Building Products, Inc. | REV | a
7 | 741 | 10 | ROOFING | Built up Roofing | TAMKO Building Products, Inc. | REV | a
8 | 993 | 15 | WINDOWS | Single Hung | Kinro, Inc | REV | a
9 | 995 | 9 | WINDOWS | Fixed | Kinro, Inc | REV | a
10 | 1435 | 20 | WINDOWS | Single Hung | PGT Industries | REV | a
11 | 2865 | 11 | EXTDOORS | Sliding Exterior Door Assemblies | Kinro, Inc | REV | a
12 | 4813 | 5 | ROOFING | Metal Roofing | American Buildings Company | REV | a
13 | 7497 | 4 | STRUCT | Insulation Form Systems | Airlite Plastics Co. | REV | a
14 | 9003 | 8 | EXTDOORS | Exterior Door Components | McKinney Products Company | REV | a
15 | 9223 | 7 | EXTDOORS | Swinging Exterior Door Assemblies | Therma-Tru Corporation | REV | a
16 | 10477 | 6 | PANEL | Siding | James Hardie Building Products, Inc. | REV | a
17 | 11206 | 10 | WINDOWS | Single Hung | Pella Corporation | REV | a
18 | 11619 | 7 | WINDOWS | Casement | Windsor Windows and Doors | REV | a
19 | 12208 | 6 | ROOFING | Cements-Adhesives-Coatings | Commercial Innovations, INC. | REV | a
20 | 12220 | 6 | ROOFING | Built up Roofing | Commercial Innovations, INC. | REV | a
21 | 12509 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
22 | 12536 | 4 | ROOFING | Underlayments | Owens Corning | REV | a
23 | 12606 | 6 | EXTDOORS | Sliding Exterior Door Assemblies | Pella Corporation | REV | a
24 | 13010 | 5 | WINDOWS | Fixed | Custom Window Systems Inc. | REV | a
25 | 13642 | 4 | WINDOWS | Awning | Windsor Windows and Doors | REV | a
26 | 13643 | 4 | WINDOWS | Fixed | Windsor Windows and Doors | REV | a
27 | 14293 | 6 | EXTDOORS | Swinging Exterior Door Assemblies | Pella Corporation | REV | a
28 | 14386 | 4 | WINDOWS | Fixed | Loewen Windows | REV | a
29 | 14387 | 4 | WINDOWS | Fixed | Loewen Windows | REV | a
30 | 14392 | 4 | ROOFING | Underlayments | Metal Sales Manufacturing Corporation | REV | a
31 | 14569 | 9 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
32 | 15296 | 3 | WINDOWS | Fixed | Ply Gem Windows | REV | a
33 | 15396 | 2 | EXTDOORS | Swinging Exterior Door Assemblies | Loewen Windows | REV | a
34 | 15398 | 2 | EXTDOORS | Swinging Exterior Door Assemblies | Loewen Windows | REV | a
35 | 15434 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | Loewen Windows | REV | a
36 | 15435 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | Loewen Windows | REV | a
37 | 15810 | 4 | WINDOWS | Fixed | Custom Window Systems Inc. | REV | a
38 | 15998 | 2 | STRUCT | Roof Deck | AllSouth Pre-Engineered Components, LLC (APEC) | REV | a
39 | 16030 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Millwork Plus, Inc. | REV | a
40 | 16094 | 6 | EXTDOORS | Swinging Exterior Door Assemblies | Plastpro Inc. / Nanya Plastics Corp. | REV | a
41 | 16096 | 3 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | VERSCENE, Inc. | REV | a
42 | 16170 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Kinro, Inc | REV | a
43 | 16389 | 3 | WINDOWS | Horizontal Slider | Simonton Windows | REV | a
44 | 16686 | 2 | WINDOWS | Horizontal Slider | Kinro, Inc | REV | a
45 | 16939 | 2 | ROOFING | Cements-Adhesives-Coatings | Tremco Incorporated | REV | a
46 | 16940 | 2 | ROOFING | Liquid Applied Roof Systems | Tremco Incorporated | REV | a
47 | 17026 | 2 | WINDOWS | Casement | Kolbe Windows and Doors - Wausau | REV | a
48 | 17455 | 2 | WINDOWS | Awning | UNILUX GmbH | REV | a
49 | 17492 | 2 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | DECRA Roofing Systems, Inc. | REV | a
50 | 17533 | 4 | WINDOWS | Horizontal Slider | Viwinco Inc. | REV | a
51 | 17662 | 1 | PANEL | Siding | AllSouth Pre-Engineered Components, LLC (APEC) | REV | a
52 | 17676 | 6 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
53 | 17772 | 2 | EXTDOORS | Swinging Exterior Door Assemblies | Steveâ€™s and Sons, Inc | REV | a
54 | 17775 | 1 | STRUCT | Products Introduced as a Result of New Technology | Airlite Plastics Co. | REV | a
55 | 17901 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | Steve's and Sons, Inc | REV | a
56 | 17904 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | Steve's and Sons, Inc | REV | a
57 | 18689 | 1 | WINDOWS | Single Hung | Custom Window Systems Inc. | REV | a
58 | 19901 | 0 | PANEL | Siding | James Hardie Building Products, Inc. | NEW | a
59 | 20123 | 1 | EXTDOORS | Sliding Exterior Door Assemblies | Pella Corporation | REV | a
60 | 21414 | 2 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | CertainTeed Corporation-Roofing | REV | a
61 | [6 empty] | a
62 | 21637 | 2 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
63 | 21638 | 1 | WINDOWS | Horizontal Slider | MI Windows and Doors | REV | a
64 | 21639 | 1 | WINDOWS | Fixed | MI Windows and Doors | REV | a
65 | 21719 | 1 | SHUTTERS | Storm Panels | SL Westwood Design S de RL de CV | REV | a
66 | 22242 | 3 | WINDOWS | Fixed | Kolbe Windows and Doors - Manawa | REV | a
67 | 22281 | 2 | WINDOWS | Fixed | JELD-WEN | EDIT_CHG | a
68 | 22308 | 2 | WINDOWS | Awning | JELD-WEN | EDIT_CHG | a
69 | 22358 | 0 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | VADA LLC | NEW | a
70 | 22376 | 2 | WINDOWS | Casement | JELD-WEN | EDIT_CHG | a
71 | 22639 | 0 | WINDOWS | Fixed | Optimum Window | NEW | a
72 | 22662 | 0 | WINDOWS | Horizontal Slider | Winco Window Company | NEW | a
73 | 23093 | 0 | ROOFING | Metal Roofing | Merchant & Evans, Inc. | NEW | a
74 | 23188 | 0 | WINDOWS | Horizontal Slider | Kolbe Windows and Doors - Wausau | NEW | a
75 | 23310 | 0 | STRUCT | Roof Deck | Mid Florida Metal Roofing Supply/Supplies, Inc. | NEW | a
76 | 23490 | 0 | STRUCT | Roof Deck | Mid Florida Metal Roofing Supply/Supplies, Inc. | NEW | a
77 | 24096 | 0 | ROOFING | Metal Roofing | Mid Florida Metal Roofing Supply/Supplies, Inc. | NEW | a
Evaluation Report from a Product Evaluation Entity
78 | 1999 | 6 | STRUCT | Truss Plates | ITW Building Components Group Inc. / Paslode | REV | a
79 | 2197 | 6 | STRUCT | Truss Plates | MiTek Industries, Inc. | REV | a
80 | 7849 | 11 | ROOFING | Roofing Tiles | Boral Roofing / MonierLifetile | REV | a
81 | 7987 | 5 | STRUCT | Products Introduced as a Result of New Technology | MiTek Industries, Inc. | REV | a
82 | 15638 | 2 | STRUCT | Truss Plates | MiTek Industries, Inc. | REV | a
83 | 16850 | 3 | ROOFING | Underlayments | Epilay Inc | REV | a
84 | 17146 | 2 | STRUCT | Products Introduced as a Result of New Technology | Huber Engineered Woods LLC | REV | a
85 | 17147 | 2 | STRUCT | Products Introduced as a Result of New Technology | Huber Engineered Woods LLC | REV | a
86 | 17365 | 2 | ROOFING | Underlayments | Isaiah Industries, Inc. | REV | a
87 | 17491 | 3 | ROOFING | Modified Bitumen Roof System | TAMKO Building Products, Inc. | REV | a
88 | 21470 | 1 | ROOFING | Metal Roofing | CertainTeed Corporation-Roofing | REV | a
89 | 21843 | 1 | PANEL | Siding | EDM USA, Inc. | REV | a
90 | 22316 | 1 | ROOFING | Underlayments | Epilay Inc | REV | a
91 | 22357 | 0 | ROOFING | Modified Bitumen Roof System | TechnoNicol-Vyborg, Ltd | NEW | a
92 | 23423 | 0 | PANEL | Siding | ABET, Inc. | NEW | a
93 | 24172 | 0 | ROOFING | Roofing Tiles | Boral Roofing / US Tile | NEW | a
Certification and Evaluation Entity Method
94 | 10338 | 19 | WINDOWS | Fixed | JELD-WEN | REV
| H.Makar's comment-Miami-DADE |  | Ext. lite not safety glazed per 2411.1.11
| D.Stoke's response |  | Regarding to the comment; the applicant is willing to revise the application to add the following notes under the limits of use/others:"WHEN INSTALLED IN THE HVHZ THIS PRODUCT IS TO BE INSTALLED AT 30' OR LESS ABOVE GROUND LEVEL."
| Staff analysis |  | As per the applicant’s response the application is being revised to add the following note under the limits of use/others:"WHEN INSTALLED IN THE HVHZ THIS PRODUCT IS TO BE INSTALLED AT 30' OR LESS ABOVE GROUND LEVEL." to address the public comment. No further action is needed.
| 10943 | 13 | WINDOWS | Double Hung | JELD-WEN | REV | a
| H.Makar's comment-Miami-DADE |  | Ext. lite not safety glazed per 2411.1.11
| D.Stoke's response |  | Section 2411.1.11 applies to HIGH-VELOCITY HURRICANE ZONES There are no products listed in this application as approved for use in HVHZ. SECTION 2411 HIGH-VELOCITY HURRICANE ZONES— WINDOWS, DOORS, GLASS AND GLAZING 2411.1.11 Exterior lite of glass in an insulated glass unit shall be safety glazed. Exceptions: 1. Large missile impact-resistant glazed assemblies. 2. Non missile impact units protected with shutters.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
95 | 15699 | 3 | WINDOWS | Single Hung | Custom Window Systems Inc. | REV | a
| H.Makar's comment-Miami-DADE |  | Ext. lite not safety glazed per 2411.1.11
| J.Lathrop's response |  | Regarding the comment for FL 15699-R3. The Evaluation Report ((FL15699_R3_AE_EvalReport726C (SH-3100, SH and IG, IMP)), under the Limitations of Use, point four, indicates " IG. glass with annealed outboard lite may not be used above 30 ft. from grade in HVHZ.” This should address the comment relating to FBC 2411.1.11.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
96 | 15814 | 3 | WINDOWS | Horizontal Slider | Custom Window Systems Inc. | REV | a
| H.Makar's comment-Miami-DADE |  | Ext. lite not safety glazed per 2411.1.11
| J.Lathrop's response |  | Regarding the comment for FL 15814-R3. The Evaluation Report (FL15814_R3_AE_EvalReport774C), under the Limitations of Use, point four, indicates " IG. glass with annealed outboard lite may not be used above 30 ft. from grade in HVHZ.” This should address the comment relating to FBC 2411.1.11.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
97 | 21457 | 1 | WINDOWS | Single Hung | Air Master Awning, LLC | REV | a
| H.Makar's comment-Miami-DADE |  | Ext. lite not safety glazed per 2411.1.11
| S.Moore's response |  | FL21457-R1 was submitted as a revision to include the note on Sheet 1 of the drawing stating “For installation over 30’ above grade, glazing shall comply with safety glazing requirements of the FBC”. This revision was in response to a similar comment made on FL21457-R0, which we responded to by proposing adding this note as-stated, which was deemed an acceptable response during the February 2017 Cycle, therefore we would maintain that no further changes to the application are necessary and request the comment be removed from the application.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
98 | 22382 | 1 | WINDOWS | Fixed | Ventana USA | REV | a
| H.Makar's comment-Miami-DADE |  | Ext. lite not safety glazed per 2411.1.11
| R.Amoruso's response |  | Section 2411.1.11 of the 6th Edition FBC is a requirement for the HVHZ only. As such, the installation drawing address this as follows. 1) Sheet 1, Note 8.3 includes a description of the glazing options for this product as it relates to the HVHZ and Non-HVHZ areas. In the HVHZ, Tempered exterior lite of the IGU is required in the HVHZ and optional in the Non-HVHA. Reference to Sheet 8 for additional detail is also made in Note 8.2 as discussed below in Item 2. 2) Sheet 8 Glazing Details 2 and 4 require the exterior lite to be Tempered for use in the HVHZ and Non-HVHZ whereas Glazing Details 1 and 3 allow for an Annealed exterior lite but limit it to Non-HVHZ areas only. Therefore, the requirement of Section 2411.1.11 is met by this clear delineation of when a Tempered exterior lite is required.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.