Florida Department of Business and Professional Regulation

FLORIDA BUILDING CODE AND STANDARDS

Review 1st Draft of the Technical Assistance Manual for Energy Simulation Tool Approval

## Summary of Comments and Proposed Changes Preview

| Page # | Section | Comments | Proposed Changes | Remarks |
| --- | --- | --- | --- | --- |
| 6 | 2 | Joel Neymark (JN) comment: The approval tests minimize differences in interpretation by providing explicit detailed descriptions of the test buildings that must be analyzed. For differences in the compliance software's algorithms, the Commission allows algorithms that yield equivalent results to those of the reference programs that are identified for each designated test suite. | The approval tests minimize differences in interpretation by providing explicit detailed descriptions of the test buildings that must be analyzed. For differences in the compliance software's algorithms, the Commission allows algorithms that yield similar results to those of the reference programs that are identified for each designated test suite. | See underline text |
| 19 | 5.1 | JN comment: For tests that DO NOT COMPLY, the vendor shall supply diagnostic output that indicates noncompliance and gives the TDV [define TDV] energy information needed to evaluate the test criteria | For tests that DO NOT COMPLY, the vendor shall supply diagnostic output that indicates noncompliance and gives the time dependent valuation energy information needed to evaluate the test criteria | See underline text |
| 21 | 6.1 | JN comment: the bulletized material is updated in Annex B23 of 140-2007 Addendum C or 140-2011 will have same – ASHRAE should publish these later this month, but we can figure out a way to get you internal version if you need them sooner. – or otherwise use the updated bullets from Judkoff and Neymark 2006] - Analytical Verification – in which the output from a program, subroutine, or algorithm is compared to the results from a known analytical solution for isolated heat transfer mechanism under simple boundary conditions - Empirical Validation – in which calculation results from a program, subroutine, or algorithm, is compared to monitored data from a real structure, test cell, or laboratory experiment - Comparative testing – in which a program is compared to itself or to other programs. The comparative approach included “sensitivity testing” and “intermodal comparisons.” | Replace bulletized text with text depicted below: Empirical Validation—in which calculated results from a program, subroutine, algorithm, or software object are compared to monitored data from a real building, test cell, or laboratory experiment. • Analytical Verification—in which outputs from a program, subroutine, algorithm, or software object are compared to results from a known analytical solution or a generally accepted numerical method for isolated heat transfer under very simple, highly constrained boundary conditions. • Comparative Testing—in which a program is compared to itself or to other programs. | updated bullets from Judkoff and Neymark 2006 |
| 23 |  | JN comment: edits per Barnaby, Fairey, Judkoff, Neymark emails of 10/4 and 10/5. Anything other than running Florida HERS BESTEST for only the Orlando climate is not workable, unless the Florida Commission wants to fund a research project to generate new reference results for other climates], Bill Wright: The intent of this section is reasonable – to show that the proposed compliance software complies with some accepted standard. Items 1) and 2) on page 22 make use of work described in the reference document (from 1997 work by NREL) on page 22. Unfortunately, the Tier 1 tests are the only ones we can find that any software vendors have compared to. Tier 2 tests are unnecessarily extreme, apply to a very small group in the market, and require a scope of effort out of proportion to the existing or likely future market. Tier 1 tests in Orlando will achieve the intent of this procedure. Item 3) asks vendors to use Appendix A in the Manual to “calculate the acceptable range”. This is an unnecessary complexity to burden vendors when the State should provide the acceptable range. Unfortunately, at least one of the three programs are no longer available and two of the three are longer supported. In addition, TMY3 data could be used for the 9 cities other than Orlando, but original data are not available. In addition, asking vendors to compute acceptable ranges for 9 cities multiplied by all the cases required for Tier 1 has the same problems discussed in the preceding section discussing item 3). Any criteria for acceptance should be supplied by the State, not generated by vendors. Items 5) through 9) on Page 23 are unworkable. They should be dropped entirely. We contacted the authors of the reference document and asked if the software to perform these tests as described on page 23 was available, and here is what Ron Judkoff replied in an email to us and Mo Madani: Ron Judkoff: “In August of 1997, NREL published “Home Energy Rating System Building Energy Simulation Test for Florida (Florida-HERS BESTEST)” in two volumes. Volume 1 was a User’s Manual and Volume 2 contained Reference Results. The reason for publishing this separate version of HERS BESTEST was that Phil Fairey was concerned that we did not emphasize conditions and issues important in the Florida climate enough in the original HERS BESTEST. I lost track of what the state of Florida did with this after it was published, but the requirements for the FY10 Florida code are misguided, inappropriate, and probably impossible to comply with. I don’t know what the immediate remedy is here, but I am happy to weigh in on what a more reasonable requirement should look like.” | Delete “Detail Testing Procedures” The State of Florida position is not to provide a range or additional reference results at this time. This burden remains on the Vendor. The following shall be deleted from the manual Detail Testing Procedures - Determine weather data for the following ten cities (use City Hall as reference address): Pensacola, Tallahassee, Jacksonville, Gainesville, Orlando, West Palm Beach, Miami, Key West, Naples and Tampa - Substitute the values in Table 2-1 - Run cases in the following Programs identified in the reference document - Blast 3.0 Level 215 - DOE 2.1 E-W54 - Serires/Suncode 5.7 - Repeat the test cases in the proposed compliance software program - Determine the pass/fail ranges as specified in Appendix A | Discussion on Orlando, Las Vegas or Colorado data Availability of reference programs - Blast 3.0 Level 215 - DOE 2.1 E-W54 - Serires/Suncode 5.7 |
| 29 | 7.1 | [JN comment: Heading General Requirements And Scope has no text. | Move text depicted below from Heading “Calculation software tools” to General Requirements Calculation procedures used to comply with this section shall be only compliance software tools approved by the Florida Building Commission to be capable of calculating the annual energy consumption of all building elements that differ between the standard reference design and the proposed design and shall include the following capabilities. - Computer generation of the standard reference design using only the input for the proposed design. The calculation procedure shall not allow the user to directly modify the building component characteristics of the standard reference design. - Building operation for a full calendar year (8760 hours). - Climate data for a full calendar year (8760 hours) and shall reflect approved coincident hourly data for temperature, solar radiation, humidity and wind speed for the building location. - Ten or more thermal zones. - Thermal mass effects. - Hourly variations in occupancy, illumination, receptacle loads, thermostat settings, mechanical ventilation, HVAC equipment availability, service hot water usage and any process loads. - Part-load performance curves for mechanical equipment. - Capacity and efficiency correction curves for mechanical heating and cooling equipment. - Printed code official inspection checklist listing each of the proposed design component characteristics from Table 506.5.1(1) determined by the analysis to provide compliance, along with their respective performance ratings (e.g., R-value, U-factor, SHGC, HSPF, AFUE, SEER, EF, etc.). | Will add section number s to remaining headings for additional clarity |
| 35 | 7.2 | ASHRAE Standard 140-2007 Tests JN comment: 140-2011 should be published by ASHRAE in late October – consider updating to that, and if yes, cite “140-2011 Class I tests of Section 5”] | Acceptable | Need copy of 140-2011 |
| 35 | ## 7.2 | JN comment: COMNET compliant software is required to perform the ASHRAE Standard 140-2007 suite of software tests and the results of these tests shall conform to the COMNET acceptance requirements [provide the COMNET document reference]. All tests shall be completed in accordance with the requirements of ASHRAE Standard 140-2007. The resulting estimates of energy consumption shall fall between the minimum and maximum values established by COMNET, unless a logical explanation is provided using the standard output report block for “anomalous results” provided with Standard 140-2007 Addendum a [this will also be included in 140-2011]. The portfolio folder for Appendix E contains spreadsheets wherein the software vendor enters the results of the Standard 140 simulations for comparison against the criteria. When results from candidate software fall outside the COMNET acceptance range or when candidate software is unable to perform one of the tests, the vendor shall provide an explanation of the reason as per ASHRAE Standard 140-2007 Addendum A [or -2011] requirements. The portfolio folder for Appendix E also contains a methodology paper that describes how the COMNET acceptance criteria were developed. | COMNET compliant software is required to perform the ASHRAE Standard 140-2007 suite of software tests and the results of these tests shall conform to the COMNET acceptance requirements [provide the COMNET document reference]. All tests shall be completed in accordance with the requirements of ASHRAE Standard 140-2007. The resulting estimates of energy consumption shall fall between the minimum and maximum values established by COMNET, unless a logical explanation is provided using the standard output report block for “anomalous results” provided with Standard 140-2007 Addendum a [this will also be included in 140-2011]. The portfolio folder for Appendix E contains spreadsheets wherein the software vendor enters the results of the Standard 140 simulations for comparison against the criteria. When results from candidate software fall outside the COMNET acceptance range or when candidate software is unable to perform one of the tests, the vendor shall provide an explanation of the reason as per ASHRAE Standard 140-2007 Addendum A [or -2011] requirements. The portfolio folder for Appendix E also contains a methodology paper that describes how the COMNET acceptance criteria were developed. | Insert COMMET document reference Underlined text added Update reference to depict Standard 140-2007 Addendum a Or 140-2011]. |
| 38 | ## Appendix A | JN comment: Appendix A Compare Annex B22 starting on p. 134 of attached pdf, which is the current ASHRAE pub galley (internal, not for distribution), versus your App A and make changes to appropriate sections of what you have to match the content changes (obviously formats, section #s, eqn #s, etc would remain in your context not ASHRAE's) Ron Judkoff: One comment….I would not refer to the change from N-1 to N in the “Acceptance Criteria” as a correction, but as a change. Also, I believe that when we made that change we also changed the “example” confidence interval criteria so that the target ranges remained the same. JN comment: I agree with you on the first note -- we changed to "N" per a comment by an industry professional, although one could develop a supporting argument to keep the "N-1" in the denominator. And yes on the second note, that's what we did. And the changes to the confidence coefficients for Florida-HERS BESTEST should be the same as those for HERS BESTEST, so that there are no changes to the acceptance ranges of Florida-HERS BESTEST Volume 2, but someone on the Florida side should double check that. | Change the equations to reflect only "N" in both numerator and denominator. | Update Appendix A to 140-2011 informative annex changes |
| 38 |  | JN comment: Update this for forthcoming 140-2007 Addendum B (will also be included in 140-2011) – check with Steve Ferguson if 140-2007-B is posted; I know 140-2007-C is not yet posted, but B might be.] | Acceptable | Need copy of 140-2011 |
| 42 |  | JN comment: Appendix B-delete | Appendix B is a hot hyperlink. Please double click to launch. This reference will remain in the manual. Appendix B currently contain: Model Validation and Testing: The Methodological Foundation of ASHRAE Standard 140 Preprint R. Judkoff National Renewable Energy Laboratory J. Neymark J. Neymark & Associates Presented at the ASHRAE 2006 Annual Meeting Quebec City, Canada June 24–29, 2006 |  |
| 43 |  | JN comment: References Judkoff and Neymark 2006 [enter in appropriate format using http://www.nrel.gov/docs/fy06osti/40360.pdf Same content as 8. Judkoff, R.; Neymark, J. (2006). Model Validation and Testing: The Methodological Foundation of ASHRAE Standard 140. ASHRAE Transactions: Papers Presented at the 2006 Annual Meeting, 24-28 June 2006, Quebec City, Canada. Atlanta, GA: American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc. (ASHRAE) Vol. 112, Pt. 2: pp. 367-376; NREL Report No. CP-550-41015. [JN comment: This looks like NREL Pubs may have a typo on the equivalent nrel report # as listed here?] Add COMNET Users Manual, ASHRAE 90.1,. | Update references to reflect changes Add COMMET User Manual, ASHRAE 90.1 | Need working url or electronic copies of reference documents |
|  |  | Comments from William Wright Forms 405 and 506 All forms required for submittal for permits (ie Form 405, 405, 506) should be shown in detail in the Manual or the Code. . It is unclear what data should be presented in these forms, without a provided template. Furthermore, allowing vendors to each have different formats will result in considerable frustration on the part of Inspectors and users | Add Forms to manual (create appendix C and D). State currently does not have these forms as a given template. Form for EPL Card may be useful also . | Need copies of Forms identified in the code. The EPL Display Card may be useful to add also. 405.4.3 Additional documentation. The code official shall require the following documents: 1. An EPL Display Card signed by the builder providing the building component characteristics of the proposed design shall be provided to the purchaser of the home at time of title transfer. |
|  |  | Comments from William Wright Table B2.2 from Normative Appendix B in the revised version of the Energy Code is referenced by the Manual, and requires knowledge contained in Energy Gauge (See section on Building Envelope, Standard Reference Design, Table B2.2). We assume these references to Energy Gauge should be removed. | State of FL states that the reference to Energy Guage was removed from the current draft of the 2010 Florida Building Code, Energy Conservation | Need the latest draft of the Florida building code |
|  | 23 | Comments from William Wright Table 2-1 without accompanying references | Scrub entire draft to add references where necessary. |  |