SECTION 301 
REFERENCED STANDARDS

301.0 General

The Standards (Std), and portions thereof, which are referred to in various parts of this Code shall be part of Chapter 13 of the Florida Building Code and are hereby declared to be a part of this Code.

Associated Air Balance Council, 1518 K Street, Suite 503, Washington, DC 20005. 
 AABC
Standard												Referenced
Reference											in code
Number				Title								Section number

AABC, 1989			Associated Air Balance Council National Standards 1989.		

American Architectural Manufacturers Association, 1827 Walden Office Square, Suite 104, Schaumburg, IL 60173-4268. 
 AAMA
Standard												Referenced
Reference											in code
Number				Title								Section number

AAMA/NWWDA 101/I.S.2-97	Voluntary Specifications for Aluminum, Vinyl (PVC) and Wood 
			Windows and Glass Doors

Air Conditioning Contractors of America 2800 Shirlington Road, Suite 300, Arlington, VA 22206 
 ACCA
Standard												Referenced
Reference											in code
Number				Title								Section number
 
ACCA Manual D-1995		Residential Duct Systems

ACCA Manual J-2003		Residential Load Calculation, Eighth Edition 

ACCA Manual N-1988		Commercial Load Calculation, Fourth Edition, 1988.			

Air Diffusion Council, 11 South LaSalle Street, Suite 1400, Chicago, IL 60603.
 ADC
Standard												Referenced
Reference											in code
Number				Title								Section number

ADC 1996			Flexible Duct Performance & Installation Standards, Third Edition.	

Air Movement and Control Association International, 30 West University Drive, Arlington Heights, IL 60004-1806.
 AMCA
Standard												Referenced
Reference											in code
Number				Title								Section number

AMCA 500-1989 		Test Methods for Louvers, Dampers, and Shutters				

American National Standards Institute, 25 West 43rd Street , New York, NY 10036
 ANSI
Standard												Referenced
Reference											in code
Number				Title								Section number

ANSI A112.18.1M-199989  	Finished and Rough Brass Plumbing Fixture Fittings. 

ANSI A117.1-98			Accessible and Usable Buildings and Facilities			403.7

ANSI C82.2-95			Method of Measurement for Fluorescent Lamp Ballasts.	

ANSI Z21.10.3-0193		American National Standard for Gas Water Heater, Volume 3, 
Storage, with Input Ratings above 75,000 Btu/h, Circulating Tank 
and Instantaneous Water Heaters Circulating Tank, Instantaneous 
and Large Automatic Storage Type Water Heaters

ANSI Z21.13a-199391		American National Standard for Gas-Fired Low-Pressure Steam and
				Hot Water Boilers

ANSI Z21.40.4-961994		American National Standard for Performance Testing and Rating of 
(with Addenda 1)			Gas-Fired, Air-Conditioning and Heat Pumping Appliances.

ANSI Z21.47a-2001-		Gas-Fired Central Furnaces (Except Direct Vent and
CAN/CGA 2.3-1993		Separated Combustion System Furnaces).
Addenda Z21.47A-95

ANSI Z21.56-200194		American National Standard for Gas-Fired Pool Heaters.

ANSI Z21.66-1994 		Automatic Vent Damper Devices for Use with Gas-Fired Appliances

ANSI Z83.8/ -0296		Gas Unit Heaters and Gas-Fired Duct Furnaces.
CGA 2.6

ANSI/NWWDA, I.S. 2-93 	Industry Standard for Wood Window Units.
	
Association of Home Appliance Manufacturers, 20 North Wacker Dr., Chicago, IL 60606
AHAM
Standard												Referenced
Reference											in code
Number				Title								Section number

ANSI/AHAM RAC1-03 92 	American National Standard for Room Air Conditioners.	

ANSI/ASME PTC4.1-91		American National Standard for Steam Generating Units

Association of Refrigerant Desuperheater Manufacturers, Inc, c/o Trevor-Martin, 4151 112 Terrace N, Clearwater, FL 33762. 
 ARDM
Standard												Referenced
Reference											in code
Number				Title								Section number
 
ARDM-88    			Residential Heat Recovery Installation Guide, First Edition, 1988.

Air-Conditioning and Refrigeration Institute Suite 200, 4100 North Fairfax Drive Arlington, VA 22203
 ARI
Standard												Referenced
Reference											in code
Number				Title								Section number
 
 700C9995			Specifications for Fluorocarbon and Other Refrigerants		1102.2.2.3

ARI Std. 210/240-1994		Unitary Air-Conditioningers and Air-Source Heat Pump Equipment.  

ARI Std. 310/380-1993		Packaged Terminal Air-Conditioners and Heat Pumps.		

ARI Std. 320-199893		Water-Source Heat Pumps.

ARI Std. 325-199893		Ground Water-Source Heat Pumps.

ARI Std. 330-199893  		Ground Source Closed-Loop Heat Pumps

ARI Std. 340/360-200093  	Commercial and Industrial Unitary Air-Conditioning and
				Heat Pump Equipment.

ARI Std. 365-1994		Commercial and Industrial Unitary Air-Conditioning Condensing Units.  

ARI Std. 460-2000		Remote Mechanical Draft Air Cooled Refrigerant Condensers

ARI Std. 520-199790		Positive Displacement Refrigerant Compressors, Compressor units
		and Condensing Units.

ARI Std. 550/590-199892 		Centrifugal or Rotary Screw Water Chilling Packages Using the	
(with Addenda)			Vapor Compression Cycle.

ARI Std. 560-2000 		Absorption Water Chilling and Water Heating Packages		

ARI Std. 590-92 			Reciprocating Water-Chilling Packages.

American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc.1791 Tullie Circle, NE Atlanta, GA 30329-2305
 ASHRAE
Standard												Referenced
Reference											in code
Number				Title								Section number

ASHRAE Handbook		HVAC Applications, 1999 95.					

ASHRAE Handbook		Fundamentals, 2001 1997.					

ASHRAE Handbook		HVAC Systems & Equipment, 2000 1996.
.
ASHRAE Handbook		Refrigeration, 20021994

ASHRAE, 19982			Cooling and Heating Load Calculation Principles Manual,
				Second Edition, McQuiston and Spitler  Curtis O. Pedersen, 
				Daniel E. Fisher, Jeffrey D. Spitler, Richard J. Liesen

ASHRAE, 1976			Energy Calculations I: Procedures for Determining Heating
				and Cooling Loads for Computerizing Energy Calculations

ANSI/ASHRAE Std.55-1992  	Thermal Environmental Conditions for Human Occupancy 55-92.

ANSI/ASHRAE Std. 62-200189	Ventilation for Acceptable Indoor Air Quality.		

ANSI/ASHRAE Std. 90.1-200189 Energy Efficient Design of New Buildings Except Low-Rise Residential Buildings.

ANSI/ASHRAE Std.93-1986	Methods of Testing to Determine the Thermal Performance
(RA91)				of Solar Collectors

ANSI/ASHRAE 124-1991	Methods of Testing for Rating Combination Space-Heating and Water-Heating Appliances 

ANSI/ASHRAE 137-1995		Methods of Testing for Efficiency of Space-Cconditioning/Water-Heating
(RA2001)  			Appliances That Include a Desuperheater Water Heater.
Std. 93-1986 AE
ANSI/ASHRAE 146-1998		Method of Testing for Rating Pool Heaters				

American Society of Mechanical Engineers Three Park Avenue New York, NY 10016-5990
 ASME
Standard											Referenced
Reference										in code
Number				Title							Section number

ANSI/ASME PTC 4.1-911964 	Steam Generating Units

ASTM International 100 Barr Harbor Drive West Conshohocken, PA 19428-2959
 ASTM
Standard											Referenced
Reference										in code
Number				Title							Section number

ASTM C36/C36M-03		Standard Specification for Gypsum Wallboard.			202

ASTM C90-01a 			Standard Specification for Loadbearing Concrete Masonry Units	

ASTM C 177-97 			Test Method for Steady-State Heat Flux Measurements and Thermal 
				Transmission Properties by Means of the Guarded-Hot-Plate Apparatus

ASTM C 236-89 (1993e1)		Test Method For Steady-State Thermal Performance of Building Assemblies 
				by Means of a Guarded Hot Box.

ASTM C272-91 			Test Method for Water Absorption of Core Materials for Structural Sandwich 
Constructions

ASTM C 335-9589		Test Method for Steady-State Heat Transfer Properties of Horizontal 
				Pipe Insulations.

ASTM C 516-0280 (1990) 	Vermiculite Loose Fill Thermal Insulation

ASTM C 518-0291		Test Mmethod for Steady-State Heat Flux Measurements and Thermal
			Transmission Properties by Means of the Heat Flow Meter Apparatus.

ASTM C 549-0281 (1995)		Perlite Loose Fill Insulation

ASTM C 578-0195		Rigid, Cellular Polystyrene Thermal Insulation

ASTM C 665-01el95		Mineral-Fiber Blanket Thermal Insulation for Light Frame
Construction and Manufactured Housing

ASTM C 727-0190		Standard Practice for Installation Use and Use Installation of Reflective
Insulation in Building Constructions.

ASTM C 739-2000el95		Cellulosic Fiber (Wood-Base) Loose-Fill Thermal Insulation

ASTM C 764-200294		Mineral Fiber Loose-Fill Thermal Insulation

ASTM C835-95 (1999) 		Standard Test Method for Total Hemispherical Emittance of Surfaces 
From 20ºC to 1400ºC

ASTM C 976-90 (1996)e1		Test Method for Thermal Performance of Building Assemblies
by Means of a Calibrated Hot Box.

ASTM C 1015-0284		Standard Practice for Installation of Cellulosic and Mineral
(1995)				Fiber Loose-Fill Thermal Insulation

ASTM C 1049-85		Standard Practice for Installation of Granular Loose Fill 
(1995)				Thermal Insulation

ASTM C 1158-0197		Standard Practice for Use and Installation of Radiant
Barrier Systems (RBS) in Building Construction

ASTM C 1224-0193	Reflective Insulation for Building Applications

ASTM C 1289-0295	Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board

ASTM C 1313-0095		Sheet Radiant Barriers for Building Construction Applications

ASTM C 1320-9995		Standard Practice for Installation of Mineral Fiber Batt and
			Blanket Thermal Insulation for Light Frame Construction

ASTM C 1321-1996		Standard Practice for Installation and Use of Interior Radiation Control
				Coating Systems (IRCC) in Building Construction
ASTM C 1321-96

ASTM C 1371-199897		Test  Method for Determination of Emittance of Materials Near Room
				Temperature Using Portable Emissometers.

ASTM D 4099-95		Poly Vinyl Chloride (PVC) Prime Windows.

ASTM E84-0198			Test Method for Surface Burning Characteristics of Building Materials	

ASTM E96-00 			Test Methods for Water Vapor Transmission of Materials

ASTM E 283-91	(1999)		Standard Test Method of Tests for Determining the Rate of Air Leakage   
	Through Exterior Windows, Curtain Walls and Doors Under Specified 	
	Pressure Differences Across the Specimen..

ASTM E408-71 (20021990) 	Test Methods for Total Normal Emittance of Surfaces Using Inspection-
Meter Techniques

ASTM E903-96 			Test Method for Solar Absorptance, Reflectance, and Transmittance of 
Materials Using Integrating Spheres

ASTM E1175-87 (1996) 		Standard Test Method for Determining Solar or Photopic Reflectance,Transmittance, 
and Absorptance of Materials Using a Large Diameter Integrating Sphere

ASTM E1918-97 		Standard Test Method for Measuring Solar Reflectance of Horizontal 
or Low-Sloped Surfaces in the Field

Cooling Technology Tower Institute, 2611 FM 1960 West, Suite H-200, Houston, TX 77068-3730.
 CTI
Standard											Referenced
Reference										in code
Number				Title							Section number

CTI ATC-105(97) 		Acceptance Test Code for Water Cooling Towers

CTI Std. 201-96 91	Certification Standard for Commercial Water Cooling Towers.
	Thermal Performance

Door and Access Systems Manufacturers Association, 1300 Sumner Avenue, Cleveland, OH 44115-2851.
DASMA

ANSI/DASMA 105-1992		Test Method for Thermal Transmittance and Air Infiltration of Garage Doors
(R 1998)	

United States Department of Energy, c/o Superintendent of Documents, U.S. Government Printing Office, Washington, DC 20402-9325.
 DOE
Standard												Referenced
Reference											in code
Number				Title								Section number

DOE, 10 CFR, Part 430		Uniform Test Method for Measuring the Energy Consumption 
Subpart B, App. E-1998		of Water Heaters.

DOE, 10 CFR Part 430		Uniform Test Method for Measuring the Energy Consumption 
Subpart B, App. M		of Central Air Conditioners

10 CFR, Part 430, 		Uniform Test Method for Measuring the Energy Consumption 
Subpart B, App N -1998	 	of Furnaces

DOE, 10 CFR, Part 430		Uniform Test for Measuring the Energy Consumption of Furnaces 
Subpart B, Appendices N & O	and Vented Home Heating Equipment
-1998

EPACT, 92			Energy Policy Act of 1992.
42 USC 6831, et seq	
Public Law 102-486
			
NAECA, 1987			National Appliance Energy Conservation Act of 1987.  

U.S. Federal Trade Commission, Sixth Street and Pennsylvania Avenue, N.W., Washington, DC 20580.
 FTC
Standard												Referenced
Reference											in code
Number				Title								Section number

FTC Rule, 16 CFR,		FTC Labeling and Advertising of Home Insulation.
Part 460, Amended 	
Effective 4/29/96			

FL-1				Florida Standard for Desuperheater/Water Heaters 
(See Appendix E of this Code).

Gypsum Association, 810 First Street N.E., Suite 510, Washington, DC 220002-4268.
 GA
Standard												Referenced
Reference											in code
Number				Title								Section number

GA 216-00			Recommended Specifications for the Application and Finishing of
		Gypsum Board.

Gas Appliance Manufacturers Association, PO Box 9245, Arlington, VA 22209..
 GAMA
Standard												Referenced
Reference											in code
Number				Title								Section number

GAMA				Consumers’ Directory of Certified Efficiency Ratings for Water 
				Heating Equipment

Hydronics Institute, PO Box 218, Berkeley Heights, NH 07922.
 HI
Standard												Referenced
Reference											in code
Number				Title								Section number

H.I., HBS 86-1989		Testing and Rating Standard for Heating Boilers.			

U.S. Dept. Housing and Urban Development, 451 7th Street, SW, Washington, DC 20410.
 HUD
Standard												Referenced
Reference											in code
Number				Title								Section number

HUD, 24 CFR 3282-3283	Manufactured Home Procedural and Enforcement Regulations

HUD, 42 CFR 70, s. 5401		Manufactured Home Construction and Safety Standards
(24 CFR 3280)

HUD, 42 USC 77, s. 6295	Energy Conservation Standards

Illuminating Engineering Society of North America, 120 Wall Street, 17th Floor, New York, NY 10005-4001.
 IESNA
Standard												Referenced
Reference											in code
Number				Title								Section number

IESNA, 90.1-2001 1987	Energy Standard for Buildings Except Low-Rise Residential Buildings
	Illuminating Engineering Society Lighting Handbook, 1984 Edition.

International Standards Organization, 1 rue de Varembe, Case postale 56, CH-1211 Geneve 20, Switzerland.
 ISO
Standard												Referenced
Reference											in code
Number				Title								Section number

ISO 9806 (1994, 1995)	Test Methods for Solar Collectors
Part 1: Thermal Performance of glazed liquid heating collectors
     including pressure drop", December 1, 1994.
Part 2: Qualification test procedures", August 15, 1995.
Part 3: Thermal performance of unglazed liquid heating collectors
      (sensible heat transfer only) including pressure drop", December 15, 1995.

ISO 13256-1 (1998) 		Water-Source Heat Pumps—Testing and Rating for Performance—Part 1
Water-to-Air and Brine-to-Air Heat Pumps

North American Insulation Manufacturers Association, 44 Canal Center Plaza, Suite 310, Alexandria, VA.
 NAIMA
Standard												Referenced
Reference											in code
Number				Title								Section number

NAIMA 1993			Fibrous Glass Duct Construction Standards. Second Edition, 1993.

NAIMA 1994			Fibrous Glass Duct Liner Standard

National Environmental Balancing Bureau, 8575 Grovemont Circle, Gaithersburg, MD 20877-4121.
 NEBB
Standard												Referenced
Reference											in code
Number				Title								Section number

NEBB, 1998 91			National Environmental Balancing Bureau, Procedural Standards
				For Testing and Balancing Environmental Systems

National Electrical Manufacturers Association, 1300 N 17th Street, Suite 1847, Rosslyn, VA 22209..
 NEMA
Standard												Referenced
Reference											in code
Number				Title								Section number

NEMA 	National Electric Manufacturers Association's Standard.

ANSI/NEMA MG 1-1998 87	Motors and Generators, Revision No.2, May and November
1989, September and November 1990, January and March,1991.

NEMA MG 10-199483		Energy Management Guide for Selection and Use of
(RA 1999)			Polyphase Motors.

NEMA MG 11-1977		Energy Management Guide for Selection and Use of Single-
(Revised 82, 87, 97)		Phase Motors.

National Fire Prevention Association, Batterymarch Park, Quincy, MA 02269.
 NFPA
Standard												Referenced
Reference											in code
Number				Title								Section number

NFPA 54/ANSI Z223.1		National Fuel Gas Code.

NFPA 90B-02			Standard for the Installation of Warm Air Heating and Air-
Conditioning Systems.

NFPA 96-01	Ventilation Control and Fire Protection of Commercial Vapor 
	Removal From Cooking Operations Equipment, 1994 Edition.	

National Fenestration Rating Council, Inc., 8484 Georgia Avenue, Suite 320, Silver Spring, MD 20910.
 NFRC
Standard												Referenced
Reference											in code
Number				Title								Section number

NFRC 100-01			Procedure for Determining Fenestration Product U-factors 
				Thermal Properties.

NFRC 200-01			Procedure for Determining Fenestration Product Solar Heat
				Gain Coefficients and Visible Transmitttance at Normal Incidence. 

NFRC 300-01	Standard Test Method for Determining the Solar Optical Properties
	of Glazing Materials and Systems.

NFRC 301-93 			Standard Test Method for Emittance of Specular Surfaces Using
Spectrometric Measurements

NFRC 400-01 			Procedure for Determining Fenestration Product Air Leakage

SBCCI	Standard Building Code, 1997 Edition.

SBCCI				Standard Mechanical Code, 1997 Edition.

Sheet Metal and Air-Conditioning Contractors’ National Association, Inc., 4201 Lafayette Center Dr., Chantilly, VA 20151-1209.
 SMACNA
Standard												Referenced
Reference											in code
Number				Title								Section number

SMACNA, 1st Ed.-1985		HVAC Air Duct Leakage Test Manual.

Solar Rating and Certification Corporation, c/o Florida Solar Energy Center, 1679 Clearlake Road, Cocoa, FL 32922-5703.
 SRCC
Standard												Referenced
Reference											in code
Number				Title								Section number

SRCC TM-1			Solar Domestic Hot Water System and Component Test Protocol, December 6, 2002.

Underwriters Laboratory, Inc., 333 Pfingsten Rd., Northbrook, IL 60062-2096.
 UL
Standard												Referenced
Reference											in code
Number				Title								Section number

UL 181-96			Standard for Factory-Made Air Ducts and Air Connectors, 9th Edition, 
1996.with revisions through December 1998.

UL 181A-94			Closure Systems for Use With Rigid Air Ducts and Air Connectors,
				Second Edition 1994 with revisions through December 1998.

UL 181B-95			Closure Systems for Use With Flexible Air Ducts and Air Connectors	
with revisions through May 2000.

UL 723-03			Standard for Test for Surface Burning Characteristics of Building Materials.

UL 726-95 	Standard for Oil-Fired Boiler Assemblies, with revisions through 
	January 2001.

UL 727-94	Standard for Oil-Fired Central Furnaces, with revisions through January 1999..

UL 731-95	Standard for Oil-Fired Unit Heaters, with revisions through January 1999...

UL 737-96	Standard for Fireplace Stoves, with revisions through January 2000.

UL 795-0194			Standard for Commercial-Industrial Gas Heating Equipment.

UL 1482-96	Standard for Solid-Fuel Type Room Heaters, Solid Fuel Type,.
with revisions through January 2000.

SECTION 302
ORGANIZATIONS
302.1 General 

This section contains a list by name and address of those agencies, associations, institutions and others that are referred to in this code by name, initials or symbols.

AAMA	American Architectural Manufacturers Association, 1827 Walden Office Square, Suite 1041, Schaumburg, IL 60173.

AABC		Associated Air Balance Council, 1518 K Street, Suite 503, Washington, DC 20005.

ACCA	Air Conditioning Contractors of America, 1712 New Hampshire Avenue, N.W., Washington, D.C. 20009. 

ADC	Air Diffusion Council, 11 South LaSalle Street, Suite 1400, Chicago, IL 60603.

AGA	American Gas Association, 1515 Wilson Boulevard, Arlington, VA 22209.

AHAM	Association of Home Appliance Manufacturers, 20 North Wacker Dr., Chicago, Il. 60606

ANSI	American National Standards Institute, Inc., 11 West 42nd Street, N.Y.,N.Y.10036.

ARDM	Association of Refrigerant Desuperheater Manufacturers, Inc., 190 Scarlet
Boulevard, Oldsmar, FL 34677.

ARI	Air-Conditioning and Refrigeration Institute 4301 North Fairfax Dr., Suite 425, Arlington , VA 22203.

ASHRAE	American Society of Heating, Refrigerating and Air-Conditioning Engineers,Inc., 1791 Tullie Circle, N.E., Atlanta, GA 30329.

ASTM	American Society for Testing  Materials, 100 Barr Harbor Dr, 
West Conshohocken, PA 19428-2959 

CTI	Cooling Technology Tower Institute, PO Office Box 73383, Houston, TX 77273.

CABO	Council of American Building Officials, 5203 Leesburg Pike, Suite 708,
Falls Church, VA 22041.

DOE	United States Department of Energy, 1000 Independence Ave. S.W., Washington, DC 20585.

FTC	Federal Trade Commission, Sixth Street and Pennsylvania Avenue, N.W., Washington, DC 20580.

GA	Gypsum Assoc., 810 First Street N.E., Suite 510, Washington, DC 20002.

GAMA	Gas Appliance Manufacturers Assoc, PO Box 9245, Arlington, VA 22209.

H.I.	Hydronics Institute, P.O. Box 218, Berkeley Heights, N.J. 07922.

IESNA	Illuminating Engineering Society, 120 Wall Street, 17th Floor, N.Y., N.Y. 
	10005-4001.

NAIMA	North American Insulation Manufacturers Association, 44 Canal Center Plaza, Suite 310, Alexandria, VA 22314.

NCSBCS	National Conference of States on Building Codes and Standards, Inc., 505 Huntmar Park Dr., Suite 210, Herndon, VA 22070.

NEBB	National Environmental Balancing Bureau, 8575 Grovemont Circle, Gaithersburg, MD 20877-4121.

NEMA	National Electrical Manufacturers Association,  2101 LStreet N.W., Suite 300, Washington, DC 20037-1526. 

NFPA	National Fire Prevention Assoc., Batterymarch Park, Quincy, MA 02269.	

NFRC	National Fenestration Rating Council, Inc., 1300 Spring Street, Suite 150,Silver Spring, MD 20910.

RIMA	Reflective Insulation Manufacturers Assoc, PO Box 90955, Washington, DC 29909.

SBCCI	Southern Building Code Congress International, Inc., 900 Montclair Road, Birmingham, AL 35213-1206.

SMACNA	Sheet Metal and Air-Conditioning Contractors’ National Association, Inc., 
4201 Lafayette Center Dr., Chantilly, VA 20151-1209 22021.

UL	Underwriters Laboratory, Inc., 333 Pfingsten Rd., Northbrook, Il. 60062-2096.

NWWDA	National Wood Window and Door Association, 1400 East Touhy Ave, 
		Suite G-54, Des Plaines, IL 60018.