Fire TAC

FBC TRACKING CHART: PROPOSED MODIFICATIONS

## 2006 Annual Interim Code Amendments to the 2004 Florida Building Code

This chart is organized according to mod/proponent, section number, and a summary of the proposed change for modifications related to the Technical Advisory Committee’s (TAC) area of responsibility.  Common designations are:

Admin: Integration of the administration and enforcement portions of all codes and private swimming pool barriers.

Elec: Related to Electrical codes and standards

Energy: Related to the energy codes and standards

Fire: Related to the Fire and life/safety issues as contained within the building code and standards.

Mech: Related to the Mechanical codes and standards.

PlumbGas: Related to the Plumbing, Gas and swimming pool codes and standards (except commercial pools and pool barriers).

SpecOcc: Codes and related standards associated with facilities for special occupancies that are regulated by state agencies.

Struc: Related to the Building code for structural, technical, and material requirements and wind standards.

The proposals are listed sequentially by code section number for the base code designated.  The proposed mod numbers are assigned by the BCIS web site as they are received.  They are assigned to the TAC which administers that specific subject area.  Notations concerning where a proposal has been assigned for action are made in the Comments column. For example, if the first proposed modification to the base code FBC-Mechanical code is for section 603.1.2 (related to duct construction), it would be assigned to the Energy TAC because the issue is with the energy chapter in the building base code.  This chart can be used for quick reference and for tracking the status of proposals.

Status Codes:

AS = Approved as submitted

AM = Approved as modified

NA = Not approved

W = Withdrawn

I = Insufficient (Incomplete or does not meet criteria)

| Mod # | Section/Chapter | Summary | TAC Action | Commission Action | Comment |
| --- | --- | --- | --- | --- | --- |
| Building |  |  |  |  |  |
| Eric Wasser 1628 Original | 202 | Adds a new definition for tenant. |  |  |  |
| James Gregory 1486 Original | 403.15 | Adds an exception exempting I-2 occupancies complying with s. 407, s. 419.3.12, and s. 420.3.16 from s. 909 smoke control systems. |  |  |  |
| Brad Schiffer 1930 Original | 403.15 | Adds an exception for 2 hr fire and smoke rated corridors serving dwelling units where the dwelling unit doors are less than 20 feet from the nearest exit. |  |  |  |
| Charles Brammer 1439 Original | 412.2.7 | Adds new section requiring fire separation in aircraft hangers per NFPA 409. |  |  |  |
| Monica Ross 1732 Original | 420.3.3.6, 423.14.2.1, 423.27.9.1, 423.27.10.1, 427.2.2.1, 427.1.3.1, 427.1.4.1, 427.1.4.2.13, 427.1.4.13.2 | Adds “as adopted by FFPC” after NFPA 101. |  |  |  |
| Joseph Holland 1475 Original | 704.2.3 | Adds “fire retardant treated wood” |  |  |  |
| Brad Schiffer 1927 Original | 705.1 | Deletes references to a 4 hour fire resistance rating. |  |  |  |
| Brad Schiffer 1928 Original | T705.4 | Deletes footnote c. |  |  |  |
| Brad Schiffer 1929 Original | 7007.14.1 | Adds an exception exempting elevator lobbies from a level of exit discharge provided the building is sprinklered and elevators below open into an elevator lobby. |  |  |  |
| James Schock 1066 Original | 708.1 | Deletes item 5 and the exception regarding fire resistant rating for Group B and S occupancies. |  |  |  |
| Anthony Apfelbeck 1291 Original | 708.1 | Adds an exception exempting fire resistant ratings for tenant wall separations in air craft hangers. |  |  |  |
| Charles Brammer 1438 Original | 708.1 | Adds an exception for aircraft hanger tenant wall separation. |  |  |  |
| Brad Schiffer 1300 Original | 708.3 | Adds an exception that exempts fire resistance ratings for walls that separate private parking from the access drive in parking garages. |  |  |  |
| Joseph Holland 1557 Original | 708.4.1 | Adds a new section for fire partitions continuous to the underside of the roof sheathing. |  |  |  |
| BOAF/Robert Boyer 1540 Original | 711.3 | Adds floor assemblies separating individual tenant spaces in the same building, and an exception exempting individual tenant space separations in covered mall buildings from fire resistance rating requirements. |  |  |  |
| Eric Wasser 1627 Original | 711.3 | Adds “tenant spaces not with covered malls” in front of dwelling units. |  |  |  |
| James Gregory 1538 Original | 712.5 | Adds section requiring signs or stenciling for walls required to have protected openings. |  |  |  |
| James Peterkin 1586 Original | 712.5 | Adds section requiring signs or stenciling for walls required to have protected openings. |  |  |  |
| Monica Ross 1727 Original | 903.6.2 | Adds “as adopted by FFPC” after NFPA 101. |  |  |  |
| Gene Boecker 1855 Original | 905.4 | Adds an exception that exempts a hose connection at the horizontal exit when the adjacent floor areas are reachable from the exit stairway hose connections. |  |  |  |
| Gene Boecker 1848 Original | 909.4.6, and Mechanical 513.4.6 | Adds an alternate of 1.5 times the calculated egress time. |  |  | Fire TAC and Mechanical TAC |
| Andrew Valente 1452 Original | 909.8.1 | Replaces 10 feet with 6 feet for the height of the lowest horizontal accumulating smoke layer (required egress system) in the smoke zone. |  |  | Section 513.8.1, FBC, Mechanical has the same provision. Recommend deferring to the Fire TAC and Mechanical TAC. |
| Gene Boecker 1839 Original | 909.9.2 and Mechanical 513.9.2 | Deletes text following the first sentence (relating to fuel equivalent radius and design fire). |  |  | Fire TAC and Mechanical TAC |
| Joseph Belcher 1910 Original | 1008.1.3.6 and R310.4 | Adds text such that the means of escape shall not be located within a first floor garage without a side hinged door leading directly to the exterior. |  |  |  |
| Daniel Paul 1352 Original | 1008.1.8.6 | Adds an exception for Group B occupancies allowing 2 doors in a series in 1 exit path visually observable by an attendant. |  |  | Need to add “Group” in front of B. |
| Daniel Paul 1354 Original | 1008.1.8.6 | See above. |  |  | Duplicate of 1352. |
| Daniel Paul 1363 Original | 1008.1.8.6 | See above. (See questions.) |  |  | Duplicate of 1352. |
| Jack Glenn 1077 Original | 1009.3 | Replaces exception 5 with exception 1 from s. 1009.3.1 |  |  | This Code change was already considered under the 2005 Supplement. |
| Victor Cavaleri 1272 Original | 1012.3 and 1012.4 | Adds an exception prohibiting passage of a 12” sphere between the top of a guard rail and the top of the floor or deck level. Adds an exception requiring one intermediate rail above floor level of porches and decks that are not more than 6 feet above mean high water level. Exempts a rail where docking a boat. |  |  |  |
| Brad Schiffer 1926 Original | 1016.1 | Adds an exception for corridors meeting the requirements of FFPC 101. |  |  |  |
| Jennifer Showalter 1235 Original | 1016.3 | Adds a fourth exception regarding occupancy corridor dead-ends: S-2 is unlimited, S-1 is limited to 50 feet; and when protected, 100 feet is permitted. |  |  |  |
| Monica Ross 1728 Original | 1024.6.2 | Adds “as adopted by FFPC” after NFPA 101. |  |  |  |
| Joseph Holland 1477 Original | 3104.3 | Adds an exception for fire retardant treated wood in roof construction of pedestrian walkways between connected Type I or II buildings. |  |  |  |
| Existing |  |  |  |  |  |
| Dennis Braddy 1325 Original | 505.1 | Adds an exception that exempts window replacement from egress requirements providing emergency escape and rescue clear openings are not changed by more than 5%. |  |  |  |
| Residential |  |  |  |  |  |
| Jack Glenn 1564 Original | R202 | Adds the word, exterior, to the definition of emergency escape and rescue opening. |  |  |  |
| Jack Glenn 1827 Original | R311.5.6.1 and R311.5.6.2 | Adds an exception allowing handrail height to vary when handrails become guardrails at the newel post. |  |  |  |
| Victor Cavaleri 1238 Original | R312.2 | Adds an exception requiring 1 rail above floor grade for decks, landings, etc. |  |  |  |
| Lorraine Ross 1829 Original | R314 | Replaces the text in section R314, Foam Plastic, adding definitions for foam plastic insulation and foam plastic interior trim; adds labeling, adds an exception for 4 inch thickness, adds NFPA 286, FM 4880, UL 1040, and UL 1715 and deletes ASTM E 84 and ASTM E 152 as approved tests, separates attics from crawl spaces, adds garage doors, interior finish, and sheathing. |  |  |  |
| Lorraine Ross 1844 Original | R316.4 | Adds exposed foam plastic insulation shall comply with R314. |  |  | See revised R314. |
| Monica Ross 1733 Original | R324.1 | Adds “as adopted by FFPC” after NFPA 101. |  |  |  |
| Eduardo Fernandez 1361 Original | R4403.7.4.7 | Renumbers section to R4403.7.3.7. |  |  |  |
| Eduardo Fernandez 1364 Original | R4403.7.4.8 | Renumbers section to R4403.7.3.8. |  |  |  |
| Eduardo Fernandez 1371 Original | R4410.2.5.1 | Replaces referenced section number R4403.7.4 with R4403.7.3. |  |  |  |
| Lorraine Ross 1831 Original | R4412.1.3.1.4 | Deletes ASTM E 84 and ASTM E 152 and replaces them with NFPA 286 or UL 1715. |  |  |  |