MECHANICAL TAC

FBC TRACKING CHART: PROPOSED MODIFICATIONS

### 2006 Annual Interim Code Amendments to the 2004 Florida Building Code

This chart is organized according to mod/proponent, section number, and a summary of the proposed change for modifications related to the Technical Advisory Committee’s (TAC) area of responsibility.  Common designations are:

Admin: Integration of the administration and enforcement portions of all codes and private swimming pool barriers.

Elec: Related to Electrical codes and standards

Energy: Related to the energy codes and standards

Fire: Related to the Fire and life/safety issues as contained within the building code and standards.

Mech: Related to the Mechanical codes and standards.

PlumbGas: Related to the Plumbing, Gas and swimming pool codes and standards (except commercial pools and pool barriers).

SpecOcc: Codes and related standards associated with facilities for special occupancies that are regulated by state agencies.

Struc: Related to the Building code for structural, technical, and material requirements and wind standards.

The proposals are listed sequentially by code section number for the base code designated.  The proposed mod numbers are assigned by the BCIS web site as they are received.  They are assigned to the TAC which administers that specific subject area.  Notations concerning where a proposal has been assigned for action are made in the Comments column. For example, if the first proposed modification to the base code FBC-Mechanical code is for section 603.1.2 (related to duct construction), it would be assigned to the Energy TAC because the issue is with the energy chapter in the building base code.  This chart can be used for quick reference and for tracking the status of proposals.

Status Codes:

AS = Approved as submitted

# AM = Approved as modified

NA = Not approved

W = Withdrawn

I = Insufficient (Incomplete or does not meet criteria)

| Mod # | Section/Chapter | Summary | TAC Action | Commission Action | Comment |
| --- | --- | --- | --- | --- | --- |
| 1089 SMD Research | 306.3.2 Subparagraph 2 | Require the device provided to alert the owner of problems with a condensate drain to also shut the unit down when it is not working properly. |  |  |  |
| 1093 SMD Research | 307.2.3 Subparagraph 2 | Add a water level detection device that will shut off equipment prior to overflow of a condensate pan as an alternative to a separate drain line. |  |  |  |
| 1094 SMD Research | 307.2.3 Subparagraph 3 | Require installation of an audible and visual alarm device to alert occupant when the water level detection device shuts off the equipment. |  |  |  |
| 1826 Arnie French | 307.2.6 | Proposed addition will add language to the current code to require overflow protection on coils that have no auxiliary drain and no means to install an auxiliary drain pan, ie rooftop units, downblow systems, etc. |  |  |  |
| 1836 Ernie MacFerran | 403.3 | Revise exception to Table 403.3 to clarify how occupant load is applied. |  |  |  |
| 1171 Guy VanMeulebrouck | 403.3.2 | Delete section on “Common ventilation system”. Replace with allowance for intermittent occupancies: where rooms are typically used for periods of 3 hours or less, ventilation air for that space can be reduced by half based on ratio of hours in use over 3 hr/3. |  |  |  |
| 1837 Ernie MacFerran | 507.2.2 | Add exception to Type II hood requirements for small warming ovens. |  |  |  |
| 1577 James Hasbrouck | 507.9 | To provide reasonable code protection for type I hoods when installed in wood structures. |  |  |  |
| 1840 Gene Boecker | B909.9.2 M513.9.2 | Removes extraneous language from the code |  |  | Defer to Mech/Fire. |
| 1178 Jack Glenn | 601.4 | Delete residential provisions for balanced return air from the mechanical code because of fire safety concerns. |  |  |  |
| 1551 Robert Trumbower | Chapter 7 | This proposal would return Chapter 7 to its original IMC content, rather than strive for consistency with the Fuel Gas Code |  |  |  |
| 1751 Ann Stanton | Chapter 15 | Update ASHRAE 62-2001 to 2004 editions to incorporate important addenda for ventilation criteria in section 403.4. |  |  |  |
| ## Residential Code |  |  |  |  |  |
| 1614 Robert Trumbower | M1304 (RES) | This change will make the language in the Residential Code M1304 consistent with the Fuel Gas Code 301.7 |  |  |  |