SpecOcc TAC

FBC TRACKING CHART: PROPOSED MODIFICATIONS

### 2006 Annual Interim Code Amendments to the 2004 Florida Building Code

This chart is organized according to mod/proponent, section number, and a summary of the proposed change for modifications related to the Technical Advisory Committee’s (TAC) area of responsibility.  Common designations are:

Admin: Integration of the administration and enforcement portions of all codes and private swimming pool barriers.

Elec: Related to Electrical codes and standards

Energy: Related to the energy codes and standards

Fire: Related to the Fire and life/safety issues as contained within the building code and standards.

Mech: Related to the Mechanical codes and standards.

PlumbGas: Related to the Plumbing, Gas and swimming pool codes and standards (except commercial pools and pool barriers).

SpecOcc: Codes and related standards associated with facilities for special occupancies that are regulated by state agencies.

Struc: Related to the Building code for structural, technical, and material requirements and wind standards.

The proposals are listed sequentially by code section number for the base code designated.  The proposed mod numbers are assigned by the BCIS web site as they are received.  They are assigned to the TAC which administers that specific subject area.  Notations concerning where a proposal has been assigned for action are made in the Comments column. For example, if the first proposed modification to the base code FBC-Mechanical code is for section 603.1.2 (related to duct construction), it would be assigned to the Energy TAC because the issue is with the energy chapter in the building base code.  This chart can be used for quick reference and for tracking the status of proposals.

Status Codes:

AS = Approved as submitted

AM = Approved as modified

NA = Not approved

W = Withdrawn

I = Insufficient (Incomplete or does not meet criteria)

| Mod # | Section/Chapter | Summary | TAC Action | Commission Action | Comment |
| --- | --- | --- | --- | --- | --- |
| 1301 Jon Hamrick | 304.2 | Correct an error in the code. Section 423, FBC, applies to community colleges. Section 423, FBC, has never applied to the state’s university system. |  |  |  |
| 1488 James Gregory | 419.2 | Adds IRTF to facility list |  |  |  |
| 1487 James Gregory | 419.2.1 | EditoriaL RE: scope of hospital reqts |  |  |  |
| 1498 James Gregory | 419.3 | Includes IRTFs in list of facilities |  |  |  |
| 1489 James Gregory | 419.3.1 | Editorial RE scope of hospitals |  |  |  |
| 1490 James Gregory | 419.3.3.1 | Clarifies requirements for ICU toilets. |  |  |  |
| 1497 James Gregory | 419.3.17.5 | Clarifies nurse call requirements |  |  |  |
| 1491 James Gregory | 419.3.9.7 | Labels for rated walls |  |  |  |
| 1492 James Gregory | 419.3.11.1 | Grammatical correction |  |  |  |
| 1493 James Gregory | 419.3.11.6 | Permits certain flex ducts |  |  |  |
| 1494 James Gregory | 419.3.12.1 | Revises fan shut down requirements |  |  |  |
| 1495 James Gregory | 419.3.14.5 | Revises location of fire pump |  |  |  |
| 1496 James Gregory | 419.3.15.3 | Clarifies requirements for fault analysis. |  |  |  |
| 1499 James Gregory | 419.4.1.1 | Revises hurricane requirements |  |  |  |
| 1507 James Gregory | 419.4.2 | Clarifies requirement |  |  |  |
| 1500 James Gregory | 419.4.2.1.1. | Clarifies Requirements |  |  |  |
| 1501 James Gregory | 419.4.2.2.2 | Code correlation |  |  |  |
| 1502 James Gregory | 419.4.2.2.3 | Editorial for clarity |  |  |  |
| 1503 James Gregory | 419.4.2.5.7 | Removes out of date requirement |  |  |  |
| 1504 James Gregory | 419.4.2.9.1.3 | Adds washer dryer to critical branch |  |  |  |
| 1505 James Gregory | 419.4.2.9.7 | Requires emergency electrical connection |  |  |  |
| 1506 James Gregory | 419.4.2.11 | Corrects reference |  |  |  |
| 1508 James Gregory | 420.2.2 | Formatting, editorial |  |  |  |
| 1509 James Gregory | 420.3.2.3 | Deletes out of date requirements. |  |  |  |
| 1510 James Gregory | 420.3.10.21 | Labeling of rated walls |  |  |  |
| 1511 James Gregory | 420.3.16.1 | Revises fan control |  |  |  |
| 1512 James Gregory | 420.3.19.6 | Locates fire pump |  |  |  |
| 1513 James Gregory | 420.3.24.1 | Clarifies nurse call requirements |  |  |  |
| 1514 James Gregory | 420.3.24.3 | Revises nurse call for clarity |  |  |  |
| 1515 James Gregory | 420.3.24.5 | Clarifies nurse call dome light location |  |  |  |
| 1516 James Gregory | 420.4.1.1 | Revises hurricane requirements. |  |  |  |
| 1526 James Gregory | 420.4.2 | Revises hurricane requirements/ |  |  |  |
| 1517 James Gregory | 420.4.2.1.1 | Clarifies intended number of residents |  |  |  |
| 1518 James Gregory | 420.4.2.2 | Code consistency |  |  |  |
| 1519 James Gregory | 420.4.2.2.3 | Revised to make requirements more clear. |  |  |  |
| 1520 James Gregory | 420.4.2.5.7 | Deletes out of date requirement |  |  |  |
| 1524 James Gregory | 420.4.2.9.1.3 | Adds washer and dryer to critical branch |  |  |  |
| 1525 James Gregory | 420.4.2.9.7 | Add emergency electrical connection. |  |  |  |
| 1527 James Gregory | 421.3.2.1 | Revises operating room requirements |  |  |  |
| 1528 James Gregory | 421.3.2.2 | Editorial for clarity |  |  |  |
| 1529 James Gregory | 421.3.3.2 | Revises operating room requirements. |  |  |  |
| 1530 James Gregory | 421.3.5.1 | Adds reference for code consistency and clarity. |  |  |  |
| 1531 James Gregory | 421.3.7.1 | Revises requirements for smoke control. |  |  |  |
| 1532 James Gregory | 421.3.9.6 | Revises location of fire pump access. |  |  |  |
| 1533 James Gregory | 421.3.10.5 | Revises O.R. light requirements |  |  |  |
| 1534 James Gregory | 421.3.10.6.4 | Clarifies type of receptacle |  |  |  |
| 1535 James Gregory | 421.3.11.1 | Clarifies dome light requirement. |  |  |  |
| 1536 James Gregory | 421.3.11.3 | Clarifies dome light requirement |  |  |  |
| 1537 James Gregory | 421.3.13.5 | Adds reference for code consistency. |  |  |  |
| 1395 Lynn Lefebvre | 423.5.5.1 | Allow exterior courtyards to be secured with walls or fences and allow egress from the exterior courtyard by means of doors from courtyard |  |  |  |
| 1402 Lynn Lefebvre | 423.5.5.2 | Clarify the definition of "enclosed courtyard” |  |  |  |
| 1302 Jon Hamrick | 423.6.1 | This change clarifies that the Florida Edition of NFPA 101 applies to the construction of emergency rescue windows in Florida’s public educational facilities. |  |  |  |
| 1303 Jon Hamrick | 423.7.6 | This change clarifies existing requirements for gas valves in public educational buildings |  |  |  |
| 1304 Jon Hamrick | 423.7.7 | This change reorganizes and clarifies the current requirements for fire detection devices in public educational buildings. |  |  |  |
| 1468 Joe Holland | 423.11 | Bring this section into conformance with the provisions governing the use of FRTW in all occupancies. |  |  |  |
| 1467 1467_Comment1 Joe Holland | 423.11.1 | Current provisions in 423.11 do not correlate with the provisions for FRTW contained in the rest of the FBC. This change will refer to the standards, testing, and labeling requirements mandated to FRTW in all occupancies. Corrects format of Original 1467 |  |  |  |
| 1469 Joe Holland | 423.11.2 | Section does not give the standards for testing the FRTW. Proposal adds reference to the appropriate section in the code. |  |  |  |
| 1470 Joe Holland | 423.11.5 | Current section does not require the appropriate testing for FRTW. Refers to E84. E84 is 10 minute test. FRTW must be tested for 30 minutes total. Proposal eliminates conflict. |  |  |  |
| 1471 Joe Holland | 423.11.6 | Eliminates reference to an AWPA product. One does not exist. Will also require the 30 minute test for FRTW. |  |  |  |
| 1472 Joe Holland | 423.11.7 | Make section consistent with rest of FBC. Eliminates unsubstantiated prohibition on use of nationally recognized material for interior wood studs in this occupancy |  |  |  |
| 1305 Jon Hamrick | 423.13.8 | Breaks up section for windows for requirements for public educational buildings so that designers and code enforcement officials can easily recognizes that there are three separate and unique requirements for windows |  |  |  |
| 1306 Jon Hamrick | 423.14.2.1, 423.27.9.1 | This change clarifies that the Florida Edition of NFPA 101 applies to the construction of emergency rescue windows in Florida’s public educational facilities. |  |  |  |
| 1307 Jon Hamrick | 423.14.3 | This change clarifies that objects installed below 6 feet 8 inches are hazardous in public educational buildings |  |  |  |
| 1308 Jon Hamrick | 423.14.8 | Deletes duplicate provisions for hazardous signage found elsewhere in the code. |  |  |  |
| 1309 Jon Hamrick | 423.15.1 | Clarifies requirements for gas piping not be installed in or above interior corridors or stairwells in public educational buildings. |  |  |  |
| 1310 Jon Hamrick | 423.15.2 | The change clarifies that corridors shall not be used as plenums in public educational buildings. |  |  |  |
| 1311 Jon Hamrick | 423.15.3 | This change clarifies that residential type range hoods in educational facilities do not require fire suppression systems in certain locations. |  |  |  |
| 1313 Jon Hamrick | 423.15.5 | This change will insure that science rooms and labs in public educational buildings are ventilated in such a manner that chemical fumes and vapors originating from them are not re-circulated to the rest of the building. |  |  |  |
| 1314 Jon Hamrick | 423.16.1 | This change clarifies how fixture counts are determined for public educational facilities, the location of toilet rooms and the use of unisex toilet rooms. |  |  |  |
| 1315 Jon Hamrick | 423.16.2 | This change recognizes the fact that community college faculty/staff and students are all adults and separate staff and student toilets are not required. |  |  |  |
| 1316 Jon Hamrick | 423.16.11 | This change will require a dousing shower/eyewash in demonstration classrooms/labs where only the instructor handles chemicals in public educational facilities. |  |  |  |
| 1317 Jon Hamrick | 423.16.12 | This change prevents sewer gases from being drawn from the sewer system into a room plenum and circulated throughout the building by air handling equipment in public educational facilities. |  |  |  |
| 1318 Jon Hamrick | 423.17.6 | Adds the word “Sauna” to the title of the section. |  |  |  |
| 1319 Jon Hamrick | 423.20.3 | This change requires custodial closet to be located within 150 feet travel distance from spaces in public educational buildings. |  |  |  |
| 1320 Jon Hamrick | 423.21.7 | Adds residential type range to the requirements for residential kitchens in public educational child care/day care facilities. |  |  |  |
| 1321 Jon Hamrick | 423.22.3.5 | This change clarifies that sinks are required in both male and female clinic rooms when separated clinic rooms are provided public educational facilities. |  |  |  |
| 1322 Jon Hamrick | 423.25.1 | Delete the words “core facility” from scope requirements for EHPAs |  |  |  |
| 1630 Danny Kilcollins | 423.25.1 | Glitch amendment proposal to strike the word "core" from section 423.25.1 |  |  |  |
| 1312 Jon Hamrick | 423.25.4.3.2 | This change clarifies that all EHPAs must be provided with mechanical sventilation for the health and safety of occupants |  |  |  |
| 1474 Joe Holland | 423.27.7 | Type III construction is not permitted for these structures. Proposal eliminate the reference and allows the material to be used consistent with the FBC |  |  |  |
| 1323 Jon Hamrick | 423.27.10.1 | This change clarifies that the Florida Edition of NFPA 101 applies to the construction of emergency rescue windows in Florida’s public educational facilities |  |  |  |
| 1324 Jon Hamrick | 423.28 | Deletes requirements for existing relocatable buildings and factory built schools. |  |  |  |
| 1629 Anna Fentriss | 437 (proposed) | Add construction standards for hospice inpatient facilities and units and hospice residences to Florida Building Code per chapter 2005-191, Laws of Florida |  |  |  |
| 1434 Lee Rigby | 3001.1, 3001.2, Ch 35 | This proposal is to delete an adopted code that is unenforceable due to a conflict with Florida Statutes Chapter 399.03(7) |  |  |  |
| 1284, 1287 (same) Steve Powell | 3001.2 | Proposed Modification to FBC Chapter 30, Section 3001.2 amends the elevator safety standard from 2000 edition to 2004 edition with 2005 addenda and supplement. It will enhance the safety standard by which elevators are installed in Florida |  |  |  |
| 1433 Lee Rigby | 3001.2, Ch. 35 | Adoption of latest ASME A17.1 Codes |  |  |  |
| 1435 Lee Rigby | 3002.8 | This proposal corrects FBC wording to match newer adopted codes. Will also eliminate problems associated with elevator recall from detectors at unenclosed elevator lobbies. |  |  |  |
| 1436 Lee Rigby | 3008.1 | To move a rule from Florida Administrative Code Chapter 61C-5 regarding numbering of elevators to the FBC where it is more appropriate. |  |  |  |
| 1437 Lee Rigby | Ch 35 | Proposal to adopt newest edition of ASME A18.1 which has many corrections to the currently adopted edition |  |  |  |
| 1362 Steve Powell | Ch 35 | Per M. Ross request, copies of the Code Modification Requests to Chapters 30 and 35 and copies of ASME A17.1- 2004; A17.1a-2005; A17.1S-2005 safety standards are being sent to M.Ross via UPS from ASME. ASME reference #422704. |  |  |  |
| 1539 James Gregory | Ch 35 | Updates reference standard to current edition. |  |  |  |
| ## RESIDENTIAL CODE |  |  |  |  |  |
| 1921 Timothy Reinhold | R301.2.5 | Deletes the requirement for structures seaward of coastal construction line to be designed to resist 100 year storm event. |  |  |  |
| Misplaced Mods: |  |  |  |  |  |
| 1585 James Peterkin | 403.15 | Proposal to exempt high- rise hospitals from smoke control requirements. This proposal was accepted by the Fire TAC in June 2003 but was missed in the change to the IBC base code. |  |  | This mod should be reviewed by Mechanical/Fire |