PREFACE. Change to read as shown:

The base codes for the 2007 edition of the Florida Building Code include: the International Building Code, 2006 edition; the International Plumbing Code, 2006 edition; the International Mechanical Code, 2006 edition; the International Fuel Gas Code, 2006 edition, the International Residential Code, 2006 edition; the International Existing Building Code, 2006 edition; the National Electrical Code, 2005 edition; the U.S. Department of Housing and Urban Development’s Fair Housing Guidelines and; substantive criteria from the American Society of Heating, Refrigerating and Air-conditioning Engineers’ (ASHRAE) Standard 90.1-2001.  State and local codes adopted and incorporated in the Code include the Florida Energy Efficiency Code for Building Construction, the Florida Accessibility Code for Building Construction and special hurricane protection standards for the High Velocity Hurricane Zone.

Add to read as shown.

Note:  throughout the document, change International Building Code to Florida Building Code, Building; change the ICC Electrical Code to Chapter 27 of the Florida Building Code, Building; change the International Energy Conservation Code to Chapter 13 of the Florida Building Code, Building; change the International Existing Building Code to Florida Building Code, Existing Building; change the International Fire code to Florida Fire Prevention Code; change International Fuel Gas Code to Florida Building Code, Fuel Gas; change the International Mechanical Code to Florida Building Code, Mechanical; change the International Plumbing Code to Florida Building Code, Plumbing; change the International Residential Code to Florida Building Code, Residential.

CHAPTER 1:  ADMINISTRATION

R101.1  Change to read as shown:

R101.1 Title. These provisions shall be known as the Florida Building Code, Residential, and shall be cited as such and will be referred to herein as “this code.”

R101.2  Change to read as shown:

R101.2 Scope. The provisions of the Florida Building Code, Residential, shall apply to the construction, alteration, movement, enlargement, replacement, repair, equipment, use and occupancy, location, removal and demolition of detached one– and two–family dwellings and multiple single–family dwellings (townhouses) not more than three stories above grade in height with a separate means of egress and their accessory structures.

Exception: Existing buildings undergoing repair, alteration or additions, and change of occupancy shall comply with the Florida Existing Building Code.

R101.2.1 The provisions of Chapter 1, Florida Building Code, Building, shall govern the administration and enforcement of the Florida Building Code, Residential.

R101.3 Purpose.  Change to read as shown.

R101.3 Purpose.  Reserved.

R102 through R114 Change to read as shown:

Sections R102 through R114 Reserved.

CHAPTER 2:  DEFINITIONS

R201.1  Change to read as shown:

R201.1 Scope. Unless otherwise expressly stated, the following words and terms shall, for the purposes of this code, have the meanings indicated in this chapter.

HIGH-VELOCITY HURRICANE ZONE (HVHZ). This zone consists of Broward and Dade counties.

R201.3  Change to read as shown:

R201.3 Terms defined in other codes. Where terms are not defined in this code such terms shall have meanings ascribed to them as in other code publications of the Florida Building Commission.

R201.4  Change to read as shown:

R201.4 Terms not defined.  Where terms are not defined through the methods authorized by this section, such terms shall have the meanings as defined in Webster’s Third New International Dictionary of the English Language Unabridged.

R202  Definitions.  Change the following definitions to read as follows:

ACCESSIBLE. Having access to but which first may require the removal of a panel, door or similar covering of the item described (see Readily Accessible)

Section R202, Definitions.  Add the following definition:

Air-impermeable insulation.  An insulation having an air permeance equal to or less than 0.02 L/s-m2 at 75 Pa pressure differential tested according to ASTM E 2178 or E 283.  [Mod 2059r]

APPLICABLE GOVERNING BODY. A city, county, state, state agency or other political government subdivision or entity authorized to administer and enforce the provisions of this code, as adopted or amended. Also applies to administrative authority.

ARCHITECT.  A Florida-registered architect.

AWNING: Any rigid or movable (retractable) roof-like structure, cantilevered, or otherwise entirely supported from a building.  An awning is comprised of a lightweight rigid or removable skeleton structure over which an approved cover is attached.

BALLOON-FRAME CONSTRUCTION. A method of construction where the studs are continuous from floor to floor to the roof of the structure.  [Mod 2264]

BASIC WIND SPEED. Three-second gust speed at 33 feet (10,058 MM) above the ground as given in Figure R301.2(4).

BRACED WALL LINE. A series of braced wall panels in a single story constructed in accordance with Section R602.2.10 for wood framing or Section R603.7 for cold-formed steel framing to resist racking from wind forces.

BRACED WALL PANEL. A section of a braced wall line constructed in accordance with Section R602.2.10 for wood framing or Section R603.7 or R301.1.1 for cold-formed steel framing, which extend the full height of the wall.

CANOPY: Any fixed roof-like structure, not movable like an awning, and which is cantilevered in whole or in part self-supporting, but having no side walls or curtains other than valances not more than 18 inches (457 mm) deep.  Lean-to canopies, fixed umbrellas and similar structures are included in this classification. Structures having side walls or valances more than 18 inches (457 mm) deep shall be classified as a tent as set forth herein.

CIRCULAR STAIRS. A stairway with steps that result in a sweeping circular or curved pattern, but not spiral stairs.

COMMISSION. Means the Florida Building Commission created by this part.

DECORATIVE CEMENTITIOUS COATING. A skim coat, as defined in ASTM C 926, of Portland cement-based plaster applied to concrete or masonry surfaces intended for cosmetic purposes.

EMERGENCY ESCAPE AND RESCUE OPENING. An operable window, door or similar device that provides for a means of escape and access for rescue in the event of an emergency.

ENGINEER. A Florida-registered engineer.

ENFORCEMENT AGENCY.

Local enforcement agency. Means an agency of local government with authority to make inspections of buildings and to enforce the codes which establish standards for design, construction, erection, alteration, repair, modification or demolition of public or private buildings, structures or facilities.

State enforcement agency. Means the agency of state government with authority to make inspections of buildings and to enforce the codes, as required by this part, which establish standards for design, construction, erection, alteration, repair, modification or demolition of public or private buildings, structures or facilities.

FABRIC COVERED FRAMEWORK (FCF): A non-pressurized structure which is composed of a rigid framework to support tensioned membrane or fabric which provides the weather barrier.

Add a definition to read as shown:  [Added in the June 27, 2007 Commission Meeting]

FIRE SEPARATION DISTANCE. The distance measured from the building face to one of the following:

1. To the closest interior lot line; or

2. To the centerline of a street, an alley, easement or public way; or

3. To an imaginary line between two buildings on the lot.

The distance shall be measured at a right angle from the face of the wall.

FOAM PLASTIC INTERIOR TRIM. Foam plastic used as picture molds, chair rails, baseboards, handrails, ceiling beams, door trim and window trim and meeting the requirements of Section R314.6.

FRAMEWORK. A skeletal or structural frame; an openwork frame structure.

Garage Door Manufacturer.  The party responsible for the completed assembly of the garage door components.  [Mod 2372]

Section R202, Definitions.  Change to read as shown.

HABITABLE SPACE.  A space in a structure for living, sleeping, eating or cooking.  Bathrooms, toilet compartments, closets, halls, screen enclosures, sunroom Categories I, II and III as defined in the AAMA/NPEA/NSA 2100, storage or utility space and similar areas are not considered habitable space.  [Mod 2690]

HEATING. See Chapter 28 of the Florida Building Code, Building and the Florida Building Code, Mechanical.

HIGH VELOCITY HURRICANE ZONE. This zone consists of Broward and Dade counties.

INSULATING CONCRETE FORM (ICF). A concrete forming system using stay-in-place forms of rigid foam plastic insulation, a hybrid of cement and foam insulation, a hybrid of cement and wood chips, or other insulating material for constructing cast-in-place concrete walls.

LANDSCAPE ARCHITECT. A Florida registered Landscape Architect.

LIVE LOADS. Those loads produced by the use and occupancy of the building or other structure and do not include construction or environmental loads such as wind load, rain load, flood load or dead load.

MANUFACTURED HOME (Mobile Home). Any residential unit, constructed to standards promulgated by the United States Department of Housing and Urban Development (HUD), away from the installation site, and which bears the HUD label.

MODULAR HOME. Any residential unit, constructed to standards promulgated by the Florida Building Commission, away from the installation site, and which bears a Department of Community Affairs Insignia.

MATERIAL CODE VIOLATION. A material code violation is a violation that exists within a completed building, structure or facility which may reasonably result, or has resulted, in physical harm to a person or significant damage to the performance of a building or its systems.

MATERIAL VIOLATION. As defined in Florida Statutes.

MEANS OF ESCAPE. A way out of a building or structure that does not conform to the strict definition of means of egress but does provide an alternate way out. A means of escape consists of a door, stairway, passage or hall providing a way of unobstructed travel to the outside at street or ground level that is independent of and remotely located from the means of egress. It may also consist of a passage through an adjacent nonlockable space, independent of and remotely located from the means of egress, to any approved exit.

NATURALLY DURABLE WOOD.  The heartwood of the following species with the exception that an occasional piece with corner sapwood is permitted if 90 percent or more of the width of each side on which it occurs is heartwood:

- Decay resistant – Redwood, cedar, black locust and black walnut.

- Termite resistant – Redwood and Eastern red cedar.

OPENINGS.  Apertures or holes in the building envelope which allow air to flow through the building envelope and which are designed as “open” during design winds as defined by these provision.

Permanent Label.  A label that cannot be removed without noticeable damage.  [Mod 2374r]

PLANS. All construction drawings and specifications for any structure necessary for the building official to review in order to determine whether a proposed structure, addition or renovation will meet the requirements of this code and other applicable codes.

REGISTERED TERMITICIDE. Product listed as registered for use as a preventative treatment for termites for new construction by the Florida Department of Agriculture and Consumer Services under authority of Chapter 487, Florida Statutes.

RESIDENT SLEEPING UNIT. A single unit providing sleeping facilities for one or more persons. Resident sleeping units can also include permanent provisions for living, eating and sanitation, but do not include kitchen facilities.

RETAINING WALL, SEGMENTAL. A retaining wall formed of modular block units stacked dry without mortar.

SCREEN ENCLOSURE. A building or part thereof, in whole or in part self-supporting, and having walls of insect screening with or without removable vinyl or acrylic wind break panels and a roof of insect screening, plastic, aluminum or similar lightweight material.

SEISMIC DESIGN CATEGORY.  Reserved.

SEPARATE ATMOSPHERE.  The atmosphere that exists between rooms, spaces or areas that are separated by an approved smoke barrier.

SHEAR WALL. A general term for walls that are designed and constructed to resist racking from wind by use of masonry, concrete, cold-formed steel or wood framing in accordance with Chapter 6 of this code and the associated limitations in Section R301.2 of this code.

SPIRAL STAIRS. A stairway with steps that have a central connecting point, and the travel path is a corkscrew or spiral.

STREET. Any public thoroughfare, street, avenue, boulevard or space more than 20 ft (6096 mm) wide which has been dedicated or deeded for vehicular use by the public and which can be used for access by fire department vehicles.

SUNROOM.

- A room with roof panels that include sloped glazing that is a one-story structure added to an existing dwelling with an open or glazed area in excess of 40 percent of the gross area of the sunroom structure’s exterior walls and roof.

- A one-story structure added to a dwelling with structural roof panels without sloped glazing. The sunroom walls may have any configuration, provided the open area of the longer wall and one additional wall is equal to at least 65 percent of the area below 6 foot 8 inches of each wall, measured from the floor. For the purposes of this code term sunroom as used herein shall include conservatories, sunspaces, solariums, and porch or patio covers or enclosures.

TOWNHOUSE. A single-family dwelling unit constructed in a group of three or more attached units with property lines separating each unit in which each unit extends from foundation to roof and with open space on at least two sides.

UNUSUALLY TIGHT CONSTRUCTION. Construction meeting the following requirements:

1.	Walls comprising the building thermal envelope have a continuous water vapor retarder with a rating of 1 perm [57.4 ng/(s · m2 · Pa)] or less with openings therein gasketed or sealed.

2.	Doors and openable windows meet the air leakage requirements of Chapter 13, Section 606 of the Florida Building Code, Building; and

3.	Caulking or sealants are applied to areas such as joints around window and door frames between sole plates and floors, between wall-ceiling joints, between wall panels, at penetrations for plumbing, electrical and gas lines, and at other openings.

VALUE. The estimated current replacement cost of the building in kind.

WIND-BORNE DEBRIS REGION.

1.	Areas within one mile (1.6 km) of the coastal mean high water line where the basic wind speed is 110 mph (49 m/s) or greater.

2.	Areas where the basic wind speed is 120 mph (53 m/s) or greater except from the eastern border of Franklin County to the Florida-Alabama line where the region includes areas where design to 130mph or higher wind speeds is required and areas within 1500 feet of the coastal mean high water line.

Portions of hurricane- prone regions that are within 1 mile (1.61 km) of the coastal mean high water line where the basic wind speed is 110 mph (48 m/s) or greater; or portions of hurricane-prone regions where the basic wind speed is 120 mph (53 m/s) or greater; or Hawaii.

CHAPTER 3  BUILDING PLANNING

R301.1  Change to read as shown:

R301.1 Application. Buildings and structures, and all parts thereof, shall be constructed to safely support all loads, including dead loads, live loads, roof loads, flood loads, and wind loads as prescribed by this code. The construction of buildings and structures in accordance with the provisions of this code shall result in a system that provides a complete load path that meets all requirements for the transfer of all loads from their point of origin through the load-resisting elements to the foundation. Buildings and structures constructed as prescribed by this code are deemed to comply with the requirements of this section.

EXCEPTION: Buildings and structures located within the High Velocity Hurricane Zone shall comply only with Sections R302 to R325, inclusive and the provisions of Chapter R44.

R301.2  Change to read as shown:

R301.2 Climatic and geographic design criteria. Buildings shall be constructed in accordance with the provisions of this code as limited by the provisions of this section. Additional criteria shall be as set forth in Table R301.2(1).

R301.2.1 Change to read as shown:

R301.2.1 Wind limitations. Buildings and portions thereof shall be limited by wind speed, as defined in Table R301.2(1) and construction methods in accordance with this code. Basic wind speeds shall be determined from Figure R301.2(4). Where different construction methods and structural materials are used for various portions of a building, the applicable requirements of this section for each portion shall apply. Where loads for wall coverings, curtain walls, roof coverings, exterior windows, skylights and exterior doors (other than garage doors) are not otherwise specified, the loads listed in Table R301.2(2) adjusted for height and exposure using Table R301.2(3) shall be used to determine design load performance requirements for wall coverings, curtain walls, roof coverings, exterior windows, skylights, and exterior doors(other than garage doors). Where loads for garage doors are not otherwise specified, the loads listed in Table R301.2(4) adjusted for height and exposure per Table R301.2(3), shall be used to determine design load performance requirements.  Asphalt shingles shall be designed for wind speeds in accordance with Section R905.2.6.

Table R301.2(1) Climatic and Geographic Design Criteria.  Change to read as shown.

TABLE R301.2(1)

CLIMATIC AND GEOGRAPHIC DESIGN CRITERIA

| GROUND SNOW LOAD | WIND SPEEDe (mph) | SEISMIC DESIGN CATEGORYg | SUBJECT TO DAMAGE FROM |  |  |  |  | WINTER DESIGN TEMPf | ICE SHIELD UNDER- LAYMENT REQUIREDi | FLOOD HAZARDSh | AIR FREEZING INDEXj | MEAN ANNUAL TEMPk |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Weatheringa | Frost line depthb | Termitec |  | Decay |  |  |  |  |  |
| NA | See Fig. R301.2(4) | NA | Negligible | NA | Very heavy | Moderate to severe |  |  | NA | See R323 | NA | NA |

For SI: 1 pound per square foot = 0.0479 kN/m2, 1 mile per hour =1.609 km/h.

- a. Weathering is “negligible” for concrete as determined from the Weathering Probability Map [Figure R301.2(3)]. The grade of masonry units shall be determined from ASTM C 34, C 55, C 62, C 73, C 90, C 129, C 145, C 216 or C 652.

b. Reserved.

c. Termite infestation per Figure R301.2(6) is “very heavy.”.

d. Wind speed shall be from the basic wind speed map [Figure R301.2(4). Wind exposure category shall be determined on a site-specific basis in accordance with Section R301.2.1.4.

e. The outdoor design dry-bulb temperature shall be selected from the columns of 971/2-percent values for winter from Appendix D of the Florida Building Code, Plumbing. Deviations from the Appendix D temperatures shall be permitted to reflect local climates or local weather experience as determined by the building official.

f. Reserved.

g. Reserved.

h. Reserved.

i. Reserved.

j. Reserved.

Figure R301.2(4) Wind Borne Debris Region.  Change to read as shown.

## Figure R301.2(4)

## BASIC WIND DESIGN SPEEDS

Basic Wind Speed

1. Values are nominal design, 3-second gust, wind speeds in mules per hour (mph) at 33 feet (10 m) above ground for Exposure C Category.

2. This map is accurate to the county. Local governments establish specific wind speed/wind-borne debris lines using physical landmarks such as major roads, canals, rivers, and shorelines.

3. Islands and coastal areas outside the last contour shall use the last wind-speed contour of the coastal area.

Table R301.2(4) Garage Door Loads for a Building with a Mean Roof Height of 30 Feet Located in Exposure B.  Add to read as shown.

Table R301.2(4) Garage Door Loads for a Building with a Mean Roof Height of 30 Feet Located in Exposure B.

Basic Wind Speed (mph – 3 second gust)

|  | 90 | 100 | 110 | 120 | 130 | 140 | 150 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Roof Angle > 10 degrees Effective Area: Width (ft) Height (ft) |  |  |  |  |  |  |  |
| - 7 16 7 | 12.8 -14.5 12.3 -13.7 | 15.8 -17.9 15.2 -16.9 | 19.1 -21.6 18.3 -20.4 | 22.8 -25.8 21.8 -24.3 | 26.7 -30.2 25.6 -28.5 | 31.0 -35.1 29.7 -33.1 | 35.6 -40.2 34.1 -38.0 |

For SI: 1 foot = 304.8 mm, 1 square foot = 0.0929 sq m, 1 mile per hour = 1.609 km/h

- For effective areas or wind speeds between those given above the load may be interpolated, otherwise use the load associated with the lower effective area.

- Table values shall be adjusted for height and exposure by multiplying by the adjustment coefficient in Table R301.2(3).

- Plus and minus signs signify pressures acting toward and away from the building surfaces.

- Negative pressures assume door has 2 feet of width in building’s end zone.

R301.2.1.1 Change to read as shown:

R301.2.1.1 Design criteria. Construction in regions where the basic wind speeds from Figure R301.2(4) equal or exceed 100 miles per hour (160.9 km/h) shall be permitted to be designed in accordance with one of the following:

1.	American Forest and Paper Association (AF&PA) Wood Frame Construction Manual for One- and Two-Family Dwellings (WFCM);

2.	Minimum Design Loads for Buildings and Other Structures (ASCE-7);

3.	American Iron and Steel Institute (AISI), Standard for Cold-Formed Steel Framing—Prescriptive Method for One- and Two-family Dwellings (COFS/PM) with Supplement to Standard for Cold-Formed Steel Framing—Prescriptive Method For One- and Two-Family Dwellings.

4.	Concrete and concrete masonry construction shall be designed in accordance with the provisions of this code or in accordance with the applicable documents adopted in Section R301.2.1.1.

5.	IBHS Guideline for Hurricane Resistant Residential Construction 2005 shall be permitted for buildings for a basic wind speed of 140 mph (63 m/s) or less in Exposure B in accordance with Figure R301.2(4).  Provisions for design wind speeds of 140 mph (63 m/s) in the Guideline shall also be permitted for buildings for a basic wind speed of 120 mph (53 m/s) or less in Exposure C in accordance with Figure R301.2(4) and provisions for design wind speeds of 120 MPH (54 m/s) in the Guideline shall be permitted for buildings for a basic wind speed of 100 mph (45 m/s) or less in Exposure  C in accordance with Figure R301.2(4).

6.	The FC&PA Guide to Concrete Masonry Residential Construction in High Wind Areas shall be permitted for applicable concrete masonry buildings for a basic wind speed of 130 mph (58 m/s) or less in Exposure B and 110 mph (49 m/s) or less in Exposure C in accordance with Figure R301.2(4);

7.	The WPPC Guide to Wood Construction in High Wind Areas shall be permitted for applicable wood-frame buildings for a basic wind speed of 130 mph (58 m/s) or less in Exposure B and 110 mph (49 m/s) or less in Exposure C in accordance with Figure R301.2(4); or.

8.           The Florida Building Code, Building.

R301.2.1.1.1 Add to read as follows:

R301.2.1.1.1 Design. The following design guide shall be accepted as conforming to accepted engineering practices: AAF Guide to Aluminum Construction in High-Wind Areas. Vinyl and acrylic panels shall be removable.  Removable panels shall be identified as removable by a decal.  The identification decal shall essentially state: “Removable panel SHALL be removed when wind speeds exceed 75 mph (34 m/s).”  Decals shall be placed such that the decal is visible when the panel is installed.

R301.2.1.1.2 Add to read as shown:

R301.2.1.1.2 Sunrooms. Sunrooms shall comply with AAMA/NPEA/NSA 2100 with the structural requirements and testing provisions of Chapter 5 modified to incorporate ASCE 7. Sunrooms shall be categorized in one of the following categories by the permit applicant, design professional or the property owner where the sunroom is being constructed.

Category I: A roof or a covering of an outdoor space. The openings shall be permitted to be enclosed with insect screening or 0.5 mm (20 mil) maximum thickness plastic film. The space is defined as non-habitable and unconditioned.

Category II: A roof or a covering of an outdoor space with enclosed walls. The openings are permitted to be enclosed with translucent or transparent plastic or glass. The space is defined as non-habitable and unconditioned.

Category III: A roof or a covering of an outdoor space with enclosed walls. The openings are permitted to be enclosed with translucent or transparent plastic or glass. The sunroom complies with additional requirements for forced entry resistance, air leakage resistance and water penetration resistance. The space is defined as non-habitable and unconditioned.

Category IV: A roof or a covering of an outdoor space with enclosed walls. The sunroom is designed to be heated and/or cooled by a separate temperature control or system and is thermally isolated from the primary structure. The sunroom complies with additional requirements for forced entry resistance, water penetration resistance, air leakage resistance, and thermal performance. The space is defined as habitable and conditioned.

Category V: A roof or a covering of an outdoor space with enclosed walls. The sunroom is designed to be heated and/or cooled and is open to the main structure. The sunroom complies with additional requirements for forced entry resistance, water penetration resistance, air leakage resistance, and thermal performance. The space is defines as habitable and conditioned.  [Mod 2689r]  [Changed in the June 27, 2007 Commission Meeting.]

R301.2.1.2 Revise to read as shown:

R301.2.1.2 Protection of openings.  Windows in buildings located in wind-borne debris regions shall have glazed openings protected from wind-borne debris.  Glazed opening protection for wind-borne debris shall meet the requirements of the Large Missile Test of an approved impact resisting standard or ASTM E 1996 and ASTM E 1886, SSTD 12, ANSI/DASMA 115 (for garage doors) or TAS 201, 202 and 203 or AAMA 506 referenced therein.

(1)	Opening in sunrooms, balconies or enclosed porches constructed under existing roofs or decks are not required to be protected provided the spaces are separated from the building interior by a wall and all openings in the separating wall are protected in accordance with this section. Such space shall be permitted to be designed as either partially enclosed or enclosed structures.

(2)	Storage sheds that are not designed for human habitation and that have a floor area of 720 square feet (67 m2) or less are not required to comply with the mandatory wind-borne debris impact standard of this code.

Impact resistant coverings shall be tested at 1.5 times the design pressure (positive or negative) expressed in pounds per square feet as determined by the Florida Building Code, Residential Section R301 for which the specimen is to be tested.

Exception: Wood structural panels with a minimum thickness of 7/16 inch (11.1 mm) and a maximum span of 8 feet (2438 mm) shall be permitted for opening protection in one- and two-story buildings. Panels shall be precut so that they shall be attached to the framing surrounding the opening containing the product with the glazed openings. Panels shall be predrilled as required for the anchorage method and all required hardware shall be provided.  Permanent corrosion resistant attachment hard ware with anchors permanently installed on the building shall be provided and designed to resist the components and cladding loads determined in accordance with the provisions of the Florida Building Code, Building.  Attachment in accordance with Table R301.2.1.2 with permanent corrosion resistant attachment hardware provided and anchors permanently installed on the building is permitted for buildings with a mean roof height of 45 feet (10 058 mm) or less where wind speeds do not exceed 140 miles per hour (58 m/s).

Table R301.2.1.2 Change to read as shown:

# TABLE R301.2.1.2

WIND-BORNE DEBRIS PROTECTION FASTENING SCHEDULE

FOR WOOD STRUCTURAL PANELS

| ## FASTENER TYPE | FASTENER SPACING (in.)1,2 |  |  |  |
| --- | --- | --- | --- | --- |
|  | Panel span ≤ 2 ft | 2 foot < panel span ≤ 4 foot | 4 foot < panel span ≤ 6 foot | 6 foot < panel span ≤ 8 foot |
| #8 Wood Screw based anchor with 2-inch embedment length3 | 16 | 16 | 10 | 8 |
| 2-1/2 #8 Wood Screws3 #10 Wood Screw based anchor with 2-inch embedment length | 16 | 16 | 12 | 9 |
| ¼ Lag screw based anchor with 2-inch embedment length3 | 16 | 16 | 16 | 16 |

SI: 1 inch = 25.4 mm, 1 foot = 305 mm.

1. This table is based on a maximum wind speed of 140  mph (58 m/s) and mean roof height of 45 feet (10 m) or less.                                                                                         [Check metric conversions]

2. Fasteners shall be installed at opposing ends of the wood structural panel.

3. Where screws are attached to masonry or masonry/stucco, they shall be attached using vibration-resistant anchors having a minimum withdrawal capacity of 1500 lb

(2180 kN).

Section R301.2.1.4 change text to read as shown.

R301.2.1.4 Exposure category. For each wind direction considered, an exposure category that adequately reflects the characteristics of ground surface irregularities shall be determined for the site at which the building or structure is to be constructed. For a site located in the transition zone between categories, the category resulting in the largest wind forces shall apply. Account shall be taken of variations in ground surface roughness that arise from natural topography and vegetation as well as from constructed features. For any given wind direction, the exposure in which a specific building or other structure is sited shall be assessed as being one of the following categories:

Exception:  An intermediate exposure between the exposure categories defined is permitted in a transition zone provided that it is determined by a rational analysis method.

- Exposure A. This exposure category is no longer used in ASCE-7 not applicable in Florida.

2.	Exposure B. Urban and suburban areas, wooded areas or other terrain with numerous closely spaced obstructions having the size of single-family dwellings or larger. Exposure B shall be assumed unless the site meets the definition of another type of exposure.

- Exposure C. Open terrain with scattered obstructions, including surface undulations or other irregularities, having heights generally less than 30 feet (9144 mm) extending more than 1,500 feet (457.2 m) from the building site in any quadrant. This exposure shall also apply to any building located within Exposure B-type terrain where the building is directly adjacent to within 100 feet horizontally in any direction of open areas of Exposure C-type terrain in any quadrant for a distance of that extends more than 600 feet (182.9 m) and width greater than 150 ft in the upwind direction. Short term (less than two year) changes in the pre-existing terrain exposure, for the purposes of development, shall not be considered open fields. Where development build out will occur within 3 years and the resultant condition will meet the definition of Exposure B, Exposure B shall be regulating for the purpose of permitting.  This category includes flat open country, grasslands, and ocean or gulf shorelines and shall extend downwind for a distance of 1500 feet. This category does not include For buildings located within a distance of 600 feet of inland bodies of water that present a fetch of 1 mile (1.61 km) or more or inland waterways or rivers with a width of 1 mile (1.61 km) or more roof sheathing uplift and roof-to-wall uplift loads shall be increased by 20%.  (See Exposure D.)

- Exposure D. Flat, unobstructed areas exposed to wind flowing over open water (excluding shorelines in hurricane-prone regions) for a distance of at least 1 mile (1.61 km). Shorelines in Exposure D includes inland waterways, the Great Lakes and coastal areas of California, Oregon, Washington and Alaska. This exposure shall apply only to those buildings and other structures exposed to the wind coming from over the water. Exposure D extends inland from the shoreline a distance of 1,500 feet (460 m) or 10 times the height of the building or structure, whichever is greater. This exposure category is not applicable in Florida.

[Mod 2662r]  [Changed in the June 27, 2007 Commission Meeting]

R301.2.1.5 Add to read as shown:

R301.2.1.5 Basic wind speed. The basic wind speed in miles per hour, for the development of windloads, shall be determined from Figure R301.2(4). The exact location of wind speed lines shall be established by local ordinance using recognized physical landmarks such as major roads, canals, rivers and lake shores whenever possible.

Change the following sections to read as follows:

R301.2.2 Seismic provisions. Reserved.

Figure R301.2(2)  Reserved.

R301.2.3 Snow loads. Reserved.

Figure R301.2(5) Reserved.

R301.2.4 Change to read as follows:

R301.2.4 Floodplain construction. This code specifically defers to the authority granted to local government by Title 44 CFR, Sections 59 and 60. This code is not intended to supplant or supercede local ordinances adopted pursuant to that authority, nor are local floodplain management ordinances to be deemed amendments to the code.

R301.2.5 Add to read as follows:

R301.2.5 Structures seaward of a coastal construction line. Structures located seaward of the coastal construction line shall be designed to resist the predicted forces of a 100-year storm event in accordance with Section 3109 of the Florida Building Code, Building.

Section R301.3 Story height.  Change to read as shown.

R301.3 Story height. Buildings constructed in accordance with these provisions shall be limited to story heights of not more than the following:

1. For conventional light-frame wood construction, the laterally unsupported bearing wall stud height permitted by Table R602.2(5) plus a height of floor framing not to exceed sixteen inches. For purposes of determining uplift, gravity loads, and lateral bracing requirements, an attic shall be considered an additional story when the roof slope is 6 in 12 or greater. (See Figure R301.3).

Exception: For wood framed wall buildings with bracing in accordance with Table R602.2.10.1, the wall stud clear height used to determine the maximum permitted story height may be increased to 12 feet (3658 mm) without requiring an engineered design for the building wind force resisting systems provided that the length of bracing required by Table R602.2.10.1 is increased by multiplying by a factor of 1.20. Wall studs are still subject to the requirements of this section.

2. For steel wall framing, a stud height of 10 feet (3048 mm), plus a height of floor framing not to exceed 16 inches (406 mm).

3. For masonry walls, a maximum bearing wall clear height of 12 feet (3658 mm) plus a height of floor framing not to exceed 16 inches (406 mm).

Exception: An additional 8 feet (2438 mm) is permitted for gable end walls.

4. For insulating concrete form walls, the maximum bearing wall height per story as permitted by Section 611 tables plus a height of floor framing not to exceed 16 inches (406 mm).

Individual walls or walls studs shall be permitted to exceed these limits as permitted by Chapter 6 provisions for buildings where the wind speed is less than 100 mph (160.9 km/h), provided story heights are not exceeded. Floor framing height shall be permitted to exceed these limits provided the story height does not exceed 11' 7".

An engineered design shall be provided for the wall or wall framing members when they exceed the limits of Chapter 6. Where the story height limits are exceeded, an engineered design shall be provided in accordance with the Florida Building Code, Building for the overall wind force resisting systems.  [Mod 2585]

Add Figure R301.3 as shown below:

Figure R301.3

R301.6 Change to read as shown:

R301.6 Roof load. Roof shall be designed for the live load indicated in Table R301.6.

Section R302 Location on lot.  Change to read as shown.  [Changed in the June 27, 2007 Commission Meeting]

SECTION R302

LOCATION ON LOT

R302.1 Exterior walls.

Exterior walls separated by less than 6 feet (1828 mm) shall have not less than a one-hour fire-resistive rating with exposure from both sides. Projections shall not extend to a point closer than 4 feet (1220 mm) from an adjacent projection or wall.

Exception: Detached garages accessory to a dwelling located within 2 feet (610 mm) of a lot line shall be permitted to have roof eave projections not exceeding 4 inches (102 mm).

Projections extending into the 6-foot (1829 mm) separation distance shall have not less than 1-hour fire-resistive construction on the underside. The above provisions shall not apply to walls which are perpendicular to a line extending from the point from which the separation distance has been measured running and parallel to the property line.

Exception: Tool and storage sheds, playhouses and similar structures are not required to provide wall protection based on location on the lot.

Table R302.1 Reserved.

R302.2 Openings.

Openings shall not be permitted in the exterior wall of a dwelling or accessory building that is separated from an adjacent building by a distance of less than 6 feet (1828 mm). This distance shall be measured perpendicular to the line used to determine the separation distance.

Exceptions:

1.	Openings shall be permitted in walls that are perpendicular to a line extending from the point from which the separation distance has been measured running and parallel to the property line.

2.	Foundation vents installed in compliance with this code are permitted.

R302.3 Penetrations.

Penetrations located in the exterior wall of a dwelling separated by less than 6 feet (1828 mm) shall be protected in accordance with Section R317.3.

Exception: Penetrations shall be permitted in walls that are perpendicular to a line extending from the point which the separation distance has been measured running and parallel to the property line.

SECTION R302

EXTERIOR WALL LOCATION

R302.1 Exterior walls. Construction, projections, openings and penetrations of exterior walls of dwellings and accessory buildings shall comply with Table R302.1. These provisions shall not apply to walls, projections, openings or penetrations in walls that are perpendicular to the line used to determine the fire separation distance. Projections beyond the exterior wall shall not extend more than 12 inches (305 mm) into the areas where openings are prohibited.

Exceptions:

1. Detached tool sheds and storage sheds, playhouses and similar structures exempted from permits are not required to provide wall protection based on location on the lot. Projections beyond the exterior wall shall not extend over the lot line.

2. Detached garages accessory to a dwelling located within 2 feet (610 mm) of a lot line are permitted to have roof eave projections not exceeding 4 inches (102 mm).

3. Foundation vents installed in compliance with this code are permitted.

TABLE R302.1

EXTERIOR WALLS

| EXTERIOR WALL ELEMENT |  | MINIMUM FIRE-RESISTANCE RATING | MINIMUM FIRE SEPARATION DISTANCE |
| --- | --- | --- | --- |
| Walls | (Fire-resistance rated) | 1 hour with exposure from both sides | 0 feet |
|  | (Not fire-resistance rated) | 0 hours | 5 3 feet |
| Projections | (Fire-resistance rated) | 1 hour on the underside | 4 feet |
|  | (Not fire-resistance rated) | 0 hours | 5 3 feet |
| Openings | Not allowed | N/A |  |
|  | 25% Maximum of Wall Area | 0 hours | < 3 feet |
|  | Unlimited | 0 hours | 3 feet |
| Penetrations | All | Comply with Section R317.3 | < 5 3 feet |
|  |  | None required | 5 3 feet |

N/A = Not Applicable.

R302.2 Openings.  Change to read as shown.

R302.2 Openings.  Openings shall not be permitted in the exterior wall of a dwelling or accessory building that is separated from an adjacent building by a distance of less than 6 feet (1828 mm). This distance shall be measured perpendicular to the line used to determine the separation distance.

Exceptions:

1.	Openings shall be permitted in walls that are perpendicular to a line extending from the point from which the separation distance has been measured running and parallel to the property line.

2.	Foundation vents installed in compliance with this code are permitted.

R302.3 Penetrations.  Change to read as shown.

R302.3 Penetrations.  Penetrations located in the exterior wall of a dwelling separated by less than 6 feet (1828 mm) shall be protected in accordance with Section R317.3.

Exception: Penetrations shall be permitted in walls that are perpendicular to a line extending from the point which the separation distance has been measured running and parallel to the property line.

R308.1 Change to read as shown:

R308.1 Identification.  Each pane shall bear the manufacturer’s label designating the type and thickness of glass or glazing material.  Except as indicated in Section R308.1.1, each pane of glazing installed in hazardous locations as defined in Section R308.4 shall be provided with a manufacturer’s or installer’s label, designating the type and thickness of glass and the safety glazing standard with which it complies, which is visible in the final installation.  The safety glazing label shall be acid etched, sandblasted, ceramic-fired, embossed mark, or shall be of a type which once applied cannot be removed without being destroyed.

Exceptions:

- For other than tempered glass, labels may be omitted provided the building official approves the use of a certificate, affidavit or other evidence furnished by the glazing contractor certifying that each light is glazed in accordance with approved construction documents that comply with the provisions of this chapter confirming compliance with this code.

- Tempered spandrel glass may be identified by the manufacturer with a removable paper label.

Section R308.6.9 Testing and labeling.  Change to read as shown. [Added June 27, 2007 by the Commission]

R308.6.9 Testing and labeling.  Exterior skylights shall be tested by an approved independent testing laboratory, and shall be labeled with an approved label identifying manufacturer, performance characteristics, and approved evaluation entity to indicate compliance with the requirements of AAMA/WDMA 101/I.S.2/NAFS, Voluntary Performance Specification for Windows, Skylights and Glass Doors, or TAS 202 (HVHZ shall comply with TAS 202).  [Mod 2601r]

R309.1.1 Change to read as follows:

R309.1.1 Duct penetration. Ducts in the garage and ducts penetrating the walls or ceilings separating the dwelling from the garage shall be constructed of a minimum No. 26 gage (0.48 mm) sheet steel, 1 inch minimum rigid nonmetallic Class 0 or Class 1 duct board, or other approved material and shall have no openings into the garage.

R309.5 Change to read as follows:

R309.5 Flood hazard areas. Reserved.

R310.1 Change to read as follows:

R310.1 Emergency escape and rescue required. Basements and every sleeping room shall have at least one operable emergency and rescue opening. Such opening shall open directly into a public street, public alley, yard or court. Where basements contain one or more sleeping rooms, emergency egress and rescue openings shall be required in each sleeping room, but shall not be required in adjoining areas of the basement. Where emergency escape and rescue openings are provided they shall have a sill height of not more than 44 inches (1118 mm) above the floor. Where a door opening having a threshold below the adjacent ground elevation serves as an emergency escape and rescue opening and is provided with a bulkhead enclosure, the bulkhead enclosure shall comply with Section R310.3. The net clear opening dimensions required by this section shall be obtained by the normal operation of the emergency escape and rescue opening from the inside. Emergency escape and rescue openings with a finished sill height below the adjacent ground elevation shall be provided with a window well in accordance with Section R310.2. Emergency escape and rescue openings shall open directly into a public way, or to a yard or court that opens to a public way.

Exceptions:

1. Basements used only to house mechanical equipment and not exceeding total floor area of 200 square feet (18.58 m2).

2. The emergency escape and rescue opening shall be permitted to open into a screen enclosure, open to the atmosphere, where a screen door is provided leading away from the residence.

R310.4 Change to read as follows:

R310.4 Bars, grills, covers and screens.  Bars, grills, covers, screens or similar devices are permitted to be placed over emergency escape and rescue openings, bulkhead enclosures, or window wells that serve such openings, provided the minimum net clear opening size complies with Sections R310.1.1 to R310.1.3, and such devices shall be releasable or removable from the inside without the use of a key, tool, special knowledge or force greater than that which is required for normal operation of the escape and rescue opening. The temporary installation or closure of storm shutters, panels, and other approved hurricane protection devices shall be permitted on emergency escape and rescue openings during the threat of a storm. Such devices shall not be required to comply with the operational constraints of Section R310.1.4. While such protection is provided, at least one means of escape from the dwelling or dwelling unit shall be provided. The means of escape shall be within the first floor of the dwelling or dwelling unit and shall not be located within a garage without a side-hinged door leading directly to the exterior. Occupants in any part of the dwelling or dwelling unit shall be able to access the means of escape without passing through a lockable door not under their control.

Section R311.4.3 Landings at doors.  Change to read as shown.

R311.4.3 Landings at doors.  There shall be a floor or landing on each side of each exterior door.

Exception: Where a stairway of two or fewer risers is located on the exterior side of a door, other than the required exit door, a landing is not required for the exterior side of the door.

The floor or landing at exterior doors required by Section R311.4.1 shall not be required to comply with this requirement but shall have a rise no greater than that permitted in Section R311.5.3.

Exception: The landing at an exterior doorway shall not be more than 7¾ inches (196 mm) below the top of the threshold, provided the door, other than an exterior storm or screen door does not swing over the landing.

The width of each landing shall not be less than the door served. Every landing shall have a minimum dimension of 36 inches (914 mm) measured in the direction of travel.  [Mod 2251]

R311.5.3.2 Change to read as follows:

R311.5.3.2 Tread depth. The minimum tread depth, exclusive of nosing, shall be not less than 9 inches (229 mm). Treads and risers of stairs shall be permitted to be so proportioned that the sum of two risers and a tread, exclusive of projection of nosing, is not less than 24 inches (610 mm) nor more than 25 inches (635 mm). The tread depth shall be measured horizontally between the vertical planes of the foremost projection of adjacent treads and at a right angle to the tread’s leading edge. The greatest tread depth within any flight of stairs shall not exceed the smallest by more than 3/8 inch (9.5 mm). Winder treads shall have a minimum tread depth of 10 inches (254 mm) measured as above at a point 12 inches (305) mm from the side where the treads are narrower. Winder treads shall have a minimum tread depth of 6 inches (152 mm) at any point. Within any flight of stairs, the greatest winder tread depth at the 12 inch (305 mm) walk line shall not exceed the smallest by more than 3/8 inch (9.5 mm).

R311.5.3.3 Change to read as follows:

R311.5.3.3 Profile. The radius of curvature at the leading edge of the tread shall be no greater than 9/16 inch (14.3 mm). Every tread less than 10 inches (254 mm) wide shall have a nosing or effective projection of approximately 1 inch (25 mm) over the level immediately below that tread. Beveling of nosing shall not exceed ½ inch (12.7 mm). Risers shall be vertical or sloped from the underside of the leading edge of the tread above at an angle not more than 30 (0.51 rad) degrees from the vertical. Open risers are permitted, provided that the opening between treads does not permit the passage of a 4-inch diameter (102 mm) sphere.

Exceptions:

1.	A nosing is not required where the tread depth is a minimum of 11 inches (279 mm).

2.	The opening between adjacent treads is not limited on stairs with a total rise of 30 inches (762 mm) or less.

R311.5.4 Change to read as follows:

R311.5.4 Landings for stairways. There shall be a floor or landing at the top and bottom of each stairway.

Exception: A door at the top of a stair shall be permitted to open directly at a stair, provided the door does not swing over the stair.

A flight of stairs shall not have a vertical rise greater than 12 feet (3658 mm) between floor levels or landings.

The width of each landing shall not be less than the stairway served. Every landing shall have a minimum dimension of 36 inches (914 mm) measured in the direction of travel.

R311.5.6 Change to read as follows:

R311.5.6.1 Height. Handrail height, measured vertically from the sloped plane adjoining the tread nosing, or finish surface of ramp slope, shall be not less than 34 inches (864 mm) and not more than 38 inches (965 mm).

Exception: When fittings are used to provide transition between flights, transition from handrail to guardrail, or used at the start of a stair, the handrail height at the fitting. shall be permitted to exceed the maximum height.

R311.5.6.2 Continuity. Handrails for stairways shall be continuous for the full length of the flight, from a point directly above the top nosing edge of the flight to a point directly above the lowest nosing edge of the flight. Handrail ends shall be returned or shall terminate in newel posts or safety terminals. Handrails adjacent to a wall shall have a space of no less than 1-1/2 inch (38 mm) between the wall and the handrails.

Exceptions:

- Handrails shall be permitted to be interrupted by a newel post at the turn and at the top of the flight.

- The use of a volute, turnout, starting easing or newel shall be allowed over the lowest tread.

R311.5.8.1 Change to read as follows.

R311.5.8.1 Spiral stairways. Spiral stairways are permitted, provided the minimum width shall be 26 inches (660 mm) with each tread having a 7½-inches (190 mm) minimum tread depth at 12 inches from the narrower edge. All treads shall be identical, and the rise shall be no more than 9½ inches (241 mm). A minimum headroom of 6 feet 6 inches (1982 mm) shall be provided. Handrails shall be provided on one side.

R311.5.8.3 Add to read as follows:

R311.5.8.3 Circular stairways. Circular stairs may have a minimum tread depth of 9 inches (229 mm) with 1 inch (25.4 mm) of nosing, and the smaller radius may be less than twice the width of the stairway.

R314.1 Change to read as follows:

R314.1 General. The provisions of this section shall govern the requirements and uses materials, design, application, construction and installation of foam plastic materials.

R314.3 Change to read as follows:

R314.3 Surface burning characteristics. Unless otherwise allowed in Section R314.5 or Section R314.6, all foam plastic or foam plastic cores in manufactured assemblies used as a component in manufactured assemblies used in building construction shall have a flame-spread index of not more than 75 and shall have a smoke-developed index of not more than 450 when tested in the maximum thickness of 4 inches (102 mm), provided the end use is approved in accordance with Section R314.6 using eht thickness and density intended for use intended for use in accordance with ASTM E 84. Loose-fill type foam plastic insulation shall be tested as board stock for the flame spread index and smoke-developed index.

Exception:  Foam plastic insulation greater than 4 inches in thickness shall have a maximum flame spread index of 75 and a smoke-developed index of 450 where tested at a minimum thickness of 4 inches, provided the end use is approved in accordance with Section R314.8 using the thickness and density intended for use.

R314.4 Change to read as follows:

R314.4 Thermal barrier. Unless otherwise allowed in Section R314.5 or Section R314.6, foam plastic shall be separated from the interior of a building by an approved thermal barrier of minimum 0.5 inch (12.7 mm) gypsum wallboard or an approved finish material equivalent to a thermal barrier material that will limit the average temperature rise of the unexposed surface to no more than 250°F (139°C) after 15 minutes of fire exposure complying with the ASTM E 119 standard time temperature curve. The thermal barrier shall be installed in such a manner that it will remain in place for 15 minutes based on NFPA 286 with the acceptance criteria of Section R315.4, FM 4880, UL 1040 or UL 1715.

R314.5 Change to read as follows:

R314.5 Specific requirements. The following requirements shall apply to all uses of foam plastic unless specifically approved in accordance with Section R314.6 or by other sections of the code or the requirements of Sections R314.2 through R314.4 have been met.

R314.5.1 Masonry or concrete construction. The thermal barrier specified in Section R314.4 is not required in a masonry or concrete wall, floor or roof when the foam plastic insulation is protected on each face by a minimum 1-inch (25.4 mm) thickness of masonry or concrete.

R314.5.2 Roofing. The thermal barrier specified in Section R314.4 is not required  when the foam plastic in a roof assembly or under a roof covering is installed in accordance with the code and the manufacturer’s installation instructions and is separated from the interior of the building by tongue and groove wood planks or wood structural panel sheathing in accordance with Section R803, not less than 15/32 inch (11.9 mm) in thickness bonded with exterior glue and identified as Exposure 1, with edges supported by blocking or tongue-and-groove joints or an equivalent material. The smoke developed index for roof applications shall not be limited.

R314.5.3 Attics. Where attic access is required by Section R807.1 and where entry is made only for service of utilities, foam plastics shall be protected against ignition by 1.5-inch-thick (38 mm) mineral fiber insulation, 1/4-inch-thick (6.4 mm) wood structural panels, 3/8-inch (9.5 mm) particleboard, 1/4-inch (6.4 mm) hardboard, 3/8-inch (9.5 mm) gypsum board, or corrosion-resistant steel having a base metal thickness of 0.016 inch (0.406 mm) and the thermal barrier specified in Section R314.4 is not required. The ignition barrier is not required where the foam plastic insulation has been tested in accordance with Section R314.6.

R314.5.4 Crawl spaces. Where crawlspace access is required by Section R408.3 and where entry is made only for service of utilities, foam plastics shall be protected against ignition by 1.5-inch-thick (38 mm) mineral fiber insulation, 1/4-inch-thick (6.4 mm) wood structural panels, 3/8-inch (9.5 mm) particleboard, 1/4-inch (6.4 mm) hardboard, 3/8-inch (9.5 mm) gypsum board, or corrosion-resistant steel having a base metal thickness of 0.016 inch (0.406 mm) and the thermal barrier specified in Section  314.4 is not required. The ignition barrier is not required where the foam plastic insulation n has been tested in accordance with Section R314.6.

R314.5.5 Foam-filled exterior doors. Foam-filled exterior doors are exempt from the requirements of Sections R314.3 and R314.4.

R314.5.6 Foam-filled garage doors. Foam-filled garage doors are exempt from the requirements of Section R314.3 and R314.4.

R314.5.7 Siding backer board. Foam plastic insulation with a maximum thickness of 0.5 inch (12.7 mm) and a potential heat of not more than  2000 BTU per square foot (22 720 kJ/m2) when tested in accordance with NFPA 259 shall be permitted as siding backer board  without the thermal barrier specified in Section  R314.4 provided the foam plastic insulation is separated from interior spaces by not less than 2 inches (51 mm) of mineral fiber insulation or 1/2-inch (12.7 mm) gypsum wallboard or installed over existing exterior wall finish in conjunction with re-siding.

R314.5.8 Interior trim. Exposed foam plastic trim defined as picture molds, chair rails, baseboards, handrails, ceiling beams, door trim and window trim shall be permitted, provided

1. The minimum density is 20 pounds per cubic foot (3.14 kg/m3).

2. The maximum thickness of the trim is 0.5 inch (12.7 mm) and the maximum width is 8 4 inches (102 mm).

3. The trim constitutes no more than 10 percent of the area of any wall or ceiling.

4. The flame-spread index does not exceed 75 when tested per ASTM E 84. The smoke-developed index is not limited.

R314.5.11 Sheathing. Foam plastic insulation used as sheathing, as referenced in Table R703.4, shall comply with Sections R314.3 and Section R314.4. Where the foam plastic sheathing is used at a gable and is exposed to the attic space, the provisions of Section R314.5.3 shall apply.

R314.6 Change to read as follows:

R314.6 Specific approval. Plastic foam not meeting the requirements of Sections R314.3 through R314.5 shall be specifically approved on the basis of one of the following approved tests: FM4880, UL 1040, NFPA 286, or UL 1715, or fire tests related to actual end-use configurations. The specific approval shall be based on the actual end use configuration and shall be performed on the finished foam plastic assembly in the maximum thickness intended for use. Assemblies tested shall include seams, joints and other typical details used in the installation of the assembly and shall be tested in the manner intended for use.

R316.2 Change to read as follows:

R316.2 Loose-fill insulation. Loose-fill insulation materials that cannot be mounted in the ASTM E 84 apparatus without a screen or artificial supports shall comply with the flame-spread and smoke developed limits of Sections R316.1 and R316.4 when tested in accordance with CAN/ ULC-S102.2.

Exception: Cellulose loose-fill insulation shall not be required to comply with the flame spread index requirement of CAN/ULC S102.2, provided such insulation complies with the requirements of Section R316.3.

R316.4 Change to read as follows:

R316.4 Exposed attic insulation. All exposed insulation materials installed on attic floors shall have a critical radiant flux not less than 0.12 watt per square centimeter. Exposed foam plastic insulation materials exposed on the underside of the roof deck or on the attic walls shall comply with R314.

R317.2.2 Change to read as follows:

R317.2.2 Parapets.  Parapets constructed in accordance with Section R317.2.3 shall be provided for townhouses as an extension of exterior walls or common walls in accordance with the following:

1.	Where roof surfaces adjacent to the wall or walls are at the same elevation, the parapet shall extend not less than 18 inches (457.2 mm) above the roof surfaces.

2.	Where roof surfaces adjacent to the wall or walls are at different elevations and the higher roof is not more than 18 inches (457.2 mm) above the lower roof, the parapet shall extend not less than 18 inches (762 mm) above the lower roof surface.

Exception: A parapet is not required in the two cases above when the roof is covered with a minimum class C roof covering, and the roof decking or sheathing is of noncombustible materials or approved fire-retardant-treated wood for a distance of 4 feet (1219 mm) on each side of the wall or walls, or one layer of 5/8-inch (15.9 mm) Type X gypsum board is installed directly beneath the roof decking or sheathing, supported by a minimum of nominal 2-inch (51 mm) ledgers attached to the sides of the roof framing members, for a minimum distance of 4 feet (1220 mm) on each side of the wall or walls.

- A parapet is not required where roof surfaces adjacent to the wall or walls are at different elevations and the higher roof is more than 18 inches (457.2 mm) above the lower roof. The common wall construction from the lower roof to the underside of the higher roof deck shall not have less than a 1-hour fire-resistive rating. The wall shall be rated for exposure from both sides.

R317.2.3 Change to read as follows:

R317.2.3 Parapet construction. Parapets shall have the same fire-resistance rating as that required for the supporting wall or walls. On any side adjacent to a roof surface, the parapet shall have noncombustible faces for the uppermost 18 inches (457 mm), to include counterflashing and coping materials. Where the roof slopes toward a parapet at slopes greater than two units vertical in 12 units horizontal (16.7-percent slope), the parapet shall extend to the same height as any portion of the roof within a distance of 3 feet (914 mm), but in no case shall the height be less than 18 inches (762 mm).

R317.3.2 Change to read as follows:

Section R317.3.2 Membrane penetrations. Membrane penetrations shall comply with Section R317.3.1. Where walls are required to have a minimum fire-resistance rating, recessed fixtures shall be so installed such that the required fire resistance will not be reduced.

Exceptions:

1. Membrane penetrations of maximum 2-hour fire-resistance-rated walls and partitions by steel electrical boxes that do not exceed 16 square inches (0.0103 m 2) in area provided the aggregate area of the openings through the membrane does not exceed 100 square inches (0.0645 m2) in any 100 square feet (9.29 m2) of wall area. The annular space between the wall membrane and the box shall not exceed 1/8 inch (3.1 mm). Such boxes on opposite sides of the wall shall be separated as follows:

1.1. By a horizontal distance of not less than 24 inches (610 mm) except at walls or partitions constructed using parallel rows of studs or staggered studs;

1.2. By a horizontal distance of not less than the depth of the wall cavity when the wall cavity is filled with cellulose loose-fill, rockwool or slag mineral wool insulation;

1.3. By solid fire blocking in accordance with Section R602.2.1.1;

1.4. By protecting both boxes with listed putty pads; or

1.5. By other listed materials and methods.

2. Membrane

2. Membrane penetrations by listed electrical boxes of any materials provided the boxes have been tested for use in fire-resistance-rated assemblies and are installed in accordance with the instructions included in the listing. The annular space between the wall membrane and the box shall not exceed 1/8 inch (3.1 mm) unless listed otherwise.

Such boxes on opposite sides of the wall shall be separated as follows:

2.1. By a horizontal distance of not less than 24 inches (610 mm) except at walls or partitions constructed using parallel rows of studs or staggered studs;

2.2. By solid fire blocking in accordance with Section R602.1.2;

2.3. By protecting both boxes with listed putty pads; or

2.4. By other listed materials and methods.

3. The annular space created by the penetration of a fire sprinkler provided it is covered by a metal escutcheon plate.

R319 Change to read as follows:

R319.1.3 Geographical areas. Approved naturally durable or pressure-preservative-treated wood shall be used for those portions of wood members that form the structural supports of buildings, balconies, porches or similar permanent building appurtenances when those members are exposed to the weather without adequate protection from a roof, eave, overhang or other covering that would prevent moisture or water accumulation on the surface or at joints between members. Depending on local experience, such members may include:

1. Horizontal members such as girders, joists and decking.

2. Vertical members such as posts, poles and columns.

3. Both horizontal and vertical members.

Section R319.3 Fasteners.  Change to read as shown.

R319.3 Fasteners. Fasteners for pressure-preservative and fire-retardant-treated wood shall be in accordance with Section R319.3.1 through R319.3.4 of hot-dipped zinc-coated galvanized steel, stainless steel, silicon bronze or copper. The coating weights for zinc-coated fasteners shall be in accordance with ASTM A 153.

Exceptions:

1. One-half-inch (12.7 mm) diameter or larger steel bolts.

2. Fasteners other than nails and timber rivets shall be permitted to be of mechanically deposited zinc coated steel with coating weights in accordance with ASTM B 695, Class 55, minimum.

R319.3.1  Fasteners for Preservative Treated Wood.  Fasteners for preservative-treated wood shall be of hot-dipped zinc-coated galvanized steel, stainless steel, silicon bronze or copper. The coating weights for zinc-coated fasteners shall be in accordance with ASTM A 153.

Exceptions:

1. One-half-inch (12.7 mm) diameter or larger steel bolts.

2. Fasteners other than nails and timber rivets shall be permitted to be of mechanically deposited zinc coated steel with coating weights in accordance with ASTM B 695, Class 55, minimum.

R319.3.2 Fastenings for wood foundations.  Fastenings for wood foundations shall be as required in AF&PA Technical Report No. 7.

R319.3.3 Fasteners for fire-retardant-treated wood used in exterior applications or wet or damp locations.  Fasteners for fire-retardant-treated wood used in exterior applications or wet or damp locations shall be of hot-dipped zinc-coated galvanized steel, stainless steel, silicon bronze or copper.  Fasteners other than nails, timber rivets, wood screws and lag screws shall be permitted to be of mechanically deposited zinc coated steel with coating weights in accordance with ASTM B695, Class 55 minimum.

R319.3.4  Fasteners for fire-retardant-treated wood used in interior applications.  Fasteners for fire-retardant-treated wood used in interior locations shall be in accordance with the manufacturer’s recommendations.  In the absence of manufacturer’s recommendations Section R319.3.3 shall apply.  [Mod 2263]

R320 Change to read as follows:

## SECTION R320  PROTECTION AGAINST TERMITES

R320.1 Termite Protection. Termite protection shall be provided by registered termiticides, including soil applied pesticides, baiting systems, and pesticides applied to wood, or other approved methods of termite protection labeled for use as a preventative treatment to new construction. See §202, REGISTERED TERMITICIDE. Upon completion of the application of the termite protective treatment, a Certificate of Compliance shall be issued to the building department by the licensed pest control company that contains the following statement: "The building has received a complete treatment for the prevention of subterranean termites. Treatment is in accordance with rules and laws established by the Florida Department of Agriculture and Consumer Services."

R320.1.1 If soil treatment used for subterranean termite prevention, the initial chemical soil treatment inside the foundation perimeter shall be done after all excavation, backfilling and compaction is complete.

R320.1.2If soil treatment is used for subterranean termite prevention, soil area disturbed after initial chemical soil treatment shall be retreated with a chemical soil treatment, including spaces boxed or formed.

R320.1.3 If soil treatment is used for subterranean termite prevention, space in concrete floors boxed out or formed for the subsequent installation of plumbing traps, drains or any other purpose shall be created by using plastic or metal permanently placed forms of sufficient depth to eliminate any planned soil disturbance after initial chemical soil treatment.

R320.1.4 If soil treatment is used for subterranean termite prevention, chemically treated soil shall be protected with a minimum 6 mil vapor retarder to protect against rainfall dilution. If rainfall occurs before vapor retarder placement, retreatment is required. Any work, including placement of reinforcing steel, done after chemical treatment until the concrete floor is poured, shall be done in such manner as to avoid penetrating or disturbing treated soil.

R320.1.5 If soil treatment is used for subterranean termite prevention, concrete overpour or mortar accumulated along the exterior foundation perimeter shall be removed prior to exterior chemical soil treatment, to enhance vertical penetration of the chemicals.

R320.1.6 If soil treatment is used for subterranean termite prevention, chemical soil treatments shall also be applied under all exterior concrete or grade within 1 foot (305 mm) of the primary structure sidewalls. Also, a vertical chemical barrier shall be applied promptly after construction is completed, including initial landscaping and irrigation/sprinkler installation. Any soil disturbed after the chemical vertical barrier is applied shall be promptly retreated.

R320.1.7 If a registered termiticide formulated and registered as a bait system is used for subterranean termite prevention, §1816.1.1 through §1816.1.6 do not apply; however, a signed contract assuring the installation, maintenance and monitoring of the baiting system for a  minimum of five years from the issue of the Certificate of Occupancy shall be provided to the building official prior to the pouring of the slab, and the system must be installed prior to final building approval.

If the baiting system directions for use require a monitoring phase prior to installation of the pesticide active ingredient, the installation of the monitoring phase components shall be deemed to constitute installation of the system.

R320.1.8 If a registered termiticide formulated and registered as a wood treatment is used for subterranean termite prevention, Sections R320.1.1 through R320.1.6 do not apply. Application of the wood treatment termiticide shall be as required by label directions for use, and must be completed prior to final building approval.

R320.2 Penetration. Protective sleeves around metallic piping penetrating concrete slab-on-grade floors shall not be of cellulose-containing materials and, if soil treatment is used for subterranean termite protection, shall receive application of a termiticide in annular space between sleeve and pipe.

R320.3 Cleaning. Cells and cavities in masonry units and air gaps between brick, stone or masonry veneers and the structure shall be cleaned of all non-preservative treated or non-naturally durable wood, or other cellulose-containing material prior to concrete placement.

Exception:  Inorganic material manufactured for closing cells in foundation concrete masonry unit construction or clean earth fill placed in concrete masonry unit voids below slab level before termite treatment is performed.

R320.4 Concrete bearing ledge. Brick, stone or other veneer shall be supported by a concrete bearing ledge of such thickness as required in Chapter 14, which is poured integrally with the concrete foundation. No supplemental concrete foundation pours which will create a hidden cold joint shall be used without supplemental treatment in the foundation unless there is an approved physical barrier. An approved physical barrier shall also be installed from below the wall sill plate or first block course horizontally to embed in a mortar joint. If masonry veneer extends below grade, a termite protective treatment must be applied to the cavity created between the veneer and the foundation, in lieu of a physical barrier.

Exception: Veneer supported by a structural member secured to the foundation sidewall as provided in 1403, provided at least a 6 inch (152 mm) clear inspection space of the foundation sidewall exterior exist between the veneer and the top of any soil, sod, mulch or other organic landscaping component, deck, apron, porch, walk or any other work immediately adjacent to or adjoining the structure.

R320.5 Pressure preservatively treated and naturally resistant wood.  [No change to IRC ’06 text]

R320.6 Foam plastic protection. Extruded and expanded polystyrene, polyisocyanurate and other foam plastics shall not be installed on the exterior face or under interior or exterior foundation walls or slab foundations located below grade.  The clearance between foam plastics installed above grade and exposed earth shall be at least 6 inches (152 mm).

Exceptions:

1. Buildings where the structural members of walls, floors, ceilings and roofs are entirely of noncombustible materials or pressure-preservative-treated wood.

2. When in addition to the requirements of Section R320.1, an approved method of protecting the foam plastic and structure from subterranean termite damage is used.

3. On the interior side of basement walls.

R320.7 Protection against decay and termites.  Condensate lines and roof downspouts shall discharge at least 1 foot (305 mm) away from the structure sidewall, whether by underground piping, tail extensions or splash blocks. Gutters with downspouts are required on all buildings with eaves of less than 6 inches (152 mm) horizontal projection except for gable end rakes or on a roof above another roof.

R320.8 Preparation of building site and removal of debris.

R320.8.1 All building sites shall be graded to provide drainage under all portions of the building not occupied by basements.

R320.8.2 The foundation and the area encompassed within 1 foot (305 mm) therein shall have all vegetation, stumps, dead roots, cardboard, trash and foreign material removed and the fill material shall be free of vegetation and foreign material. The fill shall be compacted to assure adequate support of the foundation.

R320.8.3 After all work is completed, loose wood and debris shall be completely removed from under the building and within 1 foot (305 mm) thereof. All wood forms and supports shall be completely removed. This includes, but is not limited to: wooden grade stakes, forms, contraction spacers, tub trap boxes, plumbing supports, bracing, shoring, forms or other cellulose-containing material placed in any location where such materials are not clearly visible and readily removable prior to completion of the work.  Wood shall not be stored in contact with the ground under any building.

R322.1.1 Change to read as shown:

SECTION R322  ACCESSIBILITY

R322.1 Scope. Shall be in accordance with the provisions of Chapter 11 of the Florida Building Code, Building.

R322.1.1 All new single-family houses, duplexes, triplexes, condominiums and townhouses shall provide at least one bathroom, located with maximum possible privacy, where bathrooms are provided on habitable grade levels, with a door that has a 29-inch (737 mm) clear opening. However, if only a toilet room is provided at grade level, such toilet rooms shall have a clear opening of not less than 29 inches (737 mm).

R323 Change to read as shown:

SECTION R323 FLOOD RESISTANT CONSTRUCTION

R323.1 Floodplain construction. This code specifically defers to the authority granted to local government by Title 44 CFR, Sections 59 and 60. This code is not intended to supplant or supercede local ordinances adopted pursuant to that authority, nor any local floodplain management ordinances to be deemed amendments to the code.

R323.2 Structures seaward of a coastal construction line. Structures located seaward of the coastal construction line shall be designed to resist the predicted forces of a 100-year storm event in accordance with Section 3109 of the Florida Building Code, Building.

R323.3 Reserved.

R324.1 Change to read as shown:

R324.1 Sprinkler system requirements for buildings three stories or more in height.  NFPA 101 as adopted by the Florida Fire Prevention Code, as regarding the requirements for fire protection sprinklers, is applicable to all multiple-family residential buildings, whether designated as townhouses, condominiums, apartment houses, tenements, garden apartments or by any other name. The attorney general has determined that for the purpose of the fire protection sprinkler requirements in Section 553.895(2), Florida Statutes, townhouses that are three or more stories tall and consist of three or more units together are multiple-family dwellings. Therefore, these types of townhouses are not exempt from being considered for the requirements to provide fire protection sprinklers (even if there are any other definitions that define townhouse as single-family residences). When determining whether townhouses require fire protection sprinkler systems, the building official must consider in parallel: (a) the attorney general’s opinion defining the statutory language for townhouses; (b) the building code requirements, including all life-safety chapters, that provide additional determining criteria, such as construction types, fire-resistance, fire protection systems and egress; and (c) the NFPA 101 as adopted by the Florida Fire Prevention Code egress and protection determining criteria. The more restrictive criteria are then applied.

R325 Add new section to read as shown:

SECTION R325  AIRPORT NOISE

R325.1  Airport noise study guidelines. The Aviation Safety and Noise Abatement Act of 1979, 14 CFR Part 150 (U.S. Department of Transportation), including revisions through January, 2005, are hereby adopted as a guideline for establishing airport noise control.

CHAPTER 4:  FOUNDATIONS

R401.1 Change to read as shown:

R401.1 Application. The provisions of this chapter shall control the design and construction of the foundation and foundation spaces for all buildings. In addition to the provisions of this chapter, the design and construction of foundations in areas prone to flooding as established by Table R301.2(1) shall meet the provisions of Section R324. Wood foundations shall be designed and installed in accordance with AF&PA Report No. 7 (see Section R301.2.1.1).

Exceptions:

1.	The provisions of this chapter shall be permitted to be used for wood foundations subject to the following:

1.1. Buildings shall have no more than two floors and a roof.

1.2. Interior basement and foundation walls shall be provided at intervals not exceeding 50 feet.

1.3  When the foundation uplift loads determined from Table R401.1 exceed 0 or when such uplift loads cannot be determined from Table R401.1, an engineered design shall be required.

2.	In addition to the provisions of this chapter, the design and construction of foundations in areas prone to flooding shall meet the provisions of Section R323.

3.	Buildings and structures located within the High-Velocity Hurricane Zone shall comply with the provisions of Chapter 44.

Add Tables R401.1 to read as shown (see the 2004 Florida Building Code):

TABLE R401.1

FOUNDATION UPLIFT LIGHT STEEL & WOOD FRAME BUILDINGS IN EXPOSURE B (PLF)

| TABLE R401.1 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FOUNDATION UPLIFT LIGHT STEEL & WOOD FRAME BUILDINGS IN EXPOSURE B (plf)5, 6 |  |  |  |  |  |  |  |  |  |
| Roof Angle |  | Bldg Width | Minimum Building Length | WIND VELOCITY / VELOCITY PRESSURE |  |  |  |  |  |
|  |  |  |  | 100 | 110 | 120 | 130 | 140 | 150 |
|  |  |  |  | 15 | 18 | 22 | 26 | 30 | 34 |
| 45 | 3 Stories3 | 20 | 12 | 173 | 276 | 389 | 512 | 644 | 787 |
|  |  | 25 | 14 | 73 | 165 | 265 | 374 | 492 | 618 |
|  |  | 30 | 19 | 0 | 81 | 174 | 275 | 384 | 502 |
|  |  | 35 | 25 | 17 | 48 | 104 | 200 | 305 | 417 |
|  |  | 40 | 35 | 33 | 69 | 109 | 152 | 240 | 349 |
|  | 2 Stories2 | 20 | 12 | 64 | 126 | 195 | 270 | 350 | 437 |
|  |  | 25 | 15 | 17 | 66 | 129 | 198 | 272 | 352 |
|  |  | 30 | 22 | 38 | 62 | 90 | 146 | 217 | 294 |
|  |  | 35 | 35 | 56 | 86 | 118 | 154 | 192 | 252 |
|  |  | 40 | 40 | 74 | 108 | 146 | 186 | 230 | 277 |
|  | 1 Story1 | 20 | 12 | 33 | 46 | 61 | 94 | 132 | 173 |
|  |  | 25 | 22 | 57 | 75 | 96 | 118 | 142 | 167 |
|  |  | 30 | 18 | 79 | 103 | 129 | 157 | 187 | 219 |
|  |  | 35 | 16 | 100 | 128 | 159 | 192 | 229 | 267 |
|  |  | 40 | 16 | 120 | 152 | 188 | 226 | 268 | 312 |
| 30 | 3 Stories3 | 20 | 12 | 92 | 177 | 271 | 373 | 483 | 601 |
|  |  | 25 | 17 | 0 | 63 | 143 | 230 | 324 | 425 |
|  |  | 30 | 25 | 0 | 23 | 52 | 125 | 209 | 300 |
|  |  | 35 | 35 | 13 | 44 | 78 | 115 | 154 | 206 |
|  |  | 40 | 40 | 28 | 64 | 102 | 145 | 190 | 239 |
|  | 2 Stories2 | 20 | 13 | 1 | 50 | 103 | 162 | 224 | 292 |
|  |  | 25 | 23 | 16 | 35 | 57 | 84 | 139 | 199 |
|  |  | 30 | 30 | 36 | 60 | 87 | 116 | 148 | 181 |
|  |  | 35 | 35 | 54 | 83 | 115 | 150 | 187 | 227 |
|  |  | 40 | 36 | 71 | 104 | 141 | 181 | 224 | 270 |
|  | 1 Story1 | 20 | 20 | 32 | 46 | 60 | 76 | 93 | 112 |
|  |  | 25 | 15 | 56 | 74 | 95 | 117 | 140 | 166 |
|  |  | 30 | 13 | 78 | 102 | 127 | 155 | 185 | 217 |
|  |  | 35 | 14 | 99 | 127 | 157 | 190 | 226 | 264 |
|  |  | 40 | 16 | 118 | 150 | 185 | 223 | 264 | 308 |

| TABLE R401.1 (continued) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FOUNDATION UPLIFT LIGHT STEEL & WOOD FRAME BUILDINGS IN EXPOSURE B (plf)5, 6 |  |  |  |  |  |  |  |  |  |
| Roof Angle |  | Bldg Width | Minimum Building Length4 | WIND VELOCITY / VELOCITY PRESSURE |  |  |  |  |  |
|  |  |  |  | 100 | 110 | 120 | 130 | 140 | 150 |
|  |  |  |  | 15 | 18 | 22 | 26 | 30 | 34 |
| 20 | 3 Stories3 | 20 | 12 | 113 | 203 | 301 | 408 | 523 | 647 |
|  |  | 25 | 14 | 45 | 130 | 222 | 322 | 431 | 547 |
|  |  | 30 | 17 | 4 | 85 | 177 | 277 | 385 | 501 |
|  |  | 35 | 19 | 20 | 58 | 154 | 257 | 369 | 489 |
|  |  | 40 | 21 | 35 | 72 | 141 | 249 | 367 | 493 |
|  | 2 Stories2 | 20 | 12 | 43 | 100 | 163 | 231 | 304 | 384 |
|  |  | 25 | 13 | 22 | 79 | 143 | 214 | 289 | 371 |
|  |  | 30 | 15 | 42 | 72 | 141 | 217 | 298 | 386 |
|  |  | 35 | 15 | 61 | 92 | 150 | 232 | 321 | 417 |
|  |  | 40 | 16 | 78 | 114 | 164 | 254 | 352 | 457 |
|  | 1 Story1 | 20 | 12 | 38 | 57 | 94 | 135 | 179 | 226 |
|  |  | 25 | 12 | 62 | 82 | 122 | 171 | 223 | 280 |
|  |  | 30 | 12 | 85 | 110 | 154 | 212 | 275 | 342 |
|  |  | 35 | 14 | 107 | 136 | 190 | 257 | 330 | 409 |
|  |  | 40 | 16 | 126 | 160 | 227 | 304 | 388 | 478 |

TABLE R401.1

FOUNDATION UPLIFT LIGHT STEEL & WOOD FRAME BUILDINGS IN EXPOSURE C (plf)

| TABLE R401.1(continued) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FOUNDATION UPLIFT LIGHT STEEL & WOOD FRAME BUILDINGS IN EXPOSURE C (plf)5, 6 |  |  |  |  |  |  |  |  |  |
| Rf Angle |  | Bldg Width | Minimum Building Length4 | WIND VELOCITY / VELOCITY PRESSURE |  |  |  |  |  |
|  |  |  |  | 100 | 110 | 120 | 130 | 140 | 150 |
|  |  |  |  | 21 | 26 | 31 | 36 | 42 | 48 |
| 45 | 3 Stories3 | 20 | 12 | 370 | 515 | 673 | 845 | 1031 | 1231 |
|  |  | 25 | 13 | 249 | 377 | 518 | 670 | 836 | 1013 |
|  |  | 30 | 17 | 159 | 278 | 408 | 550 | 703 | 867 |
|  |  | 35 | 21 | 89 | 203 | 328 | 463 | 610 | 767 |
|  |  | 40 | 26 | 102 | 153 | 262 | 394 | 537 | 691 |
|  | 2 Stories2 | 20 | 12 | 184 | 271 | 368 | 472 | 585 | 706 |
|  |  | 25 | 13 | 119 | 200 | 288 | 385 | 489 | 601 |
|  |  | 30 | 18 | 85 | 147 | 233 | 326 | 426 | 533 |
|  |  | 35 | 24 | 113 | 155 | 200 | 284 | 383 | 489 |
|  |  | 40 | 36 | 139 | 187 | 240 | 297 | 358 | 457 |
|  | 1 Story1 | 20 | 12 | 58 | 95 | 140 | 189 | 243 | 300 |
|  |  | 25 | 16 | 92 | 118 | 147 | 178 | 224 | 281 |
|  |  | 30 | 19 | 124 | 157 | 193 | 233 | 275 | 321 |
|  |  | 35 | 17 | 154 | 193 | 236 | 283 | 334 | 388 |
|  |  | 40 | 16 | 182 | 227 | 277 | 331 | 389 | 452 |
| 30 | 3 Stories3 | 20 | 12 | 256 | 376 | 507 | 650 | 804 | 970 |
|  |  | 25 | 15 | 130 | 232 | 344 | 466 | 598 | 740 |
|  |  | 30 | 21 | 47 | 127 | 228 | 337 | 455 | 582 |
|  |  | 35 | 31 | 72 | 116 | 163 | 241 | 351 | 469 |
|  |  | 40 | 40 | 96 | 146 | 200 | 259 | 323 | 392 |
|  | 2 Stories2 | 20 | 12 | 95 | 163 | 238 | 320 | 408 | 502 |
|  |  | 25 | 18 | 53 | 85 | 151 | 223 | 301 | 385 |
|  |  | 30 | 30 | 83 | 117 | 154 | 195 | 239 | 304 |
|  |  | 35 | 35 | 110 | 150 | 195 | 244 | 296 | 353 |
|  |  | 40 | 37 | 135 | 182 | 233 | 289 | 350 | 415 |
|  | 1 Story1 | 20 | 20 | 58 | 76 | 97 | 119 | 143 | 169 |
|  |  | 25 | 16 | 91 | 117 | 145 | 176 | 210 | 245 |
|  |  | 30 | 13 | 123 | 156 | 191 | 230 | 272 | 317 |
|  |  | 35 | 14 | 152 | 191 | 234 | 280 | 330 | 384 |
|  |  | 40 | 16 | 179 | 224 | 273 | 327 | 384 | 446 |

| TABLE R401.1(continued) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FOUNDATION UPLIFT LIGHT STEEL & WOOD FRAME BUILDINGS IN EXPOSURE C (plf) |  |  |  |  |  |  |  |  |  |
| Rf Angle |  | Bldg Width | Minimum Building Length4 | WIND VELOCITY / VELOCITY PRESSURE |  |  |  |  |  |
|  |  |  |  | 100 | 110 | 120 | 130 | 140 | 150 |
|  |  |  |  | 21 | 26 | 31 | 36 | 42 | 48 |
| 20 | 3 Stories3 | 20 | 12 | 285 | 411 | 549 | 698 | 860 | 1034 |
|  |  | 25 | 13 | 207 | 325 | 455 | 595 | 748 | 911 |
|  |  | 30 | 15 | 162 | 280 | 409 | 549 | 701 | 863 |
|  |  | 35 | 17 | 138 | 260 | 393 | 538 | 695 | 863 |
|  |  | 40 | 18 | 124 | 252 | 392 | 545 | 709 | 886 |
|  | 2 Stories2 | 20 | 12 | 152 | 233 | 320 | 416 | 519 | 630 |
|  |  | 25 | 12 | 133 | 215 | 306 | 404 | 511 | 625 |
|  |  | 30 | 13 | 130 | 219 | 316 | 422 | 536 | 658 |
|  |  | 35 | 14 | 138 | 235 | 341 | 456 | 581 | 715 |
|  |  | 40 | 16 | 150 | 257 | 373 | 500 | 636 | 783 |
|  | 1 Story1 | 20 | 12 | 88 | 136 | 188 | 245 | 307 | 373 |
|  |  | 25 | 12 | 114 | 172 | 235 | 303 | 377 | 457 |
|  |  | 30 | 12 | 146 | 214 | 288 | 370 | 457 | 552 |
|  |  | 35 | 14 | 180 | 259 | 346 | 441 | 543 | 653 |
|  |  | 40 | 16 | 215 | 306 | 406 | 515 | 632 | 758 |

Notes:

- Based on 1st floor height = 10 ft. or 11 ft. floor to floor in multi-story.

- Based on 2nd floor height = 8 ft. or 9 ft. floor to floor in multi-story.

- Based on 3rd floot height = 8 ft.

- Building length shall be equal to or greater than that shown in tables.

- Roof and floor framing shall span in the same direction.

- Includes provision for 2 foot roof overhang

[Note: this table is in the 2004 Florida Building Code.]

Change Figures to Florida-specific figures (see the 2004 Florida Building Code):

Figure 403.1(1)  Concrete and Masonry Foundation Details.

FOOTING A

MONOLITHIC SLAB ON GRADE EXTERIOR WALL

FOOTING B

MONOLITHIC SLAB ON GRADE INTERIOR WALL

FOOTING C

STEM WALL WOOD JOIST FLOOR

Footing D

Monolithic Exterior Footing

Footing E

Monolithic Interior Footing

Footing F

Wood Floor to Concrete or Masonry Stemwall

Footing G

Stemwall Foundation with Slab-on-Grade

FOOTING H

R401.2 Change to read as shown:

R401.2 Requirements. Foundations shall be capable of resisting all loads from roof uplift and building overturn. Foundation uplift for light-frame wood or steel buildings shall be calculated or determined from Table R401.1. Masonry buildings within the dimensional scope of Table R401.1 shall be assumed to be of adequate weight so as not to require uplift resistance greater than that provided by the structure and any normal foundation.   Foundation construction shall also be capable of accommodating all gravity loads according to Section R301 and of transmitting the resulting loads to the supporting soil. Fill soils that support footings and foundations shall be designed, installed and tested in accordance with accepted engineering practice. Gravel fill used as footings for wood and precast concrete foundations shall comply with Section R403.

R403.1.1 Change to read as shown:

R403.1.1 Minimum size. Minimum sizes for concrete and masonry footings shall be as set forth in Table R403.1 and Figure R403.1(1). Minimum sizes for concrete and masonry footings shall also be as required to provide adequate resistance to uplift and overturn of the building as determined from Table 401.1 or as calculated using engineered design in accordance with the Florida Building Code, Building. The footing width, W, shall be based on the load-bearing value of the soil in accordance with Table R401.4.1. Spread footings shall be at least 6 8 inches (152 mm) in thickness. Footing projections, P, shall be at least 2 inches (51 mm) and shall not exceed the thickness of the footing. The size of footings supporting piers and columns shall be based on the tributary load and allowable soil pressure in accordance with Table R401.4.1. Footings for wood foundations shall be in accordance with the details set forth in Section R403.2, and Figures R403.1(2) and R403.1(3).

[Note: See the 2004 Florida Building Code.]

| TABLE R403.1.1 FOUNDATION UPLIFT DESIGN DETAILS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| FOOTING | TYPE | T | W | SLAB/WALL1 | RESISTANCE | NOTES |
| A | Mono | 20 | 12 | 6 | 502 | 3 |
|  | Mono | 20 | 16 | 6 | 285 | 3 |
| B | Mono Interior | 20 | 12 | 13 | 796 | 3 |
|  | Mono Interior | 20 | 16 | 13 | 879 | 3 |
| C | 12” Stem/Joist | 10 | 20 | 228 | 436 | 1,2,3 |
| D | Mono | 20 | 12 | 6 | 502 | -- |
|  | Mono | 20 | 16 | 6 | 585 | -- |
| E | Mono Interior | 20 | 12 | 13 | 796 | -- |
|  | Mono Interior | 20 | 16 | 13 | 879 | -- |
| F | Stem/Joist | 10 | 20 | -- | 208 | 2,3 |
| G | Stem/Slab | 10 | 20 | 6 | 460 | 3 |
| H | Stem/Slab | 10 | 12 | 6 | 377 | 3 |
|  | Stem/Slab | 10 | 20 | 6 | 460 | 3 |
| Note 1. Tributory width of 3½" slab or weight of stemwall and bond beam Note 2. 1st floor dead load multiplied by 0.6 may also be included. Note 3. All footing dowel bars shall be same size as wall steel, shall have a standard 90-degree hook, and shall be embedded a minimum of 6 inches. Dowel bars shall lap vertical wall reinforcement a minimum of 25 inches. |  |  |  |  |  |  |

R403.1.2 Add to read as shown:

R403.1.2 Resistance to uplift. Uplift resistance of common foundations are given in Table R403.1.1. Uplift resistance of these foundations may be increased by increasing the size of the concrete footing. When determining the modified uplift resistance the added weight shall be reduced by multiplying by a factor of 0.6. Other foundation systems shall be engineered in accordance with the Florida Building Code, Building.

R403.1.3 Change to read as shown:

R403.1.3 Reserved.

R403.1.4 Change to read as shown:

R403.1.4 Minimum depth.  All exterior footings shall be placed at least 12 inches (305 mm) below the undisturbed ground surface.

R403.1.4.1 Reserved.

R403.1.4.2 Reserved.

R403.1.6 Foundation anchorage.  Reserved.

R403.1.6.1 Reserved.

Change R403.3 as shown:

R403.3 Reserved

Figures R403.3(1) through R403.3(4)  Reserved.

Table 403.3 Reserved.

R403.3.1 Reserved.

R403.3.1.1 Reserved.

R403.3.1.2 Reserved.

R403.3.2 Reserved.

R403.3.3 Reserved.

R403.3.4  Reserved.

R404.1 Concrete and masonry foundation walls.

R404.1.1 Change to read as follows

R404.1.1 Masonry foundation walls. Concrete masonry and clay masonry foundation walls shall be constructed as set forth in Tables R404.1.1(2), R404.1.1(3) and R404.1.1(4) and shall also comply with the provisions of this section and the applicable provisions of Sections R606, R607 and R608. Rubble stone masonry foundation walls shall be constructed in accordance with Sections R404.1.8. The use of rubble stone masonry foundation walls and plain masonry shall be limited to regions where the basic wind speed is 100 mph or less unless an engineered design is provided.

R404.1.1.1 Bond beams, footing dowels and foundation wall reinforcing, wood or steel light-framed first story walls. Where first story walls are of wood or steel light-frame, a minimum 8 inch x 8 inch (203 mm x 203 mm) nominal grouted masonry or concrete bond beam shall be provided at the top course of the foundation wall. The bond beam shall be reinforced with not less than one No. 5 bar, continuous around corners and intersections.

R404.1.1.2 Where first story walls are of wood or steel light-frame, footing dowel bars and foundation vertical reinforcing shall be not less than No. 4 bars at 8 ft (2438 mm) on center, placed in fully grouted cells. Dowels shall extend into the cast concrete footing and terminate with a standard hook at three inches clear of the footing bottom. Vertical wall reinforcing shall be lap spliced with the dowel, extend into the bond beam at the wall top, and terminate with a standard hook at 1-1/2 inches (38 mm) clear of the top of the bond beam. Alternately, stem wall vertical reinforcing shall be permitted to extend into the footing and be terminated with a standard hook at 3 inches (76 mm) clear of the bottom of the footing. In addition grouted, reinforced vertical cells shall be provided at hold down post anchorages and at uplift anchorages that use straps embedded into concrete or masonry.

R404.1.2 Change to read as follows.

R404.1.2 Concrete foundation walls.  Concrete foundation walls shall be constructed as set forth in Tables R404.1.1(1), R404.1.1(2), R404.1.1(3) and R404.1.1(4), and shall also comply with the provisions of this section and the applicable provisions of Section R402.2.

R404.1.4 Change to read as follows:

R404.1.4 Anchorage of wood and steel light-frame wall systems. Anchorage of wood or steel light framed first story walls shall be in accordance with the following:

R404.1.4.1 For wood light-frame walls, sill plate anchorage, wall stud to foundation uplift anchorage and hold down post anchorage shall be in accordance with AF&PA WFCM

R404.1.4.2 For steel light-frame walls, wall bottom and braced wall chord stud anchorage shall be in accordance with AISI COFS/PM.

R404.1.5 Change to read as follows:

R404.1.5.1 Pier and curtain wall foundations. In regions where the basic wind speed is 100 mph or less pier and curtain wall foundations shall be permitted to be used to support light-frame construction not more than two stories in height, provided the following requirements are met:

1-2 No change.

3.	Piers shall be constructed in accordance with Section R606.5, and shall be bonded into the load-bearing masonry wall in accordance with Section R608.1.1 or Section R608.1.1.2.

4 – 6 No change.

7.  Reserved.

R404.1.8 Change to read as follows:

R404.1.8 Rubble stone masonry. Rubble stone masonry foundation walls shall have a minimum thickness of 16 inches (406 mm), shall not support an unbalanced backfill exceeding 8 feet (2438 mm) in height, and shall not support a soil pressure greater than 30 psf (481 kg/m2).

R404.2.6 Change reference to read as follows:

R404.2.6 Fastening. Wood structural panel foundation wall sheathing shall be attached to framing in accordance with Table R602.2(1) and Section R402.1.1.

R404.4.1 Change to read as follows:

R404.4.1 Applicability limits. The provisions of this section shall apply to the construction of insulating concrete form foundation walls for buildings not greater than 60 feet (18 288 mm) in plan dimensions, and floors not greater than 32 feet (9754 mm) or roofs not greater than 40 feet (12 192 mm) in clear span. Buildings shall not exceed two stories in height above-grade with each story not greater than 10 feet (3048 mm) high. Insulating concrete form foundation walls supporting above-grade concrete walls shall be reinforced as required for the above-grade wall immediately above or the requirements in Tables R404.4(1), R404.4(2), R404.4(3), R404.4(4) or R404.4(5), whichever is greater.

R404.4.7.2 Change to read as follows.

R404.4.7.2 Termite hazards.  Foam plastic insulation shall be permitted below grade on foundation walls in accordance with one of the following conditions:

1.	When in addition to the requirements in Section R320.1, an approved method of protecting the foam plastic and structure from subterranean termite damage is provided.

2.	The structural members of walls, floors, ceilings and roofs are entirely of noncombustible materials or pressure preservatively treated wood.

3.	On the interior side of basement walls.

Section R408.1 Ventilation.  Change to read as shown.

R408.1 Ventilation.   The under-floor space between the bottom of the floor joists and the earth under any building (except space occupied by a basement or cellar) shall be provided with ventilation openings through foundation walls or exterior walls. The minimum net area of ventilation openings shall not be less than 1 square foot for each 150 square feet (0.67 m 2 for each 100 m 2) of under-floor space area. One such ventilating opening shall be within 3 feet (914 mm) of each corner of said building.

Exception: Crawl spaces, designed by a Florida licensed engineer or registered architect to eliminate the venting. [Mod 2649r]

CHAPTER 5 FLOORS

R501.1 Change to read as follows:

R501.1 Application. The provisions of this chapter shall control the design and construction of the floors for all buildings including the floors of attic spaces used to house mechanical and/or plumbing fixtures and equipment (see Section R301.2.1.1).

Exception: Buildings and structures located within the High-Velocity Hurricane Zone shall comply with the provisions of Chapter 44.

R502.1 Add section R502.1 as follows and renumber following sections as shown:

R502.1 General Requirements. Floor framing of light-frame wood construction shall be in accordance with the provisions of this Section.

R502.1.1  Identification. [IRC R502.1] Load-bearing dimension lumber for joists, beams and girders shall be identified by a grade mark of a lumber grading or inspection agency that has been approved by an accreditation body that complies with DOCPS 20. In lieu of a grade mark, a certificate of inspection issued by a lumber grading or inspection agency meeting the requirements of this section shall be accepted.

R502.1.1.1 Preservatively treated lumber.  [IRC R502.1.1] Preservative treated dimension lumber shall also be identified as required by Section R319.1.

R502.1.1.2 Blocking and subflooring.  [IRC R502.1.2] Blocking shall be a minimum of utility grade lumber. Subflooring may be a minimum of utility grade lumber or No. 4 common grade boards.

R502.1.1.3 End-jointed lumber.  [IRC R502.1.3] Approved end-jointed lumber identified by a grade mark conforming to Section R502.1 may be used interchangeably with solid-sawn members of the same species and grade.

R502.1.1.4 Prefabricated wood I-joists.  [IRC R502.1.4] Structural capacities and design provisions for prefabricated wood I-joists shall be established and monitored in accordance with ASTM D 5055.

R502.1.1.5 Structural glued laminated timbers. [IRC R502.1.5]

Glued laminated timbers shall be manufactured and identified as required in AITC A190.1 and ASTM D 3737.

R502.1.1.6 Structural log members [IRC R502.1.6]. Stress grading of structural log members of nonrectangular shape, as typically used in log buildings, shall be in accordance with ASTM D 3957. Such structural log members shall be identified by the grade mark of an approved lumber grading or inspection agency. In lieu of a grade mark on the material, a certificate of inspection as to species and grade issued by a lumber-grading or inspection agency meeting the requirements of this section shall be permitted to be accepted.

R502.1.2 Draftstopping required[IRC R502.12]. Blocking shall be a minimum of utility grade lumber. Subflooring may be a minimum of utility grade lumber or No. 4 common grade boards.

R502.1.2.1 Materials[IRC R502.12.1].  Draftstopping materials shall not be less than 1/2-inch (12.7 mm) gypsum board, 3/8-inch (9.5 mm) wood structural panels, 3/8-inch (9.5 mm) Type 2-M-W particleboard or other approved materials adequately supported. Draftstopping shall be installed parallel to the floor framing members unless otherwise approved by the building official. The integrity of all draftstops shall be maintained.

R502.1.2.2  Fireblocking required[IRC R502.13]. Fireblocking shall be provided in accordance with Section R602.1.2.

R502.1.3 Wood trusses[IRC R502.11].

R502.1.3.1 Design[IRC R502.11.1].  Wood trusses shall be designed in accordance with approved engineering practice. The design and manufacture of metal plate connected wood trusses shall comply with ANSI/TPI 1. The truss design drawings shall be prepared by a registered professional where required by the statutes of the jurisdiction in which the project is to be constructed in accordance with Section R106.1.

Section R502.1.3.2 Bracing.  Change to read as shown.

R502.11.2 R502.1.3.2 Bracing. Trusses shall be braced to prevent rotation and provide lateral stability in accordance with the requirements specified in the construction documents for the building and on the individual truss design drawings. In the absence of specific bracing requirements, trusses shall be braced in accordance with the TPI/WTCA BCSI Building Component Safety Information (BCSI 1-03) Guide to Good Practice for Handling, Installing & Bracing of Metal Plate Connected Wood Trusses.  [Mod 2587r]

R502.1.3.3 Alterations to trusses[IRC R502.11.3].  Truss members and components shall not be cut, notched, spliced or otherwise altered in anyway without the approval of a registered design professional. Alterations resulting in the addition of load (e.g., HVAC equipment, water heater, etc.), that exceed the design load for the truss, shall not be permitted without verification that the truss is capable of supporting the additional loading.

R502.1.3.4 Truss design drawings[IRC R502.11.4]. Truss design drawings, prepared in compliance with Section R502.1.3.1, shall be provided to the building official and approved prior to installation. Truss design drawing shall be provided with the shipment of trusses delivered to the job site. Truss design drawings shall include, at a minimum, the information specified below:

1. Slope or depth, span and spacing.

2. Location of all joints.

3. Required bearing widths.

4. Design loads as applicable:

4.1. Top chord live load;

4.2. Top chord dead load;

4.3. Bottom chord live load;

4.4. Bottom chord dead load;

4.5. Concentrated loads and their points of application; and

4.6. Controlling wind loads.

5. Adjustments to lumber and joint connector design values for conditions of use.

6. Each reaction force and direction.

7. Joint connector type and description, e.g., size, thickness or gauge, and the dimensioned location of each joint connector except where symmetrically located relative to the joint interface.

8. Lumber size, species and grade for each member.

9. Connection requirements for:

9.1. Truss-to-girder-truss;

9.2. Truss ply-to-ply; and

9.3. Field splices.

10. Calculated deflection ratio and/or maximum description for live and total load.

11. Maximum axial compression forces in the truss members to enable the building designer to design the size, connections and anchorage of the permanent continuous lateral bracing. Forces shall be shown on the truss drawing or on supplemental documents.

12. Required permanent truss member bracing location.

R502.2 Change to read as follows:

R502.2 Design and construction where wind speed is less than 100 mph.  Floors shall be designed and constructed in accordance with the provisions of this Section and Figure R502.2 and Sections R319 and R320 or in accordance with AF&PA’s NDS.

R502.2.1 Framing at braced wall lines. A load path for lateral forces shall be provided between floor framing and braced wall panels located above or below a floor, as specified in Section R602.10.8.

R502.2.2 Decks. Where supported by attachment to an exterior wall, decks shall be positively anchored to the primary structure and designed for both vertical and lateral loads as applicable. Such attachment shall not be accomplished by the use of toenails or nails subject to withdrawal.

Where positive connection to the primary building structure cannot be verified during inspection, decks shall be self supporting. For decks with cantilevered framing members, connections to exterior walls or other framing members, shall be designed and constructed to resist uplift resulting from the full live load specified in Table R301.5 acting on the cantilevered portion of the deck.

R502.2.3 Allowable joist spans. Spans for floor joists shall be in accordance with Tables R502.2.2(1) and R502.2.2 (2). For other grades and species and for other loading conditions, refer to the AF&PA Span Tables for Joists and Rafters. [IRC R502.3]

R502.2.2 1 Sleeping areas and attic joists. Table R502.2.2 (1) shall be used to determine the maximum allowable span of floor joists that support sleeping areas and attics that are accessed by means of a fixed stairway in accordance with Section R311.5 provided that the design live load does not exceed 30 psf (1.44 kPa) and the design dead load does not exceed 20 psf (0.96 kPa). The allowable span of ceiling joists that support attics used for limited storage or no storage shall be determined in accordance with Section R802.2.2. [IRC R502.3.1]

## TABLE R502.2.2(1) [IRC R502.3.1(1)]

## Floor Joist Spans for Common Lumber Species

## (Residential sleeping areas, live load=30psf, L/ =360)

| JOIST SPACING |  |  | DEAD LOAD = 10 psf |  |  |  | DEAD LOAD = 20 psf |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2×6 | 2×8 | 2×10 | 2×12 | 2×6 | 2×8 | 2×10 | 2×12 |
|  |  |  | Maximum floor joist spans |  |  |  |  |  |  |  |
| (inches) | SPECIES AND GRADE |  | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) |
|  | Douglas fir-larch Douglas fir-larch Douglas fir-larch Douglas fir-larch Hem-fir | SS #1 #2 #3 SS | 12- 6 12- 0 11-10 9- 8 11-10 | 16- 6 15-10 15- 7 12- 4 15- 7 | 21- 0 20- 3 19-10 15- 0 19-10 | 25- 7 24- 8 23- 0 17- 5 24- 2 | 12- 6 12- 0 11- 6 8- 8 11-10 | 16- 6 15- 7 14- 7 11- 0 15- 7 | 21- 0 19- 0 17- 9 13- 5 19-10 | 25- 7 22- 0 20- 7 15- 7 24- 2 |
|  | Hem-fir | #1 | 11- 7 | 15- 3 | 19- 5 | 23- 7 | 11- 7 | 15- 2 | 18- 6 | 21- 6 |
|  | Hem-fir | #2 | 11- 0 | 14- 6 | 18- 6 | 22- 6 | 11- 0 | 14- 4 | 17- 6 | 20- 4 |
| 12 | Hem-fir Southern pine Southern pine Southern pine Southern pine Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir | #3 SS #1 #2 #3 SS #1 #2 #3 | 9- 8 12- 3 12- 0 11-10 10- 5 11- 7 11- 3 11- 3 9- 8 | 12- 4 16- 2 15-10 15- 7 13- 3 15- 3 14-11 14-11 12- 4 | 15- 0 20- 8 20- 3 19-10 15- 8 19- 5 19- 0 19- 0 15- 0 | 17- 5 25- 1 24- 8 24- 2 18- 8 23- 7 23- 0 23- 0 17- 5 | 8- 8 12- 3 12- 0 11-10 9- 4 11- 7 11- 3 11- 3 8- 8 | 11- 0 16- 2 15-10 15- 7 11-11 15- 3 14- 7 14- 7 11- 0 | 13- 5 20- 8 20- 3 18- 7 14- 0 19- 5 17- 9 17- 9 13- 5 | 15- 7 25- 1 24- 8 21- 9 16- 8 23- 7 20- 7 20- 7 15- 7 |
|  | Douglas fir-larch Douglas fir-larch Douglas fir-larch Douglas fir-larch Hem-fir | SS #1 #2 #3 SS | 11- 4 10-11 10- 9 8- 5 10- 9 | 15- 0 14- 5 14- 1 10- 8 14- 2 | 19- 1 18- 5 17- 2 13- 0 18- 0 | 23- 3 21- 4 19-11 15- 1 21-11 | 11- 4 10- 8 9-11 7- 6 10- 9 | 15- 0 13- 6 12- 7 9- 6 14- 2 | 19- 1 16- 5 15- 5 11- 8 18- 0 | 23- 0 19- 1 17-10 13- 6 21-11 |
|  | Hem-fir | #1 | 10- 6 | 13-10 | 17- 8 | 20- 9 | 10- 4 | 13- 1 | 16- 0 | 18- 7 |
|  | Hem-fir | #2 | 10- 0 | 13- 2 | 16-10 | 19- 8 | 9-10 | 12- 5 | 15- 2 | 17- 7 |
| 16 | Hem-fir Southern pine Southern pine Southern pine Southern pine Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir | #3 SS #1 #2 #3 SS #1 #2 #3 | 8- 5 11- 2 10-11 10- 9 9- 0 10- 6 10- 3 10- 3 8- 5 | 10- 8 14- 8 14- 5 14- 2 11- 6 13-10 13- 6 13- 6 10- 8 | 13- 0 18- 9 18- 5 18- 0 13- 7 17- 8 17- 2 17- 2 13- 0 | 15- 1 22-10 22- 5 21- 1 16- 2 21- 6 19-11 19-11 15- 1 | 7- 6 11- 2 10-11 10- 5 8- 1 10- 6 9-11 9-11 7- 6 | 9- 6 14- 8 14- 5 13- 6 10- 3 13-10 12- 7 12- 7 9- 6 | 11- 8 18- 9 17-11 16- 1 12- 2 17- 8 15- 5 15- 5 11- 8 | 13- 6 22-10 21- 4 18-10 14- 6 21- 4 17-10 17-10 13- 6 |
|  | Douglas fir-larch Douglas fir-larch Douglas fir-larch Douglas fir-larch Hem-fir | SS #1 #2 #3 SS | 10- 8 10- 4 10-1 7- 8 10- 1 | 14- 1 13- 7 12-10 9- 9 13- 4 | 18- 0 16- 9 15- 8 11-10 17- 0 | 21-10 19- 6 18- 3 13- 9 20- 8 | 10- 8 9- 8 9- 1 6-10 10- 1 | 14- 1 12- 4 11- 6 8- 8 13- 4 | 18- 0 15- 0 14- 1 10- 7 17- 0 | 21- 0 17- 5 16- 3 12- 4 20- 7 |
|  | Hem-fir | #1 | 9-10 | 13- 0 | 16- 4 | 19- 0 | 9- 6 | 12- 0 | 14- 8 | 17- 0 |
|  | Hem-fir | #2 | 9- 5 | 12- 5 | 15- 6 | 17-1 | 8-11 | 11- 4 | 13-10 | 16- 1 |
| 19.2 | Hem-fir Southern pine Southern pine Southern pine Southern pine Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir | #3 SS #1 #2 #3 SS #1 #2 #3 | 7- 8 10- 6 10- 4 10- 1 8- 3 9- 10 9- 8 9- 8 7- 8 | 9- 9 13-10 13- 7 13- 4 10- 6 13- 0 12- 9 12- 9 9- 9 | 11- 10 17- 8 17- 4 16- 5 12- 5 16- 7 15- 8 15- 8 11-10 | 13- 9 21- 6 21- 1 19- 3 14- 9 20- 2 18- 3 18- 3 13- 9 | 6-10 10- 6 10- 4 9- 6 7- 4 9-10 9- 1 9- 1 6-10 | 8- 8 13-10 13- 7 12- 4 9- 5 13- 0 11- 6 11- 6 8- 8 | 10- 7 17- 8 16- 4 14- 8 11- 1 16- 7 14- 1 14- 1 10- 7 | 12- 4 21- 6 19- 6 17- 2 13- 2 19- 6 16- 3 16- 3 12- 4 |
|  | Douglas fir-larch Douglas fir-larch Douglas fir-larch Douglas fir-larch Hem-fir | SS #1 #2 #3 SS | 9-11 9- 7 9- 1 6-10 9- 4 | 13- 1 12- 4 11- 6 8- 8 12- 4 | 16- 8 15- 0 14- 1 10- 7 15- 9 | 20- 3 17- 5 16- 3 12- 4 19- 2 | 9-11 8- 8 8- 1 6- 2 9- 4 | 13- 1 11- 0 10- 3 7- 9 12- 4 | 16- 2 13- 5 12- 7 9- 6 15- 9 | 18- 9 15- 7 14- 7 11- 0 18- 5 |
|  | Hem-fir | #1 | 9- 2 | 12- 0 | 14- 8 | 17- 0 | 8- 6 | 10- 9 | 13- 1 | 15- 2 |
|  | Hem-fir | #2 | 8- 9 | 11- 4 | 13-10 | 16- 1 | 8- 0 | 10- 2 | 12- 5 | 14- 4 |
| 24 | Hem-fir Southern pine Southern pine Southern pine Southern pine Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir | #3 SS #1 #2 #3 SS #1 #2 #3 | 6-10 9- 9 9- 7 9- 4 7- 4 9- 2 8-11 8-11 6-10 | 8- 8 12-10 12- 7 12- 4 9- 5 12- 1 11- 6 11- 6 8- 8 | 10- 7 16- 5 16- 1 14- 8 11- 1 15- 5 14- 1 14- 1 10- 7 | 12- 4 19-11 19- 6 17- 2 13- 2 18- 9 16- 3 16- 3 12- 4 | 6- 2 9- 9 9- 7 8- 6 6- 7 9- 2 8- 1 8- 1 6- 2 | 7- 9 12-10 12- 4 11- 0 8- 5 12- 1 10- 3 10- 3 7- 9 | 9- 6 16- 5 14- 7 13- 1 9-11 15- 0 12- 7 12- 7 9- 6 | 11- 0 19-11 17- 5 15- 5 11-10 17- 5 14- 7 14- 7 11- 0 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot = 0.0479 kPa.

NOTE: Check sources for availability of lumber in lengths greater than 20 feet.

a. Dead load limits for townhouses in Seismic Design Category C and all structures in Seismic Design Categories D0, D1 and D2 shall be determined in accordance

with Section R301.2.2.2.1.

TABLE R502.2.2(2) [IRC R502.3.1(2)]

Floor Joist Spans for Common Lumber Species

(Residential sleeping areas, live load=40psf, L/ =360)

| JOIST SPACING (inches) | SPECIES AND GRADE |  | DEAD LOAD = 10 psf |  |  |  | DEAD LOAD = 20 psf |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2×6 | 2×8 | 2×10 | 2×12 | 2×6 | 2×8 | 2×10 | 2×12 |
|  |  |  | Maximum floor joist spans |  |  |  |  |  |  |  |
|  |  |  | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) | (ft - in.) |
| 12 | Douglas fir-larch Douglas fir-larch Douglas fir-larch Douglas fir-larch Hem-fir Hem-fir Hem-fir Hem-fir Southern pine Southern pine Southern pine Southern pine Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir | SS #1 #2 #3 SS #1 #2 #3 SS #1 #2 #3 SS #1 #2 #3 | 11- 4 10-11 10- 9 8- 8 10- 9 10- 6 10- 0 8- 8 11- 2 10-11 10- 9 9- 4 10- 6 10- 3 10- 3 8- 8 | 15- 0 14- 5 14- 2 11- 0 14- 2 13-10 13- 2 11- 0 14- 8 14- 5 14- 2 11-11 13-10 13- 6 13- 6 11- 0 | 19- 1 18- 5 17- 9 13- 5 18- 0 17- 8 16-10 13- 5 18- 9 18- 5 18- 0 14- 0 17- 8 17- 3 17- 3 13- 5 | 23- 3 22- 0 20- 7 15- 7 21-11 21- 6 20- 4 15- 7 22-10 22- 5 21- 9 16- 8 21- 6 20- 7 20- 7 15- 7 | 11- 4 10-11 10- 6 7-11 10- 9 10- 6 10- 0 7-11 11- 2 10-11 10- 9 8- 6 10- 6 10- 3 10- 3 7-11 | 15- 0 14- 2 13- 3 10- 0 14- 2 13-10 13- 1 10- 0 14- 8 14- 5 14- 2 10-10 13-10 13- 3 13- 3 10- 0 | 19- 1 17- 4 16- 3 12- 3 18- 0 16-11 16- 0 12- 3 18- 9 18- 5 16-11 12-10 17- 8 16- 3 16- 3 12- 3 | 23- 3 20- 1 18-10 14- 3 21-11 19- 7 18- 6 14- 3 22-10 22- 5 19-10 15- 3 21- 6 18-10 18-10 14- 3 |
| 16 | Douglas fir-larch Douglas fir-larch Douglas fir-larch Douglas fir-larch Hem-fir Hem-fir Hem-fir Hem-fir Southern pine Southern pine Southern pine Southern pine Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir | SS #1 #2 #3 SS #1 #2 #3 SS #1 #2 #3 SS #1 #2 #3 | 10- 4 9-11 9- 9 7- 6 9- 9 9- 6 9- 1 7- 6 10- 2 9-11 9- 9 8- 1 9- 6 9- 4 9- 4 7- 6 | 13- 7 13- 1 12- 7 9- 6 12-10 12- 7 12- 0 9- 6 13- 4 13- 1 12-10 10- 3 12- 7 12- 3 12- 3 9- 6 | 17- 4 16- 5 15- 5 11- 8 16- 5 16- 0 15- 2 11- 8 17- 0 16- 9 16- 1 12- 2 16- 0 15- 5 15- 5 11- 8 | 21- 1 19- 1 17-10 13- 6 19-11 18- 7 17- 7 13- 6 20- 9 20- 4 18-10 14- 6 19- 6 17-10 17-10 13- 6 | 10- 4 9- 8 9- 1 6-10 9- 9 9- 6 8-11 6-10 10- 2 9-11 9- 6 7- 4 9- 6 9- 1 9- 1 6-10 | 13- 7 12- 4 11- 6 8- 8 12-10 12- 0 11- 4 8- 8 13- 4 13- 1 12- 4 9- 5 12- 7 11- 6 11- 6 8- 8 | 17- 4 15- 0 14- 1 10- 7 16- 5 14- 8 13-10 10- 7 17- 0 16- 4 14- 8 11- 1 16- 0 14- 1 14- 1 10- 7 | 21- 0 17- 5 16- 3 12- 4 19-11 17- 0 16- 1 12- 4 20- 9 19- 6 17- 2 13- 2 19- 6 16- 3 16- 3 12- 4 |
| 19.2 | Douglas fir-larch Douglas fir-larch Douglas fir-larch Douglas fir-larch Hem-fir Hem-fir Hem-fir Hem-fir Southern pine Southern pine Southern pine Southern pine Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir | SS #1 #2 #3 SS #1 #2 #3 SS #1 #2 #3 SS # #2 #3 | 9- 8 9- 4 9- 1 6-10 9- 2 9- 0 8- 7 6-10 9- 6 9- 4 9- 2 7- 4 9- 0 8- 9 8- 9 6-10 | 12-10 12- 4 11- 6 8- 8 12- 1 11-10 11- 3 8- 8 12- 7 12- 4 12- 1 9- 5 11-10 11- 6 11- 6 8- 8 | 16- 4 15- 0 14- 1 10- 7 15- 5 14- 8 13-10 10- 7 16- 0 15- 9 14- 8 11- 1 15- 1 14- 1 14- 1 10- 7 | 19-10 17- 5 16- 3 12- 4 18- 9 17- 0 16- 1 12- 4 19- 6 19- 2 17- 2 13- 2 18- 4 16- 3 16- 3 12- 4 | 9- 8 8-10 8- 3 6- 3 9- 2 8- 8 8- 2 6- 3 9- 6 9- 4 8- 8 6- 9 9- 0 8- 3 8- 3 6- 3 | 12-10 11- 3 10- 6 7-11 12- 1 10-11 10- 4 7-11 12- 7 12- 4 11- 3 8- 7 11-10 10- 6 10- 6 7-11 | 16- 4 13- 8 12-10 9- 8 15- 5 13- 4 12- 8 9- 8 16- 0 14-11 13- 5 10- 1 15- 1 12-10 12-10 9- 8 | 19- 2 15-11 14-10 11- 3 18- 9 15- 6 14- 8 11- 3 19- 6 17- 9 15- 8 12- 1 17- 9 14-10 14-10 11- 3 |
| 24 | Douglas fir-larch Douglas fir-larch Douglas fir-larch Douglas fir-larch Hem-fir Hem-fir Hem-fir Hem-fir Southern pine Southern pine Southern pine Southern pine Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir Spruce-pine-fir | SS #1 #2 #3 SS #1 #2 #3 SS #1 #2 #3 SS #1 #2 #3 | 9- 0 8- 8 8- 1 6- 2 8- 6 8- 4 7-11 6- 2 8-10 8- 8 8- 6 6- 7 8- 4 8- 1 8- 1 6- 2 | 11-11 11- 0 10- 3 7- 9 11- 3 10- 9 10- 2 7- 9 11- 8 11- 5 11- 0 8- 5 11- 0 10- 3 10- 3 7- 9 | 15- 2 13- 5 12- 7 9- 6 14- 4 13- 1 12- 5 9- 6 14-11 14- 7 13- 1 9-11 14- 0 12- 7 12- 7 9- 6 | 18- 5 15- 7 14- 7 11- 0 17- 5 15- 2 14- 4 11- 0 18- 1 17- 5 15- 5 11-10 17- 0 14- 7 14- 7 11- 0 | 9- 0 7-11 7- 5 5- 7 8- 6 7- 9 7- 4 5- 7 8-10 8- 8 7- 9 6- 0 8- 4 7- 5 7- 5 5- 7 | 11-11 10- 0 9- 5 7- 1 11- 3 9- 9 9- 3 7- 1 11- 8 11- 3 10- 0 7- 8 11- 0 9- 5 9- 5 7- 1 | 14- 9 12- 3 11- 6 8- 8 14- 4 11-11 11- 4 8- 8 14-11 13- 4 12- 0 9- 1 13- 8 11- 6 11- 6 8- 8 | 17- 1 14- 3 13- 4 10- 1 16-10a 13-10 13- 1 10- 1 18- 1 15-11 14- 0 10- 9 15-11 13- 4 13- 4 10- 1 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot = 0.0479 kPa.

NOTE: Check sources for availability of lumber in lengths greater than 20 feet.

a. End bearing length shall be increased to 2 inches.

b. Dead load limits for townhouses in Seismic Design Category C and all structures in Seismic Design Categories D0, D1, and D2 shall be determined in accordance with Section R301.2.2.2.1.

R502.2.2.2 Other floor joists. Table R502.2.2 (2) shall be used to determine the maximum allowable span of floor joists that support all other areas of the building, other than sleeping rooms and attics, provided that the design live load does not exceed 40 psf (1.92 kPa) and the design dead load does not exceed 20 psf (0.96 kPa). [IRC R502.3.2]

R502.2.2.3 Floor cantilevers. Floor cantilever spans shall not exceed the nominal depth of the wood floor joist. Floor cantilevers constructed in accordance with Table R502.2.2 3.(1) shall be -*permitted when supporting a light-frame bearing wall and roof only. Floor cantilevers supporting an exterior balcony are permitted to be constructed in accordance with Table R502.2.2.3.(2). [IRC R502.3.3]

TABLE R502.2.2.3(1) [IRC R502.3.3(1)]

CANTILEVER SPANS FOR FLOOR JOISTS SUPPORTING LIGHT-FRAME EXTERIOR BEARING WALL AND ROOF ONLY a, b, c, f, g, h

(Floor Live Load 40 psf, Roof Live Load 20 psf)

| Member & Spacing | Maximum Cantilever Span (Uplift Force at Backspan Support in Lbs.)d, e |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Ground Snow Load |  |  |  |  |  |  |  |  |  |  |  |
|  | 20 psf |  |  | 30 psf |  |  | 50 psf |  |  | 70 psf |  |  |
|  | Roof Width |  |  | Roof Width |  |  | Roof Width |  |  | Roof Width |  |  |
|  | 24 ft | 32 ft | 40 ft | 24 ft | 32 ft | 40 ft | 24 ft | 32 ft | 40 ft | 24 ft | 32 ft | 40 ft |
| 2 × 8 @ 12″ | 20″ (177) | 15″ (227) | — | 18″ (209) | — | — | — | — | — | — | — | — |
| 2 × 10 @ 16″ | 29″ (228) | 21″ (297) | 16″ (364) | 26″ (271) | 18″ (354) | — | 20″ (375) | — | — | — | — | — |
| 2 × 10 @ 12″ | 36″ (166) | 26″ (219) | 20″ (270) | 34″ (198) | 22″ (263) | 16″ (324) | 26″ (277) | — | — | 19″ (356) | — | — |
| 2 × 12 @ 16″ | — | 32″ (287) | 25″ (356) | 36″ (263) | 29″ (345) | 21″ (428) | 29″ (367) | 20″ (484) | — | 23″ (471) | — | — |
| 2 × 12 @ 12″ | — | 42″ (209) | 31″ (263) | — | 37″ (253) | 27″ (317) | 36″ (271) | 27″ (358) | 17″ (447) | 31″ (348) | 19″ (462) | — |
| 2 × 12 @ 8″ | — | 48″ (136) | 45″ (169) | — | 48″ (164) | 38″ (206) | — | 40″ (233) | 26″ (294) | 36″ (230) | 29″ (304) | 18″ (379) |

For SI: 1 inch = 25.4 mm, 1 pound per square foot = 0.0479kPa.

a. Tabulated values are for clear-span roof supported solely by exterior bearing walls.

b. Spans are based on No. 2 Grade lumber of Douglas fir-larch, hem-fir, southern pine, and spruce-pine-fir for repetitive (3 or more) members.

c. Ratio of backspan to cantilever span shall be at least 3:1.

d. Connections capable of resisting the indicated uplift force shall be provided at the backspan support.

e. Uplift force is for a backspan to cantilever span ratio of 3:1. Tabulated uplift values are permitted to be reduced by multiplying by a factor equal to 3 divided by the

actual backspan ratio provided (3/backspan ratio).

f. See Section R301.2.2.2.2, Item 1, for additional limitations on cantilevered floor joists for detached one- and two-family dwellings in Seismic Design Category

D0, D1, or D2 and townhouses in Seismic Design Category C, D0, D1, or D2.

g. A full-depth rim joist shall be provided at the cantilevered end of the joists. Solid blocking shall be provided at the cantilever support.

h. Linear interpolation shall be permitted for building widths and ground snow loads other than shown.

TABLE R502.2.2.3(2) [IRC R502.3.3(2)]

CANTILEVER SPANS FOR FLOOR JOISTS

SUPPORTING EXTERIOR BALCONY a, b, e, f

| Member Size | Spacing | Maximum Cantilever Span (Uplift Force at Backspan Support in lb)c, d |  |  |
| --- | --- | --- | --- | --- |
|  |  | Ground Snow Load |  |  |
|  |  | 30 psf | 50 psf | 70 psf |
| 2 × 8 | 12″ | 42″ (139) | 39″ (156) | 34″ (165) |
| 2 × 8 | 16″ | 36″ (151) | 34″ (171) | 29″ (180) |
| 2 × 10 | 12″ | 61″ (164) | 57″ (189) | 49″ (201) |
| 2 × 10 | 16″ | 53″ (180) | 49″ (208) | 42″ (220) |
| 2 × 10 | 24″ | 43″ (212) | 40″ (241) | 34″ (255) |
| 2 × 12 | 16″ | 72″ (228) | 67″ (260) | 57″ (268) |
| 2 × 12 | 24″ | 58″ (279) | 54″ (319) | 47″ (330) |

For SI: 1 inch = 25.4 mm, 1 pound per square foot = 0.0479kPa.

a. Spans are based on No. 2 Grade lumber of Douglas fir-larch, hem-fir, southern pine, and spruce-pine-fir for repetitive (3 or more) members.

b. Ratio of backspan to cantilever span shall be at least 2:1.

c. Connections capable of resisting the indicated uplift force shall be provided at the backspan support.

d. Uplift force is for a backspan to cantilever span ratio of 2:1. Tabulated uplift values are permitted to be reduced by multiplying by a factor  equal to 2 divided by the actual backspan ratio provided (2/backspan ratio).

e. A full-depth rim joist shall be provided at the cantilevered end of the joists. Solid blocking shall be provided at the cantilevered support.

f. Linear interpolation shall be permitted for ground snow loads other than shown.

R502.2.3 Joists under bearing partitions[IRC R502.4].  Joists under parallel bearing partitions shall be of adequate size to support the load. Double joists, sized to adequately support the load, that are separated to permit the installation of piping or vents shall be full depth solid blocked with lumber not less than 2 inches (51 mm) in nominal thickness spaced not more than 4 feet (1219 mm) on center. Bearing partitions perpendicular to joists shall not be offset from supporting girders, walls or partitions more than the joist depth unless such joists are of sufficient size to carry the additional load.

R502.2.4 Allowable girder spans[IRC R502.5]. The allowable spans of girders fabricated of dimension lumber shall not exceed the values set forth in Tables R502.2.4 (1) and R502.2.4 (2).

TABLE R502.2.4(1) [IRC R502.5(1)] GIRDER SPANS AND HEADER SPANS FOR EXTERIOR BEARING WALLS  [Remove Load 50 and 70 from table.]

| GIRDERS AND HEADERS SUPPORTING | SIZE | GROUND SNOW LOAD (psf)e |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 30 |  |  |  |  |  | 50 |  |  |  |  |  | 70 |  |  |  |  |  |
|  |  | Building widthc (feet) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 20 |  | 28 |  | 36 |  | 20 |  | 28 |  | 36 |  | 20 |  | 28 |  | 36 |  |
|  |  | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd |
| Roof and ceiling | 2-2×4 | 3-6 | 1 | 3-2 | 1 | 2-10 | 1 | 3-2 | 1 | 2-9 | 1 | 2-6 | 1 | 2-10 | 1 | 2-6 | 1 | 2-3 | 1 |
|  | 2-2×6 | 5-5 | 1 | 4-8 | 1 | 4-2 | 1 | 4-8 | 1 | 4-1 | 1 | 3-8 | 2 | 4-2 | 1 | 3-8 | 2 | 3-3 | 2 |
|  | 2-2×8 | 6-10 | 1 | 5-11 | 2 | 5-4 | 2 | 5-11 | 2 | 5-2 | 2 | 4-7 | 2 | 5-4 | 2 | 4-7 | 2 | 4-1 | 2 |
|  | 2-2×10 | 8-5 | 2 | 7-3 | 2 | 6-6 | 2 | 7-3 | 2 | 6-3 | 2 | 5-7 | 2 | 6-6 | 2 | 5-7 | 2 | 5-0 | 2 |
|  | 2-2×12 | 9-9 | 2 | 8-5 | 2 | 7-6 | 2 | 8-5 | 2 | 7-3 | 2 | 6-6 | 2 | 7-6 | 2 | 6-6 | 2 | 5-10 | 3 |
|  | 3-2×8 | 8-4 | 1 | 7-5 | 1 | 6-8 | 1 | 7-5 | 1 | 6-5 | 2 | 5-9 | 2 | 6-8 | 1 | 5-9 | 2 | 5-2 | 2 |
|  | 3-2×10 | 10-6 | 1 | 9-1 | 2 | 8-2 | 2 | 9-1 | 2 | 7-10 | 2 | 7-0 | 2 | 8-2 | 2 | 7-0 | 2 | 6-4 | 2 |
|  | 3-2×12 | 12-2 | 2 | 10-7 | 2 | 9-5 | 2 | 10-7 | 2 | 9-2 | 2 | 8-2 | 2 | 9-5 | 2 | 8-2 | 2 | 7-4 | 2 |
|  | 4-2×8 | 9-2 | 1 | 8-4 | 1 | 7-8 | 1 | 8-4 | 1 | 7-5 | 1 | 6-8 | 1 | 7-8 | 1 | 6-8 | 1 | 5-11 | 2 |
|  | 4-2×10 | 11-8 | 1 | 10-6 | 1 | 9-5 | 2 | 10-6 | 1 | 9-1 | 2 | 8-2 | 2 | 9-5 | 2 | 8-2 | 2 | 7-3 | 2 |
|  | 4-2×12 | 14-1 | 1 | 12-2 | 2 | 10-11 | 2 | 12-2 | 2 | 10-7 | 2 | 9-5 | 2 | 10-11 | 2 | 9-5 | 2 | 8-5 | 2 |
| Roof, ceiling and one center-bearing floor | 2-2×4 | 3-1 | 1 | 2-9 | 1 | 2-5 | 1 | 2-9 | 1 | 2-5 | 1 | 2-2 | 1 | 2-7 | 1 | 2-3 | 1 | 2-0 | 1 |
|  | 2-2×6 | 4-6 | 1 | 4-0 | 1 | 3-7 | 2 | 4-1 | 1 | 3-7 | 2 | 3-3 | 2 | 3-9 | 2 | 3-3 | 2 | 2-11 | 2 |
|  | 2-2×8 | 5-9 | 2 | 5-0 | 2 | 4-6 | 2 | 5-2 | 2 | 4-6 | 2 | 4-1 | 2 | 4-9 | 2 | 4-2 | 2 | 3-9 | 2 |
|  | 2-2×10 | 7-0 | 2 | 6-2 | 2 | 5-6 | 2 | 6-4 | 2 | 5-6 | 2 | 5-0 | 2 | 5-9 | 2 | 5-1 | 2 | 4-7 | 3 |
|  | 2-2×12 | 8-1 | 2 | 7-1 | 2 | 6-5 | 2 | 7-4 | 2 | 6-5 | 2 | 5-9 | 3 | 6-8 | 2 | 5-10 | 3 | 5-3 | 3 |
|  | 3-2×8 | 7-2 | 1 | 6-3 | 2 | 5-8 | 2 | 6-5 | 2 | 5-8 | 2 | 5-1 | 2 | 5-11 | 2 | 5-2 | 2 | 4-8 | 2 |
|  | 3-2×10 | 8-9 | 2 | 7-8 | 2 | 6-11 | 2 | 7-11 | 2 | 6-11 | 2 | 6-3 | 2 | 7-3 | 2 | 6-4 | 2 | 5-8 | 2 |
|  | 3-2×12 | 10-2 | 2 | 8-11 | 2 | 8-0 | 2 | 9-2 | 2 | 8-0 | 2 | 7-3 | 2 | 8-5 | 2 | 7-4 | 2 | 6-7 | 2 |
|  | 4-2×8 | 8-1 | 1 | 7-3 | 1 | 6-7 | 1 | 7-5 | 1 | 6-6 | 1 | 5-11 | 2 | 6-10 | 1 | 6-0 | 2 | 5-5 | 2 |
|  | 4-2×10 | 10-1 | 1 | 8-10 | 2 | 8-0 | 2 | 9-1 | 2 | 8-0 | 2 | 7-2 | 2 | 8-4 | 2 | 7-4 | 2 | 6-7 | 2 |
|  | 4-2×12 | 11-9 | 2 | 10-3 | 2 | 9-3 | 2 | 10-7 | 2 | 9-3 | 2 | 8-4 | 2 | 9-8 | 2 | 8-6 | 2 | 7-7 | 2 |
| Roof, ceiling and one clear span floor | 2-2×4 | 2-8 | 1 | 2-4 | 1 | 2-1 | 1 | 2-7 | 1 | 2-3 | 1 | 2-0 | 1 | 2-5 | 1 | 2-1 | 1 | 1-10 | 1 |
|  | 2-2×6 | 3-11 | 1 | 3-5 | 2 | 3-0 | 2 | 3-10 | 2 | 3-4 | 2 | 3-0 | 2 | 3-6 | 2 | 3-1 | 2 | 2-9 | 2 |
|  | 2-2×8 | 5-0 | 2 | 4-4 | 2 | 3-10 | 2 | 4-10 | 2 | 4-2 | 2 | 3-9 | 2 | 4-6 | 2 | 3-11 | 2 | 3-6 | 2 |
|  | 2-2×10 | 6-1 | 2 | 5-3 | 2 | 4-8 | 2 | 5-11 | 2 | 5-1 | 2 | 4-7 | 3 | 5-6 | 2 | 4-9 | 2 | 4-3 | 3 |
|  | 2-2×12 | 7-1 | 2 | 6-1 | 3 | 5-5 | 3 | 6-10 | 2 | 5-11 | 3 | 5-4 | 3 | 6-4 | 2 | 5-6 | 3 | 5-0 | 3 |
|  | 3-2×8 | 6-3 | 2 | 5-5 | 2 | 4-10 | 2 | 6-1 | 2 | 5-3 | 2 | 4-8 | 2 | 5-7 | 2 | 4-11 | 2 | 4-5 | 2 |
|  | 3-2×10 | 7-7 | 2 | 6-7 | 2 | 5-11 | 2 | 7-5 | 2 | 6-5 | 2 | 5-9 | 2 | 6-10 | 2 | 6-0 | 2 | 5-4 | 2 |
|  | 3-2×12 | 8-10 | 2 | 7-8 | 2 | 6-10 | 2 | 8-7 | 2 | 7-5 | 2 | 6-8 | 2 | 7-11 | 2 | 6-11 | 2 | 6-3 | 2 |
|  | 4-2×8 | 7-2 | 1 | 6-3 | 2 | 5-7 | 2 | 7-0 | 1 | 6-1 | 2 | 5-5 | 2 | 6-6 | 1 | 5-8 | 2 | 5-1 | 2 |
|  | 4-2×10 | 8-9 | 2 | 7-7 | 2 | 6-10 | 2 | 8-7 | 2 | 7-5 | 2 | 6-7 | 2 | 7-11 | 2 | 6-11 | 2 | 6-2 | 2 |
|  | 4-2×12 | 10-2 | 2 | 8-10 | 2 | 7-11 | 2 | 9-11 | 2 | 8-7 | 2 | 7-8 | 2 | 9-2 | 2 | 8-0 | 2 | 7-2 | 2 |
| Roof, ceiling and | 2-2×4 | 2-7 | 1 | 2-3 | 1 | 2-0 | 1 | 2-6 | 1 | 2-2 | 1 | 1-11 | 1 | 2-4 | 1 | 2-0 | 1 | 1-9 | 1 |
|  | 2-2×6 | 3-9 | 2 | 3-3 | 2 | 2-11 | 2 | 3-8 | 2 | 3-2 | 2 | 2-10 | 2 | 3-5 | 2 | 3-0 | 2 | 2-8 | 2 |
|  | 2-2×8 | 4-9 | 2 | 4-2 | 2 | 3-9 | 2 | 4-7 | 2 | 4-0 | 2 | 3-8 | 2 | 4-4 | 2 | 3-9 | 2 | 3-5 | 2 |
|  | 2-2×10 | 5-9 | 2 | 5-1 | 2 | 4-7 | 3 | 5-8 | 2 | 4-11 | 2 | 4-5 | 3 | 5-3 | 2 | 4-7 | 3 | 4-2 | 3 |
|  | 2-2×12 | 6-8 | 2 | 5-10 | 3 | 5-3 | 3 | 6-6 | 2 | 5-9 | 3 | 5-2 | 3 | 6-1 | 3 | 5-4 | 3 | 4-10 | 3 |
| two center-bearing floors | 3-2×8 | 5-11 | 2 | 5-2 | 2 | 4-8 | 2 | 5-9 | 2 | 5-1 | 2 | 4-7 | 2 | 5-5 | 2 | 4-9 | 2 | 4-3 | 2 |
|  | 3-2×10 | 7-3 | 2 | 6-4 | 2 | 5-8 | 2 | 7-1 | 2 | 6-2 | 2 | 5-7 | 2 | 6-7 | 2 | 5-9 | 2 | 5-3 | 2 |
|  | 3-2×12 | 8-5 | 2 | 7-4 | 2 | 6-7 | 2 | 8-2 | 2 | 7-2 | 2 | 6-5 | 3 | 7-8 | 2 | 6-9 | 2 | 6-1 | 3 |
|  | 4-2×8 | 6-10 | 1 | 6-0 | 2 | 5-5 | 2 | 6-8 | 1 | 5-10 | 2 | 5-3 | 2 | 6-3 | 2 | 5-6 | 2 | 4-11 | 2 |
|  | 4-2×10 | 8-4 | 2 | 7-4 | 2 | 6-7 | 2 | 8-2 | 2 | 7-2 | 2 | 6-5 | 2 | 7-7 | 2 | 6-8 | 2 | 6-0 | 2 |
|  | 4-2×12 | 9-8 | 2 | 8-6 | 2 | 7-8 | 2 | 9-5 | 2 | 8-3 | 2 | 7-5 | 2 | 8-10 | 2 | 7-9 | 2 | 7-0 | 2 |
| (continued) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| GIRDERS AND HEADERS SUPPORTING | SIZE | GROUND SNOW LOAD (psf)e |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 30 |  |  |  |  |  | 50 |  |  |  |  |  | 70 |  |  |  |  |  |
|  |  | Building widthc (feet) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 20 |  | 28 |  | 36 |  | 20 |  | 28 |  | 36 |  | 20 |  | 28 |  | 36 |  |
|  |  | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd | Span | NJd |
| Roof, ceiling, and | 2-2×4 | 2-1 | 1 | 1-8 | 1 | 1-6 | 2 | 2-0 | 1 | 1-8 | 1 | 1-5 | 2 | 2-0 | 1 | 1-8 | 1 | 1-5 | 2 |
|  | 2-2×6 | 3-1 | 2 | 2-8 | 2 | 2-4 | 2 | 3-0 | 2 | 2-7 | 2 | 2-3 | 2 | 2-11 | 2 | 2-7 | 2 | 2-3 | 2 |
|  | 2-2×8 | 3-10 | 2 | 3-4 | 2 | 3-0 | 3 | 3-10 | 2 | 3-4 | 2 | 2-11 | 3 | 3-9 | 2 | 3-3 | 2 | 2-11 | 3 |
|  | 2-2×10 | 4-9 | 2 | 4-1 | 3 | 3-8 | 3 | 4-8 | 2 | 4-0 | 3 | 3-7 | 3 | 4-7 | 3 | 4-0 | 3 | 3-6 | 3 |
|  | 2-2×12 | 5-6 | 3 | 4-9 | 3 | 4-3 | 3 | 5-5 | 3 | 4-8 | 3 | 4-2 | 3 | 5-4 | 3 | 4-7 | 3 | 4-1 | 4 |
| two clear span floors | 3-2×8 | 4-10 | 2 | 4-2 | 2 | 3-9 | 2 | 4-9 | 2 | 4-1 | 2 | 3-8 | 2 | 4-8 | 2 | 4-1 | 2 | 3-8 | 2 |
|  | 3-2×10 | 5-11 | 2 | 5-1 | 2 | 4-7 | 3 | 5-10 | 2 | 5-0 | 2 | 4-6 | 3 | 5-9 | 2 | 4-11 | 2 | 4-5 | 3 |
|  | 3-2×12 | 6-10 | 2 | 5-11 | 3 | 5-4 | 3 | 6-9 | 2 | 5-10 | 3 | 5-3 | 3 | 6-8 | 2 | 5-9 | 3 | 5-2 | 3 |
|  | 4-2×8 | 5-7 | 2 | 4-10 | 2 | 4-4 | 2 | 5-6 | 2 | 4-9 | 2 | 4-3 | 2 | 5-5 | 2 | 4-8 | 2 | 4-2 | 2 |
|  | 4-2×10 | 6-10 | 2 | 5-11 | 2 | 5-3 | 2 | 6-9 | 2 | 5-10 | 2 | 5-2 | 2 | 6-7 | 2 | 5-9 | 2 | 5-1 | 2 |
|  | 4-2×12 | 7-11 | 2 | 6-10 | 2 | 6-2 | 3 | 7-9 | 2 | 6-9 | 2 | 6-0 | 3 | 7-8 | 2 | 6-8 | 2 | 5-11 | 3 |

For SI: 1 inch = 25.4 mm, 1 pound per square foot = 0.0479kPa.

a. Spans are given in feet and inches.

b. Tabulated values assume #2 grade lumber.

c. Building width is measured perpendicular to the ridge. For widths between those shown, spans are permitted to be interpolated.

d. NJ - Number of jack studs required to support each end. Where the number of required jack studs equals one, the header is permitted to be supported by an approved framing anchor attached to the full-height wall stud and to the header.

e. Use 30 psf ground snow load for cases in which ground snow load is less than 30 psf and the roof live load is equal to or less than 20 psf.

TABLE R502.2.4(2) [IRC R502.5(2)]
GIRDER SPANS AND HEADER SPANS FOR INTERIOR BEARING WALLS

| HEADERS AND GIRDERS SUPPORTING | SIZE | BUILDING WIDTHc (feet) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 20 |  | 28 |  | 36 |  |
|  |  | Span | NJd | Span | NJd | Span | NJd |
| One floor only | 2-2×4 | 3-1 | 1 | 2-8 | 1 | 2-5 | 1 |
|  | 2-2×6 | 4-6 | 1 | 3-11 | 1 | 3-6 | 1 |
|  | 2-2×8 | 5-9 | 1 | 5-0 | 2 | 4-5 | 2 |
|  | 2-2×10 | 7-0 | 2 | 6-1 | 2 | 5-5 | 2 |
|  | 2-2×12 | 8-1 | 2 | 7-0 | 2 | 6-3 | 2 |
|  | 3-2×8 | 7-2 | 1 | 6-3 | 1 | 5-7 | 2 |
|  | 3-2×10 | 8-9 | 1 | 7-7 | 2 | 6-9 | 2 |
|  | 3-2×12 | 10-2 | 2 | 8-10 | 2 | 7-10 | 2 |
|  | 4-2×8 | 9-0 | 1 | 7-8 | 1 | 6-9 | 1 |
|  | 4-2×10 | 10-1 | 1 | 8-9 | 1 | 7-10 | 2 |
|  | 4-2×12 | 11-9 | 1 | 10-2 | 2 | 9-1 | 2 |
| Two floors | 2-2×4 | 2-2 | 1 | 1-10 | 1 | 1-7 | 1 |
|  | 2-2×6 | 3-2 | 2 | 2-9 | 2 | 2-5 | 2 |
|  | 2-2×8 | 4-1 | 2 | 3-6 | 2 | 3-2 | 2 |
|  | 2-2×10 | 4-11 | 2 | 4-3 | 2 | 3-10 | 3 |
|  | 2-2×12 | 5-9 | 2 | 5-0 | 3 | 4-5 | 3 |
|  | 3-2×8 | 5-1 | 2 | 4-5 | 2 | 3-11 | 2 |
|  | 3-2×10 | 6-2 | 2 | 5-4 | 2 | 4-10 | 2 |
|  | 3-2×12 | 7-2 | 2 | 6-3 | 2 | 5-7 | 3 |
|  | 4-2×8 | 6-1 | 1 | 5-3 | 2 | 4-8 | 2 |
|  | 4-2×10 | 7-2 | 2 | 6-2 | 2 | 5-6 | 2 |
|  | 4-2×12 | 8-4 | 2 | 7-2 | 2 | 6-5 | 2 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm.

a. Spans are given in feet and inches.

b. Tabulated values assume #2 grade lumber.

c. Building width is measured perpendicular to the ridge. For widths between those shown, spans are permitted to be interpolated.

d. NJ - Number of jack studs required to support each end. Where the number of required jack studs equals one, the header is permitted to be supported by an approved framing anchor attached to the full-height wall stud and to the header.

R502.2.5 Bearing[IRC R502.6].  The ends of each joist, beam or girder shall have not less than 1.5 inches (38 mm) of bearing on wood or metal and not less than 3 inches (76 mm) on masonry or concrete except where supported on a 1-inch-by-4-inch (25.4 mm by 102 mm) ribbon strip and nailed to the adjacent stud or by the use of approved joist hangers.

R502.2.5.1 Floor systems[IRC R502.6.1].  Joists framing from opposite sides over a bearing support shall lap a minimum of 3 inches (76 mm) and shall be nailed together with a minimum three 10d face nails. A wood or metal splice with strength equal to or greater than that provided by the nailed lap is permitted.

R502.2.5.2 Joist framing[IRC R502.6.2]. Joists framing into the side of a wood girder shall be supported by approved framing anchors or on ledger strips not less than nominal 2 inches by 2 inches (51 mm by 51 mm).

R502.2.6 Lateral restraint at supports[IRC R502.7]. Joists shall be supported laterally at the ends by full-depth solid blocking not less than 2 inches (51 mm) nominal in thickness; or by attachment to a full-depth header, band, or rim joist, or to an adjoining stud; or shall be otherwise provided with lateral support to prevent rotation.

Exception: Reserved.

R502.2.6.1 Bridging[IRC R502.7.1].  Joists exceeding a nominal 2 inches by 12 inches (51 mm by 305 mm) shall be supported laterally by solid blocking, diagonal bridging (wood or metal), or a continuous 1-inch-by-3-inch (25.4 mm by 76 mm) strip nailed across the bottom of joists perpendicular to joists at intervals not exceeding 8 feet (2438 mm).

R502.2.7 Drilling and notching[IRC R502.8]. Structural floor members shall not be cut, bored or notched in excess of the limitations specified in this section. See Figure R502.2.7.

R502.2.7.1 Sawn lumber[IRC R502.8.1].  Notches in solid lumber joists, rafters and beams shall not exceed one-sixth of the depth of the member, shall not be longer than one-third of the depth of the member and shall not be located in the middle one-third of the span. Notches at the ends of the member shall not exceed one-fourth the depth of the member. The tension side of members 4 inches (102 mm) or greater in nominal thickness shall not be notched except at the ends of the members. The diameter of holes bored or cut into members shall not exceed one-third the depth of the member. Holes shall not be closer than 2 inches (51 mm) to the top or bottom of the member, or to any other hole located in the member. Where the member is also notched, the hole shall not be closer than 2 inches (51 mm) to the notch.

R502.2.7 2 Engineered wood products[IRC R502.8.2]. Cuts, notches and holes bored in trusses, structural composite lumber, structural glue-laminated members or I-joists are prohibited except where permitted by the manufacturer’s recommendations or where the effects of such alterations are specifically considered in the design of the member by a registered design professional.

FIGURE R 502.2.7 [IRC R502.8]
CUTTING, NOTCHING AND DRILLING

R502.2.8 Fastening[IRC R502.9]. Floor framing shall be nailed in accordance with Table R602.2(1) Where posts and beam or girder construction is used to support floor framing, positive connections shall be provided to ensure against uplift and lateral displacement.

R502.2.9 Framing of openings[IRC R502.10].  Openings in floor framing shall be framed with a header and trimmer joists. When the header joist span does not exceed 4 feet (1219 mm), the header joist may be a single member the same size as the floor joist. Single trimmer joists may be used to carry a single header joist that is located within 3 feet (914 mm) of the trimmer joist bearing.

When the header joist span exceeds 4 feet (1219 mm), the trimmer joists and the header joist shall be doubled and of sufficient cross section to support the floor joists framing into the header. Approved hangers shall be used for the header joist to trimmer joist connections when the header joist span exceeds 6 feet (1829 mm). Tail joists over 12 feet (3658 mm) long shall be supported at the header by framing anchors or on ledger strips not less than 2 inches by 2 inches (51 mm by 51 mm).

R502.3 Add to read as shown:

R502.3 Design and construction where wind speed is 100 mph or greater. Floor framing of light-frame wood construction shall be designed and constructed in accordance with the provisions of Section R301.2.1.1, Section R502.1.

R503.2.3 Installation. Wood structural panels used as subfloor or combination subfloor underlayment shall be attached to wood framing in accordance with Table R602.2(1) and shall be attached to cold-formed steel framing in accordance with Table R505.3.1(2).

R503.3.3 Installation. Particleboard underlayment shall be installed in accordance with the recommendations of the manufacturer and attached to framing in accordance with Table R602.2(1).

Table R505.3.1(1) Change to read as follows [use table as per the 2004 FBC]:

Table R505.3.1(1)

FLOOR TO FOUNDATION OR BEARING WALL CONNECTION REQUIREMENTS

- R506.2.5 Add to read as shown:

- R506.2.5 Joints.  Concrete slabs on ground shall be provided with joints in accordance with ACI 224.3R or other approved methods. Joints shall be designed by an architect or engineer.           Exception: Joints are not required in unreinforced plain concrete slabs on ground or in slabs for one- and two-family dwellings complying with one of the following:

- 1.	Concrete slabs on ground containing synthetic fiber reinforcement. Fiber lengths and dosage amounts shall comply with one of the following

- (1)	Fiber lengths shall be ½ inch to 2 inches (13 to 51 mm) in length. Dosage amounts shall be from 0.75 to 1.5 pounds per cubic yard (0.45 to 0.89 kg/m3) in accordance with the manufacturer’s recommendations. Synthetic fibers shall comply with ASTM C 1116. The manufacturer or supplier shall provide certification of compliance with ASTM C 1116 when requested by the building official; or,

- (2)	Fiber length shall be from ½ inch to 2 inches (13 mm to 51 mm) in length, monofilament or fibrillated. Dosage amounts shall be from 0.5 to 1.5 pounds per cubic yard (0.30 to 0.89 kg/m3) to achieve minimum 40 percent reduction of plastic shrinkage cracking of concrete versus a control mix in accordance with ICBO AC32. Independent test results using minimum six (6) test specimens shall be provided to the building official showing compliance with ICBO A32. Synthetic fiber shall comply with ASTM C1116, Paragraph 4.1.3, Type III. The manufacturer or supplier shall provide certification of compliance with ASTM C1116 when requested by building official.

2.	Concrete slabs on ground containing 6x6 W1.4 × W1.4 welded wire reinforcement fabric located in the middle to the upper one-third of the slab. Welded wire reinforcement fabric shall be supported with approved materials or supports at spacings not to exceed 3 feet (914 mm) or in accordance with the manufacturer’s specifications. Welded plain wire reinforcement fabric for concrete shall conform to ASTM A 185, Standard Specification for Steel Welded Wire Reinforcement Fabric, Plain, for Concrete Reinforcement.

CHAPTER 6 WALL CONSTRUCTION

IRC Changes to FL FBC-Residential code 2007

Add Section R602.1.1.3 to read as follows:

R602.1.1.3 Structural log members. Stress grading of structural log members of nonrectangular shape, as typically used in log buildings, shall be in accordance with ASTM D 3957. Such structural log members shall be identified by the grade mark of an approved lumber grading or inspection agency. In lieu of a grade mark on the material, a certificate of inspection as to species and grade issued by a lumber- grading or inspection agency meeting the requirements of this section shall be permitted to be accepted.

Change Section R602.1.2 to read as follows:

R602.1.2 Fireblocking required. Fireblocking shall be provided to cut off all concealed draft openings (both vertical and horizontal) and to form an effective fire barrier between stories, and between a top story and the roof space. Fireblocking shall be provided inwood-frame construction in the following locations.

1. In concealed spaces of stud walls and partitions, including furred spaces and parallel rows of studs or staggered studs; as follows:

1.1. Vertically at the ceiling and floor levels.

1.2. Horizontally at intervals not exceeding 10 feet (3048 mm).

2. At all interconnections between concealed vertical and horizontal spaces such as occur at soffits, drop ceilings and cove ceilings.

3. In concealed spaces between stair stringers at the top and bottom of the run. Enclosed spaces under stairs shall comply with Section R311.2.2.

4. At openings around vents, pipes, ducts, cables and wires at ceiling and floor level, with an approved material to resist the free passage of flame and products of combustion.

5. For the fireblocking of chimneys and fireplaces, see Section R1003.19.

6. Fireblocking of cornices of a two-family dwelling is required at the line of dwelling unit separation.

Change R602.2.3 as follows:

R602.2.3 Top plate. Wood stud walls shall be capped with a double top plate installed to provide overlapping at corners and intersections with bearing partitions. End joints in top plates shall be offset at least 24 inches (610 mm). Joints in plates need not occur over studs. Plates shall be not less than 2-inches (51 mm) nominal thickness and have a width at least equal to the width of the studs.

Exception:  [Text not changed]

Replace Table R602.2(1), Fastener Schedule for Structural Members,  with Table R602.3(1) IRC ‘06 to insert the diameter and length of each nail into the table and add a new entry for collar tie to rafter (eliminates framing or blocking at roof-plane perimeters expressly for nailing purposes.  Maintain the FL Table number.

Replace Table R602.2(2), Alternate Attachments, with Table R602.3(2) IRS ’06 to increase the length and decrease the spacing of some fasteners used as alternative attachments.  Maintain FL Table number.

Change the title of Table R602.2(3) to “Wood Structural Panel Wall Sheathing”.

Change Section R602.2.7 to read as follows:

R602.2.7 Drilling and notching–studs. Drilling and notching of studs shall be in accordance with the following:

1. Notching. Any stud in an exterior wall or bearing partition may be cut or notched to a depth not exceeding 25 percent of its width. Studs in nonbearing partitions may be notched to a depth not to exceed 40 percent of a single stud width.

2. Drilling. Any stud may be bored or drilled, provided that the diameter of the resulting hole is no more than 60 percent of the stud width, the edge of the hole is no more than 5/8 inch (16 mm) to the edge of the stud, and the hole is not located in the same section as a cut or notch. Studs located in exterior walls or bearing partitions drilled over 40 percent and up to 60 percent shall also be doubled with no more than two successive doubled studs bored. See Figures R602.2.7(1) and R602.2.7(2).

Exception: Use of approved stud shoes is permitted when they are installed in accordance with the manufacturer’s recommendations.

R602.2.7.1 Drilling and notching of top plate.  When piping or ductwork is placed in or partly in an exterior wall or interior load-bearing wall, necessitating cutting, drilling or notching of the top plate by more than 50 percent of its width, a galvanized metal tie of not less than 0.054 inches thick (1.37mm) (16ga) and 1 1/2 inches (38mm) wide shall be fastened across and to the to each plate across at and to each side of the opening with not less than eight 16d nails at each side or equivalent.  See Figure R602.2.7.(1)].

Exception:  When the entire side of the wall with the notch or cut is covered by wood structural panel sheathing.

Section R602.6.1 Drilling and notching of top plate.  Change to read as shown.

## R602.6.1 Drilling and notching of top plate.  When piping or ductwork is placed in or partly in an exterior wall or interior load-bearing wall, necessitating cutting, drilling or notching of the top plate by more than 50 percent of its width, a galvanized metal tie of not less than 0.054 inches thick (1.37mm) (16ga) and 1 1/2 inches (38mm) wide shall be fastened across and to the plate at each side of the opening with not less than eight 16d 10d (0.148” diameter) nails having a minimum length of 1½ inches (38mm) at each side or equivalent. See Figure R602.6.1.

Exception: When the entire side of the wall with the notch or cut is covered by wood structural panel sheathing.  [Mod 2673r]

Change R602.2.10.1 as follows:

R602.2.10.1 Braced wall lines. Braced wall lines shall consist…not more than 8 feet (2438 mm).

A designed collector shall be provided if the bracing begins more than 12 feet (3658 mm) from each end of a braced wall line.

Change Table R602.2.10.1 as follows:

Table R602.2.10.1 WALL BRACING. [No change to table except footnote c]

c.  Methods of bracing shall be as described in Section R602.2.10.3.  The alternate braced wall panels described in Section R602.2.10.6.1 or Section R602.2.10.6.2 shall also be permitted.

Change R602.2.10.3 as follows:

R602.2.10.3 Braced wall panel construction methods. The construction of braced wall panels shall be in accordance with one of the following methods:  [No change to 1 – 8]

Exception:  Alternate braced wall panels constructed in accordance with Section R602.2.10.6.1 or R602.2.10.6.2 shall be permitted to replace any of the above methods of braced wall panels.

Change R602.2.10.4 as follows:

R602.2.10.4 Length of braced panels. [No change to text through R602.2.10.4,  1.]

2. Lengths of alternate braced wall panels shall be in accordance with Section R602.2.10.6.1 or Section R602.2.10.6.2.

Change Table R602.2.10.5 as follows:

TABLE R602.2.10.5 LENGTH REQUIREMENTS FOR BRACED WALL PANELS IN A CONTINUOUSLY SHEATHED WALL [No change to table except add footnote]

c. Walls on either or both sides of openings in garages attached to fully sheathed dwellings shall be permitted to be built in accordance with Section R602.2.10.6.2 and Figure R602.2.10.6.2 except that a single bottom plate shall be permitted and two anchor bolts shall be placed at 1/3 points. In addition, tie-down devices shall not be required and the vertical wall segment shall have a maximum 6:1 height-to-width ratio (with height being measured from top of header to the bottom of the sill plate).

Make changes to Figure R602.2.10.5 as per IRC 06.

Change R602.2.10.6 as follows:

R602.2.10.6 Alternate braced wall panel construction methods. Alternate braced wall panels shall be constructed in accordance with Sections R602.2.10.6.1 and R602.2.10.2.

R602.2.10.6.1 Alternate braced wall panels. Alternate braced wall lines constructed in accordance with one of the following provisions shall be permitted to replace each 4 feet (1219 mm) of braced wall panel as required by Section R602.2.10.4. The maximum height and minimum width of each panel shall be in accordance with Table R602.2.10.6:

1. In one-story buildings, each panel shall have a length of not less than 2 feet, 8 inches (813 mm) and a height of not more than 10 feet (3048 mm). Each panel shall be sheathed on one face with 3 / 8-inch minimum- thickness (9.5 mm) wood structural panel sheathing nailed with 8d common or galvanized box nails in accordance with Table R602.2(1) and blocked at all wood structural panel sheathing edges. Two anchor bolts installed in accordance with Figure R403.1(1) shall be provided in each panel. Anchor bolts shall be placed at panel quarter points. Each panel end stud shall have a tie-down device fastened to the foundation, capable of providing an uplift capacity in accordance with Table R602.2.10.6 of at least 1,800 pounds (816.5 kg). The tie-down device shall be installed in accordance with the manufacturer’s recommendations. The panels shall be supported directly on a foundation or on floor framing supported directly on a foundation which is continuous across the entire length of the braced wall line. This foundation shall be reinforced with not less than one No. 4 bar top and bottom. When the continuous foundation is required to have a depth greater than 12 inches (305 mm), a minimum 12-inch-by-12-inch (305 mm by 305 mm) continuous footing or turned down slab edge is permitted at door openings in the braced wall line. This continuous footing or turned down slab edge shall be reinforced with not less than one No. 4 bar top and bottom. This reinforcement shall be lapped 15 inches (381 mm) with the reinforcement required in the continuous foundation located directly under the braced wall line.

2. In the first story of two-story buildings, each braced wall panel shall be in accordance with Item 1 above, except that the wood structural panel sheathing shall be provided on both faces, sheathing edge nailing spacing shall not exceed four inches (102 mm) on center, at least three anchor bolts shall be placed at one-fifth points, and tie-down device uplift capacity shall not be less than 3,000 pounds (1360.8 kg).

R602.2.10.6.2 Alternate braced wall panel adjacent to a door or window opening. Alternate braced wall panels constructed in accordance with one of the following provisions are also permitted to replace each 4 feet (1219 mm) of braced wall panel as required by Section R602.2.10.4 for use adjacent to a window or door opening with a full-length header:

1. In one-story buildings, each panel shall have a length of not less than 16 inches (406 mm) and a height of not more than 10 feet (3048 mm). Each panel shall be sheathed on one face with a single layer of 3/8-inch-minimum-thickness (10 mm) wood structural panel sheathing nailed with 8d common or galvanized box nails in accordance with Figure R602.2.10.6.2. The wood structural panel sheathing shall extend up over the solid sawn or glued-laminated header and shall be nailed in accordance with Figure R602.2.10.6.2. Use of a built-up header consisting of at least two 2 x 12s and fastened in accordance with Table R602.2(1) shall be permitted. A spacer, if used, shall be placed on the side of the built-up beam opposite the wood structural panel sheathing. The header shall extend between the inside faces of the first full-length outer studs of each panel. The clear span of the header between the inner studs of each panel shall be not less than 6 feet (1829 mm) and not more than 18 feet (5486 mm) in length. A strap with an uplift capacity of not less than 1000 pounds (4448 N) shall fasten the header to the side of the inner studs opposite the sheathing. One anchor bolt not less than 5/8-inch-diameter (16 mm) and installed in accordance with Section R403.1.6 shall be installed in the center of each sill plate. The studs at each end of the panel shall have a tie-down device fastened to the foundation with an uplift capacity of not less than 4,200 pounds (18 683 N).

Where a panel is located on one side of the opening, the header shall extend between the inside face of the first full-length stud of the panel and the bearing studs at the other end of the opening. A strap with an uplift capacity of not less than 1000 pounds (4448 N) shall fasten the header to the bearing studs. The bearing studs shall also have a tie-down device fastened to the foundation with an uplift capacity of not less than 1000 pounds (4448 N).

The tie-down devices shall be an embedded strap type, installed in accordance with the manufacturer’s recommendations. The panels shall be supported directly on a foundation which is continuous across the entire length of the braced wall line. The foundation shall be reinforced with not less than one No. 4 bar top and bottom.

Where the continuous foundation is required to have a depth greater than 12 inches (305 mm), a minimum 12-inch-by-12-inch (305 mm by 305 mm) continuous footing or turned down slab edge is permitted at door openings in the braced wall line. This continuous footing or turned down slab edge shall be reinforced with not less than one No. 4 bar top and bottom. This reinforcement shall be lapped not less than 15 inches (381 mm) with the reinforcement required in the continuous foundation located directly under the braced wall line.

2. In the first story of two-story buildings, each wall panel shall be braced in accordance with Item 1 above, except that each panel shall have a length of not less than 24 inches (610 mm).

Add TABLE R602.2.10.6 from IRC ’06 TABLE R602.10.6. [Mo:  Check table for FL specific criteria]

TABLE R602.10.6

MINIMUM WIDTHS AND TIE-DOWN FORCES OF ALTERNATE BRACED WALL PANELS

|  |  | HEIGHT OF BRACED WALL PANEL |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Sheathed Width |  |  |  |  |
|  | TIE-DOWN | 8 ft. | 9 ft. | 10 ft. | 11 ft. | 12 ft. |
| WINDSPEED | FORCE (lb) | 2 - 4 | 2 - 8 | 2 - 8 | 3 - 2 | 3 - 6 |
| Windspeed < 100 mph | R602.10.6.1, Item 1 | 1800 | 1800 | 1800 | 2000 | 2200 |
|  | R602.10.6.1, Item 2 | 3000 | 3000 | 3000 | 3300 | 3600 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm.

a. Not permitted because maximum height is 10 feet.

Add Figure R602.2.10.6.2 from IRC ’06 FIGURE R602.10.6.2.

FIGURE R602.10.6.2

ALTERNATE BRACED WALL PANEL ADJACENT TO A DOOR OR WINDOW OPENING

Change R602.2.10.7 as follows:

R602.2.10.7 Panel joints. All vertical joints of panel sheathing shall occur over, and be fastened to, common studs. Horizontal joints in braced wall panels shall occur over blocking of a minimum of 1 1/2 inch (38 mm) thickness.

Exception: [No change]

Change R602.2.10.8 as follows:

R602.2.10.8 Connections. Braced wall line panel sole plates shall be fastened to the floor framing and top plates shall be connected to the framing above in accordance with Table R602.2(1). Sills shall be fastened to the foundation or slab in accordance with Sections R403.1.6. Where joists are perpendicular to the braced wall lines above, blocking shall be provided under and in line with the braced wall panels. Where joists are perpendicular to braced wall lines below, blocking shall be provided over and in line with the braced wall panels. Where joists are parallel to braced wall lines above or below, a rim joist or other parallel framing member shall be provided at the wall to permit fastening per Table R602.3(1).

Change R603.1.1 as follows:

R603.1.1 Applicability limits. The provisions of this section shall control the construction of exterior steel wall framing and interior load-bearing steel wall framing for buildings not greater than 60 feet (18 288 mm) long in length perpendicular to the joist or truss span, not more greater than 40 36 feet (12 192  10 973 mm) wide in width parallel to the joist span or truss span, and not more greater than two stories in height with each story not greater than 10 feet (3048 mm) high. All exterior walls installed in accordance with the provisions of this section shall be considered as load-bearing walls. Steel walls constructed in accordance with the provisions of this section shall be limited to sites subjected to a design wind speed of less than 100 miles per hour located in Exposure A, B or C.

Change R603.2 as follows:

R603.2 Structural framing. Load-bearing steel wall framing members shall comply with Figure R603.2(1) and with the dimensional and minimum thickness requirements specified in Tables R603.2(1) and R603.2(2). Tracks shall comply with Figure R603.2(2) and shall have a minimum flange width of 1 ¼ inches (32 mm). The maximum inside bend radius for members shall be the greater of 3/32 inch (2.4 mm) or twice the uncoated steel thickness. Holes in wall studs and other structural members shall not exceed 1.5 inches (38 mm) in width or 4 inches (102 mm) in length as shown in Figure R603.2(3). Holes shall be permitted only along the centerline of the web of the framing member. Holes shall not be less than 24 inches (610 mm) center to center and shall not be located less than 10 inches (254 mm) from edge of hole to end of comply with all of the following conditions:

1. Holes shall conform to Figure R603.2(3);

2. Holes shall be permitted only along the centerline of the web of the framing member;

3. Holes shall have a center-to-center spacing of not less than 24 inches (610 mm);

4. Holes shall have a width not greater than 0.5 times the member depth, or 11/2 inches (38.1 mm);

5. Holes shall have a length not exceeding 4 1/2 inches (114 mm); and

6. Holes shall have a minimum distance between the edge of the bearing surface and the edge of the hole of not less than 10 inches (254 mm).

Framing members with web holes violating the above requirements shall be patched in accordance with Section R603.3.5 or designed in accordance with accepted engineering practices.

Change R603.2.1 as follows:

R603.2.1 Material.  [No change to text except to 4 as shown]

4. Steels that comply with ASTM A 653, except for tensile and elongation, shall be permitted, provided the ratio of tensile strength to yield point is at least 1.08 and the total elongation is at least 10 percent for a 2-inch (51 mm) gage length or 7 percent for an 8-inch (203 mm) gage length. ASTM A 1003: Grades 33, 37, 40 and 50.

Change Figure R603.2(3) as per R603.2(3) of the IRC ‘06

Change R603.3.2 as shown:

R603.3.2 Load-bearing walls. Steel studs shall comply with Tables R603.3.2(2) through R603.3.2(21) (7) for steels with minimum yield strength of 33 ksi (227.7 MPa) and Tables R603.3(8) through R603.3.2(13) for steels with minimum yield strength of 50 ksi (345 MPa)..The tabulated stud thickness for structural walls shall be used when the attic load is 10 psf (0.48 kPa) or less. When an attic storage load is greater than 10 psf (0.48 kPa) but less than or equal to 20 psf (0.96 kPa), the next higher snowload column value from Tables R603.3.2(2) through R603.3.2(21) shall be used to select the stud size. The tabulated stud thickness for structural walls supporting one floor, roof and ceiling shall be used when the second floor live load is 30 psf (1.44 kPa). When the second floor live load is greater than 30 psf (1.44 kPa) but less than or equal to 40 psf (1.92 kPa) the design value in the next higher snow load column from Tables R603.2(12) through R603.3.2(21) shall be used to select the stud size.

Fastening requirements …not less than 33 mils (0.84 mm).  [No change to text]

R603.3.3 Stud bracing. The flanges of steel studs shall be laterally braced in accordance with one of the following:

1. Gypsum board installed with minimum No. 6 screws in accordance with Section R702 or structural sheathing installed in accordance with Table R603.3.2(1).

2. Horizontal steel strapping installed in accordance with Figure R603.3 at mid-height for 8-foot (2438 mm) walls, and one-third points for 9-foot and 10-foot (2743mm and 3048 mm) walls. Steel straps shall be at least 1.5 inches in width and 33 mils in thickness (38 mm by 0.84 mm). Straps shall be attached to the flanges of studs with at least one No. 8 screw. In-line blocking shall be installed between studs at the termination of all straps. Straps shall be fastened to the blocking with at least two No. 8 screws.

3. Sheathing on one side and strapping on the other side. Sheathing shall be installed in accordance with Method #1 above. Steel straps shall be installed in accordance with Method #2 above.

Replace Tables R603.3.2(2) through R603.3.2(13) with Tables R603.3.2(2) through R603.3.2(21).

Change R603.3.5 as shown:

R603.3.5 Hole patching. Web holes violating the requirements in Section R603.2 shall be designed in accordance with one of the following:

1. Framing members shall be replaced or designed in accordance with accepted engineering practices when web holes exceed the following size limits:

1.1. The depth of the hole, measured across the web, exceeds 70 percent of the flat width of the web; or

1.2. The length of the hole measured along the web exceeds 10 inches (254 mm) or the depth of the web, whichever is greater.

2. Web holes not exceeding the dimensional requirements in R603.3.5(1) shall be patched with a solid steel plate, stud section, or track section in accordance with Figure R603.3.5. The steel patch shall be as a minimum the same thickness as the receiving member and shall extend at least 1 inch (25 mm) beyond all edges of the hole. The steel patch shall be fastened to the web of the receiving member with No. 8 screws spaced no more than 1 inch (25 mm) center-to-center along the edges of the patch with a minimum edge distance of 1/2 inch (13 mm).

Stud web holes with dimensions conforming to Section R603.2 that are closer than 10 inches (254 mm)from the edge of the hole to the end of the member shall be patched with a solid steel plate, C-section or track section in accordance with Figure R603.3.5. The patch shall be of a minimum thickness as the stud member and shall extend at least 1 inch (25.4 mm) beyond all edges of the hole. The patch shall be fastened to the web with No. 8 screws (minimum) spaced not greater than 1 inch (25.4 mm) center to center along the edges of the patch, with a minimum edge distance of 1/2 inch (12.7 mm).

Change R603.6 as follows:

R603.6 Headers. Headers shall be installed above wall openings in all exterior walls and interior load-bearing walls in accordance with Figure R603.6 and Table R603.6(1) through R603.6(8) Table R603.6(2), and Table R603.6(3), or shall be designed and installed in accordance with the AISI Standard for Cold-formed Steel Framing-Header Design (COFS/Header Design).

R603.6.1 Jack and king studs. The number of jack and king studs shall comply with Table R603.6(9) R603.6(4). King and jack studs shall be of the same dimension and thickness as the adjacent wall studs. Headers constructed of C-shape framing members shall be connected to king studs in accordance with Table R603.6(10) R603.6(5). One-half of the total number of screws shall be applied to the header and one-half to the king stud by use of a minimum 2-inch by 2-inch (51 mm by 51 mm) clip angle or 4-inch (102 mm) wide steel plate. The clip angle or plate shall extend the depth of the header minus ½ inch (12.7 mm) and shall have a minimum thickness of the header members or the wall studs, whichever is thicker.

Head track spans shall comply with Table R603.6(11) and shall be in accordance with Figures R603.3 and R603.6. Increasing the head track tabular value shall not be prohibited when in accordance with one of the following:

1. For openings less than 4 feet (1219 mm) in height that have a top and bottom head track, multiply the tabular value by 1.75; or

2. For openings less than 6 feet (1829 mm) in height that have a top and bottom head track, multiply the tabular value by 1.50.

R603.7 Structural sheathing. In areas where the basic wind speed is less than 110 miles per hour (49 m/s), wood structural panel sheathing shall be installed on all exterior walls of buildings

in accordance with this section. Wood structural panel sheathing shall consist of minimum 7/16-inch-thick (11 mm) oriented-strand board or 15/32-inch-thick (12 mm) plywood and shall be installed on all exterior wall surfaces in accordance with Section R603.7.1 and Figure R603.3. The minimum length of full height sheathing on exterior walls shall be determined in accordance with Table R603.7, but shall not be less than 20 percent of the braced wall length in any case. The minimum percentage of full height sheathing in Table R603.7 shall include only those sheathed wall sections, uninterrupted by openings, which are a minimum of 48 inches (1120 mm) wide. The minimum percentage of full-height structural sheathing shall be multiplied by 1.10 for 9-foot-high (2743 mm) walls and multiplied by 1.20 for 10-foot-high (3048 mm) walls. In addition, structural sheathing shall:

1. Be installed with the long dimension parallel to the stud framing and shall cover the full vertical height of studs, from the bottom of the bottom track to the top of the top track of each story.

2. Be applied to each end (corners) of each of the exterior walls with a minimum 48-inch-wide (1219 mm) panel.

R603.7.1 Structural sheathing fastening. All edges and interior areas of wood structural panel sheathing shall be fastened to a framing member and tracks in accordance with Table R603.3.2(1).

Change Tables R603.6(1) through R603.6(5) per Tables R603.6(1) through R603.6(11) of the IRC ’06

Change Figure R603.6 to agree with the IRC ’06, HEADER DETAIL.

Change R606.3 as follows:

R606.3 Corbeled masonry. Solid masonry units shall be used for corbeling. The maximum corbeled projection beyond the face of the wall shall not be more than one-half of the wall thickness or one-half the wythe thickness for hollow walls; the maximum projection of one unit shall not exceed one-half the height of the unit or one-third the thickness at right angles to the wall. The top course of corbels shall be a header course wWhen the corbeled masonry is used to support floor or roof-framing members, the top course of the corbel shall be a header course or the top course bed joint shall have ties to the vertical wall projection. The hollow space behind the corbeled masonry shall be filled with mortar or grout.

Change R606.4 as follows:

R606.4 R606.3.1 Support conditions. Bearing and support conditions shall be in accordance with Sections R606.4.1 and R606.4.2.

R606.4.1 Bearing on support. Each masonry wythe shall be supported by at least two-thirds of the wythe thickness.

R606.4.2 Support at foundation. Cavity wall or masonry veneer construction may be supported on an 8-inch (203 mm) foundation wall, provided the 8-inch (203 mm) wall is corbeled with solid masonry to the width of the wall system above. The total horizontal projection of the corbel shall not exceed 2 inches (51 mm) with individual corbels projecting not more than one-third the thickness of the unit or one-half the height of the unit. The top course of all corbels shall be a header course.

Section R606.9 Reinforcement.  Change to read as shown.

R606.9 Reinforcement. Reinforcing steel shall be a minimum of Grade 60 or Grade 40 No. 5 or No. 4 bars and shall be identified in an approved manner.  [Mod 2683r]

Table R606.9.2 Lap Splice Lengths.  Change to read as shown.

| TABLE R606.9.2 |  |
| --- | --- |
| LAP SPLICE LENGTHS |  |
| Bar Size (No.) | Lap Length (in.) |
| 3 | 15 |
| 4 | 20 |
| 5 | 25 |
| 6 | 42 34 |
| 7 | 59 42 |

[Mod 2677r] [Mod 2678r]

Change Table R606.9.10.1 as follows:

TABLE R606.9.10.1 MINIMUM CORROSION PROTECTION

[No change except to the following line]

| Sheet metal ties or anchors completely Embedded in mortar or grout | ASTM A 653 525, Coating Designation Class G60 |
| --- | --- |

TABLE R611.2

REQUIREMENTS FOR ICF WALLSb

| WALL TYPE AND NOMINAL SIZE | MAXIMUM WALL WEIGHT (psf)c | MINIMUM WIDTH OF VERTICAL CORE (inches)a | MINIMUM THICKNESS OF VERTICAL CORE (inches)a | MAXIMUM SPACING OF VERTICAL CORES (inches) | MAXIMUM SPACING OF HORIZONTAL CORES (inches) | MINIMUM WEB THICKNESS (inches) |
| --- | --- | --- | --- | --- | --- | --- |
| 3.5″ Flatd | 44d | N/A | N/A | N/A | N/A | N/A |
| 5.5″ Flat | 69 | N/A | N/A | N/A | N/A | N/A |
| 7.5″ Flat | 94 | N/A | N/A | N/A | N/A | N/A |
| 9.5″ Flat | 119 | N/A | N/A | N/A | N/A | N/A |
| 6″ Waffle-Grid | 56 | 6.25 | 5 | 12 | 16 | 2 |
| 8″ Waffle-Grid | 76 | 7 | 7 | 12 | 16 | 2 |
| 6″ Screen-Grid | 53 | 5.5 | 5.5 | 12 | 12 | N/A |

For SI: 1 inch = 25.4 mm; 1 pound per cubic foot = 16.018 kg/m3; 1 pound per square foot = 0.0479 kPa.

a. For width “W”, thickness “T”, spacing, and web thickness, refer to Figures R611.4 and R611.5.

b. N/A indicates not applicable.

c. Wall weight is based on a unit weight of concrete of 150 pcf. The tabulated values do not include any allowance for interior and exterior finishes.

d. For all buildings in Seismic Design Category A or B, and detached one- and two-family dwellings in Seismic Design Category C the actual wall thickness is permitted to be up to 1 inch thicker than shown and the maximum wall weight to be 56 psf. Construction requirements and other limitations within Section R611 for 3.5-inch flat ICF walls shall apply. Interpolation between provisions for 3.5-inch and 5.5-inch flat ICF walls is not permitted.

Section R606.12 Masonry opening tolerances.  Add to read as shown.  [Added June 27, 2007 by the Commission]

R606.12 Masonry Opening Tolerances. Masonry rough openings may vary in the cross section dimension or elevation dimension specified on the approved plans from - ¼ inches (6.4 mm) to + ½ inches (12.7 mm). For exterior window and door installation provisions see Sections R613.7 and R613.8.  [Mod 2574r]

Section R609.1.1 Grout.  Change to read as shown.

R609.1.1 Grout. Grout shall consist of cementitious material and aggregate in accordance with ASTM C 476 and the proportion specifications of Table R609. 1.1. Type M or Type S mortar to which sufficient water has been added to produce pouring consistency can be used as grout. when it has been tested in accordance with ASTM C 1019 and is shown to meet the minimum required specified strength of  2500 psi or the specified f\m if greater than 2500 psi.  Additionally, a slump test must be done to each batch to assure that it meets the required 8 to 11 inch slump.  [Mod 2692r]

Section R609.2.4 Corner continuity.  Change to read as shown.

R609.2.4 Corner continuity. Corner continuity. Reinforcement in bond beams shall be continuous around corners as detailed in Figure R609.2.4.  [Mod 2691]

Change R611.4 and R611.5 as follows:

R611.4 Waffle-grid insulating concrete form wall systems. Waffle-grid wall systems shall comply with Figure R611.4 and shall have reinforcement in accordance with Tables R611.3(1) and R611.4(1) and Section R611.7. The minimum core dimensions shall comply with Table R611.2 4(2).

R611.5 Screen-grid insulating concrete form wall systems. Screen-grid ICF wall systems shall comply with Figure R611.5 and shall have reinforcement in accordance with Tables R611.3(1) and R611.5 and Section R611.7. The minimum core dimensions shall comply with Table R611.2 4(2).

Delete Table R611.4(2)

Change R611.7.1.2 as follows:

R611.7.1.2 Vertical steel. Above-grade concrete walls shall have reinforcement in accordance with Sections R611.3, R611.4, or R611.5 and R611.7.2. All vertical reinforcement in the top-most ICF story shall terminate with a 90-degree (1.57 rad) standard hook in accordance with Section R611.7.1.5. The free end of the hook shall be within 4 inches (102mm)of the top of the ICF wall and shall be oriented parallel to the horizontal steel in the top of the wall. bend or standard hook and be provided with a minimum lap splice of 24 inches (610 mm) with the top horizontal reinforcement.

Above-grade ICF walls …greater amount of reinforcement. [No change to paragraph]

Vertical reinforcement shall be …shall have a standard hook. [No change to paragraph]

Change Table R611.7(4) as follows [No change to table except to footnote g]

g. For actual wall lintel width, refer to Table R611.2 R611.4(2).

Change Table R611.7(5) as follows [No change to table except to footnote g]

g. For actual wall lintel width, refer to Table R611.2 R611.4(2).

Change Table R611.7(6) as follows [No change to table except to footnote h]

h. For actual wall lintel width, refer to Table R611.2 R611.4(2).

Change Table R611.7(7) as follows [No change to table except to footnote h]

h. For actual wall lintel width, refer to Table R611.2 R611.4(2).

Change Table R611.7(9) as follows [No change to table except to footnote g]

g. Actual thickness is shown for flat lintels; nominal thickness is given for waffle-grid and screen-grid lintels. Lintel thickness corresponds to the nominal waffle-grid and screen-grid ICF wall thickness. For actual wall lintel width, refer to Table R611.2 R611.4(2).

Change R611.8.2 as follows:

R611.8.2 Ledger bearing. Wood ledger boards supporting bearing ends of joists or trusses shall be anchored to flat ICF walls with minimum thickness of 5.5 inches (140 mm) and to waffle- or screen-grid ICF walls with minimum nominal thickness of 6 inches (152 mm) in accordance with Figure R611.8(2), R611.8(3), R611.8(4) or R611.8(5) and Table R611.8(1).Wood ledger boards supporting bearing ends of joists or trusses shall be anchored to flat ICF walls with minimum thickness of 3.5 inches (140 mm) in accordance with Figure R611.8(4) or R611.8(5) and Table R611.8(1). The ledger shall be a minimum 2 by 8, No. 2 Southern Pine or No. 2 Douglas Fir. Ledgers anchored to nonload-bearing walls to support floor or roof sheathing shall be attached with 1/2 inch (12.7 mm) diameter or headed anchor bolts spaced a maximum of 6 feet (1829 mm) on center. Anchor bolts shall be embedded a minimum of 4 inches (102 mm) into the concrete. measured from the inside face of the insulating form. For insulating forms with a face shell thickness of 1.5 inches (38 mm) or less, the hole in the form shall be a minimum of 4 inches (102 mm) in diameter. For insulating forms with a face shell thicker than 1.5 inches (38 mm), the diameter of the hole in the form shall be increased by 1 inch (25 mm) for each 1/2 inch (13 mm) of additional insulating form face shell thickness. The ledger board shall be in direct contact with the concrete at each bolt location.

Change R611.8.3 as follows:

R611.8.3 Floor and roof diaphragm construction. Floor and roof diaphragms shall be constructed of wood structural wood sheathing panels sheathing attached to wood framing in accordance with Table R602.3(1) or Table R602.3(2) or to cold-formed steel floor framing in accordance with Table R505.3.1(2) or to cold-formed steel roof framing in accordance with Table R804.3.

Change R613.1 as follows:

R613.3.1.1 Performance. Exterior windows and doors shall be designed to resist the design wind loads specified in Table R301.2(2) adjusted for height and exposure per Table R301.2(3).

Section R613.3 Exterior windows, sliding and patio glass doors.  Change to read as shown.

R613.3 Exterior windows, sliding and patio glass doors.

R613.3.1 Testing and labeling.  Exterior windows and glass doors shall be

tested by an approved independent testing laboratory, and shall be labeled

with an approved permanent label identifying the manufacturer, the products model/series number, performance characteristics and approved product certification agency, testing laboratory, evaluation entity or Miami-Dade Product Approval notice of acceptance to indicate compliance with the requirements of one of the following specifications:

ANSI/AAMA/NWWDA 101/I.S.2 or 101/I.S.2/NAFS or AAMA/WDMA/CSA 101/I.S.2/A440 or TAS 202 (HVHZ shall comply with TAS 202 utilizing

ASTME E 1300-98 OR ASTM E 1300-02.)

Exceptions:

- Door assemblies installed in nonhabitable areas where the door assembly and area designed to accept water infiltration need not be tested for water infiltration.

- Door assemblies installed where the overhang (OH) ratio is equal

to or more than 1 need not be tested for water infiltration.  The

overhang ratio shall be calculated by the following equation:

OH ratio = OH length/OH height

Where:

OH length = The horizontal measure of how far an overhang over a

door projects out from the door’s surface.

OH height = The vertical measure of the distance from the door’s

sill to the bottom of the overhang over a door.

- Pass-through windows for serving from a single-family kitchen, where protected by a roof overhang of 5 feet (1.5 m) or more shall be exempted from the requirements of the water infiltration test.

The permanent label is limited to only one design pressure rating per reference standard per label.  Exterior windows and glass doors shall be labeled with a temporary  supplemental label printed and applied by the manufacturer.  The label shall identify the manufacturer, products model/series number, positive and  negative design pressure rating, products maximum size, glazing thickness, indicate impact rated if applicable, Florida Product Approval or Miami-Dade Product Approval number if applicable, and applicable test standard.  The supplemental label is limited to only one design pressure rating per reference standard per label. This supplemental label shall remain on the window until final approval by the building official.

The permanent label is always the default label in case the temporary label is missing or no longer legible for final approval by the building official.

Glass Strength: Products tested and labeled as conforming to the requirements of Section R613.3.1 ANSI/AAMA/NWWDA 101/I.S.2 or 101/I.S. 2/NAFS or AAMA/WDMA/CSA 101/I.S.2/A440 or TAS 202 shall not be subject to the requirements of the Florida Building Code, Building.  Determination of load resistance of glass for specific specified loads of products not tested and certified in accordance with Section R613.3.1 shall be designed and labeled to comply with ASTM E 1300.  The supplemental label shall designate the type and thickness of glass or glazing material.  [Mod 2593r]

Section R613.3.1.1 Testing and labeling.  Add to read as shown.  [Added June 27, 2007 by the Commission]

R613.3.1.1 Testing and labeling of skylights.  Exterior skylights shall be tested by an approved independent testing laboratory, and shall be labeled with an approved permanent label dentifying the manufacturer, the products model/series number, performance characteristics and approved product evaluation entity to indicate compliance with the requirements of the following specification:

AAMA/WDMA 101/I.S.2/NAFS, Voluntary Performance Specification for Windows, Skylights and Glass Doors, or TAS 202 (HVHZ shall comply with TAS 202).

The permanent label is limited to only one design pressure rating per reference standard per label.

Exterior skylights shall be labeled with a temporary supplemental label printed and applied by the manufacturer.  The label shall identify the manufacturer, products model/series number, positive and negative design pressure rating, products maximum size, glazing thickness, indicate impact rated if applicable, Florida Product Approval or Miami-Dade Product Approval number if applicable, and applicable test standard. The supplemental label is limited to only one design pressure rating per reference standard per label.  This supplemental label shall remain on the window until final approval by the building official. The permanent label is always the default label in case the temporary label is missing or no longer legible for final approval by the building official.  [Mod 2600r] [Mod 2601r]

Section R613.3.2 Supplemental label.  Change to read as shown.

R613.3.2 Supplemental label.  A temporary supplemental temporary label conforming to AAMA 203, Procedural Guide for the Window Inspection and Notification System, shall be acceptable for establishing calculated allowable design pressures higher than indicated on the label required by Section R613.3.1 for window sizes smaller than that required by the ANSI/AAMA/NWWDA 101/I.S.2 or 101/I.S.2/NAFS or AAMA/WDMA/CSA 101/I.S.2/A440 test requirements. This supplemental label shall remain on the window until final approval by the building official.  [Mod 2600r]

Exception: 1

Comparative analysis of operative windows and glazed doors may be made provided the proposed unit complies with the following:

1.	Shall always be compared with a tested and currently approved unit.

2.	Varies only in width, height and/or load requirements.

3.	Shall not exceed 100 percent of the proportional deflection for fiber stress of the intermediate members of the approved unit.

4.	Shall conform as to extruded members, reinforcement and in all other ways with the tested approved unit.

5.	Shall not exceed 100 percent of the concentrated load at the juncture of the intermediate members and the frame of the approved unit.

6.	Shall not permit more air and water infiltration than the approved unit based on the height above grade.

7.	Pass-through windows for serving from a single-family kitchen, 	where protected by a roof overhang of 5 feet (1.5 m) or more shall be 	exempted from the requirements of the water infiltration test.

7.	Compared unit shall not exceed the maximum cyclic pressure when tested per TAS203 or ASTM E 1886 and ASTM E 1996.

Exception: 2

Comparative analysis of fixed glass windows may be made provided the proposed unit complies with the following:

1.	Shall always be compared with a tested and currently approved unit.

2.	Varies only in width, height and/or load requirements.

3.	The design is identical in all respects. e.g., extrusions, glazing system, joinery, fasteners, etc.

4.	Shall not permit more air and water infiltration than the approved unit based on height above grade.

5.	The maximum uniform load distribution (ULD) of any side is equal to the uniform load carried by the side divided by the length of the side.

6.	The ULD of any member must not exceed the ULD of the corresponding member of the tested window.

7.	The uniform load distribution on each member shall be calculated in accordance to Section 2, Engineering Design Rules, of the AAMA 103.3 Procedural Guide.

8.	Compared unit shall not exceed the maximum cyclic pressure when tested per TAS203 or ASTM E 1886 and ASTM E 1996.  [Mod 2579]

R613.4 Exterior door assemblies. Exterior door assemblies not covered by Sections R613.3 or R613.4.3 shall comply with Sections R613.4.1 or R613.4.2.

R613.4.1 Exterior door assemblies shall be tested for structural integrity in accordance with ASTME 330 Procedure A at a load of 1.5 times the required design pressure load. The load shall be sustained for 10 seconds with no permanent deformation of any main frame or panel member in excess of 0.4 percent of its span after the load is removed. HVHZ shall comply with TAS 202. After each specified loading, there shall be no glass breakage, permanent damage to fasteners, hardware parts, or any other damage which causes the door to be inoperable. The minimum test sizes and minimum design pressures shall be as indicated in Table R613.4. The unit size tested shall qualify all units smaller in width and/or height of the same operation type and be limited to cases where frame, panels and structural members maintain the same profile as tested.

R613.4.2 Sectional garage doors shall be tested for determination of structural performance under uniform static air pressure difference in accordance with ANSI/DASMA 108 or TAS 202 (HVHZ shall comply with TAS 202).

R613.4.3 Custom doors. Custom (one of a kind) exterior door assemblies shall be tested by an approved testing laboratory or be engineered in accordance with accepted engineering practices.

R613.4.4 Door components evaluated by an approved product evaluation entity, certification agency, testing laboratory or engineer may be interchangeable in exterior door assemblies provided that the door component( s) provide equal or greater structural performance as demonstrated by accepted engineering practices.

R613.4.4.1 Optional exterior door component testing. With the exception of HVHZ, exterior side-hinged door assemblies not covered by Section R613.3 shall have the option to have the components of the assembly tested and rated for structural integrity in accordance with the following specification:

SDI A250.13

Following the structural testing of exterior door components, there shall be no permanent deformation of any perimeter frame or panel member in excess of 0.4 percent of its span after the load is removed. After each specified loading, there shall be no glass breakage, permanent damage to fasteners, hardware parts, or any other damage that causes the door to be inoperable, as applicable.

Section R613.4.5 Garage Door Labeling.  Add to read as shown.

R613.4.5 Garage door labeling.  Garage doors shall be labeled with a permanent label provided by the manufacturer.  The label shall identify the manufacturer, the garage door model/series number, the positive and negative design pressure rating, indicate impact rated if applicable, the installation instruction drawing reference number, the Florida Product Approval or Miami-Dade Product Approval number if applicable, and the applicable test standards.

The required garage door components for an approved garage door assembly may be indicated using a checklist format on the label.  If a checklist format is used on the label, the installer or manufacturer shall mark the selected components on the checklist that are required to assemble an approved garage door system.

The installation instructions shall be provided and available on the job site.  [Mod 2376]

R613.5 Windborne debris protection. Protection of exterior windows , glass doors and other glazed areas shall be in accordance with Section R 301.2.1.2.

R613.6 Anchorage methods.

R613.6.1 Anchoring requirements. Window and door assembly anchoring systems shall be tested to achieve the design pressure specified. Substitute anchoring systems shall provide equal or greater anchoring performance as demonstrated by accepted engineering practice. When provided, the manufacturer’s published installation instructions for as tested or substitute anchoring systems can be used. In no case shall the anchorage exceed the spacing for the tested rated performance.

R613.6.1.1 Masonry, concrete or other structural substrate. Where the wood shim or buck thickness is less than 1 1/2 inches (38 mm), window and door assemblies shall be anchored through the main frame or by jamb clip or subframe system, in accordance with the manufacturers published installation instructions. Anchors shall be securely fastened directly into the masonry, concrete or other structural substrate material. Unless otherwise tested, bucks shall extend beyond the interior face of the window or door frame such that full support of the frame is provided. Shims shall be made from materials capable of sustaining applicable loads, located and applied in a thickness capable of sustaining applicable loads. Anchors shall be provided to transfer load from the window or door frame to the rough opening substrate.

Where the wood buck thickness is 11/2 inches (38 mm) or greater, the buck shall be securely fastened to transfer load to the masonry, concrete or other structural substrate and the buck shall extend beyond the interior face of the window or door frame. Window and door assemblies shall be anchored through the main frame or by jamb clip or subframe system or through the flange to the secured wood buck in accordance with the manufacturers published installation instructions. Unless otherwise tested, bucks shall extend beyond the interior face of the window or door frame such that full support of the frame is provided. Shims shall be made from materials capable of sustaining applicable loads, located and applied in a thickness capable of sustaining applicable loads. Anchors shall be provided to transfer load from the window or door frame assembly to the secured wood buck.

R613.6.1.2 Wood or other approved framing material. Where the framing material is wood or other approved framing material, window and glass door assemblies shall be anchored through the main frame or by jamb clip or subframe system or through the flange in accordance with the manufacturer’s published installation instructions. Shims shall be made from materials capable of sustaining applicable loads, located and applied in a thickness capable of sustaining applicable loads. Anchors shall be provided to transfer load from the window or door frame to the rough opening substrate.

R613.7 Mullions occurring between individual window and glass door assemblies.

R613.7.1 Mullions. Mullions, other than mullions which are an integral part of a window or glass door assembly tested and labeled in accordance with Section R613.3.1, shall be tested by an approved testing laboratory in accordance with AAMA 450 or be engineered in accordance with accepted engineering practice.

R613.7.1.1 Engineered mullions. Mullions qualified by accepted engineering practice shall comply with the performance criteria in Sections R613.7.2, R613.7.3, and R613.7.4.

R613.7.1.2 Mullions tested as stand alone units. Mullions tested as stand alone units in accordance with AAMA 450 shall comply with the performance criteria in Sections R613.7.2, R613.7.3, and R613.7.4.

R613.7.1.3 Mullions tested in an assembly. Mullions qualified by a test of an entire assembly in accordance with AAMA 450 shall comply with Sections R613.7.2 and R613.7.4.

R613.7.2 Load transfer.  Mullions shall be designed to transfer the design pressure loads applied by the window and door assemblies to the rough opening substrate.

R613.7.3 Deflection.  Mullions shall be capable of resisting the design pressure loads applied by the window and door assemblies to be supported without deflecting more than L/175, where L is the span of the mullion in inches.

R613.7.4 Structural safety factor.  Mullions shall be capable of resisting a load of 1.5 times the design pressure loads applied by the window and door assemblies to be supported without exceeding the appropriate material stress levels. If tested by an approved laboratory, the 1.5 times the design pressure load shall be sustained for 10 seconds, and the permanent deformation shall not exceed 0.4 percent of the mullion span after the 1.5 times design pressure load is removed.

Section R613.7.5. Installation instruction for exterior windows and doors.  Change to read as shown.  [Added June 27, 2007 by the Commission]

R613.7.5 Installation instruction for exterior windows and doors.  Windows and doors shall be installed in accordance with ASTM E 2112 or in accordance with the manufacturer’s installation instruction.  [Mod 2574r]

R613.8 Flashing, sealants and weatherstripping.  Change to read as shown.  [Added June 27, 2007 by the Commission]

R613.8.1 Flashing, sealants and weatherstripping.  Flashing and sealants for exterior windows and doors shall comply with Section R703.8. All exterior fenestration products shall be sealed at the juncture with the building wall with a sealant complying with AAMA 800 and ASTM C 920 Class 25 Grade NS or greater for proper joint expansion and contraction, ASTM C1281, AAMA 812, or other approved standard as appropriate for the type of sealant.

R613.8.2 Masonry rough openings.  Masonry rough opening dimensions shall be within the tolerances specified at Section R606.12 and in addition shall provide for a window perimeter sealant joint a maximum of ¼ inches in width.  [Mod 2574r]

Section R615 add new section to read as shown.

R615 Impact resistant coverings.

R615.1 Impact resistant coverings shall be tested at 1.5 times the design pressure (positive or negative) expressed in pounds per square feet as determined by the Florida Building Code, Building Section 1609 for which the specimen is to be tested.

R615.1.1 Impact resistant coverings. Impact resistant coverings shall be labeled in accordance with the provisions of Section 1714.8.

R615.2 Impact resistant coverings.

R615.2.1 Labels. A permanent label shall be provided by the product approval holder on all impact resistant coverings.

R615.2.1 2 The following information shall be included on the labels on impact resistant coverings:

- Product approval holder name and address.

- All applicable methods of approval. Methods of approval include, but, are not limited to Miami-Dade NOA; Florida Building Commission, TDI Product Evaluation; ICC-ES.

- The test standard or standards specified at Section 1609.1.4, including standards referenced within the test standards specified at Section 1609.1.4 used to demonstrate code compliance.

- For products with a Florida Product Approval Number or a Miami-Dade County Building Code Compliance Office Notice of Acceptance Number (NOA), such numbers shall be included on the label.

R615.3 Location of label. The location of the label on the impact resistant covering shall be as follows:

- Accordions: Bottom of the locking bar or center mate facing the exterior or outside.

- Rollup: On the bottom of the hood facing the exterior or outside or on the bottom slat facing the exterior or outside.

- Bahama Awning or Colonial Hinged: On the bottom, placed on the back of the shutter.

- Panels: For metal and plastic panels the label may be embossed or printed spaced not more than every three (3) lineal feet on each panel. The label shall be applied by the holder of the product approval and shall face the exterior or outside.

- Framed products: The label shall be on the side or bottom facing the exterior or outside.

- Labels on all other products shall face the exterior or outside.

R615.4 Installation. All impact resistant coverings shall be installed in accordance with the manufacturer’s installation instructions and in accordance with the product approval. Installation instructions shall be provided and shall be available to inspection personnel on the job site. Opening protection components, fasteners, and other parts evaluated by an approved product evaluation entity, certification agency, testing laboratory, architect, or engineer and approved by the holder of the product approval may be interchangeable in opening protection assemblies provided that the opening protection component(s) provide equal or greater structural performance and durability as demonstrated by testing in accordance with approved test standards.  [Mod 2682r]

Section R616 Prescriptive requirements for window installation in wood frame construction.  Add to read as shown.  [Added June 27, 2007 by the Commission]

R616 Prescriptive Requirements for Window Installation in Wood Frame Construction

R616.1 General

R616.1.1 The provisions of this section shall cover the installation of windows in buildings utilizing a membrane/drainage system of not more than 3 stories in height.

R616.1.2 The provisions of this section apply to windows which employ a mounting flange or fin that is attached and sealed to the window perimeter frame and is designed as an installation fastening appendage.

R616.1.3 The provisions of this section cover the installation process for the described windows and do not include fabrication techniques that would be required to join individual windows to each other, either horizontally or vertically. It does not cover any other factory or field fabrication which joins or combines multiple windows. The instructions for mulling windows together and any accessories required must be supplied by the window manufacturer.

R616.1.4 The provisions of this section provide minimum requirements for window installation, based on current best practices. Actual conditions in buildings may vary. In cases where variations occur the installer shall consult with the window manufacturer or registered design professional. If the provisions of this section conflicts with the manufacturer’s instruction, the manufacturer’s instruction shall take precedence.

R616.2.1 Water-Resistive Barriers (WRB) The installation of the WRB shall be installed prior to the window installation. The application of the WRB involves covering the vertical surfaces of the wall, lapped, fastened, taped, and sealed per the WRB manufacturer’s instructions.  Penetrations through the WRB for the installation of windows shall be made pursuant to this standard by the window installer. Apply the WRB in water shedding fashion, starting at the base of the wall and working towards the top. Install the water-resistive barrier (WRB) to the face of the building framing or sheathing.

R616.2.2 Sealants  All gunable sealants shall comply with AAMA 808.5 (per AAMA 800) and ASTM C 920 Class 25 Grade NS or greater for proper joint expansion and contraction. If preformed tapes are used they shall meet ASTM C1281 specification. Prior to using the sealants the applicator shall seek input from sealant manufacturer for proper joint design, material compatibility, and sealant selection.  Aerosol foam sealants shall perform to the AAMA 812 standard.

R616.2.3 Cladding Application Stucco and other cladding shall not be installed prior to window installation.

R616.2.4 Pre-Installation

R616.2.4.1 Pre-Installation Inspection. Prior to the installation of the window an inspection of the WRB shall be made by the window installer to ensure that it has been installed in accordance with the WRB manufacturer’s instructions.  Any tears, penetrations, or defects within 12 inches past the rough opening area shall be sealed per the WRB manufacturer’s instructions before the installation starts.  Refer to ASTM C 755.

R616.3   Window Installation Procedures

R616.3.1  Installation Procedures

R616.3.1.1 In the event that the WRB has not been modified the installer shall complete the following steps. Carefully cut the WRB in a modified “I” pattern per ASTM E2112.  A full “I” cut is also acceptable.  Fold the bottom and side flaps over and behind the interior side of the framing. Attach the WRB into position on the inside of the rough opening, and trim any excess as required.

R616.3.1.2 At the head of the opening, starting at the top corner of the window (rough) opening, measure from the corner horizontal and then vertical a dimension equal to the roll width of the flashing to be applied, and make a mark. At a 45° angle, carefully cut the WRB on a diagonal. Repeat this step on the opposite corner. Gently raise the bottom edge of the flap created in the WRB up and temporarily tape the top corners and center to the exterior face of the WRB above. This is done in order to allow for installation of the window and head flashing later.

R616.3.2 Apply horizontal sill flashing material.  If a rigid or semi-rigid sill pan system is used, apply sill flashing level with the top edge of the rough opening sill.

R616.3.2.1 Self-adhering flashing (SAF) is able to serve as both horizontal sill flashing and the sill pan with sufficient width. The self-adhered flashing must cover the sill to at least the depth of the window plus 2 inches onto the face of the WRB drainage plane. Cut the sill flashing long enough to extend an equal distance beyond the rough opening width. Cut a length equal to the rough opening width plus two times the roll width of the jamb flashing.  When mechanical flashing is used the minimum roll width shall be 9 inches, while self adhering flashing shall be a minimum of 4 inches.

R616.3.3 Install a rigid or semi-rigid sill pan system. The pan shall direct water to the exterior or to the membrane drainage plane for subsequent drainage to the exterior of the building. When the sill pan is made of metal and includes end dams, seal the sill pan into position, integrating the end dams with the WRB and the down turned leg of the sill pan with the flashing. Self-adhering flashing may also be used to seal the end dam to the WRB at the jamb condition.

R616.3.4 Inspect and clean the back side (interior surface) of the exterior window mounting flange.  Look for any missing seals at the corner joinery.  If corner seals are missing or need to be touched up, contact the window manufacturer for the recommended type of sealant to apply and then reapply as necessary.

R616.3.5 Apply a continuous 3/8-inch nominal diameter bead of sealant to the back surface (interior face) of the mounting flange of the window at the head and both jambs. Apply sealant in line with any pre-punched holes or slots in the mounting flange. Connect that bead of sealant across any joinery on the window frame at all four corners.   At an option, the sealant shall be permitted to be applied to the wall surface as opposed to the back of the mounting flange.

R616.3.6 Apply a discontinuous bead of sealant on the interior surface of the mounting flange at the sill.  The bead of sealant is to have a minimum of (2) 2 inch voids near the ends, which will allow any liquid water that has entered the window opening to exit easily.

R616.3.6.1 As an alternate to the discontinuous bead of sealant, a weep screed or wicking mechanism may be applied at the jamb ends of the sill to allow liquid water to escape.

R616.3.6.2 Additionally, if a rigid or semi-rigid sill pan is used, apply a bead of sealant to the outboard side of the upturned leg of the pan where it will integrate with the interior side of the window and form an air/water seal.

R616.3.7 Immediately set the window into the opening. Hold the window temporarily into position and apply shims as required to ensure the window is set plumb, level, square and true. Fasten the window perimeter securely into position in accordance with the manufacturer’s instructions.  Install shims in such a manner that they will not interfere with the application of the air seal; which will be applied on the interior side in the steps that follow.

R616.3.8 Flashing shall be applies over the mounting flange of the window at both jambs.  Either self-adhesive flashing or mechanical flashing shall be permitted to be used in the following steps.  When self-adhering flashing is used, the additional bead of sealant over the mounting flange (see R616.3.8.2) shall be omitted.

R616.3.8.1 Cut the flashing to a measurement equal to twice the roll width of the flashing being used, plus the height of the rough opening, minus 1 inch.

R616.3.8.2 When mechanical flashing is used, apply a continuous 3/8-inch nominal diameter bead of sealant over the wall and the exterior face of the mounting flange, starting 8 1/2 inches above the rough opening continuing down the jambs to the bottom of the sill mounting flange.  Apply in line with any pre-punched holes/slots in the mounting flange and cover any fastener heads.

R616.3.8.3 Position the top end of the flashing ½-inch below where the top edge of the head flashing will cover the jamb flashing later.  Do not interfere with the WRB flap at the head. Tuck the top of the jamb flashing under the flap of the water-resistive barrier at the head.

R616.3.9 Apply a piece of flashing across the head of the rough opening. Either self-adhering flashing or mechanical flashing may be used.  Where self-adhering flashing is used, the sealant over the mounting flange (see R616.3.9.3) shall be omitted.

R616.3.9.1 Cut a piece of head flashing that is the width of the rough opening plus two times the roll width of the flashing plus 2 inches.

R616.3.9.2 Apply primer to any exposed OSB as required by the flashing manufacturer.

R616.3.9.3 When using mechanically applied flashing, apply a continuous 3/8-inch nominal diameter bead of sealant along the mounting flange at the head.  Apply the sealant in line with any pre-punched holes or slots in the mounting flange and cover any fastener heads.

R616.3.9.4 Adhere the flashing across the head of the window on top of the mounting flange and beyond the rough opening on each side extending it 1 inch over the outside edge of the flashing at the jambs. Fasten the mechanically applied flashing as needed.

R616.3.10 Remove the previously applied tape which holds the flap of the water-resistive barrier at the head. Allow the flap to lay flat over the head flashing.   Apply a new piece of sheathing tape over the entire diagonal cut made in the water-resistive barrier. The tape should be compressed against the WRB and the head flashing, which extends over the jamb.

R616.3.11 On the interior, the installer shall apply a backer rod and an interior perimeter bead of sealant or other window manufacturer approved material between the window and the rough opening on all sides to form an air seal. If a rigid or semi-rigid sill pan was used, recheck the seal between the sill of the window and the upturned leg of the sill pan and reseal as needed.

R616.3.11.1 In cases where shims cause interference with the application of the backer rod or sealant, trim excess shim material to allow for a continuous air/water seal. In all cases make sure the entire perimeter joint has been sealed, creating an air/water tight condition.

R616.4 Post Installation Procedure Drainage holes shall be inspected for blockage and freed of any obstructions to allow drainage.  [Mod 2574r]

CHAPTER 7 WALL COVERING

Add exception to R701.1 as follows:

R701.1 Application. The provisions of this chapter shall control the design and construction of the interior and exterior wall covering for all buildings.

Exception: Buildings and structures located within the High-Velocity Hurricane Zone shall comply with the provisions of Chapter 44.

R702.3.4 Insulating concrete form walls.  Change to read as shown.

R702.3.4 Insulating concrete form walls. Foam plastics for insulating concrete form walls constructed in accordance with Sections R404.4 and R611 on the interior of habitable spaces shall be covered in accordance with Section R314.1.2. Adhesives are permitted to be used in conjunction with mechanical fasteners. Adhesives used for interior and exterior finishes shall be compatible with the insulating form materials.

Change referenced table in R702.3.5 as shown:

R702.3.5 Application. Maximum spacing of supports and the size and spacing of fasteners used to attach gypsum board shall comply with Table R702.3.5. Gypsum sheathing shall be attached to exterior walls in accordance with Table R602.2(1). [rest of section unchanged]

Change Section R703.1 as shown:

R703.1 General. Exterior walls shall provide the building with a weather-resistant exterior wall envelope. The exterior wall envelope shall include flashing as described in Section R703.8. The exterior wall envelope shall be designed and constructed in such a manner as to prevent the accumulation of water within the wall assembly by providing a water-resistive barrier behind the exterior veneer as required by Section R703.2.  All exterior finishes shall be applied in accordance with the manufacturer’s specifications or installation instructions.

Exceptions:

1. A weather-resistant exterior wall envelope shall not be required over concrete or masonry walls designed in accordance with Chapter 6 and flashed according to Section R703.7 or R703.8.

2. Compliance with the requirements for a means of drainage, and the requirements of Section R703.2 and Section R703.8, shall not be required for an exterior wall envelope that has been demonstrated to resist wind-driven rain through testing of the exterior wall envelope, including joints, penetrations and intersections with dissimilar materials, in accordance with ASTM E 331 under the following conditions:

2.1. Exterior wall envelope test assemblies shall include at least one opening, one control joint, one wall/eave interface and one wall sill. All tested openings and penetrations shall be representative of the intended end-use configuration.

2.2. Exterior wall envelope test assemblies shall be at least 4 feet (1219 mm) by 8 feet (2438 mm) in size.

2.3. Exterior wall assemblies shall be tested at a minimum differential pressure of 6.24 pounds per square foot (299 Pa).

2.4. Exterior wall envelope assemblies shall be subjected to a minimum test exposure duration of 2 hours.

The exterior wall envelope design shall be considered to resist wind-driven rain where the results of testing indicate that water did not penetrate: control joints in the exterior wall envelope; joints at the perimeter of openings penetration; or intersections of terminations with dissimilar materials.

Add subsection to R703.1 as shown:

R703.1.1  Load resistance. All exterior walls, wall coverings and soffits shall be capable  of resisting the design pressures specified in Table R301.2(2) for walls.

Delete Exception 3 to R703.2 as shown:

R703.2 Weather-resistant sheathing paper.  [Title and exceptions only FL specific]

Exceptions:

1 – 2.  [No change]

3.  Under paperbacked stucco lath when the paper backing is an approved weather-resistive sheathing paper.

Add subsections to R703.3 as shown:

R703.3.3 Attachment.  Wood, hardboard and wood structural panel siding shall be attached in accordance wit h Tables R703.3.3(1) and R703.3.3(2).  Specific gravities, G for solid sawn lumber are specified in Table 703.3.3(3).

R703.3.4 Minimum thickness.  Wood, hardboard and wood structural panel siding shall be of the minimum thickness specified in Tables R 703.3.4(1) and R703.3.4(2).

Add Tables to Section R703.3.3 as shown [see 2004 FBC, R]:

TABLE R703.3.3(1)  WOOD, HARDBOARD, AND WOOD STRUCTURAL PANEL SIDING ATTACHMENT EXPOSURE CATEGORY B

TABLE R703.3.3(2) WOOD, HARDBOARD, AND WOOD STRUCTURAL PANEL SIDING ATTACHMENT EXPOSURE CATEGORY C

TABLE R703.3.3(3) SPECIFIC GRAVITIES OF SOLID SAWN LUMBER

Add Tables to Section R703.3.4 as shown[see 2004 FBC, R]:

TABLE R703.3.4(1) WOOD, HARDBOARD, AND WOOD STRUCTURAL PANEL SIDING MINIMUM THICKNESS, EXPOSURE CATEGORY B

TABLE R703.3.4(2) WOOD, HARDBOARD, AND WOOD STRUCTURAL PANEL SIDING MINIMUM THICKNESS, EXPOSURE CATEGORY C

Use FL specific section R703.4 as shown:

R703.4 Attachments. Unless specified otherwise, all wall coverings shall be secured with approved aluminum, stainless steel, zinc-coated or other approved corrosion-resistive fasteners in accordance with the approved manufacturer’s installation instructions.  Where wind pressures determined in accordance with Table R301.2(2) do not exceed 30 psf, wall coverings are permitted to be installed in accordance with Table R703.4.

Use FL specific Table R703.4

TABLE R703.4

WEATHER-RESISTANT SIDING ATTACHMENT AND MINIMUM THICKNESS

TABLE R703.4

WEATHER–RESISTANT SIDING ATTACHMENT AND MINIMUM THICKNESS

| Siding Material |  | Nominal Thicknessa (inches) | Joint Treatment | Water-Resistive Barrier Required | Type of Supports for the Siding Material and Fastenersb,d |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Wood or Wood Structural Panel Sheathing | Fiberboard Sheathing into Stud | Gypsum Sheathing into Stud | Foam Plastic Sheathing into Stud | Direct to Studs | Number or Spacing of Fasterners |
| Horizontal Aluminumc | Without Insulation | 0.019f 0.024 | Lap | Yes | 0.120 nail 1 ½” long | 0.120 nail 2” long | 0.120 nail 2” long | 0.120 naily | Not allowed | Same as stud spacing |
|  |  |  | Lap | Yes | 0.120 nail 1 ½” long | 0.120 nail 2” long | 0.120 nail 2” long | 0.120 naily | Not allowed |  |
|  | With Insulation | 0.019 | Lap | Yes | 0.120 nail 1 ½” long | 0.120 nail 2 1/2” long | 0.120 nail 2 1/2” long | 0.120 naily | 0.120 nail 1 ½” long |  |
| Brick veneerz Concrete masonry veneerz |  | 2 2 | Section R703 | Yes (Note 1) | See Section R703 and Figure R703.7c |  |  |  |  |  |
| Hardboardk Panel siding-vertical |  | See Section R703.3.4 | – | Yes | See Section R703.3.4 |  |  |  |  |  |
| Hardboardk Lap-siding-horizontal |  | See Section R703.3.4 | Note q | Yes | See Section R703.3.4 |  |  |  |  |  |
| Steelh |  | 29 ga. | Lap | Yes | 0.113 nail 1 ¾” Staple-1 ¾” | 0.113 nail 2 ¾” Staple-2 1/2 ” | 0.113 nail 2 1/2” Staple-2 1/4” | 0.113 naily Stapley | Not allowed | Same as stud spacing |
| Stone veneer |  | 2 | Section R703 | Yes (Note 1) | See Section R703 and Figure R703.7c |  |  |  |  |  |
| Particleboard panels |  | 3/8-1/2 | – | Yes | 6d box nail (2” x 0.099”) | 6d box nail (2” x 0.099”) | 6d box nail (2” x 0.099”) | box nail | 6d box nail (2” x 0.099”) 3/8 not allowed | 6” panel edges 12” inter. Sup.o |
|  |  | 5/8 | – | Yes | 6d box nail (2” x 0.099”) | 8d box nail (2 1/2” x 0.113”) | 8d box nail (2 1/2” x 0.113”) | box nail | 6d box nail (2” x 0.099”) |  |
| Plywood paneli (exterior grade) |  | 3/8 | – | Yes | 0.099 nail-2” | 0.113 nail-2 1/2” | 0.099 nail-2” | 0.113 nail-2 1/2” | 0.099 nail-2” | 6” panel edges 12” inter. Sup. |
| Vinyl sidingm |  | 0.035 | Lap | Yes | See Section R703.3.4 |  |  |  |  |  |
| Woodj rustic, drop |  | 3/8 Min | Lap | Yes | Fastener penetration into stud-1” |  |  |  | 0.113 nail -2 1/2” Staple-2” | Face nailing up to 6” widths, 1 nail per bearing; 8” widths and over, 2 nails per bearing |
| Shiplap |  | 19/32 Average | Lap | Yes |  |  |  |  |  |  |
| Bevel |  | 7/16 |  |  |  |  |  |  |  |  |
| Butt tip |  | 3/16 | Lap | Yes |  |  |  |  |  |  |
| Fiber cement panel sidingr |  | 5/16 | Note s | Yes Note x | 6d corrosion-resistant nailt | 6d corrosion-resistant nailt | 6d corrosion-resistant nailt | 6d corrosion-resistant nailt,y | 4d corrosion-resistant nailu | 6” o.c. on edges 12” o.c. on intermed. studs |
| Fiber cement lap sidingr |  | 5/16 | Note v | Yes Note x | 6d corrosion-resistant nailt | 6d corrosion-resistant nailt | 6d corrosion-resistant nailt | 6d corrosion-resistant nailt,y | 6d corrosion-resistant nailw | Note w |

For SI: 1 inch = 25.4 mm.

a. Based on stud spacing of 16 inches on center where studs are spaced 24 inches, siding shall be applied to sheathing approved for that spacing.

b. Nail is a general description and shall be T-head, modified round head, or round head with smooth or deformed shanks.

c. Reserved.

d. Nails or staples shall be aluminum, galvanized, or rust-preventative coated and shall be driven into the studs for fiberboard or gypsum backing.

e. Aluminum nails shall be used to attach aluminum siding.

f. Aluminum (0.019 inch) shall be unbacked only when the maximum panel width is 10 inches and the maximum flat area is 8 inches. The tolerance for aluminum siding shall be +0.002 inch of the nominal dimension.

g. All attachments shall be coated with a corrosion-resistant coating.

h. Shall be of approved type.

i. Three-eighths-inch plywood shall not be applied directly to studs spaced more than 16 inches on center when long dimension is parallel to studs. Plywood 1/2-inch or thinner shall not be applied directly to studs spaced more than 24 inches on center. The stud spacing shall not exceed the panel span rating provided by the manufacturer unless the panels are installed with the face grain perpendicular to the studs or over sheathing approved for that stud spacing.

j. Wood board sidings applied vertically shall be nailed to horizontal nailing strips or blocking set 24 inches on center. Nails shall penetrate 11/2 inches into studs, studs and wood sheathing combined, or blocking. A weather-resistive membrane shall be installed weatherboard fashion under the vertical siding unless the siding boards are lapped or battens are used.

k. Hardboard siding shall comply with AHA A135.6.

l. For masonry veneer, a weather-resistive sheathing paper is not required over a sheathing that performs as a weather-resistive barrier when a 1-inch air space is provided between the veneer and the sheathing. When the 1-inch space is filled with mortar, a weather-resistive sheathing paper is required over studs or sheathing.

m.Vinyl siding shall comply with ASTM D 3679.

n. Reserved.

o. When used to resist shear forces, the spacing must be 4 inches at panel edges and 8 inches on interior supports.

p. Reserved.

q. Vertical end joints shall occur at studs and shall be covered with a joint cover or shall be caulked.

r. Fiber cement siding shall comply with the requirements of ASTM C 1186.

s. See Section R703.10.1.

t. Minimum 0.102″ smooth shank, 0.255″ round head.

u. Minimum 0.099″ smooth shank, 0.250″ round head.

v. See Section R703.10.2.

w. Face nailing: 2 nails at each stud. Concealed nailing: one 11 gage 11/2 galv. roofing nail (0.371″ head diameter, 0.120″ shank) or 6d galv. box nail at each stud.

x. See Section R703.2 exceptions.

y. Minimum nail length must accommodate sheathing and penetrate framing 11/2 inches.

z. Adhered masonry veneer shall comply with the requirements in Sections 6.1 and 6.3 of ACI 530/ASCE 5/TMS-402.

Change R703.5.3 as shown:

R703.5.3 Attachment.  Wood shakes and shingles, and attachment and supports shall be capable of resisting the wind pressures determined in accordance with Table R310.2(2). Where wind pressures determined in accordance with Table R301.2(2) do not exceed 30 psf, each shake or shingle shall be held in place by two hot-dipped zinc-coated, stainless steel, or aluminum nails. The fasteners shall be long enough to penetrate the sheathing or furring strips by a minimum of 1/2 inch (12.7 mm) and shall not be overdriven.  Where pressures determined in accordance with Table R301.2(2) exceed 30 psf, the attachment shall be designed to resist the prescribed wind pressures.

R703.5.3.1 Staple attachment. Reserved.

R703.6 Exterior plaster. Installation of these materials shall be in compliance with ASTMC926 and ASTMC1063 and the provisions of this code.

R703.6.1 Lath. Exterior use of Portland cement plaster shall comply with the application requirements of ASTM C 926. . All lath and lath attachments shall be of corrosion-resistant materials. Expanded metal or woven wire lath shall be attached with 11/2-inch-long (38 mm), 11 gage nails having a 7/16-inch (11.1 mm) head, or 7/8-inch-long (22.2 mm), 16 gage staples, spaced at no more than 6 inches (152 mm), or as otherwise approved.

R703.6.2 Installation of exterior lathing and framing shall comply with the application requirements of ASTM C 1063. Plaster. Plastering with portland cement plaster shall be not less than three coats when applied over metal lath or wire lath and shall be not less than two coats when applied over masonry, concrete, pressure-preservative treated wood or decay-resistant wood as specified in Section R319.1 or gypsum backing. If the plaster surface is completely covered by veneer or other facing material or is completely concealed, plaster application need be only two coats, provided the total thickness is as set forth in Table R702.1(1).

On wood-frame construction with an on-grade floor slab system, eexteior plaster shall be applied in such a manner as to cover, but not extend below, lath, paper and screed.

The proportion of aggregate to cementitious materials shall be as set forth in Table R702.1(3)

Move Section R703.2.1 to R703.6.3 as shown:

R703.6.3 Where cement plaster (stucco) is to be applied to lath over frame construction, measures shall be taken to prevent bonding between the cement plaster and the water-resistive barrier. A bond break shall be provided between the water-resistive barrier and the cement plaster (stucco) consisting of one of the following:

1. Two layers of an approved water-resistant barrier material; or

2. One layer of an approved water-resistant barrier over an approved plastic house wrap; or

3. Other approved methods or materials applied in accordance with the manufacturer’s installation instructions.

Renumber Section R703.6.3 as shown:

R703.6.4 Pneumatically placed portland cement plaster.

R703.6.4.1 Pneumatically placed portland cement plaster shall be a mixture of portland cement and aggregate conveyed by air through a pipe or flexible tube, and deposited by air pressure in its final position.

R703.6.4.2 Rebound material may be screened and reused as aggregate in an amount not greater than 25 percent of the total sand in any batch.

R703.6.4.3 Pneumatically placed portland cement plaster shall consist of a mixture of one part cement to not more than five parts of aggregate. Plasticity agents may be used as specified elsewhere in this chapter. Except when applied to concrete or masonry, such plaster shall be applied in not less than two coats to a minimum total thickness of 7/8 inch (22.2 mm)

Section R703.6.5 Fenestration.  Add new section to read as shown.  [Added June 27, 2007 by the Commission]

- R703.6.5 Fenestration.  The juncture of exterior plaster and fenestration products shall be sealed with a sealant complying with Section R613.8.1.   [Mod 2574r]

Change R703.7 as shown:

R703.7 Stone and masonry veneer, general. All stone and masonry veneer shall be installed in accordance with this chapter, Table R703.4 and Figure R703.7.  The provisions of this section are limited to areas where the wind speed is equal or less than 130 mph.

Exceptions: For detached one- and two- family dwellings, exterior masonry veneer with a backing of wood or cold-formed steel framing shall not exceed 30 feet (9144 mm) in height above the noncombustible foundation, with an additional 8 feet (2348 mm) permitted for gabled ends.

[Note:  Do not use IRC’06 Exceptions 1 and 2 nor Tables R703.7(1) and R703.7(2) nor Figure R703.7(1)(a) and (b)]

Change R703.7.2 as shown:

R703.7.2 Exterior veneer support. Except in Seismic Design Categories D0, D1 and D2, Exterior masonry veneers having an installed weight of 40 pounds per square foot….[rest same as IRC]

Change the exception in R703.7.4.1 to read as shown:

R703.7.4.1 Size and spacing.  [No change to IRC text]

Exception:  Where the wind speed determined in accordance with Figure R301.2(4) exceeds 110 mph (176.99 km/h) or is less than or equal to 130 mph (208 km/h), each tie shall support not more than 1.8 square feet (0.167 m2) of wall area and anchors shall be spaced at a maximum 18 inches (457 mm) horizontally and vertically.

Add an exception in R703.7.4.2 to read as shown:

R703.7.4.2 Air space.  [No change to IRC text]

Exception:  Where the wind pressure determined in accordance with Table R301.2(2) exceeds 30 pounds per square foot pressure (1.44 kN/m2), the air space shall not exceed 2 inches (51 mm).

Change R703.9 as shown:

R703.9 Exterior insulation finish systems, general. All Exterior Insulation Finish Systems (EIFS) shall be designed or tested to meet the wind pressures specified in Table R301.2(2) and installed in accordance with the manufacturer’s approved installation instructions and the requirements of this section. Decorative trim shall not be face nailed through the EIFS. The EIFS shall terminate not less than 6 inches (152 mm) above the finished ground level.

[No FL specific changes to R703.9.1 or R703.9.2]

Change R703.10 as shown:

R703.10 Fiber cement siding. Fiber-cement siding complying with ASTM C1186, Type A, minimum Grade II, shall be permitted on exterior walls in accordance with the approved manufacturer’s installation instructions.

R703.10.1  Fastening.  Fiber-cement siding shall be securely fastened with aluminum, copper, zinc, zinc-coated or other approved corrosion-resistant fasteners in accordance with the manufacturer’s approved  installation instructions.  Attachment and supports shall be capable of resisting the wind pressure determined in accordance with Table R301.2(2).  Where the wind pressure determined in accordance with Table R301.2(2) does not exceed 30 pounds per square foot pressure (1.44kN/m2), fiber-cement siding is permitted to be attached in accordance with Table R703.4.

R703.10.2  Panel Siding.  Panels shall be installed with the long dimension either parallel or perpendicular to framing.  Vertical and horizontal joints shall occur over framing members and shall be sealed with caulking or covered with battens.  Panel siding shall be installed with fasteners according to Table R703.4 or approved manufacturer’s installation instructions.

R703.10.3  Lap siding.  Lap siding having a maximum width of 12 inches shall be lapped a minimum of 1¼ inches (32 mm) and shall have the ends sealed with caulking, covered with an H-section joint cover, or located over a strip of flashing.  Lap siding courses may be installed with the fastener heads exposed or concealed, according to Table R703.4 or approved manufacturer’s installation instructions.

Change R703.11 as shown:

R703.11 Vinyl Siding.  Vinyl siding shall comply with ASTM D 3679 and is permitted to be used on exterior walls in accordance with the manufacturer’s approved installation instructions.

R703.11.1 Labeling.  Vinyl Siding shall be labeled as conforming to the requirements of ASTM D 3679

Add new text R703.12 as shown:

R703.12 Metal veneers.  Veneers of metal shall be fabricated from approved corrosion-resistant materials or shall be protected front and back with porcelain enamel, or otherwise be treated to render the metal resistant to corrosion. Such veneers shall not be less than specified in Table R703.13 mounted on wood or metal furring strips or approved sheathing on the wood construction.

R703.12.1 Attachment. Exterior metal veneer shall be securely attached to the supporting masonry or framing members with corrosion-resistant fastenings, metal ties or by other approved devices or methods capable of resisting the wind pressures specified in Table R301.2(2)., but in no case less than 20 psf (0.958 kg/m2). Where the wind pressure determined in accordance with Table R301.2(2) do not exceed 30 pounds per square foot pressure (1.44 kN/m2), metal veneers are permitted to be attached in accordance with Table R703.4.

R703.12.2 Weather protection. Metal supports for exterior metal veneer shall be protected by painting, galvanizing or by other equivalent coating or treatment. Wood studs, furring strips or other wood supports for exterior metal veneer shall be approved pressure-treated wood or protected as required in Section 1403.2 of the Florida Building Code, Building. Joints and edges exposed to the weather shall be caulked with approved durable waterproofing material or by other approved means to prevent penetration of moisture.

R703.12.3 Aluminum Siding.  Aluminum siding shall conform to the requirements of AAMA 1402.

- R703.13 Weather protection. Exterior walls shall provide weather protection for the building. The materials of the minimum nominal thickness specified in Table R703.13 shall be acceptable as approved weather coverings.

| TABLE R703.13 |  |
| --- | --- |
| MINIMUM THICKNESS OF WEATHER COVERINGS |  |
| COVERING TYPE | MINIMUM THICKNESS |
|  | (inches) |
| Adhered masonry veneer | 0.25 |
| Anchored masonry veneer | 2.625 |
| Aluminum siding | 0.019 |
| Asbestos-cement boards | 0.125 |
| Asbestos shingles | 0.156 |
| Cold-rolled copperd | 0.0216 nominal |
| Copper shinglesd | 0.0162 nominal |
| Exterior plywood (with sheathing) | 0.313 |
| Exterior plywood (without sheathing) | See Section 2304.6 |
| Fiberboard siding | 0.5 |
| Fiber cement lap siding | 0.25c |
| Fiber cement panel siding | 0.25c |
| Glass-fiber reinforced concrete panels | 0.375 |
| Hardboard sidingc | 0.25 |
| High-yield copperd | 0.0162 nominal |
| Lead-coated copperd | 0.0216 nominal |
| Lead-coated high-yield copper | 0.0162 nominal |
| Marble slabs | 1 |
| Particleboard (with sheathing) | See Section 2304.6 |
| Particleboard (without sheathing) | See Section 2304.6 |
| Precast stone facing | 0.625 |
| Steel (approved corrosion resistant) | 0.0149 |
| Stone (cast artificial) | 1.5 |
| Stone (natural) | 2 |
| Structural glass | 0.344 |
| Stucco or exterior Portland cement plaster |  |
| Three-coat work over: |  |
| Metal plaster base | 0.875b nominal |
| Unit masonry | 0.625b nominal |
| Cast-in-place or precast concrete | 0.625b nominal |
| Two-coat work over: |  |
| Unit masonry | 0.5b nominal |
| Cast-in-place or precast concrete | 0.375b nominal |
| Terra cotta (anchored) | 1 |
| Terra cotta (adhered) | 0.25 |
| Vinyl siding | 0.035 |
| Wood shingles | 0.375 |
| Wood siding (without sheathing)a | 0.5 |
| For SI: 1 inch = 25.4 mm. |  |
| a. Wood siding of thicknesses less than 0.5 inch shall be placed over sheathing that conforms to Section 2304.6. |  |
| b. Exclusive of texture. |  |
| c. As measured at the bottom of decorative grooves. |  |
| d. 16 ounces per square foot for cold-rolled copper and lead-coated copper, 12 ounces per square foot for copper shingles, high-yield copper and ounces per square foot for copper shingles, high-yield copper and lead-coated high-yield copper. |  |

Add Section R703.14 as shown:

R703.14 Drained assembly wall over mass assembly wall.  Where wood frame or other types of drained wall assemblies are constructed above mass wall assemblies, flashing or other approved drainage system shall be installed as required by R703.8.

Add Section R704 as shown:

SECTION 704

INSPECTION FOR TERMITES

In order to provide for inspection for termite infestation, clearance between exterior wall coverings and final earth grade on the exterior of a building shall not be less than 6 inches (152 mm).

Exceptions:

1.	Paint or decorative cementitious finish less than 5/8 inch (17.1 mm) thick adhered directly to the masonry foundation sidewall.

2.	Access or vehicle ramps which rise to the interior finish floor elevation for the width of such ramps only.

3.	A 4-inch (102 mm) inspection space above patio and garage slabs and entry areas.

4.	If the patio has been soil treated for termites, the finish elevation may match the building interior finish floor elevations on masonry construction only.

5.	Masonry veneers.

CHAPTER 8

CHIMNEYS AND VENTS

Add an exception to R801.1 as shown:

R801.1 Application. The provisions of this chapter shall control the design and construction of the roof-ceiling system for all buildings (see Section R301.2.1.1).

Exception: Buildings and structures located within the High-Velocity Hurricane Zone shall comply with the provisions of Chapter 44.

Add general requirements to R802.1 and renumber rest as follows:

R802.1 General Requirements. Roof and ceiling framing of wood construction shall be designed and constructed in accordance with the provisions of this Section.

R802.1.1 Identification. [No change to text]

R802.1.2 Blocking. [No change to text]

R802.1.3 End-jointed lumber. Approved end-jointed lumber identified by a grade mark conforming to Section R802.1.1 may be used interchangeably with solid-sawn members of the same species and grade.

R802.1.4 Fire-retardant-treated wood. [No change to text]

R802.1.4.1 Labeling. Fire-retardant-treated lumber and wood structural panels shall be labeled. The label shall contain:

1 – 6 [No change from IRC].

7. Conformance with appropriate standards in accordance with Sections R802.1.4.2 through R802.1.4.5.

8. [No change from IRC.]

R802.1.4.2 Strength adjustments. [No other change to IRCtext]

R802.1.4.2.1 Wood structural panels. [No other change to IRCtext]

R802.1.4.2.2 Lumber. [No other change to IRCtext]

R802.1.4.3 Exposure to weather. [No other change to IRCtext]

R802.1.4.4 Interior applications. Interior fire retardant- treated wood … in accordance with Section R802.1.4.2.1 or R802.1.4.2.2...of this section.

R802.1.4.5 Moisture content. Fire-retardant-treated wood shall be dried … in Section R802.1.4.2.1 for plywood and R802.1.4.2.2 for lumber.

802.1.5  Structural glued laminated timbers. [No other change from IRC.]

R802.1.6  Wood trusses.

R802.1.6.1 Truss design drawings. Truss design drawings, prepared in conformance with Section R802.1.6.1, shall be provided to the building official and approved prior to installation. Truss design drawings shall include, at a minimum, the information specified below. Truss design drawing shall be provided with the shipment of trusses delivered to the jobsite.

1. Design wind speed and exposure category.

2. Slope or depth, span and spacing.

3. Location of all joints.

4. Required bearing widths.

5. Design loads as applicable.

5.1 Top chord live load (as determined from Section R301.6).

5.2 Top chord dead load.

5.3 Bottom chord live load.

5.4 Bottom chord dead load.

5.5 Concentrated loads and their points of application.

5.6 Controlling wind and earthquake loads.

6. Adjustments to lumber and joint connector design values for conditions of use.

7. Each reaction force and direction.

8. Joint connector type and description (e.g., size, thickness or gauge) and the dimensioned location of each joint connector except where symmetrically located relative to the joint interface.

9. Lumber size, species and grade for each member.

10. Connection requirements for:

10.1 Truss to truss girder.

10.2 Truss ply to ply.

10.3 Field splices.

11. Calculated deflection ratio and/or maximum description for live and total load.

12. Maximum axial compression forces in the truss members to enable the building designer to design the size, connections and anchorage of the permanent continuous lateral bracing. Forces shall be shown on the truss design drawing or on supplemental documents.

13. Required permanent truss member bracing location.

R802.1.6.2 Design. [No other change to IRC text]

Section R802.6.3 Bracing.  Change to read as shown.

R802.10.6.3 Bracing. Trusses shall be braced to prevent rotation and provide lateral stability in accordance with the requirements specified in the construction documents for the building and on the individual truss design drawings. In the absence of specific bracing requirements, trusses shall be braced in accordance with the TPI/WTCA BCSI Building Component Safety Information (BCSI 1-03) Guide to Good Practice for Handling, Installing & Bracing of Metal Plate Connected Wood Trusses.  [Mod 2588r]

R802.1.6.4  Alterations to trusses. [No other change to IRCtext]

R802.1.6.5  Truss to wall connection. Trusses shall be connected to wall plates by the use of approved connectors having a resistance to design uplift, lateral and shear forces. Trusses shall be installed in accordance with the manufacturer’s design and specifications. For roof assemblies subject to wind uplift pressures of 20 pounds per square foot (0.958 kN/m2) or greater, as established in Table R301.2(2), adjusted for height and exposure per Table R301.2(3), see Section R802.2.9.

Change R802.2 as shown:

R802.2 Design and construction where wind speed is less than 100 mph. The framing details required in Section R802 apply to roofs having a minimum slope of three units vertical in 12 units horizontal (25-percent slope) or greater. Roof-ceilings of conventional light-frame wood construction shall be designed and constructed in accordance with the provisions of this Section. Alternately, roof-ceilings may be designed and constructed in accordance with AF&PA”s NDS or AF&PA’s WFCM. Components of roof-ceilings shall be fastened in accordance with Table R602.2(1).

R802.2.1 Framing details. [No other change to IRC text, R802.3]

R802.2.1.1 Ceiling joist and rafter connections. Ceiling joists and rafters shall be nailed to each other in accordance with Tables R602.2(1) and R802.2.3(9) and the assembly shall be nailed to the top wall plate in accordance with Table R602.2(1). Ceiling joists shall be continuous or securely joined where they meet over interior partitions and nailed to adjacent rafters to provide a continuous tie across the building when such joists are parallel to the rafters.

Where ceiling joists are not connected to the rafters at the top wall plate, joists connected higher in the attic shall be installed as rafter ties, or rafter ties shall be installed to provide a continuous tie. Where ceiling joists are not parallel to rafters, rafter ties shall be installed. Rafter ties shall be a minimum of 2-inch by 4-inch (51 mm by 102 mm) (nominal), installed in accordance with the connection requirements in Table R802.5.1(9), or connections of equivalent capacities shall be provided. Where ceiling joists or rafter ties are not provided, the ridge formed by these rafters shall be supported by a wall or girder designed in accordance with accepted engineering practice.

Collar ties or ridge straps to resist wind uplift shall be connected in the upper third of the attic space in accordance with Table R602.2(1).

Collar ties shall be a minimum of 1-inch by 4-inch (25 mm by 102 mm) (nominal), spaced not more than 4 feet (1219 mm) on center.

R802.2.1.2  Ceiling joists lapped. Ends of ceiling joists shall be lapped a minimum of 3 inches (76 mm) or butted over bearing partitions or beams and toe nailed to the bearing member. When ceiling joists are used to provide resistance to rafter thrust, lapped joists shall be nailed together in accordance with Table R602.2(1) and butted joists shall be tied together in a manner to resist such thrust.

R802.2.2  Allowable ceiling joist spans. Spans for ceiling joists shall be in accordance with Tables R802.2(1) and R802.2(2). For other grades and species and for other loading conditions, refer to the AF&PA Span Tables for Joists and Rafters.

Table R802.2(1) [Use IRC’06 Table R802.4(1); only change is number]

Table R802.2(2) [Use IRC’06 Table R802.4(2); only change is number]

R802.2.3  Allowable rafter spans. [IRC 802.5] Spans for rafters shall be in accordance with Tables R802.2.3(1) through R802.2.3(8). For other grades and species and for other loading conditions, refer to the AF&PA Span Tables for Joists and Rafters. The span of each rafter shall be measured along the horizontal projection of the rafter.

R802.2.3.1  Purlins. Purlins are permitted to be installed to reduce the span of rafters as shown in Figure R802.2.3.1. Purlins shall be sized … braces shall not exceed 8 feet (2438 mm).

Table R802.2.3(1) [Use IRC’06 Table R802.5.1(1); only change is number]

Table R802.2.3(2) [Use IRC’06 Table R802.5.1(2); only change is number]

Table R802.5.1(3) Reserved.

Table R802.5.1(4) Reserved.

Table R802.5.1(5) Reserved.

Table R802.5.1(6) Reserved.

Table R802.5.1(7) Reserved.

Table R802.5.1(8) Reserved.

Table R802.2.3(9) [Use IRC’06 Table R802.5.1(9); only change is number]

R802.2.4  Bearing. [Use IRC’06 R802.6; only change is number]

R802.2.5  Finished ceiling material. [Use IRC’06; only change is number]

R802.2.6  Cutting and notching. [Use IRC’06, R802.7; only change is number]

R802.2.6.1  Sawn lumber. [Use IRC’06; only change is number]

802.2.6.2  Engineered wood products. Cuts, notches and holes bored in trusses, structural composite lumber, structural glue-laminated members or I-joists are prohibited except where permitted by the manufacturer’s recommendations or where the effects of such alterations are specifically considered in the design of the member by a registered design professional.

R802.2.7  Lateral support. [Use IRC’06 R802.8; only change is number]

R802.2.7.1  Bridging.  [Use IRC06 R802.8.1 only change is number]

R802.2.8  Framing of openings. [Use IRC’06 R802.9; only change is number]

R802.2.9  Roof tie-down. [Use IRC’06 R802.11]

R802.2.9.1  Uplift resistance. Roof assemblies which are subject to wind uplift pressures of 20 pounds per square foot (0.958 kN/m2) or greater shall have roof rafters or trusses attached to their supporting wall assemblies by connections capable of providing the resistance required in Table R802.2.9.1. Wind uplift pressures shall be determined using an effective wind area of 100 square feet (9.3m2) and Zone 1 in Table R301.2(2), as adjusted for height and exposure per Table R301.2(3).

A continuous load path shall be provided to transmit the uplift forces from the rafter or truss ties to the foundation. For rafter construction, straps and/or clips shall extend such that the top nail is within 1 inch of the top of the rafter, or shall be wrapped around the top of the rafter with one or more nails installed on the opposite side of the rafter.

R802.2.10  Blocking. [Use IRC’06 R802.1.1]

## Table R802.2.9.1 WIND UPLIFE FORCES EXPOSURE B, EXPOSURE C [Replace Table R802.11; Use FL specific tables in their entirety]

R802.3 Design and construction where wind speed is 100 mph or greater. Roof-ceilings of light-frame wood construction shall be designed and constructed in accordance with the provisions of Section R301.2.1.1 and Section R802.1.

Change R803.2.3 as shown:

R803.2.3 Installation. Wood structural panels used as roof sheathing shall be installed with joints staggered in accordance with Section R803.2.3.1 for wood roof framing or with Table R804.3 for steel roof framing in accordance with the applicability limits established in Section R804.1.1.

R803.2.3.1 Sheathing fastenings.  Wood structural panel sheathing shall be fastened to roof framing with 8d ring-shank nails at 6 inches on center at edges and 6 inches on center at intermediate framing.  Ring-shank nails shall have the following minimum dimensions:

- 0.113 inch nominal shank diameter

- Ring diameter of 0.012 over shank diameter

- 16 to 20 rings per inch

- 0.280 inch full round head diameter

- 2 inch nail length

Where roof framing with a specific gravity, 0.42 ≤ G < 0.49 is used, spacing of ring-shank fasteners shall be 4 inches on center in nailing zone 3 for 130 mph or greater design wind speeds in accordance with Figure R803.2.3.1.

Exceptions:

## 1. Where roof framing with a specific gravity, 0.42 ≤ G < 0.49 is used, spacing of ring-shank fasteners shall be permitted at 12 inches on center at intermediate framing in nailing zone 1 for any design wind speed and in nailing zone 2 for 110 mph or lower design wind speeds in accordance with Figure R803.2.3.1.

2. Where roof framing with a specific gravity, G ≥ 0.49 is used, spacing of ring-shank fasteners shall be permitted at 12 inches on center at intermediate framing in nailing zone 1 for any design wind speed and in nailing zone 2 for 120 mph or lower design wind speeds in accordance with Figure R803.2.3.1.

3.  Where roof framing with a specific gravity, G ≥ 0.49 is used, 8d common or 8d hot dipped galvanized box nails at 6 inches on center at edges and 6 inches on center at intermediate framing shall be permitted for 100 mph or lower design wind speeds in accordance with Figure R803.2.3.1.

4.  Where roof diaphragm requirements necessitate a closer fastener spacing.

FIGURE R803.2.3.1  ROOF SHEATHING NAILING ZONES

[Use FL specific figure]

Change R804 as shown:

R804.1.1 Applicability limits.  The provisions of this section shall control the construction of steel roof framing for buildings not greater than 60 feet (18 288 mm) in length perpendicular to the joist, rafter or truss span, not greater than 36 feet (10 973 mm) in width parallel to the joist span or truss, not greater than two stories in height with each story not greater than 10 feet (3048 mm) high, and roof slopes not smaller than 3:12 (25-percent slope) or greater than 12:12 (100-percent slope). Steel roof framing constructed in accordance with the provisions of this section shall be limited to sites subjected to a maximum design wind speed of less than 100 miles per hour (209 km/h) Exposure A, B or C.

R804.3.3 Allowable rafter spans.  The horizontal projection of the rafter span, as shown in Figure R804.3, shall not exceed the limits set forth in Table R804.3.3(1) and the basic wind speed and roof slope conversion Table R804.3.3(2).  When required a rafter brace…at each end.

R804.4 Roof tie-down.  Roof assemblies…with Table R802.2.9.1.

Section R806.1 Ventilation required. Change to read as shown.

R806.1 Ventilation required. Enclosed attics and enclosed rafter spaces formed where ceilings are applied directly to the underside of roof rafters shall have cross ventilation for each separate space by ventilating openings protected against the entrance of rain. Ventilating openings shall be provided with corrosion-resistant wire mesh, wit h 1 / 8 inch (3.2 mm) minimum to ¼ inch (6.4 mm) maximum openings.

Exception: Attic spaces, designed by a professional engineer or architect licensed to practice in the state, designed to eliminate the attic venting. [Mod 2647r]

Section R806.4 Conditioned attic assemblies.  Change to read as shown.

R806.4 Conditioned attic assemblies. Unvented conditioned attic assemblies (spaces between the ceiling joists of the top story and the roof rafters) are permitted under the following conditions:

1. No interior vapor retarders are installed on the ceiling side (attic floor) of the unvented attic assembly.

2. An air-impermeable insulation is applied in direct contact to the underside/interior of the structural roof deck. “Air-impermeable” shall be defined by ASTM E 283.

3. Shingles shall be installed as shown:

a. For asphalt roofing shingles: A 1-perm (57.4 mg/s · m2·Pa) or less vapor retarder (determined using Procedure B of ASTM E 96) is placed to the exterior of the

structural roof deck; i.e. just above the roof structural sheathing.

b. For wood shingles and shakes: a minimum continuous ¼ inch (6 mm) vented air space separates the shingles/shakes and the roofing felt placed over the structural

sheathing.

R806.4 Unvented attic assemblies. Unvented attic assemblies  shall be permitted if all the following conditions are met:

1. The unvented attic space is completely contained within the building thermal envelope.

2. No interior vapor retarder is installed on the ceiling side (attic floor) of the unvented attic assembly.

3.Where wood shingles or shakes are used, a minimum continuous ¼ inch (6 mm) vented air space separates the shingles or shakes from the roofing underlayment.

4. One of the following: shall be met, depending on the air permeability of the insulation under the structural roof sheathing.

a. Air-impermeable insulation only. Insulation shall be applied in direct contact to the underside of the structural roof sheathing.

b. Air-permeable insulation only. In addition to air-permeable insulation installed directly below the structural sheathing, at least R-5 rigid board or sheet insulation shall be installed directly above the structural roof sheathing for condensation control.

c. Air-impermeable and air-permeable insulation. At least R-5 air-impermeable insulation shall be applied in direct contact to the underside of the structural roof sheathing for condensation control. The air-permeable insulation shall be installed directly under the air-impermeable insulation.  [Mod 2059r]

Change R808.1 as shown:

R808.1 Combustible insulation. Combustible insulation shall be separated a minimum of 3 inches (76 mm) from recessed lighting fixtures, fan motors and other heat-producing devices.

Exception: When heat-producing devices are listed for lesser clearances, combustible insulation complying with the listing requirements shall be separated in accordance with the conditions stipulated in the listing.

Recessed lighting fixtures installed in the building thermal envelope shall meet the requirements of Section 13-606.1.ABC.1.2.4 in the Florida Building Code, Building.

CHAPTER 9

ROOF ASSEMBLIES

Add exception to R901.1 as shown:

R901.1 Scope.  The provisions of this chapter shall govern the design, materials, construction and quality of roof assemblies.

Exception: Buildings and structures located within the High-Velocity Hurricane Zone shall comply with the provisions of Chapter 44.

Add exception to R902.1 as shown:

R902.1 Roofing covering materials. Roofs shall be covered with materials as set forth in Sections R904 and R905.  Class A, B or C roofing shall be installed in areas designated by law as requiring their use or when the edge of the roof is less than 3 feet (914 mm) from a property line. Classes A, B and C roofing required to be listed by this section shall be tested in accordance with UL 790 or ASTM E 108.

Exception:  Brick, masonry, slate, clay or concrete roof tile; ferrous and copper shingles and shakes; and exposed concrete roof deck are considered to meet Class A roof covering provisions without testing.  Metal sheets and shingles are considered to meet Class B roof covering provisions without testing.

Section R903.2.1 Locations.  Change to read as shown:  [Changed in the June 27, 2007 Commission Meeting.]

R903.2.1 Locations. Flashings shall be installed at wall and roof intersections, wherever there is a change in roof slope or direction; this requirement does not apply to hip and ridge junctions, and around roof openings. Where flashing is of metal, the metal shall be corrosion resistant with a thickness of not less than provided in Table R903.2.1.

Exception: Flashing is not required at hip and ridge junctions.

TABLE R903.2.1 METAL FLASHING MATERIAL

| MATERIAL | GAGE MINIMUM THICKNESS (INCHES) | GAGE | WEIGHT (lbs per sq ft) |
| --- | --- | --- | --- |
| Copper | 0.024 |  | 1 (16 oz) |
| Aluminum | 0.024 |  | 28 |
| Stainless Steel |  | 28 |  |
| Galvanized Steel |  | 26 (zinc |  |
|  | 0.0179 | coated G90) | 26 (zinc coated G90) |
| Aluminum Zinc |  | 26 (AZ50 |  |
| Coated Steel | 0.0179 | Alum Zinc) | 26 (AZ50 Alum Zinc) |
| Zinc Alloy | 0.027 |  |  |
| Lead |  |  | 2.5 (40 oz) |
| Painted Terne |  |  | 1.25 (20 oz) |

R903.2.2 Membrane flashings. All membrane flashing shall be installed according to the roof assembly manufacturer’s published literature.

Section R903.3 Coping.  Change to read as shown.

R903.3 Coping.  Parapet walls shall be properly coped or sealed with noncombustible, weatherproof materials of a width no less than the cross section thickness of the parapet wall. Metal coping shall comply with ANSI/SPRI/ ES-1 or RAS 111.  [Mod 2269r]

R903.4.1 When other means of drainage of overflow water is not provided, overflow scuppers shall be placed in walls or parapets not less than 2 inches (51 mm) nor more than 4 inches (102 mm) above the finished roof covering and shall be located as close as practical to required vertical leaders or downspouts or wall and parapet scuppers. An overflow scupper shall be sized in accordance with the Florida Building Code, Plumbing.

Section R903.5 Hail exposure.  Change to read as shown.

R903.5  Hail exposure.  Hail exposure, as specified in Sections R903.5.1 and R903.5.2, shall be determined using Figure R 903.5.

R903.5.1  Moderate hail exposure.  One or more hail days with hail diameters larger 1.5 inches (38 mm) in a 20-year period.

R903.5.2 Severe hail exposure.  One or more hail days with hail diameters larger than or equal to 2.0 inches (51 mm) in a 20-year period.  [Mod 2271]

Section R903.5.1 One and two family dwellings, and private garages.  Add to read as shown.

R903.5.1  One and two family dwellings, and private garages. When gutters and leaders are placed on the outside of buildings, the gutters and leaders shall be constructed of metal or approved plastic for outdoor exposure with lapped, soldered or caulked joints and shall be securely fastened to the building with a corrosion resistant fastening device of similar or compatible material to the gutters and downspouts.  [Mod 2403]

Change R904 as shown:

R904.4.  Fasteners.

R904.4.1. Nails. Nails shall be corrosion resistant nails conforming to ASTM F 1667.  The corrosion resistance shall meet ASTM A 641, Class I or an equal corrosion resistance by coating, electro galvanization, mechanical galvanization, hot dipped galvanization, stainless steel, nonferrous metal and alloys or other suitable corrosion-resistant material.

Section R904.4.2 Screws.  Change to read as shown.

R904.4.2. Screws. Wood screws shall be corrosion resistant screws conforming to ANSI/ASME B 18.6.1.  Screws shall be corrosion resistant.  The corrosion resistance shall meet ASTM B 695, Class 8, ASTM A 641 or an equal corrosion resistance by coating, electro galvanization, mechanical galvanization, stainless steel, nonferrous metal or other suitable corrosion resistant material.  The corrosion resistance shall be demonstrated through one of the following methods:

1.  Corrosion resistance equivalent to ASTM A 641, Class 1; or,

2.  Corrosion resistance in accordance with TAS 114, Appendix E; or,

3.  Corrosion resistant coating exhibiting not more than 5% red rust after 1000 hours exposure in accordance with ASTM B 117.  [Mod 2553r]

Section R904.4.3 Clips.  Change to read as shown.

R904.4.3 1506.7 Clips.  Clips shall be corrosion resistant clips.  The corrosion resistance shall meet 1.50  0.90 oz per sq ft (0.275 kg/m2) (0.458 kg/m2) measured according to ASTM A153  ASTM A 90/A 90M, TAS 114 Appendix E  or an equal corrosion resistance coating, electro galvanization, mechanical galvanization, hot dipped galvanization, stainless steel, nonferrous metals and alloys or other suitable corrosion resistant material.  Stainless steel clips shall conform to ASTM A167, Type 304.  [Mod 2555r]

R904.5 Product identification.  Roof covering materials shall be delivered in packages bearing the manufacturer’s identifying marks and approved testing agency labels when required. Bulk shipments of materials shall be accompanied by the same information issued in the form of a certificate or on a bill of lading by the manufacturer.

Change R905.2.2 as shown:

R905.2.2 Slope. Asphalt shingles shall only be used on roof slopes of two units vertical in 12 units horizontal (2:12) or greater. For roof slopes from two units vertical in 12 units horizontal (2:12) up to four units vertical in 12 units horizontal (4:12), two layers of underlayment complying with ASTM D226, Type I or Type II, ASTM D 4869, Type I or Type II or ASTM D6757 is required in accordance with Section R905.2.7.

R905.2.3 Underlayment. Unless otherwise noted, required underlayment shall conform with ASTM D 226 Type I or Type II, or ASTM D 4869, Type I or Type II, or ASTM D6757.

Self-adhering polymer modified bitumen sheet shall comply with ASTM D 1970.

R905.2.5  Fasteners. Fasteners for asphalt shingles shall be galvanized steel, stainless steel, aluminum or copper roofing nails, minimum 12 gage [0.105 inch (2.67 mm)] shank with a minimum 3/8-inch (9.5 mm) diameter head, ASTM F 1667, of a length to penetrate through the roofing materials and a minimum of ¾ inch (19.1 mm) into the roof sheathing. Where the roof sheathing is less than ¾ inch (19.1 mm) thick, the fasteners shall penetrate through the sheathing. Fasteners shall comply with ASTM F 1667.

Exception:  If the architectural appearance is to be preserved from below, an alternate method of attachment complying with the wind load requirements of Chapter 16 of the Florida Building Code, Building may be proposed unless otherwise addressed in Chapter 9.  The alternative attachment shall be prepared, signed and sealed by a Florida-registered architect or a Florida-registered engineer, which architect or engineer shall be proficient in structural design.

R905.2.5.1 The nail component of plastic cap nails shall meet ASTM A 641, Class I or an equal corrosion resistance by coating, electro galvanization, mechanical galvanization, hot dipped galvanization, stainless steel, nonferrous metal and alloys or other suitable corrosion-resistant material.

R905.2.6 Attachment. Asphalt shingles shall have the minimum number of fasteners required by the manufacturer, but not less than four fasteners per strip shingle or two fasteners per individual shingle. Where the roof slope, exceeds 21 units vertical in 12 units horizontal (21:12), shingles shall be installed as required by the manufacturer.

R905.2.6.1 Wind Resistance of Asphalt Shingles. Asphalt Shingles shall be classified in accordance with ASTM D3161, TAS 107 or ASTM D7158 to resist the basic wind speed per Figure R301.2 (4). Shingles classified as ASTM D 3161 Class D or classified as ASTM D 7158   Class G are acceptable for use in the 100-mph wind zone. Shingles classified as ASTM D3161 Class F, TAS107 or ASTM D 7158 Class H are acceptable for use in all wind zones.  Asphalt shingle wrappers shall indicate compliance with one of the required classifications as shown in Table R905.2.6.1.

Table R905.2.6.1

Wind Resistance of Asphalt Shingles

| Maximum Basic Wind Speed MPH (per Figure R301.2 (4) | Classification |
| --- | --- |
| 100 | ASTM D3161Class D or ASTM D 7158 Class G or TAS 107 |
| 110 | ASTM D3161Class F or ASTM D 7158 Class G or TAS 107 |
| 120 | ASTM D3161Class F or ASTM D 7158 Class G or TAS 107 |
| 130 | ASTM D3161Class F or ASTM D 7158 Class H or TAS 107 |
| 140 | ASTM D3161Class F or ASTM D 7158 Class H or TAS 107 |
| 150 | ASTM D3161Class F or ASTM D 7158 Class H or TAS 107 |

R905.2.7 Underlayment application. For roof slopes from two units vertical in 12 units horizontal (17-percent slope), up to four units vertical in 12 units horizontal (33-percent slope), two layers of underlayment complying with ASTM D226 Type I or Type II, ASTM D 4869 Type I or Type II, or ASTM D6757 shall be applied in the following manner:

- Apply a minimum 19-inch-wide (483 mm) strip of underlayment felt parallel with and starting at the eaves.

- Starting at the eave, apply 36-inch-wide (914 mm) sheets of underlayment overlapping successive sheets 19 inches (483 mm). Distortions in the underlayment shall not interfere with the ability of the shingles to seal.

- End laps shall be offset by 6 feet (1829 mm)

- Corrosion resistant fasteners are to be applied along the overlap at a maximum spacing of 36 inches (914 mm) on center.

For roof slopes of four units vertical in 12 units horizontal (33-percent slope) or greater, one layer of underlayment complying with ASTM D226 Type I or Type II, ASTM D 4869 Type I or Type II, or ASTM D6757 shall be applied in the following manner:

- Underlayment shall be applied shingle fashion, parallel to and starting from the eave and lapped 2 inches (51 mm).

- End laps shall be offset by 6 feet (1829 mm)

- Corrosion resistant fasteners are to be applied along the overlap at a maximum spacing of 36 inches (914 mm) on center.

R905.2.7.1 Ice protection. Reserved.

R905.2.7.2. Underlayment and high wind. Reserved.

R905.2.8.1 Base and counter flashing. Base and counter flashing shall be installed as follows:

1. In accordance with manufacturer’s installation instructions, or

2. A continuous metal minimum 4 inch by 4 inch “L” flashing shall be set in approved flashing cement and set flush to base of wall and over the underlayment. Both horizontal and vertical metal flanges shall be fastened 6 inches (152 mm) on center with approved fasteners. All laps shall be a minimum of 4 inches (102 mm) fully sealed in approved flashing cement. Flashing shall start at the lower portion of roof to ensure water-shedding capabilities of all metal laps. The entire edge of the horizontal flange shall be sealed covering all nail penetrations with approved flashing cement and membrane. Shingles shall overlap the horizontal flange and shall be set in approved flashing cement.

Base flashing shall be of either corrosion-resistant metal provided in Section R905.2.8.1 or mineral surface roll roofing weighing a minimum of 77 pounds per 100 square feet (3.76 kg/m2). Counter flashing shall be corrosion-resistant metal with a minimum thickness provided in Table R903.1.

R905.2.8.2 Valleys. Valley linings shall be installed in accordance with manufacturer’s installation instructions before applying shingles. Valley linings of the following types shall be permitted:

- For open valley lined with metal, the valley lining shall be at least 16 inches (406 mm) wide and of any of the corrosion-resistant metals in Table R903.1.

- For open valleys, valley lining of two plies of mineral surface roll roofing, complying with ASTM D 6380 Class M or ASTM D 3909, shall be permitted. The bottom layer shall be 18 inches (457 mm) and the top layer a minimum of 36 inches (914 mm) wide.

- For closed valleys, valley lining of one ply of smooth roll roofing complying with ASTM D 6380 Class S and at least 36 inches (914 mm) wide or valley lining as described in Items 1 or 2 above shall be permitted. Specialty underlayment complying with ASTM D 1970 may be used in lieu of the lining material.

R905.2.8.3 Crickets and saddles.  Change to read as shown.

R905.2.8.3 Crickets and saddles.  A cricket or saddle shall be installed on the ridge side of any chimney greater than 30 inches (762 mm) wide. Cricket or saddle coverings shall be sheet metal or of the same material as the roof covering.

TABLE 905.2.8.2 VALLEY LINING MATERIALS

Reserved.

Section R905.2.8.4 Sidewall flashing.  Change to read as shown.

R905.2.8.4 Sidewall flashing. Flashing against a vertical sidewall shall be by the step-flashing method or continuous “L” flashing method.  [Mod 2526]

Section R905.2.8.5 Other flashing.  Change to read as shown.

R905.2.8.5 Other flashing. Reserved Flashing against a vertical front wall, as well as soil stack, vent pipe and chimney flashing, shall be applied according to asphalt shingle manufacturer’s printed instructions.  [Mod 2545]

R905.2.8.6  Drip edge. Provide drip edge at eaves and gables of shingle roofs. Overlap to be a minimum of 3 inches (76 mm). Eave drip edges shall extend ½ inch (13 mm) below sheathing and extend back on the roof a minimum of 2 inches (51 mm).  Drip edge at eaves shall be permitted to be installed either over or under the underlayment.  If installed over the underlayment, there shall be a minimum 4 2 inch (51 mm) width of roof cement installed over the drip edge flange.  Drip edge shall be mechanically fastened a maximum of 12 inches (305 mm) on center.  Where the basic wind speed per Figure R301.2(4) is 110 mph (177 km/h) or greater or the mean roof height exceeds 33 feet (10 058 mm), drip edges shall be mechanically fastened a maximum of 4 inches (102 mm) on center.

Change R905.3 as shown:

R905.3  Clay and concrete tile.  The installation of clay and concrete shall be in accordance with recommendations of FRSA/TRI 07320 Manual.

R905.3.1 Deck requirements. Concrete and clay tile shall be installed only over solid sheathing, except where the roof covering is specifically designed and tested in accordance with Chapter 16, Florida Building Code, Building to be applied over structural spaced structural sheathing boards.

R905.3.2 Deck slope. Clay and concrete roof tile shall be installed on roof slopes in accordance with the recommendations of FRSA/TRI 07320.

R905.3.3.  Underlayment. Required underlayment shall conform with ASTM D 226, Type II; ASTM D 2626; ASTM D 1970 or ASTM D 6380 Class M mineral surfaced roll roofing and shall be installed in accordance with FRSA/TRI 07320 Manual.

Section R905.3.3 Underlayment.  Change to read as shown.

R905.3.3.  Underlayment. Required underlayment shall conform with ASTM D 226, Type II; ASTM D 2626, Type II; ASTM D 1970 or ASTM D 6380 Class M mineral surfaced roll roofing and shall be installed in accordance with FRSA/TRI 07320 Manual.  [Mod 2530]

Section R905.3.3.1 Slope and underlayment requirements.  Add to read as shown.  [Added June 27, 2007 by the Commission]

R905.3.3.1  Slope and underlayment requirements.  Refer to FRSA/TRI manual for underlayment and slope requirements for specific roof tile systems.  [Mod 2287]

Low slope roofs.  For roof slopes from two and one-half units vertical in 12 units horizontal (2 ½:12), up to four units vertical in 12 units horizontal (4:12), underlayment shall be a minimum of two layers underlayment applied as follows:

1.Starting at the eave, a 19-inch (483 mm) strip of underlayment shall be applied parallel with the eave and fastened sufficiently in place.

2.Starting at the eave, 36-inch wide (914 mm) strips of underlayment felt shall be applied, overlapping successive sheets 19 inches (483 mm), and fastened sufficiently in place.  [Mod 2287]

R905.3.3.2. Reserved  High slope roofs. For roof slopes of four units vertical in 12 units horizontal (4:12) or greater, underlayment shall be a minimum of one layer of underlayment felt applied shingle fashion, parallel to and starting from the eaves and lapped 2 inches (51 mm), fastened only as necessary to hold in place.  [Mod 2287]

R905.3.4.  Clay Tile. Clay roof tile shall comply with ASTM C 1167.

Section R905.3.6 Fasteners.  Change to read as shown.

R905.3.6 Fasteners.    Nails shall be corrosion-resistant and not less than 11 gage, 5/16-inch (10.6 8.0 mm) head, and of sufficient length to penetrate the deck a minimum of ¾ inch (19.1 mm) or through the thickness of the deck, whichever is less or in accordance with the FRSA/TRI 07320 manual.  Attaching wire for clay or concrete tile shall not be smaller that 0.083 inch (2.1 mm). Perimeter fastening areas include three tile courses but not less that 36 inches (914 mm) from either side of hips or ridges and edges of eaves and gable rakes.  [Mod 2288]

R905.3.7 Application. Tile shall be applied in accordance with this chapter and the manufacturer's installation instructions, or recommendations of the FRSA/TRI 07320 based on the following:

Attachment. Clay and concrete roof tiles shall be fastened in accordance with FRSA/TRI Installation Manual 07320.

TABLE R905.3.7  CLAY AND CONCRETE TILE ATTACHMENT

Reserved.

R905.3.7.1.  Hip and ridge tiles.  Hip and ridge tiles shall be installed in accordance with FRSA/TRI 07320 Manual.

R905.3.8 Flashing. At the juncture of roof vertical surfaces, flashing and counter flashing shall be provided in accordance with this chapter and the manufacturer’s installation instructions or recommendations of the FRSA/TRI 07320 Manual.

Section R905.4.3 Underlayment.  Change to read as shown.

R905.4.3 Underlayment. Underlayment shall comply with ASTM D 226, Type I or Type II or ASTM D 1970 or ASTM D 4869.  [Mod 2539r]

Section R905.4.4 Material standards.  Change to read as shown.

R905.4.4 Material standards. Metal roof shingle roof coverings shall comply with Table R905.10.3(1) R905.4.4. The materials used for metal roof shingle roof coverings shall be naturally corrosion resistant or provided with be made corrosion resistancet in accordance with the standards and minimum thicknesses specified in the standards listed in Table R905.10.3(2)R905.4.4.  [Mod 2541r]

TABLE R905.10.3(1) METAL ROOF COVERINGS STANDARDS Reserved.

TABLE R905.4.4 METAL ROOF COVERINGS

| ROOF COVERING TYPE | STANDARD | APPLICATION RATE/THICKNESS |
| --- | --- | --- |
| Aluminum | ASTM B 209 | 0.024 inch minimum thickness for roll-formed panels 0.019 inch minimum thickness for press-formed shingles. |
| Aluminum-zinc coated steel | ASTM A 792 | 0.013 inch minimum thickness, AZ 50 (coated minimum application rate) |
| Copper | ASTM B 370 | 16 oz./sq. ft. for metal-sheet roof-covering systems; 12 oz./sq. ft. for preformed metal shingle systems, |
| Galvanized steel | ASTM A 653 | G-90 zinc-coated, 0.013-inch-thick minimum |
| Lead-coated copper | ASTM B 101 |  |
| Hard lead |  | 2 lbs./sq. ft. |
| Soft lead |  | 3 lbs./sq. ft. |
| Prepainted steel | ASTM A 755 | 0.013 inch minimum thickness |
| Terne (tin) and terne-coated stainless |  | Terne coating of 40 lbs. per double base box, field painted where applicable in accordance with manufacturer’s installation instructions. |

For SI:  1 ounce per square foot = 0.0026 kg/m2,

1 pound per square foot = 4.882 kg/m2,

1 inch = 25.4 mm, 1 pound = 0.454 kg.

Section R905.4.5 Application.  Change to read as shown.

R905.4.5  Application.  Metal roof shingles shall be secured to the roof in accordance with this chapter and the approved manufacturer's installation instructions.

Metal roof shingles shall be installed in accordance with the approved manufacturer's installation instructions.  The product approval shall state the allowable uplift resistance for the attachment system.  The installation of metal roof shingles shall be limited to roofs where the allowable uplift resistance is equal to or greater than the design uplift pressure for the roof listed in Table R301.2(2).  [Mod 2404r]

R905.4.6 Flashing. Roof valley flashing shall be of corrosion-resistant metal of the same material as the roof covering or shall comply with the standards in Table R905.4.4. The valley flashing shall extend at least 8 inches (203 mm) from the center line each way and shall have a splash diverter rib not less than ¾ inch (19.1 mm) high at the flow line formed as part of the flashing. Sections of flashing shall have an end lap of not less than 4 inches (102 mm). The metal valley flashing shall have a 36-inch-wide (914 mm) underlayment directly under it consisting of one layer of underlayment running the full length of the valley, in addition to underlayment required for metal roof shingles.

Section R905.5.3 Underlayment.  Change to read as shown.

R905.5.3 Underlayment. Underlayment shall conform with ASTM D 226, Type I or Type II or ASTM D 1970 or ASTM D 4869.  [Mod 2542r]

R905.5.4.  Material standards. Mineral-surfaced roll roofing shall conform to ASTM D 3909 or ASTM D 6380 Class M or Class WS.

Change R905.6 as shown:

R905.6.3  Underlayment. Underlayment shall comply with ASTM D 226, Type II.  Underlayment shall be installed in accordance with the manufacturer’s installation instructions.

TABLE R905.6.5

SLATE SHINGLE HEADLAP

| SLOPE | HEADLAP (inches) |
| --- | --- |
| 4:12 ≤ slope < 8:12 | 4 |
| 8:12 ≤ slope < 20:12 | 3 |
| Slope > 20:12 | 2 |

R905.6.6 Flashing. Flashing and counter flashing shall be made with sheet metal. Valley flashing shall be a minimum of 16 inches (406 mm) wide. Valley and flashing metal shall be a minimum thickness as provided in Table R903.1 nonferrous metal or stainless steel.

Section R905.6.7 add to read as shown.

R905.6.7 Slate and slate-type shingles shall be installed in accordance with this chapter and the manufacturer’s installation instructions.  The product approval shall state the allowable uplift resistance for the attachment system.  The installation of slate and slate-type shingles shall be limited to roofs where the allowable uplift resistance is equal to or greater than the design uplift pressure for the roof listed in Table R301.2(2).  [Mod 2405r]

Change R905.7 as shown:

R905.7.1.1 Solid sheathing required. Reserved.

R905.7.5  Attachment.  Attachment in accordance with Table R905.7.5 shall be used for roofs with a mean roof height of 40 feet or less and in regions with a basic wind speed of 100 mph or less.

TABLE R905.7.5

WOOD SHINGLE AND SHAKE INSTALLATION

| ROOF ITEM | WOOD SHINGLES | WOOD SHAKES |
| --- | --- | --- |
| 1. Deck Requirements | Shingles shall be applied to roofs with solid or spaced sheathing. Where spaced sheathing is used, sheathing boards shall not be 4 less than 1" × 4" nominal dimensions and shall be spaced on center equal to the weather exposure to coincide with the placement of fasteners. | Shakes shall be applied to roofs with solid or spaced sheathing. Where spaced sheathing is used, sheathing boards shall not be less than 1" × 4" nominal dimensions and shall be spaced on center equal to the weather exposure to coincide with the placement of fasteners. When 1" × 4" spaced sheathing is installed at 10 inches, boards must be installed between the sheathing boards. |
| 2. Interlayment | No requirements. | Interlayment shall comply with ASTM D 226, Type 1. |
| 3. Underlayment | Underlayment shall comply with ASTM D 226, Type 1. | No requirements. |
| 4. Application | — | — |
| Attachment | Fasteners for wood shingles shall be corrosion resistant with a minimum penetration of ¾ inch into the sheathing. For sheathing less than ½ inch thick, the fasteners shall extend through the sheathing a minimum of ⅜ inch. | Fasteners for wood shakes shall be corrosion resistant with a minimum penetration of ¾ inch into the sheathing. For sheathing less than ½ inch thick, the fasteners shall extend through the sheathing a minimum of ⅜ inch. |
| No. of fasteners | Wood shingles shall be attached to the roof with two fasteners per shingle, positioned no more than 3/4 inch (19.1 mm) from each edge and no more than 1 ½ inch (38.1 mm) above the exposure line. | Wood shakes shall be attached to the roof with two fasteners per shake, positioned no more than 1 inch (25.4 mm) from each edge and no more than 1 ½ inches (38.1 mm) above the exposure line. |

For SI: 1 inch = 25.4 mm

R905.7.6  Attachment for wind speed greater than 100 mph. Wood shingles installed in accordance with Table R905.7.5 and the requirements of R905.7.6 has an allowable uplift resistance of 45 psf.  The installation of wood shingles shall be limited to roofs where the allowable uplift resistance is equal to or greater than the design uplift pressure for the roof listed in Table R301.2(2).

R905.7.6.1  Fasteners.

R905.7.6.1.1  Nails.  Nails to attach the wood shakes shall be 3d stainless steel ring shank nails.  The nails shall have sufficient length to penetrate through the wood shakes and shall penetrate through the sheathing.

R905.7.6.1.2  Screws.  Screws to attach the battens to the framing shall be No. 8 by 2-½ inches (64 mm) long corrosion resistant wood screws.  Wood screws shall be corrosion resistant screws conforming to ANSI/ASME B 18.6.1.  The corrosion resistance shall meet ASTM A 641, Class 1 or an equal corrosion resistance by coating, electro galvanization, mechanical galvanization, stainless steel, nonferrous metal or other suitable corrosion resistant material.

R905.7.6.1.3  Wood battens.  1 x 4 wood battens shall be attached to the wood joists with 2 screws per joist.  The first batten shall be located 6 inches (152 mm) from the outer edge of the wood joist.  Second batten shall be spaced 1-¼ inches (32 mm) from the first batten. The remaining battens shall be spaced a maximum 2 inches (51 mm) apart, except the last one which shall be spaced no greater than ¾ inches (19 mm) from the previous batten.

R905.7.6.1.4  Shingles.  Shingles shall be attached to the battens with 2 nails for each shingle placed 1 1/2 inch  (38 mm) above the exposure line.  The nails shall be ¾ to 1 inch (19 to 25 mm) from the shingle edges.

R905.7.7 Application. Wood shingles shall be installed according to this chapter and the manufacturer’s installation instructions. Weather exposure for wood shingles shall not exceed those set in Table R905.7.7.

R905.7.8 Flashing.  At the juncture of the roof and vertical surfaces, flashing and counter flashing shall be provided in accordance with the manufacturer’s installation instructions, and where of metal, shall not be less than 0.019-inch (0.48 mm) (No. 26 galvanized sheet gage) corrosion-resistant metal

R905.7.8.1 Valley flashing. Roof flashing shall be not less than No. 26 gage [0.019 inches (0.48 mm)] corrosion-resistant sheet metal and shall extend 10 inches (254 mm) from the centerline each way for roofs having slopes less than 12 units vertical in 12 units horizontal (100-percent slope), and 7 inches (178 mm) from the centerline each way for slopes of 12 units vertical in 12 units horizontal and greater. Sections of flashing shall have an end lap of not less than 4 inches (102 mm).

R905.7.8.1.1  Label required. Each bundle of shingles shall be identified by a label of an approved grading or inspection bureau or agency.

Change R905.8 as shown:

R905.8.1.1 Solid sheathing required. Reserved.

R905.8.2  Deck slope. Wood shakes shall only be used on slopes of four (4) units vertical in twelve (12) units horizontal (33-percent slope) or greater.

R905.8.3 Underlayment. Reserved

R905.8.4  Attachment. Attachment in accordance with Table R905.7.5 shall be used for roofs with a mean roof height of 40 feet or less and in regions with a basic wind speed of 100 mph or less.

R905.8.6 Application. Reserved.

R905.8.7  Attachment for wind speed greater than 100 mph.

Wood shakes installed in accordance with Table R905.7.5 and the requirements of R905.8.7 have an allowable uplift resistance of 90 psf.  The installation of wood shakes shall be limited to roofs where the allowable uplift resistance is equal to or greater than the design uplift pressure for the roof listed in Table R301.2(2)

R905.8.7.1  Fasteners.

R905.8.7.1.1  Nails.  Nails to attach the wood shakes shall be 6d stainless steel ring shank nails.  The nails shall have sufficient length to penetrate through the wood shakes and shall penetrate through the sheathing.

R905.8.7.1.2  Screws.  Screws to attach the battens to the framing shall be No. 8 by 2-½ inches long corrosion resistant wood screws.  Wood screws shall be corrosion resistant screws conforming to ANSI/ASME B 18.6.1.  The corrosion resistance shall meet ASTM A 641, Class 1 or an equal corrosion resistance by coating, electro galvanization, mechanical galvanization, stainless steel, nonferrous metal or other suitable corrosion resistant material.

R905.8.7.1.3  Wood battens.  1 x 6 wood battens shall be attached to the wood joists with 2 screws per joist.  The first batten was located 6 inches from the outer edge of the wood joist.  Second batten shall be spaced 1-¼ inches from the first batten. The remaining battens shall be spaced a maximum 2 inches apart, except the last one which shall be spaced no greater than ¾ inches from the previous batten.

R905.8.7.1.4  Shakes.  Shakes shall be attached to the battens with 2 nails for each shake placed 1½ inch above the exposure line.  The nails shall be ¾ to 1 inch from the shake edges.

R905.8.8  Application. Wood shakes shall be installed according to this chapter and the manufacturer’s installation instructions. Wood shakes shall be laid with a side lap not less than 1½ inch (38 mm) between joints in adjacent courses. Spacing between shakes in the same course shall be 1/8 inch to 5/8 inch (3.2 mm to 15.9 mm) for shakes and taper sawn shakes of naturally durable wood and shall be ¼ inch to 3/8 inch (6.4 mm to 9.5 mm) for preservative taper sawn shakes. Weather exposure for wood shakes shall not exceed those set forth in Table R905.8.8

TABLE R905.8.8

WOOD SHAKE WEATHER EXPOSURE AND ROOF SLOPE

| ROOFING MATERIAL | LENGTH (inches) | GRADE | EXPOSURE (inches) |
| --- | --- | --- | --- |
|  |  |  | 4:12 pitch or steeper |
| Shakes of naturally durable wood | 18 | No. 1 | 71/2 |
|  | 24 | No. 1 | 10a |
| Preservative-treated taper sawn shakes of Southern Yellow Pine | 18 | No. 1 | 71/2 |
|  | 24 | No. 1 | 10 |
|  | 18 | No. 2 | 51/2 |
|  | 24 | No. 2 | 71/2 |
| Taper-sawn shakes of naturally durable wood | 18 | No. 1 | 71/2 |
|  | 24 | No. 1 | 10 |
|  | 18 | No. 2 | 51/2 |
|  | 24 | No. 2 | 71/2 |

For SI: 1 inch = 25.4 mm.

a. For 24-inch by 3/8-inch handsplit shakes, the maximum exposure is 71/2 inches.

R905.8.10  Flashing  At the juncture of the roof and vertical surfaces, flashing and counter flashing shall be provided in accordance with the manufacturer’s installation instructions, and where of metal, shall not be less than 0.019-inch (0.48 mm) (No. 26 galvanized sheet gage) corrosion-resistant metal.

R905.8.10.1  Valley flashing. Valley flashing shall extend at least 11 inches (279 mm) from the centerline each way and have a splash diverter rib not less than 1 inch (25 mm) high at the flow line formed as part of the flashing. Sections of flashing shall have an end lap of not less than 4 inches (102 mm). For roof slopes of four (4) units vertical in twelve (12) units horizontal (33-percent slope) and over, the valley flashing shall have a 36-inch-wide (914 mm) underlayment of one layer of ASTM D 226 Type I underlayment running the full length of the valley, in addition to other required underlayment per Table 903.1  Valley flashing and flashing metal shall be a minimum thickness as provided in Table R903.1 for nonferrous metal or stainless steel.

Change R905.9 as shown:

R905.9.2.1 Red rosin paper shall be used when the membrane is applied directly to a wood deck or cementitious fiber decks.

Change R905.10 as shown:

R905.10.2.1 Underlayment shall be installed as per manufacturer’s installation guidelines.

Section R905.10.3 Material standards.  Change to read as shown.

R905.10.3 Material standards.  Metal-sheet roof covering systems that incorporate supporting structural members shall be designed in accordance with the International Building Code  Florida Building Code, Building. Metal-sheet roof coverings installed over structural decking shall comply with Table R905.10.3(1) Table R 905.4.4. The materials used for metal-sheet roof coverings shall be naturally corrosion resistant or provided with corrosion resistance in accordance with the standards and minimum thicknesses shown in Table 905.4.4.  [Mod 2546]

TABLE R905.10.3 METAL ROOF COVERINGS STANDARDS. Reserved..

R905.10.4 Attachment.  Metal roofing shall be installed in accordance with this chapter and the manufacturer’s installation instructions. Metal roofing fastened directly to steel framing shall be attached by approved fasteners. In the absence of the manufacturer’s installation instructions, the following fasteners shall be used:

1.Galvanized fasteners shall be used for galvanized roofs.

2.Hard copper or copper alloy or 300 series stainless steel fasteners shall be used for copper roofs.

3.Aluminum-zinc coated fasteners are acceptable for aluminum-zinc coated roofs.

4.Stainless steel fasteners are acceptable for metal roofs.  [Mod 2547]

R905.10.5  Application. Metal roof panels shall be installed in accordance with this chapter and the manufacturer’s installation instructions.  The installations instruction shall state the allowable uplift resistance for the attachment system.  The installation of metal roof panels shall be limited to roofs where the allowable uplift resistance is equal to or greater than the design uplift pressure for the roof listed in  Table R301.2(2).

R905.10.6 Underlayment. Underlayment shall be installed as per manufacturer’s installation guidelines.

Change R905.11 as shown:

R905.11.3  Application. Modified bitumen roof shall be installed according to this chapter and the manufacturer’s installation instructions.  The approved allowable uplift resistance for the modified bitumen roof shall be equal to or greater than the uplift resistance for the roof based on Table R301.2(2).

Change R905.12 as shown:

R905.12.3  Application. Thermoset single-ply roof shall be installed according to this chapter and the manufacturer’s installation instructions.  The approved allowable uplift resistance for the thermoset single-ply membrane roof shall be equal to or greater than the uplift resistance for the roof based on Table R301.2(2).

Change R905.13 as shown:

R905.13.3  Application. Thermoplastic single-ply roof shall be installed according to this chapter and the manufacturer’s installation instructions.  The approved allowable uplift resistance for the thermoplastic single-ply roof shall be equal to or greater than the uplift resistance for the roof based on Table R301.2(2).

Change R905.14 as shown:

R905.14.3  Application. Foamed in place roof insulation shall be installed in accordance with this chapter and the manufacturer’s installation instructions. A liquid-applied protective coating that complies with Section R905.15 shall be applied no less than 2 hours nor more than 72 hours following the application of the foam.  The approved allowable uplift resistance for the sprayed polyurethane foam roofing shall be equal to or greater than the uplift resistance for the roof based on Table R301.2(2).

Change R905.15 as shown:

R905.15.3  Application. Liquid-applied roof coatings shall be installed according to this chapter and the manufacturer’s installation instructions.  The approved allowable uplift resistance for the liquid-applied coatings shall be equal to or greater than the uplift resistance for the roof based on Table R301.2(2).

Change Section R907.1 as shown:

R907.1  General. Reroofing shall be done in accordance with the Florida Existing Building Code.

Delete IRC R907.2 – R907.6

CHAPTER 10

CHIMNEYS AND FIREPLACES

Change Section R1001.3 and R1001.4 as shown:

R1001.3 Seismic reinforcing.  Reserved.

R1001.3.1 Vertical reinforcing. Reserved,

R1001.3.2 Horizontal reinforcing. Reserved.

R1001.4 Seismic anchorage. Reserved.

R1001.4.1 Anchorage. Reserved.

Change Table R1001.1 as shown:

TABLE R1001.1

SUMMARY OF REQUIREMENTS FOR MASONRY FIREPLACES AND CHIMNEYS

| ITEM | LETTERa | REQUIREMENTS |
| --- | --- | --- |
| Hearth slab thickness | A | 4″ |
| Hearth extension (each side of opening) | B | 8″ fireplace opening < 6 square foot. 12″ fireplace opening ≥ 6 square foot. |
| Hearth extension (front of opening) | C | 16″ fireplace opening < 6 square foot. 20″ fireplace opening ≥ 6 square foot. |
| Hearth slab reinforcing | D | Reinforced to carry its own weight and all imposed loads. |
| Thickness of wall of firebox | E | 10″ solid brick or 8″ where a firebrick lining is used. Joints in firebrick 1/4 ″ maximum. |
| Distance from top of opening to throat | F | 8″ |
| Smoke chamber wall thickness Unlined walls | G | 6″ 8″ |
| Horizontal reinforcing | J | 1/4 ″ ties at 18″ and two ties at each bend in vertical steel. |
| Bond beams | K | No specified requirements. |
| Fireplace lintel | L | Noncombustible material. |
| Chimney walls with flue lining | M | Solid masonry units or hollow masonry units grouted solid with at least 4 inch nominal thickness. |
| Distances between adjacent flues | — | See Section R1003.13. |
| Effective flue area (based on area of fireplace opening) | P | See Section R1003.15. |
| Clearances: Combustible material Mantel and trim Above roof | R | See Sections R1001.11 and R1003.18. See Section R1001.11, Exception 4. 3′ at roofline and 2′ at 10′. |
| Footing Thickness Width | T | 12″ min. 6″ each side of fireplace wall. |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 square foot = 0.0929m2.

NOTE: This table provides a summary of major requirements for the construction of masonry chimneys and fireplaces. Letter references are to Figure R1001.1, which shows examples of typical construction. This table does not cover all requirements, nor does it cover all aspects of the indicated requirements. For the actual mandatory requirements of the code, see the indicated section of text.

a. The letters refer to Figure R1001.1.

b. Reserved.

Change Figure R1001.1 as shown:

FIGURE R1001.1

FIREPLACE AND CHIMNEY DETAILS

Brick Firebox and Chimney – Sectional Side View on Wood Floor

[Delete H, Vertical reinforcing and J, Horizontal reinforcing ties.]

Change R1001.12 as shown:

R1001.12 Fireplace fireblocking. Fireplace fireblocking shall comply with the provisions of Section R602.1.2.

Change R1002.4 as shown:

R1002.4 Seismic reinforcing.  Reserved.

Change R1003.3 as shown:

R1003.3 Seismic reinforcing. Reserved.

R1003.3.1 Vertical reinforcing. Reserved.

R1003.3.2 Horizontal reinforcing. Reserved.

Change R1003.4 as shown:

R1003.4 Seismic anchorage. Reserved.

R1003.4.1 Anchorage. Reserved.

CHAPTER 11

ENERGY EFFICIENCY

Make a universal change to reference the EnergyGauge USA Fla/Res instead of Fla/Res for consistency and reference.  [Approved by the Commission, August 2007]

SECTION N1101

GENERAL

N1101 Energy efficiency.

The provisions of Chapter 13, Florida Building Code, Building shall govern the energy efficiency of residential construction.

SECTION N1102 through N1104

Reserved

SECTION N1100

ADMINISTRATION

N1100.0  Scope. This code is a statewide uniform code and shall not be made more stringent or lenient by local government. The code provides for a uniform standard of energy efficiency by, at a minimum, setting forth minimum requirements for exterior envelopes and selection of heating, ventilating, air conditioning and service water heating systems. This chapter shall apply to all new single- and two family residential buildings and townhomes, to additions to existing residential buildings and manufactured homes, to renovations to existing residential buildings, with certain exceptions, to changes of occupancy type, to the site-installed components and features of manufactured homes at their first set-up, and to the installation or replacement of building systems and components with new products for which thermal efficiency standards are set by this code. New residential buildings, with the exception of those exempted below, and in accordance with the specific exceptions of individual sections shall be designed to comply with this chapter.

N1100.0.1  Exempt residential buildings.  Residential buildings exempt from compliance with this chapter include those listed below:

1. Existing buildings except those considered renovated buildings, changes of occupancy type, or previously unconditioned buildings to which comfort conditioning is added.

2. Any building that is neither heated nor cooled by a mechanical system designed to control or modify the indoor temperature and powered by electricity or fossil fuels. Such building shall not contain electrical, plumbing or mechanical systems which have been designed to accommodate the future installation of heating or cooling equipment.

3. Any building of less than 1,000 square feet (93 m2) whose primary use is not as a principal residence and which is constructed and owned by a natural person for hunting or similar recreational purposes; however, no such person may build more than one exempt building in any 12-month period.

N1100.0.2  Building systems. Thermal efficiency standards are set for the following building systems where new products are installed or replaced in existing buildings, and for which a permit must be obtained. Such systems shall meet the minimum efficiencies allowed for that system on Form N1100C for residential buildings.

1.	Heating, ventilating or air conditioning systems;

2.	Service water or pool heating systems;

Exceptions:

1. Where part of a functional unit is repaired or replaced. For example, replacement of an entire HVAC system is not required because a new compressor or other part does not meet code when installed with an older system.

2. Where existing components are utilized with a replacement system, such as air distribution system ducts, such components or controls need not meet code if meeting code would require that component’s replacement.

3. Replacement equipment that would require extensive revisions to other systems, equipment or elements of a building where such replacement is a like-for-like replacement, such as through-the-wall condensing units and PTACs, in confined spaces.

4. HVAC equipment sizing calculations are not required for systems installed in existing buildings not meeting the definition of renovation in Section N1100.7.3.

N1100.1 Methods of Compliance. This chapter provides three Methods by which residential buildings may be brought into compliance with this code.

N1100.1.1 Method A, the Whole Building Performance Method. This is a performance based code compliance method which considers energy use for the whole building, both for the envelope and its major energy-consuming systems. Under this method, energy loads are calculated for the energy-consuming elements of an As-Built house and simultaneously for a Baseline house of the same configuration. The As-Built normalized modified energy loads shall be less than the baseline energy loads to comply with this code. Applicable performance criteria in Subappendix B to Appendix G shall be followed.  Applicable requirements described in Sections 1101 through 1113 shall also be met.

Method A may be applied to demonstrate code compliance for new residential construction, both single-family detached and multiple-family attached structures, and to additions to existing residential buildings. Existing buildings not exempt from this code may be brought into compliance by this method.

N1100.1.1.1 As an alternative to the computerized Compliance Method A, the Alternate Residential Point System Method hand calculation, Alternate Form 600A, may be used. All requirements specific to this calculation are located in Subappendix C to Appendix G.  Buildings complying by this alternative shall meet all Mandatory requirements of this chapter. Computerized versions of the Alternate Residential Point System Method shall not be acceptable for code compliance.

N1100.1.2 Method B, the Component Prescriptive Method.  This is a prescriptive code compliance Method for residences of three stories or less and additions. Using this method, a residence would meet or exceed all requirements for the list of minimum component requirements.

Exceptions: Method B shall not be applied in new construction, including additions, that incorporates the following:

1. skylights

2. windows with greater than 16 percent glass to floor area

3. electric resistance heat.

N1100.1.3 Method C, Limited Applications Prescriptive Method.  This is a prescriptive code compliance method for residential additions of 600 square feet (56 m2) or less, renovations to existing residential buildings; heating, cooling, and water heating systems of existing buildings; and site-added components of manufactured homes and manufactured buildings. To comply by this method, all energy-related components or systems being installed or changed in the addition or renovation shall meet the minimum prescriptive levels listed for that component.

N1100.2Certification of compliance.

N1100.2.1  Code compliance preparation: Single-family residential, duplexes, townhouses. No license or registration is required to prepare the code compliance form for single-family residential, duplexes and townhouses. The person preparing the compliance form shall certify that the plans and specifications covered by the form, or amendments thereto, are in compliance with Chapter 11 of the Florida Building Code, Residential.

N1100.2.2 Code compliance certification. The building’s owner, the owner’s architect, or other authorized agent legally designated by the owner shall certify to the building official that the building is in compliance with Chapter 11 of the Florida Building Code, Residential, prior to receiving the permit to begin construction or renovation and shall comply with the following:.

1. All Chapter 11 compliance calculations and certifications shall be made using the 1100 series forms applicable to the compliance method used or the EnergyGauge USA—Fla/Res2007 computer program printout for the climate zone in which the building will be constructed.

2. If, during the building construction or renovation, alterations are made in the design, materials, or equipment which would diminish the energy performance of the building, an amended copy of the compliance certification shall be submitted to the building department agency by the building owner or his or her legally authorized agent on or before the date of final inspection.

3. The certified compliance form shall be made a part of the plans and specifications submitted for permitting the building.

N1100.3  Forms. Code compliance by this chapter shall be demonstrated by completing and submitting to the building official the appropriate forms described below before a building permit is issued. An original form or EnergyGauge USA—Fla/Res 2007 computerized printout, accompanied by a copy of the front page of the form as provided in Section N1100.4, shall be submitted to the building department to demonstrate compliance with this code before a building permit is issued.

Method A compliance		Form 1100A-07 (EnergyGauge USA Fla/Res

computerized printout)

or Form 600A-07 (hand calculation)

Method B compliance		Form 1100B-07

Method C compliance		Form 1100C-07

N1100.3.1 Form 1100D-07  (desuperheater, heat recovery unit water heater efficiency certification). This form shall be submitted when water heating with a heat recovery unit is installed. The form is used to demonstrate that the net superheat recovery is equal to or greater than the 50 percent minimum required to obtain credit. The form shall be affixed to the heat recovery unit by the manufacturer.

Exception: If the heat recovery unit is listed in the current ARDM Directory of Certified Refrigerant Desuperheater Heat Recovery Unit Water Heaters as meeting the net heat recovery minimum and the unit bears the ARDM label signifying compliance with this code, the label shall serve as a certification in place of Form 1100D-07.

N1100.3.2 Availability. Forms may be found in Subappendix D of Appendix  G or online at www.floridabuilding.org.  The EnergyGauge USA—Fla/Res 2007 computer program may be found online at www.energygauge.com.

N1100.4 Climate zones.  The code compliance form used shall be specific to the climate zone in which the building will be located. See Figure N1100.4 or Subappendix A of Appendix G for climate zone locations.

North Florida 			Climate zones 1, 2, 3

Central Florida		Climate zones 4, 5, 6

South Florida			Climate zones 7, 8, 9

FIGURE N1100.4

CLIMATE ZONES

N1100.5  Reporting. A copy of the front page of the form submitted to demonstrate code compliance shall be sent by the building department to the Department of Community Affairs on a quarterly basis for reporting purposes.

N1100.6 Information cards required.

N1100.6.1  EPL display card. The building official shall require that an energy performance level (EPL) display card be completed and certified by the builder to be accurate and correct before final approval of a residential building for occupancy. The EPL display card contains information indicating the energy performance level and efficiencies of components installed in a dwelling unit. The EPL display card shall be included as an addendum to the sales contract for both presold and nonpresold residential buildings in accordance with Section 553.9085, Florida Statutes.

N1100.6.2  HVAC efficiency card. The building official shall require that a completed HVAC efficiency card signed by a representative of the heating and cooling equipment contractor be posted in a prominent location on the cabinet of the indoor air handler or furnace of each heating or heating and cooling system installed in the building at the time of installation. Where single package units are installed, the card shall be posted on the unit itself. The card shall be durable, readable and shall contain the following information:

1.	Manufacturer’s name(s);

2.	Brand name(s);

3.	Model numbers of the furnace, compressor unit, and air handler (and evaporator coil, if the air handler can be equipped with more than one coil) for each system installed;

4.	Efficiency ratings of the combined equipment for each system actually installed;

5.	Name and address of the heating and or cooling company installing the equipment;

6.	Signature line and date line, preceded by the statement, “With the authorization of the installing contractor I certify that the information entered on this card accurately represents the system installed.”

7.	Signature line and date line, preceded by the statement, “As the building official or the representative of the building official I certify that the information entered on this card accurately represents the system installed.”

Exceptions:

1.	If the information required above has been previously submitted and is included on the plans required at the building site, the HVAC efficiency card need not be provided. However, the plans shall be signed by a representative of the heating and cooling company installing the equipment and shall be available for inspection by building inspectors and by prospective buyers until the time of title transfer.

2.	The Federal Trade Commission’s energy guide label may be used to fulfill this requirement.

N1100.6.3 Insulation certification card. In cases where the R-value of insulation installed in either walls, ceilings or floors is not readily apparent, the local building official shall require that an R-value certification card signed by the insulation contractor be posted in a prominent location at the time of installation. The card shall contain, at a minimum, the following information:

1.	Insulation manufacturer’s name;

2.	Insulation type;

3.	R-value of insulation installed;

4.	Thickness of insulation installed;

5.	Location of insulation installed;

6.	Indication that the installation has been checked and does not block attic ventilation.

7.	Name and address of the contractor installing the insulation;

8.	Date of installation.

N1100.6.4  Energy guide labels. Energy guide labels required by the U.S. Federal Trade Commission for heating and cooling systems, water heaters and other appliances covered by federal law shall remain on those appliances until time of title transfer.

N1100.6.5. Window label. U-factors (thermal transmittances) or SHGC for glazed fenestration products shall be determined in accordance with NFRC 100, Procedure for Determining Fenestration Product U-factors or NFRC 200, Procedures for Determining Fenestration Product Solar Heat Gain Coefficients at Normal Incidence, by an accredited, independent laboratory and labeled and certified by the manufacturer.  See Section N1101.ABC.1.

N1100.7 Definitions, General

N1100.7.1 Application of Terms.  For the purpose of this code, certain abbreviations, terms, phrases, words, and their derivatives, shall be construed as set forth in this chapter.

N1100.7.2  Words Not Defined.  Words not defined herein shall have the meanings stated in the Webster's Ninth New Collegiate Dictionary, as revised.

N1100.7.3 Definitions

ADDITION.  An extension or increase in conditioned floor area or height of a building or structure.

ADJACENT WALL, CEILING or FLOOR.  A wall, ceiling or floor of a structure that separates conditioned space from enclosed but unconditioned space, such as an unconditioned attached garage, storage or utility room.

AEROSOL SEALANT.  A closure product for duct and plenum systems, which is delivered internally to leak sites as aerosol particles using a pressurized air stream.

AFUE (ANNUAL FUEL UTILIZATION EFFICIENCY).  The ratio of annual output energy to annual input energy including any non-heating season pilot input loss.

AIR BARRIER.

Relating to air distribution systems, a material object(s) which impedes or restricts the free movement of air under specified conditions.  For fibrous glass duct, the air barrier is its foil cladding; for flexible non-metal duct, the air barrier is the non-porous core; and for sheet metal duct and air handling units, the air barrier is the metal in contact with the air stream.  For mechanical closets, the air barrier may be a uniform panelized material such as gypsum wall board which meets ASTM C36, or it may be a membrane which alone acts as an air barrier which is attached to a panel, such as the foil cladding of fibrous glass duct board.

Relating to the building envelope, air barriers comprise the planes of primary resistance to air flow between the interior spaces of a building and the outdoors and the planes of primary air flow resistance between adjacent air zones of a building, including planes between adjacent conditioned and unconditioned air spaces of a building.  To be classed as an air barrier, a building plane must be substantially leak free; that is, it shall have an air leakage rate not greater than 0.5 cfm/ft2 when subjected to an air pressure gradient of 25 pascal.  In general, air barriers are made of durable, non-porous materials and are sealed to adjoining wall, ceiling or floor surfaces with a suitable long-life mastic.  House wraps and taped and sealed drywall may constitute an air barrier but dropped acoustical tile ceilings (T-bar ceilings) may not.  Batt insulation facings and asphalt-impregnated fiberboard and felt paper are not considered air barriers.

AIR CONDITIONING.  The process of treating air to control its temperature, humidity, cleanliness and distribution to meet requirements of the conditioned space.

AIR DISTRIBUTION SYSTEMS.  Include all building elements (duct systems, air handling units, cavities of the building structure and mechanical closets) through which air is delivered to or from the conditioned spaces.

AIR DUCT.  A passageway for conducting air to or from heating, cooling, air conditioning, or ventilating equipment, but not including the plenum.  For material requirements see local mechanical codes.

AIR HANDLING UNIT.  The fan unit of a furnace and the fan-coil unit of a split-system, packaged air conditioner or heat pump.

AIR INFILTRATION.  See “INFILTRATION”.

ANNUAL FUEL UTILIZATION EFFICIENCY.  Efficiency descriptor of the ratio of annual output energy to annual input energy as developed in accordance with the requirements of U.S. Department of Energy (DOE) 10CFR Part 430.

AS-BUILT.  Building components to be actually installed in a structure.  In some cases, this may be a worst case condition.  See “WORST CASE”.

ATTIC.  An enclosed unconditioned space located immediately below an uninsulated roof and immediately above the ceiling of a building. For the roof to be considered insulated, roof insulation shall be at least the value required to meet Section N1104.ABC.1. See “UNDER ATTIC”; “ROOF”.

ATTIC RADIANT BARRIER.  See “RADIANT BARRIER”.

AUTHORITY HAVING JURISDICTION.  The agency or agent responsible for enforcing this standard.

AUTOMATIC.  Self-acting, operating by its own mechanism when actuated by some nonmanual influence, such as a change in current strength, pressure, temperature, or mechanical configuration.

BASELINE.  Building component performance target or the total building performance target which is compared with the As-Built building performance.

BEDROOM.  Any residential room which has an area of 70 square feet or more and a clothes storage closet, and is not part of the common living area.  For the purposes of this Code, the number of "main" bedrooms for homes of three bedrooms or more is the total number of bedrooms less one.  In one and two bedroom homes, all bedrooms are "main" bedrooms.

BTU (British Thermal Unit).  The standard unit for measuring heat energy, such as the heat content of fuel.  It is the amount of heat energy necessary to raise the temperature of one pound of water one degree Fahrenheit.  1 BTU per minute = 17.6 watts (1 Btu per hour = 3.412 watts).

BTU.  Per Kilowatt Hour.

BUILDING.  Any structure that includes provision for any of the following or any combination of the following:  a space heating system, a space cooling system, or a service water heating system.  For each purpose of this Code each portion of a building separated from other portions by a rated fire wall shall be considered as a separate building.  The term "building" shall be construed as if followed by the words "or part thereof."

BUILDING CONSTRUCTION.  Any new building or structure or addition to any existing building or structure.

BUILDING ENVELOPE.  The exterior plus the semi-exterior portions of a building. For the purposes of determining building envelope requirements, the classifications are defined as follows:

(a) building envelope, exterior: the elements of a building that separate conditioned spaces from the exterior.

(b) building envelope, semi-exterior: the elements of a building that separate conditioned space from unconditioned space or that enclose semiheated spaces through which thermal energy may be transferred to or from the exterior, or to or from unconditioned spaces, or to or from conditioned spaces.

BUILDING OFFICIAL.  The officer or other designated representative authorized to act on behalf of the authority having jurisdiction.

BUILDING SYSTEMS.  See “SYSTEM”.

CLERESTORY.  That part of a building that rises clear of the roofs or other parts and whose walls contain windows for lighting the interior.

COEFFICIENT OF PERFORMANCE (COP) – COOLING. The ratio of the rate of heat removal to the rate of energy input, in consistent units, for a complete refrigerating system or some specific portion of that system under designated operating conditions.

COEFFICIENT OF PERFORMANCE (COP) - (HEAT PUMP)—HEATING.  Heating: the ratio of the rate of heat delivered to the rate of energy input, in consistent units, for a complete heat pump system, including the compressor and, if applicable, auxiliary heat, under designated operating conditions.

COMBUSTION APPLIANCE, DIRECT VENT.  A system consisting of:  (1) an appliance for indoor installation; (2) combustion air connections between the appliance and the outdoor atmosphere; (3) flue gas connections between the appliance and the vent cap; and, (4) vent cap for installation outdoors, supplied by the manufacturer and constructed so that all air for combustion is obtained from the outdoor atmosphere and all flue gases are discharged to the outdoor atmosphere.

COMFORT CONDITIONING. Treating air to control its temperature, relative humidity, cleanliness, and distribution to meet the comfort requirements of the occupants of the conditioned space.

COMFORT ENVELOPE.  The area on a psychrometric chart enclosing all those conditions described as being comfortable in Figure 1, ASHRAE Standard 55, Thermal Environmental Comfort Conditions for Human Occupancy.

COMMON CEILING.  The ceiling/floor assembly separating conditioned tenancies, one above the other.

COMMON WALL.  A wall separating conditioned tenancies, one next to the other.

CONDITIONED FLOOR AREA.  The horizontal projection (outside measurements) of that portion of space which is conditioned directly or indirectly by an energy-using system.  See “FLOOR AREA”; “GROSS FLOOR AREA”).

CONDITIONED SPACE----that volume of a structure which is either mechanically heated, cooled, or both heated and cooled  by direct means.  Spaces within the thermal envelope that are not directly conditioned shall be considered buffered unconditioned space.  Such spaces may include, but are not limited to, mechanical rooms, stairwells, and unducted spaces beneath roofs and between floors.   Air leakage into dropped ceiling cavities does not constitute conditioned space.  See “SPACE”.

CONTROL DEVICE.  A specialized device used to regulate the operation of equipment.

CONVENTIONAL ATTIC.  Traditionally, the space directly below the roof and above the ceiling of the upper story of a building.

DEAD BAND.  The range of values within which a sensed variable can vary without initiating a change in the controlled process.

DESIGN PROFESSIONAL.  An architect or engineer licensed to practice in accordance with applicable state licensing laws.

DOOR.  All operable opening areas (which are not fenestration) in the building envelope, including swinging and roll-up doors, fire doors, and access hatches. Doors that are more than one-half glass are considered fenestration. (See fenestration.) For the purposes of determining building envelope requirements, the classifications are defined as follows:

(a) non-swinging: roll-up, sliding, and all other doors that are not swinging doors.

(b) swinging: all operable opaque panels with hinges on one side and opaque revolving doors.

DOOR AREA.  Total area of the door measured using the rough opening and including the door slab and the frame. See “FENESTRATION AREA”.

DRAWBAND.  A fastener which surrounds and fastens a duct fitting with either the inner lining or the outer jacket of flexible ducts.  Tension ties, clinch bands, draw ties, and straps are considered drawbands.

DUCT FITTING.  Couplings that join sections of ducting together or to other air distribution system components.  When used to join sections of flexible non-metal duct, duct fittings are typically metal or other rigid material and have a raised bead or indented groove against which the drawband is secured.  Terminal fittings join ducting to supply outlets and return inlets at the end of the distribution system and include register and return boots and register and return boxes.  Intermediate fittings join flexible non-metal duct to other sections of flexible non-metal duct, to sections of other types of ducting, and to mechanical equipment and include collars, take-offs, tap-ins, sleeves, and the supply and return ends of air handlers and furnaces.  See “INTEGRAL FLANGE DUCT COLLAR FITTING”.

DUCTS IN CONDITIONED SPACE.  Ductwork located on the conditioned side of the envelope insulation and constructed in such a manner that any leakage will be discharged into the conditioned space.  See Appendix G (B), Section B5.1.

DWELLING UNIT.  A single unit providing complete independent living facilities for one or more persons, including permanent provisions for living, sleeping, eating, cooking, and sanitation.

EFFECTIVE AIR SPACE EMITTANCE----the radiation heat transfer property E of an air space determined by the emissivity of the surfaces bounding that air space.

EFFICIENCY.  Performance at specified rating conditions.

EFFICIENCY, HVAC SYSTEM.  The ratio of useful energy output (at the point of use) to the energy input in consistent units for a designated time period, expressed in percent.

EMISSIVITY.  The ratio of the total radiant flux emitted by a body to that emitted by an ideal black body at the same temperature.

EMITTANCE.  The ratio of the radiant heat flux emitted by a specimen to that emitted by a blackbody at the same temperature and under the same conditions.

ENCLOSED SPACE.  A volume substantially surrounded by solid surfaces such as walls, floors, roofs, and openable devices such as doors and operable windows.

ENCLOSED SUPPORT PLATFORM.  A framed enclosure located inside or outside the conditioned space, which supports a furnace or central heating/air conditioning air handler and which may contain and protect a return duct section of the air distribution system.

ENCLOSURE.  The case or housing of an apparatus, or the fence or walls surrounding an installation, to prevent personnel from accidentally contacting energized parts or protect equipment from physical damage.

ENERGY.  The capacity for doing work. It takes a number of forms that may be transformed from one into another such as thermal (heat), mechanical (work), electrical, and chemical. Customary measurement units are British thermal units (Btu).

ENERGY EFFICIENCY RATIO (EER).  The ratio of net cooling capacity in Btu/h to total rate of electric input in watts under designated operating conditions.  See “COEFFICIENT OF PERFORMANCE (COP)—COOLING”.

ENERGY FACTOR (EF).  A measure of water heater overall efficiency.

ENERGY MANAGEMENT SYSTEM.  A control system designed to monitor the environment and the use of energy in a facility and to adjust the parameters of local control loops to conserve energy while maintaining a suitable environment.

ENERGY PERFORMANCE LEVEL.  An indicator of the energy-related performance of a building, including, but not limited to, the levels of insulation, the amount and type of glass, and the HVAC and water heating system efficiencies.

EQUIPMENT.  Devices for comfort conditioning, or service water heating including, but not limited to, furnaces, boilers, air conditioners, heat pumps, chillers, water heaters, or other devices or installations.

EXISTING BUILDING.  A building or portion thereof that was previously occupied or approved for occupancy by the authority having jurisdiction.

EXISTING EQUIPMENT.  Equipment previously installed in an existing building.

EXISTING SYSTEM.  A system or systems previously installed in an existing building.

EXTERIOR BUILDING ENVELOPE.  See “BUILDING ENVELOPE”.

EXTERIOR WALL.  A wall of a structure that is exposed to outdoor climate conditions and which forms a boundary between a conditioned and an outdoor space.  See “ADJACENT WALL”.

FACTORY-SEALED AIR HANDLING UNIT.  A furnace, or an air conditioner or heat pump fan-coil unit which is certified by its manufacturer to withstand, without leakage, an air pressure of one (1) inch water gauge, when all air inlets, air outlets and condensate drain port(s), when present, are sealed at an air pressure of one (1) inch water gauge with no greater than 2 design CFM discharge.

FENESTRATION.  All areas (including the frames) in the building envelope that let in light, including windows, plastic panels, clerestories, skylights, glass doors that are more than one-half glass, and glass block walls. (See building envelope and door.)

(a) skylight: a fenestration surface having a slope of less than 60 degrees from the horizontal plane. Other fenestration, even if mounted on the roof of a building, is considered vertical fenestration.

(b) vertical fenestration: all fenestration other than skylights. Trombe wall assemblies, where glazing is installed within 12 in. of a mass wall, are considered walls, not fenestration.

FENESTRATION AREA.  Total area of the fenestration measured using the rough opening and including the glazing, sash, and frame. For doors where the glazed vision area is less than 50 percent of the door area, the fenestration area is the glazed vision area. For all other doors, the fenestration area is the door area. See “DOOR AREA”.

FENESTRATION, VERTICAL.  See “FENESTRATION”; “SKYLIGHT”.

FIREWALL.  Fire resistant wall, having protective openings, which restricts the spread of fire and extends continuously from the foundation to or through the roof, with sufficient structural stability under fire conditions to allow collapse of construction on either side without collapse of the wall.

FLEXIBLE NON-METAL DUCT.  A type of flexible air duct comprised of a wire-reinforced core (usually plastic), an insulation layer and an outer jacket (usually a durable reinforced plastic).

FLOOR, ENVELOPE.  That lower portion of the building envelope, including opaque area and fenestration, that has conditioned or semiheated space above and is horizontal or tilted at an angle of less than 60 degrees from horizontal but excluding slab-on-grade floors. For the purposes of determining building envelope requirements, the classifications are defined as follows:

(a) mass floor: a floor with a heat capacity that exceeds (1) 7 Btu/ft2·°F or (2) 5 Btu/ft2·°F provided that the floor has a material unit mass not greater than 120 lb/ft3.

(b) steel joist floor: a floor that (1) is not a mass floor and (2) that has steel joist members supported by structural members.

(c) wood framed and other floors: all other floor types, including wood joist floors. (See building envelope, fenestration, opaque area, and slab-on-grade floor).

FLOOR AREA, GROSS.  The sum of the floor areas of the spaces within the building including basements, mezzanine and intermediate-floored tiers, and penthouses with headroom height of 7.5 ft or greater. It is measured from the exterior faces of exterior walls or from the centerline of walls separating buildings, but excluding covered walkways, open roofed-over areas, porches and similar spaces, pipe trenches, exterior terraces or steps, chimneys, roof overhangs, and similar features.

(a) gross building envelope floor area: the gross floor area of the building envelope, but excluding slab-on-grade floors.

(b) gross conditioned floor area: the gross floor area of conditioned spaces.

(c) gross lighted floor area: the gross floor area of lighted spaces.

(d) gross semiheated floor area: the gross floor area of semiheated spaces. (See building envelope, floor, slab-on-grade floor, and space.)

FLUE DAMPER.  A device in the flue outlet or in the inlet of or upstream of the draft control device of an individual, automatically operated, fossil fuel-fired appliance that is designed to automatically open the flue outlet during appliance operation and to automatically close the flue outlet when the appliance is in a standby condition.

FOSSIL FUEL.  Fuel derived from a hydrocarbon deposit such as petroleum, coal, or natural gas derived from living matter of a previous geologic time.

FUEL.  A material that may be used to produce heat or generate power by combustion.

GASKETING.  A compressible, resilient elastic packing, made of foam rubber or of a synthetic foam polymer.  A gasket is distinct from the components being joined and must be capable of closing all air leakage pathways between the air barriers of the joint and of creating an air-tight seal.

GLAZING.  Sunlight-transmitting fenestration, including the area of sash, curbing or other framing elements, that enclose conditioned space. Glazing includes the area of sunlight-transmitting fenestration assemblies in walls bounding conditioned basements.

GRADE.  The finished ground level adjoining a building at all exterior walls.

GROSS FLOOR AREA.  The sum of the floor areas of the conditioned spaces including basements, mezzanine and intermediate-floored tiers and penthouses of headroom height 7.5 ft. or greater.  It is measured from the exterior faces of exterior walls or from the centerline of walls separating buildings.

GROSS ROOF AREA.  See “ROOF AREA, GROSS”.

GROSS WALL AREA.  See WALL AREA, GROSS”.

HEAT.  The form of energy that is transferred by virtue of a temperature difference or a change in the state of a material.

HEAT CAPACITY (HC): The amount of heat necessary to raise the temperature of a given mass 1°F. Numerically, the sum of the products of the mass per unit area of each individual material in the roof, wall, or floor surface multiplied by its individual specific heat (Btu/ft2·°F).

HEAT PUMP.  A mechanical refrigeration-cycle system which has been designed to accomplish space heating, water heating or both and, when the evaporator and condenser effects are reverse, may be used for space air conditioning or water chilling.

HEAT TRAP.  A device or arrangement of the hot water piping leaving the water heater, constructed to counteract the convective forces of the heated water (thermosyphoning) during stand-by periods.

HEATED BUILDING.  Any building with heating equipment installed at the time of construction, or designed for the future installation of heating equipment, using electricity or fossil fuels.

HEATED SLAB.  A floor, usually constructed of concrete, that has heat energy supplied into the slab to provide heating to an interior space.

HEATED SPACE.  See “SPACE”.

HEATING SEASONAL PERFORMANCE FACTOR (HSPF). The total heating output of a heat pump during its normal annual usage period for heating (in Btu) divided by the total electric energy input during the same period.

HISTORIC.  A building or space that has been specifically designated as historically significant by the adopting authority or is listed in “The National Register of Historic Places” or has been determined to be eligible for listing by the U.S. Secretary of the Interior.

HOME INSULATION.  Any material, mainly insulation, used to retard the flow of heat through the building envelope that is tested and labeled with an installed R-value as required by the Federal Trade Commission rules, 16 U.S. Code of Federal Regulations (CFR) Part 460.

HUMIDISTAT.  An automatic control device used to maintain humidity at a fixed or adjustable set point.

HVAC.  Heating, ventilating and air conditioning.

HVAC SYSTEM.  The equipment, distribution systems, and terminals that provide, either collectively or individually, the processes of heating, ventilating, or air conditioning to a building or portion of a building.

INDIRECTLY CONDITIONED SPACE.  See “SPACE”.

INDOOR.  Within the conditioned building envelope.

INFILTRATION.  The uncontrolled inward air leakage through cracks and crevices in any building element and around windows and doors of a building caused by pressure differences across these elements due to factors such as wind, inside and outside temperature differences (stack effect), and imbalance between supply and exhaust air systems.

INFILTRATION BARRIER.  A product or system designed to limit the free passage of air through a building envelope component (wall, ceiling or floor).  Such products and systems are sealed together to form a continuous barrier against air infiltration.

INSULATION.  Material mainly used to retard the flow of heat.  See “HOME INSULATION”.

INSULATION BAFFLE.  A device installed at the eave of an attic to prevent insulation from blocking the air flow channel between the soffits and attic.

INSULATION CHUTE.  See “INSULATION BAFFLE”.

INSULATION DAMS.  A flexible device used between rafters at the eave line of roof systems that holds loose fill insulation away from soffit ventilation areas and prevents blockage of natural ventilation flow.

INTEGRAL-FLANGE DUCT COLLAR FITTING.  A type of duct collar fitting having a flange that is secured to and sealed to the cylinder or sleeve of the fitting.  A function of this flange is to provide a surface which can be sealed to rigid ductboard.

KILOWATT (kW).  The basic unit of electric power, equal to 1000 W.

KNEE WALLS.  Vertical walls which separate conditioned space from the attic.

LABELED. Devices, appliances, assemblies or materials included in a list published by an approved testing laboratory, inspection agency or other organization concerned with product evaluation that maintains periodic inspection of production of listed equipment, appliances, assemblies or material, and whose listing states either that the equipment, appliances, assemblies, or material meets nationally recognized standards or has been tested and found suitable for use in a specified manner..

LISTED.  Equipment, materials or services included in a list published by an organization acceptable to the building official and concerned with evaluation of products or services that maintains periodic inspection of production of listed equipment or materials or periodic evaluation of services and whose listing states either that the equipment, material or service meets identified standards or has been tested and found suitable for a specified purpose.

MANUAL (NONAUTOMATIC).  Requiring personal intervention for control. Nonautomatic does not necessarily imply a manual controller, only that personal intervention is necessary. See “AUTOMATIC”.

MANUFACTURED BUILDING.  A closed structure, building assembly, or system of subassemblies, which may include structural, electrical, plumbing, heating, ventilating, or other service systems manufactured for installation or erection, with or without other specified components, as a finished building or as part of a finished building, which shall include, but not be limited to, residential, commercial, institutional, storage, and industrial structures.

MANUFACTURED HOME.  As defined by the U.S. Department of Housing and Urban Development, residential units constructed in accordance with Federal Mobile Construction and Safety Standards, pursuant to 42 USC 55.5401, et. seq. and 24 CFR 3282 and 3283.

MANUFACTURER.  The company engaged in the original production and assembly of products or equipment or a company that purchases such products and equipment manufactured in accordance with company specifications.

MASS FLOOR.  See “FLOOR”.

MASS WALL.  See “WALL”.

MASTIC.  A thick, pliable substance that adheres well to specific materials and is used for sealing different building components together.  Mastics are often used in conjunction with fibrous or mesh fabric.

MASTIC RIBBONS.  Malleable, putty-like packings which are used in applications akin to those of gasketing; but, they do not have elasticity of gasketing.  Such mastics contain nearly 100 percent solids, require no curing in air, and are used without reinforcing fabric.

MECHANICAL CLOSET.  For the purposes of this code, a closet used as an air plenum which contains the blower unit or air handler of a central air conditioning or heating unit.

MECHANICAL EQUIPMENT PLENUM CHAMBER.  In an air distribution system, that part of the casing, or an air chamber furnace, to or from which the air duct system delivers conditioned air.

MECHANICAL HEATING.  Raising the temperature of a gas or liquid by use of fossil fuel burners, electric resistance heaters, heat pumps, or other systems that require energy to operate.

MECHANICAL COOLING.  Reducing the temperature of a gas or liquid by using vapor compression, absorption, desiccant dehumidification combined with evaporative cooling, or another energy-driven thermodynamic cycle. Indirect or direct evaporative cooling alone is not considered mechanical cooling.

MECHANICAL VENTILATION.  The process of supplying or removing air by mechanical means to or from any space.

MULTIPLE FAMILY RESIDENCE.  Any residential dwelling unit that is attached to another such unit by a common wall, ceiling or floor such as a duplex, townhouse, condominium or similar unit, regardless of ownership.

MULTI-ZONE SYSTEM(S)----one or more HVAC system(s) designed to supply conditioned air to more than one independently serviced area of a building.  Each zone must have separate thermostats and be separated by walls or closable doors not exceeding forty square feet between zones.

NEW ENERGY.  Energy, other than recovered energy, used for the purpose of heating or cooling. See “ENERGY”

NONAUTOMATIC.  See “MANUAL”.

NON-DEPLETABLE ENERGY SOURCES.  Sources of energy derived from incoming solar radiation, including photo-synthetic processes, wind, waves, and tides, lake or pond thermal differences and energy derived from the internal heat of the earth, including nocturnal thermal exchanges.

NONRECIRCULATING SYSTEM.  A domestic or service hot water distribution system that is not a recirculating system.

NONRENEWABLE ENERGY.  Energy derived from a fossil fuel source.

NONRESIDENTIAL.  All occupancies other than residential.  See “RESIDENTIAL”.

NON-SWINGING DOOR.  See “DOOR”.

OCCUPANCY.  The purpose for which a building, or part thereof, is used or intended to be used.  For the purposes of determining changes of occupancy for this Code, the occupancy shall be considered the major occupancy group designations established by the locally adopted building code.

OPAQUE.  All areas in the building envelope, except fenestration and building service openings such as vents and grilles. (See building envelope and fenestration.)

OPERABLE APERTURE AREAS.  Areas of windows, sliding glass doors and screened entry doors that provide access to incoming breezes in their fully extended open position.

ORIENTATION.  The direction an envelope element faces, i.e., the direction of a vector perpendicular to and pointing away from the surface outside of the element.

OVERHANG HEIGHT.  The vertical measure of the distance from the bottom of a window to the bottom of the overhang.

OVERHANG LENGTH.  The horizontal measure of how far a window overhang projects out from the glass surface.

OVERHANG SEPARATION.  The vertical measure of the distance from the top of a window to the bottom of an overhang.

.

PACKAGED TERMINAL AIR CONDITIONER (PTAC).  A factory selected wall sleeve and separate unencased combination of heating and cooling components, assemblies, or sections. It may include heating capability by hot water, steam, or electricity and is intended for mounting through the wall to serve a single room or zone.

PACKAGED TERMINAL HEAT PUMP (PTHP).  A PTAC capable of using the refrigerating system in a reverse cycle or heat pump mode to provide heat.

PERMANENTLY INSTALLED.  Equipment that is fixed in place and is not portable or movable.

PLENUM.  A compartment or chamber to which one or more ducts are connected, that forms a part of the air distribution system, and that is not used for occupancy or storage. A plenum often is formed in part or in total by portions of the building.

POOL.  Any structure, basin, or tank containing an artificial body of water for swimming, diving, or recreational bathing. The term includes, but is not limited to, swimming pool, whirlpool, spa, hot tub.

POOL COVER.  Sheet of material, typically plastic, designed to cover the water which may prevent water or heat loss through convection, radiation and evaporation.

POSITIVE INDOOR PRESSURE.  A positive pressure condition within a conditioned space caused by bringing in more outside air than the amount of air that is exhausted and/or lost through air leakage.

POST OR PIER CONSTRUCTION.  Raised wood floor supported above grade on posts or piers with unenclosed space beneath.

PRESSURE ENVELOPE.  The primary air barrier of a building; that part of the envelope that provides the greatest resistance to air flow to or from the building.

PRESSURE-SENSITIVE TAPE.  Tape used for sealing duct system components and air barriers which adheres when pressure is applied and is not heat activated.

PRIMARY LIVING AREA.  A family room or great room, or a living room if no family room or great room is present.  Formal living rooms, where a family room or great room is present, dining rooms and kitchens are not considered primary living areas.

RADIANT BARRIER SYSTEM (RBS).  A building construction consisting of a low emittance (normally 0.1 or less) surface (usually aluminum foil) bounded by an open air space.  A RBS is used for the sole purpose of limiting heat transfer by radiation and is not specifically intended to reduce heat transfer by convection or conduction.

RADIANT HEATING SYSTEM.  A heating system that transfers heat to objects and surfaces within the heated space primarily (greater than 50%) by infrared radiation.

RATED R-VALUE OF INSULATION.  The thermal resistance of the insulation alone as specified by the manufacturer in units of h·ft2·°F/Btu at a mean temperature of 75°F. Rated R-value refers to the thermal resistance of the added insulation in framing cavities or insulated sheathing only and does not include the thermal resistance of other building materials or air films.  See “THERMAL RESISTANCE”.

READILY ACCESSIBLE.  Capable of being reached quickly for operation, renewal, or inspections without requiring those to whom ready access is requisite to climb over or remove obstacles or to resort to portable ladders, chairs, etc. In public facilities, accessibility may be limited to certified personnel through locking covers or by placing equipment in locked rooms.

RECIRCULATING SYSTEM.  A domestic or service hot water distribution system that includes a closed circulation circuit designed to maintain usage temperatures in hot water pipes near terminal devices (e.g., lavatory faucets, shower heads) in order to reduce the time required to obtain hot water when the terminal device valve is opened. The motive force for circulation is either natural (due to water density variations with temperature) or mechanical (recirculation pump).

REFLECTANCE.  The ratio of the light reflected by a surface to the light incident upon it.

RENOVATION.  Any structural repair, reconstruction or restoration to a structure, the costs of which equals or exceeds, over a 1-year period, a cumulative total of 30 percent of the assessed value of the structure when that value is assessed, either:

1. Before the improvement or repair is started; or

2. Before the damage occurred, if the structure has been damaged.

For the purposes of this Code, renovation occurs when the first alteration of any wall, ceiling, floor, or other structural part or mechanical system of the building commences, whether or not that alteration affects the external dimensions of the structure.

REPAIR.  The reconstruction or renewal of any part of an existing building for the purpose of its maintenance.

REPLACEMENT.  The installation of part or all of an existing mechanical or electrical system in an existing building.

RESET.  Automatic adjustment of the controller set point to a higher or lower value.

RESISTANCE, ELECTRIC.  The property of an electric circuit or of any object used as part of an electric circuit that determines for a given circuit the rate at which electric energy is converted into heat or radiant energy and that has a value such that the product of the resistance and the square of the current gives the rate of conversion of energy.

RESIDENTIAL.  Spaces in buildings used primarily for living and sleeping. Residential spaces include, but are not limited to, dwelling units, hotel/motel guest rooms, dormitories, nursing homes, patient rooms in hospitals, lodging houses, fraternity/sorority houses, hostels, prisons, and fire stations.

RETROFIT.  Modification of existing equipment or systems to incorporate improved performance of operation.

ROOF.  The upper portion of the building envelope, including opaque areas and fenestration, that is horizontal or tilted at an angle of less than 60° from horizontal. For the purposes of determining building envelope requirements, the classifications are defined as follows:

(a) attic and other roofs: all other roofs, including roofs with insulation entirely below (inside of) the roof structure (i.e., attics, cathedral ceilings, and single-rafter ceilings), roofs with insulation both above and below the roof structure, and roofs without insulation but excluding metal building roofs.

(b) metal building roof: a roof that is constructed with (a) a metal, structural, weathering surface, (b) has no ventilated cavity, and (c) has the insulation entirely below deck (i.e., does not include composite concrete and metal deck construction nor a roof framing system that is separated from the superstructure by a wood substrate) and whose structure consists of one or more of the following configurations:  metal roofing in direct contact with the steel framing members or (2) insulation between the metal roofing and the steel framing members or (3) insulated metal roofing panels installed as described in (1) or (2).

(c) roof with insulation entirely above deck: a roof with all insulation (1) installed above (outside of) the roof structure and (2) continuous (i.e., uninterrupted by framing members).

(d) single-rafter roof: a subcategory of attic roofs where the roof above and the ceiling below are both attached to the same wood rafter and where insulation is located in the space between these wood rafters.

ROOF AREA, GROSS.  The area of the roof measured from the exterior faces of walls or from the centerline of party walls.  See “ROOF”; “WALL”

ROOF ASSEMBLY.  All components of the roof/ceiling envelope through which heat flows, thereby creating building heat loss or gain, where such assembly is exposed to outdoor air and encloses a conditioned space.  The gross area of a roof assembly consists of the total interior surface of such assembly, including skylights exposed to the conditioned space.

ROOM AIR CONDITIONER.  An encased assembly designed as a unit to be mounted in a window or through a wall, or as a console. It is designed primarily to provide direct delivery of conditioned air to an enclosed space, room, or zone. It includes a prime source of refrigeration for cooling and dehumidification and a means for circulating and cleaning air. It may also include a means for ventilating and heating.

SEAL or SEALING - AIR DUCT.  The use of closure products either welds, mastic, mastic plus embedded fabric, adhesives, caulking, gaskets, pressure sensitive tapes, heat-activated tapes or combinations thereof as allowed by specific sections of this Code, to close cracks, joints, seams, and other openings in the air barriers of air duct, air handling units, and plenum chambers for the purpose of preventing air leakage.  No joint of opening from which a closure product is absent shall be considered sealed unless considered otherwise in specific cases identified by this code.  Closeness of fit between mated parts alone shall not be considered a seal.

SEASONAL COEFFICIENT OF PERFORMANCE - COOLING (SCOPC).  The total cooling output of an air conditioner during its normal annual usage period for cooling divided by the total electric energy input during the same period in consistent units (analogous to the SEER but for IP or other consistent units).

SEASONAL COEFFICIENT OF PERFORMANCE--HEATING (SCOPH).  The total heating output of a heat pump during its normal annual usage period for heating divided by the total electric energy input during the same period in consistent units (analogous to the HSPF but for IP or other consistent units).

SEASONAL ENERGY EFFICIENCY RATIO (SEER).  The total cooling output of an air conditioner during its normal annual usage period for cooling (in Btu) divided by the total electric energy input during the same period (in Wh).

SERVICE WATER HEATING.  Heating water for domestic or commercial purposes other than space heating and process requirements.

SETBACK.  Reduction of heating (by reducing the set point) or cooling (by increasing the set point) during hours when a building is unoccupied or during periods when lesser demand is acceptable.

SET POINT.  Point at which the desired temperature (°F) of the heated or cooled space is set.

SHADING COEFFICIENT (SC).  The ratio of solar heat gain at normal incidence through glazing to that occurring through 1/8 in. thick clear, double-strength glass. Shading coefficient, as used herein, does not include interior, exterior, or integral shading devices.

SINGLE-RAFTER ROOF.  See “ROOF”.

SINGLE-ZONE SYSTEM.  An HVAC system serving a single HVAC zone.

SINGLE ASSEMBLY.  A roof and ceiling structure that is constructed as one unit with no attic space in between.

SINGLE FAMILY RESIDENCE.  Detached residential building suited for tenancy by one family unit.

SITE-INSTALLED COMPONENTS AND FEATURES.  Equipment, materials, measures, practices and features which are affixed to a new manufactured home at its first set-up that are not initially installed by the manufacturer.

SITE-RECOVERED ENERGY.  Waste energy recovered at the building site that is used to offset consumption of purchased fuel or electrical energy supplies.

SITE-SOLAR ENERGY.  Thermal, chemical, or electrical energy derived from direct conversion of incident solar radiation at the building site and used to offset consumption of purchased fuel or electrical energy supplies. For the purposes of applying this standard, site-solar energy shall not include passive heat gain through fenestration systems.

SKYLIGHT.  See “FENESTRATION”.

SKYLIGHT WELL.  The shaft from the skylight to the ceiling.

SLAB-ON-GRADE FLOOR.  That portion of a slab floor of the building envelope that is in contact with the ground and that is either above grade or is less than or equal to 24 in. below the final elevation of the nearest exterior grade.

(a) heated slab-on-grade floor: a slab-on-grade floor with a heating source either within or below it.

(b) unheated slab-on-grade floor: a slab-on-grade floor that is not a heated slab-on-grade floor.

SOLAR ENERGY SOURCE.  Source of thermal, chemical, or electrical energy derived from direct conversion of incident solar radiation at the building site.

SOLAR ENERGY SYSTEM.  A complete set of coordinated components, which may be  comprised of collectors, piping, pumps, heat exchangers, photovoltaic (PV) arrays, wiring, controls, power converters, and applicable storage, the design of which is intended to convert and utilize incident solar radiation to either heat water for hot water or space conditioning needs or to produce photovoltaic (PV) power for electrical needs.

SOLAR HEAT GAIN COEFFICIENT (SHGC).  The ratio of the solar heat gain entering the space through the fenestration area to the incident solar radiation. Solar heat gain includes directly transmitted solar heat and absorbed solar radiation, which is then reradiated, conducted, or convected into the space. (See fenestration area.)

SPACE.  An enclosed space within a building. The classifications of spaces are as follows for the purpose of determining building envelope requirements.

(a) conditioned space: a cooled space, heated space, or indirectly conditioned space defined as follows.

(1) cooled space: an enclosed space within a building that is cooled by a cooling system whose sensible output capacity exceeds 5 Btu/h·ft2 of floor area.

(2) heated space: an enclosed space within a building that is heated by a heating system whose output capacity relative to the floor area is greater than or equal than 5 Btu/h.ft2.

(3) indirectly conditioned space: an enclosed space within a building that is not a heated space or a cooled space, which is heated or cooled indirectly by being connected to adjacent space(s) provided (a) the product of the U-factor(s) and surface area(s) of the space adjacent to connected space(s) exceeds the combined sum of the product of the U-factor(s) and surface area(s) of the space adjoining the outdoors, unconditioned spaces, and to or from semiheated spaces (e.g., corridors) or (b) that air from heated or cooled spaces is intentionally transferred (naturally or mechanically) into the space at a rate exceeding 3 air changes per hour (ACH) (e.g., atria).

(b) semiheated space: an enclosed space within a building that is heated by a heating system whose output capacity is greater than or equal to 3.4 Btu/h·ft2 of floor area but is not a conditioned space.

(c) unconditioned space: an enclosed space within a building that is not a conditioned space or a semiheated space. Crawl spaces, attics, and parking garages with natural or mechanical ventilation are not considered enclosed spaces.

SPACE CONSTRAINED PRODUCT – means a central air conditioner or heat pump:

- that has rated cooling capabilities no greater than 30,000 BTU/h;

- that has an outdoor or indoor unit having at least two overall exterior dimensions or an overall displacement that

  - is substantially smaller than those of other units that are either currently usually installed in site-built single family homes, and of a similar cooling and, if heat pump, heating capacity; and

  - if increased, would certainly result in a considerable increase in the usual cost of installation or would certainly result in a significant loss in the utility of the product to the consumer, and

- is of a product type that was available for purchase in the United States as of December 1, 2000.

SPACE PERMITTING – INSULATION.  Where an enclosed space exists in which insulation can be placed without the creation of space for that purpose only; e.g. dropped ceiling below a floor deck or space between joists.

SPLIT SYSTEM.  Air conditioning system or heat pump with compressor and air handler in separate cabinets with the compressor typically located exterior to conditioned space.

STACK LOSSES.  Unused heat energy escaping through a flue or chimney to the outdoors in a combustion heating system.

STEADY-STATE CONDITIONS (for gas- or oil-fired heating equipment).  Equilibrium conditions as indicated by temperature variations of not more than 3oF (1.7oC) in the stack gas temperature for units equipped with integral draft diverters, or not more than 5oF (2.8oC) in flue gas temperature for units equipped with draft hoods, barometric draft regulators, or direct vent systems, in three successive temperature readings taken 15 minutes apart.

STEM WALL CONSTRUCTION.  A type of raised floor system consisting of a wood floor supported above grade by a continuous stem wall around its perimeter.

STRUCTURE.  That which is built or constructed.

SUN SPACE.  A totally enclosed, unconditioned space which is built substantially of glass, attached to the conditioned space of the building, and designed primarily for winter space heating.

SUPPLEMENTARY HEAT.  Heat provided, generally electric resistance heat, to make up the difference between heat provided by the refrigeration cycle of a heat pump and that required to meet the heating load at low temperatures.  Supplementary heat shall not be construed as the heat required to provide 100% backup in case of system failure.

SWINGING DOOR.  See “DOOR”..

SYSTEM.  A combination of equipment and auxiliary devices (e.g., controls, accessories, interconnecting means, and terminal elements) by which energy is transformed so it performs a specific function such as HVAC, service water heating, or lighting.

SYSTEM, EXISTING.  A system or systems previously installed in an existing building.

THERMAL BLOCK.  A collection of one or more HVAC zones grouped together for simulation purposes. Spaces need not be contiguous to be combined within a single thermal block.

THERMAL EFFICIENCY – For the purposes of this code, Thermal Efficiency shall be defined as included in the American National Standard Institute, Inc. standard ANSI Z 21.10.3.

THERMAL RESISTANCE (R-VALUE).  The reciprocal of the time rate of heat flow through a unit area induced by a unit temperature difference between two defined surfaces of material or construction under steady-state conditions. Units of R are h·ft2·°F/Btu.

THERMAL ENVELOPE.  The primary insulation layer of a building; that part of the envelope that provides the greatest resistance to heat flow to or from the building.

THERMAL MASS.  Materials with mass heat capacity and surface area capable of affecting building loads by storing and releasing heat as the interior and/or exterior temperature and radiant conditions fluctuate.

THERMAL MASS WALL INSULATION POSITION

1. Exterior Insulation Position----a wall having all or nearly all of its mass exposed to the room air with the insulation on the exterior of that mass.

2. Integral Insulation Position----a wall having mass exposed to both room and outside air with substantially equal amounts of mass on the inside and outside of the insulation layer.

3. Interior Insulation Position----a wall not meeting either of the above definitions, particularly a wall having most of its mass external to an insulation layer.

THERMOSTAT.  An automatic control device used to maintain temperature at a fixed or adjustable set point.

THROUGH-THE-WALL AIR CONDITIONER and HEAT PUMP – means a central air conditioner or heat pump that is designed to be installed totally or partially within a fixed-size opening in an exterior wall, and:

- is manufactured prior to January 23, 2010;

- is not weatherized;

- is clearly and permanently marked for installation-0nly through an exterior wall;

- has a rated cooling capacity no greater than 30,000 BTU/h;

- exchanges all of its outdoor air across a single surface of the equipment cabinet, and

- has a combined outdoor air exchange area of less than 800 square inches (split systems) or less than 1,210 square inches (single packaged systems) as measured on the surface described in 5) above

TINTED.  As applied to fenestration:  bronze, green, blue, or gray coloring that is integral with the glazing material. Tinting does not include surface applied films such as reflective coatings, applied either in the field or during the manufacturing process.

TOWNHOUSE.  A single-family dwelling unit constructed in a series or group of attached units with property lines separating such units.  For the purpose of this Code, townhouses shall be considered multifamily dwellings.

TRANSFER GRILLE.  A louvered or perforated covering for an opening in an air passage through a wall or door allowing transport of return air from a separated conditioned space of a building to the space containing the air distribution system's primary return.

UNCONDITIONED SPACE.  See “SPACE”.

UNDER ATTIC.  Location of ceiling area in residential occupancies where the roof assembly and ceiling assembly are separated by a continuous ventilated unconditioned space spanning the ceiling area.  Scissors truss structures are considered under attic where a ventilated air space is provided.

UNENCLOSED SPACE.  A space that is not an enclosed space.

UNITARY COOLING EQUIPMENT.  One or more factory-made assemblies that normally include an evaporator or cooling coil and a compressor and condenser combination. Units that perform a heating function are also included.

UNITARY HEAT PUMP.  One or more factory-made assemblies that normally include an indoor conditioning coil, compressor(s), and an outdoor refrigerant-to-air coil or refrigerant-to-water heat exchanger. These units provide both heating and cooling functions.

VENT DAMPER.  A device intended for installation in the venting system of an individual, automatically operated, fossil fuel-fired appliance in the outlet or downstream of the appliance draft control device, which is designed to automatically open the venting system when the appliance is in operation and to automatically close off the venting system when the appliance is in a standby or shutdown condition.

VENTILATION.  The process of supplying or removing air by natural or mechanical means to or from any space. Such air is not required to have been conditioned.

VENTILATION AIR.  That portion of supply air which comes from outdoors, plus any cleaned recirculated air to maintain the desired quality of air within a designated space.

WALL.  That portion of the building envelope, including opaque area and fenestration, that is vertical or tilted at an angle of 60° from horizontal or greater. This includes above and below-grade walls, between floor spandrels, peripheral edges of floors, and foundation walls. For the purposes of determining building envelope requirements, the classifications are defined as follows:

(a) above-grade wall: a wall that is not a below-grade wall.

(b) below-grade wall: that portion of a wall in the building envelope that is entirely below the finish

grade and in contact with the ground.

(c) mass wall: a wall with a heat capacity exceeding (1) 7 Btu/ft2·°F or (2) 5 Btu/ft2·°F provided that the wall has a material unit weight not greater than 120 lb/ft3.

(d) metal building wall: a wall whose structure consists of metal spanning members supported by steel structural members (i.e., does not include spandrel glass or metal panels in curtain wall systems).

(e) steel-framed wall: a wall with a cavity (insulated or otherwise) whose exterior surfaces are separated by steel framing members (i.e., typical steel stud walls and curtain wall systems).

(f) wood-framed and other walls: all other wall types, including wood stud walls.

WALL AREA, GROSS.  The area of the wall measured on the exterior face from the top of the floor to the bottom of the roof.

WATER HEATER.  Vessel in which water is heated and is withdrawn for use external to the system.

WATT.  The electrical unit of power or rate of doing work.  One watt = 0.00134 h.p.

WHOLE HOUSE FAN.  A mechanical ventilation system usually installed in the ceiling of a residence which is used to exhaust air from the interior of a building to an attic space with sufficient venting area to transfer the air to the outside.

WING WALLS – an architectural projection which is designed to create positive pressure over one window and negative over another that redirects natural winds in through windows or doors.

WORST CASE – a unit of a residential structure with the same general layout and percent windows which generates the highest As-Built energy score in a Method A calculation procedure. In general, the worst case unit will have the largest amount of glass facing east and west (primary orientation) and south (secondary orientation).

ZONE, HVAC – a space or group of spaces within a building with heating and cooling requirements that are sufficiently similar so that desired conditions (e.g. temperature) can be maintained throughout using a single sensor (e.g. thermostat or temperature sensor).		[Mod 2328]

N1100.8  Types of requirements. Mandatory requirements shall be met for all buildings. The Section number followed by the combined number and letters “.ABC” indicates these Mandatory requirements (i.e., requirements that shall be met by buildings complying by either Method A, B or C) in Sections N1100 through N1113. Requirements specific to Method A, B or C (i.e., “.B” is specific to Method B) shall be met when complying with the code by that method. Prescriptive requirements for Methods B or C may be more stringent than the basic prescriptive requirements and shall supersede them. General requirements contained in Subappendix B of Appendix G for building material properties, testing and installation shall be followed.

N1100.A Requirements specific to Method A.

N1100.A.1 General. Requirements specific to Method A are included in the text under the applicable building component section. Compliance is by Form 1100A-07 produced by the EnergyGauge USA Fla/Res 2007 computer program. The Method A calculation shall result in either a PASS or FAIL status. For a building to pass, the total energy score calculated for the As-Built house shall be less than or equal to the total energy score calculated for the Baseline house. The baseline features and calculation procedures contained in Section N1113 and in Subappendix B of Appendix G shall be used to demonstrate code compliance of the building design for residential buildings complying by Method A. Except where prescribed elsewhere, efficiencies described in the Method A calculation submittal to demonstrate compliance with this code shall be the minimum level installed for each component.

N1100.A.1.1  Insulation R-values. R-values used for the insulation level installed shall be the R-value of the added insulation only. Appendix G, Section B1.2, contains general rules for insulation that shall be followed.

N1100.A.1.2  Areas. Areas used in the calculation shall be the actual areas for each component determined from the plans and specifications of the building to be constructed.

N1100.A.2  Energy loads. Energy loads for Method A compliance are as provided by the EnergyGauge USA Fla/Res 2007 computer program.

N1100.A.3  Residences not heated or not cooled. Residences that are heated or cooled, but not both, shall complete both summer and winter calculations. If an addition or part of an addition is claimed to be exempt from the code because it will be neither heated nor cooled, the exempt area shall be fully separated from the conditioned area by walls or doors.

N1100.A.4  Worst-case calculations. Residential occupancies that are identical in configuration, square footage, and building materials may comply with the code by performing a worst-case calculation using compliance Method A.  A worst case calculation generates the highest As-Built energy score in a Method A calculation.  When submitting worst-case calculations, copies of Form 1100A shall be submitted or referenced with each set of plans, dependent on the requirements of the building department.

N1100.A.5 Additions.

N1100.A.5.1 Additions complying alone. Additions to existing buildings shall follow the same Method A calculation procedure as new construction with the following qualifications.

1.	Calculations shall be conducted using only the components of the addition itself, including those preexisting components which separate the addition from unconditioned spaces.

2.	Heating and cooling system loads shall be equal to the baseline system loads unless new equipment is installed to replace existing equipment or to service the addition specifically.

3.	Water heating is not included in the calculation unless a supplemental water heater is installed, an existing water heater is replaced, or an alternative water heater (gas, solar, HRU, dedicated heat pump) is installed.

N1100.A.5.2  Additions unable to comply alone. Additions may comply with the code requirements for the addition alone or by demonstrating that the entire building, including the addition, complies with the code requirements for new buildings using compliance Method A. Section N1100.A.5.2.1 contains restrictions which shall apply if the entire building is used to demonstrate compliance.

N1100.A.5.2.1 Assumptions for existing building efficiencies. The following restrictions apply if the entire building is used to demonstrate code compliance:

1.	The owner shall demonstrate to the building department’s satisfaction that all R-values and equipment efficiencies claimed are present. If the building was built after 1980, the original energy code submittal may be used to demonstrate efficiencies.

2.	If it is apparent from inspection that no insulation is present in the existing walls, floors or ceilings, or if inspection is not possible, an R-value of zero (0) shall be used for that component in the calculation. If as part of the addition and renovation project, insulation or equipment in the existing structure is upgraded, the new values may be used in the calculation.

3.	If, upon inspection, insulation is found but the R-value is unknown, then an R-value shall be determined by an energy audit utilizing current acceptable practice based on insulation thickness, density and type.

4.	Equipment efficiencies shall be demonstrated, either from manufacturer’s literature or certified equipment directories, or by the procedure provided in Section N1107.ABC.3 based on system capacity and total on-site energy input. Equipment to be added shall meet the applicable minimum equipment efficiency from Tables N1107.ABC.3.2A, N1107.ABC.3.2B, N1107.ABC.3.2D, N1108.ABC.3.2E and N1108.ABC.3.2F. Existing residential equipment not meeting the efficiencies in Tables N1107.ABC.3.2A, N1107.ABC.3.2B, N1107.ABC.3.2D, N1108.ABC.3.2E, and N1108.ABC.3.2F shall utilize the cooling or heating system efficiencies provided in Tables B4.1.1A and B4.1.1B of Appendix G.

5.	Any nonvertical roof glass shall be calculated as horizontal glazing.

N1100.B Requirements specific to Method B. Requirements specific to Method B are included in the text under the applicable building component section.  Compliance is by Form N1100B-07.  This compliance method provides a list of requirements that must be met or exceeded. Any practice, system, or rating for which the energy performance determined from compliance Method A meets or exceeds the energy performance of the prescribed practice or system in the same climate zone may be used to comply with Method B requirements. No substitutions or variations less energy efficient than the established levels and standards listed for each component type shall be permitted. No components or systems shall be installed with efficiencies less than the Mandatory Requirements for that component or system.

N1100.C Requirements specific to Method C. Requirements specific to Method C are included in the text under the applicable building component section.  Compliance is by Form 1100C-07. This compliance method provides a list of requirements that must be met or exceeded, if applicable, for additions of 600 square feet or less, renovations (see definition), and site-installed components of manufactured homes and manufactured buildings.

N1100.C.1 Additions. Requirements shall apply only to building components and equipment being added to an addition or replaced in an existing building to service an addition. Existing components or systems in a residence need not meet the requirements. Substitutions or variations that are less energy efficient than the prescribed efficiency levels and standards listed shall not be permitted.

N1100.C.2 Renovations. Requirements shall apply only to those components or systems being repaired or replaced.

N1100.C.3 Manufactured homes and manufactured buildings. Requirements specified for manufactured homes and manufactured buildings shall be met for all site-installed components and features of such buildings at the time of first setup. Complete code compliance shall be demonstrated for manufactured buildings.

SECTION N1101

FENESTRATIONS (GLAZING)

N1101.ABC  Mandatory requirements for Methods A, B and C.

N1101.ABC.1 Window efficiencies. Windows shall have no higher U-factor or Solar Heat Gain Coefficient (SHGC) than that certified to be in compliance with the code. Unlabeled windows shall use the default U-factor and SHGC criteria of Section B2.1.1 in Appendix G. Glazing in doors shall be considered fenestrations.  See Section N1100.6.5.

N1101.ABC.2  Window infiltration. Windows shall meet the minimum air infiltration requirements of Section N1106.ABC.1.1.

N1101.ABC.3  Overhangs. Nonpermanent shading devices such as canvas awnings shall not be considered overhangs. Permanently attached wood and metal awnings may be considered overhangs.

N1101.A Requirements specific to Method A.  The type of window to be installed shall have properties at least as efficient as the window(s) used to calculate Form 1100A. Window performance criteria are as contained in the EnergyGauge USA Fla/Res computer program.

N1101.A.1 Glass orientation. Glazing shall be considered in the Method A calculation by orientation of all windows and skylights.

N1101.A.2  Glass types. Glazing shall be considered by its U-factor and its Solar Heat Gain Coefficient (SHGC), or, if unlabeled, default values shall be assumed as per Section B2.1.1 of Appendix G.

N1101.A.3 Glass overhangs.  Overhang effect is measured in EnergyGauge USA Fla/Res by Overhang Separation, which is the vertical measure of the distance from the top of a window to the bottom of the overhang. The overhang for adjustable exterior shading devices shall be determined at its most extended position.

N1101.A.4  Glass areas. All glazing areas of a residence, including windows, sliding glass doors, glass in doors, skylights, etc. shall include the manufacturer’s frame area in the total window area. Window measurements shall be as specified on the plans and specifications for the residence.

Exception: When a window in existing exterior walls is enclosed by an addition, an amount equal to the area of this window may be subtracted from the glazing area for the addition for that overhang and orientation.

N1101.B Requirements specific to Method B. All glass in residential buildings complying by Method B, including sliding glass doors and glass in exterior doors that has an area one-third or more of the total door area, shall meet the criteria in Sections N1101.B.1 through N1101.B.2.

N1101.B.1 Percentage of glass.  The percentage of window area to conditioned floor area shall not exceed 16 percent.

Exception: When glass in existing exterior walls is being removed or enclosed by an addition, an amount equal to the total area of this glass may be subtracted from the total glass area prior to determining the installed glass percentage.

N1101.B.2 Glass type. All glass shall have U-factors and Solar Heat Gain Coefficients no higher than those listed from Table 11B-1 on Form 1100B.

N1101.C Requirements specific to Method C.

N1101.C.1 Additions. All glazing in residential additions complying by Method C shall meet the minimum criteria given on Table 11C-2 of Form 1100C for new glazing installed in the addition. All new glazing shall meet the overhang (OH) and the Solar Heat Gain Coefficient (SHGC) criteria of one of the alternative requirement sets in Table 11C-2 on Form 1100C for the type of glass and the percentage of glass to floor area categories on the form for glass installed in the addition. Glass windows and doors that were previously located in an existing exterior wall that is being removed or enclosed by an addition do not have to comply with the overhang and solar heat gain coefficient requirements listed on Table 11C-2 of Form 1100C when reinstalled as part of the addition.

N1101.C.1.1  Glazing area. The maximum percentage of window to floor area allowed for additions of 600 square feet (56 m2) or less shall be 50 percent. The total glazing area calculated shall include the areas of windows, sliding glass doors, all areas which exceed one-third the area of the door in which they are located, and double the area of all skylights or other nonvertical roof glass. When glass in existing exterior walls is being removed or enclosed by an addition, an amount equal to the total area of this glass may be subtracted from the total glass area prior to determining the installed glass percentage.

N1101.C.1.2  Between range calculation. In cases where an overhang length or solar heat gain coefficient falls between two glass percentage ranges and the glass type is the same throughout the addition, the specific glass percentage allowed may be determined by using the following equations:

Overhang (OH):

Glass % Allowed = Low % + (High %) – (Low %) X [OHInstalled – OHLow%]

Glass 	    Glass 	Glass

OHHigh % - OH Low%

Solar heat Gain Coefficient (SHGC):

Glass % Allowed = Low % + (High %) – (Low %) X [SHGCInstalled – SHGCLow%]

Glass 	    Glass 	Glass

SHGCHigh % - SHGC Low%

N1101.C.2  Renovations. New windows installed in renovations may be of any glass type and solar heat gain coefficients where glass areas are under an overhang of at least 2 feet (610 mm) whose lower edge does not extend further than 8 feet (2438 mm) from the overhang. Glass areas that do not meet this criteria shall be either single-pane tinted, double-pane clear, or double-pane tinted in accordance with Table B.2.1.1 in Appendix G. All skylights or nonvertical glass shall be double paned or single paned with a diffuser.

Exception: These requirements apply only to glass that is being replaced.

SECTION N1102

WALLS

N1102.ABC Mandatory requirements for Methods A, B and C.

N1102.ABC.1  Wall insulation. Walls shall be insulated to at least the level certified to be in compliance with this code on the code compliance form. Insulation R-values claimed shall be in accordance with the criteria described in Section B1.2 of Appendix G.

N1102.ABC.1.1 Common walls. Walls common to two separate conditioned tenancies shall be insulated to a minimum of R-11 for frame walls, and to R-3 on both sides of common masonry walls.

N1102.ABC.1.2 Walls considered ceiling area. Wall areas that separate conditioned living space from unconditioned attic space (such as attic knee walls, walls on cathedral ceilings, skylight chimney shafts, gambrel roofs, etc.) shall be considered ceiling area and have a minimum insulation value of R-19.

N1102.ABC.2 Wall infiltration. Walls shall meet the minimum air infiltration requirements of Section N1106.ABC.1.2.1.

N1102.A Requirements specific to Method A.

N1102.A.1  Wall types. Walls entered into the EnergyGauge USA Fla/Res program shall be identified in sufficient detail for the building official to determine whether their characteristics are adequately represented on the form submitted for code compliance.

N1102.B Requirements specific to Method B. Walls shall be either frame or masonry construction, including face brick, to comply with this Method. All exterior and adjacent walls shall be insulated to the minimum R-value given on Table 11B-1 of Form 1100B in accordance with the criteria in Section B1.2 of Appendix G.

N1102.C Requirements specific to Method C.

N1102.C.1 Additions. All walls shall be insulated to the minimum R-value given on Table 11C-1 of Form 1100C for the type of construction used in the addition.

N1102.C.1.1  Frame walls. The minimum insulation level installed in wood or metal frame walls shall be R-11 for 2 by 4 inch (__ mm by ___mm) walls and R-19 for 2 by 6 inch (___ mm by ___ mm) walls.

N1102.C.1.2  Concrete or masonry walls. The minimum R-value of insulation added to exterior and adjacent masonry walls shall be the value listed on Form 1100C.

N1102.C.2  Renovations. Minimum insulation levels installed in renovated walls shall be not less than those specified in Section N1102.C.1. These requirements apply only to those walls being renovated.

N1102.C.3  Manufactured homes and manufactured buildings.

Marriage walls between sections of double wide or multiple units shall be sealed with long-life caulk or gasketing and shall be mechanically fastened in accordance with the manufacturer’s instructions. See also the Section N1110.C.3  requirements for ducts located in marriage walls of multiple unit manufactured homes and buildings.

SECTION N1103

DOORS

N1103.ABC  Mandatory requirements for Methods A, B and C.

N1103.ABC.1   Door types allowed. All exterior and adjacent doors other than glass doors shall be solid core wood, wood panel, or insulated doors. Hollow core doors shall not be used in either exterior or adjacent walls. Doors may have glass sections.

N1103.ABC.2  Door infiltration. Doors shall meet the minimum air infiltration requirements for doors contained in Section N1106.ABC.1.1.

N1103.A  Requirements specific to Method A.

N1103.A.1  Door types. Doors shall be identified as either exterior or adjacent, based on the type of wall in which they are located, and in sufficient detail for the building official to determine whether their characteristics are adequately represented on the form submitted for code compliance.

N1103.A.2  Door area determination. Door areas shall be determined from the measurements specified on the plans for each exterior and adjacent door. All sliding glass doors and glass areas in doors shall be included in the glazing calculation and meet the requirements of Section N1101 unless the glass is less than one-third of the area of the door.

SECTION N1104

CEILINGS

N1104.ABC   Mandatory requirements for Methods A, B and C.

N1104.ABC.1   Ceiling insulation. Ceilings shall have an insulation level of at least R-19, space permitting. For the purposes of this code, types of ceiling construction that are considered to have inadequate space to install R-19 include single assembly ceilings of the exposed deck and beam type and concrete deck roofs. Such ceiling assemblies shall be insulated to at least a level of R-10. Ceiling insulation R-values claimed shall be in accordance with the criteria described in Section B1.2 of Appendix G.

N1104.ABC.1.1  Ceilings with blown-in insulation. Ceilings with a rise greater than 5 and a run of 12 (5 over 12 pitch) shall not be insulated with blown-in insulation. Blown-in (loose fill) insulation shall not be used in sections of attics where the distance from the top of the bottom chord of the trusses, ceiling joists or obstructions (such as air conditioning ducts) to the underside of the top chord of the trusses at the ridge is less than 30 inches (762 mm) or where the distance from any point of 30 inches (762 mm) minimum clearance out to the ceiling surface in the roof eave area that is to be insulated is greater than 10 feet (3048 mm).

N1104.ABC.1.1.1 Insulation dams. In every installation of blown-in (loose fill) insulation, insulation dams (for installations up to R-19 only); or insulation chutes, insulation baffles, or similar devices (for installations over R-19) shall be installed in such a manner so as to restrict insulation from blocking natural ventilation at the roof eave area to the attic space. Such devices shall be installed in spaces between all rafters of the roof structure and shall extend from the eave plate line to the attic area. In all cases, including the use of batt insulation, the insulation shall not be installed so as to block natural ventilation flow.

N1104.ABC.1.1.2 Reference marks. In that portion of the attic floor to receive blown insulation, reference marks or rules shall be placed within every 6 feet to 10 feet (1829 mm to 3048 mm) throughout the attic space. The reference marks shall show the height to which the insulation must be placed in order to meet the planned insulation level. Such marks shall be used by the building official to verify the claimed insulation level. The reference marks or rules may be placed on truss webs or other appropriate roof framing members. Each reference mark or rule shall be visible from at least one attic access point.

N1104.ABC.1.2   Common ceilings/floors. Wood, steel and concrete ceilings/floors common to separate conditioned tenancies shall be insulated to a minimum R-11, space permitting.

N1104.ABC.1.3  Roof decks over dropped ceiling plenum. Roof decks shall be insulated to R-19 if the space beneath it will be used as a plenum of the air distribution system. Plenums shall meet all criteria of Section N1110.ABC.3.6.

N1104.ABC.2  Ceiling infiltration. Ceilings shall meet the minimum air infiltration requirements of Section N1106.ABC.1.2.3.

N1104.A Requirements specific to Method A.

N1104.A.1  Ceiling types. Ceilings entered into the EnergyGauge USA Fla/Res program shall be identified in sufficient detail for the building official to determine whether their characteristics are adequately represented on the form submitted for code compliance.

N1104.A.2  Walls considered ceiling area. Wall areas that separate conditioned living space from unconditioned attic space (such as attic knee walls, walls on cathedral ceilings, skylight chimney shafts, gambrel roofs, etc.) shall be considered ceiling area. Such areas shall be included in calculations of ceiling area and shall have a minimum insulation value of R-19.

N1104.A.3  Installation criteria for homes claiming the radiant barrier option. The radiant barrier or IRCC options may be claimed in the EnergyGauge USA Fla/Res computer program  where the radiant barrier system is to be installed in one of the configurations depicted in Figure N1104.A.3 and the following conditions are met:

1.  It shall be fabricated over a ceiling insulated to a minimum of R-19 with conventional insulation and shall not be used as a means to achieve partial or whole compliance with the minimum attic insulation level of R-19 prescribed in Section N1104.ABC.1. Either a sheet type or spray applied interior radiation control coating (IRCC) may be used.

2.  If the radiant barrier material has only one surface with high reflectivity or low emissivity it shall be facing downward toward the ceiling insulation.

3. The attic airspace shall be vented in accordance with Section R806 of this code.

4. The radiant barrier system shall conform to ASTM C 1313, Standard Specification for Sheet Radiant Barriers for Building Construction Applications, or ASTM C 1321, Standard Practice for Installation and Use of Interior Radiation Control Coating Systems (IRCCS) in Building Construction as appropriate for the type of radiant barrier to be installed. The operative surface shall have an emissivity not greater than 0.06 for sheet radiant barriers or 0.25 for interior radiation control coatings as demonstrated by independent laboratory testing according to ASTM C 1371.

5. The radiant barrier system (RBS) shall conform with ASTM C 1158, Use and Installation of Radiant Barrier Systems (RBS) in Building Constructions for Sheet Radiant Barriers, or ASTM C 1321, Standard Practice for Installation and Use of Interior Radiation Control Coating Systems (IRCCS) in Building Construction for IRCC systems.

6.  The radiant barrier shall be installed so as to cover gable ends without closing off any soffit, gable or roof ventilation.

FIGURE N1104.A.3

ACCEPTABLE ATTIC RADIANT BARRIER CONFIGURATIONS

[Add from ’04 code Figure 13-607.1.A.4]

Modify Section N1104.A.4 as shown:

N1104.A.4 Installation criteria for homes claiming the cool roof option. The  cool roof option may be claimed in the EnergyGauge USA Fla/Res computer program where the roof to be installed has a tested solar reflectance of greater than 4 percent when evaluated in accordance with ASTM methods E-903, C-1549, E-1918 or CRRC Method #1.  In cases where the roof materials have not been tested, the reflectance for the As-Built home shall be assumed to be 4 percent.  Emittance values provided by the roofing manufacturer in accordance with ASTM C-1371 shall be used when available.  In cases where the appropriate data are not known, emittance shall be the same as the Baseline Home. Testing of a qualifying sample of the roofing material shall be performed by an approved independent laboratory with these results provided by the manufacturer.  [Approved by the Commission, August 2007]

N1104.B Requirements specific to Method B. All ceilings separating conditioned and unconditioned spaces shall be insulated to at least the minimum R-value given in Table 11B-1 of Form 1100B.

N1104.C  Requirements specific to Method C.

N1104.C.1 Additions. All roof/ceilings shall be insulated to the minimum R-value given on Table 11C-1 of Form 1100C for the type of construction used in the addition.

N1104.C.2  Renovations. Minimum insulation levels installed in renovated roofs/ceilings shall be not less than those specified in Section N1104.C.1. These requirements apply only to roofs/ceilings that are being renovated.

SECTION N1105

FLOORS

N1105.ABC Mandatory requirements for Methods A, B and C.

N1105.ABC.1  Floor Insulation. Insulation R-values claimed shall be in accordance with the criteria described in Section B1.2 of Appendix G.

N1105.ABC.1.1 Common floors. Wood, steel and concrete floors/ceilings common to two separate conditioned tenancies in multifamily applications shall be insulated to a minimum of R-11, space permitting.

N1105.ABC.1.2  Slab-on-grade. For insulated slab-on-grade floors, the exposed vertical edge of the slab shall be covered with exterior slab insulation extending from the top of the slab down to at least the finished grade level. Extending the insulation to the bottom of the footing or foundation wall is recommended.

N1105.ABC.2  Floor infiltration. Floors shall meet the minimum air infiltration requirements of Section N1106.ABC.

N1105.A  Requirements specific to Method A.

N1105.A.1  Floor types. Floors shall be identified in sufficient detail for the building official to determine whether their characteristics are adequately represented on the form submitted for code compliance.

N1105.B Requirements specific to Method B.

All floors shall be insulated to the minimum R-value given on Table 11B-1 of Form 1100B.

N1105.C Requirements specific to Method C.

N1105.C.1 Additions. All floors shall be insulated to the minimum R-value given on Table 11C-1 of Form 1100C for the type of construction used.

N1105.C.2   Renovations.  Minimum insulation levels installed in renovated floors shall be not less than those specified on Form 1100C for only the floors being renovated.

SECTION N1106

AIR INFILTRATION

N1106.ABC Mandatory requirements for Methods A, B and C. Buildings shall be constructed and sealed in such a way as to prevent excess air infiltration.

Caution: Caution should be taken to limit the use of materials and systems which produce unusual or excessive levels of indoor air contaminants.

N1106.ABC.1 Infiltration levels allowed.

N1106.ABC.1.1  Exterior doors and windows. Exterior doors and windows shall be designed to limit air leakage into or from the building envelope. Manufactured doors and windows shall have air infiltration rates not exceeding those shown in Table N1106.ABC.1.1. These rates shall be determined from tests conducted at a pressure differential of 1.567 pound per square foot (8kg/m2), which is equivalent to the impact pressure of a 25 mph wind. Compliance with the criteria of air leakage shall be determined by testing to AAMA/WDMA/101/I.S. 2 or ASTM E 283, as appropriate. Site-constructed doors and windows shall be sealed in accordance with Section N1106.ABC.1.2.

N1106.ABC.1.2 Exterior joints or openings in the envelope. Exterior joints, cracks, or openings in the building envelope that are sources of air leakage shall be caulked gasketed, weatherstripped or otherwise sealed in accordance with the criteria in Sections N1106.ABC.1.2.1 through N1106.ABC.1.2.5.

N1106.ABC.1.2.1  Exterior and adjacent walls. Exterior and adjacent walls shall be sealed at the following locations:

1.	Between windows and doors and their frames;

2.	Between windows and door frames and the surrounding wall;

3. 	Between the foundation and wall assembly sill-plates;

4. 	Joints between exterior wall panels at changes in plane, such as with exterior sheathing at corners and changes in orientation;

5. 	Openings and cracks around all penetrations through the wall envelope such as utility services and plumbing;

6. 	Between the wall panels and top and bottom plates in exterior and adjacent walls. In frame construction, the crack between exterior and adjacent wall bottom plates and floors shall be sealed with caulking or gasket material. Gypsum board or other wall paneling on the interior surface of exterior and adjacent walls shall be sealed to the floor; and

7. 	Between walls and floor where the floor penetrates the wall.

8.	Log walls shall meet the criteria contained in Section B3.4 of Appendix G.

Exception: As an alternative to Items 1 through 7 above for frame buildings, an infiltration barrier may be installed in the exterior and adjacent walls. The infiltration barrier shall provide a continuous air barrier from the foundation to the top plate of the ceiling of the house, and shall be sealed at the foundation, the top plate, at openings in the wall plane (windows, doors, etc.), and at the seams between sections of infiltration barrier material. When installed on the interior side of the walls, such as with insulated face panels with an infiltration barrier, the infiltration barrier shall be sealed at the foundation or subfloor.

TABLE N1106.ABC.1.1

ALLOWABLE AIR INFILTRATION RATES

| Frame Type | Windows (cfm per square foot of window area | Doors (cfm per square foot of door area) |  |
| --- | --- | --- | --- |
|  |  | Sliding | Swinging |
| Wood | 0.3 | 0.3 | 0.5 |
| Aluminum | 0.3 | 0.3 | 0.5 |
| PVC | 0.3 | 0.3 | 0.5 |

N1106.ABC.1.2.2 Floors. Penetrations and openings in raised floors, greater than or equal to 1/8 inch (3 mm) in the narrowest dimension, shall be sealed unless backed by truss or joist members against which there is a tight fit or a continuous air barrier.

Exception: Where an infiltration barrier is installed in the floor plane of a house with raised floors. The infiltration barrier shall create a continuous air barrier across the entire floor area, and shall be sealed at the perimeter, at openings in the floor plane (grilles, registers, crawl space accesses, plumbing penetrations, etc.), and at seams between sections of infiltration barrier material.

N1106.ABC.1.2.3  Ceilings. Ceilings shall be sealed at the following locations:

- Between walls and ceilings.

- At penetrations of the ceiling plane of the top floor of the building (such as chimneys, vent pipes, ceiling fixtures, registers, open shafts, or chases) so that air flow between the attic or unconditioned space and conditioned space is stopped.

- Large openings, such as shafts, chases soffits, opening around chimneys, and dropped ceiling spaces (such as above kitchen cabinets, bathroom vanities, shower stalls, and closets), shall be sealed with an airtight panel or sheeting material and sealed to adjacent top plates (or other framing members) so that a continuous air barrier separates the spaces below and above the ceiling plane.

- Gaps between ceiling gypsum board and the top plate shall be sealed with a sealant to stop air flow between the attic and the interior of wall cavities.

- The attic access hatch, if located in the conditioned space, shall have an airtight seal.

Exception: Where an infiltration barrier is installed in the ceiling plane of the top floor of the house. The infiltration barrier shall: create a continuous air barrier across the entire ceiling plane, be continuous across the tops of interior and exterior walls, and be sealed at the perimeter, at openings in the ceiling plane (grilles, registers, attic accesses, plumbing penetrations, vent pipes, chimneys, etc.), and at seams between sections of infiltration barrier material.

N1106.ABC.1.2.4] Recessed lighting fixtures. Recessed lighting fixtures installed in ceilings that abut an attic space shall meet one of the following requirements:

- Type IC rated, manufactured with no penetrations between the inside of the recessed fixture and ceiling cavity and sealed or gasketed to prevent air leakage into the unconditioned space.

- Type IC or non-IC rated, installed inside a sealed box [minimum of ½-inch-thick (12.7 mm)] gypsum wall board, preformed polymeric vapor barrier, or other air tight assembly manufactured for this purpose) and maintaining required clearances of not less than ½-inch-thick (12.7 mm) from combustible material and not less than 3 inch (76 mm) from insulation material.

- Type IC rated, with no more than 2.0 cfm (.00094 m3/s) air movement from the conditioned space to the ceiling cavity when measured in accordance with ASTM E 283. The fixture shall be tested at 75 Pa and shall be labeled.

N1106.ABC.1.2.5  Multiple story houses. In multiple story houses, the perimeter of the floor cavity (created by joists or trusses between floors) shall have an air barrier to prevent air flow between this floor cavity and outdoors or buffer zones of the house (such as a space over the garage).

- Air-tight panels, sheathing, or sheeting shall be installed at the perimeter of the floor cavity. The panels, sheathing, or sheeting material shall be sealed to the top plate of the lower wall and the bottom plate of the upper wall by mastic or other adhesive caulk, or otherwise bridge from the air barrier of the upper floor to the air barrier of the lower floor.

- Joints between sections of panels, sheathing, or sheeting shall be sealed.

- All fireplaces and wood stoves shall have flue dampers.

N1106.ABC.1.3 Additional infiltration requirements. The following additional requirements shall be met:

- All exhaust fans vented to the outdoors shall have dampers. This does not apply to combustion devices with integral exhaust ductwork, which shall comply with the Chapter 24 of this code.

- All combustion space heaters, furnaces, and water heaters shall be provided with adequate combustion air. Such devices shall comply with NFPA or the locally adopted code.

Caution: Caution should be taken to limit the use of materials and systems which produce unusual or excessive levels of indoor air contaminants.

N1106.ABC.1.4  Apertures or openings. Any apertures or openings in walls, ceilings or floors between conditioned and unconditioned space (such as exits in the case of hydrostatic openings in stairwells for coastal buildings) shall have dampers which limit air flow between the spaces.

N1106.A Requirements specific to Method A.

N1106.A.1 Infiltration. Infiltration loads shall be determined from the EnergyGauge USA Fla/Res computer program.  Infiltration performance criteria shall be found in Section B3 in Appendix G of this code.

N1106.A.2 Infiltration area. The area to be considered in the Infiltration calculation of Method A shall be the total conditioned floor area of the building.

SECTION N1107

SPACE COOLING SYSTEMS

N1107.ABC Mandatory requirements For Methods A, B and C.

N1107.ABC.1  Equipment Sizing.  A cooling and heating load calculation shall be performed on the building and shall be attached to the Form 600 submitted when application is made for a building permit, or in the event the mechanical permit is obtained at a later time, the calculation shall be submitted with the application for the mechanical permit. HVAC sizing calculations shall account for the directional orientation of the building for which the load is calculated; worst-case sizing calculations shall not be permitted. [Mod 2248] Cooling and heating design loads, for the purpose of sizing HVAC equipment and designing HVAC systems, shall be determined for the dwelling spaces (typically rooms or zones) served by each piece of equipment in accordance with ACCA Manual J, ACCA Manual N, or the ASHRAE Cooling and Heating Load Calculation Manual, Second Edition.  This Code does not allow designer safety factors, provisions for future expansion or other factors which affect equipment sizing in excess of the capacity limitations in Section N1107.ABC.1.1.  System sizing calculations shall not include loads created by local intermittent mechanical ventilation such as standard kitchen and bathroom exhaust systems.  The engineered ventilation requirement of the various procedures shall not be used as an infiltration rate when estimating infiltration loads.

Exceptions:

1.	Where mechanical systems are designed by an engineer registered in the state of Florida, the engineer has the option of submitting a signed and sealed summary sheet in lieu of the complete sizing calculation(s). Such summary sheet shall include the following (by zone):

Project name/owner

Project Address

Sizing Method Used

Area in square feet

Outdoor dry bulb used

Total heating required with outside air

Outdoor wet bulb used

Total sensible gain

Relative humidity

Total latent gain

Indoor dry bulb

Total cooling required with outside air

Grains water (difference)

2.  Systems installed in existing buildings not meeting the definition of renovation in Section N1100.7.

N1107.ABC.1.1 Cooling equipment capacity. Cooling only equipment shall be selected so that its total capacity is not less than the calculated total load but not more than 1.15 times greater than the total load calculated according to the procedure selected in Section N1107.ABC.1, or the closest available size provided by the manufacturer's product lines. The corresponding latent capacity of the equipment shall not be less than the calculated latent load.

The published value for ARI total capacity is a nominal, rating-test value and shall not be used for equipment sizing. Manufacturer’s expanded performance data shall be used to select cooling-only equipment. This selection shall be based on the outdoor design dry bulb temperature for the load calculation (or entering water temperature for water-source equipment), the blower CFM provided by the expanded performance data, the design value for entering wet bulb temperature and the design value for entering dry bulb temperature.

Design values for entering wet bulb and dry bulb temperature shall be for the indoor dry bulb and relative humidity used for the load calculation and shall be adjusted for return side gains if the return duct(s) is installed in an unconditioned space.

The manufacturer and model number of the outdoor and indoor units (if split system) shall be submitted along with the sensible and total cooling capacities at the design conditions described herein.

Exceptions:

- Attached single- and multiple-family residential equipment sizing may be selected so that its cooling capacity is less than the calculated total sensible load but not less than 80 percent of that load.

- When signed and sealed by a Florida-registered engineer, in attached single- and multiple-family units, the capacity of equipment may be sized in accordance with good design practice.

N1107.ABC.1.2  Extra capacity required for special occasions. Residences requiring excess cooling or heating equipment capacity on an intermittent basis, such as anticipated additional loads caused by major entertainment events, shall have equipment sized or controlled to prevent continuous space cooling or heating within that space by one or more of the following options:

- A separate cooling or heating system is utilized to provide cooling or heating to the major entertainment areas.

- A variable capacity system sized for optimum performance during base load periods is utilized.

N1107.ABC.2  Controls. Each mechanical supply and exhaust ventilation system shall be equipped with a readily accessible switch or other means for shut off or volume reduction and shut off when ventilation is not required. Automatic or manual dampers installed for the purpose of shutting off ventilation systems shall be designed with tight shutoff characteristics to minimize air leakage.

Exception: Manual dampers for outdoor air intakes may be used for single-and multiple-family residential buildings or for fan system capacities of less than 5,000 cfm (2.4 m3/s).

N1107.ABC.2.1  Zoning for temperature control. In one- and two-family dwellings, at least one thermostat for regulation of space temperature shall be provided for each separate HVAC system or zone.

N1107.ABC.2.2  Control setback and shutoff. The thermostat required in Section N1107.ABC.2.1, or an alternate means including, but not limited to, a switch or clock, shall provide a readily accessible manual or automatic means for reducing the energy required for heating and cooling during periods of nonuse or reduced need including, but not limited to, unoccupied periods or sleeping hours.

N1107.ABC.2.3  Humidity control. Where a humidistat is used for comfort dehumidification, it shall be capable of being set to prevent the use of fossil fuel or electricity to reduce humidities below 60 percent.

N1107.ABC.3 Equipment performance standards.

N1107.ABC.3.1 Equipment ratings. Equipment efficiency ratings shall be obtained from a nationally recognized certification program directory, or from a manufacturer’s rating certified to be in compliance with an approved Department of Energy (DOE) or Air-conditioning and Refrigeration Institute (ARI) rating procedure. Equipment efficiencies shall be based on the standard rating conditions contained in the test standard referenced in Chapter 43 that is appropriate for that equipment. The procedure for determining the integrated part-load value (IPLV) for a piece of equipment shall be the one provided in the appropriate ARI test standard for the type of equipment referenced. Minimum ratings for products covered under the National Appliance Energy Conservation Act of 1987 shall be those determined for Region IV and used for the Federal Trade Commission’s required appliance labeling.

Cooling system efficiencies shall be rated as follows:

- Central air conditioning equipment under 65,000 Btu/h (312 m3/kw) capacity, both split-system and single-package equipment, single or three phase, shall be rated with a seasonal energy efficiency ratio (SEER).

- Packaged terminal air conditioners and heat pumps shall be rated with an energy efficiency ratio (EER).

- Room air conditioners shall be rated by an energy efficiency ratio (EER).

- Central air conditioning equipment over 65,000 Btu/h (312 m3/kw) shall be rated with an energy efficiency ratio (EER).

- Water-cooled and evaporatively cooled central systems under 135,000 Btu/h (648m3/kw) shall be rated with an energy efficiency ratio (EER).

- Large capacity air-cooled, evaporatively-cooled and water source unitary air-conditioning systems may also be rated with an IPLV.

- Heat-operated cooling equipment and gas-driven heat pumps shall be rated with a COP-cooling.

N1107.ABC.3.1.1  Equipment efficiency verification. Equipment covered under the Federal Energy Policy Act of 1992 (EPACT) shall comply with U.S. Department of Energy certification requirements. For other equipment, if a certification program exists for a product covered in Tables N1107.ABC.3.2A, N1107.ABC.3.2B and N1107.ABC.3.2D, and it includes provisions for verification and challenge of equipment efficiency ratings, then the product shall be either listed in the certification program or, alternatively, the ratings shall be verified by an independent laboratory test report. If no certification program exists for a product covered in Tables N1107.ABC.3.2A, N1107.ABC.3.2B and N1107.ABC.3.2D, the equipment efficiency ratings shall be supported by data furnished by the manufacturer. Where components such as indoor or outdoor coils from different manufacturers are used, a Florida-registered engineer shall specify component efficiencies whose combined efficiency meets the minimum equipment efficiency requirements in Section N1107.ABC.3.2.

N1107.ABC.3.2  Minimum efficiencies for cooling equipment. Equipment shown in Tables N1107.ABC.3.2A, N1107.ABC.3.2B and N1107.ABC.3.2D shall meet the minimum performance for that equipment at the specified rating conditions when tested in accordance with the specified test procedure. Omission of minimum performance requirements for equipment not listed in Tables N1107.ABC.3.2A, N1107.ABC.3.2B and N1107.3.2D does not preclude use of such equipment. Equipment not listed in Tables N1107.ABC.3.2A, N1107.ABC.3.2B and N1107.ABC.3.2D has no minimum performance requirements. Where multiple rating conditions or performance requirements are provided, the equipment shall satisfy all stated requirements, unless otherwise exempted by footnotes in the table. However, equipment covered under the Federal Energy Policy Act of 1992 (EPACT) shall have no minimum efficiency requirements for operation at minimum capacity or other than standard rating conditions. Equipment used to provide water heating functions as part of a combination system shall satisfy all stated requirements for the appropriate space heating or cooling category.

Tables N1107.ABC.3.2A, N1107.ABC.3.2B and N1107.ABC.3.2D contain the minimum efficiency requirements for equipment covered by this section of the code. The tables are organized to cover the following types of equipment:

TABLE N1107.ABC.3.2A Air Conditioners and Condensing Units

TABLE N1107.ABC.3.2B  Heat Pumps

TABLE N1107.ABC.3.2D  Packed Terminal and Room Air Conditioners and Heat Pumps

Exception:  Existing mechanical systems undergoing alteration need not meet the minimum equipment efficiencies of this section except to preserve the original approval or listing of the equipment.  [Mod 2247]

Where water chillers and cooling towers are installed in residential buildings complying by this chapter, minimum efficiency ratings shall be as found in Table 13-407.ABC.3.3C and Tables 13-407.ABC.3.2G through 13-407.ABC.3.2J of the Florida Building Code, Building.

TABLE N1107.ABC.3.2A

ELECTRICALLY OPERATED UNITARY AIR CONDITIONERS AND CONDENSING UNITS

[Add from ’04 code Table 13-607.1.ABC.3.2A]

TABLE N1107.ABC.3.2B

ELECTRICALLY OPERATED UNITARY AND APPLIED HEAT PUMPS

– MINIMUM EFFICIENCY REQUIREMENTS

[Add from ’04 code Table 13-607.1.ABC.3.2B]

TABLE N1107.ABC.3.2D

ELECTRICALLY OPERATED PACKAGED TERMINAL AIR CONDITIONERS, PACKAGED TERMINAL HEAT PUMPS, SINGLE-PACKAGE VERTICAL AIR CONDITIONERS, SINGLE-PACKAGE VERTICAL HEAT PUMPS, ROOM AIR CONDITIONERS, AND ROOM AIR CONDITIONERS HEAT PUMPS — MINIMUM EFFICIENCY REQUIREMENTS

[Add from ’04 code Table 13-607.1.ABC.3.2D]

N1107.A Requirements specific to Method A.

N1107.A.1  Cooling systems. The impact of cooling system efficiency in the energy performance calculation shall be determined for air conditioners based on the appropriate efficiency rating for the system to be installed from the EnergyGauge USA Fla/Res computer program.

N1107.A.2  Additions. Space cooling may be provided by existing or newly installed equipment. Systems in operation before the construction of the addition shall be considered existing systems and shall comply with criteria in Section N1107.A.5. New systems may be replacements of existing equipment or equipment installed to condition only the addition.

N1107.B Requirements specific to Method B.

N1107.B.1 Equipment efficiencies. Houses complying by Method B shall meet the following cooling equipment efficiencies:

- All central cooling systems of less than 65,000 Btu/h capacity shall have a SEER equal to or greater than the prescribed value on Table 11B-1 of Form 1100B.

- Packaged terminal air conditioners (PTACs), packaged terminal heat pumps (PTHPs), room air conditioners, and equipment not covered by U.S. Department of Energy (DOE) rules shall have an EER equal to the prescribed SEER level on Table 11B-1 of Form 1100B.

N1107.B.2 Additions. Where cooling equipment is to be installed in an addition, the requirements of Section N1107.B shall be met only when equipment is installed to specifically serve the addition or is being installed in conjunction with the construction of the addition.

N1107.C Requirements specific to Method C.

N1107.C.1  Additions. All new air conditioners installed in additions complying by Method C shall meet the minimum efficiencies in Section N1107.ABC.3.2.

Minimum equipment efficiencies shall be met only when equipment is installed to specifically serve the addition or is being installed in conjunction with the construction of the addition.

N1107.C.2  Renovations. Minimum efficiencies for cooling equipment to be added or replaced in renovations shall not be less than those specified in Section N1107.ABC.3.2.

N1107.C.3  Manufactured homes and manufactured buildings. Minimum efficiencies for site-installed cooling equipment in manufactured homes shall not be less than those specified in Section N1107.ABC.3.2.

N1107.C.4  Building systems. Newly manufactured cooling systems installed in existing buildings shall meet minimum requirements for that system in Section N1107.ABC.3.2.  See Section N1100.1.2.

SECTION N1108

SPACE HEATING SYSTEMS

N1108.ABC Mandatory requirements for Methods A, B, and C.

N1108.ABC.1  Equipment Sizing.  An HVAC equipment sizing calculation shall be performed on the building in accordance with the criteria in Section N1107.ABC.1 and shall be attached to the Form 1100 submitted when application is made for a building permit.  This Code does not allow designer safety factors, provisions for future expansion or other factors which affect equipment sizing in excess of the capacity limitations in Sections N1108.ABC.1.1 through N1108.ABC.1.4.  System sizing calculations shall not include loads due to intermittent local mechanical ventilation such as standard kitchen and bathroom exhaust systems.  The engineered ventilation requirement of this code shall not be used as an infiltration rate when estimating infiltration load.

N1108.ABC.1.1  Heat Pumps.  Heat pump sizing shall be based on the cooling requirements as calculated according to Section N1107.ABC.1  and the heat pump total cooling capacity shall not be more than 1.15 times greater than the design cooling load even if the design heating load is 1.15 times greater than the design cooling load. The published value for ARI total capacity is a nominal, rating-test value and shall not be used for equipment sizing. Manufacturer’s expanded performance data shall be used to determine heat pump cooling capacity. This selection shall be based on the outdoor design dry bulb temperature for the load calculation (or entering water temperature for water-source equipment), the blower CFM provided by the expanded performance data, the design value for entering wet bulb temperature and the design value for entering dry bulb temperature.

The design values for entering wet bulb temperature shall be for the indoor dry bulb and relative humidity used for the load calculation and shall be adjusted for return side gains if the return duct(s) is installed in an unconditioned space.

Capacity at the design heating temperature may be determined by interpolation or extrapolation of manufacturers’ performance data, as allowed by the manufacturer, if these data are not available for the design temperature. The auxiliary capacity plus refrigeration cycle heating capacity shall not exceed 120% of the calculated heating requirements at the 99 percent design dry bulb temperature.

The manufacturer and model number of the outdoor and indoor units (if split system) shall be submitted along with the sensible and total cooling capacities at the design conditions described herein.

N1108.ABC.1.2  Electric resistance furnaces.  Electric resistance furnaces shall be sized within 4 kW of the design requirements calculated according to the procedure selected in Section N1107.ABC.1.

N1108.ABC.1.3 Fossil fuel heating equipment.  The capacity of fossil fuel heating equipment with natural draft atmospheric burners shall not be less than the design load calculated in accordance with Section N1108.ABC.1.

N1108.ABC.1.4  Extra capacity required for special occasions. Residences requiring excess heating capacity on an intermittent basis shall comply with Section N1107.ABC.1.2.

N1108.ABC.2  Controls. Requirements specified for controls in Section N1107.ABC.2 shall apply for space heating systems. Lowering thermostat set points to reduce energy consumption of heating systems shall not cause energy to be expended to reach the reduced setting.

N1108.ABC.2.1  Heat pump auxiliary heat control. Heat pumps equipped with internal electric resistance heaters shall have controls that prevent supplemental heater operation when the heating load can be met by the heat pump alone during both steady-state operation and setback recovery. Supplemental heater operation is permitted during outdoor coil defrost cycles.  Two means of meeting this requirement are (1) a digital or electronic thermo-stat designed for heat pump use that energizes auxiliary heat only when the heat pump has insufficient capacity to maintain setpoint or to warm up the space at a sufficient rate or (2) a multi-stage space thermostat and an outdoor air thermostat wired to energize auxiliary heat only on the last stage of the space thermostat and when outside air temperature is less than 40o F (4o C).

Exception: Heat pumps whose minimum efficiency is regulated by NAECA and whose HSPF rating both meets the requirements shown in Table N1107.ABC.3.2B and includes all usage of internal electric resistance heating.

N1108.ABC.3  Equipment performance standards.

N1108.ABC.3.1  Equipment ratings. Equipment efficiency ratings shall be obtained from a nationally recognized certification program directory, from a manufacturer’s rating certified to be in compliance with an approved Department of Energy (DOE) or Air-conditioning and Refrigeration Institute (ARI) rating procedure. Equipment efficiencies shall be based on the standard rating conditions contained in the test standard referenced in Chapter 43 that is appropriate for that equipment. Minimum ratings for products covered under the National Appliance Energy Conservation Act of 1987 shall be those determined for Region IV and used for the Federal Trade Commission’s required appliance labeling.

N1108.ABC.3.1.1  Mix-matched equipment. Ratings for unitary central heat pump systems less than 65,000 Btu/h, using evaporator/(condenser) coils manufactured by independent companies, shall meet all requirements of Section N1107.ABC.3.1.1.

N1108.ABC.3.2 [13-608.1.ABC.3.2] Minimum efficiencies for heating equipment. Tables N1107.ABC.3.2B, N1107.ABC.3.2D, N1108.ABC.3.2E and N1108.ABC.3.2F contain the minimum efficiency requirements for equipment covered by this section of the code. The tables are organized to cover the following types of equipment:

Table N1107.ABC.3.2B, Heat Pumps.

Table N1107.ABC.3.2D, Packaged Terminal Air Conditioners and Heat Pumps.

Table N1108.ABC.3.2E, Furnaces, Duct Furnaces and Unit Heaters.

Table N1108.ABC.3.2F, Gas- and Oil-Fired Boilers.

N1108.ABC.3.2.1 Gas and oil-fired furnaces. Gas-fired and oil-fired forced air furnaces with input ratings >225,000 Btu/h shall also have an intermittent ignition or interrupted device (IID) and have either power venting or a flue damper. A vent damper is an acceptable alternative to a flue damper for furnaces where combustion air is drawn from the conditioned space. All furnaces with input ratings >225,000 Btu/h, including electric furnaces, that are not located within the conditioned space shall have jacket losses not exceeding 0.75 percent of the input.

N1108.ABC.3.2.2  Central electric furnaces. Central electric furnaces greater than 10 kW shall be divided into at least two stages and controlled by an outdoor thermostat, multistage indoor thermostat, or combinations thereof.

TABLE N1108.ABC.3.2E WARM AIR FURNACES AND COMBINATION WARM AIR FURNACES/AIR-CONDITIONING UNITS, WARM AIR DUCT FURNACES AND UNIT HEATERS MINIMUM EFFICIENCY REQUIREMENTS

[Add from ’04 code Table 13-608.1.ABC.3.2E]

TABLE N1108.ABC.3.2F

GAS- AND OIL-FIRED BOILERS MINIMUM EFFICIENCY REQUIREMENTS

[Add from ’04 code Table 13-608.1.ABC.3.2F]

N1108.A Requirements specific to Method A.

N1108.A.1 Heating systems. The impact of heating system efficiency in the energy performance calculation shall be determined for the type of heating system to be installed based on its efficiency rating from the EnergyGauge USA Fla/Res computer program.

N1108.A.2 Additions. Space heating may be provided by existing or newly installed equipment. Systems in operation before the construction of the addition shall be considered existing systems. New systems may be replacements of existing equipment or equipment installed to condition only the addition.

N1108.B Requirements specific to Method B. Space heating systems are categorized as electric or gas and oil. Heating equipment shall meet the applicable minimum efficiencies listed on Table 11B-1 of Form 1100B. Where heating equipment is to be installed in an addition, these requirements shall be met only when equipment is installed to specifically serve the addition or is being installed in conjunction with the construction of the addition.

N1108.B.1 Electric space heating. Electric resistance heating systems shall not be used when complying by Method B.

N1108.B.2 Gas, oil and instantaneous (tankless) water heaters used for space heating. Gas and oil heating systems may be installed. Gas instantaneous (tankless) water heaters that meet the requirements established for such equipment by this code may be installed.

N1108.C Requirements specific to Method C.

N1108.C.1 Additions. New heating equipment to be added or replaced in small additions complying by Method C shall meet the minimum efficiencies in Section N1108.ABC.3.2. Minimum equipment efficiencies shall be met only when equipment is installed to specifically serve the addition or is being installed in conjunction with the construction of the addition.

N1108.C.2  Renovations. Minimum efficiencies for heating equipment to be added or replaced in renovations shall not be less than those specified in Section N1108.ABC.3.2.

N1108.C.3 Manufactured homes and manufactured buildings. Minimum efficiencies for site-installed heating equipment in manufactured homes shall not be less than those specified in Section N1108.ABC.3.2.

N1108.C.4 Building systems. Newly manufactured heating systems installed in existing buildings shall meet the minimum requirements for that system in Section N1108.ABC.  See Section  N1100.1.2 for exceptions.

SECTION N1109

VENTILATION SYSTEMS

N1109.ABC   Mandatory requirements for Methods A, B and C.

N1109.ABC.1  Buildings operated at positive indoor pressure. Residential buildings designed to be operated at a positive indoor pressure or for mechanical ventilation shall meet the following criteria:

- The design air change per hour minimums for residential buildings in ASHRAE 62, Ventilation for Acceptable Indoor Air Quality, shall be the maximum rates allowed for residential applications.

- No ventilation or air-conditioning system make-up air shall be provided to conditioned space from attics, crawlspaces, attached enclosed garages or outdoor spaces adjacent to swimming pools or spas.   [Mod 2650]

- If ventilation air is drawn from enclosed space(s), then the walls of the space(s) from which air is drawn shall be insulated to a minimum of R-11 and the ceiling shall be insulated to a minimum of R-19, space permitting, or R-10 otherwise.

SECTION N1110

AIR DISTRIBUTION SYSTEMS

N1110.ABC  Mandatory requirements for Methods A, B and C.

N1110.ABC.1   Air distribution system sizing and design. All air distribution systems shall be sized and designed in accordance with recognized engineering standards such as ACCA Manual D or other standards based on the following:

- Calculation of the supply air for each room shall be based on the greater of the heating load or sensible cooling load for that room.

- Duct size shall be determined by the supply air requirements of each room, the available static pressure and the total equivalent length of the various duct runs.

- Friction loss data shall correspond to the type of material used in duct construction.

N1110.ABC.2  Air distribution system insulation requirements. All air distribution system components which move or contain conditioned air, including but not limited to, air filter enclosures, air ducts and plenums located in or on buildings shall be thermally insulated in accordance with the requirements of Sections N1110.ABC.2.1 through N1110.ABC.2.3.

N1110.ABC.2.1  Insulation required. The minimum installed thermal resistance (R-value) for air distribution system components shall be as specified in Table N1110.ABC.2.1.

Exception: Air distribution system component insulation (except where required to prevent condensation) is not required in the following cases:

- Within conditioned space.

- Exhaust air ducts.

- Factory-installed plenums, casings, or ductwork furnished as a part of HVAC equipment tested and rated in accordance with Section N1107.ABC.3 or N1108.ABC.3.

TABLE N1110.ABC.2.1

MINIMUM INSULATION LEVELS

AIR DISTRIBUTION SYSTEM COMPONENTS1

[Add from ’04 code Table 13-610.1.ABC.2.1]

N1110.ABC.2.2  R-value determination. All duct insulation and factory-made ducts shall be labeled with R-values based on flat sections of insulation only at installed thickness and excluding any air film resistance. The thermal resistance (R) shall be determined using the relationship R = t/k where t (inches) is the installed thickness and k (Btu-in/hr.ft2°F) is the measured apparent thermal conductivity at 75°F (24°C) mean temperature and at installed thickness tested in accordance with ASTM C 518 or ASTM C 177.  The installed thickness of duct insulation used to calculate R-values shall be determined as follows:

- Duct board, duct liner and factory-made rigid ducts not normally subjected to compression shall use the nominal insulation thickness.

- Duct wrap shall have an assumed installed thickness of 75 percent of nominal thickness (25-percent compression).

- Factory-made flexible air ducts shall have the installed thickness and calculated R-values determined in accordance with Paragraph 3.4 of the ADC Standard, Flexible Duct Performance & Installation Standards.

N1110.ABC.2.3  Condensation control. Additional insulation with vapor barrier shall be provided where the minimum duct insulation requirements of Section N1110.ABC.2 are determined to be insufficient to prevent condensation.

N1110.ABC.2.4  Fibrous glass duct liner. Fibrous glass duct liner shall be fabricated and installed in accordance with the provisions of the NAIMA Fibrous Glass Duct Liner Standard.

N1110.ABC.3  Air distribution system construction and installation. Ducts shall be constructed, braced, reinforced and installed to provide structural strength and durability. All transverse joints, longitudinal seams and fitting connections shall be securely fastened and sealed in accordance with the applicable standards of this section.

N1110.ABC.3.0 General. All enclosures which form the primary air containment passageways for air distribution systems shall be considered ducts or plenum chambers and shall be constructed and sealed in accordance with the applicable criteria of this section.

N1110.ABC.3.0.1  Mechanical fastening. All joints between sections of air ducts and plenums, between intermediate and terminal fittings and other components of air distribution systems, and between subsections of these components shall be mechanically fastened to secure the sections independently of the closure system(s).

N1110.ABC.3.0.2  Sealing. Air distribution system components shall be sealed with approved closure systems.

N1110.ABC.3.0.3  Space provided. Sufficient space shall be provided adjacent to all mechanical components located in or forming a part of the air distribution system to assure adequate access for: (1) construction and sealing in accordance with the requirements of Section N1110.ABC.3; (2) inspection; and (3) cleaning and maintenance. A minimum of 4 inches (102 mm) is considered sufficient space around air-handling units.

Exception: Retrofit or replacement units not part of a renovation are exempt from the minimum clearance requirement.

N1110.ABC.3.0.4  Product application. Closure products shall be applied to the air barriers of air distribution system components being joined in order to form a continuous barrier or they may be applied in accordance with the manufacturer’s instructions or appropriate industry installation standard where more restrictive.

N1110.ABC.3.0.5  Surface preparation. The surfaces upon which closure products are to be applied shall be clean and dry in accordance with the manufacturer’s installation instructions.

N1110.ABC.3.0.6  Approved mechanical attachments. Approved mechanical attachments for air distribution system components include screws, rivets, welds, interlocking joints crimped and rolled, staples, twist in (screw attachment), and compression systems created by bend tabs or screw tabs and flanges or by clinching straps. Mechanical attachments shall be selected to be appropriate to the duct system type.

N1110.ABC.3.0.7  Approved closure systems. The following closure systems and materials are approved for air distribution construction and sealing for the applications and pressure classes prescribed in Sections N1110.ABC.3.1 through N1110.ABC.3.8:

- Metal closures.

  - Welds applied continuously along seams or joints through which air could leak.

  - Snaplock seams, and grooved, standing, double-corner, single-corner and Pittsburgh-lock seams, as defined by SMACNA, as well as all other rolled mechanical seams. All seams shall be rolled or crimped

- Factory-made flexible air ducts shall have the installed thickness and calculated R-values determined in accordance with Paragraph 3.4 of the ADC Standard, Flexible Duct Performance & Installation Standards.

- Gasketing, which achieves a 25/50 flame spread/smoke-density-development rating under ASTM E 84 or UL 723, provided that it is used only between mated surfaces which are mechanically fastened with sufficient force to compress the gasket and to fill all voids and cracks through which air leakage would otherwise occur.

- Mastic closures. Mastics shall be placed over the entire joint between mated surfaces. Mastics shall not be diluted. Approved mastics include the following:

- Mastic or mastic-plus-embedded fabric systems applied to fibrous glass ductboard that are listed and labeled in accordance with UL 181A, Part III.

- Mastic or mastic-plus-embedded fabric systems applied to nonmetal flexible duct that are listed and labeled in accordance with UL 181B, Part II.

- Mastic ribbons, which achieve a 25/50 flame spread/smoke density development rating under ASTM E 84 or UL 723, provided that they may be used only in flange-joints and lap-joints, such that the mastic resides between two parallel surfaces of the air barrier and that those surfaces are mechanically fastened.

- Tapes. Tapes shall be applied such that they extend not less than 1 inch onto each of the mated surfaces and shall totally cover the joint. When used on rectangular ducts, tapes shall be used only on joints between parallel rigid surfaces and on right angle joints. Approved tapes include the following:

- Pressure-sensitive tapes.

  - Pressure-sensitive tapes applied to fibrous glass ductboard that are listed and labeled in accordance with UL 181A, Part I.

  - Pressure-sensitive tapes applied to nonmetal flexible duct that are listed and labeled in accordance with UL 181B, Part I.

- Heat-activated tapes applied to fibrous glass ductboard that are listed and labeled in accordance with UL 181A, Part II.

- Aerosol sealant. Such sealants shall be installed by manufacturer-certified installers following manufacturer instructions and shall achieve 25/50 flame spread/smoke-density-development ratings under ASTM E 84 or UL 723.

N1110.ABC.3.1  Metal duct, rigid and flexible. All transverse joints, longitudinal seams and duct wall penetration of ducts and joints with other air distribution system components shall be mechanically attached and sealed using approved closure systems for that pressure class specified in Section N1110.ABC.3.1.1 or Section N1110.ABC.3.1.2.

N1110.ABC.3.1.1  Pressures less than 1-inch water gauge, approved closure systems. The following closure systems are approved for rigid metal duct designed to be operated at pressures less than 1-inch w.g. when they conform to the approved closure and mechanical attachment requirements of Section N1110.ABC.3.0:

- Continuous welds.

- Snaplock seams, and grooved, standing, double-corner, single-corner and Pittsburgh-lock seams and all other rolled mechanical seams.

- Mastic, mastic-plus-embedded fabric, or mastic ribbons

- Gaskets.

- Pressure-sensitive tape.

N1110.ABC.3.1.2  Pressures 1-inch water gauge or greater, approved closure systems. The following closure systems are approved for rigid metal duct designed to be operated at pressures 1-inch w.g. or greater and flexible duct when they conform to the approved closure and mechanical attachment requirements of Section N1110.ABC.3.0:

- Continuous welds.

- Mastic or mastic-plus-embedded fabric systems.

- Gaskets.

N1110.ABC.3.1.3 High pressure duct systems. High pressure duct systems designed to operate at pressures greater than 3-inch water gauge (4-inch water gauge pressure class), shall be tested in accordance with the SMACNA HVAC Air Duct Leakage Test Manual. The tested duct leakage class, at a test pressure equal to the design duct pressure class rating, shall be equal to or less than Leakage Class 6. Leakage testing may be limited to representative sections of the duct system but in no case shall such tested sections include less than 25 percent of the total installed duct area for the designated pressure class.

N1110.ABC.3.2  Fibrous glass duct, rigid. All rigid fibrous glass ducts and plenums shall be constructed and erected in accordance with the provisions of the NAIMA Fibrous Glass Duct Construction Standards.

All joints, seams and duct wall penetrations including, but not limited to, the joints between sections of duct and between duct and other distribution system components shall be mechanically attached and sealed using approved closure systems as specified in Section N1110.ABC.3.2.1.

N1110.ABC.3.2.1  Approved closure systems. The following closure systems are approved for rigid fibrous glass ducts when they conform to the approved closure and mechanical attachment requirements of Section N1110.ABC.3.0:

- Heat-activated tapes.

- Pressure-sensitive tapes.

- Mastics or mastic-plus-embedded fabric systems.

N1110.ABC.3.2.2  Mechanical fastening. Attachments of ductwork to air-handling equipment shall be by mechanical fasteners. Where access is limited, two fasteners on one side shall be acceptable when installed in accordance with Section N1110.ABC.3.0.6.

N1110.ABC.3.3  Flexible duct systems, nonmetal. Flexible nonmetal ducts shall be joined to all other air distribution system components by either terminal or intermediate fittings. All duct collar fittings shall have a minimum 5/8 inch (16 mm) integral flange for sealing to other components and a minimum 3-inch (76 mm) shaft for insertion into the inner duct core.

Flexible ducts having porous inner cores shall not be used.

Exception: Ducts having a nonporous liner between the porous inner core and the outer jacket. Fastening and sealing requirements shall be applied to such intermediate liners.

All joints of flexible ducts to fittings and fittings to other air distribution system components shall be mechanically attached and sealed as specified in Sections N1110.ABC.3.3.1 through N1110.ABC.3.3.6.

N1110.ABC.3.3.1  Duct core to duct fitting, mechanical attachment. The reinforced core shall be mechanically attached to the duct fitting by a drawband installed directly over the wire-reinforced core and the duct fitting. The duct fitting shall extend a minimum of 2 inches (51 mm) into each section of duct core. When the flexible duct is larger than 12 inches (303 mm) in diameter or the design pressure exceeds 1-inch water gauge, the drawband shall be secured by a raised bead or indented groove on the fitting.

N1110.ABC.3.3.2  Duct core to duct fitting, approved closure systems. The reinforced lining shall be sealed to the duct fitting using one of the following sealing materials which conforms to the approved closure and mechanical attachment requirements of Section N1110.ABC.3.0:

- Gasketing.

- Mastic, mastic-plus-embedded fabric, or mastic ribbons.

- Pressure-sensitive tape.

- Aerosol sealants, provided that their use is consistent with UL 181.

N1110.ABC.3.3.3  Duct outer jacket to duct collar fitting. The outer jacket of a flexible duct section shall be secured at the juncture of the air distribution system component and intermediate or terminal fitting in such a way as to prevent excess condensation. The outer jacket of a flexible duct section shall not be interposed between the flange of the duct fitting and the flexible duct, rigid fibrous glass duct board, or sheet metal to which it is mated.

N1110.ABC.3.3.4  Duct collar fitting to rigid duct, mechanical attachment. The duct collar fitting shall be mechanically attached to the rigid duct board or sheet metal by appropriate mechanical fasteners, either screws, spin-in flanges, or dovetail flanges.

N1110.ABC.3.3.5  Duct collar fitting to rigid duct, approved closure systems. The duct collar fitting’s integral flange shall be sealed to the rigid duct board or sheet metal using one of the following closure systems/materials which conforms to the approved closure and mechanical attachment standards of Section N1110.ABC.3.0:

- Gasketing.

- Mastic or mastic-plus-embedded fabric systems.

- Mastic ribbons when used to attach a duct collar to sheet metal.

- Pressure-sensitive tape.

- Aerosol sealants, provided that their use is consistent with UL 181.

N1110.ABC.3.3.6  Flexible duct installation and support. Flexible ducts shall be configured and supported so as to prevent the use of excess duct material, prevent duct dislocation or damage, and prevent constriction of the duct below the rated duct diameter in accordance with the following requirements:

- Ducts shall be installed fully extended. The total extended length of duct material shall not exceed 5 percent of the minimum required length for that run.

- Bends shall maintain a center line radius of not less than one duct diameter.

- Terminal devices shall be supported independently of the flexible duct.

- Horizontal duct shall be supported at intervals not greater than 5 feet (1524 mm). Duct sag between supports shall not exceed ½ inch (12.7 mm) per foot of length. Supports shall be provided within 1½ feet (38 mm) of intermediate fittings and between intermediate fittings and bends. Ceiling joists and rigid duct or equipment may be considered to be supports.

- Vertical duct shall be stabilized with support straps at intervals not greater than 6 feet (1829 mm).

- Hangers, saddles and other supports shall meet the duct manufacturer’s recommendations and shall be of sufficient width to prevent restriction of the internal duct diameter. In no case shall the material supporting flexible duct that is in direct contact with it be less than 1½ inches (38 mm) wide.

N1110.ABC.3.4  Terminal and intermediate fittings. All seams and joints in terminal and intermediate fittings, between fitting subsections and between fittings and other air distribution system components or building components shall be mechanically attached and sealed as specified in Section N1110.ABC.3.4.1 or N1110.ABC.3.4.2.

N1110.ABC.3.4.1  Fittings and joints between dissimilar duct types, approved closure systems. Approved closure systems shall be as designated by air distribution system component material type in Section N1110.ABC.3.

Exception: When the components of a joint are fibrous glass duct board and metal duct, including collar fittings and metal equipment housings, the closure systems approved for fibrous glass duct shall be used.

N1110.ABC.3.4.2  Terminal fittings and air ducts to building envelope components, approved closure systems. Terminal fittings and air ducts which penetrate the building envelope shall be mechanically attached to the structure and sealed to the envelope component penetrated and shall use one of the following closure systems/materials which conform to the approved closure and mechanical application requirements of Section N1110.ABC.3.0:

- Mastics or mastic-plus-embedded fabrics.

- Gaskets used in terminal fitting/grille assemblies which compress the gasket material between the fitting and the wall, ceiling or floor sheathing.

N1110.ABC.3.5  Air-handling units. All air-handling units shall be mechanically attached to other air distribution system components. Air-handling units located outside the conditioned space shall be sealed using approved closure systems conforming to the approved closure and mechanical application requirements of Section N1110.ABC.3.1.

N1110.ABC.3.5.1  Approved closure systems. Systems conforming to the product and application standards of Section N1110.ABC.3.0 may be used when sealing air-handling units.

N1110.ABC.3.5.2  Air-handling units in attics. Air-handling units shall be allowed in attics if the following conditions are met:

- The service panel of the equipment is located within 6 feet (1829 mm) of an attic access.

- A device is installed to alert the owner or shut the unit down when the condensation drain is not working properly.

- The attic access opening is of sufficient size to replace the air handler.

- A notice is posted on the electric service panel indicating to the homeowner that the air handler is located in the attic. Said notice shall be in all capitals, in 16 point type, with the title and first paragraph in bold:

NOTICE TO HOMEOWNER

A PART OF YOUR AIR-CONDITIONING SYSTEM, THE AIR HANDLER, IS LOCATED IN THE ATTIC. FOR PROPER, EFFICIENT, AND ECONOMIC OPERATION OF THE AIR-CONDITIONING SYSTEM, YOU MUST ENSURE THAT REGULAR MAINTENANCE IS PERFORMED.

YOUR AIR-CONDITIONING SYSTEM IS EQUIPPED WITH ONE OR BOTH OF THE FOLLOWING: (1) A DEVICE THAT WILL ALERT YOU WHEN THE CONDENSATION DRAIN IS NOT WORKING PROPERLY OR (2) A DEVICE THAT WILL SHUT THE SYSTEM DOWN WHEN THE CONDENSATION DRAIN IS NOT WORKING. TO LIMIT POTENTIAL DAMAGE TO YOUR HOME, AND TO AVOID DISRUPTION OF SERVICE, IT IS RECOMMENDED THAT YOU ENSURE PROPER WORKING ORDER OF THESE DEVICES BEFORE EACH SEASON OF PEAK OPERATION.

N1110.ABC.3.6  Cavities of the building structure. Cavities in framed spaces, such as dropped soffits and walls, shall not be used to deliver air from or return air to the conditioning system unless they contain an air duct insert which is insulated in accordance with Section N1110.ABC.2 and constructed and sealed in accordance with the requirements of Section N1110.ABC.3 appropriate for the duct materials used.

Exception: Return air plenums.

N1110.ABC.3.6.1 Cavities designed for air transport such as mechanical closets, chases, air shafts, etc. shall be lined with an air barrier and sealed in accordance with Section N1110.ABC.3.7 and shall be insulated in accordance with Section N1110.ABC.2.

N1110.ABC.3.6.2 Building cavities which will be used as return air plenums shall be lined with a continuous air barrier made of durable nonporous materials. All penetrations to the air barrier shall be sealed with a suitable long-life mastic material.

Exception: Surfaces between the plenum and conditioned spaces from which the return/mixed air is drawn.

N1110.ABC.3.6.3 Building cavities beneath a roof deck that will be used as return air plenums shall have an insulated roof with the insulation having an R-value of at least R-19.

N1110.ABC.3.7  Mechanical closets. The interior surfaces of mechanical closets shall be sheathed with a continuous air barrier as specified in Section N1110.ABC.3.7.1 and shall be sealed with approved closure systems as specified in Section N1110.ABC.3.7.2. All joints shall be sealed between air barrier segments and between the air barriers of walls and those of the ceiling, floor and door framing. All penetrations of the air barrier including, but not limited to, those by air ducts, plenums, pipes, service lines, refrigerant lines, electrical wiring, and condensate drain lines shall be sealed to the air barrier with approved closure systems.

Exception: Air passageways into the closet from conditioned space that are specifically designed for return air flow.

Through-wall, through-floor and through-ceiling air passageways into the closet shall be framed and sealed to form an air-tight passageway using approved air duct materials and approved closure systems.

Duct penetrations through any part of the ceiling, walls or floor of a mechanical closet shall have sufficient space between surrounding ceiling, walls or floor and any duct or plenum penetration to allow for sealing of the penetration and inspection of the seal.

Clothes washers, clothes dryers, combustion water heaters and atmospheric combustion furnaces shall not be located in mechanical closets used as return air plenums.

N1110.ABC.3.7.1 Approved air barriers. The following air barriers are approved for use in mechanical closets:

- One-half-inch-thick (12.7 mm) or greater gypsum wallboard, taped and sealed.

- Other panelized materials having inward facing surfaces with an air porosity no greater than that of a duct product meeting Section 22 of UL 181 which are sealed on all interior surfaces to create a continuous air barrier.

N1110.ABC.3.7.2 Approved closure systems. The following closure systems are approved for use in mechanical closets:

- Gypsum wallboard joint compound over taped joints between gypsum wallboard panels.

- Sealants complying with the product and application standards of Section N1110.ABC.3.2.1 for fibrous glass ductboard.

- A suitable long-life caulk or mastic compliant with the locally adopted mechanical code for all applications.

N1110.ABC.3.8  Enclosed support platforms. Enclosed support platforms located between the return air inlet(s) from conditioned space and the inlet of the air-handling unit or furnace, shall contain a duct section constructed entirely of rigid metal, rigid fibrous glass duct board, or flexible duct which is constructed and sealed according to the respective requirements of Section N1110.ABC.3 and insulated according to the requirements of Section N1110.ABC.2.

- The duct section shall be designed and constructed so that no portion of the building structure, including adjoining walls, floors and ceilings, shall be in contact with the return air stream or function as a component of this duct section.

- The duct section shall not be penetrated by a refrigerant line chase, refrigerant line, wiring, pipe or any object other than a component of the air distribution system.

- Through-wall, through-floor and through-ceiling penetrations into the duct section shall contain a branch duct which is fabricated of rigid fibrous glass duct board or rigid metal and which extends to and is sealed to both the duct section and the grille side wall surface. The branch duct shall be fabricated and attached to the duct insert in accordance with Section N1110.ABC.3.2 or Section N1110.ABC.3.1, respective to the duct type used.

N1110.A Requirements specific to Method A.

N1110.A.1   Duct types. Duct systems shall include both supply and return air sections and shall be described in sufficient detail to allow the building official to determine code compliance. The impact of air distribution system efficiency in the energy performance calculation shall be determined from the EnergyGauge USA Fla/Res computer program in accordance with Section N1113 of this Code.

N1110.A.2 Installation criteria for homes claiming the tested duct option. The tested duct option may be claimed in the EnergyGauge USA Fla/Res computer program where the air distribution system is tested in accordance with ASHRAE Standard 152, in which case measured duct air leakage values shall be used.  Tested duct leakage shall be determined and documented by a Certified Class 1 Florida Rater.

Add new Section N1110.A.3 as shown:

N1110.A.3  Installation criteria for homes claiming the factory-sealed air-handling unit option.  The factory-sealed air-handling unit option may be claimed in the EnergyGauge USA Fla/Res computer program if the unit has been tested and certified by the manufacturer to have achieved a 2 percent or less leakage rate at 1-inch water gauge when all air inlets, air outlets and condensate drain port(s), when present, are sealed at an air pressure of 1-inch water gauge with no greater than 2-percent design cubic foot per minute discharge.

[Approved by the Commission, August 2007]

N1110.B  Requirements specific to Method B.

N1110.B.1  Ducts installed. All ducts shall be insulated to at least the level required by Table 11B-1 on Form 1100B.

N1110.C Requirements specific to Method C.

N1110.C.1  Additions. New ducts that are installed to serve an addition shall either be insulated to R-6 or be installed in conditioned space as designated on Table11C-1 of Form 1100C.

Exception: Only new or replacement ducts installed as part of the addition shall meet this requirement.

N1110.C.2  Renovations. Replacement duct systems that are not in conditioned space shall be insulated to levels specified in Section N1110.C.1.

Exception: Only new or replacement ducts installed as part of the renovation shall meet this requirement.

N1110.C.3  Manufactured homes and manufactured buildings. Site-installed components and features of the air distribution system(s) of manufactured homes shall be insulated, constructed, sealed and supported in accordance with the requirements of Sections  N1110.ABC.2 and N1110.ABC.3. The duct connection between the air distribution systems of separate units of multiple unit manufactured homes and buildings shall be installed, sealed and inspected according to the provisions of this code.

Manufactured homes and buildings having interior furnaces and site-installed single package air conditioners which share the same supply registers shall have an automatic backflow damper installed between the air conditioning unit and the factory-installed duct to prevent the functioning of return grilles as supply registers and to prevent the forced passage of conditioned air through inactive air handlers when another system is in operation.

N1110.C.4  Building systems. Newly manufactured air distribution system components installed in existing buildings shall meet the minimum requirements for air distribution systems contained in Sections N1110.ABC.2 through N1110.ABC.8, as appropriate. See Section N1100.1.2 for exceptions.

SECTION N1111

PIPING

N1111.ABC  Mandatory Requirements for Methods A, B and C.

N1111.ABC.1   Piping insulation. All piping installed to service buildings and within buildings, including the vapor line of HVAC refrigerant piping, shall be thermally insulated in accordance with Table N1111.ABC.1 except as stated herein (for service water heating systems, see Section N1112.ABC.5.

Exceptions: Piping insulation is not required in the following cases:

1.  Piping installed within HVAC equipment.

2.  Piping containing fluid at temperatures between 55°F and 120°F (13°C to 49°C).

3.  Piping within the conditioned space.

4.  Piping within basements or unvented crawl spaces (plenums) having insulated walls.

TABLE N1111.ABC.1

MINIMUM PIPE INSULATION

[Add from ’04 code Table 13-611.1.ABC.1]

N1111.ABC.1.1  Other insulation thicknesses.

Insulation thickness in Table N1111.ABC.1 are based on insulation having thermal resistance in the range of 4.0 to 4.6°F.ft2.h/Btu. per inch of thickness on a flat surface at a mean temperature of 75°F (24°C).

Minimum insulation thickness shall be increased for materials having R-values less than 4.0°F.ft2.h/Btu.in. or may be reduced for materials having R-values greater than 4.6°F.ft2.h/Btu.in. as follows:

1.  For materials with thermal resistivity greater than R-4.6, the minimum insulation thickness may be reduced as follows:

New minimum thickness = 	4.6 x Table N1111.ABC.1 Thickness

Actual Resistivity

2.  For material with thermal resistivity less than R-4.0, the minimum insulation thickness shall be increased as follows:

New minimum thickness = 	4.0 x Table N1111.ABC.1 Thickness

Actual Resistivity

SECTION N1112

WATER HEATING SYSTEMS

N1112.ABC  Mandatory requirements for Methods A, B and C.

N1112.ABC.1  Sizing. Blank for numbering consistency.

N1112.ABC.2  Controls.

N1112.ABC.2.1  Storage water heater temperature controls.

N1112.ABC.2.1.1 Automatic controls. Service water heating systems shall be equipped with automatic temperature controls capable of adjustment from the lowest to the highest acceptable temperature settings for the intended use. The minimum temperature setting range shall be from 100°F to 140°F (38°C to 60°C).

N1112.ABC.2.1.2 Shut down. A separate switch or a clearly marked circuit breaker shall be provided to permit the power supplied to electric service systems to be turned off. A separate valve shall be provided to permit the energy supplied to the main burner(s) of combustion types of service water heating systems to be turned off.

N1112.ABC.2.2  Heat traps. Storage water heaters not equipped with integral heat traps and having vertical pipe risers shall have heat traps installed on both the inlets and outlets. External heat traps shall consist of either a commercially available heat trap or a downward and upward bend of at least 3½ inches (89 mm) in the hot water distribution line and cold water line located as close as possible to the storage tank.

N1112.ABC.2.3  Swimming pool and spa temperature controls.

N1112.ABC.2.3.1  On-off switch required. All pool and spa heaters shall be equipped with an on-off switch mounted for easy access to allow the heater to be shut off without adjusting the thermostat setting and to allow restarting without relighting the pilot light.

N1112.ABC.2.3.2  Covers required. Spas and heated swimming pools shall be equipped with a cover designed to minimize heat loss.

Exception: Outdoor pools deriving over 70 percent of the energy for heating from nondepletable on site-recovered sources computed over an operating season are exempt from this requirement.

N1112.ABC.2.3.3  Time clocks on private pools. Time clocks shall be installed on private pools so that the pump can be set to run during off-peak electric demand periods and can be set for the minimum time necessary to maintain the water in a clear and sanitary condition in keeping with applicable health standards.

Exceptions: Pumps connected to swimming pool solar water heating systems or any pool legally considered a public pool.

N1112.ABC.2.3.4 Pool heater efficiency.  All gas- and oil-fired pool heaters when tested in accordance with ANSI Z 21.56 shall have a minimum thermal efficiency of 78 percent. Heat pump pool heaters shall be tested in accordance with ARI 1160, Table 2, Standard Rating Conditions-Low Air Temperature, and shall have a minimum COP of 4.0.

N1112.ABC.2.4  Showers. Showers used for other than safety reasons shall be equipped with flow control devices to limit the water discharge to a maximum of 2.50 gpm (.16 L/S) per shower head at a distribution pressure of 80 psig (552 kPa) when tested in accordance with the procedures of ANSI A112.18.1M. Flow-restricting inserts used as a component part of a showerhead shall be mechanically retained at the point of manufacture.

N1112.ABC.3  Equipment performance standards.

N1112.ABC.3.1  Electric water heater efficiencies.

N1112.ABC.3.1.1  Storage capacities of 120 gallons or less.

All automatic electric storage water heaters having a storage capacity of 120 gallons (454 L) or less and an input rating of 12 kw or less shall, when tested in accordance with the DOE Uniform Test Method for Measuring the Energy Consumption of Water Heaters, Appendix E to Subpart B, 10 CFR Part 430, meet the performance minimums listed in Table N1112.ABC.3.

N1112.ABC.3.1.2  Storage capacities greater than 120 gallons. Performance minimums for electric storage water heaters with capacities greater than 120 gallons (454 L) or an input rate greater than 12 kw shall have a standby loss of .30+27/VT percent/hour or less, where VT is the tested storage volume in gallons and tested in accordance with ANSI test method Z21.10.3.

N1112.ABC.3.2  Gas- and oil-fired water heater efficiencies.

N1112.ABC.3.2.1  Tanks with input ratings of 75,000 Btu/h or less (Gas) or 105,000 Btu/h or less (oil). All gas- and oil-fired automatic storage water heaters with capacities of 100 gallons or less and an input rating of 75,000 Btu/h or less (gas) or 105,000 Btu/h or less (oil) shall, when tested in accordance with the DOE Uniform Test Method for Measuring the Energy Consumption of Water Heaters, Appendix E to Subpart B, 10 CFR Part 430, meet the performance minimums listed in Table N1112.ABC.3.

N1112.ABC.3.2.2 Tanks with input ratings greater than 75,000 Btu/h (gas) or greater than 105,000 Btu/h (oil). All gas-fired storage water heaters with input ratings greater than 75,000 Btu/h but less than or equal to 155,000 Btu/h, and all oil-fired storage water heaters with input ratings greater than 105,000 Btu/h but less than or equal to 155,000 Btu/h, shall have a steady-state combustion efficiency Et of .78 or less and a standby loss of 1.30+114/VT (in percent/hour) or less, where VT is the tested storage volume in gallons. All gas- and oil-fired storage water heaters with input ratings greater than 155,000 Btu/h shall have a steady-state combustion efficiency Et of .78 or more and a standby loss of 1.30+95/VT, where VT is the tested storage volume in gallons.

TABLE N1112.ABC.3

MINIMUM PERFORMANCE STANDARDS

WATER HEATING EQUIPMENT: FIRED STORAGE WATER HEATER

MINIMUM ENERGY FACTORS (EF)

[Add from ’04 code Table 13-612.1.ABC.3.2]

N1112.ABC.3.2.3  Gas Instantaneous or Tankless Water Heaters.   All gas-fired instantaneous (tankless) water heaters that a) initiate heating based on sensing water flow, b) are designed to deliver water at a controlled temperature of less than 180 °F (82 °C), c) have an input less than 200,000 Btu/h (210 MJ/h), d) have a manufacturer's specified storage capacity of less than 2 gallons (7.6 liters) and, e) have either a fixed or variable burner input shall, when tested in accordance with the DOE Uniform Test Method for Measuring the Energy Consumption of Water Heaters, Appendix E to Subpart B, Title 10 CFR 430, meet the performance minimums established in Title 10 CFR 430.32, Energy and Water Conservation Standards and Effective Dates.

N1112.ABC.3.3  Unfired storage tanks. All unfired storage tanks shall have a standby loss of 6.5 Btu/h/ft2 or less, based on an 80°F (27°C) water-air temperature difference.

N1112.ABC.3.4  Solar water heating systems. Solar systems for domestic hot water production are rated by the annual solar energy factor of the system. The solar energy factor of a system shall be determined from the Florida Solar Energy Center Directory of Certified Solar Systems. Solar collectors shall be tested in accordance with ISO Standard 9806, Test Methods for Solar Collectors, and SRCC Standard TM-1, Solar Domestic Hot Water System and Component Test Protocol. Collectors in installed solar water heating systems should meet the following criteria:

- Be installed with a tilt angle between 10 degrees and 40 degrees of the horizontal; and

- Be installed at an orientation within 45 degrees of true south.

N1112.ABC.3.5  Combination service water heating and space heating equipment. Service water heating equipment used to provide additional functions (e.g. space heating) as part of a combination (integrated) system shall comply with minimum performance requirements for water heating equipment.  For combined gas storage tank water heating and space heating systems tested to ANSI/ASHRAE 124, the EF used shall be the effective water heating efficiency (CA ef) listed for the appliance by the Gas Appliance Manufacturer’s Association (GAMA).  For combined gas instantaneous (tankless) water heating and space heating systems, the EF used shall be determined in accordance with the DOE Uniform Test Method for Measuring the Energy Consumption of Water Heaters, Appendix E to Subpart B, Title 10 CFR 430.

Combination systems utilizing a storage tank water heater as the heat source for space heating purposes with input ratings of 105,000 Btu/h (360m3/kW) or less shall utilize a water heater listed by the Gas Appliance Manufacturer’s Association (GAMA). Changeouts of burners or heating elements to increase capacity shall not be made unless the unit has been listed at that capacity by GAMA.

Combination systems utilizing a storage tank water heater as the heat source for space heating purposes with input ratings greater than 105,000 Btu/h (360m3/kW) shall comply with the criteria of Section 13-412.ABC.3.4, Subchapter 13-4 of the Florida Building Code, Building.

N1112.ABC.4  Pumps. Circulating hot water systems shall be arranged so that the circulating pump(s) can be conveniently turned off (automatically or manually) when the hot water system is not in operation.

N1112.ABC.5  Piping insulation. Circulating hot water systems [including piping for waste heat recovery systems (HRUs)] shall be insulated with insulation of at least ½ inch (12.7 mm) minimum thickness with a thermal conductivity no greater than 0.28 Btu/in./h.ft2°F.

Pipe insulation buried underground shall be as specified by the manufacturer for underground use.

N1112.A Requirements specific to Method A.

N1112.A.1  Water heating system energy loads.  Energy loads for service water heating systems shall be based on the appropriate efficiency rating for the system to be installed from the EnergyGauge USA Fla/Res computer program.

N1112.A.2 Additions. Water heating shall be considered in Method A calculations if any of the following conditions are met.

1.  Existing systems are replaced during construction;

2.  Additional water heaters are installed; or

3.  A gas, solar, HRU or dedicated heat pump is installed to gain calculation credits.

N1112.B Requirements specific to Method B. Water heating systems are categorized as electric resistance, gas and oil and other. Water heating equipment shall meet the applicable minimum efficiencies listed on Table 11B-1 of Form 1100B.

N1112.C Requirements specific to Method C. New water heating equipment installed in small additions and renovations shall meet the minimum efficiencies given on Table 11C-1 of Form 1100C.

N1112.C.1 Additions. All new water heaters installed in an addition shall meet the minimum efficiencies listed in Section N1112.ABC.3, Table N1112.ABC.3.

Exception: Only water heating systems which are being replaced or installed as part of the addition shall meet this requirement.

N1112.C.2  Renovations. Minimum efficiencies for water heating equipment installed in renovations shall be not less than those listed in Table N1112.ABC.3  and Section N1112.ABC.3.

Exception: Only water heating systems which are being replaced or installed as part of the renovation shall meet this requirement.

N1112.C.3  Building systems. New water heating systems installed in existing buildings shall meet the minimum requirements for that system in Section N1112.ABC.

SECTION N1113

CALCULATIONAL PARAMETERS

SPECIFIC TO COMPLIANCE METHOD A

N1113.A Method A Compliance Simulation and End Use Load Determination. Except as specified by this Section, the Baseline Home and As-Built Home shall be configured and analyzed using identical methods and techniques.

N1113.A.1 Home Specification. The Baseline Home and As-Built Home shall be configured and analyzed as specified by Table N1113.A.1-1.

Table N1113.A.1-1

Specifications for Baseline and As-Built Homes

| Building Component | Baseline Home | As-Built Home |
| --- | --- | --- |
| Above-grade walls: | Type: wood frame Gross area: same as As-Built Home U-Factor: 0.082 Solar absorptance = 0.75 Emittance = 0.90 | Same as As-Built Home Same as As-Built Home Same as As-Built Home Same as As-Built Home Same as As-Built Home |
| Conditioned Basement walls: | Type: same as As-Built Home Gross area: same as As-Built Home U-Factor: 0.36 with the insulation layer on the interior side of walls | Same as As-Built Home Same as As-Built Home Same as As-Built Home |
| Floors over unconditioned spaces: | Type: wood frame Gross area: same as As-Built Home U-Factor: 0.064 | Same as As-Built Home Same as As-Built Home Same as As-Built Home |
| Ceilings: | Type: wood frame Gross area: same as As-Built Home U-Factor: 0.035 | Same as As-Built Home Same as As-Built Home Same as As-Built Home |
| Roofs: | Type: composition shingle on wood sheathing Gross area: same as As-Built Home Solar absorptance = 0.75 Emittance = 0.90 | Same as As-Built Home Same as As-Built Home Same as As-Built Home Same as As-Built Home |
| Attics: | Type: vented with aperture = 1ft2 per 300 ft2 ceiling area | Same as As-Built Home |
| Foundations: | Type: same as As-Built Home Gross Area: same as As-Built Home R-value: 0 | Same as As-Built Home Same as As-Built Home Same as As-Built Home |
| Crawlspaces: | Type: vented with net free vent aperture = 1ft2 per 150 ft2 of crawlspace floor area. | Same as the As-Built Home, but not less net free ventilation area than the Baseline Home unless an approved ground cover in accordance with Section R408.3 of this code is used, in which case, the same net free ventilation area as the As-Built Home down to a minimum net free vent area of 1ft2 per 1,500 ft2 of crawlspace floor area. |
| Doors: | Area: 40 ft2 Orientation: North U-factor: 0.75 | Same as As-Built Home Same as As-Built Home Same as As-Built Home |
| Glazing: (a) | Total area (b) =18% of conditioned floor area Orientation: equally distributed to four (4) cardinal compass orientations (N,E,S,&W) U-factor: 0.75 SHGC: 0.40 Interior shade coefficient: Summer = 0.70 Winter = 0.85 External shading: none | Same as As-Built Home Same as As-Built Home Same as As-Built Home Same as As-Built Home Same as Baseline Home (c) Same as As-Built Home |
| Skylights | None | Same as As-Built Home |
| Thermally isolated sunrooms | None | Same as As-Built Home |
| Air exchange rate | Specific Leakage Area (SLA) (d) = 0.00036 (assuming no energy recovery) | For residences that are not tested, the same as the Baseline Home For residences with mechanical ventilation systems and with envelope leakage tested in accordance with ASHRAE Standard 119, Section 5.1, the measured air exchange rate (e) combined with the As-Built mechanical ventilation rate (f) where such mechanical ventilation rate shall not be less than 0.01 x CFA + 7.5 x (Nbr+1) |
| Mechanical ventilation: | None, except where a mechanical ventilation system is specified by the As-Built Home, in which case: Annual vent fan energy use: kWh/yr = 0.03942*CFA + 29.565*(Nbr+1) (per dwelling unit) where: CFA = conditioned floor area Nbr = number of bedrooms | Same as As-Built Home Same as As-Built Home |
| Internal gains: | IGain = 17,900 + 23.8*CFA + 4104*Nbr (Btu/day per dwelling unit) | Same as Baseline Home. |
| Internal mass: | An internal mass for furniture and contents of 8 pounds per square foot of floor area | Same as Baseline Home, plus any additional mass specifically designed as a Thermal Storage Element (g) but not integral to the building envelope or structure |
| Structural mass: | For masonry floor slabs, 80% of floor area covered by R-2 carpet and pad, and 20% of floor directly exposed to room air For masonry basement walls, same as As-Built Home, but with insulation located on the interior side of the walls For other walls, for ceilings, floors, and interior walls, wood frame construction | Same as As-Built Home Same as As-Built Home Same as As-Built Home |
| Heating systems (h),(i) | Fuel type: same as As-Built Home Efficiencies: Electric: air source heat pump with prevailing federal minimum efficiency Non-electric furnaces: natural gas furnace with prevailing federal minimum efficiency Non-electric boilers: natural gas boiler with prevailing federal minimum efficiency Capacity: sized in accordance with Section N1107.ABC.1 of this code. | Same as As-Built Home (i) Same as As-Built Home Same as As-Built Home Same as As-Built Home Same as As-Built Home |
| Cooling systems (h),(k) | Fuel type: Electric Efficiency: in accordance with prevailing federal minimum standards Capacity: sized in accordance with Section N1107.ABC.1 of this code. | Same as As-Built Home (k) Same as As-Built Home Same as As-Built Home |
| Service water heating systems (h) (m) | Fuel type: same as As-Built Home Efficiency: in accordance with prevailing federal minimum standards Use (gal/day): 30*Ndu + 10*Nbr where Ndu = number of dwelling units Tank temperature: 120oF | Same as As-Built Home (m) Same as As-Built Home Same as Baseline Home Same as Baseline Home |
| Thermal distribution systems: | A thermal distribution system efficiency (DSE) of 0.80 shall be applied to both the heating and cooling system efficiencies. | Using As-Built duct locations and a DSE of 0.88, except when tested in accordance with ASHRAE Standard 152 (n), in which case measured duct air leakage values shall be used. |
| Thermostat | Type: manual Temperature setpoints: cooling temperature set point = 78 F; heating temperature set point = 68 F | Type: Same as As-Built Home Temperature setpoints: same as the Baseline Home, except when programmable thermostats are used in accordance with Sections N1107.A.2.6 and N1108.A.2.6 of this code. |

Table N1113.A.1-1 Notes:

(a) 	Glazing shall be defined as sunlight-transmitting fenestration, including the area of sash, curbing or other framing elements, that enclose conditioned space. Glazing includes the area of sunlight-transmitting fenestration assemblies in walls bounding conditioned basements.  For doors where the sunlight-transmitting opening is less than one-third of the door area, the glazing area of the sunlight transmitting opening shall be used.  For all other doors, the glazing area shall be the rough frame opening area for the door, including the door and the frame.

(b) 	For homes with conditioned basements and for multi-family attached homes the following formula shall be used to determine total window area:

AF = 0.18 x AFL x FA x F

where:

AF = Total fenestration area

AFL = Total floor area of directly conditioned space

FA = (Above-grade thermal boundary gross wall area) / (above-grade boundary gross wall area + 0.5 x below-grade boundary gross wall area)

F = 	(Above-grade thermal boundary gross wall area) / (above-grade thermal boundary gross wall area + common gross wall area) or 0.75, whichever is greater

and where:

Thermal boundary wall is any wall that separates conditioned space from unconditioned space or ambient conditions Above-grade thermal boundary wall is any portion of a thermal boundary wall not in contact with soil Below-grade boundary wall is any portion of a thermal boundary wall in soil contact

Common wall is the total wall area of walls adjacent to another conditioned living unit, not including common foundation and attic walls.

(c) 	For fenestrations facing within 15 degrees of due south that are directly coupled to thermal storage mass, the winter interior shade coefficient shall be permitted to increase to 0.95 in the As-Built Home.

(d) 	Where Leakage Area (L) is defined in accordance with Section 5.1 of ASHRAE Standard 119 and where:

SLA = L / CFA (where L and CFA are in the same units).
Hourly calculations using the procedures given in the ASHRAE 
Handbook of Fundamentals, Chapter 27, page 27.21, equation 40 
(Sherman-Grimsrud model) using Shelter Class 4 shall be used to 
determine the air exchange rate resulting from infiltration.

(e) 	Tested envelope leakage shall be determined in accordance with Section 5.1 of ASHRAE Standard 119 and documented by a Certified Class 1 Florida Rater. Either hourly calculations using the procedures given in the ASHRAE Handbook of Fundamentals, Chapter 27, page 27.21, equation 40 (Sherman-Grimsrud model) using Shelter Class 4 shall be used to determine the air exchange rates resulting from infiltration.

(f) 	The combined air exchange rate for infiltration and mechanical ventilation shall be determined in accordance with equation 43 of ASHRAE Handbook of Fundamentals page 27.23.

(g)	 Thermal storage element shall mean a component not normally part of the floors, walls, or ceilings that is part of a passive solar system, and that provides thermal storage such as enclosed water columns, rock beds, or phase change containers. A thermal storage element must be in the same room as fenestration that faces within 15 degrees of due south, or must be connected to such a room with pipes or ducts that allow the element to be actively charged.

(h) 	For an As-Built Home with multiple heating, cooling, or water heating systems using different fuel types, the applicable system capacities and fuel types shall be weighted in accordance with the loads distribution (as calculated by accepted engineering practice for that equipment and fuel type) of the subject multiple systems. For the Baseline Home, the prevailing federal minimum efficiency shall be assumed except that the efficiencies given in Table N1113.A.1-1(a) below will be assumed when:

1) 	A type of device not covered by NAECA is found in the As-Built Home;

2) 	The As-Built Home is heated by electricity using a device other than an air source heat pump; or

3) 	The As-Built Home does not contain one or more of the required HVAC equipment systems.

Table N1113.A.1-1(a)

Default Baseline Home 
Heating and Cooling Equipment Efficiencies (i) (k) (m) (n)

| As-Built Home Fuel | Function | Baseline Home Device |
| --- | --- | --- |
| Electric | Heating | 7.7 HSPF air source heat pump |
| Non-electric warm air furnace or space heater | Heating | 78% AFUE gas furnace |
| Non-electric boiler | Heating | 80% AFUE gas boiler |
| Any type | Cooling | 13 SEER electric air conditioner |

(i) 	For an As-Built Home without a proposed heating system, a heating system with the prevailing federal minimum efficiency shall be assumed for both the Baseline Home and As-Built Home. For electric heating systems, the prevailing federal minimum efficiency air-source heat pump shall be selected.

(k) 	For an As-Built Home without a proposed cooling system, an electric air conditioner with the prevailing federal minimum efficiency shall be assumed for both the Baseline Home and the As-Built Home.

(m)	For an As-Built Home with a non-storage type water heater, a 40-gallon storage-type water heater with the prevailing federal minimum efficiency and with the same fuel as the proposed water heater shall be assumed for the Baseline Home. For an As-Built Home without a proposed water heater, a 40-gallon storage-type water heater with the prevailing federal minimum efficiency with the same fuel as the predominant heating fuel type shall be assumed for both the Rated and Baseline Homes.

(n) 	Tested duct leakage shall be determined and documented by a Certified 
Class 1 Florida Rater.

N1113.A.2 Calculation of End Use Energy Loads for Code Compliance Determination.

N1113.A.2.1 The energy loads for heating, cooling and hot water in the As-Built Home shall be normalized to account for the differences in improvement potential that exist across equipment types using the following formula in accordance with the paper "The HERS Rating Method and the Derivation of the Normalized Modified Loads Method," Research Report No. FSEC-RR-54-00, Florida Solar Energy Center.

nMEUL = REUL * (nEC_x /EC_r)

where:

nMEUL = normalized Modified End Use Loads (for heating, cooling or hot water) as computed using EnergyGauge USA. REUL = Baseline Home End Use Loads (for heating, cooling or hot water) as computed using EnergyGauge USA Fla/Res.

EC_r = 	estimated Energy Consumption for Baseline Home’s end uses (for heating, including auxiliary electric consumption, cooling or hot water) as computed using EnergyGauge USA Fla/Res.

and where:

nEC_x = (a* EEC_x – b)*(EC_x * EC_r * DSE_r) / ( EEC_x * REUL)

where:

nEC_x = normalized Energy Consumption for As-Built Home’s end uses (for heating, including auxiliary electric consumption, cooling or hot water) as computed using EnergyGauge USA Fla/Res.

EC_r = estimated Energy Consumption for Baseline Home’s end uses (for heating, including auxiliary electric consumption, cooling or hot water) as computed using EnergyGauge USA Fla/Res.

EC_x = estimated Energy Consumption for the As-Built Home’s end uses (for heating, including auxiliary electric consumption, cooling or hot water) as computed using EnergyGauge USA Fla/Res.

EEC_x = Equipment Efficiency Coefficient for the As-Built Home’s equipment, such that

EEC_x equals the energy consumption per unit load in like units as the load, and as derived from the Manufacturer’s Equipment Performance Rating (MEPR) such that

EEC_x equals 1.0 / MEPR for AFUE, COP or EF ratings, or such that EEC_x equals 3.413 / MEPR for HSPF, EER or SEER ratings.

DSE_r = REUL/EC_r * EEC_r For simplified system performance methods, DSE_r equals 0.80 for heating and cooling systems. However, for detailed modeling of heating and cooling systems, DSE_r may be less than 0.80 as a result of part load performance degradation, coil air flow degradation, improper system charge and auxiliary resistance heating for heat pumps. Except as otherwise provided by these Standards, where detailed systems modeling is employed, it must be applied equally to both the Reference and the As-Built Homes.

EEC_r = Equipment Efficiency Coefficient for the Baseline Home’s equipment, such that EEC_r equals the energy consumption per unit load in like units as the load, and as derived from the Manufacturer’s Equipment Performance Rating (MEPR) such that

EEC_r equals 1.0 / MEPR for AFUE, COP or EF ratings, or such that EEC_r equals 3.413 / MEPR for HSPF, EER or SEER ratings.

REUL = Baseline Home End Use Loads (for heating or cooling) as 
computed using EnergyGauge USA Fla/Res.
and where the coefficients ‘a’ and ‘b’ are as defined by Table N1113.A.2-1 below:

Table N1113.A.2-1. Coefficients ‘a’ and ‘b’

| Fuel type and End Use | a | b |
| --- | --- | --- |
| Electric space heating Fossil fuel* space heating Biomass space heating Electric air conditioning Electric water heating Fossil fuel* water heating | 2.2561 1.0943 0.8850 3.8090 0.9200 1.1877 | 0 0.4043 0.4047 0 0 1.0130 |

*Such as natural gas, LP, fuel oil

N1113.A.2.2 Following normalization of the heating, cooling and hot water energy consumptions for the As-Built Home as specified in Section N1113.A.2.1 above, the Baseline Home’s total reference end use loads for heating, cooling and hot water (REULtot) shall be compared with the proposed As-Built Home’s total normalized modified end use loads for heating, cooling and hot water (nMEULtot).  If the total normalized modified loads of the proposed As-Built Home (nMEULtot) are equal to or less than the total reference loads of the Baseline Home (REULtot), the proposed As-Built home complies with this code.

[Mod 2367]

Part V - Mechanical

Chapter 12, Mechanical Administration

Section M1202 Existing Mechanical Systems

M1202.1 Additions, alterations or repairs.  Change to read as shown:

M1202.1 Additions, alterations or repairs. See The Florida Building Code, Existing Building.

M1202.2  Existing installations.  Change to read as shown.

M1202.2  Existing installations.  Reserved.

M1202.3 Maintenance.  Change to read as shown.

M1202.3 Maintenance.  Reserved.

Chapter 13, General Mechanical System Requirements

Section M1301 General

M1301.1 Scope.  Change to read as shown.

M1301.1 Scope. The provisions of this chapter shall govern the installation of mechanical systems not specifically covered in other chapters applicable to mechanical systems. Installations of mechanical appliances, equipment and systems not addressed by this code shall comply with the applicable provisions of the Florida Building Code, Mechanical and the Florida Building Code, Fuel Gas.

M1301.1.1 Floor resistant installation.  Change to read as shown.

M1301.1.1 Floor resistant installation.  Reserved.

Section M1305 Appliance Access

M1305.1.3 Appliances in attics.  Change to read as shown.

M1305.1.3 Appliances in attics.  Attics containing appliances requiring access shall be provided with an opening and unobstructed passageway large enough to allow removal of the largest appliance. The passageway shall not be less than 30 inches (762 mm) high and 22 inches (559 mm) wide and not more than 6 feet (1829 mm) in length measured along the centerline of the passageway from the attic access opening to the appliance’s service panel. The passageway shall have continuous solid flooring not less than 24 inches (610 mm) wide. A level service space not less than 30 inches (762 mm) deep and 30 inches (762 mm) wide shall be present at the front or service side of the appliance. The clear access opening dimensions shall be a minimum of 20 inches by 30 inches (508 mm by 762 mm), where such dimensions are large enough to allow removal of the largest appliance.

Exception: The passageway and level service space are not required where the appliance is capable of being serviced and removed through the required opening.

M1305.1.3.1 Electrical requirements.  Change to read as shown.

M1305.1.3.1 Electrical requirements. A luminaire controlled by a switch located at the required passageway opening and a receptacle outlet shall be installed at or near the appliance location in accordance with Chapter 33.

M1305.1.3.2 Air-handling units.  Add to read as shown.

M1305.1.3.2 Air-handling units.  Air-handling units shall be allowed in attics if the following conditions are met:

1.The service panel of the equipment is located within 6 feet (1829 mm) of an attic access.

2.A device is installed to alert the owner or shut the unit down when the condensation drain is not working properly.

3.The attic access opening is of sufficient size to replace the air handler.

4.A notice is posted on the electric service panel indicating to the homeowner that the air handler is located in the attic. Said notice shall be in all capitals, in 16 point type, with the title and first paragraph in bold:

##### NOTICE TO HOMEOWNER

A PART OF YOUR AIR CONDITIONING SYSTEM, THE

AIR HANDLER, IS LOCATED IN THE ATTIC. FOR PROPER, EFFICIENT, AND ECONOMIC OPERATION OF THE AIR CONDITIONING SYSTEM, YOU MUST ENSURE THAT REGULAR MAINTENANCE IS PERFORMED. YOUR AIR CONDITIONING SYSTEM IS EQUIPPED WITH ONE OR BOTH OF THE FOLLOWING:

1) A DEVICE THAT WILL ALERT YOU WHEN THE CONDENSATION DRAIN IS NOT WORKING PROPERLY OR

2) A DEVICE THAT WILL SHUT THE SYSTEM DOWN WHEN THE CONDENSATION DRAIN IS NOT WORKING. TO LIMIT POTENTIAL DAMAGE TO YOUR HOME, AND TO AVOID DISRUPTION OF SERVICE, IT IS RECOMMENDED THAT YOU ENSURE PROPER WORKING ORDER OF THESE DEVICES BEFORE EACH SEASON OF PEAK OPERATION.

M1305.1.4.1 Clearances from grade.  Change to read as shown.

M1305.1.4.1 Clearances from grade.  Equipment and appliances installed at grade level shall be supported on a level minimum 3½-inch (89 mm) concrete slab or other approved material extending a minimum of 2 inches (51 mm) above adjoining finished grade. Suspended equipment and appliances shall be installed a minimum of 6 inches (152 mm) above adjoining grade to provide support and protection from contact with soil or water.

Exception: On changeouts or new installations of existing buildings where equipment is replaced that has a support platform approved under a previous code.

Section M1307 Appliance Installation

M1307.2 Anchorage of appliances.  Change to read as shown.

M1307.2 Anchorage of appliances.  Appliances designed to be fixed in position shall be fastened or anchored in an approved manner. Strapping shall be at points within the upper one-third and lower one-third of the appliance’s vertical dimensions. At the lower point, the strapping shall maintain a minimum distance of 4 inches (102 mm) above the controls.

M1307.3 Wind resistance.  Change to read as shown.

M1307.3 Wind resistance.  Mechanical equipment, appliances and supports that are exposed to wind shall be designed and installed to resist the wind pressures on the equipment and the supports as determined in accordance with the Florida Building Code, Building. This may be accomplished by design or by application of Section M1307.3.1.  [Mod

M1307.3.1  Ground-mounted units.  Ground-mounted units for Group R3 residential applications may be anchored with #14 screws with gasketed washers according to the following.

1.	For units with sides less than 12 inches (305 mm), one screw shall be used at each side of the unit

2.	For units between 12 and 24 inches (305 and 610 mm), two screws shall be used per side.

3.	For units between 24 and 36 inches (610 and 9144 mm), three screws shall be used per side.

4.	For units greater than 36 inches or 5 tons (9144 mm and 18 kW), anchorage shall be designed in accordance with Section M1307.3.

Notes:

1.	Corrosion protection. Buildings located within 3,000 feet (914 400 mm) of the ocean should utilize nonferrous metal, stainless steel or steel with minimum G-90 hot-dip galvanized coating for equipment stands and anchors and stainless steel screws.

2.	Strapping. Job-site strengthening of fan cowlings and vent hoods is recommended. Two or four stainless steel cables are recommended, depending on design wind conditions. Alternatively, additional, heavy straps can be screwed to the cowling and curb. [Mod 2488r]

M1307.5 Electrical appliances.  Change to read as shown.

M1307.5 Electrical appliances. Electrical appliances shall be installed in accordance with Chapter 33 of this code.

Section M1308 Mechanical Systems Installation

M1308.1 Drilling and notching.  Change to read as shown.

M1308.1 Drilling and notching. Wood-framed structural members shall be drilled, notched or altered in accordance with the provisions of Sections R502.2.7, R602.2.7, R602.2.7.1 and R802.2.6. Holes in cold-formed, steel-framed, load-bearing members shall only be permitted in accordance with Sections R505.2, R603.2 and R804.2. In accordance with the provisions of Sections R505.3.5, R603.3.4 and R804.3.5, cutting and notching of flanges and lips of cold-formed, steel-framed, load-bearing members shall not be permitted.

Chapter 14, Heating and Cooling Equipment

Section M1401 General

M1401.5 Floodplain management construction standards.  Change to read as shown.

M1401.5 Floodplain management construction standards.  This code specifically defers to the authority granted to local government by Title 44 CFR, Sections 59 and 60. This code is not intended to supplant or supercede local ordinances adopted pursuant to that authority, nor are local floodplain management ordinances to be deemed amendments to the code.

Section M1405 Baseboard Convectors

M1405.1 General.  Change to read as shown.

M1405.1 General. Electric baseboard convectors shall be installed in accordance with the manufacturer’s installation instructions and Chapter 33 of this code.

Section M1406 Radiant Heating Systems

M1406.1 General.  Change to read as shown.

M1406.1 General. Electric radiant heating systems shall be installed in accordance with the manufacturer’s installation instructions and Chapters 33 of this code.

M1406.2 Clearances.  Change to read as shown.

M1406.2 Clearances. Clearances for radiant heating panels or elements to any wiring, outlet boxes and junction boxes used for installing electrical devices or mounting luminaires shall comply with Chapters 33 of this code.

Section M1407 Duct Heaters

M1407.1 General.  Change to read as shown.

M1407.1 General. Electric duct heaters shall be installed in accordance with the manufacturer’s installation instructions and Chapters 33 of this code. Electric furnaces shall be tested in accordance with UL 1995.

Chapter 15, Exhaust systems (No change.)

Chapter 16, Duct Systems

Section M1601 Duct Construction.

M1601.1 Duct design.  [No change]

Table M1601.1(1) Classification of Factory-Made Air Ducts.  Change to read as shown.

### Table M1601.1(1) Classification of Factory-Made Air Ducts.  Reserved.

M1601 Reformat section as follows: [Changed June 27, 2007 Commission Meeting]

M1601.1.1 Duct  insulation. See Section N1110.ABC.2 for duct insulation requirements.  Above-ground duct systems. Reserved.

M1601.1.2 Underground duct systems. [Delete IRC text & add text from M1601.17 FBC-R ’04 as shown]

M1601.1.2 17 Underground ducts. Ducts shall be approved for underground installation. Metallic ducts not having an approved protective coating shall be completely encased in a minimum of 2 inches (51 mm) of concrete.

M1601.1.2.1 Slope.    Add to read as shown.

M1601.1.217.1 Slope. Ducts shall slope to allow drainage to a point provided with access.

M1601.1.2.2 Sealing.    Add to read as shown.

M1601.1.217.2 Sealing. Ducts shall be sealed and secured prior to pouring the concrete encasement.

M1601.1.2.3 Plastic ducts and fittings.    Add to read as shown.

M1601.1.217.3 Plastic ducts and fittings. Plastic ducts shall be constructed of PVC having a minimum pipe stiffness of 8 psi (55 kPa) at 5-percent deflection when tested in accordance with ASTM D 2412. Plastic duct fittings shall be constructed of either PVC or high-density polyethylene. Plastic duct and fittings shall be utilized in underground installations only. The maximum design temperature for systems utilizing plastic duct and fittings shall be 150°F (66°C).

M1601.2 Factory-made ducts.  Change to read as shown.

M1601.2 Flexible air ducts and flexible air connectors, general. Factory-made ducts. Reserved. Flexible air ducts, both metallic and nonmetallic, shall comply with Sections M1601.2.1, M1601.2.2, M1601.2.5 and M1601.2.7. Flexible air connectors, both metallic and nonmetallic, shall comply with Sections M1601.2.3 through M1601.2.7.

[Add M1601.2.1 through M1601.2.7 from M1601.6.2.1– M1601.6.2.7 from FBC-R ‘04]

M1601.6.2.1 Flexible air ducts. Flexible air ducts, both metallic and nonmetallic, shall be tested in accordance with UL 181. Such ducts shall be listed and labeled as Class 0 or Class 1 flexible air ducts and shall be installed in accordance with Section M1307.

M1601. 6.2.2 Duct length. Flexible air ducts shall not be limited in length.

M1601. 6.2.3 Flexible air connectors. Flexible air connectors, both metallic and nonmetallic, shall be tested in accordance with UL181. Such connectors shall be listed and labeled as Class 0 or Class 1 flexible air connectors and shall be installed in accordance with Section M1307.

M1601. 6.2.4 Connector length. Flexible air connectors shall be limited in length to 14 feet (4267 mm).

M1601. 6.2.5 Air temperature. The design temperature of air to be conveyed in flexible air ducts and flexible air connectors shall be less than 250°F (121°C).

M1601. 6.2.6 Flexible air duct and air connector clearance. Flexible air ducts and air connectors shall be installed with a minimum clearance to an appliance as specified in the appliance manufacturer’s installation instructions.

M1601. 6.2.7 Penetrations prohibited. Flexible air ducts and flexible air connectors shall not pass through any fire-resistance-rated assembly. Flexible air connectors shall not pass through any wall, floor or ceiling.

M1601.3 General.  Change to read as shown.

M1601.3 Duct installation, gGeneral. An air distribution system shall be designed and installed to supply the required distribution of air. The installation of an air distribution system shall not affect the fire protection requirements specified in the building code. Ducts shall be constructed, braced, reinforced and installed to provide structural strength and durability. All transverse joints, longitudinal seams and fitting connections shall be securely fastened and sealed in accordance with the applicable standards of this section.

All enclosures which form the primary air containment passageways for air distribution systems shall be considered ducts or plenum chambers and shall be constructed and sealed in accordance with the applicable criteria of this section.

M1601.3.1 Mechanical fastening.  Change to read as shown.

M1601.3.1 Mechanical fastening. All joints between sections of air ducts and plenums, between intermediate and terminal fittings and other components of air distribution systems, and between subsections of these components shall be mechanically fastened to secure the sections independently of the closure system(s).

M1601.3.2 Sealing.  Change to read as shown.

M1601.3.2 Sealing. Air distribution system components shall be sealed with approved closure systems.

M1601.3.3 Space provided.  Change to read as shown.

M1601.3.3 Space provided. Sufficient space shall be provided adjacent to all mechanical components located in or forming a part of the air distribution system to assure adequate access for (1) construction and sealing in accordance with the requirements of Section M1601.3 of this code; (2) inspection; and (3) cleaning and maintenance. A minimum of 4 inches (102 mm) is considered sufficient space around air handling units.

Exception: Retrofit or replacement units not part of a renovation are exempt from the minimum clearance requirement.

M1601.3.4 Product application.  Change to read as shown.

M1601.3.4 Product application. Closure products shall be applied to the air barriers of air distribution system components being joined in order to form a continuous barrier or they may be applied in accordance with the manufacturer’s instructions or appropriate industry installation standard where more restrictive.

M1601.3.5 Surface preparation.  Change to read as shown.

M1601.3.5 Surface preparation. The surfaces upon which closure products are to be applied shall be clean and dry in accordance with the manufacturer’s installation instructions.

M1601.3.6 Approved mechanical attachments.  Change to read as shown.

M1601.3.6 Approved mechanical attachments. Approved mechanical attachments for air distribution system components include screws, rivets, welds, interlocking joints crimped and rolled, staples, twist in (screw attachment), and compression systems created by bend tabs or screw tabs and flanges or by clinching straps. Mechanical attachments shall be selected to be appropriate to the duct system type.

M1601.3.7 Approved closure systems.  Change to read as shown.

M1601.3.7 Approved closure systems. Closure system materials, including adhesives when used, shall have a flame spread rating not over 25 without evidence of continued progressive combustion and a smoke developed rating not over 50 when tested in accordance with the ASTM E 84. The following closure systems and materials are approved for air distribution construction and sealing for the applications and pressure classes prescribed in Sections M1601.4 through Sections M1601.11:

1.	Metal closures.

a. Welds applied continuously along metal seams or joints through which air could leak.

b. Snaplock seams, and grooved, standing, double-corner, and Pittsburgh-lock seams as defined by SMACNA, as well as all other rolled mechanical seams. All seams shall be rolled or crimped.

2.	Gasketing, which achieves a 25/50 flame spread, smoke density development rating under ASTM E 84 or UL 723, provided that it is used only between mated surfaces which are mechanically fastened with sufficient force to compress the gasket and to fill all voids and cracks through which air leakage would otherwise occur.

3.	Mastic closures. Mastic shall be placed over the entire joint between mated surfaces. Mastics shall not be diluted. Approved mastics include the following:

a. Mastic or mastic plus embedded fabric systems applied to fibrous glass ductboard that are listed and labeled in accordance with UL 181A, Part III.

b. Mastic or mastic plus embedded fabric systems applied to nonmetal flexible duct that are listed and labeled in accordance with the 181B, Part II.

c. Mastic ribbons, which achieve a 25/50 flame spread, smoke density development rating under ASTM E 84 or UL 723, provided that they may be used only in flange-joints and lap-joints, such that the mastic resides between two parallel surfaces of the air barrier and that those surfaces are mechanically fastened.

4.	Tapes. Tapes shall be applied such that they extend not less than 1 inch (25 mm) onto each of the mated surfaces and shall totally cover the joint. When used on rectangular ducts, tapes shall be used only on joints between parallel rigid surfaces and on right angle joints. Approved tapes include the following:

a.	Pressure-sensitive tapes.

1)	Pressure-sensitive tapes applied to fibrous glass ductboard that are listed and labeled in accordance with UL 181A, Part I.

2)	Pressure-sensitive tapes applied to nonmetal flexible duct that are listed and labeled in accordance with UL 181B, Part I.

b.	Heat-activated tapes applied to fibrous glass ductboard that are listed and labeled in accordance with UL 181A, Part II.

5.	Aerosol sealant. Such sealants shall be installed by manufacturer-certified installers following manufacturer instructions and shall achieve 25/50 flame spread/smoke density development ratings under ASTM E 84 or UL 723.

M1601.3.8 Flood hazard areas.  Change to read as shown.

M1601.3.8 Flood hazard areas.  See Section R323.

Add from Section M1601.12

M1601.3.9 12 Condensation. Provisions shall be made to prevent the formation of condensation on the exterior of any duct.

Add from Section M1601.13

M1601.3.10 13 Location. Ducts shall not be installed in or within 4 inches (102 mm) of the earth, except where such ducts comply with Section M1601.17.

Add from Section M1601.14

M1601.3.11 14 Mechanical protection. Ducts installed in locations where they are exposed to mechanical damage by vehicles or from other causes shall be protected by approved barriers.

Add from Section M1601.15

M1601.3.12 15 Weather protection. All ducts including linings, coverings and vibration isolation connectors installed on the exterior of the building shall be adequately protected against the elements.

Add from Section M1601.16

M1601.3.13 16 Registers, grilles and diffusers. Duct registers, grilles and diffusers shall be installed in accordance with the manufacturer’s installation instructions, and shall have a flame spread rating not over 25 without evidence of continued progressive combustion and a smoke-developed rating not over 50 when tested in accordance with ASTM E 84. Balancing dampers or other means of supply air adjustment shall be provided in the branch ducts or at each individual duct register, grille or diffuser.

M1601.4 Duct classification.  Change to read as shown.

M1601.4 Duct classification.  Ducts shall be classified based on the maximum operating pressure of the duct at pressures of positive or negative 0.5, 1.0, 2.0, 3.0, 4.0, 6.0 or 10.0 inches of water column. The pressure classifications of ducts shall equal or exceed the design pressure of the air distribution in which the ducts are utilized.

[Delete sections M1601.4.1 – 1601.4.5]

M1601.5 Metallic ducts, rigid and flexible.  Add to read as shown.

M1601.5 Metallic ducts, rigid and flexible. All ducts shall be constructed of iron, steel, aluminum or other approved material. Ducts shall be constructed as specified in the SMACNA HVAC Duct Construction Standards—Metal and Flexible.

Exception: Ducts installed within single dwelling units shall have a minimum thickness as specified in Table M1601.5.

All transverse joints, longitudinal seams and duct wall penetration of ducts and joints with other air distribution systems components shall be mechanically attached and sealed using approved closure systems for that pressure class specified in Section M1601.5.1 or M1601.5.2.

M1601.5.1 Pressure less than 1-inch water gage, approved closure systems.    Add to read as shown.

M1601.5.1 Pressure less than 1-inch water gage, approved closure systems. The following closure systems are approved for rigid metal duct designed to be operated at pressures less than 1 inch water gage when they conform to the approved closure and mechanical attachment requirements of Section M1601.3:

1.	Continuous welds.

2.	Snaplock seams and grooved, standing, double-corner, single-corner and Pittsburgh-lock seams and all other rolled mechanical seams.

3.	Mastic, mastic-plus-embedded fabric, or mastic ribbons.

4.	Gaskets.

5.	Pressure-sensitive tape.

6.	Aerosol sealant.

M1601.5.2 Pressure 1-inch water gage or greater, approved closure systems.    Add to read as shown.

M1601.5.2 Pressure 1-inch water gage or greater, approved closure systems. The following closure systems are approved for rigid metal duct designed to be operated at pressures 1-inch water gage or greater and flexible duct when they conform to the approved closure and mechanical attachment requirements of Section M1601.3:

1.Continuous welds.

2.Mastic, mastic-plus-embedded fabric or mastic ribbons.

3.Gaskets.

M1601.5.3 High pressure duct systems.    Add to read as shown.

M1601.5.3 High pressure duct systems. High pressure duct systems designed to operate at pressures greater than 3 inches water gauge (4 inches water gauge pressure class), shall be tested in accordance with the SMACNA HVAC Air Duct Leakage Test Manual. The tested duct leakage class, at a test pressure equal to the design duct pressure class rating, shall be equal to or less than Leakage Class 6. Leakage testing may be limited to representative sections of the duct system but in no case shall such tested sections include less than 25 percent of the total installed duct area for the designated pressure class.

Table M1601.5 Gages of Metal Ducts and Plenums Used for Heating or Cooling.  Add to read as shown.

TABLE M1601.5

GAGES OF METAL DUCTS AND PLENUMS USED FOR HEATING OR COOLING

| TYPE OF DUCT | SIZE (inches) | MINIMUM THICKNESS (inch) | EQUIVALENT GALVANIZED SHEET GAGE | APPROXIMATE ALUMINUM B & S GAGE |
| --- | --- | --- | --- | --- |
| Round ducts and enclosed rectangular ducts | 14 or less over 14 | 0.013 0.016 | 30 28 | 26 24 |
| Exposed rectangular ducts | 14 or less over 14 | 0.016 0.019 | 28 26 | 24 22 |

For SI:	1 inch = 25.4 mm.

M1601.6 Nonmetallic ducts.    Add to read as shown.

M1601.6 Nonmetallic ducts. Nonmetallic ducts shall be constructed with Class 0 or Class 1 duct material in accordance with UL 181. Fibrous duct construction shall conform to the SMACNA Fibrous Glass Duct Construction Standards or NAIMA Fibrous Glass Duct Construction Standards. The maximum air temperature with nonmetallic ducts shall not exceed 250°F (121°C).

M1601.6.1 Gypsum.    Add to read as shown.

M1601.6.1 Gypsum. Gypsum boards that form air shafts (ducts) shall be limited to return air systems where the air temperatures do not exceed 125°F (52°C) and the gypsum board surface temperature is maintained above the airstream dew-point temperature. Gypsum return air ducts shall not be incorporated in air-handling systems utilizing evaporative coolers.

M1601.6.2 Flexible air ducts and flexible air connectors.    [Move to M1601.2. Delete here]

M1601.6.2 Flexible air ducts and flexible air connectors. Flexible air ducts, both metallic and nonmetallic, shall comply with Sections M1601.6.2.1, M1601.6.2.2, M1601.6.2.5, and M1601.6.2.7. Flexible air connectors, both metallic and nonmetallic, shall comply with Sections M1601.6.2.3 through M1606.6.2.7.

M1601.6.2.1 Flexible air ducts. Flexible air ducts, both metallic and nonmetallic, shall be tested in accordance with UL 181. Such ducts shall be listed and labeled as Class 0 or Class 1 flexible air ducts and shall be installed in accordance with Section M1307.

M1601.6.2.2 Duct length. Flexible air ducts shall not be limited in length.

M1601.6.2.3 Flexible air connectors. Flexible air connectors, both metallic and nonmetallic, shall be tested in accordance with UL181. Such connectors shall be listed and labeled as Class 0 or Class 1 flexible air connectors and shall be installed in accordance with Section M1307.

M1601.6.2.4 Connector length. Flexible air connectors shall be limited in length to 14 feet (4267 mm).

M1601.6.2.5 Air temperature. The design temperature of air to be conveyed in flexible air ducts and flexible air connectors shall be less than 250°F (121°C).

M1601.6.2.6 Flexible air duct and air connector clearance. Flexible air ducts and air connectors shall be installed with a minimum clearance to an appliance as specified in the appliance manufacturer’s installation instructions.

M1601.6.2.7 Penetrations prohibited. Flexible air ducts and flexible air connectors shall not pass through any fire-resistance-rated assembly. Flexible air connectors shall not pass through any wall, floor or ceiling.

M1601.6.3 Fibrous glass duct, rigid. [No change to text. Renumber subsections.]

M1601.6.2 3 Fibrous glass duct, rigid. All joints, seams and duct wall penetrations including, but not limited to, the joints between sections of duct and the joints between duct and other distribution system components shall be mechanically attached and sealed using approved closure systems as specified in Section M1601.3.

M1601.6.3.1 Approved closure systems.    Add to read as shown.

M1601.6.23.1 Approved closure systems. The following closure systems are approved for rigid fibrous glass ducts when they conform to the approved closure and mechanical attachment requirements of Section M1601.3:

1.	 Heat-activated tapes.

2.	 Pressure-sensitive tapes.

3.	Mastics or mastic-plus-embedded fabric systems.

M1601.6.3.2 Mechanical fastening.    Add to read as shown.

M1601.6.23.2 Mechanical fastening. Attachments of ductwork to air handling equipment shall be by mechanical fasteners. Where access is limited, two fasteners on one side shall be acceptable when installed in accordance with Section M1601.3.6.

M1601.6.4 Flexible air duct systems, nonmetal.    Renumber as shown.

M1601.6.34 Flexible air duct systems, nonmetal. Flexible nonmetal ducts shall be joined to all other air distribution system components by either terminal or intermediate fittings. All duct collar fittings shall have a minimum 5/8 inch (16 mm) integral flange for sealing to other components and a minimum 3-inch (76 mm) shaft for insertion into the inner duct core.

Flexible ducts having porous inner cores shall not be used.

Exception: Ducts having a nonporous liner between the porous inner core and the outer jacket. Fastening and sealing requirements shall be applied to such intermediate liners.

All joints of flexible ducts to fittings and fittings to other air distribution system components shall be mechanically attached and sealed as specified in Sections M1601.6.34.1 through M1601.6.34.6.

M1601.6.4.1 Duct core to duct fitting, mechanical attachment.   Renumber as shown.

M1601.6.34.1 Duct core to duct fitting, mechanical attachment. The reinforced core shall be mechanically attached to the duct fitting by a drawband installed directly over the wire-reinforced core and the duct fitting. The duct fitting shall extend a minimum of 2 inches (51 mm) into each section of duct core. When the flexible duct is larger than 12 inches (305 mm) in diameter or the design pressure exceeds 1 inch water gauge, the drawband shall be secured by a raised bead or indented groove on the fitting.

M1601.6.4.2 Duct core to duct fitting, approved closure systems.    Renumber as shown.

M1601.6.34.2 Duct core to duct fitting, approved closure systems. The reinforced lining shall be sealed to the duct fitting using one of the following sealing materials which conforms to the approved closure and mechanical attachment requirements of Section M1601.3:

1.	Gasketing.

2.	Mastic, mastic-plus-embedded fabric or mastic ribbons.

3.	Pressure-sensitive tape.

4.	 Aerosol sealants, provided that their use is consistent with UL 181.

M1601.6.4.3 Duct outer jacket to duct collar fitting.    Add to read as shown.

M1601.6.34.3 Duct outer jacket to duct collar fitting. The outer jacket of a flexible duct section shall be secured at the juncture of the air distribution system component and intermediate or terminal fitting in such a way as to prevent excess condensation. The outer jacket of a flexible duct section shall not be interposed between the flange of the duct fitting and the flexible duct, rigid fibrous glass duct board, or sheet metal to which it is mated.

M1601.6.4.4 Duct collar fitting to rigid duct, mechanical attachment.    Renumber as shown.

M1601.6.34.4 Duct collar fitting to rigid duct, mechanical attachment. The duct collar fitting shall be mechanically attached to the rigid duct board or sheet metal by appropriate mechanical fasteners, either screws, spin-in flanges, or dovetail flanges.

M1601.6.4.5 Duct collar fitting to rigid duct, approved closure systems.    Renumber as shown.

M1601.6.34.5 Duct collar fitting to rigid duct, approved closure systems. The duct collar fitting’s integral flange shall be sealed to the rigid duct board or sheet metal using one of the following closure systems/materials which conforms to the approved closure and mechanical attachment standards of Section M1601.3:

1.Gasketing.

2.Mastic or mastic-plus-embedded fabric.

3.Mastic ribbons when used to attach a duct collar to sheet metal.

4.Pressure-sensitive tape.

5.Aerosol sealants, provided that their use is consistent with UL 181.

M1601.6.4.6 Flexible duct installation and support.    Renumber as shown.

M1601.6.34.6 Flexible duct installation and support. Flexible ducts shall be configured and supported so as to prevent the use of excess duct material, prevent duct dislocation or damage, and prevent constriction of the duct below the rated duct diameter in accordance with the following requirements:

1.	Ducts shall be installed fully extended. The total extended length of duct material shall not exceed 5 percent of the minimum required length for that run.

2.	Bends shall maintain a center line radius of not less than one duct diameter.

3.	Terminal devices shall be supported independently of the flexible duct.

4.	 Horizontal duct shall be supported at intervals not greater than 5 feet (1524 mm). Duct sag between supports shall not exceed 1/2 inch (12.7 mm) per foot of length. Supports shall be provided within 1½ feet (457 mm) of intermediate fittings and between intermediate fittings and bends. Ceiling joists and rigid duct or equipment may be considered to be supports.

5.	Vertical duct shall be stabilized with support straps at intervals not greater than 6 feet (1829 mm).

6.	Hangers, saddles and other supports shall meet the duct manufacturer’s recommendations and shall be of sufficient width to prevent restriction of the internal duct diameter. In no case shall the material supporting flexible duct that is in direct contact with it be less than 1½ inches (38 mm) wide.

M1601.7 Terminal and intermediate fittings.    Add to read as shown.

M1601.7 Terminal and intermediate fittings. All seams and joints in terminal and intermediate fittings, between fitting subsections and between fittings and other air distribution system components or building components shall be mechanically attached and sealed as specified in Section M1601.7.1 or Section M1601.7.2.

M1601.7.1 Fittings and joints between dissimilar duct types, approved closure systems.    Add to read as shown.

M1601.7.1 Fittings and joints between dissimilar duct types, approved closure systems. Approved closure systems shall be as designated by air distribution system component material type in Section M1601.3.

Exception: When the components of a joint are fibrous glass duct board and metal duct, including collar fittings and metal equipment housings, the closure systems approved for fibrous glass duct shall be used.

M1601.7.2 Terminal fittings and air ducts to building envelope components, approved closure systems.    Add to read as shown.

M1601.7.2 Terminal fittings and air ducts to building envelope components, approved closure systems. Terminal fittings and air ducts which penetrate the building envelope shall be mechanically attached to the structure and sealed to the envelope component penetrated and shall use one of the following closure systems/materials which conform to the approved closure and mechanical application requirements of Section M1601.3:

1.	Mastics or mastic-plus-embedded fabrics.

2.        Gaskets used in terminal fitting/grille assemblies which compress the gasket material between the fitting and the wall, ceiling or floor sheathing.

M1601.8 Air-handling units.    Add to read as shown.

M1601.8 Air-handling units. All air-handling units shall be mechanically attached to other air distribution system components. Air-handling units located outside the conditioned space shall be sealed using approved closure systems conforming to the approved closure and M1601.5.1 and the mechanical application requirements of Section M1601.3. See Section M1305.1.3.

M1601.8.1 Approved closure systems.    Add to read as shown.

M1601.8.1 Approved closure systems. Systems conforming to the product and application standards of Section M1601.3 may be used when sealing air-handling units.

M1601.9 Cavities of the building structure.    Add to read as shown.

M1601.9 Cavities of the building structure.  Cavities in framed spaces, such as dropped soffits and walls, shall not be used to deliver air from or return air to the conditioning system unless they contain an air duct insert which is insulated in accordance with Table N1110.ABC.2.1 13-610.1.ABC.2.1 of Chapter 13 of the Florida Building Code, Building and constructed and sealed in accordance with the requirements of Section M1601.3 appropriate for the duct materials used.

Exception: Return air plenums.

Cavities designed for air transport such as mechanical closets, chases, air shafts, etc., shall be lined with an air barrier and sealed in accordance with Section M1601.10 and shall be insulated in accordance with Table N1110.ABC.2.1 13-610.1.ABC.2.1 of Chapter 13 of the Florida Building Code, Building.

Building cavities which will be used as return air plenums shall be lined with a continuous air barrier made of durable nonporous materials. All penetrations to the air barrier shall be sealed with a suitable long-life mastic material.

Exception: Surfaces between the plenum and conditioned spaces from which the return/mixed air is drawn.

Building cavities beneath a roof deck that will be used as return air plenums shall have an insulated roof with the insulation having an R-value of at least R-19.

M1601.10 Mechanical closets.    Add to read as shown.

M1601.10 Mechanical closets. The interior surfaces of mechanical closets shall be sheathed with a continuous air barrier as specified in Section M1601.10.1 and shall be sealed with approved closure systems as specified in Section M1601.10.2. All joints shall be sealed between air barrier segments and between the air barriers of walls and those of the ceiling, floor and door framing. All penetrations of the air barrier including, but not limited to, those by air ducts, plenums, pipes, service lines, refrigerant lines, electrical wiring, and condensate drain lines shall be sealed to the air barrier and approved closure systems.

Exception: Air passageways into the closet from conditioned space that are specifically designed for return air flow.

Through-wall, through-floor and through-ceiling air passageways into the closet shall be framed and sealed to form an airtight passageway using approved air duct materials and approved closure systems.

Duct penetrations through any part of the ceiling, walls or floor of a mechanical closet shall have sufficient space between surrounding ceiling, walls or floor and any duct or plenum penetration to allow for sealing of the penetration and inspection of the seal.

Clothes washers, clothes dryers, combustion water heaters and atmospheric combustion furnaces shall not be located in mechanical closets used as return air plenums.

M1601.10.1 Approved air barriers.    Add to read as shown.

M1601.10.1 Approved air barriers. The following air barriers are approved for use in mechanical closets:

1.	One-half inch (12.7 mm) thick or greater gypsum wallboard, taped and sealed.

2.	Other panelized materials having inward facing surfaces with an air porosity no greater than that of a duct product meeting Section 22 of UL 181 which are sealed on all interior surfaces to create a continuous air barrier.

M1601.10.2 Approved closure systems.    Add to read as shown.

M1601.10.2 Approved closure systems. The following closure systems are approved for use in mechanical closets:

1. Gypsum wallboard joint compound over taped joints between gypsum wallboard panels.

2. Sealants complying with the product and application standards of Sec. M1601.6.3.1 for fibrous glass ductboard;

3. A suitable long-life caulk or mastic compliant with the locally adopted mechanical code for all applications.

M1601.11 Enclosed support platforms.    Add to read as shown.

M1601.11 Enclosed support platforms. Enclosed support platforms located between the return air inlet(s) from conditioned space and the inlet of the air handling unit or furnace, shall contain a duct section constructed entirely of rigid metal, rigid fibrous glass duct board, or flexible duct which is constructed and sealed according to the respective requirements of Section M1601.3 and insulated according to the requirements of Section N1110 13-610 of Chapter 13 of the Florida Building Code, Building.

The duct section shall be designed and constructed so that no portion of the building structure, including adjoining walls, floors and ceilings, shall be in contact with the return air stream or function as a component of this duct section.

The duct section shall not be penetrated by a refrigerant line chase, refrigerant line, wiring, pipe or any object other than a component of the air distribution system.

Through-wall, through-floor and through-ceiling penetrations into the duct section shall contain a branch duct which is fabricated of rigid fibrous glass duct board or rigid metal and which extends to and is sealed to both the duct section and the grille side wall surface. The branch duct shall be fabricated and attached to the duct insert in accordance with Section M1601.5 or Section M1601.6.23, respective to the duct type used.

Delete Sections M1601.12 through M1601.17 of the ’04 FBC-R.

M1602.4 Balanced return air.    Add to read as shown.

M1602.4 Balanced return air.  Restricted return air occurs in buildings when returns are located in central zones and closed interior doors impede air flow to the return grill or when ceiling spaces are used as return plenums and fire walls restrict air movement from one portion of the return plenum to another. Provisions shall be made in residential buildings to avoid unbalanced air flows and pressure differentials caused by restricted return air. Pressure differentials across closed doors where returns are centrally located shall be limited to 0.01 inch WC (2.5 pascals) or less. Pressure differentials across fire walls in ceiling space plenums shall be limited to 0.01 inch WC (2.5 pascals) by providing air duct pathways or air transfer pathways from the high pressure zone to the low zone.

Exceptions:

1.	Transfer ducts may achieve this by increasing the return transfer one and one half times the cross sectional area (square inches) of the supply duct entering the room or space it’s serving and the door having at least an unrestricted 1 inch (25 mm) undercut to achieve proper return air balance.

2.	Transfer grilles shall use 50 square inches (4.6 mm) (of grille area) to 100 cfm (0.05 m3/s) (of supply air) for sizing through-the-wall transfer grilles and using an unrestricted 1-inch (25 mm) undercutting of doors to achieve proper return air balance

3.	Habitable rooms only shall be required to meet these requirements for proper balanced return air excluding bathrooms, closets, storage rooms and laundry rooms, except that all supply air into the master suite shall be included.

Chapter 17, Combustion Air

Section M1701 General

M1701.6 Opening location.  Change to read as shown.

M1701.6 Opening location. Reserved. See Section R323.

Chapter 18, Chimneys and Vents. [No change.]

Section M1801 General

Add M1801.9 to read as shown.

M1801.9 Fireblocking.  Vent and chimney installations shall be fireblocked in accordance with Section R602.8.

Chapter 19, Special Fuel-Burning Equipment. [No change.]

Chapter 20, Boilers and Water Heaters

Section M2001 Boilers

M2001.4 Flood-resistant installation.    Change to read as shown.

M2001.4 Flood-resistant installation.  See Section R323.

Section M2005 Water Heaters

M2005.3 Electric water heaters.  Change to read as shown.

M2005.3 Electric water heaters. Electric water heaters shall also be installed in accordance with the applicable provisions of Chapter 33.

Section M2006 Pool Heaters

M2006.1 General.  Change to read as shown.

M2006.1 General. Pool and spa heaters shall be installed in accordance with the manufacturer’s installation instructions. Oil-fired pool heaters shall be tested in accordance with UL 726. Electric pool and spa heaters shall be tested in accordance UL 1261. See Section 13-612.1.ABC.2.3.2 of the Florida Building Code, Building.

Chapter 21, Hydronic Piping

Section M2101 Hydronic Piping Systems Installation

M2101.6 Drilling and notching.    Change to read as shown.

M2101.6 Drilling and notching. Wood-framed structural members shall be drilled, notched or altered in accordance with the provisions of Sections R502.2.5, R602.2.7, R602.2.7.1 and R802.2.4. Holes in cold-formed, steel-framed, load-bearing members shall only be permitted in accordance with Sections R506.2, R603.2 and R804.2. In accordance with the provisions of Sections R505.3.5, R603.3.4 and R804.3.5, cutting and notching of flanges and lips of cold-formed, steel-framed, load-bearing members shall not be permitted.

Chapter 22, Special Piping and Storage Systems

Section M2201 Oil Tanks

M2201.6 Flood-resistant installation.    Change to read as shown.

M2201.6 Flood-resistant installation. See Section R323.

Section M2203 Installation

M2203.5 Vent termination.    Change to read as shown.

M2203.5 Vent termination. Vent piping shall terminate outside of buildings at a point not less than 2 feet (610 mm), measured vertically or horizontally, from any building opening. Outer ends of vent piping shall terminate in a weather-proof cap or fitting having an unobstructed area at least equal to the cross-sectional area of the vent pipe, and shall be located sufficiently above the ground to avoid being obstructed.

Chapter 23, Solar Systems [No change.]

Part VI – Fuel Gas

Chapter 24, Fuel Gas

Change to read as shown.

The text of this chapter is excerpted from the 2003 edition of the Florida Building Code, Fuel Gas and has been modified where necessary to make such text conform to the scope of application of the Florida Residential Code for One- and Two-Family Dwellings. The section numbers appearing in parentheses after each section number represent the location of the corresponding text in the Florida Building Code, Fuel Gas.

Section G2403 General Definitions

G2403 Definitions.  Change to read as shown.

DESIGN FLOOD ELEVATION. See Section R323.

FLOOD HAZARD AREA. See Section R323.

REGULATOR. A device for controlling and maintaining a uniform gas supply pressure, either pounds to pounds, pounds-to-inches water column or inches-to-inches water column (appliance regulator).

Section G2404 (301) General

G2404.2 (301.1.1) Change to read as shown.

G2404.2 (301.1.1)   This code shall apply to the installation of fuel gas piping systems, fuel gas utilization equipment, and related accessories as follows:

1.	Coverage of piping systems shall extend from the point of delivery to the connections with gas utilization equipment (see “Point of delivery”).

2.	Systems with an operating pressure of 125 psig (862 kPa gauge) or less.

Piping systems for gas-air mixtures within the flammable range with an operating pressure of 10 psig (69 kPa gauge).

LP-gas piping systems with an operating pressure of 20 psig (140 kPa) or less.

3.	Piping systems requirements shall include design, materials, components, fabrication, assembly, installation, testing, inspection, operation and maintenance.

4.	Requirements for gas utilization equipment and related accessories shall include installation, combustion and ventilation air and venting.

This code shall not apply to the following:

1.	Portable LP-gas equipment of all types that are not connected to a fixed fuel piping system.

2.	Installation of farm equipment such as brooders, dehydrators, dryers and irrigation equipment.

3.	Raw material (feedstock) applications except for piping to special atmosphere generators.

4.	Oxygen-fuel gas cutting and welding systems.

5.	Industrial gas applications using gases such as acetylene and acetylenic compounds, hydrogen, ammonia, carbon monoxide, oxygen and nitrogen.

6.	Petroleum refineries, pipeline compressor or pumping stations, loading terminals, compounding plants, refinery tank farms and natural gas processing plants.

7.	Integrated chemical plants or portions of such plants where flammable or combustible liquids or gases are produced by chemical reactions or used in chemical reactions.

8.	LP-gas installations at utility gas plants.

9.	Liquefied natural gas (LNG) installations.

10.	Fuel gas piping in power and atomic energy plants.

11.	Proprietary items of equipment, apparatus, or instruments such as gas generating sets, compressors and calorimeters.

12.	LP-gas equipment for vaporization, gas mixing and gas manufacturing.

13.	Temporary LP-gas piping for buildings under construction or renovation that is not to become part of the permanent piping system.

14.	Installation of LP-gas systems for railroad switch heating.

15.	Installation of LP-gas and compressed natural gas (CNG) systems on vehicles.

16.	Gas piping, meters, gas pressure regulators, and other appurtenances used by the serving gas supplier in the distribution of gas, other than undiluted LP-gas.

17.	Building design and construction, except as specified herein.

G2404.7 (301.11) Flood hazard.  Change to read as shown.

G2404.7 (301.11) Flood hazard. See Section R323.

G2404.8 (301.12) Seismic resistance.  Change to read as shown.

G2404.8 (301.12) Seismic resistance. Reserved.

G2404.11 (301.7)  Fuel types.  Add to read as shown.

G2404.11 (301.7)  Fuel types. Fuel-fired appliances shall be designed for use with the type of fuel gas to which they will be connected and the altitude at which they are installed.  Appliances that comprise parts of the installation shall not be converted for the usage of a different fuel, except where approved and converted in accordance with the manufacturer’s instructions or the serving gas supplier.  The fuel gas input rate shall not be increased or decreased beyond the limit rating for the altitude at which the appliance is installed.

Section G2408 (305) Installation

G2408.2 (305.3) Water heaters installed in garages.  Change to read as shown.

G2408.2 (305.3) Water heaters installed in garages. Water heaters shall be installed in accordance with the manufacturer’s instructions which shall be available on the job site at the time of inspection.

Section G2410 Electrical

G2410.1 (309.1) Grounding.  Change to read as shown.

G2410.1 (309.1) Grounding. Each above-ground portion of a gas piping system upstream from the equipment shutoff valve shall be electrically continuous and bonded to any grounding electrode as defined by the Chapter 33 of this code.

Section G2412 General

G2412.2 (401.2) Liquefied petroleum gas storage.  Change to read as shown.

G2412.2 (401.2) Liquefied petroleum gas storage. The storage system (container, regulators, piping and all components upstream to the point of delivery) for liquefied petroleum gas shall be designed and installed in accordance with the Florida Fire Prevention Code and NFPA 58.

G2412.5 (401.5) Identification.  Change to read as shown.

G2412.5 (401.5) Identification. For other than black steel pipe, exposed piping shall be identified by a yellow label marked “Gas” in black letters. The marking shall be spaced at intervals not exceeding 5 feet (1524 mm). The marking shall not be required on pipe located in the same room as the equipment served.

Exception: This section shall only apply where other similar piping or tubing in the same general area as the gas lines, containing a different medium, could be confused with the gas lines.

Section G2415 Piping System Installation

G2415.14.3 (404.14.3) Change to read as shown.

G2415.14.3 (404.14.3) An insulated copper tracer wire or other approved conductor shall be installed adjacent to underground nonmetallic gas piping. Access shall be provided to the tracer wire or the tracer wire shall terminate above ground at each end of the nonmetallic gas piping. The tracer wire size shall not be less than 18 AWG and the insulation type shall be suitable for direct burial.

Section G2417 (406) Inspection, Testing and Purging

G2417.3.4 (406.3.4) Valve isolation.  Change to read as shown.

G2417.3.4 (406.3.4) Valve isolation.  Where the piping system is connected to equipment or components designed for operating pressures of less than the test pressure, such equipment or components shall be isolated from the piping system by disconnecting them and plugging or capping the outlet(s).

G2417.7.4 (406.7.4) Placing equipment in operation.  Change to read as shown.

G2417.7.4 (406.7.4) Placing equipment in operation. After the piping has been placed in operation, all equipment shall be placed in operation per its listing and the manufacturer’s instructions.

Section G2422 (411) Appliance Connections

G2422.1.4 (411.1.4) Outdoor appliance connectors.  Add to read as shown.

G2422.1.4 (411.1.4) Outdoor appliance connectors. Outdoor gas hose connectors are permitted to connect portable outdoor gas-fired equipment.  An equipment shutoff valve, a listed quick-disconnect device, or a listed gas convenience outlet shall be installed where the connector is attached to the supply piping and in such a manner as to prevent the accumulation of foreign matter.  Lengths shall not exceed 12 feet (3658 mm) and the connection shall only be made in the outdoor area where the equipment is to be used.

Part VII - Plumbing

Chapter 25, Plumbing Administration

Section P2502 Existing Plumbing Systems

P2502.1 Existing building sewers and drains.  Change to read as shown.

P2502.1 Existing building sewers and drains. See Florida Existing Building Code.

Section P2503 Inspection and Tests

P2503.4 Gravity sewer test.  Change to read as shown.

P2503.4 Gravity sewer test. Gravity sewer tests shall consist of plugging the end of the building sewer at the point of connection with the public sewer, completely filling the building sewer with water from the lowest to the highest point thereof, and maintaining such pressure for 15 minutes. The building sewer shall be water tight at all points.

P2503.5.1 Drainage and vent water test.  Change to read as shown.

P2503.5.1 Drainage and vent water test. A water test shall be applied to the drainage system either in its entirety or in sections. If applied to the entire system, all openings in the piping shall be tightly closed, except the highest opening, and the system shall be filled with water to point of overflow. If the system is tested in sections, each opening shall be tightly plugged except the highest openings of the section under test, and each section shall be filled with water, but no section shall be tested with less than a 5-foot (1524 mm) head of water. In testing successive sections, at least the upper 5 feet (1524 mm) of the next preceding section shall be tested so that no joint or pipe in the building, except the uppermost 5 feet (1524 mm) of the system, shall have been submitted to a test of less than a 5-foot (1524 mm) head of water. The water shall be kept in the system, or in the portion under test, for at least 15 minutes before inspection starts. The system shall then be tight at all points.

P2503.7.2 Testing.  Change to read as shown.

P2503.7.2 Testing.  Reduced pressure principle backflow preventers, double check valve assemblies, double-detector check valve assemblies and pressure vacuum breaker assemblies shall be tested at the time of installation, immediately after repairs or relocation.

Chapter 26, General Plumbing Requirements

Section P2601 General

P2601.3 Floodplain management construction standards.  Change to read as shown.

P2601.3 Floodplain management construction standards. This code specifically defers to the authority granted to local government by Title 44 CFR, sections 59 and 60. This code is not intended to supplant or supercede local ordinances adopted pursuant to that authority, nor are local floodplain management ordinances to be deemed amendments to the code.

Section P2603 Structural and Piping Protection

P2603.2 Drilling and notching.  Change to read as shown.

P2603.2 Drilling and notching. Wood-framed structural members shall not be drilled, notched or altered in any manner except as provided in Sections R502.2.5, R602.1.3.1, R602.2.7, R802.2.6 and R802.2.6.1. Holes in cold-formed steel-framed load-bearing members shall only be permitted in accordance with Sections R506.2, R603.2 and R804.2. In accordance with the provisions of Sections R603.3.4 and R804.3.5 cutting and notching of flanges and lips of cold-formed steel-framed load-bearing members shall not be permitted.

P2603.6 Freezing.  Change to read as shown.

P2603.6 Freezing. Where the design temperature is less than 32°F (0°C), a water, soil or waste pipe shall not be installed outside of a building, in attics or crawl spaces, or be concealed in outside walls in any location subjected to freezing temperatures, unless adequate provision is made to protect them from freezing by insulation or heat or both. A water service pipe shall be installed not less than 12 inches (305 mm) deep or less than 6 inches (152 mm) below the frost line.

Chapter 27, Plumbing Fixtures

Section P2709 Shower Receptors

P2709.2 Lining required.  Change to read as shown.

P2709.2 Lining required. The adjoining walls and floor framing, enclosing on-site built-up shower receptors shall be lined with sheet lead, copper or a plastic liner material that complies with ASTM D 4068 or ASTM D 4551. The lining material shall extend not less than 3 inches (76 mm) beyond or around the rough jambs and not less than 3 inches (76 mm) above finished thresholds. Hot mopping shall be permitted in accordance with Section P2709.2.3.

Exception:

1. Floor surfaces under showerheads provided for rinsing laid directly on the ground.

2. Shower compartments where the finished shower drain is depressed a minimum of 2 inches (51 mm) below the surrounding finished floor on the first floor level and the shower recess is poured integrally with the adjoining floor.

Chapter 28, Water Heaters

Section P2801 General

P2801.5 Required pan.  Change to read as shown.

P2801.5 Required pan. Where water heaters or hot water storage tanks are installed above the ground floor space, or in attics or ceiling areas, or within the habitable space, the tank or water heater shall be installed in a galvanized steel or other metal pan of equal corrosion resistance having a minimum thickness of 24 gage, 0.0276 inch (0.70 mm). Electric water heaters shall be installed in a metal pan as herein required or in a high-impact plastic pan of at least 0.0625 inch (1.59 mm) thickness.

P2801.6 Water heaters installed in garages.  Change to read as shown.

P2801.6 Water heaters installed in garages. Water heaters shall be installed in accordance with the manufacturer’s installation instructions which shall be available on the job site at the time of inspection.

Section P2803 Relief Valves

P2803.6.1 Requirements for discharge pipe.  Change to read as shown.

P2803.6.1 Relief outlet waste. The outlet of a pressure, temperature or other relief valve shall not be directly connected to the drainage system.

P2803.6.1.1 Discharge. The relief valve shall discharge full size to a safe place of disposal such as the floor, water heater pan, outside the building or an indirect waste receptor. The discharge pipe shall not have any trapped sections and shall have a visible air gap or air gap fitting located in the same room as the water heater. The discharge shall be installed in a manner that does not cause personal injury to occupants in the immediate area or structural damage to the building.

Chapter 29, Water Supply and Distribution

Section P2903 Water-supply System

P2903.1 Water supply system design criteria.  Change to read as shown.

P2903.1 Water supply system design criteria. The water service and water distribution systems shall be designed and pipe sizes shall be selected such that under conditions of peak demand, the capacities at the point of outlet discharge shall not be less than shown in Table P2903.1. Table P2903.2b shall be permitted to be used to size the water service or water distribution system.

Table P2903.2b Minimum Water Service Size.  Add to read as shown.

TABLE P2903.2b MINIMUM WATER SERVICE SIZE

| NO. OF FIXTURE UNITS FLUSH TANK WCb | DIAMETER OF WATER PIPEc | RECOMMENDED METER SIZE (inches) d | APPROX. PRESSURE LOSS METER + 100’ PIPE (psi)e | NO. OF FIXTURE UNITS FLUSH VALVE WCb |
| --- | --- | --- | --- | --- |
| 18 | ¾ | 5/8 | 30 | — |
| 19-55 — | 1 1 | 1 1 | 30 30 | — 9 |
| 56-58 — | 1¼ 1¼ | 1 1 | 30 30 | — 10-20 |
| 86-225 — | 1½ 1½ | 1½ 1½ | 30 30 | — 21-77 |
| 226-350 — | 2 2 | 1½ 1½ | 30 30 | — 78-175 |
| 351-550 — | 2 2 | 2 2 | 30 30 | — 176-315 |
| 551-640 — | 2½ 2½ | 2 2 | 30 30 | — 316-392 |
| 641-1340 — | 3 3 | 3 3 | 22 22 | — 393-940 |

a. Table is applicable for both copper and plastic water piping.

b. See Table 709.1 for fixture unit values.

c. Minimum water service shall be ¾” to control valve.

d. All secondary submeters and backflow assemblies shall be at least the same size as the line in which they are installed.

e. Table based on minimum water main pressure of 50 psi.

Chapter 30, Sanitary Drainage

P3001.2 Protection from freezing.  Change to read as shown.

P3001.2 Protection from freezing. Where the design temperature is less than 32°F (0°C), a water, soil or waste pipe shall not be installed outside of a building, in attics or crawl spaces, or be concealed in outside walls in any location subjected to freezing temperatures, unless adequate provision is made to protect them from freezing by insulation or heat or both. Water service pipe shall be installed not less than 12 inches (305 mm) deep or less than 6 inches (152 mm) below the frost line.

P3001.3 Floodplain management construction standards.  Change to read as shown.

P3001.3 Floodplain management construction standards. This code specifically defers to the authority granted to local government by Title 44 CFR, sections 59 and 60. This code is not intended to supplant or supercede local ordinances adopted pursuant to that authority, nor are local floodplain management ordinances to be deemed amendments to the code.

Section P3003 Joints and Connections

P3003.19  Floor and wall drainage connections.  Change to read as shown.

P3003.19  Floor and wall drainage connections. Connections between the drain and the floor outlet plumbing fixtures shall be made with a floor flange.  The flange shall be attached to the drain and anchored to the structure. Connections between the drain and wall-hung water closets shall be made with an approved extension nipple or horn adaptor. The water closet shall be bolted to the hanger with corrosion resistant bolts or screws. Joints shall be sealed with an approved elastometric gasket or setting compound conforming to FS TT-P-1536a.

P3003.19.1 Floor flanges.  Add to read as shown.

P3003.19.1 Floor flanges. Floor flanges for water closets or similar fixtures shall not be less than 1/8 inch (3.2 mm) thick for brass, ¼ inch (6.4 mm) thick for plastic and ¼ thick (6.4 mm) thick and not less than a 2-inch (51 mm) calking depth for cast-iron or galvanized malleable iron. Floor flanges of hard lead shall weigh not less than 1 pound 9 ounces (0.7 kg) and shall be composed of lead alloy with not less than 7.75 percent antimony by weight. Closet screws and bolts shall be of brass. Flanges shall be secured to the building structure with corrosion-resistant screws or bolts.

P3003.19.2 Securing floor and outlet fixtures. Add to read as shown.

P3003.19.2 Securing floor and outlet fixtures. Floor outlet fixtures shall be secured to the floor or floor flanges by screws or bolts of corrosion-resistant material.

Chapter 31, Vents

Section P3101 Vent Systems

P3101.5 Floodplain management construction standards.  Change to read as shown.

P3101.5 Floodplain management construction standards. This code specifically defers to the authority granted to local government by Title 44 CFR, Sections 59 and 60. This code is not intended to supplant or supercede local ordinances adopted pursuant to that authority, nor are local floodplain management ordinances to be deemed amendments to the code.

Section P3103 Vent Terminals

P3103.1 Roof extension.  Change to read as shown.

P3103.1 Roof extension. All open vent pipes which extend through a roof shall be terminated at least 6 inches (152 mm) above the roof except that where a roof is to be used for any purpose other than weather protection, the vent extensions shall be run at least 7 feet (2134 mm) above the roof.

P3103.2 Freezing.  Change to read as shown.

P3103.2 Freezing. Where the design temperature is less than 32° F (0°C), a water, soil or waste pipe shall not be installed outside of a building, in attics or crawl spaces, or be concealed in outside walls in any location subjected to freezing temperatures, unless adequate provision is made to protect them from freezing by insulation or heat or both. Water service pipe shall be installed not less than 12 inches (305 mm) deep or less than 6 inches (152 mm) below the frost line.

Chapter 32, Traps [No change.]

Part VIII Electrical

Chapter 33, General Requirements

Section E3301 General

E3301.1 Applicability.  Change to read as shown.

E3301.1 Applicability. The provisions of NFPA 70A, National Electrical Code Requirements for One- and Two-Family Dwellings, except article 80, shall establish the general scope of the electrical system and equipment requirements of this code. NFPA 70A, National Electrical Code Requirements for One- and Two-Family Dwellings covers those wiring methods and materials most commonly encountered in the construction of one- and two-family dwellings and structures regulated by this code. Other wiring methods, materials and subject matter covered in the NFPA 70 are also allowed by this code.

Section E3302 Building Structure Protection

E3302 Bonding Metal Framing Members.  Change to read as shown.

E3302 Bonding Metal Framing Members.  Metal framing members. Metal framing members shall be bonded to the equipment grounding conductor for the circuit that may energize the framing and be sized in accordance with the National Electric Code Table 250.122. For the purpose of this section, a grounded metal outlet box attached to the framing shall be permitted.

Section E3303Cross references.  Change to read as shown.

Section E3303 Cross references.

E33031.  Add to read as shown.

E3303.1 See Table E3303, Cross References Defining Electrical Requirements of the Florida Building code.

Table E3303 Cross References Defining Electrical Requirements of the Florida Building Code.

Add to read as shown.  [See the 2004 FBC.]

Table E3303 Cross references Defining Electrical Requirements of the Florida Building Code.

Section E3304 General Equipment Requirements.  Change to read as shown.

Section E3304 General Equipment Requirements.  Reserved.

Section E3305 Equipment Location and Clearances.  Change to read as shown.

Section E3305 Equipment Location and Clearances.  Reserved.

Section E3306 Electrical Conductors and Connections.  Change to read as shown.

Section E3306 Electrical Conductors and Connections.  Reserved.

Section E3307 Conductor and Terminal Identification.  Change to read as shown.

Section E3307 Conductor and Terminal Identification. Reserved.

Chapter 34   Electrical Definitions.  Change to read as shown.

Chapter 34   Electrical Definitions.  Reserved

Chapter 35   Services.  Change to read as shown.

Chapter 35   Services.  Reserved

Chapter 36   Branch Circuit and Feeder Requirements.  Change to read as shown.

Chapter 36   Branch Circuit and Feeder Requirements.  Reserved

Chapter 37   Wiring Methods.  Change to read as shown

Chapter 37   Wiring Methods.  Reserved

Chapter 38  Power And Lighting Distribution.  Change to read as shown

Chapter 38  Power And Lighting Distribution.  Reserved

Chapter 39 Devices and Luminaires.  Change to read as shown

Chapter 39 Devices and Luminaires.  Reserved

Chapter 40 Appliance Installation.  Change to read as shown

Chapter 40 Appliance Installation.  Reserved

Chapter 41 Swimming Pools.  Change to read as shown

Chapter 41 Swimming Pools.  Reserved.

Section E4101 General

Section R4101.1 Definitions.  Change to read as shown.

Section R4101.1 Definitions - General

Section R4101.2 Definitions.  Add to read as shown.

Section R4101.2 Definitions

R4101.2 Definitions.

MAIN SUCTION OUTLET.  Outlet at the deep portion of the pool through which the main flow of water leaves the pool when being drained or circulated.   [Mod 2701]

Section R4101.3 Mechanical requirements.  Add to read as shown.

Section R4101.3 Mechanical requirements

R4101.3 Mechanical requirements. Unless otherwise specified in this code, all piping, equipment and materials used in the plumbing process piping system of swimming pools that are built in place shall conform to the Florida Building Code, Plumbing. [Mod 2703r]

Section R4101.4 Approvals.  Add to read as shown.

Section R4101.4 Approvals

Section R4101.5 Alternate materials and methods of construction.  Add to read as shown.

Section R4101.5 Alternate materials and methods of construction

Section R4101.6 Engineering design.  Add to read as shown.

Section R4101.6 Engineering design

R4101.6.1  Conformance standard.  Design, construction and workmanship shall be in conformity with the requirements of ANSI/NSPI 3; ANSI/NSPI 4; ANSI/NSPA 5; and ANSI/NSPI 6; and ANSI/APSP 7. [Mod 2705]

R4101.6.3  Water velocity.  Pool piping shall be designed so the water velocity will not exceed 10 feet per second (3048 mm/s) for pressure piping and 8 feet per second (2438 mm/s) for suction piping, except that the water velocity shall not exceed 8 feet per second (2438 mm/s) in copper tubing.  Main suction outlet velocity must comply with ANSI/APSP 7. [Mod 2707]

Exception:  Jet inlet fittings shall not be deemed subject to this requirement. [Mod 2706]

R4101.6.6 Entrapment protection for suction inlets. outlets shall be installed in accordance with requirements of ANSI/APSP 7.

R4101.6.6.1 Location.  Suction inlets shall be provided and arranged to produce circulation throughout the pool or spa.

R4101.6.6.2 Testing and certification.  All pool and spa suction inlets shall be provided with a cover that has been tested and accepted by a recognized testing facility and comply with ANSI/ASME A112.19.8M, Suction Fittings for Use in Swimming Pools, Spas, Hot Tubs, and Whirlpool Bathtub Appliances.

Exceptions:

1. Surface skimmers.

2. Grate or grates having a minimum area of 144 square inch (.09 m2) or greater.

R4101.6.6.3 Entrapment avoidance. All pools and spas shall have a backup system which shall provide vacuum protection should grate covers become missing or inoperative with respect to their approved use.  Vacuum protection devices shall consist of one of the following:

- Approved Safety Vacuum Release System (SVRS).

- Approved vent piping.

- Other approved devices or means.

R4101.6.6.4 Suction inlets per pump. A minimum of two suction inlets shall be provided for each pump in the suction inlet system, separated by a minimum of 3 feet (914 mm) or located on two different planes; i.e., one on the bottom and one on the vertical wall, or one each on two separate vertical walls.  These suction inlets shall be plumbed such that water is drawn through them simultaneously though a common line to the pump.  When a skimmer is used in conjunction with a single main outlet to meet the requirements of this section, the common suction line must be in compliance with Section 424.2.6.6.3 such that a vacuum cannot be drawn on any single main outlet or skimmer.

R4101.6.6.5 Cleaner fittings. Where provided, the vacuum or pressure cleaner fitting(s) shall be located in an accessible position(s) at least 6 inches (152 mm) and not greater than 12 inches (305 mm) below the minimum operating water level or as an attachment to the skimmer(s).  All cleaner suction inlets shall be protected by an approved, permanently installed, self-closing flapper assembly.  [Mod 2709]

Section R4101.7 Pumps.  Add to read as shown.

Section R4101.7 Pumps

Section R4101.8 Valves.  Add to read as shown.

Section R4101.8 Valves

R4101.8 Valves.

[R4101.8.1 – R4101.8.3 No change]

R4101.8.4 Combination valves.  Combination valves shall require approval of the administrative authority prior to their installation be installed per manufacturer’s installation instructions. [Mod 2711r]

Section R4101.9 Water supply.  Add to read as shown.

Section R4101.9 Water supply

Section R4101.10 Waste water disposal.  Add to read as shown.

Section R4101.10 Waste water disposal

Section R4101.11 Separation tank.  Add to read as shown.

Section R4101.11 Separation tank

Section R4101.12 Tests.  Add to read as shown.

Section R4101.12 Tests

Section R4101.13 Drain piping.  Add to read as shown.

Section R4101.13 Drain piping

Section R4101.14 Water heating equipment.  Add to read as shown.

Section R4101.14 Water heating equipment

Section R4101.15 Gas piping.  Add to read as shown.

Section R4101.15 Gas piping

Section R4101.16 Electrical.  Add to read as shown.

Section R4101.16 Electrical

Section R4101.17 Residential swimming barrier requirement.  Add to read as shown.

Section R4101.17 Residential swimming barrier requirement

Section R4101.18 Ladders and steps.  Add to read as shown.

Section R4101.18 Ladders and steps

Section R4101.19 Final inspection.  Add to read as shown.

Section R4101.19 Final inspection

R4101.19 Final Inspection.  All swimming pool installations must be completed. The pool shall be completely filled with water and in operation before final inspection. Final electrical, and barrier code, inspection shall be completed prior to filling the pool with water.

Exception:  Vinyl liner and fiberglass pools are required to be filled with water upon installation. [Mod 2719r]

Section R4101.20 Filters.  Add to read as shown.

Section R4101.20 Filters

R4101.20 Filters.  The entire design of matched Ccomponents shall have sufficient capacity to provide a complete turnover of pool water in 12 hours or less. [Mod 2721r]

Section R4101.21 Pool fittings.  Add to read as shown.

Section R4101.21 Pool fittings

Section R4101.22 Equipment foundations and enclosures.  Add to read as shown.

Section R4101.22 Equipment foundations and enclosures

Section R4101.23 Accessibility and clearances.  Add to read as shown.

Section R4101.23 Accessibility and clearances

Section E4102 Wiring Methods for Pools, Spas, Hot Tubs and Hydromassage Bathtubs.  Change to read as shown.

Section E4102 Wiring Methods for Pools, Spas, Hot Tubs and Hydromassage Bathtubs.  Reserved.

Section E4103 Equipment Location and Clearances.  Change to read as shown.

Section E4103 Equipment Location and Clearances.  Reserved.

Section E4104 Bonding  Change to read as shown.

Section E4104 Bonding  Reserved.

Section E4105 Grounding  Change to read as shown.

Section E4105 Grounding  Reserved.

Section E4106 Equipment Installation  Change to read as shown.

Section E4106 Equipment Installation  Reserved.

Section E4107 Storable Swimming Pools  Change to read as shown.

Section E4107 Storable Swimming Pools  Reserved.

Section E4108 Spas and Hot Tubs  Change to read as shown.

Section E4108 Spas and Hot Tubs  Reserved.

Section E4109 Hydromassage Bathtubs  Change to read as shown.

Section E4109 Hydromassage Bathtubs  Reserved.

Chapter 42 Class 2 Remote-Control, signaling and Power-Limited Circuits.

Chapter 42 Class 2 Remote-Control, signaling and Power-Limited Circuits.  Change to read as shown.

Chapter 42 Class 2 Remote-Control, signaling and Power-Limited Circuits. Reserved

Part IX – Referenced Standards

Chapter 43 Referenced Standards

CHAPTER 43

[Add referenced standards from Subchapter 3 of Chapter 13 of the FBC-Building to Chapter 43 of the FBC-Residential volume as below:]

AAMA	American Architectural Manufacturers Association

1827 Walden Office Square, Suite 104

Schaumburg, IL 60173-4268

Standard reference number	Title				Referenced in Code Section Number

101/I.S.2/A440-05   Specification for Windows, Doors and Unit Skylights			N1106.ABC.1.1

ACCA	Air Conditioning Contractors of America

2800 Shirlington Road, Suite 300

Arlington, VA 22206

Standard reference number	Title	Referenced in Code Section Number

ACCA Manual D-1995	Residential Duct Systems						N1110.ABC.1

ACCA Manual J-2003	Residential Load Calculation, Eighth Edition with posted

updates/errata.							N1107.ABC.1

ADC	Air Diffusion Council

1000 E. Woodfield Rd., Suite 102

Schaumburg, IL 60173-5921

Standard reference number	Title				Referenced in Code Section Number

ADC 2003 		Flexible Duct Performance & Installation  Standards,

Fourth Edition   						N1110.ABC.2.2

AHAM	Association of Home Appliance Manufacturers

20 North Wacker Dr.

Chicago, IL 60606

Standard reference number	Title				Referenced in Code Section Number

ANSI/AHAM RAC1-03		Room Air Conditioners.				Table 1107.ABC.3.2D

ANSI	American National Standards Institute, Inc.

25 West 43rd Street, Fourth Floor

New York, N.Y.10036.

Standard reference number	Title				Referenced in Code Section Number

ANSI A112.18.1M-1999	Finished and Rough Brass Plumbing Fixture Fittings	N1108.A.3.5, N1112.ABC.2.4

ANSI Z21.10.3-2004	Gas Water Heater, Volume 3, Storage, with Input Ratings above      N1112.ABC.3.1.2,

75,000 Btu/h, Circulating and Instantaneous Water Heaters	      Appendix G C4.3.1.3

ANSI Z21.40.4-96(with Addenda 1)  Performance Testing and Rating of Gas-Fired,

Air-Conditioning and Heat Pump Appliances 		   N1107.A.1

ANSI Z21.47a-04	Gas-Fired Central Furnaces				Table N1108.ABC.3.2E

ANSI Z21.56-2006	Gas-Fired Pool Heaters					N1112.ABC.2.3.1

ANSI Z83.8/CGA 2.6-06	Gas Unit Heaters and Gas-Fired Duct Furnaces.		Table N1108.1.ABC.3.2E

CGA 2.6

ARDM	Association of Refrigerant Desuperheater Manufacturers, Inc,

c/o Doucette Industries

4151 112 Terrace N

Clearwater, FL 33762

Standard reference number	Title	Referenced in Code Section Number

ARDM-88	Residential Heat Recovery Installation Guide, First Edition		N1100.3.3

ARI	Air-Conditioning and Refrigeration Institute

Suite 200

4100 North Fairfax Drive

Arlington, VA 22203

Standard reference number	Title	Referenced in Code Section Number

ARI Std. 210/240-2006	Unitary Air-Conditioning and Air-Source Heat Pump Equipment											Tables N1107.ABC.3.2A, N1107.ABC.3.2B

ARI Std. 310/380-2004	Packaged Terminal Air-Conditioners and Heat Pumps	Tables N1107.ABC.3.2D

ARI Std. 340/360-2004	Commercial and Industrial Unitary Air-Conditioning and Heat

Pump Equipment				Tables N1107.ABC.3.2A, N1107.ABC.3.2B

ARI Std. 365-2002	Commercial and Industrial Unitary Air-Conditioning Condensing Units

Tables N1107.ABC.3.2A

ARI Std. 390-2003	Single Packaged Vertical Air Conditioners and Heat Pumps	Table N1107.ABC.3.2D

ARI Std. 1160-2004	Performance Rating of Heat Pump Pool Heaters		N1112.ABC.2.3.4

ASHRAE	American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc.

1791 Tullie Circle, NE

Atlanta, GA 30329-2305

Standard reference number	Title	Referenced in Code Section Number

ANSI/ASHRAE Std. 93-1986	Methods of Testing to Determine the Thermal Performance

(RA91)  			of  Solar Collectors					N1112.ABC.3.4

ANSI/ASHRAE 119-1988		Air Leakage Performance for Detached Single-Family

(RA 94)				Residential Buildings					Table N1113A.1-1

ANSI/ASHRAE 124-1991		Methods of Testing for Rating Combination Space-Heating

and Water-Heating Appliances 		N1108.A.2.5, Appendix G C4.3.2.1

ANSI/ASHRAE 137-1995 (RA2001)Methods of Testing for Efficiency of Space-conditioning/ Water-Heating

Appliances That Include a Desuperheater Water Heater	Appendix G C6.2.2.3

ANSI/ASHRAE 152-2004      	Method of Test for Determining the Design and Seasonal	 N1110.A.2

Efficiencies of Residential Thermal Distribution Systems	Table N1113A.1-1

ASHRAE Handbook 2005		Fundamentals, 2005				N1100.7.3, Table N1113A.1-1

ASHRAE, 1998			Cooling and Heating Load Calculation Principles		N1107.ABC.1

ASTM	ASTM International

100 Barr Harbor Dr

West Conshohocken, PA 19428-2959

Standard reference number	Title	Referenced in Code  Section Number

ASTM C36/C36M-03	Standard Specification for Gypsum Wallboard			N1100.7

ASTM C 177-04		Test Method for Steady-State Heat Flux Measurements and Thermal

Transmission Properties by Means of the Guarded-Hot-Plate Apparatus	       N1110.ABC.2.2

ASTM C 236-89 (1993el)	Test Method For Steady-State Thermal Performance of Building

Assemblies by Means of a Guarded Hot Box.		Appendix G C2.2.2

ASTM C 516-02		Vermiculite Loose Fill Thermal Insulation			Appendix G Table B1.2.3

ASTM C 518-04		Test Method for Steady-State Thermal Transmission Properties by

Means of the Heat Flow Meter Apparatus.				N1110.ABC.2.2

ASTM C 549-06		Perlite Loose Fill Insulation				Appendix G Table B-1.2.3

ASTM C 578-06		Rigid, Cellular Polystyrene Thermal Insulation		Appendix G Table B-1.2.3

ASTM C 665-06		Mineral-Fiber Blanket Thermal Insulation for Light Frame

Construction and Manufactured Housing			Appendix G Table B-1.2.3

ASTM C 727-01		Standard Practice for Installation and Use of Reflective

Insulation in Building Constructions.			Appendix G Table B-1.2.3

ASTM C 739-05b	Cellulosic Fiber (Wood-Base) Loose-Fill Thermal Insulation	Appendix G Table B-1.2.3

ASTM C 764-06a	Mineral Fiber Loose-Fill Thermal Insulation			Appendix G Table B-1.2.3

ASTM C 1015-06	Standard Practice for Installation of Cellulosic and Mineral Fiber

Loose-Fill Thermal Insulation				Appendix G Table B-1.2.3

ASTM C 1029-05a	Specification for Spray-Applied Rigid Cellular Polyurethane

Thermal Insulation					Appendix G Table B-1.2.3

ASTM C 1158-05	Standard Practice for Use and Installation of Radiant Barrier Systems	 N1104.A.3,

(RBS) in Building Construction		  		Appendix G Table B-1.2.3,

Appendix G Table C4.2.1.4

ASTM C 1224-03	Reflective Insulation for Building Applications		Appendix G Table B-1.2.3

ASTM C 1289-06	Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board   Appendix G Table B-1.2.3

ASTM C 1313-05	Sheet Radiant Barriers for Building Construction Applications		N1104.A.3,

Appendix G Table B-1.2.3, Appendix G Table C4.2.1.4

ASTM C 1320-05	Standard Practice for Installation of Mineral Fiber Batt and

Blanket Thermal Insulation for Light-Frame Construction	Appendix G Table B-1.2.3

ASTM C 1321-04	Standard Practice for Installation and Use of Interior Radiation		 N1104.A.3

Control Coating Systems (IRCC) in Building Construction	Appendix G Table B-1.2.3

Appendix G Table C4.2.1.4

ASTM C 1371-04a	Test Method for Determination of Emittance of Materials Near     N1104.A.3, N1104.4

Room Temperature Using Portable Emissometers.		Appendix G Table B-1.2.3,

Appendix G Table C4.2.1.4

ASTM C 1549-04 	Standard Test Method for Determination of Solar Reflectance Near

Ambient Temperature Using a Portable Solar Reflector	N1104.A.4

ASTM E 84-06a		Test Method for Surface Burning Characteristics of Building Materials	N1110.ABC.3.0.7

ASTM E 283-04		Standard Test Method for Determining the Rate of Air Leakage	N1106.ABC.1.1,

Through Exterior Windows, Curtain Walls and Doors Under	 	N1106.ABC.2.4,

Specified Pressure Differences Across the Specimen.  		Appendix G B3.4

ASTM E 903-96 		Test Method for Solar Absorptance, Reflectance, and Transmittance

of Materials Using Integrating Spheres		   N1104.A.4, Appendix G C4.2.1.5

ASTM E 1918-06	Standard Test Method for Measuring Solar Reflectance of Horizontal

And Low-Sloped Surfaces in the Field			N1104.A.4

CRRC	Cool Roof Rating Council

1738 Excelsior Avenue

Oakland, CA 94602

Standard reference number	Title			Referenced in Code Section Number

CRRC-1-2006		CRRC-1 Product Rating Program				N1104.A.4

DOE	United States Department of Energy

c/o Superintendent of Documents

U.S. Government Printing Office

Washington, DC 20402-9325

Standard reference number	Title	Referenced in Code Section Number

DOE, 10 CFR, Part 430 	Uniform Test Method for Measuring the Energy Consumption     Table N1108.ABC.3.2F,

Subpart B, App. E-1998	of Water Heaters 		 			N1112.ABC.3.1.1, N1112.ABC.3.2.1

DOE, 10 CFR, Part 430	Uniform Test Method for Measuring the Energy Consumption

Subpart B, App. M	of Central Air Conditioners					N1107.ABC.3.1

10 CFR, Part 430		Uniform Test Method for Measuring the Energy Consumption

Subpart B, App N -1998	of Furnaces 						Table N1108.ABC.3.2E

DOE, 10 CFR, Part 430	Uniform Test for Measuring the Energy Consumption of Vented

Subpart B, App O-1998	Home Heating Equipment						N1100.7.3

EPACT, 1992 42 USC 6831,  Energy Policy Act of 1992

et seq, Public Law 102-486								N1107.ABC.3.2

NAECA, 1987		National Appliance Energy Conservation Act of 1987		Tables N1107.ABC.3.2A,

N1107.ABC.3.2B, N1108.ABC.3.2E

FSEC

Florida Solar Energy Center

1679 Clearlake Road

Cocoa, FL 32922-5703

Standard reference	Title							Referenced in Code

number										Section Number

FSEC-RR-54-00		"The HERS Rating Method and the Derivation of the

Normalized Modified Loads Method", October 11, 2000,	N1113.A.2.1

Fairey, P., J. Tait, D. Goldstein, D. Tracey, M. Holtz, and							R. Judkoff.   Available online at:

http://www2.fsec.ucf.edu/en/publications/html/FSEC-RR-54-00/index.htm

2007			EnergyGauge USA Fla/Res computer program	N1100.2.2, N1100.3, N1100.3.2,

N1100.A.1, N1100.A.2, N1101.A,

N1101.A.3, N1102.A.1, N1104.A.1,

N1104.A.3, N1104.A.4, N1107.A.1,

N1108.A.1, N1110.A.1, N1110.A.2,

N1110.A.3, N1112.A.1, N1113.A.2.1

[Approved by the Commission, August 2007]

FTC	U.S. Federal Trade Commission

Sixth Street and Pennsylvania Avenue, N.W.

Washington, DC 20580

Standard reference number	Title				Referenced in Code Section Number

FTC, 16 CFR, Part 460,		FTC Labeling and Advertising of Home Insulation

Amended Effective 4/29/96			`			      N1100.7, Appendix G B1.2

GAMA	Gas Appliance Manufacturers Association

PO Box 9245

Arlington, VA 22209

Standard reference number	Title				Referenced in Code Section Number

GAMA			Consumers’ Directory of Certified Efficiency Ratings for

Water Heating Equipment		      Table N1112.ABC.3.5, Appendix G C4.3.1.3

HI	Hydronics  Institute

P.O. Box 218

Berkeley Heights, NH  07922

Standard reference number	Title				Referenced in Code Section Number

H.I., HBS 86-1989	Testing and Rating Standard for Heating Boilers		Tables N1108.ABC.3.2F

HUD	U.S. Dept. Housing and Urban Development

451 7th Street S.W.

Washington, DC 20410

Standard reference number	Title				Referenced in Code Section Number

HUD, 24 CFR 3282-3283	Manufactured Home Procedural and Enforcement Regulations		N1100.7

HUD, 42 CFR 70, s. 5401	Manufactured Home Construction and Safety Standards

(24 CFR 3280)										N1100.7

HUD, 42 USC 77, s. 6295	 Energy Conservation Standards					N1100.7

ISO	International Standards Organization

1, rue de Varembe, Case postale 56,

CH-1211 Geneve 20, Switzerland

Standard reference number	Title				Referenced in Code Section Number

ISO 9806 (1994, 1995)	Test Methods for Solar Collectors

Part 1:		 Thermal Performance of glazed liquid heating collectors including pressure drop,

December 1, 1994

Part 2: 		Qualification test procedures", August 15, 1995.

Part 3: 		Thermal performance of unglazed liquid heating collectors (sensible heat transfer only)

including pressure drop", December 15, 1995.			N1112.ABC.3.4

ISO 13256-1 (1998)  Water-Source Heat Pumps—Testing and Rating for Performance—

Part 1 		Water-to-Air and Brine-to-Air Heat Pumps				Table N1107.ABC.3.2B

NAIMA	North American Insulation Manufacturers Association

44 Canal Center Plaza, Suite 310,

Alexandria, VA 22314

Standard reference number	Title	Referenced in Code Section Number

NAIMA 2002	Fibrous Glass Duct Construction Standards, Fifth Edition		N1110.ABC.3.2

NAIMA 2002	Fibrous Glass Duct Liner Standard, Third edition     		N1110.ABC.2.4, N1110.ABC.3

NFRC	National Fenestration Rating Council, Inc.

8484 Georgia Avenue, Suite 320

Silver Spring, MD 20910

Standard reference number	Title	Referenced in Code Section Number

NFRC 100-04	Procedure for Determining Fenestration Product U-factors	N1100.6.5, Appendix G B2.1.1

NFRC 200-04	Procedure for Determining Fenestration Product Solar Heat Gain Coefficients

and Visible Transmitttance at Normal Incidence	N1100.6.5, Appendix G B2.1.1, C2.1.4,

SMACNA	Sheet Metal and Air-Conditioning Contractors’ National Association, Inc.

4201 Lafayette Center Dr.

Chantilly, VA 20151-1209

Standard reference number	Title	Referenced in Code Section Number

SMACNA, 1985	HVAC Air Duct Leakage Test Manual					N1110.ABC.3.1.3

SRCC	Solar Rating and Certification Corporation

c/o Florida Solar Energy Center

1679 Clearlake Road

Cocoa, FL 32922-5703

Standard reference number	Title	Referenced in Code Section Number

FSEC		Directory of Certified Solar Systems					N1112.ABC.3.4

SRCC TM-1	Solar Domestic Hot Water System and Component Test Protocol,

December 6, 2002							N1112.ABC.3.4

UL	Underwriters Laboratory, Inc.

333 Pfingsten Rd.

Northbrook, Il. 60062-2096

Standard reference number	Title				Referenced in Code Section Number

UL 181-05	Standard for Factory-Made Air Ducts and Air Connectors	N1110.ABC.3.0.7, N1110.ABC.3.7.1

UL 181A-05	Closure Systems for Use With Rigid Air Ducts and Air Connectors 		N1110.ABC.3.0.7

UL 181B-05	Closure Systems for Use With Flexible Air Ducts and Air Connectors 		N1110.ABC.3.0.7

UL 723-03	Standard for Test for Surface Burning Characteristics of Building Materials  	N1110.ABC.3.0.7

UL 727-06	Standard for Oil-Fired Central Furnaces, with revisions through January 1999

Table N1108.ABC.3.2E

UL 731-95	Standard for Oil-Fired Unit Heaters, with revisions through January 1999  Table N1108.ABC.3.2E

WDMA	Window & Door Manufacturers Association

1400 East Touhy Avenue, #470

Des Plaines, IL 60018

Standard reference number	Title	Referenced in Code Section Number

101/I.S.2/NAFS-02	Specifications for Windows, Doors and Unit Skylights 		 N1106.ABC.1.1

Add or Revise the following standards as shown:

AA            Aluminum Association

900 19th Street N.W., Suite 300

Washington, DC 20006

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

ADM 1—00    Aluminum Design Manual, Specifications for Aluminum Structures, Allowable

Stress Design, Building Load and Resistance Factor Design, Commentary on

Allowable Stress Design,  Commentary on Building Load and Resistance Factor,

Material Properties, Design Aids and Illustrative Examples of Design	          R4406.1.2

AAF           Aluminum Association of Florida, Inc

1650 South Dixie Highway, Suite 500

Boca Raton, Florida 33432

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

AAF—03 07  Guide to Aluminum Construction in High Wind Areas 2003 2007  2002.4.1  [Mod 2680r] R301.2.1.1 [The standard was changed June 27, 2007 Commission Meeting]

AAMA       American Architectural Manufacturers Association

1827 Walden Office Square, Suite 550

## Schaumburg, IL 60173

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

101/I.S2—97      Voluntary Specifications for Aluminum, Vinyl (PVC) and Wood                 R613.3.3.1, R613.3.3.2,

Windows and Glass Doors	                                                                                            R4410.2.3.2.1

101/I.S2/NAFS—02  Voluntary Performance Specification for Windows, Skylights      R308.6.9, R613.3.1, 613.3.2,

and Glass Doors	                                                                                        R4410.2.3.2.1, R4412.1.2

AAMA/WDMA/CSA   Specifications for Windows, Doors and Unit Skylights

101/I.S. 2/A440-05                                                                                                    R613.3.1, R613.3.2, R4410.2.3.2.1

203-98                 Procedural Guide for the Window Inspection and Notification System                        R4410.2.3.2.6

450-06                 Voluntary Performance Rating Method for Mulled Fenestration

Assemblies                                                                                     R613.7.1, R613.7.1.2, R613.7.1.3

501—94               Methods of Test for Exterior Walls	                                                                              R4410.2.3.2.1

506-06                 Voluntary Specifications for Hurricane Impact and Cycle Testing of

Fenestration Products                                                                                                         R301.2.1.2

  - Voluntary Specifications for Forced-entry Resistant Aluminum Prime

Windows	                                                                                                          R4410.2.3.2.1

1402-86               Standard Specifications for Aluminum Siding, Soffit and Fascia                                       R703.12.3

1600/I.S. 7-00      Voluntary Specifications for Skylights	                                                                     R4412.1.2

AAMA/NPEA/NSA 2100-02         Voluntary Specifications for Sunrooms                                               R301.2.1.1.2

- AAMA  [Added June 27, 2007 by the Commission]

- AAMA 800—05 Voluntary Specifications and Test Methods [Mod 574r]

- for Sealants ………………………...……………………………………… R613.8.1

AAMA 812-04 Voluntary Practice for Assessment of Single Component Aerosol Expanding Polyurethane Foams for Sealing Rough Openings of Fenestration Installations …………………………………………….…			 R613.8.1  [Mod 2574r]

ACI           American Concrete Institute

38800 Country Club Drive

Farmington Hills, MI 48331

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

117                        Standard Tolerances for Concrete Construction and Materials	                                        R4405.2.2

301                        Specifications for Structural Concrete for Buildings	                                                       R4405.2.2

315                        Manual of Standard Practice for Detailing Reinforced Concrete Structures                     R4405.2.2

347                        Recommended Practice for Concrete Formwork	                                 R4405.2.2, R4405.7.1.1

506                        Recommended Practice for Shotcreting	                                                                     R4405.2.2

506.2                     Building Code Requirements for Masonry Structures	       R4405.2.2, R4405.11.1.2, R4405.11.8.1

530/530.1-05         Building Code Requirements for Masonry Structures and Specifications               R404.1, R606.1,

for Masonry Structures & Commentaries	                                  R606.1.1, R4403.7.8, R4407.5.1

AFPA           American Forest and Paper Association (American Wood Council Division)

111 19th Street, NW, #800

Washington, DC 20036

Standard                                                                                                            Referenced in code

reference number    Title                                                                                        section number

NDS—05	National Design Specification (NDS) for Wood Construction with                      R404.2.2, R502.2,

2001 Supplement	                                                      Table R503.1, R602.2, R802.2, R4404.7.1.8.1,

R4409.1.4.7, R4409.2.4.1, R4409.6.17.2.1.3, R4409.6.17.2.1.3, R4409.6.17.2.1.5

AFPA—01	Design Values for Wood Construction	                       R4409.1.4.7, R4409.6.17.2.2.1

AFPA—87	All-Weather Wood Foundation System, Design, Fabrication, Installation Manual         R4409.1.4.7

AFPA—92	Wood Structural Design Data		                                                                  R4409.1.4.7

AFPA—93	Working stresses for Joists and Rafters		                                                    R4409.1.4.7

AFPA—93	Span Tables for Joists and Rafters	         R502.2.2, R802.2.2, R802.2.3, R4409.1.4.7, R4409.4.1.1

T.R. No. 7—87	Basic Requirements for Permanent Wood Foundation System	           R401.1, R4409.1.4.7

WCD 1—01	Wood Construction Data No. 1, Details for Conventional Wood Frame Construction   R4409.1.4.7

WCD 4—03	Wood Construction Data number 4, Plank and Beam Framing for Residential Building 4409.1.4.7

WCD 5—04	Wood Construction Data No. 5, Heavy Timber Construction Details		         R4409.1.4.7

WCD 6—01	Wood Construction Data No.6, Design of Wood Frame structures for Permanence      R4409.1.4.7,

R4409.13.2.11

WFCM—01	Wood Frame Construction Manual for One- and Two-family Dwellings	         R301.2.1.1, 404.1.4,

R614.2.5, R614.3.1, R802.2, R4409.1.4.7

AHA	American Hardboard Association

1210 West Northwest Highway

Palatine, IL 60067

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

A135.4—04	Basic Hardboard		                                                                   Table R602.2(1), R4409.1.4.1

A135.5—04	Prefinished Hardboard Paneling		                                                     R702.5, R4409.1.4.1

A135.6—98	Hardboard Siding		                                                                       Table R703.4, R4409.1.4.1

A194.1—85	Cellulosic Fiber Board		                               Table R602.2(1), R4409.1.4.1, R4409.2.1.4

IB Spec. No. 1	Recommended Product and Application Specification-Structural

Insulating Roof Deck		                                                                                 R4409.1.4.1

IB Spec. No. 2	Recommended Product and Application Specification-½ inch

Fiberboard Nail-Base Sheathing		                                                                  R4409.1.4.1

IB Spec. No. 3	Recommended Product and Application Specification-½ inch

Intermediate Fiberboard Sheathing	                                                                                 R4409.1.4.1

AISC       American Institute of Steel Construction

One East Wacker Drive Suite 3100

Chicago, IL 60601-2001

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

AISC                     Detailing for Steel Construction	                                                                                    R4408.1.3

AISC                     Engineering for Steel Construction	                                                                                    R4408.1.3

AISC                      Iron and Steel Beams 1873 to 1952	                                                                     R4408.1.3

AISC                      Plastic Design in Steel	                                                                                                  R4408.1.3

AISC                      Plastic Design of Braced Multistory Steel Frames	                                                       R4408.1.3

AISC                      Serviceability Design Considerations for Low Rise Buildings	                                        R4408.1.3

AISC                      Simple Shear Connection, ASD	                                                                                    R4408.1.3

AISC                      Simple Shear Connection, LRFD	                                                                                    R4408.1.3

AISC                     Torsional Analysis of Steel Members	                                                                     R4408.1.3

AISC                      Manual of Steel Construction, Allowable Stress Design                                                  R4408.1.3

AISC                      Manual of Steel Construction, Allowable Stress Design LRFD                                       R4408.1.3

AISI            American Iron and Steel Institute

1140 Connecticut Ave, Suite 705

Washington, DC 20036

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

AISI                  Design Manual for Structural Tubing	                                                                                    R4408.1.3

AISI                  Designing Fire Protection for Steel Trusses	                                                                     R4408.1.3

AISI                  Designing Fire Protection for Steel Columns	                                                                     R4408.1.3

AISI                  Fire Resistant Steel Frame Construction	                                                                     R4408.1.3

AISI                  Fire Safe Structural Steel A Design	                                                                                    R4408.1.3

AISI                   Specifications for Design of Light Gage Cold Formed Stainless Structural Members         R4408.1.3

AISI                   Specification for the Criteria for Structural Application of Steel Cables for Buildings        R4408.1.3

AISI/COFS/PM-2001  Standard for Cold formed Steel Framing-- Prescriptive Method                R301.1, R301.2.1.1,

for One- and Two- family dwellings	                        R301.2.2.4.1, R301.2.2.4.5, R404.1.4, R804.1.3

AISI/COFS/PM Supplement 2004                                                                                                                  R404.1.4.2

SGO4-5             Standard for Cold formed Steel Framing Truss Design	                                                         R804.1.3

SGO4-6             Standard for Cold formed Steel Framing Header Design                                              R603.6

SGO3-3             Cold Formed Steel Design Manual	                                                                                    R4408.1.3

SG 971—96       Specification for the Design of Cold Form Steel Structures	                                        R4408.1.3

AITC         American Institute of Timber Construction

7012 S. Revere Parkway, Suite 140

Englewood, CO 80112

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

AITC 104             Typical Construction Details	                                                                                 R4408.1.4.2

AITC 106             Code of Suggested Practices	                                                                                 R4409.1.4.2

AITC 108             Standard for Heavy Timber Construction	                                                                  R4409.1.4.2

AITC 109             Standard for Preservative Treatment for Structural Glued Laminated Timber                R4409.1.4.2

AITC 110             Standard Appearance Grades for Structural Glued Laminate Timber	                       R4409.1.4.2

AITC 112             Standard for Torque and Groove Heavy Timber Roof Decking	                                     R4409.1.4.2

AITC 113             Standard for Dimensions of Glued Laminated Structural Members	                       R4409.1.4.2

AITC 117             Standard Specification for Structural Glued Laminated Timber of Softwood Species   R4409.1.4.2

AITC 119             Standard Specifications for Hardwood Glued Laminated Timber	                       R4409.1.4.2

AITC A 190.1—02 Structural Glued Laminated Timber  R502.1.1.5, R602.1.1.2, R802.1.5, R4409.1.4.2,R4409.2.11

TR No. 7               Calculation of Fire Resistance of Glued Laminated Timber	                                     R4409.1.4.2

ANSI        American National Standards Institute

25 West 43rd Street, Fourth Floor

New York, NY 10036

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

A41.1                 Building Code Requirements for Masonry	                                             R4407.2.1.1, R4407.4.2.8

A41.2                 Building Code Requirements for Reinforced Masonry	                                                    R4407.2.1.1

A42.1                 Standard Specification for Gypsum Plastering	                                                                  R4411.2.1.1

A42.4                 Standard Specification for Interior Lathing and Furring	                                                          R4411.1

A97.1                 Specification for the Application and Finishing of Gypsum Wallboard	                          R4411.4.2

Z21.83—98            Fuel Cell Power Plants	                                                                                                    M1903.1

Z97.1—84(R1994)   Safety Glazing Materials Used in Buildings—Safety Performance

Specifications and Methods of Test (Reaffirmed 1994)	                    R308.3, R4403.7.3.6.3,

R4410.2.1.4, R4410.2.1.6

APA                     APA The Engineered Wood Association

7011 South 19th

Tacoma, WA 98466

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

V910               Plywood Folded Plate, Laboratory Report 21	                                                                  R4409.1.4.3

L350               Design/Construction Guide Diaphragms	                                                                  R4409.1.4.3

PRP108           Performance Standards and Policies for Structural Use Panels	                R4409.1.4.3, R4409.2.1.2

B840               303 Siding Manufacturing Specifications	                                                                  R4409.1.4.3

E30—03         Engineered Wood Construction Guide	                                                                R803.2.3, R4409.1.4.3

H815               Plywood Design Specification Design and Fabrication of All Plywood Beams          R4409.1.4.3

S811                Plywood Design Specification Design and Fabrication of Plywood Curved Panels	         R4409.1.4.3

S812                Plywood Design Specification Design and Fabrication of Plywood Lumber Beams          R4409.1.4.3

U813               Plywood Design Specification Design and Fabrication of Plywood Stressed Skin Panels  R4409.1.4.3

U814               Plywood Design Specification Design and Fabrication of Plywood Sandwich Panels        R4409.1.4.3

Y510J              Plywood Design Specification	                                                                                 R4409.1.4.3

ASCE          American Society of Civil Engineers

1801 Alexander Bell Drive

Reston, VA 20191-4400

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

3—91         Specifications for the Design and Construction of Composite Slabs and Commentary

on Specifications for the Design and Construction of Composite Slabs                     R4405.2.3, R4408.1.3

5—05        Building Code Requirements for Masonry Structures      R404.1, R606.1, R606.1.1, R606.2.2, R606.11.1,

R606.11.2.2.1, R606.11.2.2.2, R606.11.3.1, R4403.7.8

7—05        Minimum Design Loads for Buildings and Other Structures     Figure 301.2(4), R301.2.1.1, R301.2.1.1.2,

R301.2.1.4, Table R611.3(1), Table R611.7.4, R4402.3.4, R4403.1.3, R4403.4.1, R4403.4.2,

R4403.7.3.8, R4403.7.8, R4403.8, R4403.9, R4403.10, R4403.12, Table R4403.15.4, R4403.16.1

8—02        Specifications for the Design of Cold Formed Stainless Steel Structural members             R4408.1.3

11—99      Guidelines for Structural Condition Assessment of	Existing Buildings  R4405.2.3, R4406.1.2, R4408.1.3

32—01      Design and Construction of Frost Protected Shallow Foundations	                     R403.1.4.1, R4406.1.2

ASHRAE            American Society of Heating, Refrigerating and Air Conditioning Engineers, Inc.

1791 Tullie Circle, NE

Atlanta, GA 30329

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

34—2004                Designation and Safety Classification of Refrigerants	                                          M1411.1

ASHRAE—20054    ASHRAE Fundamentals Handbook—2001                          P3001.2, P3002.3, P3101.4, P3103.2

ASME                American Society of Mechanical Engineers

Three Park Avenue

New York, NY 10016-5990

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

B16.3—1999  	         Malleable Iron Threaded Fittings Classes 150 and 300	     Table P2904.6, Table R4413.2.7

B16.4—1998               Gray iron Threaded Fittings Classes 125 and 250	     Table P2904.6, Table R4413.2.7

B16.9—2003               Factory made Wrought Steel Buttwelding Fittings	     Table P2904.6, Table R4413.2.7

B16.11—2001             Forged Fittings, Socket welding and Threaded	                   Table P2904.6, Table R4413.2.7

B16.12—1998             Cast Iron Threaded Drainage Fittings	                                  Table P2904.6, Table R4413.2.7

B16.15—1985(R1994) Cast Bronze Threaded Fittings	                                  Table P2904.6, Table R4413.2.7

B16.18—2001   Cast Copper Alloy Solder Joint Pressure Fittings      Table P2904.6, Table R4413.2.7

B16.22—2001   Wrought Copper and Copper Alloy Solder Joint Pressure Fittings   Table P2904.6, Table R4413.2.7

B16.23—2002   Cast Copper Alloy Solder Joint Drainage Fittings (DWV)      Table P2904.6, Table R4413.2.7

B16.26—1988   Cast Copper Alloy Fittings for Flared Copper Tubes	                   Table P2904.6, Table R4413.2.7

B16.28—1994   Wrought Steel Buttwelding Short Radius Elbows and Returns	     Table P2904.6, Table R4413.2.7

B16.29—2001   Wrought Copper and Wrought Copper Alloy Solder Joint Drainage

Fittings DWV	                                                                             Table P2904.6, Table R4413.2.7

B16.32               Cast Copper Alloy Solder Joint Fittings for Solvent Drainage Systems	                Table R4413.2.7

ASTM              ASTM International

100 Barr Harbor Drive

West Conshohocken, PA 19428

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

A 6/A6M—04a       Specification for General Requirements for Rolled Structural Steel Bars,

Plates, Shapes and Sheet Piling	                                                                                    R4408.1.3

A 29/A29M             Specification for Steel bars, Carbon and Alloy, Hot Wrought, General

Requirements	                                                                                                              R4404.11.1

A 53/A53M—02     Specification for Pipe, Steel, Black and Hot dipped, Zinc coated Table M2101.1, Table 2904.4.1

Welded and Seamless	                  Table P2904.5, Table P3002.1, G2414.4.2, Table R4413.2.2

A 74—04                Specification for Cast Iron Soil Pipe and Fittings	                       Table P3002.1,Table P3002.2,

Table R4413.2.2, Table R4413.2.3, Table R4413.2.4, Table R4413.2.5

A 82—02                 Specification for Steel Wire, Plain for Concrete Reinforcement	                          R606.9.10

A 306                        Carbon Steel Bars Subject to Mechanical Property Requirements	                        R4404.11.1

A 307—03                Specification for Carbon Steel Bolts and Studs 60,000 PSI Tensile Strength	       Table R611.9

A 325—94                Specification for High Strength Bolts for Structural Steel Joints                           R4408.1.3

A 361                        Specification for Steel Sheet Zinc Coated (Withdrawn)	                                R4409.6.17.1.1

A 416 99                   Specification for Steel Strand, Uncoated Seven Wire for Prestressed Concrete	         R4405.4.4.2

A 421/A421M—98   Specification for Uncoated Stress Relieved Steel Wire for Prestressed Concrete      R4405.4.4.2

A 446                        Specification for Steel Sheet, Zinc Coated (Galvanized) by the Hot Dip

Process, Structural (Physical) Quality	                                                                R4405.12.4.4

A463/A463M-02a

A 490—93                Specification for Heat Treated Steel Structural Bolts	                                        R4408.1.3

A 525 87              Specification for Steel Sheet Zinc coated (Galvanized) Steel Wire  Table R606.9.10.1,

R4405.12.4.4, R4408.1.3, R4411.4.2, R4411.4.5.1, R4411.4.5.4, M1601.1.1

A 611                    Standard Specification for Structural Steel (SS), Sheet, Carbon, Coil Rolled    R4404.10.1.5.3,

R4405.12.4.4

A 615/A 615M-04a Specification for Deformed and Plain Billet Steel Bars for Concrete

Reinforcement	                                                                        R4405.2.2, R4405.2.4, R4405.4.4.6

A 617                      Standard Specification for Axle Steel Reformed and Plain Bars for

Concrete Reinforcement	                                                                                               R4405.4.4.6

A 653/A 653M-04  Specification for Steel Sheet, Zinc Coated (Galvanized) or Zinc Iron             R505.2.1, R505.2.3,

Alloy Coated (Galvanized) by the Hot Dip Process	      R603.2.1, R603.2.3, R804.2.1, R804.2.3,

Table 905.4.4, Table R905.10.3, R4409.6.17.2.2.7

A 706/A 706M-04a  Specification for Low Alloy Steel Deformed and Plain Bars for

Concrete Reinforcement	                                                              R404.4.6.1, R611.6.2, R4405.4.4

A 722/A 722M-98  Specification for Uncoated High Strength Steel Bar for Prestressing Concrete          R4405.4.4.2

A 767/A 767M-00b Specification for Zinc Coated (Galvanized) Steel Bars for Concrete

Reinforcement	                                                                                        R4405.4.4.6, R4405.8.5.5

A 775/A 775M-01   Specification for Epoxy Coated Steel Reinforcing Bars	                                     R4405.4.4.6

A 888-04                 Specification for Hubless Cast Iron Soil Pipe and Fittings for      Table P3002.1, Table P3002.2,

Sanitary And Storm Drain, Waste, and Vent Piping Application                        Table R4413.2.2,

Table R4413.2.3, Table R4413.2.4, Table R4413.2.5, Table R4413.2.7

A 924/04   Standard Specification for General Requirements for Steel Sheet, Metallic

Coated by the Hot Dip Process	                                                                         R4409.6.17.2.2.7

B 43—98 (2004)       Specification for Seamless Red Brass Pipe, Standard Sizes	            Table M2101.1, G2413.5.2,

Table P3002.1, Table P2904.4.1Table P2904.5, Table R4413.2.2

B 75—03         Specification for Seamless Copper Tube	       Table M2101.1, Table P2904.4.1, Table P2904.5,

Table P3002.1, Table P3002.2, Table R4413.2.2, Table R4413.2.3, Table R4413.2.4

B 88—02          Specification for Seamless Copper Water TubeTable M2101.1, G2414.5.2, Table P2904.4.1,

Table P2904.5, Table P3002.1, Table P3002.2, Table R4413.2.2, Table R4413.2.3, Table R4413.2.4

B 227—04        Specification for Hard drawn Copper clad Steel Wire	                                                       R606.9.10

B 251—02e01  Specification for General Requirements for Wrought Seamless Copper and Copper   Table M2101.1,

alloy Tube      Table P2904.4.1, Table P2904.5, Table R4413.2.2, Table R4413.2.3, Table R4413.2.4

B 302—02   Specification for Threadless Copper Pipe, Standard Sizes	                  Table M2101.1, Table P2904.4.1,

Table P2904.5, P2904.4, Table R4413.2.2

B 306—02    Specification for Copper Drainage Tube (DWV)	          Table M2101.1, Table P3002.1, Table P3002.2,

Table R4413.2.2, Table R4413.2.4

B 370—03    Specification for Copper Sheet and Strip for Building Construction	                                Table R905.4.4

Table R905.10.3, Table P2701.1

B695-00

C 4—03           Specification for Clay Drain Tile and Perforated Clay Drain Tile	  Table R4413.2.4, Table R4413.2.5

C5—03     Specification for Quicklime for Structural Purposes	                                      R702.2, R4411.2.2.3

C 14—03         Specification for Concrete Sewer, Storm Drain, and Culvert Pipe	     Table P3002.2, Table R4413.2.4

C 28/C28M-00e01 Specification for Gypsum Plasters	                                                                   R702.2, R4411.2.2.2

C 31/C 31M-98Practice for Making and Curing Concrete Test Specimens in the Field  R4405.5.2.2.3, R4405.5.2.3.2

C 33—01a        Specification for Concrete Aggregates	                                                R4405.4.2, R4405.4.2.2

C 34-03  Specification for Structural Clay Load bearing Wall Tile	      Table R301.2(1), R4407.2.8.3.1

C 35-95(2001)  Specification for Inorganic Aggregates for Use in Gypsum Plaster        R702.2, R4411.2.2.1.1

C 36/C 36M-03 Specification for Gypsum Wallboard	                                                                   R702.3.1, R4411.4.2

C 37/C 37M-01 Specification for Gypsum Lath	                                                                      R702.2, R4411.1.2

C 39—99ael      Test Method for Compressive Strength of Cylindrical Concrete Specimens	      R4405.5.2.2.3

C 42/C 42M-99 Test Method for Obtaining and Testing Drilled Cores and Sawed Beams of Concrete     R4405.5.2.4

C 52                   Specification for Gypsum Partition Tile or Block	                                                    R4407.2.9.3

C 55—03           Specification for Concrete Brick	              R202, Table R301.2(1), R4407.2.4.2.2, R4407.2.4.3.3

C 56-96 (2001)  Specification for Structural Clay Nonload Bearing Tile	                                                 R4407.2.8.3.3

C 57                   Specification for Structural Clay Floor Tile	                                                               R4407.2.8.3.2

C 59/C 59M-00     Specification for Gypsum Casting and Molding Plaster	                                             R702.2

C 61/C 61M-00     Specification for Gypsum Keene’s Cement	                                  R702.2, R4411.1.2, R4411.2.2.4

C 62—04               Specification for Building Brick (Solid Masonry Units Made from Clay or Shale)                R202,

Table R301.2(1), R4407.2.4.3.1

C 67—03ae01               Test Methods of Sampling and Testing Brick and Structural Clay Tile	      R905.3.5, R4407.2.4.2

C 76—04a               Specification for Reinforced Concrete Culver, storm Drain and Sewer Pipe	  Table R4413.2.4

C 90—03              Specification for Load Bearing Concrete Masonry Units     Table R301.2(1), R606.4, R4407.2.7.2

C 91—01              Specification for Masonry Cement	                                                                                 R4412.2.2.6

C 94                      Specification for Ready Mixed Concrete	                                                                     R4405.6.2

C 144—03            Standard Specification for Aggregate for Masonry Mortar	         R4405.10.7.2, R4407.2.12.1.1

C 150—02ael        Specification for Portland Cement	                                                           R4405.4.1, R4412.2.2.5.1

C 172—99             Practice for Sampling Freshly Mixed Concrete	                                                    R4405.2.2.2

C 199-84(2000)    Test Method for Pier Test for Refractory Mortar	        R1001.9, R1003.5, R1003.8, R4405.4.1

C 206-84(1997)    Specification for Finishing Hydrated Lime	                                                                  R4411.2.2.3

C 212—00            Specification for Structural Clay Facing Tile	                                                    R4407.2.8.2

C 216—04a          Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale)                    R202,

Table R301.2(1), R4407.2.4.3.1

C 270—04           Specification for Mortar for Unit Masonry	                                                   R607.1, R4407.2.12.1

C 330—99            Specification for Lightweight Aggregates for Structural Concrete	                          R4405.4.2

C 332—99            Standard Specification for Lightweight Aggregates for Insulation Concrete	       R4405.12.4.6

C 425-04              Specification for Compression Joints for Vitrified Clay Pipe and FittingsTable P3002.2, P3003.3.5

C 428-97(2002)   Specification for Asbestos Cement Nonpressure Sewer pipe	  Table R4413.2.3, Table R4413.2.4

C 471M-01      Standard Test Methods for Chemical Analysis of Gypsum and Gypsum Products            R4407.2.9.2,

R4407.2.9.3

C 472—99       Specification for Standard Test Methods for Physical Testing of Gypsum,

Gypsum Plasters and Gypsum Concrete	                                             R4407.2.9.2, R4407.2.9.3

C 473—00       Test Method for Physical Testing of Gypsum Panel Products	                R4407.2.9.2, R4407.2.9.3

C 475/C475M—02 Specification for JointCompound and Joint Tape for Finishing Gypsum Wallboard       R702.3.1,

R4411.4.2

C 494/C 494M-99 Standard Specification for Chemical Admixtures for Concrete                                   R4405.12.4.4

C 495-99a        Standard Test Method for Compressive Strength of Lightweight Insulating Concrete    R4405.12.1.1,

R4405.12.1.2, R4405.12.1.3

C 508—00       Specification for Asbestos Cement Underdrain Pipe	                                             Table R4413.2.5

C 595—01        Specification for Blended Hydraulic Cement	                                                                     R4405.4.1

C 618—99       Specification for Coal Fly Ash and Raw or Calcined Natural Pozzolar for Use

as a  Mineral Admixture in Concrete	                                                                               R4405.12.4.4

C 645—04       Specification for Nonstructural Steel Framing Members	          R702.3.3, R4409.6.17.1.3, R4411.4.2,

R4411.4.5.1, R4411.4.5.4

C 652—04a    Specification for Hollow Brick (Hollow Masonry Units Made from Clay or Shale)                    R202,

Table R301.2(1), R4407.2.4.3.1

C 685/C 685M-98a  Specification for Concrete Made by Volumetric Batching and Continuous Mixing   R4405.6.2.2

C 700-02       Specification for Vitrified Clay Pipe, Extra Strength, Standard Strength, and Perforated Table P3002.2,

R4409.6.17.1.3, Table R4413.2.4, Table R4413.2.5

C 794—01    Test Method for Adhesion in Peel of Elastometric Joint Sealants	                                        R4410.6.4

C 796—97    Standard Test Method for Foaming Agents for Use in  Producing Cellular Concrete

Using Performed Foam	                      R4405.12.1.1, R4405.12.1.2, R4405.12.1.3, R4405.12.4.6

C 869          Specification for Foaming Agents Used in Making Performed Foam for Cellular Concrete R4405.12.4.6

C 887-79(2001) Specification for Packaged, Dry, Combined Materials for Surface Bonding Mortar                 R406.1

- ASTM  [Added June 27, 2007 by the Commission]

- C 920—02 05 Specification for Elastomeric Joint Sealants ………………………………………………………... R4410.6.4, R613.8.1   [Mod 2574r]

C 926-98a      Specification for Application of Portland Cement Based Plaster           R202, R703.6.2.1, R4411.3.1.1,

R4411.3.1.4

C 1036-01     Specification for Flat Glass	                                                                                               R4410.2.1.2

C 1048-04     Specification for Heat Treated Flat Glass—Kind HS, Kind FT Coated 7 Uncoated Glass    R4410.2.1.5

C 1053-00     Specification for Borosilicate Glass Pipe and Fittings for Drain, waste and Vent

(DWV) Applications	                                                                                                      Table R4413.2.2

C 1077         Standard Practice for Laboratories Testing Concrete and Concrete Aggregates for

Use in Construction and Criteria for Laboratory Evaluation	                      R4405.2.4, R4405.4.6

C 1281- 03 Standard Specification for Preformed Tape Sealants for Glazing Applications ………………………………………..………… R613.8.1.8.1  [Mod 2574r]

D 25-99                      Standard Specification for Round Timber Piles	                                                       R4404.7.1

D 41-e01                    Specification for Asphalt Primer Used in Roofing, Dampproofing,                    Table R905.9.2,

and Waterproofing	                                      Table R905.11.2, R4402.3.2.3.2, R4402.6.6.2.4,

R4402.8.6, R4402.10.6, R4402.10.14.1

D 43-00                     Specification for Coal Tar Primer Used in Roofing, Damproofing and

Waterproofing	 Table R905.9.2, R4402.6.6.2.4, R4402.8.6, R4402.10.6, R4402.10.14.2

D 92                          Standard Test Method for Flash and Fire Points by Cleveland Open Cup          R4402.8.2.2

D 226-97a                Specification for Asphalt saturated (Organic Felt) Used in Roofing and           R703.2, R703.9.1,

Waterproofing	      R905.2.2, R905.2.3, R905.2.7, R905.4.3, R905.5.3, R905.6.3, R905.8.4,

R905.8.10.1, Table 905.9.2, R4402.7.4

D 256-03                  Test Methods for Determining Izod Pendulum Impact Resistance of Plastics	            R4412.1.2

D 312-00                  Specification for Asphalt Used in Roofing	            R905.9.2, R4402.8.4, R4402.10.14.1

D 412-98a(2002)el   Test Methods for Vulcanized Rubber and Thermoplastic Elastomers Tension	            R4410.6.4

D 624-00el                 Test Methods for Tear Strength of Conventional Vulcanized Rubber and

Thermoplastic Elastomers	                                                                                    R4410.6.4

D 635-03                    Test Methods for Rate of Burning and/or Extent & Time of Burning of Plastics

in a Horizontal Position	                                                                                    R4412.1.2

D 1079-02               Standard Terminology Relating to Roofing, Waterproofing and Bituminous Materials R4402.2.1

D 1143-81 (1994) e01  Test Method for Piles Under Static Axial Compressive Load                               R4404.13.1.7

D 1167                     Methods of Testing Asphalt Base Emulsions for Use as Protective

Coatings for Built Up Roofs	                                                                            R4402.12.6.5.2

D 1556                     Standard Test Method for Density of Soil In Place by the Sandcone	                       R4404.4.3.2

D 1557-00               Test Method for Laboratory Compaction Characteristics of Soil Using

Modified Effort [56,000 ft lb/ft3 (2700 kN m/m3)]	                                                    R4404.4.3.2

D 1586-99                Specification for Penetration Test and Split Barrel Sampling of Soils	                     R4404.18.3.3

D 1621                     Standard Test Method for Compressive Properties of Rigid Cellular Plastics 4402.12.6.5.2.17.1

D 1622                     Standard Test Method for Apparent Pensity of Rigid Cellular Plastics          R4402.12.6.5.2.17.2

D 1623                     Standard Test Method for Tensile and Tensile Adhesion Properties of

Rigid Cellular Plastics	                                                                                  R4402.12.6.5.2.17.3

D 1693-01               Test Method for Environmental Stress cracking of Ethylene Plastics	                  Table M2101.1

D 1760                     Standard Specification for Pressure Treatment of Timber Products	                   Table R4404.7

D 1761-88(2000)el  Test Methods for Mechanical Fasteners in Wood	                                                    R4409.1.4.4

D 1861                      Specification for Homogenous Bituminized Fiber Drain Sewer Pipe

(Withdrawn 1992—Replacement)	                                                                         P3002.2

D 1863-03                Specification for Mineral Aggregate Used in Built up Roofs    Table R905.9.2, Table R906.3.2,

R4402.8.12.1

D 1929-96(2001)el   Test Method for Determining Ignition Temperatures of Plastics	                          R4412.1.2

D 2126                      Standard Test Method for Response of Rigid Cellular Plastics to Thermal and

Humid Aging	                                                                                                R4402.12.6.5.2.17.4

D 2240—03        Test Method for Rubber Property Durometer Hardness	                                        R4410.6.4

D 2464—99        Specification for Threaded Poly (Vinly Chloride) (PVC) Plastic Pipe Fittings,

Schedule 80	                                                                             Table P2904.6, Table R4413.2.7

D 2466—02        Specification for Poly (Vinyl Chloride) (PVC) Plastic Pipe Fittings, Schedule 40	    Table P2904.6,

Table R4413.2.7

D 2467—04        Specification for Poly (Vinyl Chloride) (PVC) Plastic Pipe Fittings, Schedule 80	    Table P2904.6,

Table R4413.2.7

D 2468—96a       Specification for Acrylonitrile Butadiene Styrene (ABS) Plastic Pipe Fittings,

Schedule 40	                                                Table P2904.6, Table R4413.2.5, Table R4413.2.7

D 2565—99        Practice for Xeon Arc Exposure of Plastics Intended for Outdoor Applications	            R4412.1.2

D 2609—02         Specification for Plastic Insert Fittings for Polyethylene (PE) Plastic Pipe                Table P2904.6,

Table R4413.2.7

D 2626—04       Specification for Asphalt saturated and Coated Organic Felt Base Sheet Used

in Roofing	                                                                     R905.3.3, Table R905.9.2, R4402.7.4

D 2661—02    Specification for Acrylonitrile Butadiene Styrene (ABS) Schedule 40 Plastic Drain,     Table P3002.1,

Waste, and Vent Pipe and Fittings Table P3002.2, Table R4413.2.2, Table R4413.2.3, Table R4413.2.4

D 2665—04ae01 Specification for Poly (Vinyl Chloride) (PVC) Plastic Drain, Waste, and                  Table P3002.1,

Vent Pipe and Fittings	     Table P3002.2, Table R4413.2.2, Table R4413.2.3, Table R4413.2.4

D 2677-71(1976)  Method of Test lightability of Barbecue Briquettes (withdrawn no replacement,

1985)	                                                                                                                  Table R4413.2.4.3

D 2729—96a        Specification for Poly (Vinly Cloride)(PVC) Sewer Pipe and Fittings	                Table R4413.2.5

D 2751—96a        Specification for Acrylonitrile Butadiene Styrene (ABS) Sewer Pipe and Fittings   Table P3002.2,

Table R4413.2.4

D 2797-85(1999)    Standard Practice for Preparing Coal Sampler for Microscopical Analysis by

Reflected Light	                                                                                                      Table R4413.2.4

D 2842                    Standard Test Method for Water Absorption of Rigid Cellular Plastics          R4402.12.6.5.2.17.6

D 2843—99       Test Method for Density of Smoke from the Burning or Decomposition of Plastics Table R4413.1.2

D 2856                       Standard Test Method for Open Cell Content of Rigid Cellular Plastics by

the Air Pycnometer	                                                                                  R4402.12.6.5.2.17.5

D 2898-94(1999)     Test Methods for Accelerated Weathering of Fire retardant treated Wood

for Fire Testing	 R802.1.4.1, R802.1.4.3, R902.2, R4409.1.4.4, R4409.14.4, R4409.16.1

D 2922                     Standard Test Method for Density of Soil and Soil Aggregate In Place by

Nuclear Methods (Shadow Depth)	                                                                  R4404.4.3.2

D 2949—01a           Specification for 3.25 in. Outside Diameter Poly (Vinyl Chloride) (PVC) Plastic Table P3002.1,

Drain, Waste, and Vent Pipe and Fittings                                             Table P3002.2, R4402.5.1,

Table R4413.2.2, Table R4413.2.3

D 3018                     Specification for Class A Asphalt Shingle Surfaced with Mineral Oravies	    R4402.12.6.5.1

D 3034—04            Specification for Type PSM Poly (Vinyl Chloride) (PVC) Sewer Pipe and Fittings

Table P3002.2, R4413.2.4

D 3201-94(2003)   Test Method for Hygroscopic Properties of Fire retardant Wood and Wood base

Products 	                                                                     R802.1.4.4, R4409.1.4.4, R4409.14.5

D 3441                    Static Cone Soundings	                                                                                             R4404.18.3.3

D 3462-04     Specification for Asphalt Shingles Made From Glass Felt and Surfaced

with Mineral Granules	                                                                         R905.2.4, R4402.12.6.5.1

D 3498-03           Specification for Adhesives for Field Gluing Plywood to Lumber Framing

for Floor Systems	                                                                                        R4409.1.4.4, R4409.9.1.5

D 3679-05         Specification for Rigid Poly (Vinyl Chloride) (PVC) Siding         Table R703.4, R703.11, R703.11.1

D 3746-85(1996)e1 Test Methods for Impact Resistance of Bitumanous Roofing Systems	                       R4402.4.2.4

D 3787-01           Test Method for Bursting Strength of Textiles Constant Rate of Traverse (CRT)

Ball Burst Test	                                                                                                         R4101.17.1.15

D 4272—99         Test Method for Total Energy Impact of Plastic Films by Dart Drop	                       R4402.4.2.4

D 4402          Viscosity Determinations of Unfilled Asphalt Using the Brookfield Thermostat Apparatus  4402.8.2.3

D 5034—95           Test Method for Breaking Strength and Elongation of Textile Fabrics (Grab Test) Specifications

for Adhesives for Field Gluing Plywood to Lumber Framing for Floor Systems     R4101.17.1.15

D 6083—97a         Specification for Liquid Applied Acrylic Coating Used in Roofing 	                 Table R905.9.2,

Table R905.11.2, Table R905.15.2, R4402.12.6.2

D 6380—01e01           Specification for Asphalt Roll Roofing (Organic Felt)	                       R905.2.8.2, R905.3.3

D6757-05              Standard Specification for Underlayment Felt Containing Inorganic Fibers

Used in Steep-Slope Roofing                                                             R905.2.2, R905.2.3, R905.2.7

D7158-05               Standard Test Method for Wind Resistance of Sealed Asphalt Shingles (Uplift

Force/Uplift Resistance Method)                                                        R905.2.6.1, Table R905.2.6.1

E 84—04               Test Method for Surface Burning Characteristics of Building Materials	   R202, R314.3, R314.5.8,

R314.5.10, R315.3, R315.4, R316.1, R316.2, R802.1.4, R4409.1.4.4, R4409.14.1,

R4412.1.2, R4412.1.3.1.1, R4412.1.3.1.4, R4412.1.3.2.4.5, M1601.16, M1601.3.7

E 96—00e01         Test Method for Water Vapor Transmission of Materials 	           M1411.4, M1601.3.4, R202,

R804.4, R4402.12.6.5.2.17.7, R4409.13.3.2.5

E 108—04        Test Methods for Fire Tests of Roof Coverings                      R902.1, R902.2, R4402.2.1, R4402.5.1,

R4402.12.1.2, R4409.16.1

E 119-00a Test Methods for Fire Tests of Building Construction and Materials  R314.1.2, R314.4, R317.1, R317.3.1

R4412.1.2, R4412.1.3.2

E 136—99e04     Test Method for Behavior of Materials in a Vertical Tube Furnace at 750 Degree C       R202

ASTM E 136 change to read as shown.  [Fire Correlation]

ASTM E 136 2004

E 152—95        Methods of Fire Tests of Door Assemblies	                                                  R314.3, R4412.1.3.1.4

E 163                Methods of Fire Tests for Window Assemblies (Withdrawn)	                                R4407.4.2.12.8

E 283-04            Standard Test Method for Determining the Rate of Air Leakage through                                R806.4,

Exterior Windows, Curtain Walls and Doors Under Specified Pressure Differences    R4409.13.3.2.5

E 330-02          Test Method for Structural Performance of Exterior Windows, Curtain Walls, and

Doors by Uniform Static Air Pressure Difference 	   R613.3, R613.4.1, R4410.6.4, R4410.6.6.1

E 331—00        Test Method for Water Penetration of Exterior Windows, Skylights, Doors and

Curtain Walls by Uniform Static Air Pressure Difference                                       R613.4, R4410.6.4

E 1300-0204e01 or 98 (HVHZ)  Practice for Determining Load Resistance of Glass in Buildings         R613.3.1, R4410.2.2

ASTM E 1300 change to read as shown: [Changed by the Commission June 27, 2007]

ASTM E 1300-0204e01 or 98(HVHZ)

E 1886—02 or 05       Test Method for Performance of Exterior Windows, Curtain Walls, Doors and Storm

Shutters Impacted by Missiles and Exposed to Cyclic Pressure Differentials             R301.2.1.2

E 1996—02 or 05       Specification for Performance of Exterior Windows, Curtain Walls, Doors and Storm

Shutters Impacted by Windborne Debris in Hurricanes	                                                      R301.2.1.2

E 2112-07 Standard Practice for Installation of Exterior Windows, Doors, and Skylights ……………………………………………………………..… R613.7.5  [Mod 2574r]

F 405—97          Specifications for Corrugated Polyethylene (PE) Tubing and Fittings	                Table R4413.2.5

F 409—02         Specification for Thermoplastic Accessible and Replaceable Plastic Tube and

Tubular Fittings	                                                              Table P2701.1, P2702.3, Table R4413.2.7

F 437—99          Specification for Threaded Chlorinated Poly (Vinyl Chloride) (CPVC) Plastic

Pipe Fittings, Schedule 80	                                                               Table P2904.6, Table R4413.2.7

F 438—04          Specification for Socket type Chlorinated Poly (Vinyl Chloride) (CPVC) Plastic

Pipe Fittings, Schedule 40	                                                               Table P2904.6, Table R4413.2.7

F 439—02e01          Specification for Socket type Chlorinated Poly (Vinyl Chloride) (CPVC) Plastic

Pipe Fittings, Schedule 80	                                                               Table P2904.6, Table R4413.2.7

F 628—01           Specification for Acrylonitrile Butadiene Styrene (ABS) Schedule 40 Plastic Waste Table P3002.1,

……and Vent Pipe with a Cellular Core   Table P3002.2, Table R4413.2.2, Table R4413.2.3, Table R4413.2.4

F 891—00e01        Specification for Coextruded Poly (Vinyl Chloride) (PVC) Plastic Pipe with a       Table P3002.1,

Cellular Core  Table P3002.2, Table R4413.2.2, Table R4413.2.3, Table R4413.2.4, Table R4413.2.5

F 1346-91(1996)  Performance Specification for Safety Covers and Labeling Requirements for

Swimming Pools, Spas and Hot Tubs	                                                                             R202

F 1554—99        Standard Specifications for Anchor Bolts Steel 36, 55 and 105 ksi Yield Strength	  Table R4413.2.5

G 26—77            Practice for Operating Light Exposure Apparatus (Xenon Arc Type) With and

Without Water for Exposure of Nonmetallic Materials (Withdrawn)	                          R4412.1.2

G 53—96            Practice for Operating Light and Water Exposure Apparatus (Fluorescent UV

condensation type) for Exposure of Nonmetallic Materials	                                 R4401.17.1.15

G 60                     Standard Practice for Conducting Cyclic Humidity Exposures	                             R4409.6.17.2.2.8

G 85                     Standard Practice for Modified Salt Spray (Fog) Testing	                                        R4402.6.5

AWPA           American Wood Preservers’ Association

801 Alabama Avenue 2nd Floor,

Selma, AL 36702-0388

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

C2—01            Lumber, Timbers, Bridge Ties and Mine Ties — Preservative Treatment

by Pressure Processes 	                                      R319.1, R323.1.7, Table R905.8.5, R4409.1.4.5

C3—99            Piles — Preservative Treatment by Pressure Processes	R319.1, R323.1.7, R4404.7.1.3, R4409.1.4.5

C4—99            Poles — Preservative Treatment by Pressure Processes	                     R319.1, R323.1.7, R4409.1.4.5

C5—03            Posts—Pressure Treatment by Pressure Processes	                                                    R4409.1.4.5

C6—99            Crossties and Switch Ties Preservative Treatment by Pressure Processes	  R4409.1.4.5, R4409.21.9

C7—96            Western Red Cedar, Northern White Cedar & Alaska yellow Cedar Poles Preservative

Treatment of Incised Pole Butts by the Thermal process (Withdrawn)	                       R4409.1.4.5

C8—96            Western Red & Alaska Yellow Cedar Poles Preservative Treatment by the Full

Length Thermal process (Withdrawn)	                                                                                 R4409.1.4.5

C9—03            Plywood — Preservative Treatment by Pressure Processes	       R319.1, R323.1.7, R4409.1.4.5

C10—96          Lodgepole Pine Poles Preservative Treatment by the Full Length Thermal Process	         R4409.1.4.5

C11—01          Wood Blocks for Floors & Platforms Pressure Treatment by the Pressure Process	         R4409.1.4.5

C14—03          Wood for Highway Construction Pressure Treatment by the Pressure Process	         R4409.1.4.5

C16—03          Wood used on Farms Pressure Treatment	                                                                  R4409.1.4.5

C18—99          Standard for Pressure Treated Material in Marine Construction	       R319.1, R323.1.7, R4409.1.4.5

C20—99          Structural Lumber—Fire retardant Treatment by Pressure Processes 	                       R4409.1.4.5

C22—96          Lumber and Plywood for Permanent Wood Foundations— Preservative Treatment

by Pressure Processes	                                  R319.1, R323.1.7, R402.1.2, R504.3, R4409.1.4.5

C23—03          Round Poles and Posts Used in Building Construction— Preservative Treatment

by Pressure Processes 	                                                                   R319.1, 323.1.7, R4409.1.4.5

C25—03           Sawn Crossarms Pressure Treatment	                                                                                 R4409.1.4.5

C26—57           Crossarms Non Pressure Treatment	                                                                                 R4409.1.4.5

C28—99           Standard for Preservative Treatment by Pressure Process of Structural Glued

Laminated Members and Laminations Before Gluing 	                                                    R4409.1.4.5

C29—01          Lumber to be used for the Harvesting Storage and Transportation of Food Stuffs

Preservative Treatment by Pressure Processes	                                                                  R4409.1.4.5

M1—01           Standard for the Purchase of Treated Wood Products	                                                    R4404.7.1.4

M2—01            Standard for the Inspection of Wood Products Treated with Preservatives	                       R4404.7.1.4

M4—02            Standard for the Care of Preservative treated Wood Products                     , R4404.7.1.4, R4409.1.4.5

AWS                American Welding Society

550 NW Le Jeune Road

Miami, FL 33126

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

B2.1               Standard Welding Procedure and Performance Qualification	                                        R4408.1.3

C5.4               Recommended Welding Practice for Stud Welding	                                                       R4408.1.3

D1.1               Structural Welding Code Steel	                                                                                                  R4408.1.3

D1.2               Structural Welding Code Aluminum	                                                                                    R4406.1.3

D1.3               Structural Welding Code Sheet Metal	                                                                                    R4408.1.3

D1.4               Structural Welding Code Reinforcing Steel	       R4405.4.4, R4405.8.4.8, R4407.2.1.1, R4408.1.3

D9.1               Specification for Welding of Sheet Metal	                                                                     R4408.1.3

D10.9             Standard for Qualification of Welding Procedures and Welders for Piping and Tubing          R4408.1.3

AWWA         American Water Works Association

6666 West Quincy Avenue

Denver, CO 80235

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

C110—98               Standard for Ductile iron and Gray iron Fittings, 3 Inches through 48

Inches, for Water 	                                                               Table P2904.6, Table R4413.2.7

C511—00               Reduced Pressure Principle Backflow Prevention Assembly 	               Table P2902.2, P2902.2.5,

P2902, P2902.4.1

CGSB          Canadian General Standards Board

11 Laurier Street, Place du Portage III, 6B1

Gatineau, Quebec, Canada K1A 1G6

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

37–GP—52M—(1984) Roofing and Waterproofing Membrane, Sheet Applied, Elastomeric R905.12.2, R4402.4.2.4

CISPI          Cast Iron Soil Pipe Institute

Suite 419

5959 Shallowford Road

Chattanooga, TN 37421

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

301—04         Specification for Hubless Cast Iron Soil Pipe and Fittings for Sanitary  Table P3002.1, Table P3002.2,

and Storm Drain, Waste and Vent Piping Applications	               Table R4413.2.2, Table R4413.2.3,

Table R4413.2.4, Table R4413.2.5

CPSC         Consumer Product Safety Commission

4330 East West Highway

Bethesda, MD 20814 4408

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

16 CFR Part 1201—(1977)    Safety Standard for Architectural Glazing        R308.1.1, R308.3, R4410.2.1.3,

R4410.2.3.1.2, R4410.2.4.2

CSA            Canadian Standards Association

8501 East Pleasant Valley Road

Cleveland, OH 44131 5575

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

A257.1—03    Nonreinforced Circular Concrete Culvert, Storm Drain, Sewer Pipe and Fittings        Table R4413.2.4

A257.2—03    Reinforced Circular Concrete Culvert, Storm Drain, Sewer Pipe and Fittings             Table R4413.2.4

B125—01      Plumbing Fittings	                                                                  Table P2902.2.2, P2902.3.1, P3003.3.5

B137.2—02   PVC Injection moulded Gasketed Fittings for Pressure Applications   Table P2904.6, Table R4413.2.7

B181.1—02        Plastic Drain and Sewer Pipe Fittings	                              Table R4413.2.2, Table R4413.2.3

B181.2—02        PVC Drain, Waste Vent Pipe Fittings	                              Table R4413.2.2, Table R4413.2.3

B181.3—02        Polyolefin Laboratory Drainage System	                              Table R4413.2.2, Table R4413.2.3

B182.2—02        PVC Sewer Pipe and Fittings (PSM Type)	                              Table R4413.2.4, Table R4413.2.5

B182.4—02        Profile PVC Sewer Pipe and Fittings	                              Table R4413.2.4, Table R4413.2.5

DASMA         Door and Access Systems Manufacturers Association International

1300 Summer Avenue

Cleveland, OH 44115-2851

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

108—02               Standard Method for Testing Garage Doors	                                                       R613.4.1, R613.4.2

ANSI/DASMA 115-05  Standard Method for Testing Garage Doors and Rolling Doors:  Determination

of Structural Performance Under Missile Impact and Cyclic Wind Pressure                    R301.2.1.2

DHS/FEMA           Department of Homeland Security

Federal Emergency Management Agency

Federal Center Plaza

500 C Street, SW

Washington, DC 20472

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

CFR 44           Emergency Management and Assistance

Part 59         59 Criteria for Land Management Use, General Provisions

Part 60         60 Criteria for Land Management Use, Flood Plain Management Regulation         R301.2.4, M1401.5,

P2601.3

FIA-TB-11-01

TB–2—93      Flood–resistant Materials Requirements	                                                                       R323.1.7

DOC/NIST              Department of Commerce

National Institute of Standards and Technology

100 Bureau Drive Stop 3460

Gaithersburg, MD 20899

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

CS 236              Mat Formed Particleboard	                                                                         R4409.1.4.6, R4409.2.1.6

PS 1—95          Construction and Industrial Plywood	           R404.2.1, Table R404.2.3, R503.2.1, R604.1, R803.2.1,

R404.21, Table R404.2.3, R503.2.1, R604.1, R803.2.1, R4409.1.4.6, R4409.2.1.2

PS 2—92          Performance Standard for Wood–based Structural–use Panels   R404.2.1, Table R404.2.3, R503.2.1,

R604.1, R803.2.1, R404.21, Table R404.2.3, R503.2.1, R604.1,

R803.2.1, R4409.1.4.6, R4409.2.1.2

PS 56                Structural Glued Laminated Timber	                                                                                 R4409.1.4.6

PS 20—99        American Softwood Lumber Standard	                    R404.2.1, R502.1.1, R602.1.1, R802.1.1,

Table R404.2.3, R503.2.1, R604.1, R803.2.1, R4409.1.4.6, R4409.2.1.8

DOL/OSHA       Department of Labor

Occupational Safety and Health Administration

Frances Perkins Building

200 Constitution Avenue, NW

Washington, DC 20210

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

29 CFR 1910              General Industry Occupational Health & Safety Standards	                                        R4403.7.3

29 CFR 1926 650(P) Excavation Safety Act	                                                                                                  R4404.1.1

DOT        Department of Transportation

400 Seventh St. S.W.

Washington, DC 20590

Standard                                                                                                              Referenced in code

reference number               Title                                                                                section number

14 CFR Part 150 (2005)    Airport Noise Compatibility Planning, Federal Aviation Administration	                    R325

FCPA      Florida Concrete & Products Association, Inc.

3030 Dade Avenue

Orlando, Florida 32804

Standard                                                                                                              Referenced in code

reference number               Title                                                                                                                section number

FCPA—97                   Guide to Concrete Masonry Residential Construction in High Wind Areas	           R301.2.1.1

Florida Codes     Florida Building Commission

c/o Florida Department of Community Affairs

Building Codes and Standards

2555 Shumard Oak Boulevard

Tallahassee, FL 32399-2100

RAS 111                                                                                   Add:                                                                     R903.3

TAS 107…………………………                                            Add:   …………………..R905.6.2.1, Table R905.6.2.1

TAS 202                                                                                    Add:                                                 R613.3.1, R613.4.2

FM                Factory Mutual Global Research

Standards Laboratories Department

1151 Boston Providence Turnpike

Norwood, MA 02062

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

4450—(1989)        Approval Standard for Class 1 Insulated Steel Deck Roofs—with Supplements

through July 1992	                                                                           R906.1, R4412.1.3.2.5.2

4470 (1992)            Approval Standard for Class 1 Roof Covers                         R4402.2.1, R4402.4.1.1, R4402.4.2.4

4880—(2001)        American National Standard for Evaluating Insulated Wall or Wall and

Roof/Ceiling Assemblies, Plastic Interior Finish Materials, Plastic Exterior

Building Panels, Wall/Ceiling Coating Systems, Interior or Exterior

Finish Systems	                                                                               R314.4, R314.6, R4412.1.3.1.4

FRSA           Florida Roofing, Sheet Metal and Air-Conditioning Contractors Association, Inc.

411 Metric Avenue

Winter Park, Florida 32793

FRSA/TRI 07320/8-05                                                             Add:                                 R905.3, R905.3.3, R905.3.7.1

FS                 Federal Specification

941 Jefferson Davis Highway, Suite 104

Arlington, VA 22202

TT P 1536A (1975) Federal Specification for Plumbing Fixture Setting Compound	P3003.4.5

TTC 555B Test Specification for Wind Driven Rain Infiltration Resistance	 	R4402.12.6.3.1

FWC           Florida Wood Council

P.O. Drawer 1076

Mount Dora, Florida 32757-1076

1997 		Guide to Wood Construction in High Wind Areas				R301.2.1.1

GA               Gypsum Association

810 First Street, Northeast, Suite 510

Washington, DC 20002-4268

GA 253-99                                                                                    Change:                                             Table R602.2(1)

ICC       International Code Council

900 Montclair Road

Birmingham, Alabama 35213-1206

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

IBHS-2005                   Guideline for Hurricane Resistant Residential Construction 2005

with errata for the first printing                                                                                 R301.2.1.1

NAAMM      National Association of Architectural Metal Manufacturers

8 South Michigan Avenue

Chicago, IL 60603

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

ANSI/NAAMM MBG 5XX   Metal Grating Manual	                                                                                    R4408.1.3

NAIMA        North American Insulation Manufacturer’s Association

44 Canal Center Plaza, Suite 310

Alexandria, VA 22314

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

AH 116 06—02      Fibrous Glass Duct Construction Standards	                                  M1601.6, M1601.6.2.3

NFPA         National Fire Protection Association

1 Batterymarch Park

Quincy, MA 02269

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

70—05            National Electrical Code (NEC)	                                                                                       E3301.1

70A—05         National Electric Code (NEC) for One and Two Family Dwellings	             E3301.1, G2402.3

101—03          Life Safety Code	                                                                                                                     R324.1

259—04          Standard Test Method for Potential Heat of Building Materials	               R314.5.7, R4412.1.3.2.4.4

NFPA

  - Standard for the Installation of Carbon Monoxide (CO)

Warning Equipment in Dwelling Units     			                R313

[Approved by the Commission, August 2007]

NFPA 286 change to read as shown.  [Fire Correlation]

NFPA 286 2006

286—06          Standard Methods of Fire Tests for Evaluating Contribution of Wall and

Ceiling Interior Finish to Room Fire Growth	                      R314.4, R314.6, R315.4, R4412.1.3.1.4

501—03          Standard on Manufactured Housing	                                                                                            R202

NRCA           National Roofing Contractors Association

10255 W. Higgins Road, Suite 600

Rosemont, IL 60018

Standard                                                                                  	            Referenced in code

reference number    Title                                                                                           section number

P 0405            Roofing and Waterproofing Manual, 5th Edition	                                                       R4402.2.1

NSF               National Sanitation Foundation

3475 Plymouth Road

Ann Arbor, MI 48105

NSPI              National Spa and Pool Institute

2111 Eisenhower Avenue

Alexandria, VA 22314

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

3—99           American National Standard for Permanently Installed Residential Spas	                          R4101.6.1

4—99           American National Standard for Aboveground/On ground Residential Swimming Pools         R4101.6.1

5—03           American National Standard for Residential In ground Swimming Pools	                          R4101.6.1

6—99           American National Standard for Residential Portable Spas	                                                       R4101.6.1

RMI/SMA     Rack Manufacturer’s Institute/Storage Equipment Manufacturer’s Association

(A member of the Material Handling Industry of America)

8720 Red Oak Blvd., Suite 201

Charlotte, NC 28217

RP1—90	Minimum Requirements for Non Reinforced Black EPDM Rubber Sheets	R905.12.2

RP2—90	Minimum Requirements for Fabric Reinforced Black EPDM Rubber Sheets	R905.12.2

RP3—85    Minimum Requirements for Fabric Reinforced Black Polychloroprene Rubber Sheets	R905.12.2

RCSC           Research Council on Structural Connections

c/o Stanley D. Lindsey & Associates Ltd.

224 Metro Center Blvd., Suite 208

Nashville, TN 37228-1320

RCSC	Load and Resistance Factor Design Specification for Structural Joints Using A325 and A490 Bolts, 1988	R4408.1.3

SDI             Steel Door Institute

P.O. Box 25

Fox River Grove, IL 60021

MOC1	SDI Manual of Construction with Steel Deck			R4408.1.3

DDP	Deck Damage and Penetrations					R4408.1.3

DDM02	Diaphragm Design Manual				R4408.1.3, R4408.9.4

SDI, LRFD	Design Manual for Composite Beams and Girders with Steel Deck	R4408.1.3

SPD2	Standard Practice Details						R4408.1.3

NO. 30	Steel Deck Institute Design Manual					R4408.1.3

SDI           Steel Door Institute

c/o Wherry Associates

30200 Detroit Road

Cleveland, Ohio 44145 1967

ANSI A250.13—03	Testing and Rating of Severe Windstorm Resistant Components for Swinging Door Assemblies	R613.4.4.1

SJI             Steel Joist Institute

3127 10th Avenue, North

Myrtle Beach, SC 29577-6760

SJI	Standard Specifications, Load Tables and Weight Tables for Steel Joists and Joist Girders	     R4408.1.3

SJI	Structural Design of Steel Joist Roofs to Resist Ponding Loads, Technical Digest No. 3	R4408.1.3

SJI	Structural Design of Steel Joist Roofs to Resist Uplift Loads, Technical Digest No. 9	R4408.1.3

SJI	Vibration of Steel Joist Concrete Slab Floors, Technical Digest No. 5	R4408.1.3

SJI	Welding of Open Web Steel, Technical Digest No. 8			R4408.1.3

SJI	60 Year Steel Joist Manual					R4408.1.3

SMACNA   Sheet Metal & Air Conditioning Contractors National Assoc., Inc.

4021 Lafayette Center Drive

Chantilly, VA 22021

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

SMACNA—85       HVAC Air Duct Leakage Test Manual	                                                                    M1601.5.3

SMACNA—95       HVAC Duct Construction Standards–Metal and Flexible	                                          M1601.5

SSPC         Society for Protective Coatings

40 24th Street, 6th Floor

Pittsburgh, PA 15222-4656

SSPC Paint 15	Steel Joist Shop Paint							R4408.1.3

SSPC/AISC	Guide to the Shop Painting of Structural Steel				R4408.1.3

SPRI           Single-Ply Roofing Institute

77 Rumford Avenue, Suite 3-B

Waltham, MA 02453

Standard                                                                                                              Referenced in code

reference number    Title                                                                                          section number

ES 1-98        Wind Design Standard for Edge Systems Used with Low Slope Roofing Systems                        R903.3

STI              Steel Tube Institute of North America (Welded Steel Tube Institute, Inc.)

2000 Ponce de Leon, Suite 600

Coral Gables, Florida 33134

WSTI/STI	Manual of Cold Formed Structural Steel Tube				R4408.1.3

TECO          Timber Company Inc.

2402 Daniels Street

Madison, WI 53704

PRP 133	Performance Standards and Policies for Structural Use Panels		R4409.1.4.8, R4409.2.1.2

TPI        Truss Plate Institute

218 N. Lee Street, Suite 312

Alexandria, VA 22314

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

BCSI 1-03 06    Guide to Good Practice for Handling, Installing Restraining & Bracing of Metal Plate           R502.1.3.2, 802.1.6.3,

BCSI 1-03 -06 Guide to Good Practice for Handling, Installing, Restraining & Bracing of Metal Plate Connected Wood Trusses.  [Mod 2584]

WTCA           Connected Wood Trusses                                            R4409.1.4.9, R4409.6.17.2.4.1, R4409.6.17.2.4.3

TPI 1—02      National Design Standard for Metal plate connected Wood Truss Construction                   R502.1.3.1,

R502.1.3.2, R802.1.6.2, R802.2.9.1, R4409.1.4.9, R4409.6.17.2.1.1, R4409.6.17.2.2.8

UL           Underwriters Laboratories, Inc.

333 Pfingsten Road

Northbrook, IL 60062

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

9—00           Standard for Fire Tests of Window Assemblies	                                                             R4407.4.2.12.8

181A—98   Closure Systems for Use with Rigid Air Ducts and Air Connectors— with Revisions

December 1998 	      M1601.2, M1601.3.1, M1601.6.2.3, M1601.6.4.2, M1601.6.4.5, M1601.10.1

536—97      Flexible Metallic Hose—with Revisions through October 2000	                                           M2202.3

580—94      Test for Uplift Resistance of Roof Assemblies	                                                R4408.1.3, R4408.9.4.6

723—03      Test for Surface Burning Characteristics of Building Materials	                                     M1601.1.3.7

790—04      Tests for Fire Resistance of Roof Covering Materials— with Revisions through July 1998   R902.1,

R4402.2.1, R4402.5.1, R4409.1.4.10, R4402.12.1.2

795—01     Commercial Industrial Gas Heating Equipment	                                                        G2442.1, G2452.1

834—04     Heating, Water Supply, and Power Electric—with Revisions through November 1998	           M2001.1.1

1040—96      Fire Test of Insulated Wall Construction—with Revisions through June 2001               R314.4, R314.6,

R4412.1.3.1.4

1482—98       Solid fuel Type Room Heaters—with Revisions through January 2000	                            M1410.1

1715—97       Fire Test of Interior Finish Material	                                                  R314.4, R314.6, R4412.1.3.1.4

1777—04      Chimney Liners—with Revisions through July 1998                          R1001.8.1, R1001.15, M1801.3.4,

G2425.12, G2425.15.4

2017—00       Standard for the General Purpose Signaling Devices and Systems	                                   R4101.17.1.9

2158—97       Standard for Electric Clothes Dryer with Revisions through February 1999	                            M1501.1

WDMA      Window & Door Manufacturers Association

1400 East Touhy Avenue, #470

Des Plaines, IL 60018

Standard                                                                                                              Referenced in code

reference number    Title                                                                                           section number

101/I.S. 2—97   Voluntary Specifications for Aluminum, Vinyl (PVC) and Wood Windows and Glass Doors R613.3

101/I.S.2/NAFS-02 Voluntary Performance Specification for Windows, Skylights and Glass Doors            R308.6.9,

R613.3, N1101.3.2.2

101/IS2/A440-05

WPPC       Wood Products Promotional Council

c/o Florida Wood Council

1300 Limit Avenue

Mount Dora, FL 32758

WQA         Water Quality Association

4151 Naperville Road

Lisle, IL 60532

Chapter 44:  High Velocity Hurricane Zone.  Add to read as shown.

Chapter 44:  High Velocity Hurricane Zone

R4402.2.1 Definitions.  Change to read as shown.

FMRC (Factory Mutual Research Corporation). FM Approvals A research and testing organization that is responsible for examination and testing of construction and other products. on behalf of member insurance companies.  [Mod 2261]

Table R4402.4.2 Minimum Slope.  Change to read as shown.  [Mod 2259]

TABLE R4402.4.2

MINIMUM SLOPE

| SYSTEM TYPE | SLOPE |
| --- | --- |
| Fibrous Cement Shingles | 4:12 |
| Metal Panels |  |
| Architectural | 2:12 |
| Structural | 1:12 |
| Metal Shingles | 4:12 |
| Mortar or Adhesive Tile | 2:12 |
| Mechanically Fastened Ashphalt Shingles Tile | 4:12 |
| Asphalt Shingles |  |
| Laminated | 2:12 |
| 3-Tab | 2:12 |
| Quarry Slate | 3-½:12 |
| Wood | 2:12 |
| Shakes | 4:12 |
| Shingles | 3-½:12 |

Section R4403.7.3.6.4 add to read as shown.

R4403.7.3.6.4  If the posts that support the top rail of exterior railings are substituted with glass, the assembly shall be tested to TAS 201, where the impacted glass  continues to support the top rail and all applicable loads after impact .  [Mod 2118r]

Section R4405.8.5.5 change to read as shown.  [Added June 27, 2007 by the Commission]

R4405.8.5.5 For exterior balcony slabs, slab surface shall be sloped 1/8 unit in 12 units or greater to safeguard against ponding of water and slabs shall be designed and constructed in accordance with the provisions of ACI 318.  minimum concrete cover for negative moment reinforcement may be 1 inch (25 mm) for No. 5 bars and smaller, provided the following are satisfied:

1.	Placement of slab reinforcement shall be under the supervision of a Florida-registered architect or engineer.

2.	For concrete made with normal weight aggregate, the water-cement ratio shall not exceed 0.40 by weight. For concrete made with lightweight aggregate, specified compressive strength of concrete f  ' c shall not be less than 4750 psi (32.75 MPa).

3.	A surface penetrant of the alkyl-alkyoxy silane classification or approved equal is applied after proper surface preparation.

4.	For structures located in corrosive atmospheres such as along the coastal shore line, slab reinforcement shall be galvanized in accordance with ASTM A 767, Specifications for Zinc-Coated (galvanized) Bars for Concrete Reinforcement.

5.	If minimum concrete cover for negative moment is at least 11/2 inches (37 mm), Items 1 to 4 are not required.  [Mod 2155r]

Section R4408.9.4.7 delete text to read as shown.

R4408.9.4.7 Metal building siding and roof decking shall be designed  without an allowable increase in stresses of one-third caused by wind load.  [Mod 2103]

Section R4407.3.3 change to read as shown.

R4407.3.3 Un-reinforced unit masonry shall be assumed to have no value in resisting axial tension (uplift).  Flexural tension is allowed in un-reinforced masonry per ACI 530.

[Mod 2169]

Section  R4409.13.3.2.5 Conditioned attic assemblies.  Change to read as shown.

R4409.13.3.2.5 Conditioned attic assemblies. Unvented conditioned attic assemblies (spaces between the ceiling joists of the top story and the roof rafters) are permitted under the following conditions:

1. No interior vapor retarders are installed on the ceiling side (attic floor) of the unvented attic assembly.

2. An air-impermeable insulation is applied in direct contact to the underside/ interior of the structural roof deck. “Air-impermeable” shall be defined by ASTM E 283.

3. Shingles shall be installed as shown:

a. For asphalt roofing shingles: A 1-perm (57.4 mg/s · m2·Pa) or less vapor retarder (determined using Procedure B of ASTM E 96) is placed to the exterior of the

structural roof deck; i.e. just above the roof structural sheathing.

b. For wood shingles and shakes: a minimum continuous ¼ inch (6 mm) vented air space separates the shingles/shakes and the roofing felt placed over the structural

sheathing.

R4409.13.3.2.5 Unvented attic assemblies. Unvented attic assemblies shall be permitted if all the following conditions are met:

1. The unvented attic space is completely contained within the building thermal envelope.

2. No interior vapor retarder is installed on the ceiling side (attic floor) of the unvented attic assembly.

3.Where wood shingles or shakes are used, a minimum continuous ¼ inch (6 mm) vented air space separates the shingles or shakes from the roofing underlayment.

4. One of the following: shall be met, depending on the air permeability of the insulation under the structural roof sheathing.

a. Air-impermeable insulation only. Insulation shall be applied in direct contact to the underside of the structural roof sheathing.

b. Air-permeable insulation only. In addition to air-permeable insulation installed directly below the structural sheathing, at least R-5 rigid board or sheet insulation shall be installed directly above the structural roof sheathing for condensation control.

c. Air-impermeable and air-permeable insulation. At least R-5 air-impermeable insulation shall be applied in direct contact to the underside of the structural roof sheathing for condensation control. The air-permeable insulation shall be installed directly under the air-impermeable insulation.  [Mod 2059r]

Section R4409.15.2 change to read as shown.

R4409.15.2 Fences not exceeding 6 feet (1829 mm) in height, shall be constructed to meet the following minimum requirements: from nominal 4 x 4 x 8 feet (2438 mm) long posts No. 2 Grade or better spaced 4 feet (1219 mm) on center, and embedded 2 feet (610 mm) into a concrete footing 10 inches (254 mm) in diameter and 2 feet (610 mm) deep.  [Mod 2100]

Change Section R4410.1 as shown:

R4410.1 General

R4410.1.1 Exterior wall cladding…through R4415.

R4410.1.2 Exterior wall cladding, surfacing…wind-borne debris. [1-2 no change]

R4410.1.3 Workmanship. Cladding…in Chapter 43.

R4410.1.4 All exterior wall cladding…shall have Product Approval.

[Approved by the Commission, August 2007]

Section R4410.2.3.2.1.1 change to read as shown.

R4410.2.3.2.1.1  Glazed curtain wall, window wall and storefront systems shall be tested in accordance with the requirements of this section and the requirements of the American Architectural Manufacturers Association (AAMA) Standard 501, following test load sequence and test load duration in TAS 202.

Exceptions:

1. 	Door assemblies installed in nonhabitable areas where the door assembly and area are designed to accept water infiltration, need not be tested for water infiltration.

2.  	Door assemblies installed where the overhang (OH) ratio is equal to or more than 1 need not be tested for water infiltration.  The overhang ratio shall be calculated by the following equation:

OH ratio = OH Length/OH Height

Where:

OH Length = The horizontal measure of how far an overhang over a door projects out from door’s surface.

OH Height = The vertical measure of the distance from the 	door’s sill to the bottom of the overhang over a door.

3. 	Pass-through windows for serving from a single-family kitchen, where protected by a roof overhang of 5 feet (1.5 m) or more shall be exempted from the requirements of the water infiltration test.  [Mod 2123]

Section R4410.2.3.3.6 change to read as shown.

R4410.2.3.3.6 The depth of the glazing rabbet and depth of engaugement engagement in the rabbet, for fixed glass, shall be based on consideration of the dimensional reduction from deflection and the dimensional changes caused by temperature.  [Mod 2131]

Section R4410.2.3.4 add text to read as shown.

R4410.2.3.4 Gaskets used in glazing systems shall comply with the following standards as applicable:

1.  	ASTM C864  Dense Elastomeric Compression Seal Gaskets, Setting Blocks, and Spacers

2.  	ASTM C509  Elastomeric Cellular Preformed Gaskets and 	Sealing Material

3.	ASTM C1115  Dense Elastomeric Silicone Rubber Gaskets and Accessories

4.	ASTM E2203  Dense Thermoplastic Elastomers Used for Compression Seals, Gaskets, Setting Blocks, Spacers and Accessories.  [Mod 2131]

Section R4410.2.3.2.5 change to read as shown.

R4410.2.3.2.5  Comparative analysis of operative windows and glazed doors may be made provided the proposed unit complies with the following:

1.	Shall always be compared with a tested and currently approved unit.

2.	Varies only in width, height and/or load requirements.

3.	Shall not exceed 100 percent of the proportional deflection for fiber stress of the intermediate members of the approved unit.

4.	Shall conform as to extruded members, reinforcement and in all other ways with the tested approved unit.

5.	Shall not exceed 100 percent of the concentrated load at the juncture of the intermediate members and the frame of the approved unit.

6.	Shall not permit more air and water infiltration than the approved unit based on the height above grade.

7.	Pass-through windows for serving from a single-family kitchen, where protected by a roof overhang of 5 feet (1.5 m) or more shall be exempted from the requirements of the water infiltration test.

7.	Compared unit shall not exceed the maximum cyclic pressure when tested per TAS203.  [Mod 2127]

Section R4410.2.3.2.6 change to read as shown.

R4410.2.3.2.6  Comparative analysis of fixed glass windows may be made provided the proposed unit complies with the following:

1.	Shall always be compared with a tested and currently approved unit.

2.	Varies only in width, height and/or load requirements.

3.	The design is identical in all respects. e.g., extrusions, glazing system, joinery, fasteners, etc.

4.	Shall not permit more air and water infiltration than the approved unit based on height above grade.

5.	The maximum uniform load distribution (ULD) of any side is equal to the uniform load carried by the side divided by the length of the side.

6.	The ULD of any member must not exceed the ULD of the corresponding member of the tested window.

7.	The uniform load distribution on each member shall be calculated in accordance to Section 2, Engineering Design Rules, of the AAMA 103.3 Procedural Guide.

8.	Compared unit shall not exceed the maximum cyclic pressure when tested per TAS203.  [Mod 2127]

Appendix D (IFGS):  Recommended Procedure for Safety Inspection of An Existing Appliance Installation.  Change to read as shown.

Appendix D (IFGS):  Recommended Procedure for Safety Inspection of An Existing Appliance Installation.  Reserved.

Appendix E:  Chapter 9b-53, Standard for Mitigation of Radon in Existing Buildings.  Change to read as shown. (See 2004 FBC)

Appendix E:  Chapter 9b-53, Standard for Mitigation of Radon in Existing Buildings.

Appendix F:  Chapter 9b-52, Florida Standard for Passive Radon-Resistant New Residential Building Construction.  Change to read as shown. (See 2004 FBC)

Appendix F:  Chapter 9b-52, Florida Standard for Passive Radon-Resistant New Residential Building Construction.

Appendix G Swimming Pools, Spas and Hot Tubs.  Change to read as shown.

[Add the following Appendix, with Subappendices, to the FBC-Residential code:]

APPENDIX G

SUPPLEMENTAL INFORMATION FOR CHAPTER 11

Swimming Pools, Spas and Hot Tubs.  Reserved.

SUBAPPENDIX G-A

Jurisdictional Data.

[Add from ’04 FBC-B Appendix 13-A]

Amend Appendix G-A as shown:

Add the following town to Alachua County:

Permitting Office    Jurisdiction Number       Climate Zone    Reporting Group

Alachua                       111400                                  3                        III

Delete the following jurisdictions from Lake County:

Clermont                     451200                                  5                        III

Montverde                   452100                                  5                        III

SUBAPPENDIX G-B

GENERAL REQUIREMENTS

B1.1 Baseline features.  Baseline features for compliance method A shall be as described in Section N1113. These features are not code minimum efficiencies; rather, they represent standard reference design building component options utilized in establishing a budget that the building shall not exceed to comply with the code.

B1.2  Building envelope, insulation. All R-values referenced in this chapter refer to the R-values of the added insulation only. The R-values of structural building materials such as framing members, concrete blocks or gypsum board shall not be included. Insulation levels shall be achieved with insulation products tested and rated according to the procedures recognized by the Federal Trade Commission (FTC) in 16 CFR Part 460. See Section N1100.5.3 for compliance requirements pertaining to insulation installed in locations where the R-value is not readily apparent or the FTC label is not affixed to the installed product.

B1.2.1  When installing two layers of bulk or board insulation, the R-values of each material may be added together for a total R-value. When installing two separate reflective insulation products in layers, the total R-value of the system shall have been achieved by testing under FTC regulations, 16 CFR Part 460.

B1.2.2  Insulation that has been compressed to 85-percent or less of the manufacturer’s rated thickness for the product shall use the R-values given in Table  B1.2.2. These values are to be used except where data developed by an independent testing laboratory is provided and approved by the Florida Building Commission.

TABLE B1.2.2

R-VALUES OF COMPRESSED INSULATION

| % of Original Thickness | R-5 | R-7 | R-11 | R-14 | R-19 | R-30 | R-38 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 90 | 5 | 6 | 10 | 13 | 18 | 28 | 36 |
| 80 | 4 | 6 | 10 | 12 | 17 | 26 | 33 |
| 70 | 4 | 5 | 9 | 11 | 15 | 24 | 30 |
| 60 | 3 | 5 | 8 | 10 | 14 | 22 | 27 |
| 50 | 3 | 4 | 7 | 9 | 12 | 18 | 24 |
| 40 | 2 | 4 | 6 | 8 | 10 | 15 | 20 |
| 30 | 2 | 3 | 4 | 6 | 8 | 12 | 16 |
| 20 | 20 | 2 | 2 | 3 | 4 | 10 | 10 |

B1.2.3  The thermal insulation materials listed below shall comply with the requirements of their respective ASTM standard specification and shall be installed in accordance with their respective ASTM installation practice in Table  B1.2.3.

TABLE  B1.2.3

INSULATION INSTALLATION STANDARDS

| Insulation Material | Standard Specification | Installation Practice |
| --- | --- | --- |
| Mineral Fiber Batt/Blanket | ASTM C 665 | ASTM C 1320 |
| Mineral Fiber Loose Fill | ASTM C 764 | ASTM C 1015 |
| Cellulose Loose Fill | ASTM C 739 | ASTM C 1015 |
| Polystyrene Foam | ASTM C 578 |  |
| Polyisocyanurate Foam | ASTM C 1289 |  |
| Reflective | ASTM C 1224 | ASTM C 727 |
| Radiant Barrier | ASTM C 1313 | ASTM C 1158 |
| Vermiculite | ASTM C 516 |  |
| Perlite | ASTM C 549 |  |
| Spray-Applied Rigid Cellular Polyurethane Foam | ASTM C 1029 |  |
| Interior Radiation Control Coating Systems |  | ASTM C 1321 |

B2.0 General Criteria for the Building envelope

B2.1 Glazing.  U-factors (thermal transmittances) or SHGC for glazed fenestration products shall be determined in accordance with NFRC 100, Procedure for Determining Fenestration Product U-factors or NFRC 200, Procedures for Determining Fenestration Product Solar Heat Gain Coefficients at Normal Incidence, by an accredited, independent laboratory and labeled and certified by the manufacturer. See Section N1100.6.5.

B2.1.1  Unlabeled windows.  When a manufacturer has not determined U-factor or SHGC in accordance with NFRC 100 or 200 for a particular product line, compliance with the building envelope requirements of this code shall be determined by assigning such products default U-factor or SHGC in accordance with Table B2.1.1. Product features must be verifiable for the product to qualify for the default value associated with those features. Where the existence of a particular feature cannot be determined with reasonable certainty, the product shall not receive credit for that feature. Where a composite of materials from two different product types are used, the product shall be assigned the higher U-factor or SHGC.

TABLE B2.1.1

DEFAULT WINDOW ENERGY VALUES

| Type | U-factor | Solar Heat Gain Coefficient (SHGC) |
| --- | --- | --- |
| Single pane clear | 1.30 | 0.75 |
| Single pane tint | 1.30 | 0.64 |
| Double pane clear | 0.87 | 0.66 |
| Double pane tint | 0.87 | 0.55 |

B2.1.2  The overhang length for adjustable exterior shading devices shall be determined for the overhang at its most extended position.

B2.1.3 All glazing areas of a residence, including windows, sliding glass doors, glass in doors, skylights, etc. shall include the manufacturer’s frame area in the total window area. Window measurements shall be as specified on the plans and specifications for the residence.

When a window in existing exterior walls is enclosed by an addition, an amount equal to the area of this window may be subtracted from the glazing area for the addition for that overhang and orientation.

B2.2 Walls

B2.2.1  Exterior or adjacent walls consisting of more than one construction type or R-value shall be treated as separate walls.

B2.2.2  Walls separating an addition from the preexisting conditioned spaces shall not be included in the calculation.

B2.2.3  Common walls separating conditioned tenancies shall not be included as heat transfer areas in the As-Built or Baseline house envelope calculation.

B2.2.4 Walls that separate conditioned living space from unconditioned attic space, such as walls supporting cathedral ceilings and gambrel roofs, and skylight shafts, etc. shall be considered ceiling area for this calculation procedure.

B2.2.5  Net wall area (gross wall area of the building less all doors and windows) taken from the plans and specifications shall be used in the compliance calculation.

B2.3  Doors.

B2.3.1 Door areas shall be determined from the measurements specified on the plans for each exterior and adjacent door.

B2.3.2 All sliding glass doors and glass areas in doors shall be included in the glazing calculation and meet the requirements of Section N1101 unless the glass is less than one-third of the area of the door.

B2.4 Ceilings

B2.4.1  If different ceiling types or R-values are used in a house, each type or R-value shall be treated as a separate heat transfer area.

B2.4.2  Common ceilings shall not be included in the house envelope calculation.

B2.4.3  Ceilings separating an addition from the preexisting conditioned spaces shall not be included in the calculation.

B2.4.4  As-built ceiling area shall be the actual ceiling area exposed to attic or single assembly roof conditions, including walls that separate conditioned living space from unconditioned attic space. Baseline ceiling area shall be the total floor area within the conditioned space located directly below the roof.

B2.5 Floors

B2.5.1 If the floor area consists of more than one type of construction or R-value, each floor system shall be treated as a separate floor heat transfer area.

B2.5.2  Common floors shall not be included in the calculation.

B2.5.3  Floors separating an addition from the preexisting conditioned spaces shall not be included in the calculation.

B2.5.4  Slab-on-grade floor perimeters shall be determined based on the linear footage of the slab which encloses the conditioned space, including both exterior and adjacent wall linear footage for single-family residential applications. In multiple-family applications, the slab linear footage between two conditioned tenancies shall be ignored.

B2.5.5 Raised floor areas shall be determined based on the conditioned floor area of floors above unconditioned space.

B3.0 Infiltration and Internal Gains

B3.1  Infiltration area determination. The area to be considered in the Infiltration calculation of Method A shall be the total conditioned floor area of the building.

B3.2 Infiltration and internal gains shall be considered the same for both the baseline and as-built conditions.

B3.3  Infiltration barriers for frame construction. The following building materials and systems qualify as infiltration barriers when installed on the exterior of frame wall construction. Analogous methods apply to raised floor and ceiling construction.

B3.3.1 Plastic sheeting. Plastic sheeting products shall be considered air infiltration barriers when applied to a frame wall underneath an exterior finish and the following sealing requirements are met:

- Sheeting shall be attached to the top plate by either:

  - Mechanical fasteners and mastic, or

  - Wrapping the sheeting over the top plate, then mechanically fastening it to the indoor faces of the plates. Sheeting shall be wrapped over the top plate prior to the trusses being set.

- Sheeting shall be attached to the bottom plate by either:

- Mechanical fasteners and mastic to the bottom plate, foundation wall, header and end joists, floor deck or slab edge, or

- Wrapping the sheeting under the bottom plate, then mechanically fastening it to the indoor faces of the plates

- Sheeting shall be attached around doors and windows by either:

- Mechanical fasteners and mastic to the jams, or

- Mechanical fasteners to the framing members and mastic or pressure sensitive tape with acrylic adhesive to metal or plastic mounting fins, or

- Wrapping the sheeting around the door or window opening, then attaching with mechanical fasteners to the indoor face of the framing.

- Sheeting shall be attached with mechanical fasteners at all seams. All seams shall be sealed by either applying a mastic or a pressure sensitive tape with acrylic adhesive to the lapped ends. Rubber-based adhesive tapes shall not be used for this purpose.

Tapes of any type are not acceptable for sealing plastic sheeting to wood or masonry building components.

B3.3.2 Wood sheathing.  Wood sheathing panels shall be considered air infiltration barriers when applied to a frame wall underneath an exterior finish and the following sealing requirements are met:

- Joints formed by the square edges of adjoining panels shall be backed by a framing member. The joints between panels shall be sealed, or both adjoining panels sealed to the framing member using a mastic. For joints formed by tongue and groove edges, the groove of the panels shall be filled with mastic prior to mating the panels.

- The panels shall be sealed to the top plate using a mastic.

- The panels shall be sealed to the bottom plate, floor deck, or header and end joists using mastic.

- The panels shall be sealed to the jambs or mounting fins of doors and windows using a mastic.

Tapes of any type are not acceptable sealants for sealing wood sheathing to wood members, mounting fins, or masonry.

B3.3.3 Nonwood sheathing.  Nonwood sheathing panels including foam insulation boards, and foil or plastic faced boards of other materials, shall be considered air infiltration barriers when applied to a frame wall under- neath an exterior finish and the following sealing requirements are met:

- Joints between adjoining panels shall be sealed using one of the methods given for wood sheathing boards in Section B3.3.2, (1) above or, joints between adjoining panels shall be sealed by pressure sensitive tape with acrylic adhesive. Rubber-based adhesive tapes shall not be used for this purpose.

- The panels shall be sealed to the top plate using a mastic.

- The panels shall be sealed to the bottom plate, foundation wall, header and end joists, floor deck, or slab using mastic.

- The panels shall be sealed to the jams or mounting fins of doors and windows using a mastic. Acrylic-based tape may be used to seal metal and plastic door and window mounting fins to the sheathing panels.

Tapes of any type are not acceptable sealants for sealing nonwood sheathing to wood or masonry building components.

B3.3.4 Stucco infiltration barrier.  Stucco on exterior frame walls may qualify as an infiltration barrier if the following conditions are met:

- Top plates, sill plates and sole plates or foundation joints to the stucco shall be sealed.

- All holes in the outer wall face shall be patched. The entire exterior wall shall be coated with a weather-resistant stucco layer of at least a 5/8 inch (16 mm) thickness for cementitious stucco or ½ inch (12.7 mm) for polymeric stucco.

B3.4 Infiltration criteria for log wall construction.  The following building materials, systems, or testing qualify as meeting the infiltration criteria for log wall construction:

- Continuous groove logs.  A continuous spline shall be caulked in place, or sealed with compressible foam gasket tape.

- Single, double and/or multiple tongue and groove joints. Tongue and groove joints shall be caulked in place or sealed with compressible foam gasket tape.

- Testing. The wall system shall have been tested by either a whole house air infiltration test procedure approved by the Department of Community Affairs or by ASTM E 283 to demonstrate a maximum air change per hour (ACH) rate of 17.5 at 50 pascals of pressure difference. Air flow rates in cubic feet per minute (CFM) shall be converted to air changes per hour (ACH).

B4.0 Heating, Ventilating and Air Conditioning

B4.1 General.

B4.1.1 Existing equipment. Minimum efficiencies for existing equipment shall be assumed from Tables B4.1.1A and B4.1.1B by the age of the unit unless documentation is available to demonstrate a higher efficiency.

TABLE B4.1.1A

COOLING SYSTEM to be ASSUMED,

MINIMUM RATINGS BY DATE PERMITTED

AIR CONDITIONERS

| Date Building Permitted | Assumed Rating |
| --- | --- |
| Prior to 1979, average | EER 6.1 |
| 3/15/79 8/31/82 | EER 6.1 |
| 9/1/82 5/31/84 | EER 6.8 |
| 1/1/84 - 12/30/88 | SEER 7.8 |
| 1/1/89 - 12/30/90 | SEER 7.8 |
| 1/1/91 - 12/30/91 | SEER 8.9 |
| 1/1/92 – 12/7/07 | SEER 10.0 |
| 12/8/07 – present | SEER 13.0 |

TABLE B4.1.1B

HEATING SYSTEM ASSUMED,

MINIMUM RATINGS BY DATE PERMITTED

HEAT PUMPS

| Date Building Permitted | Assumed Rating |
| --- | --- |
| Prior to 1979, average | COP 2.2 |
| 3/15/79 - 8/31/82 | COP 2.2 |
| 9/1/82 - 5/31/84 | COP 2.2 |
| 6/1/84 - 12/31/86 | COP 2.5 |
| 1/1/87 - 12/30/90 | COP 2.7 |
| 1/1/91 - 12/30/91 | HSPF 6.8 |
| 1/1/92 – 12/7/07 | HSPF 6.8 |
| 12/8/07 – present | HSPF 7.7 |

B4.1.2 Multiple heating or cooling systems. Where two or more systems of the same type are installed with different levels of efficiency serving different parts of the house, a capacity-weighted performance rating shall be used to determine compliance.

B5.0 Air distribution systems.

B5.1 Ducts in conditioned space.  For ductwork to qualify as being in conditioned space, it shall be located on the conditioned side of the envelope insulation and be situated in such a manner that any air leakage will be discharged into the conditioned space. Systems having no return air ducts or plenums between the air intake and the air handler, such as those in mechanical closets which communicate with the conditioned space, shall be considered systems with return ducts in conditioned space. Systems which have no ducts, such as PTACs and room air conditioners, qualify as ducts in conditioned space.

B5.2   Multiple duct systems. Where parts of the structure are to be served by ductwork of different R-values, or by ducts in conditioned space, the duct calculation shall be performed by one of the following methods.

1. The smallest R-value may be used.

2. Each of the different duct R-values may be multiplied by the total duct area that has this insulation rating. The results are then summed and divided by the total area of the ductwork.

B5.3  Additions. If ducts are added to supply conditioned air to the addition, the ducts shall meet or exceed the minimum R-value requirements of this code.  If conditioning is provided by existing ducts and registers or diffusers, a baseline duct shall be assumed.

#### B6.0 Service hot water.

B6.1  Water heater area determination. Water heating requirements are estimated based on the number of bedrooms in the residence. Any room which has an area of 70 square feet (7 m2) or more and a clothes storage closet, and is not part of the common living area, shall be considered a bedroom for calculation purposes.

B6.2  Multiple water heating systems. Where two or more water heating systems are installed with different levels of efficiency, a single capacity-weighted efficiency shall be calculated for determining compliance with this code.

SUBAPPENDIX G-C

SUPPLEMENTAL CRITERIA FOR THE

ALTERNATE RESIDENTIAL POINTS SYSTEM METHOD

C1.0 General requirements.

C1.1 Baseline features.  The features in Section N1113 are utilized in compliance Method A as “baseline” features.  These features are not code minimum efficiencies; rather, they represent standard reference design building component options utilized in establishing a budget that the building shall not exceed to comply with the code.

C1.2  Interpolation from tables. Interpolation of multipliers for the Alternate Residential Points System Method is allowed by Equation C1.2 where rated efficiencies of installed components fall within a range. Extrapolations of multipliers above the highest value given or below the lowest values given shall not be permitted.

Equation C1.2

Interpolation From Tables

Mi =	Mt – [(Ri – Rt) x (Mt – Ma)]

Ra - Rt

Where:

Mi = Multiplier for rating of installed component

Mn = Multiplier for next (more efficient) range

Mt = Multiplier for range within which installed component falls

Ri = Efficiency rating of installed component

Rn = Reference rating for next (more efficient) range

Rt = Reference rating for range within which installed component falls

C2.0 Building Envelope Performance Criteria

C2.1 Windows

C2.1.1 Glass multipliers.  Glass multipliers for the Alternate Residential Points System Method shall be as provided on Form 600A and expanded by Tables C2.1.1A through C2.1.1C of this appendix.

[Add from ’04 code:Tables 13-6C-3, 13-6C-4 and13-6C-5  and rename them Table C2.1.1A, Table C2.1.1B and Table C2.1.1C]

C2.1.2 Assumptions.  Three basic underlying assumptions were used in development of the FLA/RES window load correlation coefficients:

- Frame area equals 25 percent of the total window area.

- Frame U-factor equals glass U-factor equals overall U-factor.

- Interior shading factor equals 0.70 in summer and 0.9 in winter.

The general equation for determining the window point multipliers is as follows:

PM = A1*SCo + A2*Uo + A3* (SCo*Uo) + A4*SC o2 + A5*Uo2

Equation C2.1.2A

Where:

PM  	= Point multipliers (load coefficient in kBtu/ft2 of window)

SCo 	= Overall shading coefficient of entire installed system including glass, frame and sash and interior treatments.

Uo  	= Overall U-factor of entire installed window system, including glass, frame and sash

Ai 	= Regression coefficients

Coefficients A1 through A5 vary by (1) season of the year, (2) by climate zone and (3) and by glass orientation (8 + horizontal = 9), such that there are 54 sets of A-coefficients needed to fully describe the window point multipliers (load correlation coefficients in subappendix C of this code).

The general equation for window shading is given as follows:

SHGCt = (Af*SHGCf + Ag* SHGCg)/Aw		Equation C2.1.2B

Where:

SHGCt	= SHGC of total window system

Af	= frame area = 0.25

SHGCf	= SHGC of the frame and sash

Ag	= glass area = 0.75

SHGCg	= SHGC of the glass

Aw	= total window area = 1.00

The equation for the solution of SHGCf is as follows:

SHGCf = k*a* Uf/ho					Equation C2.1.2C

Where:

SHGCf = SHGC of the window frame and sash

k	= 	frame shape factor = 1.00

a	= 	solar absorptance of frame = 0.77

Uf =	U-factor of frame and sash = Ug

ho =	exterior air film coefficient = 4.00 Btu/hr-ft2-F

On substitution, Equation C2.1.2 reduces to:

SHGCf = 1.00 * 0.77 * Ug/ 4.00 = 0.1925 * Ug

The overall solar heat gain coefficient (SHGCo) of the installed window system and its treatments may be determined by multiplying the total solar heat gain coefficient (SHGCt) by the interior window treatment coefficient (ITC) as follows:

SHGCo = SHGCt * ITC					Equation C2.1.2D

Where:

SHGCo	= Combined SHGC of glass, frame, sash, interior window treatments

ITC	= Interior window treatment coefficient

Combining Equation C2.1.2B thru Equation C2.1.2D yields the following simplified general equation for SHGCo:

SHGCo = (0.048125 * Ug + 0.75 * SHGCg) * ITC	Equation C2.1.2E

A solar heat gain coefficient (SHGCi) may also be defined in terms of a corresponding shading coefficient (SCi) using the following constitutive relationship given by ASHRAE:

SHGCi = SCi * 0.87					Equation C2.1.2F

Thus, Equation C2.1.2E can be recast in terms of a glass shading coefficient (SCg) as follows:

SCo = (0.55316 * Ug + 0.75 * SCg) * ITC		Equation C2.1.2G

Where:

SCg = Shading coefficient at the center-of-glass

Or, more simply, in terms of the most likely window manufacturer’s product specification (SHGCt), the equation becomes:

SCo = SHGCt / 0.87 * ITC				Equation C2.1.2H

C2.1.3 Glass orientation. Multipliers are provided on Form 600A by the glass orientation: N, NE, E, SE, S, SW, W, NW or H (horizontal)..

C2.1.4 Glass types. Multipliers are provided on Form 600A by glazing type, either single- or double-paned glass with either clear or tinted shading.

Where a SHGC for glazed fenestration products (windows, glazed doors and skylights) has been determined in accordance with NFRC 200, Procedure for Determining Fenestration Product Solar Heat Gain Coefficients at Normal Incidence by an accredited, independent laboratory and labeled and certified by the manufacturer to be 0.57 or lower, a more favorable multiplier may be obtained from Tables C2.1.1A through C2.1.1C based on the climate zone in which it will be installed.

C2.1.5 Glass overhangs.  Overhang factors shall be determined from Tables 6A-1 and 6A-10 on Form 600A by matching either the overhang ratio or the overhang length (in feet) with the orientation of the glass it shades. The overhang ratio shall be calculated by the following equation:

FIGURE C2.1.5

[Add from ’04 code, Figure 6.1 here]

OH Ratio = 	OHLength

OHHeight

Where:

OHLength = The horizontal measure of how far a window overhang projects out from the glass surface.

OHHeight = The vertical measure of the distance from the bottom of a window to the bottom of the overhang.

C2.1.5.1  To select the overhang factor by the overhang length, no part of the glass shall be more than 8 feet (2438 mm) below the overhang.

C2.1.6  Between range calculation. In cases where an overhang length or solar heat gain coefficient falls between two glass percentage ranges and the glass type is the same throughout the addition, the specific glass percentage allowed may be determined by using the following equations:

Overhang (OH):

Glass % Allowed = Low % + (High %) – (Low %) X [OHInstalled – OHLow%]

Glass 	    Glass 	Glass

OHHigh % - OH Low%

Solar heat Gain Coefficient (SHGC):

Glass % Allowed = Low % + (High %) – (Low %) X [SHGCInstalled – SHGCLow%]

Glass 	    Glass 	Glass

SHGCHigh % - SHGC Low%

C2.2 Walls.

C2.2.1 Multipliers for lightweight concrete block shall be determined from Table C2.2.1. Light-weight block shall have an aggregate density of no greater than 105 pounds per cubic foot (1682 kg/m3).

C2.2. 2 Multipliers for polystyrene bead aggregate block shall be determined from Table C2.2.2. Polystyrene bead aggregate block shall be composed of at least 60 percent polystyrene beads by volume, and shall achieve at least an R-8 insulation value when tested to ASTM C 236.

C2.2.3  Interpolation of multipliers for efficiencies falling within ranges may be made in accordance with Section C1.2 of this appendix.

TABLE C2.2.1

CONCRETE BLOCK MULTIPLIERS – LIGHT WEIGHT

[Add from ’04 code, Table 6C-6]

TABLE C2.2.2

CONCRETE BLOCK MULTIPLIERS POLYSTYRENE BEAD AGGREGATE

[Add from ’04 code, Table 6C-7]

C2.3 Doors   Doors shall be identified as either exterior or adjacent, based on the type of wall in which they are located, and as wood or insulated. Multipliers for the type of door to be installed shall be determined from Tables 6A-3 and 6A-12 on Form 600A.

C2.4 Ceilings.

C2.4.1 Supplemental multipliers for ceilings under attics may be taken from Table C2.4.1.

[Add from ’04 code Table 13-6C-8, rename  C2.4.1]

C2.4.2 Supplemental multipliers for single assembly ceilings may be taken from Table C2.4.2.

[Add from ’04 code Table 13-6C-9, rename C2.4.2]

C2.4.3 Supplemental multipliers for concrete deck roofs with exposed ceilings may be taken from Table C2.4.3.

[Add from ’04 code Table 13-6C-10, rename  C2.4.3]

C2.4.4 Supplemental multipliers for concrete roof decks with dropped ceilings may be taken from Table C2.4.4.

[Add from ’04 code Table 13-6C-11, rename  C2.4.4]

.

C2.5 Floors.

C2.5.1 Raised floors supported by stem walls with under floor insulation.

Floor multipliers for stem walls with stem wall insulation shall be taken from Table C2.5.   [Add from ’04 code Table 13-6C-12, rename  C2.5]

C2.5.1.1  Floor vent area.

- In raised floors supported by stem walls with under floor insulation, the vent area for the subfloor space shall not exceed 1 square foot (.0929 m2) per 150 square feet (14 m2) of floor area.

- In raised floors supported by stem walls with stem wall insulation, the vent area for the subfloor space shall not exceed 1/10 square foot (.009 m2) of open vent area per 150 square feet (14 m2) of floor area when utilizing the stem wall with stem wall insulation multipliers. A continuous vapor barrier shall be applied over the ground under the floor.

C3.0  Infiltration and internal gains.

C3.1 Infiltration and Internal Gains Multipliers.  Infiltration and internal gains shall be considered the same for both the baseline and as-built conditions. Multipliers for infiltration and internal gains shall be determined from Table 6A-6 on Form 600A for the cooling load and from Table 6A-15 for the heating load.

C4.0 Heating, Ventilating and Air Conditioning

C4.1 General

C4.1.1  Multiple heating or cooling. Where two or more systems of the same type are installed with different levels of efficiency serving different parts of the house, a single system multiplier may be calculated. To select a multiplier for a dual system, the efficiency ratings for the two systems shall be combined based on the percentage of the total capacity supplied by each system. The new effective efficiency rating shall be calculated by Equation C4.1.1.

Where two or more dissimilar systems, such as electric and fuel-fired systems, are utilized, separate calculations shall be made for the separate zones of the structure serviced by each.

ERnew = (CRa X ERa) + (CRb X ERb)

CRt		CRt

Equation C4.1.1	 13-6-2

Where:

ERnew = Efficiency to be used in selecting multiplier

CRa= Capacity Rating of system A

CRb= Capacity Rating of system B

CRt= Combined capacity of both systems

ERa= Efficiency rating of system A

ERb= Efficiency rating of system B

C4.1.2 Existing systems.  Multipliers for existing HVAC systems shall be taken from Table C4.1.2A or C4.1.2B based on the year the system was permitted unless documentation is available to demonstrate another efficiency.

TABLE C4.1.2A

COOLING SYSTEM MULTIPLIER ASSUMED,

MINIMUM RATINGS BY DATE PERMITTED

AIR CONDITIONERS

| Date Building Permitted | Assumed Rating | Cooling System Multiplier (all zones) |
| --- | --- | --- |
| Prior to 1979, average | EER 6.1 | 0.56 |
| 3/15/79 8/31/82 | EER 6.1 | 0.56 |
| 9/1/82 5/31/84 | EER 6.8 | 0.50 |
| 1/1/84 - 12/30/88 | SEER 7.8 | 0.44 |
| 1/1/89 - 12/30/90 | SEER 7.8 | 0.40 |
| 1/1/91 - 12/30/91 | SEER 8.9 | 0.38 |
| 1/1/92 – 12/7/07 | SEER 10.0 | 0.34 |
| 12/8/07 – present | SEER 13.0 | 0.26 |

TABLE C4.1.2B

HEATING SYSTEM MULTIPLIER ASSUMED,

MINIMUM RATINGS BY DATE PERMITTED

HEAT PUMPS

| Date Building Permitted | Assumed Rating | Heating System Multiplier |  |  |
| --- | --- | --- | --- | --- |
|  |  | North | Central | South |
| Prior to 1979, average | COP 2.2 | 0.63 | 0.63 | 0.63 |
| 3/15/79 - 8/31/82 | COP 2.2 | 0.63 | 0.63 | 0.63 |
| 9/1/82 - 5/31/84 | COP 2.2 | 0.63 | 0.63 | 0.63 |
| 6/1/84 - 12/31/86 | COP 2.5 | 0.56 | 0.54 | 0.53 |
| 1/1/87 - 12/30/90 | COP 2.7 | 0.52 | 0.50 | 0.49 |
| 1/1/91 - 12/30/91 | HSPF 6.8 | 0.53 | 0.53 | 0.53 |
| 1/1/92 – 12/7/07 | HSPF 6.8 | 0.50 | 0.50 | 0.50 |
| 12/8/07 – present | HSPF 7.7 | 0.45 | 0.45 | 0.45 |

C4.1.3 Interpolation of multipliers. Interpolation of multipliers for equipment efficiencies falling within ranges may be made in accordance with Section C1.2 of this appendix.

C4.2  Cooling system.  Multipliers  shall be determined for air conditioners based on the appropriate efficiency rating for the system to be installed or from Table 6A-9 on Form 600A. Cooling system performance criteria and multipliers for systems not found on Form 600A may be found in Tables C4.2. Interpolation of multipliers for equipment efficiencies falling within ranges may be made in accordance with Section C1.2 of this Appendix.

[Add from ’04 code Table 13-6C-13 and rename C4.2]

C4.2.1 Cooling system credits.

C4.2.1.1  Ceiling fan credit. Ceiling fan credit may be taken if one or more ceiling fans are installed in each of the bedrooms and a minimum of one ceiling fan is installed in all primary living areas (living rooms, family rooms, or great rooms). This shall not include spaces designed to be dining rooms or dining areas. Areas separated by permanently fixed archways, walls, or dividers shall be considered separate rooms. The following criteria shall be met:

1. Ceiling fans shall be installed with minimum fan blade diameters of no less than those listed in Table C4.2.1.1 for the size and shape of the room.

2. Where a primary living area is an “L-shaped” room and the smaller portion of this area is 8 feet by 10 feet (2438 mm by 3048 mm) or larger, a fan shall be installed in both the larger and smaller portions of the primary living area.

Exception:  Credit shall not be taken for both ceiling fans and cross ventilation.

TABLE C4.2.1.1

FAN SIZING TABLE

| LONGEST WALL LENGTH (feet) | MINIMUM FAN SIZE (inches) |
| --- | --- |
| < 12 | 36 |
| > 12 - 16 | 48 |
| > 16 - 17.5 | 52 |
| > 17.5 - 25 | 56 |
| > 25 | 2 fans (minimum of 48 inches each) |

C4.2.1.2  Multizone practice. Multizone credit may be taken if two or more spaces (zones) are completely separated from one another by walls, ceilings, floor and totally closing doors and meet the following criteria:

1.	A separate thermostatic control shall be provided for each zone which provides independent conditioning.

2.	Zones shall be completely separated from one another by walls, ceilings, floor and totally closing doors and shall be configured such that air exchange between them does not exist in a free flow manner. Doors between zones shall not exceed a total of 40 square feet (4 m2).

Exceptions:

a.  Where one zone consists of multiple rooms which may be isolated with closeable doors and are served by one air conditioning system, separation criteria may be met by providing separate return air ducts to each room. The common space connecting the rooms shall be part of another zone.

b.  Between lower and upper floors in a multiple-story home.

3.	No zone shall constitute more than 75 percent of the total conditioned floor area.

The multizone credit multiplier shall be determined from Table 6A-19 on Form 600A.

C4.2.1.3 Ventilation. Ventilation cooling credit may be taken for either cross ventilating a house or by installing a whole house fan, but credit shall not be taken for both. Cooling credit for ventilation shall be determined from Table 6A-19 on Form 600A.

C4.2.1.3.1  Cross ventilation credit. Cross ventilation credit may be claimed where windows or doors are provided that meet the following criteria:

1. Operable aperture areas totaling a minimum of 12 percent of the floor area of the room shall be provided for all primary living areas and main bedrooms.

2. Insect screens shall be provided for all windows and doors to be considered operable aperture area. All screened entry doors and interior doors in the ventilated areas shall be provided with either (1) mechanically attached door stops (or similar devices) to hold the door in an open position or (2) operable louvers.

3. The total aperture area shall be provided by a minimum of two distinct windows. Each window shall provide not more than 70 percent of the total aperture area. The windows (or sliding glass doors) shall be placed in adjacent or opposite walls. The windows may be placed on a single outside wall if wing walls are used.

4. Where wing walls are included in the building design for ventilation purposes, they shall be placed between windows to create a high-pressure and a low-pressure zone on each window. Wing walls shall extend from the ground to eve height, be located on the windward side of the building, and extend outward from the building a distance at least equal to one-half the width of the window.

NOTE: This technique is effective only for areas which experience significant and continuous winds during the cooling months.

C4.2.1.3.2  Whole house fan credit. Whole house fan credit may be claimed where a whole house fan is installed and the following criteria are met:

1. The whole house fan has been sized to provide a minimum of 20 air changes per hour for the entire house.

2. The fan installed shall have a free air cfm rating of at least three times the square footage of the conditioned area of the house.

3. To ensure adequate air exhaust, the house attic shall have gable, ridge or wind turbine vents whose total opening area is equal to four times the ceiling cutout area for the whole house fan. Soffit vents shall not be included in the exhaust vent area.

C4.2.1.4  Attic radiant barriers. Cooling credit may be taken for attic radiant barriers where a radiant barrier system is to be installed in one of the configurations depicted in Figure C4.2.1.4 and the following conditions are met:

1.	It shall be fabricated over a ceiling insulated to a minimum of R-19 with conventional insulation. The radiant barrier credit shall not be used as a means to achieve partial or whole compliance with the minimum attic insulation level of R-19 prescribed in Section N1104.ABC.1. Either a sheet type or spray applied interior radiation control coating (IRCC) may be used.

2.	If the radiant barrier material has only one surface with high reflectivity or low emissivity it shall be facing downward toward the ceiling insulation.

3. The attic airspace shall be vented in accordance with Section R806 of this code.

4.	The radiant barrier system shall conform to ASTM C 1313, Standard Specification for Sheet Radiant Barriers for Building Construction Applications, or ASTM C 1321, Standard Practice for Installation and Use of Interior Radiation Control Coating Systems (IRCCS) in Building Construction as appropriate for the type of radiant barrier to be installed. The operative surface shall have an emissivity not greater than 0.06 for sheet radiant barriers or 0.25 for interior radiation control coatings as demonstrated by independent laboratory testing according to ASTM C 1371.

5.  The radiant barrier system (RBS) shall conform with ASTM C 1158, Use and Installation of Radiant Barrier Systems (RBS) in Building Constructions for Sheet Radiant Barriers, or ASTM C 1321, Standard Practice for Installation and Use of Interior Radiation Control Coating Systems (IRCCS) in Building Construction for IRCC systems.

6.	The radiant barrier shall be installed so as to cover gable ends without closing off any soffit, gable or roof ventilation.

Cooling credit shall be taken against the ceiling load by multiplying the summer point multiplier for the ceiling configuration and insulation level chosen from Table 6A-4 on Form 600A by a credit multiplier of the following:

Sheet type radiant barriers:

0.70 (all climate zones)

Interior Radiation Control Coatings:

0.849 North Florida

0.864 Central Florida

0.865 South Florida

FIGURE C4.2.1.4

ACCEPTABLE ATTIC RADIANT BARRIER CONFIGURATIONS

[Add from ’04 code Figure 13-607.1.A.4]

C4.2.1.5  Cool roof credit. Cool roof credit may be taken where a roof is installed that has a tested solar reflectance of greater than 4 percent when evaluated in accordance with ASTM Standard E-903. Testing of a qualifying sample of the roofing material shall be performed by an approved independent laboratory with these results provided by the manufacturer.

Cooling credit shall be taken against the ceiling load by multiplying the summer point multiplier for the ceiling configuration and insulation level chosen on Form 600A by a credit multiplier according to the tested reflectance:.

CM = 1.155 – 0.935 (Reflectance)

Where:

Reflectance = fractional (0-1)

Note that where a tested reflectance is not available the assumed roof reflectance will be 4% and a a CM value of 1.118 will be used for those which are untested. This is also true for those roofs that do not use the Cool Roof Credit. 						 [Mod 2364]

C4.2.1.6 Programmable thermostats. The cooling credit multiplier for programmable thermostats shall be determined from Table 6A-19 on Form 600A.

C4.3 Heating systems. Multipliers  shall be determined for heating systems based on the appropriate efficiency rating for the system to be installed or from Table 6A-18 on Form 600A. Interpolation of multipliers for equipment efficiencies falling within ranges may be made in accordance with Section C1.2.

C4.3.1 Heating system credits. Heating credit multipliers (HCM) are given for certain technologies which reduce energy use or cost. Heating credit may be taken for the options in this section where the criteria of C4.3.1.1 through C4.3.1.5 have been met for that option. Where more than one heating credit is taken, the multipliers for each option shall be multiplied together to obtain one multiplier.

C4.3.1.1 Attic radiant barriers. Attic radiant barrier credit may be taken when an attic radiant barrier is installed that is compliant with all requirements in Section C4.2.1.4. Heating credit shall be taken against the ceiling load by multiplying the winter point multiplier for the ceiling configuration and insulation level chosen from Table 6A-13 on Form 600A by a credit multiplier of the following:

Sheet type radiant barriers		0.85 (all climate zones)

Interior radiation control coatings	0.912 North Florida

0.905 Central Florida

0.899 South Florida

C4.3.1.2  Multizone practice. Multizone credit may be taken where two or more independent heating zones occur in a building that meets the prescriptive construction requirements in Section C4.1.2. The heating credit multiplier for multizone systems shall be determined from Table 6A-18 on Form 600A.

C4.3.1.3  Hydronic space water heating. Hydronic space gas heating credit multipliers may be used for houses where hydronic space gas water heating systems are installed where the effective space heating efficiency (CA afue) of the system (as listed by GAMA) has not been tested to ANSI/ASHRAE 124. Combined gas instantaneous (tankless) water heating and space heating systems may be rated based on the Thermal Efficiency (Et) rating of the gas instantaneous (tankless) water heater in accordance with ANSI test method Z21.10.3. The heating system credit multiplier for combined hydronic space gas water heating with a storage tank shall be taken from Table C4.3.1.3A. The heating system credit multiplier for combined hydronic instantaneous (tankless) gas water heating shall be taken from Table C4.3.1.3B. A gas instantaneous (tankless) water heater shall be as defined in Section N1112.ABC.3.2.3.

TABLE C4.3.1.3A

HEATING SYSTEM CREDIT MULTIPLIERS FOR COMBINED HYDRONIC SPACE GAS WATER HEATING WITH A STORAGE TANK

[Add from ’04 code Table 13-6C-15, rename C4.3.1.3A]

TABLE  C4.3.1.3B

HEATING SYSTEM CREDIT MULTIPLIERS FOR COMBINED HYDRONIC INSTANTANEOUS (TANKLESS) GAS WATER HEATING

[Add from ’04 code Table 13-6C-15.1, rename C4.3.1.3B]

C4.3.1.4  Programmable thermostats. Programmable thermostat credit may be claimed for houses installed with programmable thermostats that are capable of being set as follows:

Winter: 	68°F (22°C) from 6 am - 11 pm

66°F (19°C) from 11 pm – 6 am

Houses for which programmable thermostat credit is claimed shall have one or more features on the thermostat that prevent supplemental heat from being automatically engaged. The heating credit multiplier for programmable thermostats shall be determined from Table 6A-21 on Form 600A.

C4.3.1.5  Cool roofs. Cool roof credit may be claimed for houses when a cool roof system is installed that is compliant with all requirements in Section C4.2.1.5. Heating credit shall be taken against the ceiling load by multiplying the winter point multiplier for the ceiling configuration and insulation level chosen on Form 600A by a credit multiplier according to the tested reflectance as shown below. Credit shall not be taken for both Attic radiant barrier and cool roofs in conjunction.

HM = 0.987 + 0.088 (Reflectance)

Note that where a tested reflectance is not available the assumed roof reflectance will be 4% and a HM value of 0.987 will be used for those which are untested. This is also true for those roofs that do not use the Cool Roof Credit.  						[Mod 2364]

C4.3.2 Other gas systems.

C4.3.2.1 Gas fueled heat pumps. Heating system multipliers for gas fueled air conditioners and heat pumps shall be taken from Table C4.3.2.

[Add from ’04 code Table 13-6C-14, rename C4.3.2]

C4.3.2.2 Combination gas hydronic systems. Hydronic space water heating. Hydronic space gas heating multipliers may be used for houses where hydronic space gas water heating systems are installed in accordance with the following criteria:

1. Combined gas storage tank water heating and space heating systems that have been tested to ANSI/ASHRAE 124 may be rated based on the effective space heating efficiency (CA afue) as listed by the GAMA, or

2.  Combined gas instantaneous (tankless) water heating and space heating systems may be rated based on the Thermal Efficiency (Et) rating of the gas instantaneous (tankless) water heater in accordance with ANSI test method Z21.10.3.

Heating system multipliers to be used for combined gas storage tank water heating and space heating systems may be determined from Table 6A-18 on Form 600A based on the effective space heating efficiency (CA afue) as listed by GAMA where the system has been tested to ANSI/ASHRAE 124.

C5.0 Air distribution systems.

C5.1 General

C5.1.1 Ducts in conditioned space.  For ductwork to qualify as being in conditioned space, it shall be located on the conditioned side of the envelope insulation and be situated in such a manner that any air leakage will be discharged into the conditioned space. Systems having no return air ducts or plenums between the air intake and the air handler, such as those in mechanical closets which communicate with the conditioned space, shall be considered systems with return ducts in conditioned space.

C5.1.2  Multiple duct systems. Where parts of the structure are to be served by ductwork of different R-values, or by ducts in conditioned space, the duct calculation shall be performed by one of the following methods.

1. The smallest R-value may be used.

2. Each of the different duct R-values may be multiplied by the total duct area that has this insulation rating. The results are then summed and divided by the total area of the ductwork.

C5.1.3  Additions. If ducts are added to supply conditioned air to the addition, the ducts shall meet or exceed the minimum R-value requirements of this code. If conditioning is provided by existing ducts and registers or diffusers, a baseline duct shall be assumed.

C5.2 Air distribution system multipliers.

C5.2.1 Duct multipliers. Multipliers for the type of duct system and insulation level to be installed shall be determined from Tables 6A-7 and 6A-16 on Form 600A. Multipliers for duct conditions not found on Form 600A may be found in Tables C5.2.1A for the climate zone where they are to be installed.

[Add from ’04 code Tables 13-6C-18 through 13-6C-20, rename  C5.2.1A, C5.2.1B and C5.2.1C]

C5.2.1.1  Duct  length determination. An estimate of the linear footage of duct shall be utilized on Form 600A.

C5.2.2  Air-handling unit multipliers. Air-handling unit multipliers shall be determined from Tables 6A-7 and 6A-16 on Form 600A by the location of the air handler in the building for summer and winter conditions.

C5.2.2.1 Air distribution system credits. Credits are given for air distribution system practices described in Sections C5.2.2.1.1 and C5.2.2.1.2. AHU credit multipliers shall be entered into the As-Built AHU boxes on Form 600A and calculated as part of the cooling and heating loads for the building.

C5.2.2.1.1 Air-tight duct credit. An air-tight duct credit multiplier of 1.0 may be taken if the duct work has been demonstrated to be “substantially leak free”.  “Substantially leak free” shall mean distribution system air leakage to outdoors no greater than 3 cfm per 100 square feet of conditioned floor area and distribution system total air leakage to indoors and outdoors no greater than 9 cfm per 100 square feet of conditioned floor area at a pressure differential of 25 Pascal (0.10 in. w.c.) across the entire air distribution system, including the manufacturer’s air handler enclosure. Distribution system total air leakage no greater than 3 cfm per 100 square feet of conditioned floor area at a pressure difference of 25 Pascal across the entire system, including the manufacturer’s air handler enclosure, shall be deemed to meet this requirement without measurement of distribution system air leakage to outdoors. Substantially leak free air distribution systems shall be certified by means of a test report prepared by a state-approved performance tester. A state-approved performance tester means a Class 1 Florida Energy Gauge Certified Energy Rater, State of Florida Mechanical Contractor or recognized test and balance agent. Contractors shall not test their own systems.			[Mod 2147]

C5.2.2.1.2  Factory-sealed air-handling unit credit. A factory-sealed air-handling unit credit multiplier of 0.95 may be claimed if the unit has been tested and certified by the manufacturer to have achieved a 2 percent or less leakage rate at 1-inch water gauge when all air inlets, air outlets and condensate drain port(s), when present, are sealed at an air pressure of 1-inch water gauge with no greater than 2-percent design cubic foot per minute discharge.

#### C6.0  Service hot water.

C6.1 General

C6.1.1  Water heater area determination. Water heating requirements are estimated based on the number of bedrooms in the residence. Any room which has an area of 70 square feet (7 m2) or more and a clothes storage closet, and is not part of the common living area, shall be considered a bedroom for calculation purposes.

C6.1.2   Multiple water heating systems. Where two or more water heating systems are installed with different levels of efficiency, a single multiplier shall be calculated for determining compliance with this code as per Equation C1.2  in Section C1.2 of this appendix.

[Add from ’04 code Equation 6C-2, rename it  Equation C1.2]

C6.2  Water heater types and multipliers. Hot water multipliers for the water heating system to be installed shall be determined from Table 6A-22 on Form 600A based on the EF of the system.

C6.2.1  Gas instantaneous (tankless) water heater multipliers.  Multipliers for gas instantaneous (tankless) water heaters shall be taken from Table C6.2.1 of this appendix.

Table C6.2.1

GAS INSTANTANEOUS (TANKLESS) WATER HEATER MULTIPLIERS

[Add from ’04 code Table 13-6C-21, rename it C6.2.1]

C6.2.2  Hot Water Credit Multipliers. Hot water credit multipliers (HWCM) may be taken for if supplemental water heating systems or alternate systems are installed which meet the criteria in Sections C6.2.2.1 through C6.2.2.4. Electric resistance or natural gas water heating systems may be installed as backup to alternate water heating systems. HWCM shall be determined from Table 6A-23 on Form 600A for the alternate water heating system installed. Both a hot water multiplier (HWM) and a credit multiplier (HWCM) shall be used in the hot water calculation.

Electric resistance or natural gas water heating systems may be installed as backup to alternate water heating systems.

C6.2.2.1  Waste heat recovery unit. Credit may be claimed for installation of a waste heat recovery unit (HRU) on either an air conditioner or a heat pump where the heat recovery unit meets all the criteria for this section. Credit multipliers shall be determined from Table 6A-23 on Form 600A based on the type of system to which the HRU is attached.

1. To obtain credits under the code, a storage water heater which meets the minimum performance criteria of Section N1112.ABC shall be used in conjunction with the HRU. This water heater shall provide service hot water to the water circuit with the most fixtures in the residence and shall be sized as follows.

a. Two bedroom and up, single-family 50 gallon (189 L) tank min.

b. Two bedroom and up, multiple-family, and one bedroom single-family 40 gallon (151 L) tank min.

c. One bedroom multiple-family 30 gallon (114 L) tank min.

2. To obtain credit, a heat recovery unit shall be tested by an independent testing laboratory under the standard rating conditions specified in Florida Standard FL-1 (see Appendix G (E)) and shall have a minimum net useful heat exchange effect of 50 percent. A copy of Form 1100D (see Appendix G (D)) shall be prominently displayed on the heat recovery unit, with test results clearly visible for inspection through a transparent, weatherproof envelope. An ARDM certified refrigerant desuperheater seal affixed to the unit, clearly visible for inspection, may be substituted for the 1100D form. This seal indicates that the unit meets the criteria of this section.

3. Multiple HRUs on multiple air conditioners are allowed. If more than one air conditioning system is installed in a residence and only one HRU is installed, the HRU shall be attached to the system serving the daytime primary living areas (family room, living room, kitchen, dining room and adjacent bedrooms and bathrooms) to obtain credit. If the HRU is installed in a residence which has only one water heater, the entire HRU credit may be claimed. If more than one water heater is installed in the residence, credit may be claimed based on the gallon capacity of the water heater to which it is coupled and the total capacity of the water heaters in the residence by entering a calculation for each water heating system as follows:

C6.2.2.2   Dedicated heat pump. Credit may be claimed for installation of a dedicated heat pump, either as an add-on to a conventional water heater or as a separate integral system. The credit multiplier shall be determined from Table 6A-23 on Form 600A based on the EF of the system installed.

C6.2.2.3   Integrated heat pumps. Credit may be claimed for installation of an integrated heat pump, either as an add-on to a conventional water heater or as a separate integral system. The credit multiplier shall be determined from Table 6A-23 on Form 600A based on the combined cooling performance factor (CCPF) and the combined heating performance factor (CHPF) of the system installed. An equivalent dedicated heat pump EF shall be calculated according to Equation C6.2.2.3 where the various terms are defined in ASHRAE 137 and the DOE waiver granted to NORDYNE and published in the Federal Register Vol. 61, No. 55, Wednesday, March 20, 1996, pages 11395-11400.

[Add from ’04 code Equation 13-6C-4, rename C6.2.2.3]

C6.2.2.4  Solar water heater. Credit may be claimed for installation of a solar water heater, either as an add-on to a conventional water heater or as a separate system (with tank). The credit multiplier for an add-on solar system (without tank) shall be determined from Table 6A-23 on Form 600A based on the EF of the system installed.

SUBAPPENDIX G-D

FORMS

Form 600A-07 04

[Change the name of Form 600A to Form 600A, Alternate Residential Points System Method.]

[Change the Baseline wall multipliers on Form 600A for North, Central and South Florida as shown:]

|  | Baseline summer wall multiplier |  | Baseline winter wall multiplier |  |
| --- | --- | --- | --- | --- |
|  | Exterior wall | Adjacent wall | Exterior wall | Adjacent wall |
| North 123 | 1.5 1.7 | .6 .7 | 3.4 3.7 | 3.3 3.6 |
| Central 456 | 1.7 1.9 | .6 .7 | 1.8 2.0 | 1.6 1.8 |
| South 789 | 2.4 2.7 | .9 1.0 | .6 | .5 |

[Change the Baseline floor multipliers on Form 600A for North, Central and South Florida as shown:]

|  | Baseline summer floor multiplier |  | Baseline winter floor multiplier |  |
| --- | --- | --- | --- | --- |
|  | Slab | Raised wood | Slab | Raised wood |
| North 123 | -41.2 -37.0 | .98 -3.99 | 18.8 8.9 | 1.38 .96 |
| Central 456 | -31.9 -31.8 | 1.71 -3.43 | 2.5 -1.9 | .39 -.2 |
| South 789 | -20.0 | 1.96 -2.16 | -2.1 | .09 -.28 |

[In Table 6A-8 and 6A-17, Change White Roof to Cool Roof.

In Table 6A24 and 6A-25, change the referenced sections to Chapter 11 reference numbers and other references as appropriate.]

[Modify Form 600A North 123, Central 456 and South 789, Table 6A-18 Heating Multipliers (HSM) to add a Gas Heating multiplier category as shown: ]

| 6A-18 Heating System Multipliers (HSM) All Climate Zones |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SYSTEM TYPE see Table N1108.ABC.3.2B for code minimums |  |  |  | Heating System Multipliers (HSM) |  |  |  |  |  |
| Central Heat Pump Units | HSPF | 7.4-7.6 | 7.7-7.8 | 7.9-8.3 | 8.4-8.8 | 8.9-9.3 | 9.4-9.8 | 9.9-10.3 | 10.4-10-.8 |
|  | HSM | .46 | .44 | .43 | .41 | .38 | .36 | .34 | .33 |
| PTHP | COP | 2.5-1.69 | 2.70-2.89 | 2.90-3.09 | 3.10-3.29 | 3.30-3.49 | 3.50-3.69 | 3.70-3.89 | 3.90-4.19 |
|  | HSM | .40 | .37 | .34 | .32 | .30 | .29 | .27 | .26 |
| Gas Heating | AFUE | .76-.77 | .78 | .79-.82 | .83-.85 | .86-.89 | .90-.92 | .93-.95 | .96-.98 |
|  | HSM | .46 | .44 | .43 | .41 | .38 | .36 | .34 | .33 |
| Electric strip and gas | 1.0 (for gas credit multipliersk, see Table 6A-21) |  |  |  |  |  |  |  |  |

[Modify Form 600A North 123, Central 456 and South 789, Table 6A-21 Heating Credit Multipliers (HCM) to delete the existing Natural Gas and Propane Gas multiplier categories. ]

[Modify Form 600A North 123, Central 456 and South 789, Table 6A-22 Hot Water Multipliers (HWM) to add a new Gas Water Heating category with multipliers. No change is proposed for the Electric Resistance or Dedicated Heat Pump / Solar System categories. ]

| 6A-22 Hot Water Multipliers (HWM) Climate Zones 1 2 3 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SYSTEM TYPE see Table N1112.ABC.3.2 for code minimums |  |  |  | Hot Water Multipliers (HWM) |  |  |  |  |  |
| Electric Resistance | EF | .80 - .81 | .82 - .83 | .84 - .85 | .86 - .87 | .88 - .90 | .91 - .93 | .94 - .96 | .97 & Up |
|  | HWM | 3020 | 2946 | 2876 | 2809 | 2746 | 2655 | 2571 | 2491 |
| Gas Water Heating | EF | .54 | .55 | .56 | .57 | .58 | .59 | .60 | .61 |
|  | HWM | 3020 | 2946 | 2876 | 2809 | 2746 | 2655 | 2571 | 2491 |
|  | EF | .62 -.63 | .64 - .65 | .66 - .70 | .71 - .75 | .76 - .80 | .81 - .83 | .84 - .86 | .87 & Up |
|  | HWM | 2346 | 2217 | 2101 | 1738 | 1456 | 1196 | 1055 | 933 |

| 6A-22 Hot Water Multipliers (HWM) Climate Zones 4 5 6 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SYSTEM TYPE see Table N1112.ABC.3.2 for code minimums |  |  |  | Hot Water Multipliers (HWM) |  |  |  |  |  |
| Electric Resistance | EF | .80 - .81 | .82 - .83 | .84 - .85 | .86 - .87 | .88 - .90 | .91 - .93 | .94 - .96 | .97 & Up |
|  | HWM | 2820 | 2752 | 2685 | 2624 | 2564 | 2479 | 2400 | 2326 |
| Gas Water Heating | EF | .54 | .55 | .56 | .57 | .58 | .59 | .60 | .61 |
|  | HWM | 2820 | 2752 | 2685 | 2624 | 2564 | 2479 | 2400 | 2326 |
|  | EF | .62 -.63 | .64 - .65 | .66 - .70 | .71 - .75 | .76 - .80 | .81 - .83 | .84 - .86 | .87 & Up |
|  | HWM | 2191 | 2070 | 1962 | 1623 | 1359 | 1117 | 985 | 871 |

| 6A-22 Hot Water Multipliers (HWM) Climate Zones 7 8 9 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SYSTEM TYPE see Table N1112.ABC.3.2 for code minimums |  |  |  | Hot Water Multipliers (HWM) |  |  |  |  |  |
| Electric Resistance | EF | .80 - .81 | .82 - .83 | .84 - .85 | .86 - .87 | .88 - .90 | .91 - .93 | .94 - .96 | .97 & Up |
|  | HWM | 2606 | 2543 | 2482 | 2424 | 2369 | 2290 | 2218 | 2149 |
| Gas Water Heating | EF | .54 | .55 | .56 | .57 | .58 | .59 | .60 | .61 |
|  | HWM | 2606 | 2543 | 2482 | 2424 | 2369 | 2290 | 2218 | 2149 |
|  | EF | .62 -.63 | .64 - .65 | .66 - .70 | .71 - .75 | .76 - .80 | .81 - .83 | .84 - .86 | .87 & Up |
|  | HWM | 2024 | 1912 | 1813 | 1500 | 1256 | 1032 | 910 | 805 |

Form 1100B-07 600B-04

[Change Page 1 as follows:]

General instructions:

1. New construction including additions which incorporate any of the following features cannot comply using this method:, steel stud walls, single assembly roof/ceiling construction, or skylights or other nonvertical roof glass, glass area in excess of 16 percent of conditioned floor area, and electric resistance heat.

2. Choose one of the component packages “A” through “C” from Table 6B-1 by which you intend to comply with the code. Circle the column of the package you have chosen.

- Compliance Package Chosen

7. Predominant eve overhang

8. Glass type and area

a. U-factor (or DEFAULT)

b. SHGC (or DEFAULT)

c. Glass area

13. Air distribution system: Duct insulation, location

Test report (attach if required)

Change Page 2 as follows:

Striking Table 6B-1 in its entirety and replacing with the following revised Table 11B-1:

Table 11B-1 Minimum Requirements (See Note 1)

| Building Component | Performance Criteria | Installed Values: |  |
| --- | --- | --- | --- |
| Windows (see Note 2): | U-Factor = 0.75 SHGC = 0.40 % of CFA <= 16% | U-Factor = SHGC = % of CFA = |  |
| Exterior door type | Wood or insulated | Type: |  |
| Walls – Ext. and Adj. (see Note 3): Frame Mass | All zones: R-13 North: Int. R-6; Ext: R-4 Central: Int: R-6; Ext: R-4 South: Int. R-4; Ext: R-3 | R-Value = R-Value = R-Value = R-Value = |  |
| Ceilings (see Notes 3 & 4): | R=30 | R-Value = |  |
| Floors: Slab-on-Grade Over unconditioned spaces (see Note 3) | No requirement R-13 | R-Value = |  |
| Hot water systems (storage type: Electric (see Note 5): Natural gas fired (see Note 6): | 40 gal: EF = 0.92 50 gal: EF = 0.90 40 gal: EF = 0.59 50 gal: EF = 0.58 | Gallons = EF = Gallons = EF = |  |
| Air conditioning systems (see Note 7) | SEER = 13.0 | SEER = |  |
| Heat pump systems (see Note 8) | SEER = 13.0 HSPF = 7.7 | SEER = HSPF = |  |
| Natural gas furnaces | AFUE = 78% | AFUE = |  |
| Oil furnaces | AFUE = 78% | AFUE = |  |
| Ductwork: | Unconditioned: R-6 Conditioned: R-4.2 | Location: R-Value = | _____ |
| Air Handler location: | Garage, Attic or Interior | Location: |  |

Table 11B-1 Notes:

(1) 	Each component present in the As-Built home must meet or exceed each of the applicable performance criteria in order to comply with this code using this method; otherwise Method A compliance must be used.

(2) 	Windows and doors qualifying as glazed fenestration areas must comply with both the maximum U-Factor and the maximum SHGC (solar Heat Gain Coefficient) criteria and have a maximum total window area equal to or less than 16% of the conditioned floor area (CFA), otherwise Method A must be used for compliance.

(3) 	R-Values are for insulation material only as applied in accordance manufacturers’ installation instructions.  For mass walls, the interior (Int) requirement must be met unless at least 50% of the insulation value is on the exterior (Ext) or integral to the wall.

(4) 	Attic knee walls shall be insulated to same level as ceilings and shall have a positive means of maintaining insulation in place. Such means may include rigid insulation board or air barrier sheet materials adequately fastened to the attic sides of knee wall framing materials.

(5) 	For other electric storage volumes, minimum EF = 0.97 - (0.00132 * volume)

(6) 	For other natural gas storage volumes, minimum EF = 0.67 - (0.0019 * volume)

(7) 	For all conventional units with capacities greater than 30,000 Btu/hr.  For Small-Duct, High-Velocity units, Space Constrained units, and units with capacities less than 30,000 Btu/hr see Table 13-607.ABC.3.2A of the Florida Building Code, Building, or Table N1107.ABC.3.2A of the Florida Building Code, Residential.
(8) 	For all conventional units with capacities greater than 30,000 Btu/hr.  For Small-Duct, High-Velocity units, Space Constrained units, and units with capacities less than 30,000 Btu/hr see Table 13-607.ABC.3.2B of the Florida Building Code, Building, or Table N1107.ABC.3.2B of the Florida Building Code, Residential. 				[Mod 2367]

Rename Table 11B-2  6B-2.

[Renumber all section references to reflect Chapter 11 sections referenced.]

FORM 1100C-07 600C-04R

[Change Tables wherever used as follows:  Table 116C-1, 116C-2 and 116C-3

and update all references to code sections.]

FORM 1100D-07 600D-04 [Rename Form; text same]

EPL Display Card

Change the EPL Display Card [in part] as shown to reflect changes made to the energy code:

ESTIMATED ENERGY PERFORMANCE INDEX SCORE* =

The lower higher the Energy Performance Index score, the more efficient the home.

15. HVAC credits claimed (Alternate Point System Method only)

I certify that this home has complied with the Florida Energy Efficiency Code For Building through the above energy saving features which will be installed (or exceeded) in this home before final inspection. Otherwise, a new EPL Display Card will be completed based on installed Code compliant features.

*NOTE: The home’s estimated Eenergy Pperformance Index score is available through the EnergyGauge USA Fla/Res 2007 computer program. This is not a Building Energy Rating. If your index score is below 100 80 or greater (or 86 for a US EPA/DOA Energy Star_designation), your home may qualify for energy efficiency mortgage (EEM) incentives if you obtain a Florida Energy Gauge Rating. Contact the Energy Gauge Hotline at (321)/638-1492 or see the Energy Gauge web site at www.energygauge.com www.fsec.ucf.edu for information and a list of certified Raters. For information about Florida’s Energy Efficiency Code For Building Construction, contact the Department of Community Affairs at (850) /487-1824.

**Label required by Section 13-104.4.5 of the Florida Building Code, Building, or Section B2.1.1 of Appendix G of the Florida Building Code, Residential, if not DEFAULT.

SUBAPPENDIX G-E

FLORIDA STANDARD NO. 1 (FL-1)

FLORIDA REGULATORY MODIFICATIONS TO AIR-CONDITIONING & REFRIGERATION INSTITUTE (ARI) STANDARD 470-80

Effective April 1, 1986

[Add from ’04 code, Appendix 13-E]

[Mod 2327]

Appendix H Patio Covers.  Change to read as shown.

Appendix H Patio Covers.  Reserved.

Appendix I Private Sewage Disposal.  Change to read as shown.

Appendix I Private Sewage Disposal.  Reserved.

Appendix J Existing Buildings and Structures.  Change to read as shown.

Appendix J Existing Buildings and Structures.  Reserved.

Appendix K Sound Transmission.  Change to read as shown.

Appendix K Sound Transmission.  Reserved.

Appendix L Permit Fees.  Change to read as shown.

Appendix L Permit Fees.  Reserved.

Appendix M Home Day Care – R-3 Occupancy.  Change to read as shown.

Appendix M Home Day Care – R-3 Occupancy.  Reserved.

Appendix N Venting Methods.  Change to read as shown.

Appendix N Venting Methods.  Reserved.

Appendix O Gray Water Recycling Systems.  Change to read as shown.

Appendix O Gray Water Recycling Systems. Reserved.

Appendix P Sprinkling.  Change to read as shown.

Appendix P Sprinkling.  Reserved.

Appendix Q:  ICC IRC Electrical Provisions/ National Electrical Code Cross-Reference.  Change to read as shown.

Appendix Q:  ICC IRC Electrical Provisions/ National Electrical Code Cross-Reference.  Reserved.