JDB Code Services, Inc.

March 25, 2020

Mo Madani, FBC Technical Unit Manager

Division of Professions
2601 Blairstone Road, Tallahassee, FL 32399

Mr. Madani:

Below are the changes to correlate the FBC-EC Referenced Standards Chapter 5 and FBC-EC Section C405.6. with the changes as recommended for approval by the Energy TAC for consideration by the Florida Building Commission at the April 7, 2020, meeting.

ANSI/ASHRAE/IESNA

90.1—2016 Energy Standard for Buildings Except Low-rise Residential Buildings,

excluding section 9.4.1.1(g) 8.4.2, and 8.4.3. . . . . . . . . . . . . . . . . . . .C304.1,1, C304.3.1.4, C304.3.2.1, C405.6.1.

C405.6 Electrical power (Mandatory).

C405.6.1 Applicability. This section applies to all building

power distribution systems. The provisions for electrical

distribution for all sections of this code are subject to

the design conditions in ASHRAE Standard 90.1.

Exception: Compliance with ASHRA 90.1 Sections 8.4.2, 8.4.3, and 9.4.1.1(g) are not required.

Remainder of Section unchanged.