Page 1 of 6

2/27/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    21

Pending Review

TAC Recommendation

Total Mods for    Electrical in    Pending Review

TAC:

Electrical

21

SubCode:

Building



4-Special Detailed Requirements Based on Use and Occupancy

Section

454.1.7.8

7174

Chapter

Mod #

Reduce lighting requirement in very shallow water, require low voltage underwater lights regardless of pool type

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Weinbaum

Section

449.3.15

7209

Chapter

Mod #

This proposed modification revises the requirements for lightning and surge protection for added clarity and effective enforcement.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Section

464.4.7

7211

Chapter

Mod #

This proposed modification adds requirements for lightning and surge protection in ALFs identical to the current and proposed requirements for nursing homes.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Page 2 of 6

2/27/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    21

Total Mods for    Electrical in    Pending Review

TAC:

Electrical

21

Section

457.1.4.1.5

7212

Chapter

Mod #

This proposed modification revises the requirements for surge protection for added clarity and effective enforcement.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Section

453.17.7

7218

Chapter

Mod #

This proposed modification revises the section to match the language for lightning and surge protection for hospitals (449.3.15), nursing homes (450.3.19), and as proposed for assisted living facilities (464.4.7).

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Section

453.17.8

7220

Chapter

Mod #

This proposed modification slightly revises the wording of the section to correspond with terms used in the NEC related to GFCI protection.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Section

450.3.19

7255

Chapter

Mod #

This proposed modification revises the requirements for lightning and surge protection for added clarity and effective enforcement.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Page 3 of 6

2/27/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    21

Total Mods for    Electrical in    Pending Review

TAC:

Electrical

21

Mod #

7362

Proponent

422.6

Section

4

Chapter

Pending Review

This proposed modification adds essential electrical system criteria for ambulatory care facilities.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7370

Proponent

412.6.7

Section

4

Chapter

Pending Review

This proposed modification adds electrical classification criteria to the rules for aircraft paint hangers.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

9-Fire Protection Systems

Mod #

7385

Proponent

917

Section

9

Chapter

Pending Review

This proposed modification adds a new Section on &quot;Mass Notification Systems&quot; to the code.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

27-Electrical

Section

2703

7208

Chapter

Mod #

This proposed modification will add mandatory surge protection requirements to buildings under the scope of the FBC-B.

27

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

31-Special Construction

Page 4 of 6

2/27/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    21

Total Mods for    Electrical in    Pending Review

TAC:

Electrical

21

Mod #

7365

Proponent

3111

Section

31

Chapter

Pending Review

This proposed modification updates requirement for solar energy systems in the FBC-B.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

SubCode:

Energy Conservation



4-[CE] - Commercial Energy Efficiency

Section

405.6.3

7205

Chapter

Mod #

This proposed modification revises the voltage drop requirement to include &quot;customer-owned service conductors&quot; in addition to feeder conductors and branch circuit conductors.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Section

405.6.1

7206

Chapter

Mod #

This proposed modification revises the section to clarify that compliance with Section 8 Power of the ASHRAE Standard 90.1 is required by Section 405.6.1

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

SubCode:

Residential



3-Building Planning

Section

328

7207

Chapter

Mod #

This proposed modification will add mandatory surge protection requirements to buildings under the scope of the FBC-R.

3

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Page 5 of 6

2/27/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    21

Total Mods for    Electrical in    Pending Review

TAC:

Electrical

21

Mod #

7345

Proponent

324

Section

3

Chapter

Pending Review

This proposed modification updates the requirements for solar energy systems.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7350

Proponent

329

Section

3

Chapter

Pending Review

This proposed modification adds a new section on Stationary Storage Battery Systems to the code.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Section

324

7645

Chapter

Mod #

The modification provides for solar ready features to facilitate the instalation of solar PV and solar thermal systems without resort to destructive methods.

3

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

John Hall

34-General Requirements

Section

3401

7199

Chapter

Mod #

This proposed modification revises the applicability of the FBC-R related to electrical installations by providing a pointer to the NFPA 70 for compliance and requests the rest of Chapter 34 and all of Chapter 35-43 to be placed in &quot;reserved&quot; status.

34

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

37-Branch Circuit and Feeder Requirements

Page 6 of 6

2/27/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    21

Total Mods for    Electrical in    Pending Review

TAC:

Electrical

21

Section

3702.13

7215

Chapter

Mod #

The modification provides for infrastructure to accomodate future electric vehicle charging equipment in one- and two-family dwellings and townhouses with garages.

37

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

John Hall

39-Power and Lighting Distribution

Section

3902.16

8149

Chapter

Mod #

This proposal recommends deletion of kitchens and laundry areas from the list of locations within dwelling units where AFCI protection is required.

39

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

STEVE ROOD

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

TAC Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

E

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived:

Search Criteria