Page 1 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Pending Review

TAC Recommendation

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

SubCode:

Energy Conservation



7-Forms

Section

CB

7332

Chapter

Mod #

This proposed modification adds Appendix CB for &quot;Solar-Ready Zone - Commercial&quot; provisions.

Appendix

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Mod #

8366

Proponent

CA

Section

Appendix

Chapter

Pending Review

Provide a Commercial Energy Conservation Code Documentation Checklist in Appendix CA.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

10-Appendix RD

Section

RB

7652

Chapter

Mod #

Replace existing Form R402 (prescriptive R-value computation compliance report) with new Form R402.

Appendix

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Jeff Sonne for FSEC

Mod #

7675

Proponent

RD

Section

Appendix

Chapter

Pending Review

Add Envelope Leakage Test Report to Appendix RD.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Page 2 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7677

Proponent

RD

Section

Appendix

Chapter

Pending Review

Add Duct Leakage Test Report to Appendix RD.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

7678

Proponent

RD

Section

Appendix

Chapter

Pending Review

Modify Energy Performance Level (EPL) Display Card.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

8074

Proponent

RD

Section

Appendix

Chapter

Pending Review

Provide a Residential Energy Conservation Code Documentation Checklist in Appendix RD.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

2-[CE] - Definitions

Mod #

7236

Proponent

202

Section

2

Chapter

Pending Review

This proposed modification revises the definition of &quot;nameplate horsepower&quot; to correlate with the 2018 IECC and related industry standards.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Page 3 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7237

Proponent

202

Section

2

Chapter

Pending Review

This proposed modification deletes the term &quot;screw lamp holders&quot; as it is not used in the FBC-Energy nor the IECC or ASHRAE Standard 90.1.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7240

Proponent

202

Section

2

Chapter

Pending Review

This proposed modification adds, revises, and deletes several electrically-related definitions from the FBC-Energy to harmonize the code the 2018 IECC and other industry standards.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7884

Proponent

1

Section

2

Chapter

Pending Review

This modification deletes the definition of fan efficiency grade.

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

Section

1

7892

Chapter

Mod #

Adds definitions related to fan energy index to CE Chapter 2.

2

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Amanda Hickman

Page 4 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Section

202

7915

Chapter

Mod #

Clarification to the definitions of Entrance Door and Fenestration.

2

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Hetzel

Mod #

8175

Proponent

202

Section

2

Chapter

Pending Review

added definition

Summary

AS

AM

NAR

I

W

TAC Action

Armin Hauer

Mod #

8256

Proponent

202

Section

2

Chapter

Pending Review

Propose definition of cavity insulation.

Summary

AS

AM

NAR

I

W

TAC Action

John Woestman

2-[RE] - Definitions

Mod #

7203

Proponent

202

Section

2

Chapter

Pending Review

This proposed modification deletes the definition of &quot;high-efficacy lamps&quot; from the code in coordination with a proposed modification to R404.1

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Page 5 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7241

Proponent

202

Section

2

Chapter

Pending Review

This proposed modification revises the terms &quot;approved agency&quot; and &quot;labeled&quot; to reflect industry practices and proper use in the code.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7796

Proponent

202

Section

2

Chapter

Pending Review

The change clarifies the definition of Building Thermal Envelope

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Belcher for FHBA

Mod #

7823

Proponent

202

Section

2

Chapter

Pending Review

Update definition of Skylight for consistency with other codes that were modified in the 2018 IECC.

Summary

AS

AM

NAR

I

W

TAC Action

Roger LeBrun

Mod #

8257

Proponent

202

Section

2

Chapter

Pending Review

Propose definition of cavity insulation.

Summary

AS

AM

NAR

I

W

TAC Action

John Woestman

3-[CE] - General Requirements

Page 6 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7924

Proponent

303.1.3

Section

3

Chapter

Pending Review

Inclusion of rolling doors in U-factor ratings determination language, and reformatting the fenestration product rating language.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Hetzel

Mod #

7930

Proponent

303.1.3

Section

3

Chapter

Pending Review

Clarifying the Default Door U-factor table as applying to opaque doors, and including a value for insulated rolling doors.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Hetzel

3-[RE] - General Requirements

Mod #

7939

Proponent

303.1.3

Section

3

Chapter

Pending Review

Reformat the fenestration product rating language.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Hetzel

Section

303.1.3

7940

Chapter

Mod #

Title the default door U-factor table as applying to opaque doors, and distinguish that table from the &quot;glazed fenestration&quot; table retitled to apply to windows, glass doors and skylights.

3

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Hetzel

4-[CE] - Commercial Energy Efficiency

Page 7 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Section

404.4

7195

Chapter

Mod #

Revises service water heating piping insulation to conform to the requirements of ASHRAE 90.1-2016.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Gary Kozan

Section

405.6.3

7205

Chapter

Mod #

This proposed modification revises the voltage drop requirement to include &quot;customer-owned service conductors&quot; in addition to feeder conductors and branch circuit conductors.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Section

405.6.1

7206

Chapter

Mod #

This proposed modification revises the section to clarify that compliance with Section 8 Power of the ASHRAE Standard 90.1 is required by Section 405.6.1

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Mod #

7238

Proponent

403.4.2.4

Section

4

Chapter

Pending Review

This proposed modification harmonizes requirements for part-load controls for hydronic system of the FBC-Energy with the 2018 IECC.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Page 8 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7239

Proponent

405.1

Section

4

Chapter

Pending Review

This proposed modification is mostly editorial to add clarity to the rules for lighting in dwelling units and coolers/freezers.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7244

Proponent

402.4

Section

4

Chapter

Pending Review

This proposed modification makes minor editorial revision to the terms used for daylight zones, provides a pointer to requirements for daylight responsive controls, and increases the skylight area an additional 1% where DRC is provided.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7245

Proponent

405.2

Section

4

Chapter

Pending Review

This proposed modification brings in rules for &quot;luminaire level lighting controls&quot; as an option for meeting the requirements of the code.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7246

Proponent

405.2.1

Section

4

Chapter

Pending Review

This proposed modification updates all the requirements related to occupant sensor controls to harmonize the FBC-Energy with the 2018 IECC and ASHRAE Standard 90.1.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Page 9 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7313

Proponent

405.2.2

Section

4

Chapter

Pending Review

This proposed modification makes minor editorial revisions to the rules related to time-switch controls.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7315

Proponent

405.2.2.3

Section

4

Chapter

Pending Review

This proposed modification moves the rules for manual controls to C405.2.5 and makes other minor editorial revisions.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7317

Proponent

405.2.3

Section

4

Chapter

Pending Review

This proposed modification is mostly an editorial update to match the FBC-Energy to the 2018 IECC for the rules related to daylight-responsive controls.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7318

Proponent

405.2.4

Section

4

Chapter

Pending Review

This proposed modification is an editorial revision to the rules related to specific application controls.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Page 10 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7325

Proponent

405.4

Section

4

Chapter

Pending Review

This proposed modification revises the several of the rules and tables for interior lighting power requirements.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7326

Proponent

405.5

Section

4

Chapter

Pending Review

This proposed modification revises the rules and tables for exterior lighting power requirements.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7327

Proponent

405.5.2

Section

4

Chapter

Pending Review

This proposed modification adds mandatory requirements for gas-fired lighting appliances.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7328

Proponent

405.7

Section

4

Chapter

Pending Review

This proposed modification is an editorial revision to the Section on transformers to match the terms used in the associated Table.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Page 11 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7329

Proponent

405.9.2

Section

4

Chapter

Pending Review

This proposed modification adds an exception to the speed control rules for escalators and moving walks.

Summary

AS

AM

NAR

I

W

TAC Action

Bryan Holland

Mod #

7499

Proponent

402.4.1.2

Section

4

Chapter

Pending Review

Increases the Skylights area percentage allowed with daylight response control from 5% to 6%.

Summary

AS

AM

NAR

I

W

TAC Action

Bereket Nigusse

Section

405.2.5.3

7503

Chapter

Mod #

Exterior lighting control device shall automatically reduce the connected lighting power by at least 50% when there is no activity. While this proposal is a new code section already approved by the the Energy TAC, this modification is required to make it equivalent to ASHRAE 90.1-2016.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bereket Nigusse

Mod #

7515

Proponent

402.5.6

Section

4

Chapter

Pending Review

Clarifies cargo doors and loading dock doors infiltration restriction requirement

Summary

AS

AM

NAR

I

W

TAC Action

Bereket Nigusse

Page 12 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7523

Proponent

403.2.4.1.4

Section

4

Chapter

Pending Review

Heated or cooled vestibules require controls based on a thermostat located in the vestibule

Summary

AS

AM

NAR

I

W

TAC Action

Bereket Nigusse

Mod #

7533

Proponent

403.2.4.2.3

Section

4

Chapter

Pending Review

Add optimum start capability to individual HVAC off-hours control

Summary

AS

AM

NAR

I

W

TAC Action

Bereket Nigusse

Mod #

7536

Proponent

403.2.4.2.5

Section

4

Chapter

Pending Review

Automatic control of HVAC systems serving guest rooms

Summary

AS

AM

NAR

I

W

TAC Action

Bereket Nigusse

Mod #

7558

Proponent

403.2.4.3

Section

4

Chapter

Pending Review

Updated exception that restricts gravity dampers use for exhaust and relief system only

Summary

AS

AM

NAR

I

W

TAC Action

Bereket Nigusse

Page 13 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7608

Proponent

405.4.1

Section

4

Chapter

Pending Review

Total connected interior lighting power calculation

Summary

AS

AM

NAR

I

W

TAC Action

Bereket Nigusse

Section

402.4

7752

Chapter

Mod #

Clarification of allowable skylight area when daylight responsive controls and minimum skylight area provisions simultaneously apply.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Roger LeBrun

Mod #

7882

Proponent

407.5.1

Section

4

Chapter

Pending Review

This modification adds an exception to Table C407.5.1(1)

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

Mod #

7886

Proponent

403.2.12.3

Section

4

Chapter

Pending Review

This modification deletes section C403.2.12.3 Fan Efficiency.

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

Page 14 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7898

Proponent

402.5.6

Section

4

Chapter

Pending Review

Clarifies loading dock weatherseal provisions.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Hetzel

Mod #

7904

Proponent

402.1.4

Section

4

Chapter

Pending Review

Include garage door maximum U-factors.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Hetzel

Mod #

7934

Proponent

402.5.2

Section

4

Chapter

Pending Review

Adds an air leakage requirement for power-operated sliding doors and power-operated folding doors.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Hetzel

Section

404.2

7984

Chapter

Mod #

Updates Table C404.2 Minimum Performance of Water Heating Equipment to current federal standard.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Jeff Sonne for FSEC

Page 15 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7990

Proponent

403.2.3

Section

4

Chapter

Pending Review

Updated Table C403.2.3(3) ELECTRICALLY OPERATED PACKAGED TERMINAL AIR CONDITIONERS, PACKAGED TERMINAL HEAT PUMPS, SINGLE-PACKAGE VERTICAL AIR CONDITIONERS, SINGLE VERTICAL HEAT PUMPS, ROOM AIR CONDITIONERS AND ROOM AIR-CONDITIONER HEAT PUMPS to latest federal standards.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

7995

Proponent

403.2.3

Section

4

Chapter

Pending Review

Update Table C403.2.3(5) Gas and Oil-fired Boilers to latest federal standards.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

8000

Proponent

403.2.3

Section

4

Chapter

Pending Review

Update Table C403.2.3(1) Unitary Air Conditioners and Condensing Units to latest federal standards.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Section

403.2.3

8025

Chapter

Mod #

Updates Table C403.2.3(9) Air Conditioners and Condensing Units Serving Computer Rooms

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bereket Nigusse

Page 16 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

8028

Proponent

403.2.3

Section

4

Chapter

Pending Review

Update Table C403.2.3(2) ELECTRICALLY OPERATED UNITARY AND APPLIED HEAT PUMPS to latest federal standards.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

8031

Proponent

403.2.3

Section

4

Chapter

Pending Review

Updates Table C403.2.3(11) VRF Multi-Split Air Conditions and Heat Pumps

Summary

AS

AM

NAR

I

W

TAC Action

Bereket Nigusse

Mod #

8040

Proponent

408

Section

4

Chapter

Pending Review

Consolidates maintenance requirements with TACing provisions.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Belcher for FHBA

Mod #

8045

Proponent

401.2

Section

4

Chapter

Pending Review

Eliminated mandatory automatic controlled receptacles.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Belcher for FHBA

Page 17 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

8066

Proponent

408.1

Section

4

Chapter

Pending Review

The operations and documentation requirements in Section C303 were written prior to the IECC having section C408. Section C408 covers TACing requirements, &amp;    what type of operations and maintenance documents must be included in the information given to building owners and operators.

Summary

AS

AM

NAR

I

W

TAC Action

George Wiggins (BOAF)

Mod #

8093

Proponent

401

Section

4

Chapter

Pending Review

Mostly editorial to place the TACing requirements for mechanical &amp; service hot water heating and the functional testing requirements for lighting controls in one new Section 408

Summary

AS

AM

NAR

I

W

TAC Action

George Wiggins (BOAF)

Mod #

8095

Proponent

403

Section

4

Chapter

Pending Review

Corrects a revision placed in the 2015 IECC &amp; moves fan requirements to C403.2.12 to be in one location for consistency with ASHRAE Std 90.1-16

Summary

AS

AM

NAR

I

W

TAC Action

George Wiggins (BOAF)

Section

403.2.12.3

8122

Chapter

Mod #

This modification revises the text in section C403.2.12.3.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Amanda Hickman

Page 18 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Section

403.2.14

8137

Chapter

Mod #

This modification resolves conflict between Federal preemption rules and code requirements for walk-in coolers and freezers

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Amanda Hickman

Mod #

8142

Proponent

403

Section

4

Chapter

Pending Review

The proposed additional criteria to the FBC, Energy provides the ability to reduce building energy use through deeper thermostat setups and setbacks and ventilation control in unrented guestrooms without affecting occupant comfort or creating a conflict with the FBC, Mechanical Code

Summary

AS

AM

NAR

I

W

TAC Action

George Wiggins (BOAF)

Mod #

8148

Proponent

406.1.1

Section

4

Chapter

Pending Review

This proposal clarifies that built-out tenant spaces that are or were occupied, and undergoing an alteration using the existing building provisions, do not need to comply with one or more of the packages in Section C406.

Summary

AS

AM

NAR

I

W

TAC Action

George Wiggins (BOAF)

Mod #

8154

Proponent

406.7.1

Section

4

Chapter

Pending Review

Clarifies that minimum percentage requirements are related to a building&#39;s annual hot water requirements &amp; not    first hour rating, &amp;

Removes combined heat and power system technologies    &amp;

Expands the qualifying renewable energy technology    to any on site renewable

Summary

AS

AM

NAR

I

W

TAC Action

George Wiggins (BOAF)

Page 19 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

8184

Proponent

403.2.12.2

Section

4

Chapter

Pending Review

Correct conversion error related to shaft power.

Move the clause about fan system motor nameplate for better clarity.

Increase the design options for load-matching variable-speed fan motors, accommodates new motor and drive technologies, and it simplifies the motor selection criteria for fans.

Summary

AS

AM

NAR

I

W

TAC Action

Armin Hauer

Section

407.3

8185

Chapter

Mod #

Clarifies the treatment of on-site renewable energy in the performance path and sets reasonable limitations on trade-offs consistent with the 2018 IECC.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Eric Lacey

Mod #

8199

Proponent

406

Section

4

Chapter

Pending Review

Adds two new options to Section C406, providing additional flexibility consistent with changes made in the 2018 IECC through proposal CE230.

Summary

AS

AM

NAR

I

W

TAC Action

Eric Lacey

Mod #

8228

Proponent

402.5.4

Section

4

Chapter

Pending Review

Proposal FS101-15 for the 2018 IBC completely reorganized IBC Section 716, the pointers need to be reviewed and several revised. This proposal complements FS74-15 approved in 2015 for the 2018 IBC.

Summary

AS

AM

NAR

I

W

TAC Action

John Woestman

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Energy

2/26/2019

Page 20 of 32

Total Mods for this report:    124

TAC Action

W

I

NAR

AM

AS

Summary

Disallow electric resistance from being primary space heating system type for prescriptive compliance in Climate Zone 2.

Pending Review

Chapter

4

Section

403.7.2

Proponent

7154

Mod #

4-[RE] - Residential Energy Efficiency

Oscar Calleja

TAC Action

W

I

NAR

AM

AS

Summary

Adds clarification to the Commercial Building TACing requirement.This Mod adds language that prevents counting individual mechanical system capacities serving the building&#39;s dwelling/sleeping units in calculating the whole building capacity.

Pending Review

Chapter

4

Section

408.2

Proponent

8377

Mod #

Oscar Calleja

TAC Action

W

I

NAR

AM

AS

Summary

Eliminates Conflict between FECC-C403.2.8 and the Mechanical Code Section 507.5.

Commercial Kitchen Hood Minimum Airflows in M507.5 are actually HIGHER than the Maximum shown in Energy Code Commercial 403.2.8. Proposed Mod eliminates the Maximum Airflows in C403.2.8.

Pending Review

Chapter

4

Section

403.2.8

Proponent

8367

Mod #

John Woestman

TAC Action

W

I

NAR

AM

AS

Summary

From an building thermal envelope perspective, air spaces are sometimes not being applied correctly and this proposal provides the necessary direction.

Pending Review

Chapter

4

Section

402.2.7

Proponent

8259

Mod #

124

Energy

TAC:

Total Mods for    Energy in    Pending Review

Jeff Sonne for FSEC

Page 21 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Section

404.1

7204

Chapter

Mod #

This proposed modification revises the luminaire and lamp efficacy requirements under Section R404 to align the code with current lighting industry standards.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Section

405.5.2(1)

7231

Chapter

Mod #

The proposed modifications are editorial in nature and are being submitted to maintain consistency with the changes that are anticipated with IECC 2021 changes.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Kelli Fleming

Mod #

7566

Proponent

405.2.2

Section

4

Chapter

Pending Review

Clarifies that for simulated performance compliance, the tested building air leakage rate must not exceed the proposed design leakage rate.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

7570

Proponent

403.3.3

Section

4

Chapter

Pending Review

Clarifies that duct testing is required for simulated performance compliance if credit is taken for duct sealing beyond default leakage.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Page 22 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7574

Proponent

405.5.2

Section

4

Chapter

Pending Review

Reword first sentence of Table R405.5.2(1) footnote &quot;a&quot; regarding building air leakage testing to make consistent with current Florida Code.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

7575

Proponent

405.2.3

Section

4

Chapter

Pending Review

Clarifies that for simulated performance compliance, the tested duct air leakage rate must not exceed the leakage rate of the proposed design.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

7576

Proponent

403.6.1

Section

4

Chapter

Pending Review

Rewords section&#39;s electronically commutated motor requirement and adds minimum efficacy requirement for HRVs and ERVs.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

7577

Proponent

405.5.2

Section

4

Chapter

Pending Review

Clarifies that for proposed designs with electric heating, the standard reference design heating system type is a heat pump.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Page 23 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7578

Proponent

405.5.2

Section

4

Chapter

Pending Review

Clarifies that for proposed designs without a heating system, an electric heat pump is to be assumed for both the standard reference design and proposed design if the proposed design has an electric water heater.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Mod #

7579

Proponent

405.5.2

Section

4

Chapter

Pending Review

Removes footnote &quot;e&quot; and &quot;f&quot; references from Service hot water section of table.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Section

405.5.2

7597

Chapter

Mod #

Increases reference water heater efficiency for proposed electric water heaters with ~= 55 gallon rated storage volume.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Jeff Sonne for FSEC

Mod #

7649

Proponent

403.13

Section

4

Chapter

Pending Review

Adds dehumidifier code sections.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Page 24 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7651

Proponent

405.5.2

Section

4

Chapter

Pending Review

Adds dehumidifier and dehumidistat sections to performance compliance Table R405.5.2(1).

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

Section

403.5.1

7783

Chapter

Mod #

Plan reviewers &amp; inspectors have misinterpreted 403.5.1 to mean that HW recirc systems are mandatory for every 1 &amp; 2 family dwelling.    They are not.    It is the controls that are mandatory IF a HW recirc system is installed.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

David Porter

Mod #

7802

Proponent

405.4.2.2

Section

4

Chapter

Pending Review

Incorporating TAC’s declaratory statements as required by 553.73(7)(d), Florida Statutes.

DS2018-034

Summary

AS

AM

NAR

I

W

TAC Action

Mo Madani

Mod #

7958

Proponent

402.1

Section

4

Chapter

Pending Review

Adds Exception for log homes.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Belcher for FHBA

Page 25 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Section

403.3

7987

Chapter

Mod #

Adds additional method for energy code compliance - buried ducts.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Belcher for FHBA

Section

403.3

7994

Chapter

Mod #

Adds alternate methods for energy compliance.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Belcher for FHBA

Section

403.3

8002

Chapter

Mod #

Additional method for energy code compliance.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Belcher for FHBA

Mod #

8014

Proponent

403.6.1

Section

4

Chapter

Pending Review

Adds fan efficacy criteria for H/ERV fans.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Belcher for FHBA

Page 26 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Incorporates 2018 IECC provisions for buried ducts in attics, including proposals RE99, RE100, and RE110.

Mod #

Chapter

8172

403

Section

Eric Lacey

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Provides a reasonable efficiency trade-off backstop for the performance path.

Mod #

Chapter

8129

405

Section

Eric Lacey

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

This proposal makes the 7th Edition Code consistent with the 2018 IECC and closes a significant performance path loophole by eliminating efficiency trade-offs for heating, cooling, and water heating equipment for which the TAC is preempted from setting efficiency requirements.

Mod #

Chapter

8127

405

Section

Joseph Belcher for FHBA

TAC Action

W

I

NAR

AM

AS

Summary

Changes equations to account for minimum fan efficacy for HRV and ERV

Pending Review

Chapter

4

Section

405.5.2

Proponent

8036

Mod #

124

Energy

TAC:

Total Mods for    Energy in    Pending Review

Eric Lacey

Page 27 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Section

406

8181

Chapter

Mod #

This proposal aligns the Energy Rating Index target in the Florida Building Code with the 2018 IECC.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Eric Lacey

Section

402.1.4

8287

Chapter

Mod #

Changes to U-Factor for fenestration.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Belcher for FHBA

Section

402.1.4

8289

Chapter

Mod #

Changes to U-Factor for fenestration.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Belcher for FHBA

Section

406.4

8390

Chapter

Mod #

Establishes ERI Reference Design ventilation rate.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Joseph Belcher for FHBA

Page 28 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Section

403.7.1.4

8392

Chapter

Mod #

Makes provisions for heating and cooling equipment powered by generators during natural disasters and recovery

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Arlene Stewart

5-[RE] - Existing Building

Section

503.1.4

7243

Chapter

Mod #

This proposed modification

5

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bryan Holland

Section

503.1.1.1

7254

Chapter

Mod #

Provides additional flexibility for builders by allowing replacement fenestration U-factors and SHGCs to be area-weighted averaged, consistent with 2018 IECC.

5

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Eric Lacey

Mod #

7598

Proponent

503.2

Section

5

Chapter

Pending Review

To make exception consistent with Florida Code Section R405.3, replace &quot;energy cost&quot; language with &quot;loads&quot; language.

Summary

AS

AM

NAR

I

W

TAC Action

Jeff Sonne for FSEC

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Energy

2/26/2019

Page 29 of 32

Total Mods for this report:    124

Eric Lacey

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

5

Adopts reasonable exceptions to code requirements for existing buildings.

Mod #

Chapter

8190

503.2

Section

Bryan Holland

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

5

This proposed modification deletes an unintended and unnecessary exception for alterations.

Mod #

Chapter

7330

503.1

Section

5-[CE] - Existing Building

Oscar Calleja

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

5

On existing Residential buildings, replacement of AC ductwork is required to comply with the Prescriptive requirements of the Energy Code. This means min R-8 ductwork in attics.

This Mod removes that requirement allowing for R-6 ductwork to be installed.

Mod #

Chapter

8371

501.7

Section

Jeff Sonne for FSEC

TAC Action

W

I

NAR

AM

AS

Summary

To make exception consistent with Florida Code Section R405.3, replace &quot;energy cost&quot; language with &quot;loads&quot; language.

Pending Review

Chapter

5

Section

505.2

Proponent

7599

Mod #

124

Energy

TAC:

Total Mods for    Energy in    Pending Review

2717-[CE] Reference Standards

Page 30 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Mod #

7883

Proponent

1

Section

2717

Chapter

Pending Review

Adds reference standard ASHRAE 55-2013

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

Mod #

7885

Proponent

1

Section

2717

Chapter

Pending Review

This modification removes reference standard AMCA 205-12

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

Mod #

7913

Proponent

1

Section

2717

Chapter

Pending Review

This modification adds the reference standard AMCA 208-18: Calculation of the Fan Energy Index.

Summary

AS

AM

NAR

I

W

TAC Action

Amanda Hickman

Section

1

8139

Chapter

Mod #

This modification adds two new references to Chapter 6.

2717

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Amanda Hickman

Page 31 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Total Mods for    Energy in    Pending Review

TAC:

Energy

124

Section

6

8176

Chapter

Mod #

The proposed code change update standard ASHRAE 90.1 to the 2016 edition.

2717

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Mo Madani

SubCode:

Residential



2-Definitions

Mod #

7893

Proponent

202

Section

2

Chapter

Pending Review

Adding a definition of &quot;opaque door&quot;.

Summary

AS

AM

NAR

I

W

TAC Action

Joseph Hetzel

4-Foundations

Mod #

7655

Proponent

408.3

Section

4

Chapter

Pending Review

This change adds an option for dehumidification for unvented crawl spaces.

Summary

AS

AM

NAR

I

W

TAC Action

Ann Russo8

8-Roof-Ceiling Construction

Mod #

7726

Proponent

806.5

Section

8

Chapter

Pending Review

Editorial improvement.

Summary

AS

AM

NAR

I

W

TAC Action

Ann Russo1

Search Criteria

Page 32 of 32

2/26/2019

Energy

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    124

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

TAC Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

EN

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived: