Page 1 of 16

2/25/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    59

Pending Review

TAC Recommendation

Total Mods for    Swimming Pool in    Pending Review

TAC:

Swimming Pool

59

SubCode:

Building



4-Special Detailed Requirements Based on Use and Occupancy

Section

454

7125

Chapter

Mod #

Revise Section 454.4.1.2 to reinsert provisions of 2014 that were deleted in 2017 Code.    Chapter 27    and NEC have no requirements for illumination. Alternatively, add provisions for illumination based on the 2015 (or later) ICC Swimming Pool Code to follow a current national standard.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Robert Cohen

Section

454.1.9.2.3

7173

Chapter

Mod #

The pump reservoir has a specific volume requirement.    This requirement is cumbersome when applied to slides with plunge pools.    A provision is added to the plunge pool section to make sure there is sufficient volume in that type of system.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Weinbaum

Section

454.1.7.8

7174

Chapter

Mod #

Reduce lighting requirement in very shallow water, require low voltage underwater lights regardless of pool type

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Weinbaum

Page 2 of 16

2/25/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    59

Total Mods for    Swimming Pool in    Pending Review

TAC:

Swimming Pool

59

Section

454.1.9.2.1

7175

Chapter

Mod #

Plunge pool dimensional standards are deferred to the design engineer

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Weinbaum

Mod #

7176

Proponent

454.1.4.2

Section

4

Chapter

Pending Review

Add reference to lumens in code based on lumen output of common halogen bulbs

Summary

AS

AM

NAR

I

W

TAC Action

Michael Weinbaum

Section

454.1.3.1.2

7177

Chapter

Mod #

Allowing longer infinity edges

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Weinbaum

Section

454.1.9.2.6

7178

Chapter

Mod #

No special requirements added for filters on waterslides

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Weinbaum

Page 3 of 16

2/25/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    59

Total Mods for    Swimming Pool in    Pending Review

TAC:

Swimming Pool

59

Section

454.1.2.3.5

7179

Chapter

Mod #

Allow drinks/beverages at public pools and public pool decks

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Weinbaum

Section

454.1.2.3.5

7180

Chapter

Mod #

Maximum pool depth added to pool rules sign

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Weinbaum

Section

454.1.3.1.2

7190

Chapter

Mod #

Harmonize code for wet deck slope with ADA cross slope

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Michael Weinbaum

Section

454.1.2.3.5

7217

Chapter

Mod #

As per the change in the DOH rule 64E-9 now allows beverages within the Wet Deck area.    this change went into effect in July of 2016.    I am requesting the Building department not post signage that is in conflict with the

DOH change

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Bruce Petricca

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Swimming Pool

2/25/2019

Page 4 of 16

Total Mods for this report:    59

TAC Action

W

I

NAR

AM

AS

Summary

Mod to require pH adjustment chemicals to be fed ONLY into Holding tank and ORP tested in Holding Tank in regards to Interactive Water Features

Pending Review

Chapter

4

Section

454.1.9.8

Proponent

7549

Mod #

Michael Weinbaum

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Sizing code revised

Mod #

Chapter

7259

454.1.1.1

Section

Michael Weinbaum

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Allow designers to exceed 3 ft/s and 1.5 ft/s rule so long as design otherwise complies with ANSI/APSP 16

Mod #

Chapter

7258

454.1.6.5.8

Section

Robert Cohen

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Change section 454.1.4.2.3 from that in the 2017 FBC back to that in the 2014 FBC

Mod #

Chapter

7222

454

Section

59

Swimming Pool

TAC:

Total Mods for    Swimming Pool in    Pending Review

Nikki Barney

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Swimming Pool

2/25/2019

Page 5 of 16

Total Mods for this report:    59

4

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

Incorporating TAC’s declaratory statements as required by 553.73(7)(d), Florida Statutes.

DS2017-070

Mod #

Chapter

7801

454.1.2.1

Section

Mo Madani

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Incorporating TAC’s declaratory statements as required by 553.73(7)(d), Florida Statutes.

DS2018-040

Mod #

Chapter

7798

454.1.6.1

Section

Kari Hebrank

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Currently, there are older pools that are still in use that were built with 12 inch step risers.    When the pools are being resurfaced, the costs to make the step rises comply with 10 inch risers is cost-prohibitive.    These risers were approved when the steps were originally built.

Mod #

Chapter

7658

454.1.10.1.6

Section

Kari Hebrank

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

This proposed modification addresses gravity suction on vacuum lines and is intended to prevent injuries (typically to children) by removing the direct suction line out of the pool.    There have been more than 1400 citations in the last year by Dept. of Health for safety violations with covers.

Mod #

Chapter

7656

454.1.6.5.12

Section

59

Swimming Pool

TAC:

Total Mods for    Swimming Pool in    Pending Review

Mo Madani

Page 6 of 16

2/25/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    59

4

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

PMT proposes adding a Storm Front/Lightning Detector into the code for swimming pools since our state leads the nation in fatalities and injuries caused by lightning. A product that is a safety/situational awareness device that alert swimmers and life guards of approaching storms/lightning.

Mod #

Chapter

7875

454

Section

Michael Weinbaum

TAC Action

W

I

NAR

AM

AS

Summary

Clear up another stumbling block in this section

Pending Review

Chapter

4

Section

454.1.9.8.6.3

Proponent

7855

Mod #

James LePetrie

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Clarifies the definition of a collector tank for a commercial pool.

Mod #

Chapter

7851

454.1.1

Section

Michael Weinbaum

TAC Action

W

I

NAR

AM

AS

Summary

The last sentence here reads the same as the last sentence in 454.1.9.8.6.1, even though they are really talking about two different things.

Pending Review

Chapter

4

Section

454.1.9.8.6.3

Proponent

7819

Mod #

59

Swimming Pool

TAC:

Total Mods for    Swimming Pool in    Pending Review

CK Hamilton

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Swimming Pool

2/25/2019

Page 7 of 16

Total Mods for this report:    59

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Corrects punctuation.

Mod #

Chapter

7901

454.1.2.2.2

Section

James LePetrie

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Requires the design of swimming pools to meet currently accepted standards for concrete construction.

Mod #

Chapter

7900

454.1.2.1

Section

James LePetrie

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Clarifies the definition of a public pool, and eliminates confusion whether two separate pools can share the same treatment system.

Mod #

Chapter

7896

454.1.1

Section

James LePetrie

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Clarifies the definition of a plunge pool.

Mod #

Chapter

7894

454.1.1

Section

59

Swimming Pool

TAC:

Total Mods for    Swimming Pool in    Pending Review

James LePetrie

Page 8 of 16

2/25/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    59

Total Mods for    Swimming Pool in    Pending Review

TAC:

Swimming Pool

59

Section

454.1.2.8.1

7903

Chapter

Mod #

Clarifies how sun shelfs can be designed and constructed.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Section

454.1.3.1.2

7905

Chapter

Mod #

Allows for paver decks to be constructed at 1% minimum slope.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Section

454.1.3.1.2

7906

Chapter

Mod #

Clarifies the how much of a pool deck can slope towards a deck-level perimeter overflow gutter or slot, and at what slope.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Mod #

7907

Proponent

454.1.6.1.3

Section

4

Chapter

Pending Review

Clarifies the requirement that floor drains must be installed within a restroom facility.

Summary

AS

AM

NAR

I

W

TAC Action

James LePetrie

Page 9 of 16

2/25/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    59

Total Mods for    Swimming Pool in    Pending Review

TAC:

Swimming Pool

59

Section

454.1.6.5.3.2.3

7908

Chapter

Mod #

Allows for skimmers to be installed with the equalizer port plugged.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Mod #

7910

Proponent

454.1.6.5.5.1

Section

4

Chapter

Pending Review

Clarifies the filtration rate for regenerative media filters.

Summary

AS

AM

NAR

I

W

TAC Action

James LePetrie

Mod #

7911

Proponent

454.1.6.5.9.6

Section

4

Chapter

Pending Review

Allows for return inlets with flow rates greater than 20 gpm.

Summary

AS

AM

NAR

I

W

TAC Action

James LePetrie

Section

454.1.6.5.16.6

7912

Chapter

Mod #

Clarifies the proper point of chemical injection into return lines where UV systems are utilized.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Page 10 of 16

2/25/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    59

Total Mods for    Swimming Pool in    Pending Review

TAC:

Swimming Pool

59

Section

454.1.7.7

7914

Chapter

Mod #

Exempts the fencing requirement for wading pools that are located within 50 feet of other pools if the walking distance is 50 feet or more.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Mod #

7916

Proponent

454.1.9.2.1.6.2

Section

4

Chapter

Pending Review

Allows for 1% slope for paver decks at plunge pools.

Summary

AS

AM

NAR

I

W

TAC Action

James LePetrie

Mod #

7917

Proponent

454.1.9.2.2.4

Section

4

Chapter

Pending Review

Clarifies that slides with runout lanes shall be staffed by attendants or lifeguards but not necessarily “water park personnel.”

Summary

AS

AM

NAR

I

W

TAC Action

James LePetrie

Mod #

7918

Proponent

454.1.9.2.3.1

Section

4

Chapter

Pending Review

Allows for flexibility in design of pump reservoirs.

Summary

AS

AM

NAR

I

W

TAC Action

James LePetrie

Page 11 of 16

2/25/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    59

Total Mods for    Swimming Pool in    Pending Review

TAC:

Swimming Pool

59

Mod #

7920

Proponent

454.1.9.2.3.5

Section

4

Chapter

Pending Review

Clarifies requirements for pump reservoirs that are also used as a collector tank.

Summary

AS

AM

NAR

I

W

TAC Action

James LePetrie

Section

454.1.9.2.6.3

7921

Chapter

Mod #

Deletes the requirement for a minimum strainer size for slide pumps.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Section

454.1.9.3.3

7922

Chapter

Mod #

Clarifies that skimmer systems can be used for Water Activity Pools (WAP) at the discretion of the design engineer.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Section

454.1.9.6.1

7923

Chapter

Mod #

Allows for a slope transition where zero entry pools achieve 3’0” of water depth.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Swimming Pool

2/25/2019

Page 12 of 16

Total Mods for this report:    59

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Clarifies that chemical injection points in return lines shall be located downstream of UV equipment.

Mod #

Chapter

7929

454.1.9.8.6.3

Section

James LePetrie

TAC Action

W

I

NAR

AM

AS

Summary

Clarifies that chemical injection points in return lines shall be located downstream of UV equipment.    Also removes the requirement for addition of pH adjustment chemicals to the feature return line.

Pending Review

Chapter

4

Section

454.1.9.8.6.1

Proponent

7927

Mod #

James LePetrie

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Allows for 3 footcandles of overhead lighting for IWFs with attendants/lifeguards.

Mod #

Chapter

7926

454.1.9.8.4

Section

James LePetrie

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Allows for use of landscape beds along zero entry pools where the depth is less than 3 feet without counting towards cumulative perimeter obstruction.

Mod #

Chapter

7925

454.1.9.6.4

Section

59

Swimming Pool

TAC:

Total Mods for    Swimming Pool in    Pending Review

James LePetrie

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Swimming Pool

2/25/2019

Page 13 of 16

Total Mods for this report:    59

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Addresses a safety concern for doors at certain facilities that open toward pool areas, which is in conflict with the pool code.

Mod #

Chapter

7935

454.1.3.1.9

Section

James LePetrie

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Exempts the fencing requirement for pools designed for small children at water theme parks that are located within 50 feet of other pools if the walking distance is 50 feet or more.

Mod #

Chapter

7933

454.1.9.8.7.3

Section

James LePetrie

TAC Action

W

I

NAR

AM

AS

Summary

Allows for less slope on IWFs and matches the slope range up with code for swimming pools.

Pending Review

Chapter

4

Section

454.1.9.8.6.12

Proponent

7932

Mod #

James LePetrie

W

Pending Review

I

NAR

AM

AS

Summary

TAC Action

Proponent

4

Exempts the fencing requirement for IWFs that are located within 50 feet of other pools if the walking distance is 50 feet or more.

Mod #

Chapter

7931

454.1.9.8.6.9

Section

59

Swimming Pool

TAC:

Total Mods for    Swimming Pool in    Pending Review

James LePetrie

Page 14 of 16

2/25/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

All Mods

FIRST COMMENT PERIOD

Total Mods for this report:    59

Total Mods for    Swimming Pool in    Pending Review

TAC:

Swimming Pool

59

Section

454.1.1.1

8131

Chapter

Mod #

Would provide relief for large residential developments from the minimum pool sizing requirement.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Section

454.1.6.1

8168

Chapter

Mod #

To clarify that Section 454.1.6.1 (Exception) does apply to hotels.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Mo Madani

Section

454.1.6.5.10.1

8240

Chapter

Mod #

Allows for the depth at a main drain to be greater than 3&quot; in difference from the sidewall depth.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

James LePetrie

Section

454

8327

Chapter

Mod #

Adds code language for permitting constructed impounded public bathing places, so that when public swimming pool-like structures are constructed, the referenced public swimming pool code section may be applied.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

robert vincent

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Swimming Pool

2/25/2019

Page 15 of 16

Total Mods for this report:    59

Total Mods for    Swimming Pool in    Pending Review

TAC:

Swimming Pool

59

Section

454.1

8341

Chapter

Mod #

Several improvements and clarifications to public swimming pool code with one added definition for clarification.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

robert vincent

Section

454.1

8365

Chapter

Mod #

Glitches to correct.    No change to the existing code language that is left off here.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

robert vincent

Section

454.1

8370

Chapter

Mod #

I am proposing to exempt Floatation pods from FBC regulatory requirements.    Unlike pools and spas, floatation pods are portable, are super saturated with magnesium sulfate, have a bathing load of 1,    and create an extremely low risk of transmission of disease or safety risk to the public.

4

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Mark Bowers

35-Referenced Standards

Section

454.1.6.5.12

7681

Chapter

Mod #

Adds the year to the reference standard for ANSI/APSP 16—11

American National Standard for Suction Fittings for Use in Swimming Pools, Wading Pools, Spas, and Hot Tubs

35

Proponent

TAC Action

Summary

AS

AM

NAR

I

Pending Review

W

Kari Hebrank

Search Criteria

Archived:

No

ALL

ALL

Verified

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

SW

ALL

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

2020

Proponent First Name:

Date Submitted To:

Modification Status:

TAC Recommendation:

Related Modifications:

Section:

Text of Modification:

TAC Action:

Code Version:

Sub Code:

Affects HVHZ:

Proponent Last Name:

TAC:

Date Submitted From:

Chapter & Topic:

Code Change Cycle:

Modification #:

FIRST COMMENT PERIOD

All Mods

TECHNICAL ADVISORY COMMITTEE

Swimming Pool

2/25/2019

Page 16 of 16

Total Mods for this report:    59