| FIRE Local Technical Amendments to the 2017 6th Edition Florida Building Code |  |  |  |
| --- | --- | --- | --- |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | TEXT OF TECHNICAL AMENDMENT | TAC REVEW |
| City of Winter Park Dies for lack of 2nd NAR | Florida Building Code, Building – Chapter 9 | Sections 903.1 and 903.2.13 shall be in addition to the fire sprinkler provisions required in the Florida Building Code, which is amended as follows: 903.2.13 Approved automatic sprinkler systems shall be provided in all buildings in the Commercial (C-2) zoning district as defined in the Land Development Code (Chapter 58) on properties bounded by New York Avenue {on the west), Swoope Avenue (on the north), Knowles Avenue {on the east), and Fairbanks Avenue {on the south) including the projected extension of Knowles Avenue to Fairbanks Avenue. | Fire TAC |