Florida Building Code, Building

CHAPTER 35

REFERENCED STANDARDS

CHAPTER 35

REFERENCED STANDARDS

## This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title, and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section 102.4.

AA

Aluminum Association

1525 Wilson Boulevard, Suite 600

Arlington, VA 22209

Standard	Referenced

reference	in code

number	Title	section number

ADM1—2015	Aluminum Design Manual: Part 1—A Specification for Aluminum Structures . . . . . . . . . .1604.3.5, 2002.1 ASM 35—00	Aluminum Sheet Metal Work in Building Construction (Fourth Edition)	2002.1

AAF

Aluminum Association of Florida, Inc.

3751 Maguire Blvd. Suite 260 3203 Lawton Road #110

Orlando, FL 32803

Standard	Referenced

reference	in code

number	Title	section number

AAF—14 20	Guide to Aluminum Construction in High Wind Areas (2014) (2020) . . . . . . . . . . . . . . . . . . . . 2002.4.1, 1622.1.2

(S8394 A1 Only)

AAMA

American Architectural Manufacturers Association 1827 Waldon Office Square, Suite 550

Schaumburg, IL 60173

Standard	Referenced

reference	in code

number	Title	section number

1402—09	Standard Specifications for Aluminum Siding, Soffit and Fascia	1404.5.1

101/I.S.2—97	Voluntary Specifications for Aluminum, Vinyl (PVC) and Wood Windows and Glass Doors . . .2411.3.2.1

(S7704)

AAMA/NPEA/NSA 2100—12      Voluntary Specifications for Sunrooms. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .202, 2002.6 AAMA/WDMA/CSA

101/I.S.2/A440—05 or 08, or 11 or 17    North American Fenestration Standard/Specifications for

Windows, Doors and Skylights . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1709.5.1, 2405.5, 2411.3.2.1, 2614.2

101/I.S.2/NAFS—02	Voluntary Performance Specifications for Windows, Skylights and Glass Doors . . . . . . . . . 2614.2, 2615.2 1302.5—76	Voluntary Specifications for Forced-Entry Resistant Aluminum Prime Windows	2411.3.2.1

1303.5—76	Voluntary Specifications for Forced-Entry Resistant Aluminum Sliding Glass Doors	2411.3.2.1

(S7704)

AAMA 450—10	Voluntary Performance Rating Method for Mulled Fenestration Assemblies	1709.8

AAMA 501—94 or 05 or 15 Methods of Test for Exterior Walls . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1709.8.4, 2411.3.2.1, 2411.3.2.1.1

(S7704)

AAMA 506—11 16	Voluntary Specifications for Impact and Cycle Testing of Fenestration Products	1609.1.2

(S7704)

711—07 or 13 16

(S7704)	Voluntary Specification for Self-adhering Flashing Used for Installation of

Exterior Wall Fenestration Products	1405.4

714—12 or 15	Voluntary Specification for Liquid Applied Flashing Used to Create a Water-resistive

(S7704)

Seal around Exterior Wall Openings in Buildings	1405.4

FMA/AAMA 100—12	Standard Practice for the Installation of Windows with Flanges or Mounting	1405.4.1.4

FMA/AAMA 200—12	Standard Practice for the Installation of Windows with Frontal Flanges	1405.4.1.4

FMA/WDMA 250—10	Standard Practice for the Installation of Non-Frontal Flange Windows with

Mounting Flanges for Surface Barrier Masonry for Extreme Wind/Water Conditions	1405.4.1.4

FMA/AAMA/WDMA300—12 Standard Practice for the Installation of Exterior Doors in Wood Frame

Construction for Extreme Wind/Water Exposure	1405.4.1.4

FMA/AAMA/WDMA 400-13 Standard Practice for the Installation of Exterior Doors in Surface Barrier

Masonry Construction for Extreme Wind/Weather Exposure	1405.4.1.4

REFERENCED STANDARDS

ACI

American Concrete Institute

P.O. Box 9094

Farmington Hills, MI 48333-9094

Standard	Referenced

reference	in code

number	Title	section number

216.1—14	Code Requirements for Determining Fire Resistance of Concrete

and Masonry Construction Assemblies . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 721.1(2), 722.1

318—14	Building Code Requirements for Structural Concrete . . . . . . . . . . . . . . . . . . . 1604.3.2, 1615.3.1, 1615.4.1,

1704.5, Table 1705.3, 1705.3.2,

1705.12.1, 1808.8.2, Table 1808.8.2, 1808.8.5, 1808.8.6,

1810.1.3, 1810.2.4.1, 1810.3.2.1.1, 1810.3.2.1.2, 1810.3.8.3.1, 1810.3.8.3.3,

1810.3.9.4.2.1, 1810.3.9.4.2.2, 1810.3.10.1, 1810.3.11.1, 1901.2, 1901.3,

1902.1, 1903.1, 1904.1, 1904.2, 1905.1, 1905.1.1, 1905.1.2,

1905.1.3, 1905.1.4, 1905.1.5, 1905.1.6, 1905.1.7, 1905.1.8, 1906.1, 2108.3, 2206.1

360—10	Guide to Design of Slabs-on-Ground. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1907.2 530—13(This is now a TMS only document)	Building Code Requirements for Masonry Structures . . . . . 1405.6, 1405.6.1, 1405.6.2, 										1405.10, 1604.3.4,

1705.4, 1705.4.1, 1807.1.6.3, 1807.1.6.3.2, 1808.9, 2101.2, 2106.1, 2107.1,

2107.2, 2107.3, 2107.4, 2108.1, 2108.2, 2108.3, 2109.1, 2109.1.1, 2109.2, 2109.2.1,

2109.3, 2110.1, 2114.2, 2122.1, 2122.3, 2122.4, 2122.5, 2122.7, 2122.8, 2122.10,

530.1—13(This is now a TMS only document)	Specifications for Masonry Structures . . . . . . . . . . . . . . . . 1405.6.1, 1705.4, 1807.1.6.3, 2103.1, 2103. 												2.1,

2103.3, 2103.4, 2105.1

(S8350)

AF & PA

American Forest & Paper Association 1111 19th St, NW Suite 800

Washington, DC 20036

Standard	Referenced

reference	in code

number	Title	section number

AF&PA—92	Wood Structural Design Data	2314.4.7

AF&PA—05	Design Values for Joists and Rafters	2314.4.7

PWF—07	Permanent Wood Foundation (PWF) Design Specification	2314.4.7

AF&PA—12	Span Tables for Joists and Rafters . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 2314.4.7, 2317.1.1

WCD 1—01	Wood Construction Data No. 1, Details for Conventional Wood Frame Construction	2314.4.7

WCD 4— 03	Wood Construction Data No. 4, Plank and Beam Framing for Residential Buildings	2314.4.7

WCD 5—89	Wood Construction Data No. 5, Heavy Timber

Construction Details . . . . . . . . . . . . . . . . . . . . . . . . 2314.4.7, 2203.1, 2203.2, 2205.1, 2205.2.1.1, 2206.1

AHA

American Hardboard Association 1210 West N.W. Highway Palatine, IL 60067

Standard	Referenced

reference	in code

number	Title	section number

A135.4—04	Basic Hardboard	2314.4.1

A135.5—04	Prefinished Hardboard Paneling	2314.4.1

A135.6—98	Hardboard Siding	2314.4.1

A194.1—85	Cellulosic Fiber Board	2314.4.1

IB Spec. No. 1	Recommended Product and Application Specification —Structural Insulating Roof Deck	2314.4.1

IB Spec. No. 2	Recommended Product and Application Specification —1/2 inch Fiberboard

Nail-Base Sheathing	2314.4.1

IB Spec. No. 3	Recommended Product and Application Specification —1/2 inch Intermediate

Fiberboard Sheathing	2314.4.1

766	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

AISC

American Institute of Steel Construction One East Wacker Drive, Suite 700 Chicago, IL 60601-18021

Standard	Referenced

reference	in code

number	Title	section number

AISC, DG03	Torsional Analysis of Structural Steel Members . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2003, 2214.3

AISC 09	Detailing for Steel Construction. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2009, 2214.3

AISC 2017	Steel Construction Manual. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2011, 2214.3

AISC, DG15 2018	Rehabilitation and Retrofit Guide A Reference for Historic Shapes and Specifications. . . . . . .2002, 2214.3 AISC, DG03	Serviceability Design Considerations for Steel Buildings,. . . . . . . . . . . . . . . . . . . . . . . . . . . . . 2003, 2214.3 ANSI/AISC 341—10 16	Seismic Provisions for Structural Steel Buildings . . . . . . . . . . . . . . . . . .1613.4.1, 1705.12.1.1, 1705.12.1.2,

1705.13.1.1, 1705.13.1.2, 2205.2.1.1,

2205.2.1.2, 2205.2.2, 2206.2.1

ANSI/AISC 360—10 16	Specification for Structural Steel Buildings. . . . . . . . . . . . . . . . . . . . . . . . . .722.5.2.2.1, 1604.3.3, 1705.2.1,

2203.1, 2203.2, 2205.1, 2205.2.1.1, 2206.1

(S8105)

AISI

American Iron and Steel Institute

25 Massachusetts Avenue, NW Suite 800

Washington, DC 20001

Standard	Referenced

reference	in code

number	Title	section number

AISI	Design Manual for Structural Tubing	2214.3

(S8116)

AISI	Specifications for Design of Light-Gage Cold-Formed Stainless Structural Members	2214.3

(S8116)

AISI	Specification for the Criteria for Structural Application of Steel Cables for Buildings	2214.3

(S8116)

AISI S100—12 16	North American Specification for the Design of Cold-formed Steel

Structural Members, 2012 2016. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1604.3.3, 1905.1.8, 2203.1, 2203.2,

2210.1, 2210.2, 2211.2, 2211.4, 2211.6, 2214.3

(S7458 A1 Only)

AISI S110—07/

S1-09 (2012)	Standard for Seismic Design of Cold-Formed Steel Structural

Systems—Special Moment Frames, 2007 with Supplement 1, dated 2009 (Reaffirmed 2012)	2210.2

(S7458 A1 Only)

AISI S200—12	North American Standard for Cold-Formed Steel Framing-General Provisions, 2012. . . . . .2203.1, 2203.2,

2211.1, Table 2603.12.1,

Table 2603.12.2

(S7458 A1 Only)

AISI S210—07(2012)	North American Standard for Cold-Formed Steel Framing-Floor and Roof System

Design, 2007 (Reaffirmed 2012)	2211.5

AISI S211—07/

S1-12(2012)	North American Standard for Cold-Formed Steel Framing-Wall Stud Design, 2007 including

Supplement 1, dated 2012 (Reaffirmed 2012)	2211.4

AISI S212—07(2012)	North American Standard for Cold-Formed Steel Framing-Header Design, 2007, (Reaffirmed 2012)2211.2 AISI S213—07/

S1-09 (2012)	North American Standard for Cold-Formed Steel Framing-Lateral

Design, 2007, with Supplement 1, dated 2009, (Reaffirmed 2012)	2211.6

AISI S214—12	North American Standard for Cold-formed Steel Framing-Truss Design, 2012 . .2211.3, 2211.3.1, 2211.3.2 AISI S220—11 15	North American Standard for Cold-formed Steel Framing-Nonstructural Members, 2015 . . . . .2203.1, 											2203.2,

2211.1, Table 2506.2, Table 2507.2

(S299-16)

AISI S230—07/

S3-12(2012) 19	Standard for Cold-formed Steel Framing-Prescriptive Method for

One- and Two-family Dwellings, 2007, with Supplement 3, dated 2012 (Reaffirmed 2012) 2019... . .1609.1.1,

1609.1.1.1, 2211.7

S240				AISI S240, North American Standard for Cold-Formed Steel Structural Framing, 2015

(S299-16)

S400-15/S1-16	North American Standard for Seismic Design of Cold-formed Steel Structural Systems, 2015, with Supplement 1, dated 2016.

(S7458 A1 Only)

S913—13 17	Test Standard for Hold-Downs Attached to Cold-Formed Steel Structural Framing	2210.3

AISI 914—1715	Test Standard for Joist Connectors Attached to Cold-Formed Steel Structural Framing	2210.3

(S8070)

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	767

REFERENCED STANDARDS

AITC

American Institute of Timber Construction 333 West Hampden Avenue

Englewood, CO 80110

Standard	Referenced

reference	in code

number	Title	section number

A 190.1—07	Structural Glued Laminated Timber	2314.4.2

Technical Note 7—96	Calculation of Fire Resistance of Glued Laminated Timbers	2314.4.2

104—03	Typical Construction Details	2314.4.2

106	Code of Suggested Practices	2314.4.2

108—93	Standard for Heavy Timber Construction	2314.4.2

109—98	Standard for Preservative Treatment for Structural Glued Laminated Timber	2314.4.2

110—01	Standard Appearance Grades for Structural Glued Laminated Timber	2314.4.2

112—93	Tongue-and-Groove Heavy Timber Roof Decking	2314.4.2

113—10	Dimensions of Structural Glued Laminated Timber	2314.4.2

117—10	Standard Specifications for Structural Glued Laminated Timber of Softwood Species—Design Requirements—Standard Specifications for Structural Glued

Laminated Timber of Softwood Species—Manufacturing Requirements	2314.4.2

119—96	Standard Specifications for Structural Glued Laminated Timber of Hardwood Species	2314.4.2

ALI

Automotive Lift Institute

P.O. Box 85 Courtland, NY 13045

Standard	Referenced

reference	in code

number	Title	section number

ALI ALCTV—2011 2016	Standard for Automotive Lifts—Safety Requirements for

Construction, Testing and Validation (ANSI)	3001.2

AMCA

Air Movement and Control Association International 30 West University Drive

Arlington Heights, IL 60004

Standard	Referenced

reference	in code

number	Title	section number

540—13	Test Method for Louvers Impacted by Wind Borne Debris	1609.1.2.1

ANSI

American National Standards Institute 25 West 43rd Street, Fourth Floor New York, NY 10036

Standard	Referenced

reference	in code

number	Title	section number

A13.1—2007	Scheme for the Identification of Piping Systems	415.11.6.5

A41.1	Building Code Requirements for Masonry	2121.2.8

A108.1A—99	Installation of Ceramic Tile in the Wet-set Method, with Portland Cement Mortar	2103.2.3

A108.1B—99	Installation of Ceramic Tile, quarry Tile on a Cured Portland

Cement Mortar Setting Bed with Dry-set or Latex-Portland Mortar	2103.2.3

A108.4—99	Installation of Ceramic Tile with Organic Adhesives or

Water-cleanable Tile-setting Epoxy Adhesive	2103.2.3.6

A108.5—99	Installation of Ceramic Tile with Dry-set Portland Cement Mortar

or Latex-Portland Cement Mortar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2103.2.3.1, 2103.2.3.2

A108.6—99	Installation of Ceramic Tile with Chemical-resistant, Water

Cleanable Tile-setting and -grouting Epoxy	2103.2.3.3

A108.8—99	Installation of Ceramic Tile with Chemical-resistant Furan Resin Mortar and Grout	2103.2.3.4

A108.9—99	Installation of Ceramic Tile with Modified Epoxy Emulsion Mortar/Grout	2103.2.3.5

768	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

### ANSI—continued

A108.10—99	Installation of Grout in Tilework	2103.2.3.7

A118.1—99	American National Standard Specifications for Dry-set Portland Cement Mortar	2103.2.3.1

A118.3—99	American National Standard Specifications for Chemical-resistant, Water-cleanable

Tile-setting and -grouting Epoxy and Water Cleanable Tile-setting Epoxy Adhesive	2103.2.3.3

A118.4—99	American National Standard Specifications for Latex-Portland Cement Mortar . . . . 2103.2.3.2, 2103.3.2.4 A118.5—99	American National Standard Specifications for

Chemical Resistant Furan Mortar and Grouts for Tile Installation.	2103.2.3.4

A118.6—99	American National Standard Specifications for Cement Grouts for Tile Installation	2103.2.3.7

A118.8—99	American National Standard Specifications for Modified Epoxy Emulsion Mortar/Grout	2103.2.3.5

A136.1—99	American National Standard Specifications for

Organic Adhesives for Installation of Ceramic Tile	2103.2.3.6

A137.1—12	American National Standard Specifications for Ceramic Tile	202

ANSI/A190.1—12	Structural Glued Laminated Timber . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2303.1.3, 2306.1

ANSI B18.6.1-81(2016)	Wood Screws (Inch Series)	1506.6

Z535.1	American National Standard Safety Color Code for Making Physical Hazards . . . . . . . . . 453.4.6, 453.14.6 Z358.1	Emergency Eyewash and Shower Equipment	450.3.11.7

Z97.1—09	Safety Glazing Materials Used in Buildings-Safety Performance Specifications

and Methods of Test	1618.4.6.3

Z97.1—14	Safety Glazing Materials Used in Buildings—Safety Performance

Specifications and Methods of Test . . . . . . . . . . . . . . . . . . . 2406.1.2, 2406.2, Table 2406.2(2), 2406.3.1,

2407.1, 2407.1.4.1, 2408.2.1, 2408.3, 2409.2, 2409.3, 2409.4.1

APA

APA - Engineered Wood Association 7011 South 19th

Tacoma, WA 98466

Standard	Referenced

reference	in code

number	Title	section number

ANSI/A 190.1—122017	Structural Glued Laminated Timber . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2303.1.3, 2306.1

ANSI/APA PRP 210—08 2014	Standard for Performance-Rated Engineered Wood Siding . . . . 2303.1.5, 2304.7, 2306.3, Table 2306.3(1) ANSI/APA PRR 410—11 2016	Standard for Performance-Rated Engineered Wood Rim Boards	2303.1.13

APA PDS—12	Panel Design Specification . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2306.1, 2314.4.3 APA PDS

Supplement 1—1214	Design and Fabrication of Plywood Curved Panels (revised 2013) . . . . . . . . . . . . . . . . . . .2306.1, 2314.4.3

APA PDS

(S7952 A2 ONLY)

Supplement 2—1214	Design and Fabrication of Plywood-lumber Beams (revised 2013) . . . . . . . . . . . . . . . . . . .2306.1, 2314.4.3 APA PDS

(S7952 A2 ONLY)

Supplement 3—1214	Design and Fabrication of Plywood Stressed-skin Panels (revised 2013). . . . . . . . . . . . . . .2306.1, 2314.4.3

APA PDS

(S7952 A2 ONLY)

Supplement 4—1214	Design and Fabrication of Plywood Sandwich Panels (revised 2013) . . . . . . . . . . . . . . . . .2306.1, 2314.4.3

APA PDS

(S7952 A2 ONLY)

Supplement 5—12 16	Design and Fabrication of All-plywood Beams (revised 2013). . . . . . . . . . . . . . . . . . . . . . .2306.1, 2314.4.3

APA B840	Siding Manufacturing Specifications	2314.4.3

APA L350	Design/Construction Guide Diaphragms and Shearwalls	2314.4.3

APA PRP108	Performance Standards and Policies for Structural-Use Panels	2314.4.3

APA V910	Plywood Folded Plate Laboratory Report 21	2314.4.3

ANSI/APA PRG 320—11 2017	Standard for Performance-Rated Cross-Laminated Timber	2303.1.4

APA EWCG	Engineered Wood Construction Guide, Form E30	2314.4.3

EWS APA R540—12 13	Builders Tips: Proper Storage and Handling of Glulam Beams	2306.1

EWS APAS475—07 16	Glued Laminated Beam Design Tables	2306.1

EWS APAS560—10 14	Field Notching and Drilling of Glued Laminated Timber Beams	2306.1

EWS APA T300—07 16	Glulam Connection Details	2306.1

EWS APA X440—08 17	Product Guide-Glulam	2306.1

EWS APA X450—01	Glulam in Residential Construction-Western Edition	2306.1

APA E30 - 15

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	769

REFERENCED STANDARDS

APSP

Association of Pool and Spa Professionals 2111 Eisenhower Avenue, Suite 500

Alexandria, VA 22314

Standard	Referenced

reference	in code

number	Title	section number

ANSI/APSP/ICC 3—14	American National Standard for Permanently Installed Residential Spas and Swim Spas	454.2.6.1

ANSI/APSP/ICC 4—12	American National Standard for Aboveground /Onground Residential Swimming Pools	454.2.6.1

Includes Addenda A Approved April 4, 2013

ANSI/APSP/ICC 5-11	American National Standard for Residential Inground Swimming Pools	454.2.6.1

ANSI/APSP/ICC 6—13	American National Standard for Residential Portable Spas and Swim Spas	454.2.6.1

ANSI/APSP/ICC 7—13	American National Standard for Suction Entrapment Avoidance in

Swimming Pools, Wading Pools, Spas, Hot Tubs, and Catch Basins . . . . 454.2.6.1, 454.2.6.3, 454.2.6.6

ANSI/APSP 16—2017	American National Standard for Suction Fittings

for Use in Swimming Pools, Wading Pools, Spas, and Hot Tubs	454.1.6.5.12

(SW7681-R1)

ASABE

American Society of Agricultural and Biological Engineers 2950 Niles Road

St. Joseph, MI 49085

Standard	Referenced

reference	in code

number	Title	section number

EP 484.2 June

1998 (R2008) 3 MON 2016	Diaphragm Design of Metal-clad, Wood-frame Rectangular Buildings	2306.1

EP 486.2 OCT 2012ED	Shallow-post and Pier Foundation Design	2306.1

EP 559.12 W/Corr.1MON2016

AUG 2010	Design Requirements and Bending Properties for Mechanically

Laminated Wood Assemblies	2306.1

ASCE/SEI

American Society of Civil Engineers Structural Engineering Institute 1801 Alexander Bell Drive

Reston, VA 20191-4400

Standard	Referenced

reference	in code

number	Title	section number

5—13 is now TMS 402	Building Code Requirements for Masonry Structures . . . . . 1405.6, 1405.6.1, 1405.6.2, 1405.10, 1604.3.4,     	now a TMS Standard		1705.4, 1705.4.1, 1807.1.6.3, 1807.1.6.3.2, 1808.9,

2101.2, 2105.1, 2106.1, 2107.1, 2107.2, 2107.3, 2107.4, 2107.6, 2108.1,

2108.2, 2108.3, 2108.4, 2109.1, 2109.1.1, 2109.2, 2109.2.1, 2109.3, 2110.1,

2114.2, 2122.1, 2122.4, 2122.5, 2122.7, 2122.8.2, 2122.8.4, 2122.10

(S8350)

6—13 is now TMS 602	Specification for Masonry Structures . . . . . . . . . . . 1405.6.1, 1705.4, 1807.1.6.3, 2103.1, 2103.2.1, 2103.3, 	now a TMS Standard               2103.4, 2104.1, 2105.1, 2107.1, 2108.1, 2121.6, 2122.1, 2122.1.6, 2122.2.3,

2122.3, 2122.4, 2122.7.4, 2122.8.1, 2122.8.2, 2122.8.3, 2122.8.4, 2122.8.6, 2122.8.8

(S8350)

7—1016	Minimum Design Loads and Associated Criteria for Buildings and Other Structures (with Errata dated

January 11. 2011) . . . . . . . . . . . . . . . . . . . . . . . 202, 449.4.2.2.6, 450.4.2.2.6, 453.4.7, 453.9.1, 453.25.4,

(ADM-094 mod is different text than FBC) Table 1504.8, 1514.4, 1525, 1602.1, 1604.3, Table 1604.5, 1604.8.2, 1604.10, 1605.1, 1605.2.1, 1605.3.1, 1605.3.1.2, 1605.3.2, 1605.3.2.1, 1607.8.1, 1607.8.1.1,

1607.8.1.2, 1607.8.3, 1607.12.1, 1608.1, 1608.2, 1608.3, 1609.1.1, 1609.1.2, 1609.1.2.4.1, 1609.1.2.4.2,

1609.3, 1609.5.1, 1609.5.3, 1609.6, 1609.6.1, 1609.6.1.1, 1609.6.2, Table 1609.6.2,

1609.6.3, 1609.6.4.1, 1609.6.4.2, 1609.6.4.4.1, 1609.8, 1611.2, 1612.4, 1613.1, 1613.3.2,

Table 1613.3.3(1), Table 1613.3.3(2), 1613.3.5, 1613.3.5.1, 1613.3.5.2, 1613.4, 1613.4.1,

1613.5.1, 1613.6, 1614.1, 1616.5, 1620.1, 1620.3, 1620.6, 1621.1, 1621.2, 1622.1.1, Table 1625.4,

1626.1, Table 1626, 1704.6.1, 1705.12, 1705.12.4, 1705.13.2, 1705.13.3, 1705.13.4, 1709.8.3,

1803.5.12, 1808.3.1, 1810.3.6.1, 1810.3.9.4, 1810.3.11.2, 1810.3.12, 1905.1.1, 1905.1.2, 1905.1.8, 2205.2.1.1,

2205.2.1.2, 2205.2.2, 2206.2.1, 2209.1, 2210.2, 2304.6.1, 2404.1, 2505.1, 2505.2, 2506.2.1, 3109.3.1, 3115.2.3. 3115.4.4

(S8357 handout/Commission)

8—02	Standard Specification for the Design of Cold-formed

Stainless Steel Structural Members . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1604.3.3, 2210.1, 2210.2, 2214.3(S8106)

19—09 16	Structural Applications of Steel Cables for Buildings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2208.1, 2208.2

24—14 17	Flood Resistant Design and Construction. . . . . . . . . . . . . . . . . 453.4.2, 1203.4.2, 1612.4, 1612.4.1, 1612.5,

2702.1.7, 3001.2, 3109.3, 3109.3.2.1, 3109.3.4

770	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

### ASCE/SEI—continued

29—14 17	Standard Calculation Methods for Structural Fire Protection	722.1

32—01 17	Design and Construction of Frost Protected Shallow Foundations	1809.5

49—07 	Wind Tunnel Testing for Buildings and Other Structures	1609.1.1

55—10 16	Tensile Membrane Structures	3102.1.1

ASHRAE

ASHRAE, Inc.

1791 Tullie Circle NE Atlanta, GA 30329-2305

Standard	Referenced

reference	in code

number	Title	section number

62—01	Ventilation for Acceptable Indoor Air Quality . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .C502.1, E306.1 ANSI/ASHRAE/

ASJHE 170—08	Ventilation of Heath Care Facilities . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 450.3.14, 450.3.14.4, 469.4.12.1

ASME

American Society of Mechanical Engineers Two Park Avenue

New York, NY 10016-5990

Standard	Referenced

reference	in code

number	Title	section number

ASME/A17.1—132016

CSA B44—16	Safety Code for Elevators and Escalators . . . . . . . . . . . . . . . .469.4.9.1, 907.3.3, 911.1.5, 1009.4, 1607.9.1,

3001.2, 3001.1, 3001.4, 3001.6, 3002.5, 3002.9, 3002.10, 3003.2,

3007.1, 3008.1.3, 3008.7.1, 3010.1.3, 3010.3, 3012.1

A17.3—962015	Safety Code for Existing Elevators and Escalators . . . . . . . . . . . . . . . . . . . . . . . .469.4.9.1, 3001.1, 3001.2,

3001.5.3, 3010.1.3, 3012.1

ASME A17.6-2010			    Standard for Elevator Suspension, Compensation, and Governor Systems Safety ….......................... 3001.2

(SP7469)

A17.7—2007/

CSA B44—07 (R2012)	Performance-Based Safety Code for Elevators and Escalators	3001.2

A18.1—2008 2014 2017	Safety Standard for Platform Lifts and Stairway Chairlifts. . . . . . . . . . . . . . 1109.8, 3001.1, 3001.2, 3012.1

(SP7465)

A90.1—09 2015	Safety Standard for Belt Manlifts . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 3001.2, 3001.6

A112.19.8	Suction Fittings for Use in Swimming Pools, Wading Pools, spas, Hot Tubs,

and Whirlpool Bathtub Appliances	454.1.6.5.3.2.3

A120.1—01	Safety Requirements for Powered Platforms for Building Maintenance	3001.6

B16.18—2012	Cast Copper Alloy Solder Joint Pressure Fittings	909.13.1

B16.22—2001(R2010)2013	Wrought Copper and Copper Alloy Solder Joint Pressure Fittings	909.13.1

B20.1—2009 2015	Safety Standard for Conveyors and Related Equipment . . . . . . . . . . . . . . . . . . . . . . .3001.2, 3001.6, 3004.3 B31.3—2012 2016	Process Piping	415.11.6

18.6.1—81(2016)	Wood Screws (Inch Series)	1506.6

A13.1 - 2015 		     Scheme for the Identification of Piping Systems

ASSE

American Society of Safety Engineers 1800 East Oakton Street

Des Plaines, IL 60018

Standard	Referenced

reference	in code

number	Title	section number

ANSI/ASSE Z359.1-20072016	Safety Requirements for Personal Fall Arrest Systems, Subsystems and Components,

Part of the ANSI/ASSE Z359 Fall Protection Code. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 									. 1015.6, 1015.7

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	771

ASTM

REFERENCED STANDARDS

ASTM International 100 Barr Harbor Drive

West Conshohocken, PA 19428-2959

Standard	Referenced

reference	in code

number	Title	section number

A6/A6M—1114	Standard Specification for General Requirements for Rolled Structural

Steel Bars, Plates, Shapes and Sheet. . . . . . . . . . . . . . . . . .1810.3.2.3, 1810.3.5.3.1, 1810.3.5.3.3, 2214.3

(S8108)

A36/A36M—0814	Specification for Carbon Structural Steel	1810.3.2.3

A90/A90M—13	Standard Test Method for Weight (Mass) of Coating on Iron and

Steel Articles with Zinc or Zinc Alloy Coatings	1506.7

A123/A123M-15	Specification of Zinc (Hot-Dip Galvanized) Coating on Iron and Steel Products

A153/A153M—09	Specification for Zinc Coating (Hot-dip) on Iron and Steel Hardware	2304.10.5

A240/A240M—(2015b)	Standard Specification for Chromium-nickel Stainless Steel Plate,

Sheet and Strip for Pressure Vessels and General Applications . . . . . . . . . . . . . 1506.7, Table 1507.4.3(1) A252—10	Specification for Welded and Seamless Steel Pipe Piles	1810.3.2.3

A283/A283M—12A13	Specification for Low and Intermediate Tensile Strength Carbon Steel Plates	1810.3.2.3

A325—09	Specification for Structural Bolts, Steel, Heat-Treated, 120/105 Ksi Minimum Tensile Strength	2214.3

(S8108)

A361	Specification for Steel Sheet Zinc-Coated (Withdrawn)	2319.17.1.1

A416/A416M—12A15	Specification for Steel Strand, Uncoated Seven-wire for Prestressed Concrete	1810.3.2.2

A446	Specification for Steel Sheet, Zinc-coated (Galvanized) by the Hot-Dip Process,

Structural (Physical) Quality	1917.4.3

A463/A463M—1015	Standard Specification for Steel Sheet, Aluminum-coated, by the Hot-dip Process . . . . . Table 1507.4.3(2)

A490—08b	Specification for Heat-Treated, Steel Structural Bolts, Alloy Steel,

Heat Treated 150 ksi Minimum Tensile Strength. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2214 (S8108)

A525—87	Specification for General Requirements for Steel Sheet, Zinc-Coated

(Galvanized) by the Hot-Dip Process . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1917.4.3, 2214.3

A572/A572M—12A15	Specification for High-strength Low-alloy Columbium-Vanadium Structural Steel	1810.3.2.3

A588/A588M—1015	Specification for High-strength Low-alloy Structural Steel with

50 ksi (345 MPa) Minimum Yield Point with Atmospheric Corrosion Resistance	1810.3.2.3

A611	Standard Specification for Structural Steel (SS), Sheet, Carbon, Coil-Rolled	1917.4.3

A615/A615M—122105aE1	Specification for Deformed and Plain BilletCarbon-steel Bars for Concrete Reinforcement . . .1704.5, 1810.3.10.2 A641/A641M—14	Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire. . . . . . . . . . . . . . . .1506.5, 1506.6 A653/A653M—1115	Specification for Steel Sheet, Zinc-coated Galvanized or Zinc-iron

Alloy-coated Galvannealed by the Hot-dip Process . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.4.3(1),

Table 1507.4.3(2), 2304.10.5.1, 2319.17.2.2.7

A690/A690M—07(2012)13a	Standard Specification for High-strength Low-alloy Nickel, Copper,

Phosphorus Steel H-piles and Sheet Piling with Atmospheric Corrosion Resistance

for Use in Marine Environments	1810.3.2.3

A706/A706M—09b15	Specification for Low-alloy Steel Deformed and Plain Bars

for Concrete Reinforcement . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1704.5, 2107.4, 2108.3

A722/A722M—1215	Specification for Uncoated High-strength Steel Bar for Prestressing Concrete	1810.3.10.2

A755/A755M—201115	Specification for Steel Sheet, Metallic-coated by the Hot-dip

Process and Prepainted by the Coil-coating Process for

Exterior Exposed Building Products. . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.4.3(1), Table 1507.4.3(2)

A767/A767M-09	Specification for Zinc-Coated (Galvanized) Steel Bars for Concrete Reinforcement

A775/A775M-10(2014)	Specification for Epoxy-Coated Steel Reinforcing Bars

A792/A792M—10(2015)	Specification for Steel Sheet, 55% Aluminum-zinc Alloy-coated

by the Hot-dip Process . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.4.3(1), Table 1507.4.3(2)

A875/A875M—13	Standard Specification for Steel Sheet Zinc-5 percent,

Aluminum Alloy-coated by the Hot-dip Process . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.4.3(2) A924/A924M—1314	Standard Specification for General Requirements for Steel

Sheet, Metallic-coated by the Hot-dip Process . . . . . . . . . . Table 1507.4.3(1), 2319.17.1.1, 2319.17.2.2.7

A1003/A1003M—11 15	Standard Specification for Sheet Steel, Carbon, Metallic, and Non-metallic Coated

for Cold-formed Steel Framing Members	2214.3

(S8107)

A1064A/A1064M—16a	Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete	1907.2

B42—102015A	Specification for Seamless Copper Pipe, Standard Sizes	909.13.1

B43—0915	Specification for Seamless Red Brass Pipe, Standard Sizes	909.13.1

B68/B68M—11	Specification for Seamless Copper Tube, Bright Annealed (Metric)	909.13.1

B88—0914	Specification for Seamless Copper Water Tube	909.13.1

B101—12	Specification for Lead-coated Copper Sheet and Strip

for Building Construction . . . . . . . . . . . . . . . . . . . . . . . . . . 1404.5.3, Table 1507.2.9.2, Table 1507.4.3(1)

B117—16	Standard Guide for Engineering Chromium Electroplating	1506.6

B209—1014	Specification for Aluminum and Aluminum Alloy Steel and Plate  . . . . . . . . . . . . . . . . . Table 1507.4.3(1)

772	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

### ASTM—continued

B251—10	Specification for General Requirements for Wrought Seamless

Copper and Copper-alloy Tube	909.13.1

B280—0813	Specification for Seamless Copper Tube for Air Conditioning

and Refrigeration Field Service	909.13.1

B370—12	Specification for Copper Sheet and Strip for

Building Construction . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1404.5.2, Table 1507.2.9.2, Table 1507.4.3(1)

B695—04(2009)	Standard Specification for Coatings of Zinc Mechanically

Deposited on Iron and Steel Strip for Building Construction . . . . . . . . . . . . . . . 2304.10.5.1, 2304.10.5.3 C5—10	Specification for Quicklime for Structural Purposes . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2507.2 C22/C22M-00(2010)(2015)	Specification for Gypsum . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2506.2

C27—98(2008)(13)	Specification for Classification of Fireclay and High-alumina Refractory Brick	2111.6

C28/C28M—10(2015)	Specification for Gypsum Plasters . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2507.2 C31/C31M—1215	Practice for Making and Curing Concrete Test Specimens in the Field . . . . . . . . . . . . . . . . . . .Table 1705.3 C33/C33M—13	Specification for Concrete Aggregates . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .722.3.1.4, 722.4.1.1.3

C34-13	Clay Load-Bearing Wall Tile

C35/C35M-1995(2009)(2014)	Specification for Inorganic Aggregates for Use in Gypsum Plaster . . . . . . . . . . . . . . . . . . . . . .Table 2507.2 C55—20112014A	Specification for Concrete Building Brick . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 722.3.2 C59/C59M—00 (2011)(2015)	Specification for Gypsum Casting Plaster and Molding Plaster . . . . . . . . . . . . . . . . . . . . . . . . .Table 2507.2 C61/C61M—00 (2011)(2015)	Specification for Gypsum Keene’s Cement . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2507.2 C62—13A	Standard Specification for Building Brick

(Solid Masonry Units Made from Clay or Shale)	1807.1.6.3

C67—1314	Test Methods of Sampling and Testing Brick and Structural Clay Tile . . . . . . . . . . .721.4.1.1.1, 2109.3.1.1 C73—1014	Specification for Calcium Silicate Brick (Sand-lime Brick) . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 722.3.2 C90—14	Specification for Loadbearing Concrete Masonry Units . . . . . . . . . . . . . . . . . . . .Table 722.3.2, 1807.1.6.3 C91/C91M—12	Specification for Masonry Cement . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2507.2

C94/C94M—1315A	Specification for Ready-Mixed Concrete	110.3.1

C140/C140M—1315	Test Method Sampling and Testing Concrete Masonry Units and Related Units	722.3.1.2

C150/C150M—1215	Specification for Portland Cement  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1903.1, Table 2507.2

C172/C172M—1014A	Practice for Sampling Freshly Mixed Concrete  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1705.3

C199—84 (2011)	Test Method for Pier Test for Refractory Mortars  . . . . . . . . . . . . . . . . . . . . . . . . . .2111.6, 2111.9, 2113.12

C206—1314	Specification for Finishing Hydrated Lime . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2507.2

C208—12	Specification for Cellulosic Fiber Insulating Board . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1508.2, 2303.1.6

C212-14	Specification for Structural Clay Facing Tile

C216—1315	Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale)	1807.1.6.3

C270—12a14A	Specification for Mortar for Unit Masonry	2103.3.2.4

C315—07(2011)	Specification for Clay Flue Liners and Chimney Pots . . . . . . . . . . . . . 2111.9, 2113.11.1, Table 2113.16(1) C317/C317M—00(2010)(2015)	Specification for Gypsum Concrete	2514.1

C330/C330M—200914	Specification for Lightweight Aggregates for Structural Concrete	202

C331/C331M—20102014	Specification for Lightweight Aggregates for Concrete Masonry Units . . . . . . . . . . .722.3.1.4, 722.4.1.1.3 C332—09	Specification for Lightweight Aggregates for Insulating Concrete	1917.4.5

C406/C406M—201015	Specification for Roofing Slate	1507.7.5

C472—99 (2009)(2014)	Specification for Standard Test Methods for Physical Testing of

Gypsum, Gypsum Plasters and Gypsum Concrete . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2506.2

C473—1215	Test Method for Physical Testing of Gypsum Panel Products . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2506.2 C474—1315	Test Methods for Joint Treatment Materials for Gypsum Board Construction  . . . . . . . . . . . . .Table 2506.2

C475/C475M—1215	Specification for Joint Compound and Joint Tape for Finishing Gypsum Board . . . . . . . . . . . .Table 2506.2 C476—02	Standard Specification for Grout Masonry	2122.8.2

C494/C494M—99	Standard Specification for Chemical Admixtures for Concrete	1917.4.4

C495—99a	Standard Test Method for Compressive Strength of Lightweight

Insulating Concrete . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1508.2, 1917.1.1, 1917.1.2, 1917.1.3

C509—00	Elastomeric Cellular Preformed Gaskets and Sealing Material	2411.3.4

C513	Standard Test Method for Obtaining and Testing Specimens of Hardened Lightweight

Insulating Concrete for Compressive Strength . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1508.2

C514—04(2009)e1(2014)	Specification for Nails for the Application of Gypsum Board . . . . . . . . . . . Table 721.1(2), Table 721.1(3),

Table 2306.7, Table 2506.2 C516—08(2014)E1	Specifications for Vermiculite Loose Fill Thermal Insulation . . . . . . . . . . . . . . . . . . .722.3.1.4, 722.4.1.1.3 C547—1215	Specification for Mineral Fiber Pipe Insulation . . . . . . . . . . . . . . . . . . . . . . Table 721.1(2), Table 721.1(3)

C549—06(2012)	Specification for Perlite Loose Fill Insulation . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .722.3.1.4, 722.4.1.1.3 C552—12b15	Standard Specification for Cellular Glass Thermal Insulation . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1508.2 C557—03(2009)e01	Specification for Adhesives for Fastening Gypsum Wallboard to Wood Framing . . . . . . . . . .Table 2506.2 C578—12b15	Standard Specification for Rigid, Cellular Polystyrene

Thermal Insulation  . . . . . . . . . . . . Table 1508.2, 1917.4.10, 2603.10, Table 2603.12.1, Table 2603.12.2

C587—04(2009)(2014)	Specification for Gypsum Veneer Plaster . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2507.2

C595/C595—1314E1	Specification for Blended Hydraulic Cements. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1903.1, Table 2507.2 C618-12a	Standard Specification for Coal Fly Ash and Raw or Calcined Natural Pozzolan

for Use in Concrete	1917.4.4

C631—09(2014)	Specification for Bonding Compounds for Interior Gypsum Plastering . . . . . . . . . . . . . . . . . . .Table 2507.2

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	773

REFERENCED STANDARDS

### ASTM—continued

C635/C635M—13A	Specification for the Manufacture, Performance and Testing of

Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings . . . . . . . . . . .808.1.1, 2506.2.1 C636/C636M—0813	Practice for Installation of Metal Ceiling Suspension

Systems for Acoustical Tile and Lay-in Panels	808.1.1.1

C645—1314	Specification for Nonstructural Steel Framing Members . . . . . . . . 2319.17.1.3, Table 2506.2, Table 2507.2 C652—1315	Specification for Hollow Brick (Hollow Masonry Units Made from Clay or Shale)	1807.1.6.3

C726—12	Standard Specification for Mineral Roof Insulation Board . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1508.2 C728—05(2013)15	Standard Specification for Perlite Thermal Insulation Board. . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1508.2 C744—1114	Specification for Prefaced Concrete and Calcium Silicate Masonry Units . . . . . . . . . . . . . . . .Table 722.3.2 C754—1115	Specification for Installation of Steel Framing Members

to Receive Screw-attached Gypsum Panel Products. . . . . . . . . . . . . . . . . . . Table 2508.1, Table 2511.1.1

C794—01	Standard Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants	2415.4

C796—97	Standard Test Method for Foaming Agents For Use in Producing Cellular

Concrete Using Performed Foam . . . . . . . . . . . . . . . . . . . . . . Table 1508.2, 1917.1.2, 1917.1.3, 1917.4.5

C836/C836M—1215	Specification for High-solids Content, Cold Liquid-applied

Elastomeric Waterproofing Membrane for Use with Separate Wearing Course	1507.15.2

C840—1113	Specification for Application and Finishing of Gypsum Board . . . . . . . . . . . . . . . . . . .Table 2508.1, 2509.2 C841—03(2008)E1(2013)	Specification for Installation of Interior Lathing and Furring . . . . . . . . . . . . . Table 2508.1, Table 2511.1.1 C842—05(2010)E1(2015)	Specification for Application of Interior Gypsum Plaster . . . . . . . . . . . . . . .Table 2511.1.1, 2511.3, 2511.4 C843—99 (2012)	Specification for Application of Gypsum Veneer Plaster. . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2511.1.1 C844—04(2010)2015	Specification for Application of Gypsum Base to Receive Gypsum Veneer Plaster . . . . . . . . . Table 2508.1 C847—1214A	Specification for Metal Lath . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 2507.2

C864—05	Dense Elastomeric Compression Seal Gaskets, Setting Blocks, and Spacers	2411.3.4

C869—11	Specification for Foaming Agents Used in Making Preformed Foam for Cellular

Concrete . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1508.2, 1917.4.5

C887—05(2010)13	Specification for Packaged, Dry Combined Materials for Surface Bonding Mortar . . . . .1805.2.2, 2103.2.2 C897—05(2009)15	Specification for Aggregate for Job-Mixed Portland Cement-based Plaster . . . . . . . . . . . . . . . Table 2507.2

C920—1114A	Standard for Specification for Elastomeric Joint Sealants . . . . . . 2415.4, Table 2506.2, C405.1, E303.3.1

C926—15b18b	Specification for Application of Portland Cement-based Plaster . . . . . . . . . . . . . . . . . . . 2109.3.4.8, 2510.3,

Table 2511.1.1, 2511.3, 2511.4, 2512.1,

2512.1.2, 2512.2, 2512.6, 2512.8.2, 2512.9, 2513.7

(S7433 A1)

C932—06(2013)	Specification for Surface-applied Bonding Compounds for Exterior Plastering . . . . . . . . . . . . Table 2507.2 C933—1314	Specification for Welded Wire Lath . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 2507.2 C946—10	Specification for Construction of Dry-stacked, Surface-bonded Walls . . . . . . . . . . . . . . .2103.2.2, 2109.2.2 C954—1115	Specification for Steel Drill Screws for the Application of Gypsum Panel Products

or Metal Plaster Bases to Steel Studs from 0.033 inch (0.84 mm)

to 0.112 inch (2.84 mm) in Thickness . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2506.2, Table 2507.2

C955—11C15	Standard Specification for Load-bearing Transverse and Axial Steel Studs, Runners Tracks, and Bracing or Bridging, for Screw Application of

Gypsum Panel Products and Metal Plaster Bases. . . . . . . . . . . . . . . . . . . . . . .Table 2506.2, Table 2507.2

C956—04(2010)(2015)	Specification for Installation of Cast-in-place Reinforced Gypsum Concrete	2514.1

C957—10/C957M-15	Specification for High-solids Content, Cold Liquid-applied

Elastomeric Waterproofing Membrane with Integral Wearing Surface	1507.15.2

C1002—0714	Specification for Steel Self-piercing Tapping Screws for the Application of

Gypsum Panel Products or Metal Plaster Bases to Wood Studs or Steel Studs   Table 2506.2, Table 2507.2

C1007—11a(2015)	Specification for Installation of Load Bearing (Transverse and

Axial) Steel Studs and Related Accessories . . . . . . . . . . . . . . . . . . . . . . . . . Table 2508.1, Table 2511.1.1

C1029—1315	Specification for Spray-applied Rigid Cellular Polyurethane Thermal Insulation	1507.14.2

C1032—06(2011)14	Specification for Woven Wire Plaster Base . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 2507.2

C1036—01	Specification for Flat Glass	2411.1.2

C1047—10A2014a	Specification for Accessories for Gypsum Wallboard and Gypsum Veneer Base .Table 2506.2, Table 2507.2 C1048—97b	Standard Specification for Heat-Treated Flat Glass—Kind HS, Kind FT

Coated and Uncoated Glass	2411.1.5

C1063—15a19a (S7713)	Specification for Installation of Lathing and Furring to Receive

Interior and Exterior Portland Cement-based Plaster . . . . . . . . . . . . . . . . . . . . . . . . . . 2109.3.4.8, 2510.3,

Table 2511.1.1, 2512.1.1

(S7433 A1)

C1088—1314	Specification for Thin Veneer Brick Units Made from Clay or Shale . . . . . . . . . . . . . . . . . . . Table 721.1(2) C1115—00	Dense Elastomeric Silicone Rubber Gaskets and Accessories	2411.3.4

C1157/C1157M—11	Standard Performance Specification for Hydraulic Cement. . . . . . . . . . . . . . . . . . . . . .1903.1, Table 2507.2 C1167—11	Specification for Clay Roof Tiles . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1507.3.4, 1523.6.5.2

C1177/C1177M—0813	Specification for Glass Mat Gypsum Substrate for

Use as Sheathing . . . . . . . . . . . . . Figure 722.5.1(2), Figure 722.5.1(3), Table 1508.2, Table 2506.2

C1178/C1178M—1113	Specification for Coated Mat Water-resistant Gypsum

Backing Panel. . . . . . . . . . . . . . . Figure 722.5.1(2), Figure 722.5.1(3), Table 2506.2, Table 2509.2

C1186—08(2012)	Specification for Flat Fiber Cement Sheets . . . . . . . . . . . . . . . . . . . . . . . . . . 1404.10, 1405.16.1, 1405.16.2

774	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

### ASTM—continued

C1225—08 (2012)	Specification For Fiber-Cement Roofing Shingles, Shakes and Slates	1518.5.1

C1261—1013	Specification for Firebox Brick for Residential Fireplaces . . . . . . . . . . . . . . . . . . . . . . . . . . . 2111.6, 2111.9 C 1278/C1278M—07a(2011)	Specification for Fiber-reinforced

Gypsum Panels. . . . . . . . . . . . . . . . . . . Figure 722.5.1(2), Figure 722.5.1(3), Table 1508.2, Table 2506.2

C1280—13A	Specification for Application of Exterior Gypsum Panel Products for Use as Sheathing Table 2508.1, 2508.2 C1283—11	Practice for Installing Clay Flue Lining. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2113.9.1, 2113.12 C1288—99(2010)14	Standard Specification for Discrete Nonasbestos Fiber-cement Interior Substrate Sheets . . . . . . .Table 2509.2 C1289—13E115	Standard Specification for Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board . . .Table 1508.2

2603.0, Table 2603.12.1,

Table 2603.12.2

C1313/C1313M—122013	Standard Specification for Sheet Radiant Barriers for Building Construction Applications	1509.4

C1314—07	Specification for Test Method for Compressive Strength of Masonry Prisms	2122.3

C1325—08b14	Standard Specification for Nonasbestos Fiber-mat Reinforced Cement Backer Units . . . . . . . .Table 2509.2 C1328/C1328M—12	Specification for Plastic (Stucco Cement) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 2507.2

C1364—10B	Standard Specification for Architectural Cast Stone	2103.1

C1386—07	Specification for Precast Autoclaved Aerated Concrete (AAC) Wall Construction Units	202

(S8361)

C1396M/C1396M—132014A	Specification for Gypsum Board . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Figure 722.5.1(2), Figure 722.5.1(3)

C1492—03(2009)	Standard Specification for Concrete Roof Tile	1507.3.5

C1600/C 1600M—11	Standard Specification for Rapid Hardening Hydraulic Cement. . . . . . . . . . . . . . . . . . . . . . . . .Table 2507.2 C1629/C1629M—06(2011)15	Standard Classification for Abuse-resistant Nondecorated

Interior Gypsum Panel Products and Fiber-reinforced Cement Panels . . . .403.2.3.1, 403.2.3.2, 403.2.3.4

C1658/C1658M—1213	Standard Specification for Glass Mat

Gypsum Panels. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Figure 722.5.1(2), Figure 722.5.1(3), Table 2506.2

C1670-16	Standard Specification for Adhered Manufactured Stone Masonry Veneer Units

(S245-16 Part I AMPC1) (S8372)

C 1766-13	Standard Specification for Factory-Laminated Gypsum Panel Products

(S298-16)

D25—12	Specification for Round Timber Piles . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1810.3.2.4, 2303.1.12

D41—05/D41M-2011	Specification for Asphalt Primer Used in Roofing,

Dampproofing and Waterproofing. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1514.2.3.1,

1517.6.2.4, 1519.6, 1521.6, 1521.14.1, Table 1507.10.2

D43/D43M-2000 (2006)12)E1	Specification for Coal Tar Primer Used in Roofing, Dampproofing

and Waterproofing . . . . . . . . . . . . . . 1514.2.3.1, 1517.6.2.4, 1519.6, 1521.6, 1521.14.2, Table 1507.10.2

D56—05(2010)	Test Method for Flash Point By Tag Closed Cup Tester	202

D86—201215	Test Method for Distillation of Petroleum Products at Atmospheric Pressure	202

D92—12b	Standard Test Method for Flash and Fire Points by Cleveland Open Cup Tester	1519.2.2

D93—201215	Test Method for Flash Point By Pensky-Martens Closed Cup Tester	202

D225—07	Specification for Asphalt Shingles (Organic Felt) Surfaced with Mineral Granules	1507.2.5

D226/D226M—09	Specification for Asphalt-saturated Organic Felt

Used in Roofing and Waterproofing . . . 1404.2, 1505.2, 1507.1.1, Table 1507.1.1, 1507.2.3, 1507.2.8.1,

1507.3.3, 1507.4.5, 1507.4.5.2, 1507.5.3, 1507.5.3.2, 1507.6.3, 1507.6.3.1, 1507.7.3, Table 1507.8,

1507.8.3, 1507.9.3, 1507.9.5, Table 1507.10.2, Table 1507.14, 1507.17.3, 1507.17.4.1, 1518.4

D227/D227M—

03(2011)E1	Specification for Coal-tar-saturated Organic Felt Used in Roofing and Waterproofing . . . . Table 1507.10.2 D256—03	Standard Test Methods for Determining the Izod Pendulum Impact Resistance of Plastics . 2614.2, 2615.2 D312—00 (2006)/D312M-15	Specification for Asphalt Used in Roofing . . . . . . . . . . . . . . . . . . Table 1507.10.2, 1519.3, Table 1519.3A,

1519.4, 1521.14.1

D412—98a (2002)e1	Standard Test Methods for Vulcanized Rubber and Thermoplastic

Elastomers—Tension	2415.4

D422—63 (2007)E2	Test Method for Particle-size Analysis of Soils	1803.5.3

D448—082012	Standard Classification for Sizes of Aggregate for Road and Bridge Construction . . . 1507.12.3, 1507.13.3 D450\D450M—07(2013)E1	Specification for Coal-tar Pitch Used in Roofing, Dampproofing and

Waterproofing . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.10.2, Table 1519.3B

D624—00e1	Standard Test Method for Tear Strength of Conventional Vulcanized Rubber

and Thermoplastic Elastomers	2415.4

D635—1014	Test Method for Rate of Burning and/or Extent and

Time of Burning of Plastics in a Horizontal Position	2606.4

D638—03	Test Method for Tensile Properties of Plastics . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 2614.2, 2615.2 D1079—02	Standard Terminology Relating to Roofing, Waterproofing, and Bituminous Materials	1513.1

D1143/D1143M—07e1(2013)	Test Method for Deep Foundations Piles Under Static Axial Compressive Load	1810.3.3.1.2

D1227—95 (2007)13	Specification for Emulsified Asphalt Used as a Protective Coating for Roofing Table 1507.10.2, 1507.15.2 D1557—2012 E1	Test Method for Laboratory Compaction Characteristics

of Soil Using Modified Effort [56,000 ft-lb/ft3 (2,700 KN m/m3)] . . . . . . . . . . . . . . . . . . . 1705.6, 1804.5

D1621	Standard Test Method for Compressive Properties of Rigid Cellular Plastics	1523.6.5.2.17.1

D1622	Standard Test Method for Apparent Density of Rigid Cellular Plastics	1523.6.5.2.17.2

D1623	Standard Test Method for Tensile and Tensile Adhesion Properties of Rigid

Cellular Plastics	1523.6.5.2.17.3

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	775

REFERENCED STANDARDS

### ASTM—continued

D1761—06	Test Method for Mechanical Fasteners in Wood	2314.4.4

D1863/D1863M—

05(2011)E1	Specification for Mineral Aggregate Used on Built-up Roofs . . . . . . . . 1504.8, Table 1507.10.2, 1519.12.1 D1929—1216	Standard Test Method for Determining Ignition Temperature of Plastics. . . . . . . . . . 402.6.4.4, 406.7.2,  							1407.11.2.1,1407.11.3.3, 1407.11.4.2, 2606.4

D1970/D1970M—2015a	Specification for Self-adhering Polymer Modified

Bituminous Sheet Materials Used as Steep Roof

Underlayment for Ice Dam Protection . . . . . . . . . . . . . . .1507.1.1, Table 1507.1.1, 1507.2.4, 1502.2.8.1,

1507.2.9.2, 1507.3.3.3, 1507.3.9, 1507.4.5, 1507.5.3.1, 1507.5.7, 1507.6.3.1,

1507.7.3.1, 1507.8.3.1, 1507.8.8, 1507.9.3.1, 1507.9.9, 1507.17.4.1

D2126	Standard Test Method for Response of Rigid Cellular Plastics to Thermal

and Humid Aging	1523.6.5.2.17.4

D2178/D2178M—0415	Specification for Asphalt Glass Felt Used in Roofing and Waterproofing. . . . . . . . . . . . . . .Table 1507.10.2 D2240—03	Standard Test Method for Rubber Property—Durometer Hardness	2415.4

D2487—2011	Practice for Classification of Soils for Engineering

Purposes (Unified Soil Classification System) . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1610.1, 1803.5.1 D2565—99(2008)	Standard Practice for Xenon Arc Exposure of Plastics Intended for Outdoor

Applications	2612.2

D2626/D2626M—

04(2012)E1	Specification for Asphalt Saturated and Coated Organic Felt Base Sheet Used in Roofing	1507.3.3

Table 1507.10.2, 1518.4

D2822/

D2822M-05(2011)E1	Specification for Asphalt Roof Cement, Asbestos Containing. . . . . . . . . . . . . . . . . . . . . . . .Table 1507.10.2 D2823/D2823M—

05(2011)E1	Specification for Asphalt Roof Coatings, Asbestos Containing. . . . . . . . . . . . . . . . . . . . . . .Table 1507.10.2

D2824/D2824M—06(2012)E12013	Standard Specification for Aluminum-Pigmented Asphalt Roof Coating,

Nonfibered, Asbestos Fibered and Fibered without Asbestos . . . . . . . . . . . . . . . . . . . . . .Table 1507.10.2 D2842	Standard Test Method for Water Absorption of Rigid Cellular Plastics	1523.6.5.2.17.6

D2843—1016	Standard TestMethod for Density of Smoke from the Burning or Decomposition of Plastics	2606.4

D2856	Standard Test Method for Open-cell Content of Rigid Cellular Plastics

by the Air-Pycnometer.	1523.6.5.2.17.5

D2859—06(2011)15 16 (Approved by Public Comment 6)

Standard Test Method for Ignition Characteristics of Finished

Textile Floor Covering Materials	804.4.1

D2898—10	Test Methods for Accelerated Weathering of Fire-retardant-treated

Wood for Fire Testing . . . . . . . . . . . . . . . . . . . . . . 1505.1, 1516.1, 2303.2.4, 2303.2.6, 2314.4.4

D3018	Standard Specification for Class A Asphalt Shingles Surfaced with Mineral Granules	1523.6.5.1

D3019—08	Specification for Lap Cement Used with Asphalt Roll Roofing,

Nonfibered, Asbestos Fibered and Nonasbestos Fibered . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1507.10.2

D3161/D3161M—16	Test Method for a Wind Resistance of Asphalt ShinglesSteep Slope Roofing Products

(Fan Induced Method). . . . . . . . . . . . 1504.1.1, Table 1504.1.1, 1507.2.7.1, Table 1507.2.7.1, 1507.17.8,

D3200—74 (2012)	Standard Specification and Test Method for Establishing Recommended

Design Stresses for Round Timber Construction Poles	2303.1.12

D3201/D3201M—2013	Test Method for Hygroscopic Properties of Fire-retardant-treated

Wood and Wood-based Products . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2303.2.7, 2314.4.4

D3278—1996 (2011)	Test Methods for Flash Point of Liquids by Small Scale Closed-cup Apparatus	202

D3462/D3462M—10A	Specification for Asphalt Shingles Made from Glass Felt and Surfaced with

Mineral Granules. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1507.2.5, 1523.6.5.1

D3468/D3468—99 (2006) e01(2013)E1

Specification for Liquid-applied Neoprene and

Chlorosulfonated Polyethylene Used in Roofing and Waterproofing	1507.15.2

D3498—03	Standard Specifications for Adhesives for Field-Gluing Plywood to Lumber Framing

for Floor Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2314.4.4, 2322.1.5

D3679—1117	Specification for Rigid Poly (Vinyl Chloride) (PVC) Siding. . . . . . . . . . . . . . . . . . . . . . . . .1404.9, 1405.14

(S7257)

D3689/D3698M—2013E1	Test Methods for Deep Foundations Under Static Axial Tensile Load	1810.3.3.1.5

D3737—2012	Practice for Establishing Allowable Properties for Structural Glued Laminated Timber (Glulam). . 2303.1.3 D3746—85 (2015)	Test Method for Impact Resistance of Bituminous Roofing Systems . . . . . . . . . . . . . . . . . 1504.7, 1515.2.4 D3747—79 (2007)	Specification for Emulsified Asphalt Adhesive for Adhering Roof Insulation . . . . . . . . . . .Table 1507.10.2 D3787—89	Test Method for Bursting Strength of Textiles-Constant-Rate-of-Traverse (CRT)

Ball Burst Test	454.2.17.1.15

D3909/

D3909M—97b (2012)e114	Specification for Asphalt Roll Roofing (Glass Felt) Surfaced with Mineral Granules .1507.2.9.2, 1507.6.5,

Table 1507.10.2

D3957—09	Standard Practices for Establishing Stress Grades for Structural Members Used in Log Buildings . . .2303.1.11 D4022/D4022M—

2007(2012)E1	Specification for Coal Tar Roof Cement, Asbestos Containing . . . . . . . . . . . . . . . . . . . . . . .Table 1507.10.2

776	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

### ASTM—continued

D4086	Standard Practice for Visual Evaluation of Metamerism	454.1.2.4

D4272—0915	Test Method for Total Energy Impact of Plastic Films by Dart Drop . . . . . . . . . . . . . . . . . .1504.7, 1515.2.4 D4318—10E1	Test Methods for Liquid Limit, Plastic Limit and Plasticity Index of Soils	1803.5.3

D4402	Viscosity Determinations of Unfilled Asphalt Using the Brookfield Thermoset Apparatus	1519.2.3

D4434/D4434M—12	Specification for Poly (Vinyl Chloride) Sheet Roofing	1507.13.2

D4479/D4479M—

07(2012)E1	Specification for Asphalt Roof Coatings-Asbestos-free . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.10.2 D4533(2015)	Standard Test Method for Trapezoid Tearing Strength of Geo Textiles	1507.1.1

D4586/D4586M—

07(2012)E1	Specification for Asphalt Roof Cement-Asbestos-free . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.10.2 D4601/D4601M—

04(2012)E1	Specification for Asphalt-coated Glass Fiber Base Sheet Used in Roofing . . . . . . . . . . . . . Table 1507.10.2

D4637/D4637M—1314e1	Specification for EPDM Sheet Used in Single-ply Roof Membrane	1507.12.2

D4829—11	Test Method for Expansion Index of Soils	1803.5.3

D4869/D4869M—2016	Specification for Asphalt-saturated (Organic Felt)

Underlayment Used in Steep Slope Roofing . . . . . . . . . . .1507.1.1, Table 1507.1.1,1507.2.3, 1507.2.8.1,

1507.4.5, 1507.5.3,1507.5.3.1, 1507.6.3, 1507.7.3, 1507.7.3.1,

1507.8.3, 1507.8.3.1, 1507.9.3, 1507.9.3.1, 1507.17.3, 1507.17.4.1

D4897/D4897M—01(2009)	Specification for Asphalt-coated Glass Fiber Venting Base Sheet Used in Roofing . . . . . . Table 1507.10.2 D4945—12	Test Method for High-strain Dynamic Testing of Piles Deep Foundations	1810.3.3.1.2

D4990—97a (2005) e01(2013)	Specification for Coal Tar Glass Felt Used in Roofing and Waterproofing . . . . . . . . . . . . . Table 1507.10.2 D5019—07a	Specification for Reinforced Nonvulcanized Polymeric Sheet Used in Roofing Membrane	1507.12.2

D5034—95	Standard Test Method for Breaking Strength and Elongation of

Textile Fabrics (Grab Test)	454.2.17.1.15

D5055—13E1	Specification for Establishing and Monitoring Structural

Capacities of Prefabricated Wood I-joists	2303.1.2

D5456—1214B	Specification for Evaluation of Structural Composite Lumber Products	2303.1.10

D5516—09	Test Method of Evaluating the Flexural Properties of Fire-retardant-treated

Softwood Plywood Exposed to the Elevated Temperatures	2303.2.5.1

D5643/D5643M—

06(2012)E1	Specification for Coal Tar Roof Cement, Asbestos-free . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.10.2 D5664—10	Test Methods for Evaluating the Effects of Fire-retardant Treatment and

Elevated Temperatures on Strength Properties of Fire-retardant-treated Lumber	2303.2.5.2

D5665/D5665M—99a (2006)2014E1

Specification for Thermoplastic Fabrics Used in Cold-applied

Roofing and Waterproofing . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.10.2

D5726—98 (2005)2013	Specification for Thermoplastic Fabrics Used in Hot-applied

Roofing and Waterproofing . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1507.10.2

D5957—98	Standard Guide for Flood Testing Horizontal Waterproofing Installation	1519.16.6

D6083—05e01 18	Specification for Liquid Applied Acrylic Coating Used in Roofing . . . . Table 1507.10.2, Table 1507.14.3,

1507.15.2, 1523.6.2.1.1, 1523.6.3.1, 1523.6.5.2.12.2

(R8301)

D6162/D6162M—2000A (2008)(2015)E1

Specification for Styrene-butadiene-styrene (SBS) Modified Bituminous

Sheet Materials Using a Combination of Polyester and Glass Fiber Reinforcements	1507.11.2

D6163/D6163M—2000 (2008) (2015)E1

Specification for Styrene-butadiene-styrene (SBS) Modified

Bituminous Sheet Materials Using Glass Fiber Reinforcements	1507.11.2

D6164/D6164M—11	Specification for Styrene-butadiene-styrene (SBS) Modified

Bituminous Sheet Metal Materials Using Polyester Reinforcements	1507.11.2

D6222/D6222M—11	Specification for Atactic Polypropylene (APP) Modified

Bituminous Sheet Materials Using Polyester Reinforcements	1507.11.2

D6223/D6223M—

02(2011)E1(2009)E1	Specification for Atactic Polypropylene (APP) Modified Bituminous Sheet

Materials Using a Combination of Polyester and Glass Fiber Reinforcements	1507.11.2

D6298—05e113	Specification for Fiberglass Reinforced Styrene-butadiene-styrene

(SBS) Modified Bituminous Sheets with a Factory Applied Metal Surface	1507.11.2

D6305—08(2015)E1	Practice for Calculating Bending Strength Design Adjustment

Factors for Fire-retardant-treated Plywood Roof Sheathing	2303.2.5.1

D6380/D6380—03 (2013)E1	Standard Specification for Asphalt Roll Roofing (Organic) Felt. . . . . . . . . . .1507.2.9.2, 1507.3.3, 1507.6.5

D6464-03a(2009)e1	Standard Specification for Expandable Foam Adhesives for Fastening Gypsum Wallboard to Wood Framing

(S300-16 Part I)

D6509/D6509M—09(2015)	Standard Specification for Atactic Polypropylene (APP)

Modified Bituminous base Sheet Materials Using Glass Fiber Reinforcements	1507.11.2

D6694/D6694M—08(2013)E1	Standard Specification for Liquid-applied Silicone Coating

Used in Spray Polyurethane Foam Roofing Systems . . . . . . . . . . . . . . . . . . . Table 1507.14.3, 1507.15.2 D6754/D6745M—10	Standard Specification for Ketone Ethylene Ester Based Sheet Roofing	1507.13.2

D6757—2016	Standard Specification for Inorganic Underlayment for Use with

Steep Slope Roofing . . . . . . . . . . . . . . . . . . . .1507.1.1, Table 1507.1.1, 1507.2.3, 1507.17.3, 1507.17.4.1

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	777

REFERENCED STANDARDS

### ASTM—continued

D6841—08	Standard Practice for Calculating Design Value Treatment

Adjustment Factors for Fire-retardant-treated Lumber	2303.2.5.2

D6878/D6878M—11a13	Standard Specification for Thermoplastic Polyolefin Based Sheet Roofing	1507.13.2

D6947/D6947M—07(2013)E1	Standard Specification for Liquid Applied Moisture Cured

Polyurethane Coating Used in Spray Polyurethane Foam Roofing System . . .Table 1507.14.3, 1507.15.2

D7032—10a14	Standard Specification for Establishing Performance Ratings for Wood,

Plastic Composite Deck Boards and Guardrail Systems (Guards or Rails) . . . 2612.2.1, 2612.4, 2612.5.1

D7147—0511	Specification for Testing and Establishing Allowable

Loads of Joist Hangers . . . . . . . . . . . . . . . . . . . . . . . .2303.5, 2303.5.1, 2303.5.2, 2304.10.3, 2319.17.1.1

D7158/D7158M—1116 19 (As modified by Public Comment 3) (R8303)

Standard Test Method for Wind Resistance of Sealed Asphalt Shingles (Uplift Force/

Uplift Resistance Method) . . . . . . . . . . . 1504.1.1, Table 1504.1.1, 1507.1.1, Table 1507.1.1, 1507.2.7.1

D7254—0715	Standard Specification for polypropylene (PP) siding	1404.12

D7655/D7655M—12	Standard Classification for Size of Aggregate Used as Ballast for Roof Membrane Systems . . . . . . . 1507.12.3, 1507.13.3

D7672—201214	Standard Specification for Evaluating Structural Capacities of Rim Board Products and Assemblies . .2303.1.13 E84—20132016	Test Methods for Surface Burning Characteristics of Building Materials . . . . . . . . .202, 402.6.4.4, 406.7.2,

452.2.16.3, 703.5.2, 720.1, 720.4, 803.1.1, 803.1.4, 803.10, 803.11,

806.7, 1404.12.1, 1407.9, 1407.10.1, 1409.9, 1409.10.1,

1510.6.2, 1510.6.3, 2303.2, 2314.4.4, 2603.3, 2603.4.1.13, 2606.3.5.4,

2603.7.1, 2603.7.2, 2603.7.3, 2604.2.4, 2606.4, 2612.3, 2614.3, 3105.4, 3105.3.4.1

-(As modified by Public Comment 7)

E90—09	Test Method for Laboratory Measurement of Airborne Sound

Transmission Loss of Building Partitions and Elements . . . . . . . . . . . . . . . . . . . . . . . . . 1207.2, 1207.2.1 E96/E96M—201315	Test Method for Water Vapor Transmission of Materials . . . 202, 449.3.6.4.2, 451.3.6.3.3, 1523.6.5.2.17.7

E108—201116	Standard Test Methods for Fire Tests of Roof Coverings . . . . . . . . . . . . . . . . . . . . .453.12.1, 1505.1, 	    (As modified by Public Comment 8)			1513.1, 1516.1,

2603.6, 2610.2, 2610.3

E119—2012A2016 (As modified by Committee)

Standard Test Methods for Fire Tests of Building Construction and Materials . . . . .703.2, 703.2.1, 703.2.3,

703.3, 703.4, 703.6, 704.12,

705.7, 705.8.5, 711.3.2, 714.3.1, 714.4.1, 715.1,

716.2, Table 716.3, 716.5.6, 716.5.8.1.1,

Table 716.6, 716.6.7.1, 717.5.2, 717.5.3, 717.6.1,

716.6.2.1, Table 721.1(1), 1409.10.2, 2103.1, 2603.5.1

E136—201216	Test Method for Behavior of Materials in a Vertical Tube Furnace at 750°C	703.5.1

E283—04(2012)	Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows

Curtain Walls, and Doors Under Specified Pressure Difference Across the Specimen	202

E330/E330M—02 or 14	Test Method for Structural Performance of Exterior Windows, Curtain Walls and

Doors by Uniform Static Air Pressure Difference . . . . . . .1409.10.2, 1709.5.2, 1709.8, 2415.4, 2415.7.1 E331—00 (2009)	Test Method for Water Penetration of Exterior Windows, Skylights,

Doors and Curtain Walls by Uniform Static Air Pressure Difference . . . . . . . . . . . . . . . . .1403.2, 2415.4

E492—09	Test Method for Laboratory Measurement of Impact Sound Transmission Through

Floor-ceiling Assemblies Using the Tapping Machine	1207.3

E605/E605M—1993 (2011)(2015)E1

Test Method for Thickness and Density of Sprayed

Fire-resistive Material (SFRM) Applied to Structural Members . . . . . . . . . . . . 1705.14.4.1, 1705.14.4.2,

1705.14.4.5, 1705.14.5

E648-14c			            Standard Test Method for Critical Radiant Flux of Floor-Covering Systems Using a Radiant Heat Energy Source

(F7548)

E681—2009(2015)	Test Methods for Concentration Limits of Flammability of Chemical Vapors and Gases	202

E736/E736M—00 (2011)(2015)E1	Test Method for Cohesion/Adhesion of Sprayed Fire-resistive

Materials Applied to Structural Members. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .704.13.2, 1705.14.6

E814—2013A	Standard Test Method of Fire Tests of Through-penetration Firestops (As modified by Committee)

. . . . . . . . 202, 714.3.1.2, 714.3.2, 7143.4.1.1.2

E970—201014	Standard Test Method for Critical Radiant Flux of Exposed Attic

Floor Insulation Using a Radiant Heat Energy Source (As modified by Committee)

720.3.1

E1300—04e01, 07e01,

09e or 12AE1 or -16	Practice for Determining Load Resistance of Glass in Buildings. . . . . . 1709.5.1, 2404.1, 2404.2, 2404.3.1,

2404.3.2, 2404.3.3, 2404.3.4, 2404.3.5, 2411.2.1.1, 2411.2.1.2, 2411.3.1.2

(S7704)

E1347	Standard Test Method for Color and Color-Difference Measurement by

Tristimulus Colorimetry	454.1.2.4

E1354—20132016	Standard Test Method for Heat and Visible Smoke Release Rates for

Materials and Products Using an Oxygen Consumption Calorimeter	424.2

E1477	Standard Test Method for Luminous Reflectance Factor of Acoustical Materials by

Use of Integrating-Sphere Reflectometers	454.1.2.4

E1592—05(2012)	Test Method for Structural Performance of Sheet Metal Roof and Siding Systems

by Uniform Static Air Pressure Difference	1504.3.2

E1602—0203(2010)E1	Guide for Construction of Solid Fuel-burning Masonry Heaters	2112.2

E1725				"STANDARD TEST METHODS FOR FIRE TESTS OF FIRE-RESISTIVE BARRIER SYSTEMS FOR 					ELECTRICAL SYSTEM COMPONENTS"

(G117-15 AMPC1)

E1886—02 or 05 or 12 or 2013a

Test Method for Performance of Exterior Windows, Curtain Walls, Doors and

Storm Shutters Impacted Impact Protective Systems Impacted by Missiles and Exposed to Cyclic

Pressure Differentials . . . . . . . . . . . . . 453.25.4, 453.25.4.1, 449.4.2.5.1, 450.4.2.5.1, 1609.1.2, 1709.5.1

(S7704)

E1966—07A(2011)2015	Standard Test Method for Fire-resistant Joint Systems (As modified by Committee)

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 202, 715.3

778	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

### ASTM—continued

E1996—05, 06, 09 17 or,

2012a or 2014a	Specification for Performance of Exterior Windows, Curtain Walls, Doors and Impact

Protective Systems Impacted by Windborne Debris in Hurricanes. . . . . . . . . . . .449.4.2.5.1, 450.4.2.5.1,

450.4.2.5.6, 453.25.4, 453.25.4.1, 1609.1.2, 1609.1.2.2, 1709.5.1

(S7704)

E2072—1014	Standard Specification for Photoluminescent (Phosphorescent) Safety Markings	1025.3

(R7843)

E2140---01	Standard Test Method for Water Penetration  of Metal Roof Panel Systems by Static Water Pressure Head

Table 1515.2, 1523.6.5.2.4.1.1, TAS 110 Table 15. (R7843)

E2174—10AE114B	Standard Practice for On-Site Inspection of Installed Fire Stops	1705.17.1

(R7843)

E2178—13	Standard Test Method for Air Permeance of Building Materials	202

E2203—02	Dense Thermoplastic Elastomers Used for Compression Seals, Gaskets, Setting

Blocks, Spacers and Accessories	2411.3.4

E2273—03(2011)	Standard Test Method for Determining the Drainage Efficiency of

Exterior Insulation and Finish Systems (EIFS) Clad Wall Assemblies	1408.4.1

E2307—201015B	Standard Test Method for Determining Fire Resistance of

a Perimeter Joint System Between an Exterior Wall Assembly and

Floor Assembly Fire Barriers Using the Intermediate-scale, Multistory Test Apparatus	715.4

E2322-03 (Reapproved 2015)	Standard Test Method for Conducting Transverse and Concentrated Load Tests on Panels used in Floor and

Roof Construction……………………………………….…………...……3115.4.2

(S8357 handout/Commission)

E2393—10A a(2015)	Standard Practice for On-Site Inspection of Installed

Fire Resistive Joint Systems and Perimeter Fire Barrier	1705.17.2

E2397/E2397M—112015	Standard Practice for Determination of Dead Loads and Live Loads Associated

with Vegetative Green Roof Systems	1607.12.3.1

E2404—2013E115a  (As modified by Committee)

Standard Practice for Specimen Preparation and Mounting of Textile, Paper or

Vinyl Wall or Ceiling Coverings to Assess Surface Burning Characteristics	803.1.4

E2556/E2556M—10	Standard Specification for Vapor Permeable Flexible Sheet Water-Resistive Barriers

Intended for Mechanical Attachment. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1404.2, 2510.6 E2568—09e1	Standard Specification for PB Exterior Insulation and Finish Systems	1408.2

E2570/E2570—07(2014)E1	Standard Test Method for Evaluating Water-resistive Barrier (WRB)

Coatings Used Under Exterior Insulation and Finish Systems (EIFS) for EIFS with Drainage 1408.4.1.1,

1705.16.1

E2751/E2751M-13	Practice for Design and Performance of Supported Laminated Glass Walkways

E2573—12	Standard Practice for Specimen Preparation and Mounting of Site-fabricated

Stretch Systems to Assess Surface Burning Characteristics	803.13

E2599—1115	Standard Practice for Specimen Preparation and Mounting of Reflective Insulation Materials and Vinyl Stretch Ceiling Materials for Building Applications to

Assess Surface Burning Characteristics	2614.3

E2634—11(2015)	Standard Specification for Flat Wall Insulating Concrete Form (ICF) Systems	1903.4

E2751—11	Standard Practice for Design and Performance of Supported Glass Walkways	2409.1

F547—(2012)	Terminology of Nails for Use with Wood and Wood-based Materials . . . . . . . . . . . . . . . . . . . .Table 2506.2 F1346—91 (2010)	Performance Specification for Safety Covers and Labeling Requirements for

All Covers for Swimming Pools, Spas and Hot Tubs . . . . . . . . . . . . . . . . . 454.1.3.1.9, 454.2.2, 454.2.17

F1487	Standard Consumer Safety Performance Specification for Playground

Equipment for Public Use . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .453.4.5, 453.10.5.2

F1667—15	Specification for Driven Fasteners: Nails, Spikes and Staples . . . . . . . . . . . Table 721.1(2), Table 721.1(3),

1506.5, 1507.2.6, 1507.17.5, 2303.6, Table 2506.2

F2006—00 (2005) 10 17	Standard/Safety Specification for Window Fall Prevention Devices for

Nonemergency Escape (Egress) and Rescue (Ingress) Windows	1015.8

(Approved as modified by Public Comment 10) (S7704)

F2090—101317	Specification for Window Fall Prevention Devices with Emergency

Escape (Egress) Release Mechanisms . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1015.8, 1015.8.1

(As modified by Public Comment 9) (S7704)

F2200—201314	Standard Specification for Automated Vehicular Gate Construction	3110.3

F2376-17a Standard Practice for Classifcation, Design, Manufacture, Construction, and Operation of Water Slide Systems                      454.1.9.2.1.1

(SW7175 A2+Original)

F2208—2014	Standard Safety Specification for Residential Pool Alarms	454.2.17.1.9

F3125/F3125M-15 	Standard Specification for High Strength Structural Bolts, Steel and Alloy Steel, Heat Treated, 120 ksi (830 MPa) and 150 ksi (1040 MPa) Minimum Tensile Strength, Inch and Metric Dimensions (S8108)

G53—96	Practice for Operating Light-and Water-Exposure Apparatus (Fluorescent

UV-Condensation Type) for Exposure of Nonmetallic Materials	454.2.17.1.15.2

G60—01	Standard Practice for Conducting Cyclic Humidity Tests	2319.17.2.2.8

G85	Standard Practice for Modified Salt Spray (Fog) Testing . . . . . . . . . . . . .1517.5.1, 1517.5.2, 1523.6.5.2.10, 1523.6.5.2.11

G152—0613	Practice for Operating Open Flame Carbon Arc Light Apparatus for

Exposure of Nonmetallic Materials	1504.6

G153	Standard Practice for Operating Enclosed Carbon Arc Light Apparatus for

Exposure of Nonmetallic Materials	1504.6

G154—0612A	Practice for Operating Fluorescent Light Apparatus for UV Exposure of Nonmetallic Materials	1504.6

G155—05a13	Practice for Operating Xenon Arc Light Apparatus for Exposure of

Nonmetallic Materials . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1504.6, 2614.2

ASTM 2353-14			Standard Test Methods for Performance of Glazing in Permanent Railing Systems, Guards and Balustrades

(S297-16)

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	779

REFERENCED STANDARDS

AWC

American Wood Council 222 Catoctin SE, Suite 201

Leesburg, VA 20175

Standard	Referenced

reference	in code

number	Title	section number

AWC WCD No. 4—2003	Wood Construction Data—Plank and Beam Framing for Residential Buildings	2306.1.2

ANSI/AWC WFCM—20152018	Wood Frame Construction Manual for One- and Two-Family Dwellings. . . . . . . . . . 1609.1.1, 1609.1.1.1,

2301.2, 2308.2.4, 2309.1

ANSI/AWC NDS—20152018	National Design Specification (NDS) for

Wood Construction with 20152018 NDS Supplement. . . . . . . . . . . . . . . . .202, 722.1, Table 1604.3, 1809.12,

1810.3.2.4, Table 1810.3.2.6, 1905.1.8,

2304.13, 2306.1, Table 2306.2(1), Table 2306.2(2),

Table 2306.3(1), Table 2306.3(2), 2307.1 AWC STJR—2015	Span Tables for Joists and Rafters . . . . . . . . . . . . . . . . . . . . . . . . . 2306.1.1, 2308.4.2.1, 2308.7.1, 2308.7.2

ANSI/AWC PWF—2015	Permanent Wood Foundation Design Specification . . . . . . . . . . . . . . . . . . . . .1805.2, 1807.1.4, 2304.10.5.2 ANSI/AWC SDPWS—2015	Special Design Provisions for Wind and Seismic. . . . . . . . . . . 202, 2305.1, 2305.2, 2305.3, 2306.1, 2306.2,

2306.3, Table 2306.3(1), Table 2306.3(3), 2307.1

AWCI

Association of the Wall and Ceiling Industry 513 West Broad Street, Suite 210

Falls Church, VA 22046

Standard	Referenced

reference	in code

number	Title	section number

12-B—0414	Technical Manual 12-B Standard Practice for the Testing and Inspection of Field Applied Thin Film Intumescent Fire-resistive

Materials; an Annotated Guide, Second Third Edition	1705.15

AWPA

American Wood Protection Association

P.O. Box 361784 Birmingham, AL 35236-1784

Standard	Referenced

reference	in code

number	Title	section number

C1—03	All Timber Products-Preservative Treatment by Pressure Processes	1505.6

M4—1116	Standard for the Care of Preservative-treated Wood Products . . . . . . . . . . .1810.3.2.4.1, 2303.1.9, 2314.4.5 U1—1416	USE CATEGORY SYSTEM: User Specification for Treated Wood

Except Section 6, Commodity Specification H . . . . . . . . . . .1403.6, Table 1507.9.6, 1807.1.4, 1807.3.1,

1809.12, 1810.3.2.4.1, 2303.1.9, 2304.12.1,

2304.12.2, 2304.12.3, 2304.2.4, 2304.12.5, 2314.4.5

AWS

American Welding Society 8669 NW 36 Street, #130

Doral, FL 33166

Standard	Referenced

reference	in code

number	Title	section number

B2.1—B2.1M—2014 2018	Specification for Welding Procedure and Performance Qualification	2214.3

(S8107)

D1.1—D1.1M—2010 2015	Structural Welding Code—Steel	2214.3

(S8107)

D1.2	Structural Welding Code—Aluminum	2003.3

D1.3—D1.3M—2008	Structural Welding Code—Sheet Steel	2214.3

D1.4—D1.4M—20112017	Structural Welding Code—Reinforcing Steel	2214.3

D9.1—D9.1M—2012	Sheet Metal Welding Code	2214.3

780	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

BHMA

Builders Hardware Manufacturers’ Association 355 Lexington Avenue, 17th Floor

New York, NY 10017-6603

Standard	Referenced

reference	in code

number	Title	section number

A 156.10—2011	Power Operated Pedestrian Doors	1010.1.4.2

A 156.19—2013	Standard for Power Assist and Low Energy Operated Doors	1010.1.4.2

A 156.27—11	Power and Manual Operated Revolving Pedestrian Doors	1010.1.4.1

A156.38—2014 Low Energy Power Operated Sliding and Folding Doors. . . . . . .. . . . . . . . . . . . . . ………………………………….. . . . . .1010.1.4.2

(F7763)

CCIS	Ceilings and Interior Systems Construction Association

1010 Jorie Blvd., Suite 30

Oak Brook, IL 60523

Recommended Test Procedures for Access Floors……………3115.4.2, 3115.4.3

(S8357 handout/Commission)

CEN

European Committee for Standardization (CEN) Central Secretariat

Rue de Stassart 36 B-10 50 Brussels

Standard	Referenced

reference	in code

number	Title	section number

EN 1081—98	Resilient Floor Coverings—Determination of the Electrical Resistance	406.7.1

BS EN 15250—2007	Slow Heat Release Appliances Fired By Solid Fuel Requirements and Test Methods. . . . . . 2112.2, 2112.5

CGSB

Canadian General Standards Board Place du Portage 111, 6B1

11 Laurier Street

Gatineau, Quebec, Canada KIA 1G6

Standard	Referenced

reference	in code

number	Title	section number

37-GP-52M (1984)	Roofing and Waterproofing Membrane, Sheet Applied, Elastomeric . . . . . . . . . . . . . . . . .1504.7, 1507.12.2 37-GP-56M (1980)	Membrane, Modified, Bituminous, Prefabricated and

Reinforced for Roofing—with December 1985 Amendment	1507.11.2

CAN/CGSB 37.54—95	Polyvinyl Chloride Roofing and Waterproofing Membrane	1507.13.2

CPA

Composite Panel Association 19465 Deerfield Avenue, Suite 306

Leesburg, VA 20176

Standard	Referenced

reference	in code

number	Title	section number

ANSI A135.4—2012	Basic Hardboard. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1404.3.1, 2303.1.7

ANSI A135.5—2012	Prefinished Hardboard Paneling . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2303.1.7, 2304.7

ANSI A135.6—2012	Engineered Wood Siding . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1404.3.2, 2303.1.7

A208.1—092016	Particleboard . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 2303.1 8, 2303.1. 8.1

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	781

REFERENCED STANDARDS

CPSC

Consumer Product Safety Commission 4330 East West Highway

Bethesda, MD 20814-4408

Standard	Referenced

reference	in code

number	Title	section number

16 CFR Part 1201 (2002)	Safety Standard for Architectural Glazing Material . . . . . . . . . . . . . . . . . . . . . . . . . 2406.2, Table 2406.2(1),

2406.3.1, 2407.1, 2407.1.4.1, 2408.2.1,

2408.3, 2409.2, 2409.3.1, 2409.4.1

16 CFR Part 1209 (2002)	Interim Safety Standard for Cellulose Insulation	720.6

16 CFR Part 1404 (2002)	Cellulose Insulation	720.6

16 CFR Part 1500 (2009)	Hazardous Substances and Articles; Administration and Enforcement Regulations	202

16 CFR Part 1500.44(2009)	Method for Determining Extremely Flammable and Flammable Solids	202

16 CFR Part 1507 (2002)	Fireworks Devices	202

16 CFR Part 1630 (2007)	Standard for the Surface Flammability of Carpets and Rugs	804.4.1

Pub. No. 362	Safety Barrier Guidelines for Home Pools	454.1.3.1.9

CSA

Canadian Standards Association 8501 East Pleasant Valley Cleveland, OH 44131-5516

Standard	Referenced

reference	in code

number	Title	section number

AAMA/WDMA/CSA

101/I.S.2/A440—11	Specifications for Windows, Doors and Unit Skylights . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1709.5.1, 2405.5

CSSB

Cedar Shake and Shingle Bureau

P. O. Box 1178

Sumas, WA 98295-1178

Standard	Referenced

reference	in code

number	Title	section number

CSSB—97	Grading and Packing Rules for Western Red Cedar Shakes and

Western Red Shingles of the Cedar Shake and Shingle Bureau. . . . . . . . .Table 1507.8.5, Table 1507.9.6

New Roof Construction Manual (2015)	1507.8

CRRC

Standard	Referenced

reference	in code

number	Title	section number

AAMA/WDMA/CSA 101/1.S.2/A440-16		North American Fenestration Standard/Specifications for Windows, Doors and Unit Skylights

DASMA

Door and Access Systems Manufacturers Association International 1300 Summer Avenue

Cleveland, OH 44115-2851

Standard	Referenced

reference	in code

number	Title	section number

ANSI/DASMA 107—1997

(R20122017	Room Fire Test Standard for Garage Doors Using Foam Plastic Insulation	2603.4.1.9

108—05, 12, or 17	Standard Method for Testing Sectional Garage Doors and Rolling Doors and Flexible Doors: Determination of Structural Performance Under Uniform     Static Air Pressure Difference	1709.5.2

(S7880)

115—05, 12, or 17	Standard Method for Testing Sectional Garage Doors and Rolling Doors and Flexible Doors: Determination of Structural

Performance Under Missile Impact and Cyclic Wind Pressure	1609.1.2.3

(S7880)

782	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

DECO

Document Engineering Co., Inc., 5210 Stagg Street

Van Nuys, California 9140

Standard	Referenced

reference	in code

number	Title	section number

ANSI Z 358.1—04	Emergency Eyewash and Shower Equipment . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 450.3.18.1

DOC/NIST

U.S. Department of Commerce

National Institute of Standards and Technology 100 Bureau Drive Stop 3460

Gaithersburg, MD 20899

Standard	Referenced

reference	in code

number	Title	section number

CS236	Mat-Formed Particleboard	2314.4.6

PS-1—09	Structural Plywood. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 2303.1.5, 2304.7, Table 2304.7(4),

Table 2304.7(5), Table 2306.2(1), Table 2306.2(2), 2314.4.6

PS-2—10	Performance Standard for Wood-based Structural-use Panels . . . . . . . . 2303.1.5, 2304.7, Table 2304.7(5),

Table 2306.2(1), Table 2306.2(2), 2314.4.6 PS 20—05	American Softwood Lumber Standard. . . . . . . . . . . . . . . . . . . . . . . . . . .202, 1810.3.2.4, 2303.1.1, 2314.4.6

PS 56	Structural Glued Laminated Timber	2314.4.6

# DOL/OSHA

U.S. Department of Labor

Occupational Safety and Health Administration Frances Perkins Building

200 Constitution Avenue NW Washington, DC 20210

Standard	Referenced

reference	in code

number	Title	section number

29 CFR

Part 1910.1000 (2009)(2015)	Air Contaminants	202

29 CFR 1910.1200	OSHA Hazard Communication Standard . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 202, 453.6.2

DOTn

U.S. Department of Transportation c/o Superintendent of Documents 1200 New Jersey Avenue, SE Washington, DC 20402-9325

Standard	Referenced

reference	in code

number	Title	section number

14 CFR Part 150 (2005)	The Aviation Safety and Noise Abatement Act of 1979	3114.1

49 CFR Parts 100—185

20052015	Hazardous Materials Regulations	202

49 CFR Part 172-2015		Hazardous Materials Tables, Special Provisions, Hazardous Materials Communications, Emergency Response 					Information and Training Requirements

49 CFR Parts 173.137

(2009)	Shippers—General Requirements for Shipments and Packaging—

Class 8—Assignment of Packing Group	202

49 CFR Parts 173-178—1998(2015)	Specification of Transportation of Explosive and Other

Dangerous Articles, UN 0335, UN 0336 Shipping Containers	202

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	783

REFERENCED STANDARDS

FDOE

Florida Office of Educational Facilities 1014 Turlington Building

325 West Gaines Street Tallahassee, Florida 32399-0400

Standard	Referenced

reference	in code

number	Title	section number

SREF	Size of Space and Occupant Design Criteria . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .453.4.1, 453.8.2

SREF	Life Cycle Cost Guidelines for Materials and Building Systems for Florida’s

Public Educational Facilities	453.8.7

FEMA

Federal Emergency Management Agency Federal Center Plaza

500 C Street S.W. Washington, DC 20472

Standard	Referenced

reference	in code

number	Title	section number

FEMA-TB-11—01	Crawlspace Construction for Buildings Located in Special Flood Hazard Areas	1805.1.2.1

FGI

The Facility Guidelines Institute

350 N. Saint Paul Street, Suite 100 9750 Fall Ridge Trail

Dallas, Texas 75201 St. Louis, MO 63127

Standard	Referenced

reference	in code

number	Title	section number

GHCF—148	Guidelines for Design and Construction of Hospitals and Outpatient Facilities . . . . . . . .449.2.1.2, 449.2.2,

449.3.2, 449.3.3, 449.3.4, 449.3.4.1, 449.3.5, 449.3.5.1, 449.3.5.2,

449.3.6, 449.3.6.1, 449.3.7, 449.3.8.8, 449.3.8.9, 449.3.9, 449.3.10, 449.3.11,

449.3.13, 449.3.15, 449.3.17, 451.2.1.2, 451.2.2, 451.3.2, 451.3.2.1, 451.3.2.2,

451.3.3, 451.3.3.2.2, 451.3.3.3, 451.3.4, 451.3.5, 451.3.10, 469.2.1.2

GHCF—18		           Guidelines for Design and Construction of Outpatient Facilities……………….451.2.2, 451.3.3, 451.3.3.1, 451.3.4, 451.3.5, 451.3.6, 451.3.8, 451.3.10, 451.3.13,469.2.1.2

GHCF – 148	Guidelines for Design and Construction of Residential Health, Care, and

Support Facilities . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 450.2.2, 450.3.2, 450.2.5,  450.3.3.1, 450.3.3.2, 450.3.3.3, 450.3.3.4, 450.3.3.5, 450.3.3.6, 450.3.4, 450.3.4.3, 450.3.4.4,  450.3.5, 450.3.6, 450.3.7, 450.3.8, 450.3.9, 450.3.11, 450.3.14, 450.3.15

(SP7628)

FINA

Federation Internationale de Natation Amateur Av. de l’ Avant-Poste 4

1005 Lausanne SWITZERLAND

Standard	Referenced

reference	in code

number	Title	section number

CHG-22	FINA Handbook 1998—2000.	454.1.2.2.1

FINA Handbook 2005—2009.	454.1.2.7

784	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

Florida Codes

Florida Building Commission Building Codes and Standards Office

Department of Business and Professional Regulation 1940 N. Monroe St., Suite 90A

Tallahassee, Fl. 32399-0772

Standard	Referenced

reference	in code

number	Title	section number

FBC-A– Seventh Edition (2020)	Accessibility. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 101.4.7, 202, 406.4.1, 419.9, 453.10.2.7.7, 457.1.4.1.1,

457.1.4.4.1, 457.1.4.4.2, 466.7.1.1, 467.2.2.2, 467.3.2.1, 907.1.4,

907.5.2.2.4, 907.9, 1003.5.1, 1007.1, 1007.9, 1008.1, 1010.1,

1010.7.1,1011.4, 1012.3, 1012.6, 1022.9, 3001.3

FBC-B– Seventh Edition (2020)	Building . . . . . . . . . . . .101.4.9, 102.1.1, 102.2.2, 102.6.1, 117.1, 449.3.3.2, 449.3.3.4, 449.3.5.1, 449.3.10,

449.3.11.5, 449.4.2.2.5, 449.4.2.6.1.1

450.4.2.6.1.1, 451.3.10.12, 453.5.5.1, 453.5.5.2,

453.8.2, 453.13.7.1, 454.1.4.1, 454.1.4.2.4, 454.1.6.5.16.4.1, 1523.2, 1523.5.1, 1524.1,

1609.1.2.4.1, 1625.4, 2109.1.1, C406.2, C502.1, C602.1.5, E104.2, E201, E305.2, E306 FBC-EC– Sixth Edition (2017)	Energy Conservation . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .101.4.6, 201.3, 202, 1301.1.1

FBC- EB– Seventh Edition (2020)	Existing Building . . . . . . . . . . . . . . . . . . . . . . . . . . . . 101.4.7, 102.6, 202, 449.1.3, 450.1.3, 451.1.3, 3401.1

FBC-FG– Seventh Edition (2020)	Fuel Gas . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .101.4.1, 201.3, 415, 454.2.1.2, 454.2.15, 455.3.7, 456.3.6.1

FBC-M– Seventh Edition (2020)	Mechanical . . . . . . . . . . . . . . . . . . . . . . . . . 101.4.2, 201.3, 307.1.1, 409.3, 411.1, 414.1.7.5, 414.3, 415.9.2,

415.11.11, 416, 454.2.1.2, 460.6.2, 460.7.2, 460.10.2, C502.1, E201 FBC- P– Sixth Edition (2017)	Plumbing . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .101.4.3, 110.3, 201.3, 415.9.3, 449.3.9.1, 450.3.7.2,

451.3.8.1, 452.2.15.1, 454.2.1.2, 454.2.3, 454.2.8.1,

454.2.13.2, 455.3.2.1, 455.4.2, 456.3.1.1, 456.3.2.1, 457.1.4.1.2,

460.6.1, 1503.4, 1503.4.1, 1503.4.2.1, 1514.4.2, 1514.4.3, 1524.1

FBC-R– Seventh Edition (2020)	Residential . . . . . . . . . . . . . . . . . . . . . . . . . . . .101.2, 102.6.1, 105.15, 117.1, 305.2.3, 308.4.2, 308.6.4, 310

FFPC– Seventh Edition (2020)	Florida Fire Prevention Code. . . . . . . . . . . . . . . . . . . . . . 101.4.5, 102.6, 201.3, 202, 307.1, Table 307.1(1),

Table 307.1(2), 403.4.5, 404, 406, 407, 412, 413, 415, 416, 422,

450.3.4.1.3, 453.1, 453.2.1, 453.3.2, 453.3.3,

453.3.5, 453.3.6, 453.4, 453.5.1, 453.5.13, 453.6.1, 453.7.7.1,

453.8.1, 453.8.1.3, 453.8.4, 453.8.5, 453.9.1, 453.10.6, 453.12.2, 453.13.1, 453.14.2,

453.14.2.1, 453.20.4, 453.21.1, 453.22.1, 453.26.1, 453.27.1, 453.27.9.1, 453.27.10.1, 453.27.15.3,

454.2.1.2, 455.4.3, 456.3.4, 457.1.3.1.1, 457.1.4.2.13, 457.1.4.13.2, 451.2.2.1.1, 459.2, 459.2.3,

463.4, 467.3.1, 903.2.11.3.1, Table 1604.5, 3003.3, 3008.1.2, 3008.2, 3601.2, E201

61C-5	Rule 61C, Florida Administrative Code (Bureau of Elevator Safety Regulations)	3001.1

64E	Rule 64E, Florida Administrative Code (Sewage Disposal) . . . . . . . . . . . . . .454.1.1, 454.1.2.1, 454.1.10.3, 457.1.3.2.12, 457.1.4.13, 457.1.4.13.2, 457.2.3, 465.1, 465.4.7, 465.5.1, 465.13.1.1

FS	Florida Statutes. . . . . . . . . . . . . . . .102.2, 102.2.1, 105.1.4, 105.3, 105.3.1.2, 105.3.5, 105.8, 105.9, 105.14,

105.16, 105.17, 107.1, 107.3, 107.3.4.2, 107.6, 110.8.3, 110.8.4.4, 110.8.5,

110.8.6, 117, 202, 307.1, 449.1.1, 449.1.4, 449.2, 449.3, 450.1, 450.1.4, 450.2, 451.1.1,

451.1.4, 451.2, 452.1, 453.1, 453.2.2, 453.3.1, 453.3.2, 453.3.3, 453.3.6, 453.4.3, 453.5.3,

453.8.7, 453.10.2.8., 453.10.7, 453.13.8.1, 453.16.8, 453.25.6, 453.25.6.1, 453.25.6.2,

453.27.4, 453.27.9, 454.1, 454.1.1, 455.1, 455.2, 455.3.1, 455.3.4, 455.4.3, 456.1, 456.2, 456.3.4,

457.1.1, 457.1.2, 457.2, 458.1, 458.2.2, 459.1, 461.1, 463.1, 463.5.2, 464.1, 464.2, 464.3, 464.4.1,

464.4.6.5, 465.1, 467.1, 903.2.11.3.1, 3001.1, 3010.1.1, 3109.2, C501, E102

FBC-TPHVHZ—	Florida Building Code, Test Protocols for High Velocity Hurricane Zones

RAS 109 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1507.14, 1521.18, 1523.6.2.1

RAS 111 . . . . . . . . . . . . . . . . . . . . . . . . . .1503.2.1, 1504.5, 1507.2.9, 1507.2.9.1, 1511.6, 1514.2, 1514.2.1,

1514.2.2, 1514.2.3, 1514.2.4, 1514.2.5.2, 1514.3, 1514.4.1,

1515.2.3.2, 1517.6.1, 1517.6.2.1, 1517.6.2.5, 1518.5.3, 1518.6.2, 1518.7.3.4,

1518.9.5, 1519.8, 1519.10, 1519.13, 1519.16.5, 1523.6.5.2.14, 1525

RAS 113	1518.8.1.1

RAS 115 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1507.1.1, 1507.2, 1518.7, 1518.6.2

RAS 117 . . . . . . . . . . . . . . . . . . . . . . . . 1519.7, 1519.11, 1520.4, 1520.5, 1521.7.1, 1521.14.3, 1523.6.5.2.9

RAS 118 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1518.8.1, 1507.3.2, 1507.3.3, 1507.3.3.1, 1507.3.8, 1507.3.9

RAS 119 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1518.8.1, 1507.3.2, 1507.3.3, 1507.3.3.1, 1507.3.8, 1507.3.9

RAS 120 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1518.8.1, 1507.3.2, 1507.3.3, 1507.3.3.1, 1507.3.8, 1507.3.9

RAS 127 . . . . . . . . . . . . . . . 1518.8.5, 1518.8.6, 1523.6.5.2, 1523.6.5.2.2.2, 1523.6.5.2.2.3, 1523.6.5.2.3.2,

1523.6.5.2.3.3, 1523.6.5.2.6.2, 1525

RAS 128	1525

RAS 130 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1507.8, 1507.9, 1518.10

RAS 133	1518.9.2

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	785

REFERENCED STANDARDS

### Florida Codes—continued

RAS 150 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1519.1, 1525

TAS 100 . . . . . . . . . . . . . . . . . . . . . . . . . . . .1523.6.5, 1523.6.5.1, 1523.6.5.2, 1523.6.5.2.4, 1523.6.5.2.4.1,

1523.6.5.2.5, 1523.6.5.2.6, 1523.6.5.2.7

TAS 100A	1523.6.5.2.13

TAS 101 . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . .1523.6.5.2.2.2 1523.6.2.22, 1523.6.5.2.2.3

TAS 102 . . . . . . . . . . . . . . . . . .1523.6.5.2.3, 1523.6.5.2.3.2, 1523.6.5.2.3.3, 1523.6.5.2.6.2, 1523.6.5.2.6.3

TAS 102A . . . . . . . . . . . . . . . . .1523.6.5.2.3, 1523.6.5.2.3.2, 1523.6.5.2.3.3, 1523.6.5.2.6.2, 1523.6.5.2.6.3 TAS 103	1523.6.5.2.1

TAS 104	1523.6.5.2.1

TAS 105 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1513.1, 1519.7.1, 1521.7, 1521.11

TAS 106 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1512.4.2.4, 1523.6.5.2.2.4, 1523.6.5.2.3.4, 1523.6.5.2.6.4

TAS 107 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1507.2.7.1, 1507.17.8, 1518.11.3, 1523.6.5.1

TAS 108 . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1523.6.5.2.2.1, 1523.6.5.2.2.2, 1523.6.5.2.2.3, 1523.6.5.2.3.1, 1523.6.5.2.3.2, 1523.6.5.2.3.3, 1523.6.5.2.6.1, 1523.6.5.2.6.2, 1523.6.5.2.6.3

TAS 110 . . . . . . . 1515.1.3, 1515.1.4, 1515.2.5, 1520.1, 1520.4, 1523.1.1, 1523.6.2, 1523.6.2.1, 1523.6.3,

1523.6.5.2.4.1, 1523.6.5.2.6, 1523.6.5.2.7, 1523.6.5.2.8, 1523.6.5.2.9,

1523.6.5.2.12, 1523.6.5.2.13.1, 1523.6.5.2.14, 1523.6.5.2.15, 1523.6.5.2.16, 1523.6.5.2.17

TAS 110A	1523.6.5.2.13

TAS 111A	1523.6.5.2.14

TAS 111B	1523.6.5.2.14

TAS 111C	1523.6.5.2.14

TAS 112	1523.6.5.2

TAS 114 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1506.5, 1515.1.1, 1515.2.4,

1517.5.1, 1519.5.1, 1517.5.2, 1520.4, 1523.6.2, 1523.6.2.1, 1523.6.3,

1523.6.5.2.9, 1523.6.5.2.10, 1523.6.5.2.11, 1506.6, 1506.7

TAS 116 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1513.1, 1523.6.5.2.2.1, 1523.6.5.2.3.1, 1523.6.5.2.6.1

TAS 117	1523.6.5.2.9

TAS 121	1523.6.5.2.12

TAS 123 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1518.8.1.1, 1523.6.5.2.15, 1523.6.5.2.17

TAS 123A	1523.6.5.2.16

TAS 124 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1521.10, 1523.6.4

TAS 125 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1504.3.2, 1518.9.1, 1523.6.5.2.4.1

TAS 126	1521.12

TAS 135	1523.6.5.2.6

TAS 201 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .449.4.2.5.1, 450.4.2.5.1, 1609.1.2, 1618.4.6.4,

1626.2.1, 1626.3, 1709.5.1, 2411.3.2.4

TAS 202 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 449.4.2.5.1, 450.4.2.6.1.3, 450.4.2.5.1, 1626.2.1, 1626.3.1,

1709.5.1, 1709.5.2, 1709.9.8, 2411.3.2.1, 2411.3.2.1.1, TAS 203 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .449.4.2.5.1, 450.4.2.5.1, 450.4.2.6.1.3,

1626.2.1, 1626.3.1, 1626.3.4, 1709.5.1, 2411.3.2.4

TAS 301	1515.1.3

FM

Factory Mutual Global Research Standards Laboratories Department 1151 Boston-Providence Turnpike

Norwood, MA 02062

Standard	Referenced

reference	in code

number	Title	section number

4430 (2012)	Approval Standard for Heat and Smoke Vents	910.3.1

4470 (2012)-2016	Approval Standard for Single-Ply Polymer-Modified Bitumen Sheet, Built-Up Roof (BUR) And Liquid Applied Roof Assemblies for use in Class 1 and

Noncombustible Roof Deck Construction . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1504.7, 1515.1.1, 1515.2.4

4471 (1992)	Approval Standard for Class I Panel Roofs	1515.1.1

4474 (2011)	American National Standard for Evaluating the Simulated Wind Uplift Resistance of

Roof Assemblies Using Static Positive and/or Negative Differential Pressures . . . . . .1504.3.1, 1504.3.2 4880-20102015	Approval Standard for Class 1 Fire Rating of Insulated Wall or Wall and Roof/Ceiling Building  Panels, or

Interior Finish Materials or Coatings and Exterior Wall Systems . . . . . . . . . . . . . . . . . . . .2603.4, 2603.9

786	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

FRSAAA

Florida Roofing Sheet Metal and Air Conditioning Contractors Association

4111 Metric Drive

P.O. Box 4850

Winter Park, FL 327923

Standard	Referenced

reference	in code

number	Title	section number

FRSA/TRI April 2012(04–12) September 2018(09–18)	Florida High Wind Concrete and Clay Roof Tile

Installation Manual, Fifth Sixth Edition Revised . . . . . . . . . . . . . . . . . . . . . . . . . . 1507.3.2, 1507.3.3, 1507.3.3.1, 1507.3.7, 1507.3.8, 1507.3.9

(R7366)

FS

Federal Specification

941 Jefferson Davis Highway, Suite 104

Arlington, VA 22202

Standard	Referenced

reference	in code

number	Title	section number

TTC 555B	Test Specification for Wind Driven Rain Infiltration Resistance	1523.6.2.1.1

GA

Gypsum Association

6525 Belcrest Road, Suite 480

Hyattsville, MD 20782

Standard	Referenced

reference	in code

number	Title	section number

GA 216—132016	Application and Finishing of Gypsum Panel Products . . . . . . . . . . . . . . . . . . . . . . . . . Table 2508.1, 2509.2 GA 600—122015	Fire-Resistance Design Manual, 20th21st Edition . . . . . . . . . . . Table 721.1(1), Table 721.1(2), Table 721.1(3)

GSA

General Services Administration 1800 F Street, NW

Washington, DC 20405

Standard	Referenced

reference	in code

number	Title	section number

DD-G-451c (1977)	Standard for Glass, Flat and Corrugated, for Glazing Mirrors and Other Uses	2411.1.2

HPVA

Hardwood Plywood Veneer Association 1825 Michael Faraday Drive

Reston, VA 20190

Standard	Referenced

reference	in code

number	Title	section number

ANSI/HPVA HP-1—20132016	American National Standard for Hardwood and Decorative Plywood . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 2303.3, 2304.7

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	787

REFERENCED STANDARDS

ICC

International Code Council, Inc.

500 New Jersey Ave, NW

6th Floor

Washington, DC 20001

Standard	Referenced

reference	in code

number	Title	section number

ICC A117.1—09	Accessible and Usable Buildings and Facilities . . . . . . . . . . . . . . . . . . . .202, 907.5.2.3.3, 1009.8.2, 1009.9,

1009.11, 1010.1.9.7, 1012.1, 1012.6.5,

1012.10, 1013.4, 1023.9, 1101.2, 1111.2,

1111.3, 1111.4, 1111.4.2

ICC 300—1217	ICC Standard on Bleachers, Folding and Telescopic Seating and Grandstands	1029.1.1

Table 1607.1 ICC 400—1217	Standard on Design and Construction of Log Structures	2301.2

ICC 500	ICC/NSSA Standard on the Design and Construction of

Storm Shelters. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 202, 423.1, 423.3, 423.4, 453.25.4

ICC 600—14	Standard for Residential Construction in High-wind Regions . . . . . . . . . . . . 1609.1.1, 1609.1.1.1, 2308.2.1 SBCCI SSTD 11—97	Test Standard for Determining Wind Resistance of Concrete or Clay Roof Tiles. . . . 1504.2.1.1, 1504.2.1.2

IEEE

Institute of Electrical and Electronics Engineers 2001 L Street, NW, Suite 700

Washington, DC 20036-4910

Standard	Referenced

reference	in code

number	Title	section number

IEEE	Appropriate standards for the type of equipment being protected . . . . . .457.1.4.1.5, 449.3.15.5, 450.3.27.4

IESNA

Illuminating Engineering Society of North America, 120 Wall Street, 17th Floor,

New York, NY 10005-4001

Standard	Referenced

reference	in code

number	Title	section number

ANSI/IESNA RP-28-07	Lighting and the Visual Environment for Senior Living	450.3.15.3

ANSI/IESNA TM-15-11

Addendum A	Backlight, Uplight, and Glare (BUG) Ratings	453.10.3.7.2

(SP7729 A7 only)

ISO

International Organization for Standardization ISO Central Secretariat

1 ch, de la Voie-Creuse, Case Postale 56 CH-1211 Geneva 20, Switzerland

Standard	Referenced

reference	in code

number	Title	section number

ISO 8115—86	Cotton Bales—Dimensions and Density . . . . . . . . . . . . . . . . . . . . . . . . . Table 307.1(1), Table 415.11.1.1.1 ISO 8336—09	Fiber-Cement Flat Sheets - Product Specification and Test Methods . . . . . . . . . . . . . . .1404.10, 1405.16.1,

1405.16.2, Table 2509.2

MHI

Material Handling Institute 8720 Red Oak Blvd. Suite 201

Charlotte, NC 28217

Standard	Referenced

reference	in code

number	Title	section number

ANSI MH29.1—08	Safety Requirements for Industrial Scissors Lifts	3001.2

788	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

MIA

Marble Institute of America 28901 Clemens Road, Suite 100

Cleveland, OH 44145

Standard	Referenced

reference	in code

number	Title	section number

MIA (1998)	Appropriate standards for marble selection, cutting and design . . . . . . . . . . . . . . . . . . . . . . 460.6.4, 460.9.2

NAAMM

National Association of Architectural Metal Manufacturers 800 Roosevelt Road, Bldg. C, Suite 312

Glen Ellyn, IL 60137

Standard	Referenced

reference	in code

number	Title	section number

FP 1001—0717	Guide Specifications for Design of Metal Flag Poles	1609.1.1

NAAMM MBG 531 2017	Metal Grating Manual, 2009	2214.3

(S8110)

NCMA

National Concrete Masonry Association 13750 Sunrise Valley

Herndon, VA 22071-4662

Standard	Referenced

reference	in code

number	Title	section number

TEK 5—84 (1996)	Details for Concrete Masonry Fire Walls . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 721.1(2)

NFPA

National Fire Protection Association 1 Batterymarch Park

Quincy, MA 02169-7471

Standard	Referenced

reference	in code

number	Title	section number

10—1317	Standard for Portable Fire Extinguishers . . . . . . . . . . . . . . . . . . . 449.4.2.10.2, 450.4.2.10.1.1, 450.4.2.10.2,

906.2, 906.3.2, 906.3.4, Table 906.3(1), Table 906.3(2)

11—1015	Standard for Low Expansion Foam	904.7

12—1115 	Standard on Carbon Dioxide Extinguishing Systems Withdraw - Remains 2015 edition . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 904.8, 904.11

12A—0915 	Standard on Halon 1301 Fire Extinguishing Systems Withdraw - Remains 2015 edition(8180 A2 only) 	904.9

13—1316 	Installation of Sprinkler Systems Withdraw - Remains 2016 edition (8180 A2 only) . . . . . . . . . . . . . . . 449.4.2.10.1.1, 	450.4.2.10.1.1, 461.1, 708.2, 903.3.1.1, 903.3.2, 903.3.8.2, 903.3.8.5, 904.11, 905.3.4, 907.6.4, 1019.3

13D—1316 	Standard for the Installation of Sprinkler Systems in One- and Two-family

Dwellings and Manufactured Homes Withdraw - Remains 2016 edition  (8180 A2 only). . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 903.2.11.3, 903.3.1.3

13R—1316 	Standard for the Installation of Sprinkler Systems in

Low Rise Residential Occupancies Withdraw - Remains 2016 edition(8180 A2 only)  . . . . . . . . . . . . . . . . . . . . . . . . 				    903.2.11.3, 903.3.1.2, 903.3.5.2, 903.4

14—1316 	Standard for the Installation of Standpipe and Hose System Withdraw - Remains 2016 edition(8180 A2 only). . . . . . . . . . . . 	905.2, 905.3.4, 905.4.2, 905.6.2, 905.8, 3002.10

16—15 	Standard for the Installation of Foam-water Sprinkler and Foam-water Spray Systems Withdraw -Remains (8180 A2 only). . . . . . 904.7, 904.11

17—1317	Standard for Dry Chemical Extinguishing Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 904.6, 904.11

17A—1317 	Standard for Wet Chemical Extinguishing Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 904.5, 904.11 20—1316	Standard for the Installation of Stationary Pumps for Fire Protection Withdraw - Remains 2016 edition . . . . . . . . . . . . . . 449.3.10, 449.3.20.1, 913.1, 913.2.1, 913.5(8180 A2 only)

30—1218	Flammable and Combustible Liquids Code. . . . . . . . . . . . . . . . . . 415.6, 468.3.6.5, 507.8.1.1.1, 507.8.1.1.2

30A-18	Code for Motor Fuel Dispensing Facilities and Repair Garages

31—1115	Standard for the Installation of Oil-burning Equipment	2113.15

32—1115	Standard for Dry Cleaning Plants	415.9.3

40—1116 	Standard for the Storage and Handling of Cellulose Nitrate Film Withdraw - Remains 2016 edition(8180 A2 only)	409.1

58—14	Liquefied Petroleum Gas Code	415.9.2

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	789

REFERENCED STANDARDS

### NFPA—continued

61—1317	Standard for the Prevention of Fires and Dust Explosions in Agricultural and Food Product Facilities	426.1

70—1417	National Electrical Code (NEC)108.3, 415.11.1.8, 449.4.2.9.1, 450.4.2.9.1, 453.17.8, 453.25.5, 453.25.5.2,

454.1.10.4.2, 457.1.4.1.5, 469.4.14.1, 469.4.14.7.1, 469.4.14,

453.17.8, 904.3.1, 907.6.1, 909.12.2, 909.16.3,

1205.4.1, 2701.1, 2702.1.2, 27.3.3, G501.4, G1001.6,

H106.1, H106.2, K101, K111.1

72—1316 	National Fire Alarm and Signaling Code Withdraw - Remains 2016 edition . . . . . . . . . . . . . . . . . . . . . . . . . . 407.4.4.3, 407.4.4.5, 407.4.4.5.1,

449.3.12, 449.3.12.2, 450.3.16.2, 453.7.7, 466.7.1.1, 466.7.1.2, 466.7.2, 466.10.5.1,

466.10.5.2, 469.4.14.10.1, 901.6, 903.4.1, 904.3.5, 907.2, 907.2.6, 907.2.11,

907.2.13.2, 907.3, 907.3.3, 907.3.4, 907.5.2.1.2, 907.5.2.2,

907.5.2.2.5, 907.6, 907.6.1, 907.6.2, 907.6.6, 907.7, 907.7.1, 907.7.2,

907.2.9.3, 911.1.5, 2702.2.4, 3002.9, 3002.10, 3005.5, 3007.7(8180 A2 only)

74—89	Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment	461.1

80—1316 	Standard for Fire Doors and Other Opening Protectives  Withdraw - Remains 2016 edition. . . . . . 410.3.5, 509.4.2, 716.5, 716.5.7, 716.5.8.1, 716.5.9.2, 716.6, 716.6.4, 1010.1.4.3(8180 A2 only)

82—14	Standard on Incinerators and Waste and Linen Handling Systems and Equipment	713.13

85—15	Boiler and Combustion System Hazards Code	415.8.1

91—04	Exhaust Systems for Air Conveying of Vapors, Gases, Mists, and

Noncombustible Particulate Solids	468.3.6.5

92—15 	Standard for Smoke Control Systems Withdraw - Remains 2015 edition . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .909.7, 909.8(8180 A2 only)

96—04	Standard for Ventilation Control and Fire Protection of Commercial

Cooking Operations	466.6.2

99—1518	Health Care Facilities Code . . . . . . . . . . . . . . . . . . . . . .407.10, 425.1, 449.3.14.1, 449.3.14.4, 449.3.14.10,

449.4.2.9.1, 450.3.9.1, 450.3.14.2, 450.3.18.1, 450.3.18.4,

450.3.19.1, 450.3.21.2, 450.3.26.1, 450.4.2.9.1, 451.3.13.1, 451.3.15, 467.2.8.1,

469.4.11.1.1, 469.4.11.1.2, 469.4.14.1, 469.4.14.7.1, 469.4.14.9.3

101—1518	Life Safety Code . . . . . . .449.3.14.4, 450.3.18.4, 453.6.1, 453.14.2.1, 453.27.9.1, 453.27.10.1, 457.1.3.1.1,

457.1.4.1.1, 457.1.4.2.13, 457.1.4.13.2, 457.2.2.1.1, 457.1.4.13.2,

467.2.2.1, 467.2.2.5, 467.3.1, 467.3.2.1, 467.3.2.2, 469.3.1, 469.3.2,

469.4.14.10.1, 903.2.11.3.1, 1029.6.2

105—1316	Standard for Smoke Door Assemblies and Other Opening Protectives Modified – Consistent with NFPA 1/101 . . . . . . . . . . . . . . .405.4.2, 710.5.2.2, 716.5.3.1, 909.20.4.1 (8180 A2 only)

110—1316  	Standard for Emergency and Standby Power Systems Modified – Consistent with NFPA 1/101. . . 449.3.14.1, 449.3.14.3, 449.3.14.10, 450.3.18.1, 450.3.26.1, 451.3.13.3, 451.3.14.3, 451.3.18.1,467.2.8.1, 469.4.14.9.2, 2702.1.2 (8180 A2 only)

111—1316	Standard on Stored Electrical Energy Emergency and Standby Power Systems Modified – Consistent with. . . . . 469.4.14.9.2, 2702.1.2 (8180 A2 only)

120—15	Standard for Fire Prevention and Control in Coal Mines	426.1

170—1518	Standard for Fire Safety and Emergency Symbols	1025.2.6.1

211—1316	Standard for Chimneys, Fireplaces, Vents and Solid Fuel-burning Appliances Withdraw - Remains 2016 edition	2112.5(8180 A2 only)

221—1518	Standard for High Challenge Fire Walls, Fire Walls, and Fire Barrier Walls	706.2

252—1217	Standard Methods of Fire Tests of Door Assemblies . . . . . . . . . .715.4.2, 715.4.3, 715.4.7.3.1, Table 716.3,

716.3.1, 716.4, 716.5.1, 716.5.3, 716.5.8, 716.5.8.1.1

253—15	Standard Method of Test for Critical Radiant Flux of Floor Covering Systems

Using a Radiant Heat Energy Source . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 406.8.3, 424.2, 804.2, 804.3

257—1217	Standard for Fire Test for Window and Glass Block Assemblies . . . . Table 716.3, 716.4, 716.5.3.2, 716.6,

716.6.1, 716.6.2, 716.6.7.3

259—1318	Standard Test Method for Potential Heat of Building Materials . . . . . . . . . . . . . . . . . 2603.4.1.10, 2603.5.3

262-15	Standard Method of Test for Flame Travel and Smoke of Wires and Cables for Use in Air-Handling Spaces

265—1115	Standard Methods of Fire Tests for Evaluating Room Fire Growth

Contribution of Textile Wall Coverings on Full Height Panels and Walls . . . . . . . . . . 803.1.3, 803.1.3.1

268—1217	Standard Test Method for Determining Ignitability of Exterior

Wall Assemblies Using a Radiant Heat Energy Source . . . . . . . . .1406.2.1.1, 1406.2.1.1.1, 1406.2.1.1.2,

2603.5.7, D105.1

275—1317	Standard Method of Fire Tests for the Evaluation of Thermal Barriers . . . . . . . . . . . . . . . 1407.10.2, 2603.4 276—1115	Standard Method of Fire Tests for Determining the Heat Release Rate of

Roofing Assemblies With Combustible Above-Deck Roofing Components. . 1508.1, 2603.3, 2603.4.1.5

285—1217	Standard Fire Test Method for the Evaluation of Fire Propagation Characteristics of

Exterior Nonload-bearing Wall Assemblies Containing Combustible Components . . . . .718.2.6, 1403.5,

1407.10.4, 1409.10.4,

1510.6.2, 2603.5.5

286—15	Standard Methods of Fire Test for Evaluating Contribution of

Wall and Ceiling Interior Finish to Room Fire Growth . . . . . . . . . .402.6.4.4, 803.1.2, 803.1.2.1, 803.11,

2603.4, 2603.7.2, 2603.9, 2604.2.4, 2614.4

288—1217	Standard Methods of Fire Tests of Horizontal Fire Door Assemblies

Installed in Horizontal in Fire-resistance-rated Floor Systems	712.1.13.1

790	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

### NFPA—continued

289—1318	Standard Method of Fire Test for Individual Fuel Packages . . . . . . . . . . . . . . . . . . . . . . . . . . .402.6.2, 424.2

409—1116	Standard for Aircraft Hangars . . . . . . . . . . . . . . . . . . . . . . . . . . . .412.4.6, Table 412.4.6, 412.4.6.1, 412.6.5

418—1116	Standard for Heliports	412.8.4

48415	Standard for Combustible Metals	426.1

652—16	Standard on the Fundamentals of Combustible Dust Withdraw - Remains 2016 edition(8180 A2 only)

654—1317	Standard for the Prevention of Fire & Dust Explosions from the Manufacturing,

Processing and Handling of Combustible Particulate Solids	426.1

655—1217	Standard for the Prevention of Sulfur Fires and Explosions	426.1

664—1217	Standard for the Prevention of Fires and Explosions in Wood Processing and

Woodworking Facilities	426.1

701—1015	Standard Method of Fire Tests for Flame-Propagation of Textiles and Films . 410.3.6, 424.2, 801.4, 806.1,

806.3, 806.4, 3102.3, 3102.3.1,

3102.6.1.1, 3105.3.4.1, 3105.4, D102.2.8, H106.1.1

704—1217	Standard System for the Identification of the Hazards of

Materials for Emergency Response . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 202, 415.5.2

720—15	Standard for the Installation of Carbon Monoxide (CO) Detection and

Warning Equipment . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .9151.6.1, 915.1.6.2

750—1415	Standard on Water Mist Fire Protection Systems Withdraw - Remains 2015 edition(8180 A2 only)	904.12.1.1

780—1417	Standard for the Installation of Lightning Protection Systems (From alternate language proposal/consistent with NFPA 1, unchanged) . . . . . . . . . . . . . . . . . .449.3.15.1, 450.3.27.1,453.17.7, 2703.1, 2703.3 (8180 A2 only)

790—04	Standard Test Methods for Fire Tests of Roof Coverings—

with Revisions through October 2008 . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1513.1, 2603.6, 2610.2, 2610.3

1124—0617	Code for the Manufacture, Transportation and Storage of Fireworks and

Pyrotechnic Articles	415.6.1.1

2001—15	Standard on Clean Agent Fire Extinguishing Systems Withdraw - Remains 2015 edition (8180 A2 only)	904.10

NSF

NSF International

P.O. Box 130140 789 N. Dixboro Road

Ann Arbor, MI 48113-0140, USA

Standard	Referenced

reference	in code

number	Title	section number

NSF 50—11	Equipment for Pools, Spas, Hot Tubs, and Other Recreational

Water Facilities . . . . . . . . . . . . . . . . . . . . . . . 454.1.1, 454.1.2, 454.1.2.1, 454.1.6.5.16, 454.1.6.5.16.4.2,

454.1.6.5.16.5, 454.1.6.5.16.5.2, 454.1.9.2.5.2, 454.1.9.8.6.1, 454.1.10.3

NSF 60—05	Drinking Water Treatment Chemicals—Health Effects . . . . . . . . . . . . . . . . . . . . . . .454.1.2.1, 454.1.6.5.18

PCI

Precast Prestressed Concrete Institute 200 West Adams Street, Suite 2100

Chicago, IL 60606-6938

Standard	Referenced

reference	in code

number	Title	section number

MNL 124—11	Design for Fire Resistance of Precast Prestressed Concrete	722.2.3.1

MNL 128—01	Recommended Practice for Glass Fiber Reinforced Concrete Panels	1903.3

PTI

Post-Tensioning Institute 38800 Country Club Drive Farmington Hills, MI 48331

Standard	Referenced

reference	in code

number	Title	section number

PTI DC—10.5-12	Standard Requirements for Design and Analysis of Shallow Concrete

Foundations on Expansive Soils	1808.6.2

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	791

REFERENCED STANDARDS

RCSC

Research Council on Structural Connections c/o Stanley D. Lindsey & Assoc. Ltd.

2244 Metro Center Blvd., Suite 208

Nashville, TN 37228-1320

Standard	Referenced

reference	in code

number	Title	section number

RCSC—1409	Specification for Structural Joints Using High Strength Bolts	2214.3

(S8112)

RMI

Rack Manufacturers Institute

8720 Red Oak Boulevard, Suite 201

Charlotte, NC 28217

Standard	Referenced

reference	in code

number	Title	section number

ANSI/MH16.1—12	Specification for Design, Testing and Utilization of Industrial Steel Storage Racks	2209.1

RMI ANSI MH 16.3-2016		Specification for the Design, Testing, and Utilization of Industrial Steel Cantilevered Storage Racks. (S255-16 AM)

SBCA

Structural Building Components Association 6300 Enterprise Lane

Madison, WI 53719

Standard	Referenced

reference	in code

number	Title	section number

ANSI/FS 100-12	Standard Requirements for Wind Pressure Resistance of Foam Plastic Insulating

Sheathing Used in Exterior Wall Covering Assemblies	2603.10

SDI

Steel Deck Institute

P. O. Box 25

Fox River Grove, IL 60021

Standard	Referenced

reference	in code

number	Title	section number

ANSI/SDI NC1.0—102017	Standard for Noncomposite Steel Floor Deck	2210.1.1.1

(S8099-R1)

ANSI/SDI RD1.0—102017	Standard for Steel Roof Deck	2210.1.1.2

(S8099-R1)

DDM—0304	Diaphragm Design Manual. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .2214.3, 2222.4

(S8099-R1)

ANSI/SDI-C—20112017	Standard for Composite Steel Floor Deck Slabs	2210.1.1.3

(S8099-R1)

ANSI/SDI-QA/QC—20112017	Standard for Quality Control and Quality Assurance for Installation of Steel Deck	1705.2.2

(S8099-R1)

792	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

SJI

Steel Joist Institute 234 W. Cheves Street Florence, SC 29501

Standard	Referenced

reference	in code

number	Title	section number

100-15	Standard Specification for K-Series, LH-Series, and DLH-Series Open Web Steel Joists and for Joist Girders, 2015 	1604.3.3, 2203.2, 2207.1

(S70-16)(S8113 A2 + A3)

CJ—10SJI-200-16 SJI-200-15	Standard Specification for Composite Steel Joists, CJ-series . . . . . . . . . . . . . . . . . 1604.3.3, 2203.2, 2207.1

(As modified by Public Comment 11) (S8113 A2 + A3)

JG—10	Standard Specification for Joist Girders . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1604.3.3, 2203.2, 2207.1(S8113 A2 + A3)

K—10	Standard Specification for Open Web Steel Joists, K-series . . . . . . . . . . . . . . . . . . 1604.3.3, 2203.2, 2207.1 (S8113 A2 + A3)

LH/DLH—10	Standard Specification for Longspan Steel Joists, LH-series

and Deep Longspan Steel Joists, DLH-series . . . . . . . . . . . . . . . . . . . . . . . . . . . 1604.3.3, 2203.2, 2207.1(S8113 A2 + A3)

SJI—07	Structural Design of Steel Joist Roofs to Resist Ponding Loads, Technical Digest No. 3	2214.3

SJI—15	Vibration of Steel Joist-Concrete Slab Floors, Technical Digest No. 5	2214.3

SJI—12	Design of Steel Joist Roofs to Resist Uplift Loads, Technical Digest No. 6	2214.3

SJI—08	Welding of Open Web Steel Joist and Joist Girders, Technical Digest No. 8	2214.3

SJI—08	Handling and Erection of Steel Joists and Joist Girders, Technical Digest No. 9	2214.3

SJI—1017	43rd 44THEdition Standard Specifications and Load Tables and Weight Tables for Steel

Joists and Joist Girders which includes Errata No. 1 and No. 2	2214.3

(S8113 A2 + A3)

SJI—1318	85 90 Years of Open Web Steel Joist Construction	2214.3

(S8113 A2 + A3)

SJI-07	Design of Lateral Load Resisting Frames Using Steel Joists and

Joist Girders, Technical Digest No. 11	2214.3

SPRI

Single-Ply Roofing Institute

411 Waverly Oaks Road, Suite 331B Waltham, MA 02452

Standard	Referenced

reference	in code

number	Title	section number

ANSI/SPRI/

FM4435-ES-1—11	Wind Design Standard for Edge Systems Used with Low Slope Roofing Systems	1504.5

ANSI/SPRI RP-4—13	Wind Design Guide for Ballasted Single-ply Roofing Systems	1504.4

ANSI/SPRI VF1—10	External Fire Design Standard for Vegetative Roofs	1505.10

TCNA

Standard	Referenced

reference	in code

number	Title	section number

A108.1A-16	Installation of Ceramic Tile in the Wet-set Method, with Portland Cement Mortar

A118.1-16	American National Standard Specification for Dry-Set Cement Mortar

A118.3-13	American National Standard Specifications for Chemical Resistant, Water Cleanable Tile- setting and -grouting 	Epoxy and Water Cleanable Tile-setting Epoxy Adhesive

A118.4-16	American National Standard Specifications for  Modified Dry-Set Cement Mortar

A118.6-10	American National Standard Specifications for Standard Cement Grouts for Tile Installation

A136.1-08			American National Standard Specifications for Organic Adhesives for Installation of Ceramic Tile

A137.1-17			Standard Specifications for Ceramic Tile

TECO

Timber Company, Inc. 2402 Daniels Street

Madison, WI 53704

Standard	Referenced

reference	in code

number	Title	section number

TECO PRP-133	Performance Standards and Policies for Structural Use Panels	2314.4.8

TIA

Telecommunications Industry Association 1320 N. Courthouse Road

Arlington, VA 22201-3834

Standard	Referenced

reference	in code

number	Title	section number

222-GH—052016	Structural Standards for Antenna Supporting Structures and Antennas, including—Addendum 1, 222-G-1, Dated 2007, Addendum 2, 222-G-2 Dated 2009

Addendum 3, 222-3 dated 2013 and Addendum 4, 222-G-4 dated 2014 . . . . . . . . . . . . . . . . . . .1609.1.1,

3108.1, 3108.2

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	793

REFERENCED STANDARDS

TMS

The Masonry Society

105 South Sunset Street, Suite Q Longmont, CO 80501

Standard	Referenced

reference	in code

number	Title	section number

216—2013	Standard Method for Determining Fire Resistance of Concrete

and Masonry Construction Assemblies . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 721.1(2), 722.1 302—2012	Standard Method for Determining the Sound Transmission Class Rating for Masonry Walls	1207.2.1

402—2016	Building Code for Masonry Structures. . . . . . . . . . . . . . . . . 1405.6, 1405.6.1, 1405.6.2, 1405.10, 1604.3.4,

1705.4, 1705.4.1, 1807.1.6.3, 1807.1.6.3.2, 1808.9

2101.2, 2106.1, 2107.1, 2107.2, 2107.3, 2107.4,

2108.1, 2108.2, 2108.3, 2109.1, 2109.1.1, 2109.2, 2109.2.1, 2109.3, 2110.1, 2114.2,

2122.1, 2122.4, 2122.5, 2122.7, 2122.8.2, 2122.8.4, 2122.10

403—20132017	Direct Design Handbook for Masonry Structures	2101.2

TMS 404-16 –                                    Standard for the Design of Architectural Cast Stone

(S7419)

TMS 504-16 – 	Standard for the Fabrication of Architectural Cast Stone

(S7419)

TMS 604-16 – 	Standard for the Installation of Architectural Cast Stone

(S7419)

602—2016	Specification for Masonry Structures . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1405.6.1, 1705.4, 1807.1.6.3,

2103.1, 2103.2.1, 2103.3, 2103.4, 2104.1, 2105.1, 2122.1, 2122.2.3, 2122.4,

2122.7.4, 2122.8.1, 2122.8.2, 2122.8.3, 2122.8.4, 2122.8.6, 2122.8.8

TPI

Truss Plate Institute

218 N. Lee Street, Suite 312

Alexandria, VA 22314

Standard	Referenced

reference	in code

number	Title	section number

TPI 1—2014	National Design Standard for Metal-plate-connected Wood Truss Construction . . . . . . . .2303.4.6, 2306.1,

2319.17.2.1.1, 2319.17.2.2.8

UL

UL LLC

333 Pfingsten Road

Northbrook, IL 60062-2096

Standard	Referenced

reference	in code

number	Title	section number

9—2009	Fire Tests of Window Assemblies with revisions through February 2015 . . .715.5.2, 716.3.2, 716.4, 716.5.3.2, 	716.6, 716.6.1, 716.6.2, 716.6.8.1

10A—2009	Tin Clad Fire Doors –with revisions through December 2013	716.5

10B—2008	Fire Tests of Door Assemblies—with Revisions through April 2009February 2015	716.5.2

10C—2009	Positive Pressure Fire Tests of Door Assemblies with revisions through February 2015. . . . . . . . . . . . . . . . . . . . . . 	. 716.5.1, 716.5.3, 1010.1.10.1

14B—2008	Sliding Hardware for Standard Horizontally mounted Tin Clad Fire Doors—

with Revisions through May 3, 2013	716.5

14C—06	Swinging Hardware for Standard Tin Clad Fire Doors Mounted Singly and in Pairs—

with Revisions through May 2013	716.5

55A—04	Materials for Built-Up Roof Coverings	1507.10.2

103—2010	Factory-built Chimneys, for Residential Type and Building Heating Appliances—

with Revisions through July 2012	718.2.5.1

127—2011	Factory-built Fireplaces –with revisions through May 2015. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 	. . . . . .718.2.5.1, 2111.11

181—05	Standard for Factory-Made Air Ducts and Air Connectors . . . 449.3.6.4, 451.3.6.3.1, 451.3.6.3.4, 454.3.6.3

199E—04	Outline of Investigation for Fire Testing of Sprinklers and

Water Spray Nozzles for Protection of Deep Fat Fryers	904.11.4.1

217—06	Single and Multiple Station Smoke Alarms—with Revisions through April 2012Ocober 2015	907.2.11

263—11	Standard for Fire Tests of Building Construction and Materials –with revisions through June 2015. . . . .703.2, 									703.2.1, 703.2.3, 703.3, 703.4,

703.6, 704.12, 705.7, 705.8.5, 707.7, 711.3.2, 714.3.1,

714.4.1.1, 715.1, 716.2, Table 716.3, 716.5.6, 716.5.8.1.1,

716.7.1, 717.5.2, 717.5.3, 717.6.2.1, Table 721.1(1),

1407.10.2, 2103.1, 2603.4, 2603.5.1

268—09	Smoke Detectors for Fire Alarm Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 407.8, 907.2.6.2, 907.2.11.7

294—1999	Access Control System Units—with Revisions through September 2010 February 2015

1010.1.9.6, 1010.1.9.8, 1010.1.9.9

300—05(R2010)	Fire Testing of Fire Extinguishing Systems for Protection of

Commercial Cooking Equipment—with Revisions through July 16, 2010December 2014	904.11

794	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

### UL—continued

300A—06	Outline of Investigation for Extinguishing System Units for Residential Range

Top Cooking Surfaces . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .407.2.6, 904.13

305—2012	Panic Hardware-with revisions through August 2014	1010.1.10.1

325—02	Door, Drapery, Gate, Louver and Window Operations and Systems—

with Revisions through June 2013May 2015 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .406.3.6, 3110.4

555—2006	Fire Dampers—with Revisions through May 20122014	717.3

555C—2006	Ceiling Dampers—with Revisions through May 2010December 2014	717.3

555S—99	Smoke Dampers—with Revisions through May 2012February 2014. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 	.717.3, 717.3.1

580—2006	Test for Uplift Resistance of Roof Assemblies—with Revisions through July 2009October 2013 . . . . 	1504.3.1, 1504.3.2

641—2010	Type L Low-temperature Venting Systems—with Revisions through May 2013June 2013	2113.11.1.4

710B—2011	Recirculating Systems with revisions through August 2014	904.11

723—2008	Standard for Test for Surface Burning Characteristics of

Building Materials—with Revisions through September 2010August 2013 . . . . . . . . . . . . . . . . . . . . . . 202, 										402.6.4.4,

406.7.2, 703.5.2, 720.1, 720.4, 803.1.1,

803.1.4, 803.10, 803.11, 806.7, 1404.12.1, 1407.9, 1407.10.1,

1409.9, 1409.10.1, 1510.6.2, 1510.6.3, 2303.2, 2603.3,

2603.4.1.13, 2606.3.5.4, 2603.7.1, 2603.7.2, 2603.7.3,

2604.2.4, 2606.4, 2612.3, 2614.3, 3105.3.4.1, 3105.4

790—04	Standard Test Methods for Fire Tests of Roof Coverings—

with Revisions through October 2008 July 2014. . . . . . . . . . . . . . . 1505.1, 1513.1, 1516.1, 2603.6, 2610.2, 2610.3

793—08	Standards for Automatically Operated Roof Vents for Smoke and Heat—

with Revisions through September 2011 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 406.8.5.1.1, 910.3.1

864—03	Standards for Control Units and Accessories for Fire Alarm Systems—

with Revisions through August 2012December 2014. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .421.6.2, 909.12

924—06	Standard for Safety Emergency Lighting and Power Equipment—

with Revisions through February 2011April 2014	1013.5

1040—96	Fire Test of Insulated Wall Construction—

with Revisions through October 2012 . . . . . . . . . . . . . . . . . . . . . . . 1407.10.3, 1409.10.3, 2603.4, 2603.9

1069-07	Hospital Signaling and Nurse Call Equipment, 7th Edition . . . . . . . . . . . 450.3.17, 450.3.25, 451.3.11.1 1256—02	Fire Test of Roof Deck Construction—

with Revisions through January 2007 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1508.1, 2603.3, 2603.4.1.5

1479—03	Fire Tests of Through-penetration Firestops—

with Revisions through October 2012June 2015 . . . . . . . . . . . . . . . . . . . 202, 714.3.1.2, 714.3.2, 	714.4.1.2, 714.4.4

1482—2011	Solid-Fuel-type Room Heaters-with revisions through August 2015. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 	. . . . . . . . . . . . . . . . . 2112.2, 2112.5

1703—02	Flat-Plate Photovoltaic Modules and Panels—

with Revisions through November 2014 October 2015. . . . . . . . . . .1505.9, 1507.17.1, 1507.17.6, 1509.7.4, 1518.11.1

1715—97	Fire Test of Interior Finish Material—

with Revisions through January 2013 . . . . . . . .1407.10.3, 1409.10.2, 1409.10.3, 2603.4, 2603.9, 2614.4

1777—2007	Chimney Liners—with Revisions through July 2009 October 2015. . . . . . . . . . . . . . . . . . . . . . . . . . . 	.2113.11.1, 2113.19

1784—01	Air Leakage Tests of Door Assemblies—

with Revisions through July 2009February 2015 . . . . . . . . . . . . . . . . . . . . . 710.5.2.2, 710.5.2.2.1, 								716.5.3.1, 716.5.7.1,

716.5.7.3, 3006.3, 3007.6.3, 3008.6.3

1897—12	Uplift Tests for Roof Covering Systems –with revisions through September 2015	1504.3.1

1975—06	Fire Test of Foamed Plastics Used for Decorative Purposes . . . . . . . . . . . . . . . . . 402.6.2, 402.6.4.5, 424.2

1994—04	Luminous Egress Path Marking Systems—

with Revisions through November 2010May 2015 . . . . . . . . . . . . . . . . 411.7, 1025.2.1, 1025.2.3, 1025.2.4, 1025.4

2017—2008	Standards for General-purpose Signaling Devices and Systems—

with Revisions through May 2011 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 406.8.5.1.1, 454.2.17.1.9

2034—2008	Standard for Single- and Multiple-Station Carbon Monoxide Alarm—

with Revisions through February 2009March 2015 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 				915.4.2, 915.4.3

2075—2013	Standard for Gas and Vapor Detectors and Sensors . . . . . . . . . . . . . . 421.6.2, 406.8.5.1.1, 915.5.1, 915.5.3

2079—04	Tests for Fire Resistance of Building Joint Systems—

with Revisions through December 2012August 2015 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 202, 715.3, 715.6

2196—2001	Tests for Fire Resistive Cables—with Revisions through March 2012. . . . . . . . . . . . . . . . . .913.2.2, 2702.3

2200—2012	Stationary Engine Generator Assemblies—with Revisions through June 2013July 2015	2702.1.1

UL2202-09 (2012)			Standard for Electric Vehicle (EV) Charging System Equipment, 2013, UL LLC, 333 Pfingsten Road, 					Northbrook, IL 60062.

(G95-15)

UL2594-13			- Standard for Electric Vehicle Supply Equipment, 2013, UL LLC, 333 Pfingsten Road, Northbrook, 					IL 60062.

UL 2703-14			Mounting Systems, Mounting Devices, Clamping/Retention Devices, and Ground Lugs for Use with FlatPlate Photovoltaic Modules and Panel

(F7703)

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)	795

REFERENCED STANDARDS

ULC

Underwriters Laboratories of Canada 7 Underwriters Road

Toronto, Ontario, Canada M1R3B4

Standard	Referenced

reference	in code

number	Title	section number

CAN/ULC S 102.2—2010	Standard Method of Test for Surface Burning Characteristics of Flooring,

Floor Coverings and Miscellaneous Materials and Assemblies—with 2000 Revisions	720.4

USC

United States Code

c/o Superintendent of Documents

U.S. Government Printing Office 732 North Capitol Street NW Washington, DC 20401

Standard	Referenced

reference	in code

number	Title	section number

18 USC Part 1, Ch.40	Importation, Manufacture, Distribution and Storage of Explosive Materials	202

WCLIB

West Coast Lumber Inspection Bureau

P. O. Box 23145 Portland, OR 97281

Standard	Referenced

reference	in code

number	Title	section number

AITC Technical

Note 7—96	Calculation of Fire Resistance of Glued Laminated Timbers	722.6.3.3

AITC 104—03	Typical Construction Details	2306.1

AITC 110—01	Standard Appearance Grades for Structural Glued Laminated Timber	2306.1

AITC 113—10	Standard for Dimensions of Structural Glued Laminated Timber	2306.1

AITC 117—10	Standard Specifications for Structural Glued Laminated Timber of Softwood Species	2306.1

AITC 119—96	Standard Specifications for Structural Glued Laminated Timber of Hardwood Species	2306.1

AITC 200—09	Manufacturing Quality Control Systems Manual for Structural Glued Laminated Timber	2306.1

WDMA

Window and Door Manufacturers Association 2025 M Street, NW Suite 800

Washington, DC 20036-3309

Standard	Referenced

reference	in code

number	Title	section number

AAMA/WDMA/CSA

101/I.S.2/A440—1116	Specifications for Windows, Doors and Unit Skylights . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1709.5.1, 2405.5

WRI

Wire Reinforcement Institute, Inc. 942 Main Street, Suite 300

Hartford, CT 06103

Standard	Referenced

reference	in code

number	Title	section number

WRI/CRSI—81	Design of Slab-on-ground Foundations—with 1996 Update	1808.6.2

796	FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)

REFERENCED STANDARDS

WSTI

Steel Tube Institute

2516 Waukegan Road, Suite 172

Glenview, IL 60025

Standard	Referenced

reference	in code

number	Title	section number

STI (2015)	HSS Design Manual	2214.3

(S8114)

HSS Design Manual, Volume 1:  Section Properties & Design Information, 2015

(S8114)

HSS Design Manual, Volume 2:  Member Design, 2016

(S8114)

HSS Design Manual, Volume 3:  Connections at HSS Members, 2016

(S8114)

HSS Design Manual, Volume 4:  Truss & Bracing Connections, 2017

(S8114)

FLORIDA BUILDING CODE — BUILDING, 6th EDITION (2017)