Page 1 of 5

5/31/2019

Code Administration

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    13

Approved as Submitted

TAC Recommendation

Total Mods for    Code Administration in    Approved as Submitted

TAC:

Code Administration

9

SubCode:

Building

Ü

1-Scope and Administration

Mod #

7697

Proponent

George Wiggins (BOAF)

110.1

Section

1

Chapter

Approved as Submitted

Editorial change to clarify text relating to exposing and providing access to all work for inspection purposes

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7834

Proponent

Paul Coats

107.2.5

Section

1

Chapter

Approved as Submitted

Requires construction documents to contain details of impervious moisture barrier systems used to protect structural elements in balconies or elevated walking surfaces that are exposed to the weather.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7838

Proponent

Paul Coats

110.3

Section

1

Chapter

Approved as Submitted

Requires the inspection of impervious moisture barrier systems for balconies and elevated walking surfaces before they are concealed.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Existing Building

Ü

2-Definitions

Page 2 of 5

5/31/2019

Code Administration

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    13

Total Mods for    Code Administration in    Approved as Submitted

TAC:

Code Administration

9

Mod #

7690

Proponent

George Wiggins (BOAF)

202

Section

2

Chapter

Approved as Submitted

Clarifies definition of &quot;Change of Occupancy&quot; for ease of understanding in a new bulleted format

Summary

AS

AM

NAR

I

W

Commission Action

3-Provisions for All Compliance Methods

Mod #

8167

Proponent

Ann Russo4

301.1

Section

3

Chapter

Approved as Submitted

This proposal retains the exception that allows the code official to waive certain architectural and other requirements that the FEBC would normally trigger in alteration projects. It removes that exception, however, regarding structural provisions.

Summary

AS

AM

NAR

I

W

Commission Action

4-Prescriptive Compliance Method

Mod #

8211

Proponent

Ann Russo4

301.1

Section

4

Chapter

Approved as Submitted

The purpose of this modification to remove the topic of repair from the three compliance methods and to move repair into one standalone chapter

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8225

Proponent

Ann Russo4

401.2.1

Section

4

Chapter

Approved as Submitted

Deletes &quot;Existing [Building} Materials&quot; and &quot;New and replacement Material sections from Chapter 4 ad 6 which have been inserted in Chapter 3

Summary

AS

AM

NAR

I

W

Commission Action

Page 3 of 5

5/31/2019

Code Administration

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    13

Total Mods for    Code Administration in    Approved as Submitted

TAC:

Code Administration

9

Mod #

8374

Proponent

Ann Russo8

401

Section

4

Chapter

Approved as Submitted

EB14-15 &amp; EB26-15 Combined per Mo Madani.    Replaces the word &quot;maintaining&quot; with &quot;restoring,&quot; to avoid confusion. Replaces the phrase &quot;good or sound&quot; (removed elsewhere in past cycles) with &quot;pre-damage,&quot; as used elsewhere in Chapters 4 and 6. etc.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Residential

Ü

2-Definitions

Mod #

7691

Proponent

George Wiggins (BOAF)

202

Section

2

Chapter

Approved as Submitted

Modification of &quot;Labeled&quot; by adding same terms as in current Building Code

Summary

AS

AM

NAR

I

W

Commission Action

No Affirmative Recommendation

TAC Recommendation

Total Mods for    Code Administration in    No Affirmative Recommendation

TAC:

Code Administration

2

SubCode:

Building

Ü

1-Scope and Administration

Mod #

7224

Proponent

Sean Guthrie

105.3.1.2

Section

1

Chapter

No Affirmative Recommendation

Change threshold for fire detection and alarm plans to require engineers&#39; seal

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Existing Building

Ü

14-Performance Compliance Methods

Page 4 of 5

5/31/2019

Code Administration

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    13

Total Mods for    Code Administration in    No Affirmative Recommendation

TAC:

Code Administration

2

Mod #

7447

Proponent

Richard Schauland

1401.2.5

Section

14

Chapter

No Affirmative Recommendation

Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.

Summary

AS

AM

NAR

I

W

Commission Action

Withdrawn

TAC Recommendation

Total Mods for    Code Administration in    Withdrawn

TAC:

Code Administration

2

SubCode:

Existing Building

Ü

3-Provisions for All Compliance Methods

Mod #

8162

Proponent

Ann Russo4

301.1

Section

3

Chapter

Withdrawn

This modification simply provides all the relevant references to the flood provisions found in the FEBC. This is a more comprehensive approach that will better address all methods in the FEBC

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8389

Proponent

Ann Russo8

301.1

Section

3

Chapter

Withdrawn

This exception refers only the work area method for alterations in flood hazard areas. The prescriptive and performance methods have provisions similar to Section 701.3, so this exception should also refer to them.

Summary

AS

AM

NAR

I

W

Commission Action

Search Criteria

Page 5 of 5

5/31/2019

Code Administration

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    13

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

CA

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived: