Page 1 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Approved as Modified

TAC Recommendation

Total Mods for    Energy in    Approved as Modified

TAC:

Energy

5

SubCode:

Energy Conservation

Ü

10-Appendix RD

Mod #

7652

Proponent

Jeff Sonne for FSEC

1

Section

10

Chapter

Approved as Modified

Replace existing Form R402 (prescriptive R-value computation compliance report) with new Form R402.

Summary

AS

AM

NAR

I

W

Commission Action

2-[CE] - Definitions

Mod #

7892

Proponent

Amanda Hickman

1

Section

2

Chapter

Approved as Modified

Adds definitions related to fan energy index to CE Chapter 2.

Summary

AS

AM

NAR

I

W

Commission Action

4-[CE] - Commercial Energy Efficiency

Mod #

7752

Proponent

Roger LeBrun

402.4

Section

4

Chapter

Approved as Modified

Clarification of allowable skylight area when daylight responsive controls and minimum skylight area provisions simultaneously apply.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7984

Proponent

Jeff Sonne for FSEC

404.2

Section

4

Chapter

Approved as Modified

Updates Table C404.2 Minimum Performance of Water Heating Equipment to current federal standard.

Summary

AS

AM

NAR

I

W

Commission Action

Page 2 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Modified

TAC:

Energy

5

Mod #

8025

Proponent

Bereket Nigusse

403.2.3

Section

4

Chapter

Approved as Modified

Updates Table C403.2.3(9) Air Conditioners and Condensing Units Serving Computer Rooms

Summary

AS

AM

NAR

I

W

Commission Action

Approved as Submitted

TAC Recommendation

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

SubCode:

Energy Conservation

Ü

7-Forms

Mod #

7332

Proponent

Bryan Holland

101

Section

7

Chapter

Approved as Submitted

This proposed modification adds Appendix CB for &quot;Solar-Ready Zone - Commercial&quot; provisions.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8366

Proponent

Jeff Sonne for FSEC

1

Section

7

Chapter

Approved as Submitted

Provide a Commercial Energy Conservation Code Documentation Checklist in Appendix CA.

Summary

AS

AM

NAR

I

W

Commission Action

10-Appendix RD

Page 3 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7677

Proponent

Jeff Sonne for FSEC

1

Section

10

Chapter

Approved as Submitted

Add Duct Leakage Test Report to Appendix RD.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8074

Proponent

Jeff Sonne for FSEC

1

Section

10

Chapter

Approved as Submitted

Provide a Residential Energy Conservation Code Documentation Checklist in Appendix RD.

Summary

AS

AM

NAR

I

W

Commission Action

2-[CE] - Definitions

Mod #

7236

Proponent

Bryan Holland

202

Section

2

Chapter

Approved as Submitted

This proposed modification revises the definition of &quot;nameplate horsepower&quot; to correlate with the 2018 IECC and related industry standards.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7237

Proponent

Bryan Holland

202

Section

2

Chapter

Approved as Submitted

This proposed modification deletes the term &quot;screw lamp holders&quot; as it is not used in the FBC-Energy nor the IECC or ASHRAE Standard 90.1.

Summary

AS

AM

NAR

I

W

Commission Action

Page 4 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7240

Proponent

Bryan Holland

202

Section

2

Chapter

Approved as Submitted

This proposed modification adds, revises, and deletes several electrically-related definitions from the FBC-Energy to harmonize the code the 2018 IECC and other industry standards.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7884

Proponent

Amanda Hickman

1

Section

2

Chapter

Approved as Submitted

This modification deletes the definition of fan efficiency grade.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8256

Proponent

John Woestman

202

Section

2

Chapter

Approved as Submitted

Propose definition of cavity insulation.

Summary

AS

AM

NAR

I

W

Commission Action

2-[RE] - Definitions

Mod #

7203

Proponent

Bryan Holland

202

Section

2

Chapter

Approved as Submitted

This proposed modification deletes the definition of &quot;high-efficacy lamps&quot; from the code in coordination with a proposed modification to R404.1

Summary

AS

AM

NAR

I

W

Commission Action

Page 5 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7241

Proponent

Bryan Holland

202

Section

2

Chapter

Approved as Submitted

This proposed modification revises the terms &quot;approved agency&quot; and &quot;labeled&quot; to reflect industry practices and proper use in the code.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7796

Proponent

Joseph Belcher for FHBA

202

Section

2

Chapter

Approved as Submitted

The change clarifies the definition of Building Thermal Envelope

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7823

Proponent

Roger LeBrun

202

Section

2

Chapter

Approved as Submitted

Update definition of Skylight for consistency with other codes that were modified in the 2018 IECC.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8257

Proponent

John Woestman

202

Section

2

Chapter

Approved as Submitted

Propose definition of cavity insulation.

Summary

AS

AM

NAR

I

W

Commission Action

3-[CE] - General Requirements

Page 6 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7924

Proponent

Joseph Hetzel

303.1.3

Section

3

Chapter

Approved as Submitted

Inclusion of rolling doors in U-factor ratings determination language, and reformatting the fenestration product rating language.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7930

Proponent

Joseph Hetzel

303.1.3

Section

3

Chapter

Approved as Submitted

Clarifying the Default Door U-factor table as applying to opaque doors, and including a value for insulated rolling doors.

Summary

AS

AM

NAR

I

W

Commission Action

3-[RE] - General Requirements

Mod #

7939

Proponent

Joseph Hetzel

303.1.3

Section

3

Chapter

Approved as Submitted

Reformat the fenestration product rating language.

Summary

AS

AM

NAR

I

W

Commission Action

4-[CE] - Commercial Energy Efficiency

Mod #

7195

Proponent

Gary Kozan

404.4

Section

4

Chapter

Approved as Submitted

Revises service water heating piping insulation to conform to the requirements of ASHRAE 90.1-2016.

Summary

AS

AM

NAR

I

W

Commission Action

Page 7 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7239

Proponent

Bryan Holland

405.1

Section

4

Chapter

Approved as Submitted

This proposed modification is mostly editorial to add clarity to the rules for lighting in dwelling units and coolers/freezers.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7244

Proponent

Bryan Holland

402.4

Section

4

Chapter

Approved as Submitted

This proposed modification makes minor editorial revision to the terms used for daylight zones, provides a pointer to requirements for daylight responsive controls, and increases the skylight area an additional 1% where DRC is provided.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7245

Proponent

Bryan Holland

405.2

Section

4

Chapter

Approved as Submitted

This proposed modification brings in rules for &quot;luminaire level lighting controls&quot; as an option for meeting the requirements of the code.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7246

Proponent

Bryan Holland

405.2.1

Section

4

Chapter

Approved as Submitted

This proposed modification updates all the requirements related to occupant sensor controls to harmonize the FBC-Energy with the 2018 IECC and ASHRAE Standard 90.1.

Summary

AS

AM

NAR

I

W

Commission Action

Page 8 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7313

Proponent

Bryan Holland

405.2.2

Section

4

Chapter

Approved as Submitted

This proposed modification makes minor editorial revisions to the rules related to time-switch controls.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7315

Proponent

Bryan Holland

405.2.2.3

Section

4

Chapter

Approved as Submitted

This proposed modification moves the rules for manual controls to C405.2.5 and makes other minor editorial revisions.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7317

Proponent

Bryan Holland

405.2.3

Section

4

Chapter

Approved as Submitted

This proposed modification is mostly an editorial update to match the FBC-Energy to the 2018 IECC for the rules related to daylight-responsive controls.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7318

Proponent

Bryan Holland

405.2.4

Section

4

Chapter

Approved as Submitted

This proposed modification is an editorial revision to the rules related to specific application controls.

Summary

AS

AM

NAR

I

W

Commission Action

Page 9 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7325

Proponent

Bryan Holland

405.4

Section

4

Chapter

Approved as Submitted

This proposed modification revises the several of the rules and tables for interior lighting power requirements.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7326

Proponent

Bryan Holland

405.5

Section

4

Chapter

Approved as Submitted

This proposed modification revises the rules and tables for exterior lighting power requirements.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7328

Proponent

Bryan Holland

405.7

Section

4

Chapter

Approved as Submitted

This proposed modification is an editorial revision to the Section on transformers to match the terms used in the associated Table.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7329

Proponent

Bryan Holland

405.9.2

Section

4

Chapter

Approved as Submitted

This proposed modification adds an exception to the speed control rules for escalators and moving walks.

Summary

AS

AM

NAR

I

W

Commission Action

Page 10 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7499

Proponent

Bereket Nigusse

402.4.1.2

Section

4

Chapter

Approved as Submitted

Increases the Skylights area percentage allowed with daylight response control from 5% to 6%.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7503

Proponent

Bereket Nigusse

405.2.5.3

Section

4

Chapter

Approved as Submitted

Exterior lighting control device shall automatically reduce the connected lighting power by at least 50% when there is no activity. While this proposal is a new code section already approved by the the Energy TAC, this modification is required to make it equivalent to ASHRAE 90.1-2016.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7533

Proponent

Bereket Nigusse

403.2.4.2.3

Section

4

Chapter

Approved as Submitted

Add optimum start capability to individual HVAC off-hours control

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7882

Proponent

Amanda Hickman

407.5.1

Section

4

Chapter

Approved as Submitted

This modification adds an exception to Table C407.5.1(1)

Summary

AS

AM

NAR

I

W

Commission Action

Page 11 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7886

Proponent

Amanda Hickman

403.2.12.3

Section

4

Chapter

Approved as Submitted

This modification deletes section C403.2.12.3 Fan Efficiency.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7898

Proponent

Joseph Hetzel

402.5.6

Section

4

Chapter

Approved as Submitted

Clarifies loading dock weatherseal provisions.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7904

Proponent

Joseph Hetzel

402.1.4

Section

4

Chapter

Approved as Submitted

Include garage door maximum U-factors.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7934

Proponent

Joseph Hetzel

402.5.2

Section

4

Chapter

Approved as Submitted

Adds an air leakage requirement for power-operated sliding doors and power-operated folding doors.

Summary

AS

AM

NAR

I

W

Commission Action

Page 12 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7990

Proponent

Jeff Sonne for FSEC

403.2.3

Section

4

Chapter

Approved as Submitted

Updated Table C403.2.3(3) ELECTRICALLY OPERATED PACKAGED TERMINAL AIR CONDITIONERS, PACKAGED TERMINAL HEAT PUMPS, SINGLE-PACKAGE VERTICAL AIR CONDITIONERS, SINGLE VERTICAL HEAT PUMPS, ROOM AIR CONDITIONERS AND ROOM AIR-CONDITIONER HEAT PUMPS to latest federal standards.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7995

Proponent

Jeff Sonne for FSEC

403.2.3

Section

4

Chapter

Approved as Submitted

Update Table C403.2.3(5) Gas and Oil-fired Boilers to latest federal standards.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8000

Proponent

Jeff Sonne for FSEC

403.2.3

Section

4

Chapter

Approved as Submitted

Update Table C403.2.3(1) Unitary Air Conditioners and Condensing Units to latest federal standards.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8028

Proponent

Jeff Sonne for FSEC

403.2.3

Section

4

Chapter

Approved as Submitted

Update Table C403.2.3(2) ELECTRICALLY OPERATED UNITARY AND APPLIED HEAT PUMPS to latest federal standards.

Summary

AS

AM

NAR

I

W

Commission Action

Page 13 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

8031

Proponent

Bereket Nigusse

403.2.3

Section

4

Chapter

Approved as Submitted

Updates Table C403.2.3(11) VRF Multi-Split Air Conditions and Heat Pumps

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8040

Proponent

Joseph Belcher for FHBA

408

Section

4

Chapter

Approved as Submitted

Consolidates maintenance requirements with commissioning provisions.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8093

Proponent

George Wiggins (BOAF)

401

Section

4

Chapter

Approved as Submitted

Mostly editorial to place the commissioning requirements for mechanical &amp; service hot water heating and the functional testing requirements for lighting controls in one new Section 408

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8095

Proponent

George Wiggins (BOAF)

403

Section

4

Chapter

Approved as Submitted

Corrects a revision placed in the 2015 IECC &amp; moves fan requirements to C403.2.12 to be in one location for consistency with ASHRAE Std 90.1-16

Summary

AS

AM

NAR

I

W

Commission Action

Page 14 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

8122

Proponent

Amanda Hickman

403.2.12.3

Section

4

Chapter

Approved as Submitted

This modification revises the text in section C403.2.12.3.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8142

Proponent

George Wiggins (BOAF)

403

Section

4

Chapter

Approved as Submitted

The proposed additional criteria to the FBC, Energy provides the ability to reduce building energy use through deeper thermostat setups and setbacks and ventilation control in unrented guestrooms without affecting occupant comfort or creating a conflict with the FBC, Mechanical Code

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8148

Proponent

George Wiggins (BOAF)

406.1.1

Section

4

Chapter

Approved as Submitted

This proposal clarifies that built-out tenant spaces that are or were occupied, and undergoing an alteration using the existing building provisions, do not need to comply with one or more of the packages in Section C406.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8228

Proponent

John Woestman

402.5.4

Section

4

Chapter

Approved as Submitted

Proposal FS101-15 for the 2018 IBC completely reorganized IBC Section 716, the pointers need to be reviewed and several revised. This proposal complements FS74-15 approved in 2015 for the 2018 IBC.

Summary

AS

AM

NAR

I

W

Commission Action

Page 15 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

8367

Proponent

Oscar Calleja

403.2.8

Section

4

Chapter

Approved as Submitted

Eliminates Conflict between FECC-C403.2.8 and the Mechanical Code Section 507.5.

Commercial Kitchen Hood Minimum Airflows in M507.5 are actually HIGHER than the Maximum shown in Energy Code Commercial 403.2.8. Proposed Mod eliminates the Maximum Airflows in C403.2.8.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8377

Proponent

Oscar Calleja

408.2

Section

4

Chapter

Approved as Submitted

Adds clarification to the Commercial Building Commissioning requirement.This Mod adds language that prevents counting individual mechanical system capacities serving the building&#39;s dwelling/sleeping units in calculating the whole building capacity.

Summary

AS

AM

NAR

I

W

Commission Action

4-[RE] - Residential Energy Efficiency

Mod #

7154

Proponent

Jeff Sonne for FSEC

403.7.2

Section

4

Chapter

Approved as Submitted

Disallow electric resistance from being primary space heating system type for prescriptive compliance in Climate Zone 2.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7204

Proponent

Bryan Holland

404.1

Section

4

Chapter

Approved as Submitted

This proposed modification revises the luminaire and lamp efficacy requirements under Section R404 to align the code with current lighting industry standards.

Summary

AS

AM

NAR

I

W

Commission Action

Page 16 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7566

Proponent

Jeff Sonne for FSEC

405.2.2

Section

4

Chapter

Approved as Submitted

Clarifies that for simulated performance compliance, the tested building air leakage rate must not exceed the proposed design leakage rate.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7574

Proponent

Jeff Sonne for FSEC

405.5.2

Section

4

Chapter

Approved as Submitted

Reword first sentence of Table R405.5.2(1) footnote &quot;a&quot; regarding building air leakage testing to make consistent with current Florida Code.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7577

Proponent

Jeff Sonne for FSEC

405.5.2

Section

4

Chapter

Approved as Submitted

Clarifies that for proposed designs with electric heating, the standard reference design heating system type is a heat pump.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7578

Proponent

Jeff Sonne for FSEC

405.5.2

Section

4

Chapter

Approved as Submitted

Clarifies that for proposed designs without a heating system, an electric heat pump is to be assumed for both the standard reference design and proposed design if the proposed design has an electric water heater.

Summary

AS

AM

NAR

I

W

Commission Action

Page 17 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7651

Proponent

Jeff Sonne for FSEC

405.5.2

Section

4

Chapter

Approved as Submitted

Adds dehumidifier and dehumidistat sections to performance compliance Table R405.5.2(1).

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7783

Proponent

David Porter

403.5.1

Section

4

Chapter

Approved as Submitted

Plan reviewers &amp; inspectors have misinterpreted 403.5.1 to mean that HW recirc systems are mandatory for every 1 &amp; 2 family dwelling.    They are not.    It is the controls that are mandatory IF a HW recirc system is installed.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7802

Proponent

Mo Madani

405.4.2.2

Section

4

Chapter

Approved as Submitted

Incorporating Commission’s declaratory statements as required by 553.73(7)(d), Florida Statutes.

DS2018-034

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7958

Proponent

Joseph Belcher for FHBA

402.1

Section

4

Chapter

Approved as Submitted

Adds Exception for log homes.

Summary

AS

AM

NAR

I

W

Commission Action

Page 18 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

8014

Proponent

Joseph Belcher for FHBA

403.6.1

Section

4

Chapter

Approved as Submitted

Adds fan efficacy criteria for H/ERV fans.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8036

Proponent

Joseph Belcher for FHBA

405.5.2

Section

4

Chapter

Approved as Submitted

Changes equations to account for minimum fan efficacy for HRV and ERV

Summary

AS

AM

NAR

I

W

Commission Action

5-[RE] - Existing Building

Mod #

7254

Proponent

Eric Lacey

503.1.1.1

Section

5

Chapter

Approved as Submitted

Provides additional flexibility for builders by allowing replacement fenestration U-factors and SHGCs to be area-weighted averaged, consistent with 2018 IECC.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7598

Proponent

Jeff Sonne for FSEC

503.2

Section

5

Chapter

Approved as Submitted

To make exception consistent with Florida Code Section R405.3, replace &quot;energy cost&quot; language with &quot;loads&quot; language.

Summary

AS

AM

NAR

I

W

Commission Action

Page 19 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7599

Proponent

Jeff Sonne for FSEC

505.2

Section

5

Chapter

Approved as Submitted

To make exception consistent with Florida Code Section R405.3, replace &quot;energy cost&quot; language with &quot;loads&quot; language.

Summary

AS

AM

NAR

I

W

Commission Action

5-[CE] - Existing Building

Mod #

8190

Proponent

Eric Lacey

503.2

Section

5

Chapter

Approved as Submitted

Adopts reasonable exceptions to code requirements for existing buildings.

Summary

AS

AM

NAR

I

W

Commission Action

2717-[CE] Reference Standards

Mod #

7883

Proponent

Amanda Hickman

1

Section

2717

Chapter

Approved as Submitted

Adds reference standard ASHRAE 55-2013

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7885

Proponent

Amanda Hickman

1

Section

2717

Chapter

Approved as Submitted

This modification removes reference standard AMCA 205-12

Summary

AS

AM

NAR

I

W

Commission Action

Page 20 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Approved as Submitted

TAC:

Energy

73

Mod #

7913

Proponent

Amanda Hickman

1

Section

2717

Chapter

Approved as Submitted

This modification adds the reference standard AMCA 208-18: Calculation of the Fan Energy Index.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8139

Proponent

Amanda Hickman

1

Section

2717

Chapter

Approved as Submitted

This modification adds two new references to Chapter 6.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8176

Proponent

Mo Madani

6

Section

2717

Chapter

Approved as Submitted

The proposed code change update standard ASHRAE 90.1 to the 2016 edition.

Summary

AS

AM

NAR

I

W

Commission Action

No Affirmative Recommendation

TAC Recommendation

Total Mods for    Energy in    No Affirmative Recommendation

TAC:

Energy

16

SubCode:

Energy Conservation

Ü

4-[CE] - Commercial Energy Efficiency

Mod #

7515

Proponent

Bereket Nigusse

402.5.6

Section

4

Chapter

No Affirmative Recommendation

Clarifies cargo doors and loading dock doors infiltration restriction requirement

Summary

AS

AM

NAR

I

W

Commission Action

Page 21 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    No Affirmative Recommendation

TAC:

Energy

16

Mod #

7523

Proponent

Bereket Nigusse

403.2.4.1.4

Section

4

Chapter

No Affirmative Recommendation

Heated or cooled vestibules require controls based on a thermostat located in the vestibule

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7536

Proponent

Bereket Nigusse

403.2.4.2.5

Section

4

Chapter

No Affirmative Recommendation

Automatic control of HVAC systems serving guest rooms

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7558

Proponent

Bereket Nigusse

403.2.4.3

Section

4

Chapter

No Affirmative Recommendation

Updated exception that restricts gravity dampers use for exhaust and relief system only

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7608

Proponent

Bereket Nigusse

405.4.1

Section

4

Chapter

No Affirmative Recommendation

Total connected interior lighting power calculation

Summary

AS

AM

NAR

I

W

Commission Action

Page 22 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    No Affirmative Recommendation

TAC:

Energy

16

Mod #

8185

Proponent

Eric Lacey

407.3

Section

4

Chapter

No Affirmative Recommendation

Clarifies the treatment of on-site renewable energy in the performance path and sets reasonable limitations on trade-offs consistent with the 2018 IECC.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8199

Proponent

Eric Lacey

406

Section

4

Chapter

No Affirmative Recommendation

Adds two new options to Section C406, providing additional flexibility consistent with changes made in the 2018 IECC through proposal CE230.

Summary

AS

AM

NAR

I

W

Commission Action

4-[RE] - Residential Energy Efficiency

Mod #

7579

Proponent

Jeff Sonne for FSEC

405.5.2

Section

4

Chapter

No Affirmative Recommendation

Removes footnote &quot;e&quot; and &quot;f&quot; references from Service hot water section of table.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7987

Proponent

Joseph Belcher for FHBA

403.3

Section

4

Chapter

No Affirmative Recommendation

Adds additional method for energy code compliance - buried ducts.

Summary

AS

AM

NAR

I

W

Commission Action

Page 23 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    No Affirmative Recommendation

TAC:

Energy

16

Mod #

7994

Proponent

Joseph Belcher for FHBA

403.3

Section

4

Chapter

No Affirmative Recommendation

Adds alternate methods for energy compliance.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8127

Proponent

Eric Lacey

405

Section

4

Chapter

No Affirmative Recommendation

This proposal makes the 7th Edition Code consistent with the 2018 IECC and closes a significant performance path loophole by eliminating efficiency trade-offs for heating, cooling, and water heating equipment for which the Commission is preempted from setting efficiency requirements.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8172

Proponent

Eric Lacey

403

Section

4

Chapter

No Affirmative Recommendation

Incorporates 2018 IECC provisions for buried ducts in attics, including proposals RE99, RE100, and RE110.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8181

Proponent

Eric Lacey

406

Section

4

Chapter

No Affirmative Recommendation

This proposal aligns the Energy Rating Index target in the Florida Building Code with the 2018 IECC.

Summary

AS

AM

NAR

I

W

Commission Action

Page 24 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    No Affirmative Recommendation

TAC:

Energy

16

Mod #

8287

Proponent

Joseph Belcher for FHBA

402.1.4

Section

4

Chapter

No Affirmative Recommendation

Changes to U-Factor for fenestration.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8390

Proponent

Joseph Belcher for FHBA

406.4

Section

4

Chapter

No Affirmative Recommendation

Establishes ERI Reference Design ventilation rate.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8392

Proponent

Arlene Stewart

403.7.1.4

Section

4

Chapter

No Affirmative Recommendation

Makes provisions for heating and cooling equipment powered by generators during natural disasters and recovery

Summary

AS

AM

NAR

I

W

Commission Action

Withdrawn

TAC Recommendation

Total Mods for    Energy in    Withdrawn

TAC:

Energy

3

SubCode:

Energy Conservation

Ü

4-[CE] - Commercial Energy Efficiency

Mod #

8066

Proponent

George Wiggins (BOAF)

408.1

Section

4

Chapter

Withdrawn

The operations and documentation requirements in Section C303 were written prior to the IECC having section C408. Section C408 covers commissioning requirements, &amp;    what type of operations and maintenance documents must be included in the information given to building owners and operators.

Summary

AS

AM

NAR

I

W

Commission Action

Page 25 of 25

5/31/2019

Energy

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    97

Total Mods for    Energy in    Withdrawn

TAC:

Energy

3

4-[RE] - Residential Energy Efficiency

Mod #

7576

Proponent

Jeff Sonne for FSEC

403.6.1

Section

4

Chapter

Withdrawn

Rewords section&#39;s electronically commutated motor requirement and adds minimum efficacy requirement for HRVs and ERVs.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8289

Proponent

Joseph Belcher for FHBA

402.1.4

Section

4

Chapter

Withdrawn

Changes to U-Factor for fenestration.

Summary

AS

AM

NAR

I

W

Commission Action

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

EN

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived:

Search Criteria