Page 1 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Approved as Submitted

TAC Recommendation

Total Mods for    Mechanical in    Approved as Submitted

TAC:

Mechanical

30

SubCode:

Mechanical

Ü

2-Definitions

Mod #

7836

Proponent

Amanda Hickman

202

Section

2

Chapter

Approved as Submitted

Adds definition for Large-diameter ceiling fan

Summary

AS

AM

NAR

I

W

Commission Action

4-Ventilation

Mod #

7290

Proponent

James Bickford

404.1

Section

4

Chapter

Approved as Submitted

Changes text of Section 404.1 “Enclosed parking garages.” It also deletes Section 404.2. Section 404.2 is being rolled into Section 404.1.    It clarifies that the exhaust system either has to run constantly or it has to run automatically.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8326

Proponent

Joseph Lstiburek

403.3.2.1

Section

4

Chapter

Approved as Submitted

Provides a credit for balanced mechanical ventilation.

Summary

AS

AM

NAR

I

W

Commission Action

5-Exhaust Systems

Mod #

7294

Proponent

James Bickford

504.4.1

Section

5

Chapter

Approved as Submitted

Adds new section 504.4.1 “Exhaust termination outlet and passageway size.”

Summary

AS

AM

NAR

I

W

Commission Action

Page 2 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    Approved as Submitted

TAC:

Mechanical

30

Mod #

7319

Proponent

James Bickford

506.3.13.2

Section

5

Chapter

Approved as Submitted

Modifies section 506.3.13.2 “Termination through an exterior wall.” Intent of change is fire safety related. Clarification to show that Exterior openings shall be located in accordance with section 506.3.13.3.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7320

Proponent

James Bickford

506.3.13.2

Section

5

Chapter

Approved as Submitted

Clarifies exhaust outlet termination location

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7321

Proponent

James Bickford

507.2.6

Section

5

Chapter

Approved as Submitted

Modification of Section 507.2.6 “Clearances for Type I hood.”

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7323

Proponent

James Bickford

510.8.1

Section

5

Chapter

Approved as Submitted

Adds new section requiring clean outs on ducts conveying combustible dust.

Summary

AS

AM

NAR

I

W

Commission Action

6-Duct Systems

Page 3 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    Approved as Submitted

TAC:

Mechanical

30

Mod #

7344

Proponent

James Bickford

602.2.1.1

Section

6

Chapter

Approved as Submitted

Modification of text for Sections 602.2.1.1 “Wiring”, 602.2.1.2 “Fire sprinkler piping,” and 602.2.1.3 “Pneumatic tubing.” This proposal concerns consistency with the pass/fail criteria for the testing of products from in these sections, and the listing and labeling requirements.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7346

Proponent

James Bickford

602.2.1.6

Section

6

Chapter

Approved as Submitted

Entirely replaces Section 602.2.1.6 “Foam plastic insulation in plenums as interior finish or interior trim”. Deletes sections 602.2.1.6.1, 602.2.1.6.2, 602.2.1.6.3.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7386

Proponent

James Bickford

602.2.1.7

Section

6

Chapter

Approved as Submitted

Modification of text for Section 602.2.1.7 “Plastic plumbing piping and tubing.”    Adds new standard UL 2846-14,

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7387

Proponent

James Bickford

602.2.1.8

Section

6

Chapter

Approved as Submitted

Adds new Section 602.2.1.8 “Pipe and duct insulation within plenums.”

Summary

AS

AM

NAR

I

W

Commission Action

Page 4 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    Approved as Submitted

TAC:

Mechanical

30

Mod #

7388

Proponent

James Bickford

603.5.2

Section

6

Chapter

Approved as Submitted

Adds new Section 603.5.2 “Phenolic ducts.” Adds new standard “SMACNA Phenolic Duct Construction Standard 1st edition 2015.” Phenolic duct is a new air distribution material.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7389

Proponent

James Bickford

603.8.2

Section

6

Chapter

Approved as Submitted

Modifies Section 603.8.2 “Sealing.” Ducts shall be sealed, secured, and then tested prior to concrete encasement or direct burial.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7394

Proponent

James Bickford

604.11

Section

6

Chapter

Approved as Submitted

Adds exception to Section 604.11 “Vapor retarders”. Proposal adds an option to the vapor retarder requirements for duct insulation of the FMC.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7936

Proponent

Amanda Hickman

607.4

Section

6

Chapter

Approved as Submitted

This modification revises language in section 607.4

Summary

AS

AM

NAR

I

W

Commission Action

Page 5 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    Approved as Submitted

TAC:

Mechanical

30

Mod #

8320

Proponent

Joseph Lstiburek

601.5

Section

6

Chapter

Approved as Submitted

Allow return air from closets

Summary

AS

AM

NAR

I

W

Commission Action

8-Chimneys and Vents

Mod #

7395

Proponent

James Bickford

805.8

Section

8

Chapter

Approved as Submitted

Adds new Section 805.8 “Insulation shield.” the code should require insulation shields for factory-built and metal chimneys as they require clearance to insulation and represents a fire hazard when one is not installed.

Summary

AS

AM

NAR

I

W

Commission Action

9-Specific Appliances, Fireplaces and Solid Fuel-burning Equipment

Mod #

7839

Proponent

Amanda Hickman

929

Section

9

Chapter

Approved as Submitted

This proposal adds language regarding the testing and labeling of Large-diameter ceiling fans.

Summary

AS

AM

NAR

I

W

Commission Action

12-Hydronic Piping

Mod #

7572

Proponent

James Bickford

1202.5

Section

12

Chapter

Approved as Submitted

ASSE 1061 Performance Requirements for Push Fit Fittings are already referenced in the FPC.

Summary

AS

AM

NAR

I

W

Commission Action

Page 6 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    Approved as Submitted

TAC:

Mechanical

30

Mod #

8008

Proponent

James Bickford

1208.1

Section

12

Chapter

Approved as Submitted

Adds exception to 1208.1 “General.” Adds language from PPFA which allows for limited air testing of plastic piping systems

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8011

Proponent

James Bickford

1209.3

Section

12

Chapter

Approved as Submitted

Modifies text for Section 1209 “Embedded piping.” Adds new Section 1209.3.5 “Cross-linked polyethylene (PEX) joints.”

Summary

AS

AM

NAR

I

W

Commission Action

14-Solar Systems

Mod #

8034

Proponent

James Bickford

1402.4

Section

14

Chapter

Approved as Submitted

Modifies text of Section 1402.4 “Roof-mounted collectors,” and 1402.4.1 “Collectors mounted above the roof.”

Summary

AS

AM

NAR

I

W

Commission Action

15-Referenced Standards

Mod #

7842

Proponent

Amanda Hickman

1

Section

15

Chapter

Approved as Submitted

AMCA 230-15 Reference Standard

UL 507-2014 Reference Standard

Summary

AS

AM

NAR

I

W

Commission Action

Page 7 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    Approved as Submitted

TAC:

Mechanical

30

Mod #

7976

Proponent

Amanda Hickman

1

Section

15

Chapter

Approved as Submitted

This modification updates the reference standard AMCA 550-08 to the current version, AMCA/ANSI 550-15 (Rev. 09/18).

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Residential

Ü

14-Heating and Cooling Equipment and Appliances

Mod #

8360

Proponent

Oscar Calleja

1411.6

Section

14

Chapter

Approved as Submitted

Refrigerant piping insulation minimum R-value is shown as R-4 in this section and is in conflict with the R-3 shown on Energy Code R403.4. This change would resolve the conflict.

Summary

AS

AM

NAR

I

W

Commission Action

15-Exhaust Systems

Mod #

8205

Proponent

Mike Moore

1507.3.2

Section

15

Chapter

Approved as Submitted

Requires labeling of ventilation system control.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8362

Proponent

Oscar Calleja

1502.4.1

Section

15

Chapter

Approved as Submitted

Adds clarification by adding the corresponding metal gauge to listed duct thickness for dryer exhaust metal ducts.

Summary

AS

AM

NAR

I

W

Commission Action

Page 8 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    Approved as Submitted

TAC:

Mechanical

30

Mod #

8364

Proponent

Oscar Calleja

1502.4.2

Section

15

Chapter

Approved as Submitted

Removes requirement for screws in Residential Dryer exhaust ducts. The use of screws was historically prohibited in dryer ducts due to the potential for lint accumulation and fire risk.

Summary

AS

AM

NAR

I

W

Commission Action

2712-Reference Standards

Mod #

7975

Proponent

Amanda Hickman

1

Section

2712

Chapter

Approved as Submitted

This modification updates the reference standard ANSI/AMCA 210-ANSI/ASHRAE 51—07 to the current version ANSI/AMCA 210-16 / ASHRAE 51-16

Summary

AS

AM

NAR

I

W

Commission Action

No Affirmative Recommendation

TAC Recommendation

Total Mods for    Mechanical in    No Affirmative Recommendation

TAC:

Mechanical

25

SubCode:

Mechanical

Ü

2-Definitions

Mod #

7276

Proponent

James Bickford

202

Section

2

Chapter

No Affirmative Recommendation

Clarifies definition of Machine Room

Summary

AS

AM

NAR

I

W

Commission Action

Page 9 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    No Affirmative Recommendation

TAC:

Mechanical

25

Mod #

7442

Proponent

James Bickford

202

Section

2

Chapter

No Affirmative Recommendation

The modification of the 100 HP power threshold in Item 7 clarifies that this is compressor drive power, which is the terminology used in IIAR 2 Section 4.2.3 and ASHRAE 15 Section 7.2.2(g).

Summary

AS

AM

NAR

I

W

Commission Action

3-General Regulations

Mod #

7166

Proponent

Brad Ketner

307.2

Section

3

Chapter

No Affirmative Recommendation

We have developed a new safety control, the No Freeze Control, that prevents the evaporator coils on an ac unit from freezing up. This stops potential water in the unit and prevents mold and mildew damage to the unit and home.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7281

Proponent

James Bickford

303.7

Section

3

Chapter

No Affirmative Recommendation

This modification completes this section and has all the information necessary for a complete and code compliant installation.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7282

Proponent

James Bickford

303.9

Section

3

Chapter

No Affirmative Recommendation

Adds new section 303.9 &quot;Fireplaces in Group I-2 Condition 2 Occupancies&quot; and 901.5 &quot;Solid fuel-burning fireplaces and appliances in Group I-2 Condition 2&quot;

Summary

AS

AM

NAR

I

W

Commission Action

4-Ventilation

Page 10 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    No Affirmative Recommendation

TAC:

Mechanical

25

Mod #

8209

Proponent

Mike Moore

401.4

Section

4

Chapter

No Affirmative Recommendation

Aligns with 2021 IMC in approving limited applications of factory-built intake/exhaust combination termination fittings.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8217

Proponent

Mike Moore

403.3.2.5

Section

4

Chapter

No Affirmative Recommendation

Aligns with Section 301.7 of the 2017 FBC, Mechanical; the 2021 IMC; and the 2021 IRC in requiring listing and labeling of ventilation fans to ANSI/AMCA 210 - ANSI/ASHRAE 51.

Summary

AS

AM

NAR

I

W

Commission Action

5-Exhaust Systems

Mod #

7292

Proponent

James Bickford

501.2

Section

5

Chapter

No Affirmative Recommendation

Clarify the intent of these sections

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7293

Proponent

James Bickford

504.4

Section

5

Chapter

No Affirmative Recommendation

Section 504 covers duct construction for dryers, however, it is unclear on the requirement to seal dryer ducts. Sealing is specified in 603.9.

Summary

AS

AM

NAR

I

W

Commission Action

Page 11 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    No Affirmative Recommendation

TAC:

Mechanical

25

Mod #

7295

Proponent

James Bickford

505

Section

5

Chapter

No Affirmative Recommendation

The code needs added coverage for domestic exhaust equipment and downdraft equipment and needs to reference the relevant product standards

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7311

Proponent

James Bickford

505.1

Section

5

Chapter

No Affirmative Recommendation

Adds text to Section 505.1 “Domestic systems.” Modification regarding fire suppression for range hoods installation in Groups I-1 and I-2 occupancies.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7322

Proponent

James Bickford

507.6.1

Section

5

Chapter

No Affirmative Recommendation

Clarifies what a smoke generator is.

Summary

AS

AM

NAR

I

W

Commission Action

6-Duct Systems

Mod #

7341

Proponent

James Bickford

602.1

Section

6

Chapter

No Affirmative Recommendation

Modification of text for Section 602.1 “General” to permit as a plenum framing cavities addressed in Section 602.3.

Summary

AS

AM

NAR

I

W

Commission Action

Page 12 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    No Affirmative Recommendation

TAC:

Mechanical

25

Mod #

7343

Proponent

James Bickford

602.2.1

Section

6

Chapter

No Affirmative Recommendation

Modification of text for Section 602.2.1 “Materials within plenums.” Concerning material installation within a plenum that should be listed for the application.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7393

Proponent

James Bickford

603.9

Section

6

Chapter

No Affirmative Recommendation

This proposal will reduce construction cost and still reduce energy loss that would occur due to duct leakage outside conditioned space. Low pressure longitudinal seam duct leakage is very limited and the small amount of leakage within conditioned space is still useful energy.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8322

Proponent

Joseph Lstiburek

601.5

Section

6

Chapter

No Affirmative Recommendation

Allows return air to be taken from a boiler room, furnace room or mechanical room warming the room reducing relative humidity and mold.

Summary

AS

AM

NAR

I

W

Commission Action

11-Refrigeration

Mod #

7440

Proponent

James Bickford

1104.2.2

Section

11

Chapter

No Affirmative Recommendation

Revises Section 1104.2.2 “Industrial occupancies and refrigerated rooms.”    The proposal clarifies that Section 1104.2.2 only applies when a machinery room is otherwise required.

Summary

AS

AM

NAR

I

W

Commission Action

Page 13 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    No Affirmative Recommendation

TAC:

Mechanical

25

Mod #

7453

Proponent

James Bickford

1104.2.2

Section

11

Chapter

No Affirmative Recommendation

Deletes item from Section 1104.2.2 “Industrial occupancies and refrigerated rooms.” The section proposed for deletion is archaic.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7488

Proponent

James Bickford

1104.2.2

Section

11

Chapter

No Affirmative Recommendation

Adds exceptions to Section 1104.2.2 (4) “Industrial occupancies and refrigerated rooms.”

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7489

Proponent

James Bickford

202

Section

11

Chapter

No Affirmative Recommendation

Deletes definition in “REFRIGERATED ROOM OR SPACE.” Modifies Section 1104.2.2 “Industrial Occupancies and refrigerated rooms.”

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7491

Proponent

James Bickford

1105.6.1.1

Section

11

Chapter

No Affirmative Recommendation

Adds new Section 1105.6.1.1 “Indoor exhaust opening location.”

Summary

AS

AM

NAR

I

W

Commission Action

Page 14 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Total Mods for    Mechanical in    No Affirmative Recommendation

TAC:

Mechanical

25

Mod #

7494

Proponent

James Bickford

1107.5.3

Section

11

Chapter

No Affirmative Recommendation

Modifies Section 1107.5.3 “Copper tube.” Modification adds press-connect joints to mechanical joints to 1107.5.3

Summary

AS

AM

NAR

I

W

Commission Action

12-Hydronic Piping

Mod #

8013

Proponent

James Bickford

1209.5

Section

12

Chapter

No Affirmative Recommendation

Modifies text of Section 1209.5 “Thermal barrier required.” Deleted sections 1209.5.1 and 1209.5.2.

Summary

AS

AM

NAR

I

W

Commission Action

15-Referenced Standards

Mod #

7113

Proponent

Michael Steele

1

Section

15

Chapter

No Affirmative Recommendation

The shown reference year of 2008 for AMCA 550 is incorrect.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Residential

Ü

3-Building Planning

Mod #

7645

Proponent

John Hall

324

Section

3

Chapter

No Affirmative Recommendation

The modification provides for solar ready features to facilitate the instalation of solar PV and solar thermal systems without resort to destructive methods.

Summary

AS

AM

NAR

I

W

Commission Action

Search Criteria

Page 15 of 15

5/31/2019

Mechanical

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    55

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

M

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived: