Page 1 of 3

6/3/2019

Plumbing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    7

Approved as Modified

TAC Recommendation

Total Mods for    Plumbing in    Approved as Modified

TAC:

Plumbing

1

SubCode:

Fuel Gas

Ü

8-Referenced Standards

Mod #

7202

Proponent

Jonathan Sargeant

8

Section

8

Chapter

Approved as Modified

Update LC 1/CSA 6.26 from 2013 to 2018. The 2018 standard contains language for arc-resistant CSST not contained in the 2013 standard.

Summary

AS

AM

NAR

I

W

Commission Action

Approved as Submitted

TAC Recommendation

Total Mods for    Plumbing in    Approved as Submitted

TAC:

Plumbing

4

SubCode:

Plumbing

Ü

4-Fixtures, Faucets and Fixture Fittings

Mod #

7194

Proponent

Gary Kozan

419.5

Section

4

Chapter

Approved as Submitted

Restores the option of providing cold water to hand-washing facilities

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8166

Proponent

Mo Madani

403.1.3

Section

4

Chapter

Approved as Submitted

To clarify that the ratio established by potty parity is not required to be maintained for the additional fixtures provided in excess of the minimum required fixtures.

Summary

AS

AM

NAR

I

W

Commission Action

6-Water Supply and Distribution

Page 2 of 3

6/3/2019

Plumbing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    7

Total Mods for    Plumbing in    Approved as Submitted

TAC:

Plumbing

4

Mod #

7192

Proponent

Gary Kozan

606.2

Section

6

Chapter

Approved as Submitted

Clarifies that shutoff valves are not required for tub and showers when installed in residential occupancies.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Residential

Ü

29-Water Supply and Distribution

Mod #

7193

Proponent

Gary Kozan

2905.3

Section

29

Chapter

Approved as Submitted

Adds a 100-ft maximum distance from hot water source to fixtures in the Residential Code

Summary

AS

AM

NAR

I

W

Commission Action

No Affirmative Recommendation

TAC Recommendation

Total Mods for    Plumbing in    No Affirmative Recommendation

TAC:

Plumbing

2

SubCode:

Residential

Ü

29-Water Supply and Distribution

Mod #

8159

Proponent

Cheryl Harris

2902.5.3

Section

29

Chapter

No Affirmative Recommendation

Change reference to &quot;lawn&quot; to &quot;landscape&quot; irrigation for consistency with other code sections.

Summary

AS

AM

NAR

I

W

Commission Action

Page 3 of 3

6/3/2019

Plumbing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    7

Total Mods for    Plumbing in    No Affirmative Recommendation

TAC:

Plumbing

2

Mod #

8163

Proponent

Cheryl Harris

2914

Section

29

Chapter

No Affirmative Recommendation

Add Section for Irrigation Systems in Residential Code that references Chapter 14 in Plumbing Code.

Summary

AS

AM

NAR

I

W

Commission Action

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

P

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived:

Search Criteria