Page 1 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Approved as Modified

TAC Recommendation

Total Mods for    Swimming Pool in    Approved as Modified

TAC:

Swimming Pool

4

SubCode:

Building

Ü

4-Special Detailed Requirements Based on Use and Occupancy

Mod #

7174

Proponent

Michael Weinbaum

454.1.7.8

Section

4

Chapter

Approved as Modified

Reduce lighting requirement in very shallow water, require low voltage underwater lights regardless of pool type

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7190

Proponent

Michael Weinbaum

454.1.3.1.2

Section

4

Chapter

Approved as Modified

Harmonize code for wet deck slope with ADA cross slope

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7656

Proponent

Kari Hebrank

454.1.6.5.12

Section

4

Chapter

Approved as Modified

This proposed modification addresses gravity suction on vacuum lines and is intended to prevent injuries (typically to children) by removing the direct suction line out of the pool.    There have been more than 1400 citations in the last year by Dept. of Health for safety violations with covers.

Summary

AS

AM

NAR

I

W

Commission Action

35-Referenced Standards

Mod #

7681

Proponent

Kari Hebrank

454.1.6.5.12

Section

35

Chapter

Approved as Modified

Adds the year to the reference standard for ANSI/APSP 16—11

American National Standard for Suction Fittings for Use in Swimming Pools, Wading Pools, Spas, and Hot Tubs

Summary

AS

AM

NAR

I

W

Commission Action

Page 2 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Approved as Submitted

TAC Recommendation

Total Mods for    Swimming Pool in    Approved as Submitted

TAC:

Swimming Pool

29

SubCode:

Building

Ü

4-Special Detailed Requirements Based on Use and Occupancy

Mod #

7173

Proponent

Michael Weinbaum

454.1.9.2.3

Section

4

Chapter

Approved as Submitted

The pump reservoir has a specific volume requirement.    This requirement is cumbersome when applied to slides with plunge pools.    A provision is added to the plunge pool section to make sure there is sufficient volume in that type of system.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7176

Proponent

Michael Weinbaum

454.1.4.2

Section

4

Chapter

Approved as Submitted

Add reference to lumens in code based on lumen output of common halogen bulbs

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7180

Proponent

Michael Weinbaum

454.1.2.3.5

Section

4

Chapter

Approved as Submitted

Maximum pool depth added to pool rules sign

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7217

Proponent

Bruce Petricca

454.1.2.3.5

Section

4

Chapter

Approved as Submitted

As per the change in the DOH rule 64E-9 now allows beverages within the Wet Deck area.    this change went into effect in July of 2016.    I am requesting the Building department not post signage that is in conflict with the

DOH change

Summary

AS

AM

NAR

I

W

Commission Action

Page 3 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Total Mods for    Swimming Pool in    Approved as Submitted

TAC:

Swimming Pool

29

Mod #

7658

Proponent

Kari Hebrank

454.1.10.1.6

Section

4

Chapter

Approved as Submitted

Currently, there are older pools that are still in use that were built with 12 inch step risers.    When the pools are being resurfaced, the costs to make the step rises comply with 10 inch risers is cost-prohibitive.    These risers were approved when the steps were originally built.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7801

Proponent

Mo Madani

454.1.2.1

Section

4

Chapter

Approved as Submitted

Incorporating Commission’s declaratory statements as required by 553.73(7)(d), Florida Statutes.

DS2017-070

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7819

Proponent

Michael Weinbaum

454.1.9.8.6.3

Section

4

Chapter

Approved as Submitted

The last sentence here reads the same as the last sentence in 454.1.9.8.6.1, even though they are really talking about two different things.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7855

Proponent

Michael Weinbaum

454.1.9.8.6.3

Section

4

Chapter

Approved as Submitted

Clear up another stumbling block in this section

Summary

AS

AM

NAR

I

W

Commission Action

Page 4 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Total Mods for    Swimming Pool in    Approved as Submitted

TAC:

Swimming Pool

29

Mod #

7896

Proponent

James LePetrie

454.1.1

Section

4

Chapter

Approved as Submitted

Clarifies the definition of a public pool, and eliminates confusion whether two separate pools can share the same treatment system.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7901

Proponent

James LePetrie

454.1.2.2.2

Section

4

Chapter

Approved as Submitted

Corrects punctuation.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7903

Proponent

James LePetrie

454.1.2.8.1

Section

4

Chapter

Approved as Submitted

Clarifies how sun shelfs can be designed and constructed.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7905

Proponent

James LePetrie

454.1.3.1.2

Section

4

Chapter

Approved as Submitted

Allows for paver decks to be constructed at 1% minimum slope.

Summary

AS

AM

NAR

I

W

Commission Action

Page 5 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Total Mods for    Swimming Pool in    Approved as Submitted

TAC:

Swimming Pool

29

Mod #

7907

Proponent

James LePetrie

454.1.6.1.3

Section

4

Chapter

Approved as Submitted

Clarifies the requirement that floor drains must be installed within a restroom facility.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7908

Proponent

James LePetrie

454.1.6.5.3.2.3

Section

4

Chapter

Approved as Submitted

Allows for skimmers to be installed with the equalizer port plugged.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7910

Proponent

James LePetrie

454.1.6.5.5.1

Section

4

Chapter

Approved as Submitted

Clarifies the filtration rate for regenerative media filters.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7911

Proponent

James LePetrie

454.1.6.5.9.6

Section

4

Chapter

Approved as Submitted

Allows for return inlets with flow rates greater than 20 gpm.

Summary

AS

AM

NAR

I

W

Commission Action

Page 6 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Total Mods for    Swimming Pool in    Approved as Submitted

TAC:

Swimming Pool

29

Mod #

7912

Proponent

James LePetrie

454.1.6.5.16.6

Section

4

Chapter

Approved as Submitted

Clarifies the proper point of chemical injection into return lines where UV systems are utilized.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7916

Proponent

James LePetrie

454.1.9.2.1.6.2

Section

4

Chapter

Approved as Submitted

Allows for 1% slope for paver decks at plunge pools.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7917

Proponent

James LePetrie

454.1.9.2.2.4

Section

4

Chapter

Approved as Submitted

Clarifies that slides with runout lanes shall be staffed by attendants or lifeguards but not necessarily “water park personnel.”

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7918

Proponent

James LePetrie

454.1.9.2.3.1

Section

4

Chapter

Approved as Submitted

Allows for flexibility in design of pump reservoirs.

Summary

AS

AM

NAR

I

W

Commission Action

Page 7 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Total Mods for    Swimming Pool in    Approved as Submitted

TAC:

Swimming Pool

29

Mod #

7920

Proponent

James LePetrie

454.1.9.2.3.5

Section

4

Chapter

Approved as Submitted

Clarifies requirements for pump reservoirs that are also used as a collector tank.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7926

Proponent

James LePetrie

454.1.9.8.4

Section

4

Chapter

Approved as Submitted

Allows for 3 footcandles of overhead lighting for IWFs with attendants/lifeguards.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7927

Proponent

James LePetrie

454.1.9.8.6.1

Section

4

Chapter

Approved as Submitted

Clarifies that chemical injection points in return lines shall be located downstream of UV equipment.    Also removes the requirement for addition of pH adjustment chemicals to the feature return line.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7929

Proponent

James LePetrie

454.1.9.8.6.3

Section

4

Chapter

Approved as Submitted

Clarifies that chemical injection points in return lines shall be located downstream of UV equipment.

Summary

AS

AM

NAR

I

W

Commission Action

Page 8 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Total Mods for    Swimming Pool in    Approved as Submitted

TAC:

Swimming Pool

29

Mod #

7932

Proponent

James LePetrie

454.1.9.8.6.12

Section

4

Chapter

Approved as Submitted

Allows for less slope on IWFs and matches the slope range up with code for swimming pools.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7935

Proponent

James LePetrie

454.1.3.1.9

Section

4

Chapter

Approved as Submitted

Addresses a safety concern for doors at certain facilities that open toward pool areas, which is in conflict with the pool code.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8131

Proponent

James LePetrie

454.1.1.1

Section

4

Chapter

Approved as Submitted

Would provide relief for large residential developments from the minimum pool sizing requirement.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8168

Proponent

Mo Madani

454.1.6.1

Section

4

Chapter

Approved as Submitted

To clarify that Section 454.1.6.1 (Exception) does apply to hotels.

Summary

AS

AM

NAR

I

W

Commission Action

Page 9 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Total Mods for    Swimming Pool in    Approved as Submitted

TAC:

Swimming Pool

29

Mod #

8240

Proponent

James LePetrie

454.1.6.5.10.1

Section

4

Chapter

Approved as Submitted

Allows for the depth at a main drain to be greater than 3&quot; in difference from the sidewall depth.

Summary

AS

AM

NAR

I

W

Commission Action

No Affirmative Recommendation

TAC Recommendation

Total Mods for    Swimming Pool in    No Affirmative Recommendation

TAC:

Swimming Pool

9

SubCode:

Building

Ü

4-Special Detailed Requirements Based on Use and Occupancy

Mod #

7125

Proponent

Robert Cohen

454

Section

4

Chapter

No Affirmative Recommendation

Revise Section 454.4.1.2 to reinsert provisions of 2014 that were deleted in 2017 Code.    Chapter 27    and NEC have no requirements for illumination. Alternatively, add provisions for illumination based on the 2015 (or later) ICC Swimming Pool Code to follow a current national standard.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7179

Proponent

Michael Weinbaum

454.1.2.3.5

Section

4

Chapter

No Affirmative Recommendation

Allow drinks/beverages at public pools and public pool decks

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7258

Proponent

Michael Weinbaum

454.1.6.5.8

Section

4

Chapter

No Affirmative Recommendation

Allow designers to exceed 3 ft/s and 1.5 ft/s rule so long as design otherwise complies with ANSI/APSP 16

Summary

AS

AM

NAR

I

W

Commission Action

Page 10 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Total Mods for    Swimming Pool in    No Affirmative Recommendation

TAC:

Swimming Pool

9

Mod #

7549

Proponent

Nikki Barney

454.1.9.8

Section

4

Chapter

No Affirmative Recommendation

Mod to require pH adjustment chemicals to be fed ONLY into Holding tank and ORP tested in Holding Tank in regards to Interactive Water Features

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7875

Proponent

CK Hamilton

454

Section

4

Chapter

No Affirmative Recommendation

PMT proposes adding a Storm Front/Lightning Detector into the code for swimming pools since our state leads the nation in fatalities and injuries caused by lightning. A product that is a safety/situational awareness device that alert swimmers and life guards of approaching storms/lightning.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7921

Proponent

James LePetrie

454.1.9.2.6.3

Section

4

Chapter

No Affirmative Recommendation

Deletes the requirement for a minimum strainer size for slide pumps.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7922

Proponent

James LePetrie

454.1.9.3.3

Section

4

Chapter

No Affirmative Recommendation

Clarifies that skimmer systems can be used for Water Activity Pools (WAP) at the discretion of the design engineer.

Summary

AS

AM

NAR

I

W

Commission Action

Page 11 of 11

6/12/2019

Swimming Pool

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:    42

Total Mods for    Swimming Pool in    No Affirmative Recommendation

TAC:

Swimming Pool

9

Mod #

7925

Proponent

James LePetrie

454.1.9.6.4

Section

4

Chapter

No Affirmative Recommendation

Allows for use of landscape beds along zero entry pools where the depth is less than 3 feet without counting towards cumulative perimeter obstruction.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8370

Proponent

Mark Bowers

454.1

Section

4

Chapter

No Affirmative Recommendation

I am proposing to exempt Floatation pods from FBC regulatory requirements.    Unlike pools and spas, floatation pods are portable, are super saturated with magnesium sulfate, have a bathing load of 1,    and create an extremely low risk of transmission of disease or safety risk to the public.

Summary

AS

AM

NAR

I

W

Commission Action

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

SW

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived:

Search Criteria