| LOCAL TECHNICAL AMENDMENT SUPPLEMENT to the 2017 6th Edition Florida Building Code Residential to be reviewed by the Commission (Received after March 2019) |  |  |  |
| --- | --- | --- | --- |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | TEST OF TECHNICAL AMENDMENT | COMMISSION REVIEW |
| Leon County Building Department | R310 | (E) Emergency escape and rescue openings. Tiny houses must meet the requirements of 21 Section R310 for emergency escape and rescue openings. 22 23 (1) Exception. Egress roof access windows in lofts used as sleeping rooms are 24 deemed to meet the requirements of Section R310 where installed such that the bottom 25 of the opening is not more than 44 inches (1118 mm) above the loft floor, provided the 26 egress roof access window complies with the minimum opening area requirements of 27 Section R310.2. 1. |  |
| Leon County Building Department | R311 | (v) Handrails. Handrails must comply with Section R311.7.8. (c) Alternating tread devices. Alternating tread devices accessing lofts must comply with Sections R311. 7 .11.1 and R311. 7 .11. 2. The clear width at and below the handrails must be not less than 20 inches (508 mm). (d) Ships ladders. Ships ladders accessing lofts must comply with Sections R311. 7 .1 2.1 and R311. 7 .12.2. The clear width at and below handrails must be not less than 20 inches (508 mm). |  |
| Leon County Building Department | R312 | (vi) Stairway guards. Guards at open sides of stairway must comply with Section R312.1. |  |
| Leon County Building Department | Full Text R310-R311-R312 | Full Text regarding ‘Tiny Houses’ SEE BELOW |  |

Full Text Excerpt from:

Leon County Building Department Local Amendment

Ordinance 2019-02 regarding Tiny Houses

(2017 6th Edition FBC-Residential, Sections R310, R311, R312)

Link to active page:

https://floridabuilding.org/Upload/FBC/CodeID_7485_8895_ORD19-02.pdf