2017 National Electrical Code – Residential –

Swimming Pool TAC/Electrical TAC

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *#* | Change No. | Section | Change Summary b/t 2014 NEC and 2017 NEC | Change Summary b/t 2014 NEC- and 2017 NEC | Staff Comments |
| *1* | FR4873 | 680.2 Storable Swimming, Wading, or Immersion Pools; or Storable/Portable Spas and Hot Tubs*[E4201.2]* | The revision clarifies this definition by adding "on or above the ground." | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:XYES (Select Criteria) NO: a.b.c. d.e. f. F XOthers (Explain):Vote – 8y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *2* | SR4816 | 680.7*[E4205.9]* | Revision for requirement for labeling of grounding and bonding of terminals | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x xOthers (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *3* | SCR43 | 680.14(A) and (B)*[E4202.2]* | (a) Describes areas considered to be corrosive environments. (B) Describes conduit types that a corrosion resistant. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x xOthers (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| *4* | SR4818 | 680.21(A)(1)*[E4205.5]* |

|  |
| --- |
|  Revisions to correlate with new Section 680.14.  |

 | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x xOthers (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *5* | FR4856 | 680.22(A)(2)*[E4203.1.1]* | Editorial to clean up language for section to read smoother. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x Others (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| *6* | SR4819 | 680.22(B)(7)*[E4203.4.7]* |

|  |
| --- |
| Revised for clarification of the meaning of “outdoor luminated lighting appliances”  |

 | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x Others (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *7* | FR4858 | 680.23(A)(3)*[E4206.4]* | Revisions to clarify that the GFCI protection shall be protection for personnel | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x xOthers (Explain):Vote 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *8* | FR4862 and SCR41 | 680.23(F)(1)*[E4206.10.2]* | Revised to address comments in balloting and for correlation and clarity.To clarify this definition by adding "on or above the ground" | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x xOthers (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *9* | SR4821 | 680.24(A)(1)*[E4206.9.1]* | Revision to add “labeled and identified” to swimming pool construction requirements to add certification mark on the product | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x Others (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| *10* | SR4829 | 680.25(A)*[E4205.6]* |

|  |
| --- |
| Adds a revision required due to the creation of 680.14.  |

 | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x xOthers (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *11* | FR4865 | 680.26(B)(2)*[E4204.2]* | Revised to clarify that the perimeter surface is considered an area rather than a physical object. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. f Others (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *12* | FR4867 | 680.41*[E4208.4]* | Revise single family to one family for clarity | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x Others (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *13* | SR4825 | 680.43(D)(2)*[E4204.5]* | Revision to add “labeled and identified” to swimming pool construction requirements to add certification mark on the product | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x Others (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *14* | FR4870 | 680.74*[E4209.5]* | The revised text clarifies the intent of the requirement for bonding in the area around hydromassage bathtubs. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – CommentImpactful (Explain)  | TAC ActionAccommodate Florida Specific Need:xYES (Select Criteria) NO: a.b.c. d.e. f. x Others (Explain):Vote – 8 y – 0 n | Commission ActionAccommodate Florida Specific Need:YES (Select Criteria) NO: a.b.c. d.e. f.  Others (Explain): |

|  |  |  |
| --- | --- | --- |
|  | TAC | Commission |
|  No Action Needed |  |  |
| Overlapping provisions  |  |  |
|  |  |  |

 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |