| Mod | Proponent | Section | Summary | Comment |
| --- | --- | --- | --- | --- |
|  | Glitch |  |  |  |
|  |  | Building |  |  |
| 2862 | Mo Madani | Preface | Adds letter designation language from the 2006 I Codes. | AS |
| 3025 | Mo Madani | 913 | Adds carbon monoxide. | AS |
|  |  | Fuel Gas |  |  |
| 2896 | Mo Madani | 311 | Adds carbon monoxide. | AS |
|  |  | Mechanical |  |  |
| 2822 | Ronald Regueiro | 304.5 | Deletes section 304.3 from the exception. | Note: the referenced section is reserved. AS |
| 2946 | Ann Stanton | 504.6 | Deletes 504.6.1 | AM |
| 3245 | Pete Quintela | 508.1.1 | Section removed in 2004 code. | After June 2008 |
| 2825 | Ronald Regueiro | 511.1 | Changes “with” to “within.” | AS |
| 2895 | Mo Madani | 513 | Adds carbon monoxide. | AS |
| 2982 | Mo Madani | 513.3 | Removes the last sentence which refers to a non-existent section. | AM |
| 2947 | Ann Stanton | 1003.1 | Revises to remove the year edition in the code text. | AS |
|  |  | Residential |  |  |
| 2897 | Mo Madani | R202, R313, Chapter 43 | Adds carbon monoxide. | AS |
| 2831 | Ronald Regueiro | M1411.3.1 | Adds language for a water level detection device for an alternative to a separate drain line. | AS |
| 3267 | Ronald Regueiro | M1502.6 | Adds an exception for clothes dryer booster fan. Comment: this is not a glitch. | After June 2008 |
| 2948 | Ann Stanton | M1601.1.2 | Revised to remove underground duct system language. | AM |
|  | Not a Glitch |  |  |  |
|  |  | Building |  |  |
| 3070 | Pete Quintela | 513.21 | Adds new section for annual smoke control system testing | NAR |
| 2824 | Ronald Regueiro | 513.3 | Replaces submission language with reference to s. 909.18.8 | NAR |
| 2914 | Bradley Weatherholtz | 1402.4.1 | Removes fire retardant treated wood. | NAR |
|  |  | Mechanical |  |  |
| 2823 | Ronald Regueiro | 403.1 | Replaces system pressure language. | NAR |
|  |  | Residential |  |  |
| 2827 | Andrea Papageorge | R313.2, R313.3 | Adds new text and revises R313.2.2 and R313.3 to add carbon monoxide. | NAR |
|  | Deferred to August |  |  | No action needed. |
| 3003 | Roland Temple | 202 | Revises the definition for conditioned space and adds new space definition. | Deferred for joint meeting with the Energy TAC. No action taken. |