| Mod | Proponent | Section | Summary | Comment |
| --- | --- | --- | --- | --- |
|  | Glitch |  |  |  |
|  |  | Building |  |  |
| 2862 | Mo Madani | Preface | Adds letter designation language from the 2006 I Codes. | AS |
| 2839 | Gary Kozan | 1816.2 | Revised to reduce the nominal thickness of the sleeve. | AS |
| 3182 | Jennifer Hatfield | Ch 35 | Deletes ASME A112.18.19.8M and A112.19.17 and revises APSP | Glitch for all except NSPI 6-92. AS |
| 2974 | Mo Madani | Ch 35 | Revises reference standards and adds missing FM 4470 standard. | AS |
|  |  | Fuel Gas |  |  |
| 2896 | Mo Madani | 311 | Adds carbon monoxide. | AS |
|  |  | Plumbing |  |  |
| 2842 | Gary Kozan | 305.1, 305.1.2 | Increased thickness of sleeve wall and added a new section on penetration. | AS |
| 2944 | Ann Stanton | 314.2.3 | Revises to add a water level detection device as an alternative to a separate line. | AM |
| 3240 | Mo Madani | Table 403.1 | Revises per base code. | After June 08 TAC |
| 3348 | Mo Madani | 502.4 | Adds missing IPC language | After June 08 TAC |
| 2829 | Dale Greiner | Table 603.1 | Replaces “58” with “85” | AM |
| 2949 | Ann Stanton | 607.2.1, Table 607.2.1 | Revised the section. Table 607.1 was revised as Table 607.2.1 | AS |
| 3064 | Eberhard Roeder | 701.2 | Revised to add reference to Rule 64E FAC. | AS |
| 3062 | Eberhard Roeder | 1003.3 | Revised to add grease traps to the section. | AS |
| 3063 | Eberhard Roeder | 1003.5 | Revised to add chambers. | AS |
| 3246 | Kenneth Everett | Ch 13 | Changes the year edition of NFPA 99C. | After June 08 TAC |
| 3060 | Eberhard Roeder | Appendix C | Revises grey water language, 64E FAC. | AS |
|  |  | Residential |  |  |
| 3065 | Eberhard Roeder | R306.2 | Revised to refer to Rule 64E-6 FAC. | AS |
| 2840 | Gary Kozan | R320.2 | Revises to add sleeve wall thickness and sealing. | AS |
| 2986 | Ron Schwab | R320.7 | Revises to add sprinkler system risers to spray heads. | AS |
| 2841 | Gary Kozan | P2603.3, P2603.3.1 | Increases sleeve wall thickness and adds an exception. Adds new section for penetration. | AS |
| 3183 | Jennifer Hatfield | Table P2701.1 | Deletes suction fitting row. | AS |
| 3066 | Mo Madani | P2803.6.1 | Adds IRC language that was omitted from the FBC, R. | AS |
| 2894 | Mo Madani | P2903.2b | Revises a referenced section in the footnotes. | AS |
| 3347 | David Howdeshell | P2903.2b | Revises a referenced section in the footnotes. | After June 08 |
| 3180 | Jennifer Hatfield | Ch 43 | Deletes ASME A112.18.19.8M and revises APSP | AS |
| 3061 | Eberhard Roeder | Appendix O | Revises grey water language, 64E FAC. | AS |
|  | Not a glitch |  |  |  |
|  |  | Building |  |  |
| 3339 | Frank Mayernick | 424.2.6.6 | Adds Florida specific language that was omitted. | After June 2008 TAC |
| 3185 | Jennifer Hatfield | 424.2.17.1 | Revises exit alarms. | NAR |
| 3342 | Frank Mayernick | Chapter 35 | Adds ASME A112.19.8 and A112.19.17 and deletes ANSI/APSP 7-06 | After June 2008 TAC |
|  |  | Plumbing |  |  |
| 3181 | Jennifer Hatfield | 202 | Revises the definition of grease interceptor | NAR |
| 2830 | Donald DeNoble | 422.6 | Replaces clinical sink with washer/disinfector | NAR |
| 3162 3175 | Lee Schneeweiss | 1003.5 | Revises grease interceptor language | 3162 and 3175 are identical NAR |
|  |  | Residential |  |  |
| 3340 | Frank Mayernick | Table P2701.1 | Keeps the struck language above. | After June 2008 TAC |
| 3211 | Lorraine Ross | R4101.6.1 | Adds language for existing pools. | NAR |
| 3337 | Frank Mayernick | R4101.6.6 | Revises to add Florida specific language that was omitted. | After June 2008 TAC |
| 3341 | Frank Mayernick | Ch 43 | Adds ASME A112.19.8 and deletes ANSI/APSP 7-06 | After June 2008 TAC |
| 3184 | Jennifer Hatfield | Ch 43 | Deletes ASME A112.18.19.8M and revises APSP | NAR |