| Mod | Proponent | Section | Summary | Comment |
| --- | --- | --- | --- | --- |
|  | Glitch |  |  |  |
|  |  | Building |  |  |
| 3266 | James Gregory | 420.3 | Revises nursing home language. | After June 2008 TAC |
| 2967 | Jon Hamrick | 423.14.2.1 | Revised to add hinged window language. | AS |
| 3177 | Bruce Ketcham | 424.1 | Revised to add language from Rule 64E-9. | AM |
| 3037 | James Gregory | 437.2.2.2 | Revises sleeping room language. | AS |
| 3025 | Mo Madani | 913 | Adds carbon monoxide. | AS |
| 3145 | Lee Rigby | 3002.4 | Revises the rise, and size of the car | AS |
|  |  | Existing |  |  |
| 3320 | William Redmond | 802.1.2 | Revises to add existing installations and removes reference section from the exception. | After June 2008 TAC |
| 3317 | William Redmond | Ch 15 | Revises reference standards to match the Building Volume. | After June 2008 TAC |
|  |  | Plumbing |  |  |
| 3064 | Eberhard Roeder | 701.2 | Adds Chapter 64E-6, FAC | AS |
| 3062 | Eberhard Roeder | 1003.3 | Revises to add grease traps for public sewers. | AS |
| 3063 | Eberhard Roeder | 1003.5 | Revises to add individual grease interceptor chamber, etc. | AS |
| 3060 | Eberhard Roeder | Appendix C | Revises to add Chapter 64E FAC | AS |
|  |  | Residential |  |  |
| 3065 | Eberhard Roeder | R306.2 | Revises to add language from Chapter 64E FAC | AS |
| 3061 | Eberhard Roeder | Appendix O | Revises to add language from Chapter 64E FAC | AS |
|  | Not a Glitch |  |  |  |
|  |  | Building |  |  |
| 3027 | James Gregory | 419.3.9.1 | Revised to add minimum glazed area | NAR |
| 3029 | James Gregory | 419.3.12.1 | Revised fire alarm activation language. | NAR |
| 3030 | James Gregory | 419.3.17.2 | Revised to add nurse call devices in wet locations. | NAR |
| 3032 | James Gregory | 420.3.16.1 | Revised fire alarm activation language. | NAR |
| 3045 | James Gregory | 421.3.2.1 | Revises referenced standard language. | NAR |
| 3044 | James Gregory | 421.3.7.1 | Revises fire alarm activation language. | NAR |
| 3036 | James Gregory | 421.3.8.1 | Revised to change the type of electrical system. | NAR |
| 3291 | William Redmond | 3001 | Revises to add “maintenance” | After June 2008 TAC |
| 3310 | William Redmond | 3001.2 | Revises to delete reference standards. | After June 2008 TAC |
| 3277 | William Redmond | 3002.9 | Adds new section on pit ladders. | After June 2008 TAC |
| 3346 | William Redmond | 3005.4 | Removes the section. | After June 2008 TAC |
| 3077 | William Redmond | 3008.1(3)e | Revises to remove elevator pit language. | NAR |
|  | Withdrawn |  |  |  |
|  |  | Building |  |  |
| 3122 | James Gregory | 420.3 | Revises nursing home language. | Withdrawn |
| 3031 | James Gregory | 420.3.10.4 | Revised to add minimum glazed area | Withdrawn |
| 3033 | James Gregory | 420.3.20.5 | Adds new section for equipotential grounding. | Withdrawn |
| 3034 | James Gregory | 420.3.24.2 | Revised to add nurse call devices in wet locations. | Withdrawn |
| 2965 | Jon Hamrick | 423.8.1.1 | Revised to add occupant load for cafeterias. | Withdrawn |
| 3273 | William Redmond | 3008.1(3)e | Revises to remove elevator pit language. | Withdrawn |