| Mod | Proponent | Section | Summary | Comment |
| --- | --- | --- | --- | --- |
|  |  | Building |  |  |
| 3263 Comment 1 | Mo Madani | 13-1 | Rule 9B-13 Notice | Use 3263 Comment 1 in place of 3263 and 3082 |
| 3082 | Ann Stanton | 13-1 | Changes that result from removing Method C. | Use 3263 in place of 3082 |
| 3088 | Ann Stanton | 13-100 | Corrects referenced sections. |  |
| 3090 | Ann Stanton | 13-101 | Changes that result from removing Method C. | Covered by 3263 Comment 1 |
| 3087 | Ann Stanton | 13-101.4 | Corrects referenced sections. |  |
| 3089 | Ann Stanton | 13-103 | Corrects referenced sections. |  |
| 3109 | Ann Stanton | 13-2 | Changes that result from removing Method C. |  |
| 3091 | Ann Stanton | 13-202 | Adds definitions for single package vertical AC and heat pump. |  |
| 2997 | Roland Temple | 13-2 | Revises the definition of ducts in conditioned space and adds unvented attic assemblies to the definition of space. |  |
| 3081 | Ann Stanton | 13-3 | Changes that result from removing Method C. | Use 3081 in place of 3264 |
| 3264 | Mo Madani | 13-3 | Rule 9B-13 Notice | Use 3081 in place of 3264 |
| 3083 | Ann Stanton | 13-4 | Changes that result from removing Method C. | Use 3265 Comment 1 in place of 3083 |
| 3265 Comment 1 | Mo Madani | 13-4 | Rule 9B-13 Notice | Use 3265 Comment 1 in place of 3265 and 3263 |
| 3092 | Ann Stanton | 13-400 | Changes that result from removing Method C. | Use 3265 Comment 1 in place of 3092 |
| 3093 | Ann Stanton | 13-401 | Adds omitted relevant criteria located in Appendix 13-B |  |
| 3094 | Ann Stanton | 13-404 | Revises language for roof/ceiling insulation. |  |
| 3095 | Ann Stanton | 13-407 | Revises referenced table labels. |  |
| 3096 | Ann Stanton | 13-410 | Revises the table. |  |
| 3097 | Ann Stanton | 13-412 | Revises the table. |  |
| 3084 | Ann Stanton | 13-6 | Changes that result from removing Method C. |  |
| 2977 | Iqbal Shaikh | 13-606.ABC.1.1, Ch 35 | Revises referenced standard and added ASTM E 283. |  |
| 2978 | Iqbal Shaikh | 13-606.ABC.1.2.4, Ch 35 | Revises referenced standard and added ASTM E 283. |  |
| 3110 Comment 1 | Ann Stanton | Appendix 13-B | Changes that result from removing Method C. | Are both 3110 and 3110 Comment 1 to be consistent with Rule 9B-13 Notice? |
| 3111 | Ann Stanton | Appendix 13-C | Changes that result from removing Method C. |  |
| 3078 | Ann Stanton | Appendix 13-D | Deletes Form 400C-07. |  |
| 3043 3023 | Mo Madani Robert Bryce | Appendix 13-D Table 11-1 | Replaces 4 with 6 in the components table | These are the same. |
| 3129 | Ann Stanton | Appendix 13-E | Stricken and underlined language creating FL-1 from ARI 470-80 |  |
|  |  | Mechanical |  |  |
| 3003 | Roland Temple | 202 | Revises the definition for conditioned space and adds new space definition. | See Mechanical TAC. Conditional. See also 2997, 3000, 3101, 3100, 3002, and 3107 |
| 2823 Comment 1 | Ronald Regueiro | 403.1 | Replaces system pressure language. | See Mechanical TAC. NAR. See Comment 1 for his correction. |
|  |  | Plumbing |  |  |
| 2949 | Ann Stanton | 607.2.1 | Revised to update the energy code requirements. | Plumbing TAC, AS |
|  |  | Residential |  |  |
| 3000 | Roland Temple | R202 | Revises the definition for conditioned space and adds new space definition. | See also 2997, 3003, 3101, 3100, 3002, 3107, and 3108. |
| 3080 3142 | Ann Stanton | N1100 | Revised per Rule 9B-13. | These are the same proposal. |
| 3338 | Paul Savage | N1100 | Revises to add installation and changeout language. |  |
| 3098 | Ann Stanton | N1100.0 | Adds omitted scoping criteria. |  |
| 3336 | Robert Cochell | N1100.0.2 | Adds DCA07-DEC-172. |  |
| 3099 | Ann Stanton | N1100.2 | Revised to add the figure |  |
| 3287 | Chuck Anderson | N1101.ABC.1 | Revises door glazing language. |  |
| 3227 | Jack Glenn | N1101.ABC.11 | Revises to delete storm window option in the residential program. |  |
| 3212 | Arlene Stewart | N1103.A.2 | Revises to add door area entry shall meet Appendix G |  |
| 3216 | Arlene Stewart | N1104.A. | Adds a drop down menu to the program. |  |
| 3226 | Jack Glenn | N1104.A.4 | Revises to grey out roof color for Method A. and add N1104.A.4. |  |
| 3100 | Ann Stanton | N1104.A.5 | Adds a new section for unvented attic assembly | See also 2997, 3000, 3003, 3101, and 3107. |
| 3101 | Ann Stanton | N1107 | Adds options in the computer program. | See also 2997, 3000, 3003, 3100, 3002, 3107, and 3108. |
| 3002 | Roland Temple | N1107.3 | Revises the definitions for space and for conditioned space | See also 2997, 3000, 3003, 3100, 3107, and 3108. |
| 3294 | Roland Temple | N1107.3 | Adds a reference to N1100.7.3 and definition of space. |  |
| 3107 | Ann Stanton | N1107.3 | See above. Revises the definitions for space and for conditioned space | See also 2997, 3000, 3003, 3100, 3002, and 3107 |
| 3102 | Ann Stanton | N1108.A.3 | Adds options in the computer program. |  |
| 3217 | Arlene Stewart | Table N1113.A.1 | Adds ASHRAE 119 and/or 152 as a test selection. |  |
| 3079 | Ann Stanton | Appendix G, sub G-B | Revised per Rule 9B-13. |  |
| 3225 | Jack Glenn | Appendix G, B.1.2 | Revise computer program to set default to not inspected. |  |
| 3085 | Ann Stanton | Appendix G, sub G-B.2.5.6 | Adds crawl space walls. |  |
| 3104 | Ann Stanton | Appendix G, sub G-B.4.1.2 | Adds options in the computer program. |  |
| 3103 | Ann Stanton | Appendix G, sub G-B.4.1.3, | Adds options in the computer program. |  |
| 3108 | Ann Stanton | Appendix G, sub G-B.5.1 | Revises language inconsistent with R806.4. |  |
| 3132 | Betty Stevens | Appendix G, C.6.2.2.1, item 3 | Adds missing equation. |  |
| 3106 | Ann Stanton | Appendix G-D | Revises Form 1100B per the Governor’s Executive Order. |  |
| 3105 | Ann Stanton | Appendix G-D | Adds missing code requirement for pool heaters. |  |
| 3108 3002 2997 | Ann Stanton Roland Temple Roland Temple | Appendix G-B.5.1 N1107.3 13-2 | See R806.4 Definition of cond space Definition of ducts | Consider these together |
| 3107 3003 3000 | Ann Stanton Roland Temple Roland Temple | N1107.3 202 mech R202 | Definition of cond space Definition of cond space Definition of cond space | Consider these together |
| 2997 3003 3000 3101 3100 3002 3107 3108 | Roland Temple Roland Temple Roland Temple Ann Stanton Ann Stanton Roland Temple Ann Stanton Ann Stanton | 13-2 202 mech R202 N1107 N1104.A.5 N1107.3 N1107.3 Appendix G-B.5.1 | Definition of ducts Definition of cond space Definition of cond space Computer options Unvented attic assembly Definition of cond space Definition of cond space See R806.4 | Consider these together. |