| Mod | Proponent | Section | Summary | Comment |
| --- | --- | --- | --- | --- |
|  | Glitch |  |  |  |
|  |  | Building |  |  |
| 2862 | Mo Madani | Preface | Adds letter designation language from the 2006 I Codes. | Approved by the Code Admin TAC. |
| 2968 | Mo Madani | 202 | Revises townhouse to match the definition in the Residential volume. |  |
| 2845 | Mo Madani | 302.1 | Adds omitted Florida specific language. |  |
| 3235 | Jon Caudill | 412.2.1 | Adds omitted base code language. |  |
| 2871 | Mo Madani | T 503 | Deletes F3 from the table. |  |
| 2846 | Mo Madani | 509.4 | Corrects the referenced section number. |  |
| 2847 | Mo Madani | T 602 | Corrects footnotes in the table. |  |
| 2848 | Mo Madani | 704.8.2 | Revised to match IBC language except the reference to the FFPC. |  |
| 3244 | Ron Regueiro | 716.5.4 | Replaces exception 1 and adds exception 3. |  |
| 3038 | Mo Madani | 804.4.1 | Removes I-4. |  |
| 3189 | Hamid Bahadori | 909 | Revises to replace the fire code official with the building code official. |  |
| 3268 3119, 3123, 3134 | Robert Andrews | 909.7, 909.8, 909.9, 909.18.8.3 | Revises to replace the fire code official with the building code official. |  |
| 3121, 3114, 3117 | Pete Quintela | 909.18.8.3.1 909.19 909.19 ex | Revises to replace the fire code official with the building code official. |  |
| 3115, 3120, 3128, 3136 | Robert Andrews | 909.7 909.8 909.9 909.18.8.3 | Revises to add the building official. |  |
| 3165 | Pete Quintela | 909.20 | Replaces the fire code with the building code. |  |
| 3025 | Mo Madani | 913 | Adds carbon monoxide. |  |
| 3288 | Steve Pizzillo | 1001.5 | Revises referenced section number |  |
| 3289 | Steve Pizzillo | 1001.6 | Revises referenced section number |  |
| 3290 | Steve Pizzillo | 1002.1 | Removes the referenced section. |  |
| 2828 | Glenn Wardell | T1004.1.2 | Removes exercise rooms and 50 gross. |  |
| 3292 | Steve Pizzillo | 1009.4 | Revises referenced section in the exception |  |
| 3163 | Mo Madani | 1010.2, 1010.8 | Corrects the referenced section. |  |
| 2886 | Mo Madani | T 1015.1 | Removes the footnote. |  |
| 2885 | Mo Madani | 1008.1.1 | Reserves items 7 and 8 |  |
| 3309 | T Stafford | 1010.8, 1012.5 | Replaces referenced section and 12 inches with 18 inches |  |
| 2849 | Mo Madani | 1025.9.3 | Adds missing section 1025.9.3 from the 2006 IBC. |  |
| 2821 | Brian Zeltsmann | 1026.4.1 | Adds exceptions for sprinkler systems, egress to the outside, and rooms located above the 3rd story. |  |
| 3293 | Steve Pizzillo | 1027.2 | Revises referenced section number |  |
| 3295 | Steve Pizzillo | 1027.3 | Revises referenced section number |  |
| 3296 | Steve Pizzillo | 1029.1 | Revises referenced section number |  |
| 3297 | Steve Pizzillo | 1030.13.2 | Revises referenced section number |  |
| 3298 | Steve Pizzillo | 1031.1 | Revises referenced section number |  |
| 3299 | Steve Pizzillo | 1031.2 | Revises referenced section number |  |
| 3300 | Steve Pizzillo | 1033.2 | Revises referenced section number |  |
| 3042 | Mo Madani | 3105.3.1 | Editorial to revise fire language per ICC. |  |
| 3012 | Azhar Khan | Ch 35 | Revises year edition of NFPA 259 |  |
| 3052 | Mo Madani | Ch 35, Existing ch 15, Mechanical ch 15, and Residential ch 43 | Correlates NFPA referenced standards in the Florida Building Code with NFPA standards in the Florida Fire Prevention Code. |  |
|  |  | Existing Building |  |  |
| 3228 | Joseph Belcher | 703.5.1 | Adds an exception. |  |
| 3051 | Mo Madani | 705.5 | Adds charging text from the IEBC. |  |
| 2872 | Mo Madani | 705.3.1.2.1, 705.3.1.2.2, 705.3.1.2.3 | Deletes these sections. |  |
| 2873 | Mo Madani | 705.5.1 | Deletes the text. The subject is covered in the subsections. |  |
| 3072 | Mo Madani | 801.2 | Revises the referenced section number. |  |
| 2888 | Mo Madani | 804.2.1 | Deletes the section. |  |
|  |  | Fuel Gas |  |  |
| 2896 | Mo Madani | 311 | Adds carbon monoxide. |  |
|  |  | Mechanical |  |  |
| 2895 | Mo Madani | 513 | Adds carbon monoxide. |  |
|  |  | Residential |  |  |
| 2844 | Jack Glenn | Table R302.1 | Deleted 25% maximum wall area. |  |
| 2897 | Mo Madani | R202, R313, Ch 43 | Adds carbon monoxide. |  |
| 3069 | Mo Madani | R323 | Revises to make it section R326 and add omitted IRC language |  |
| 3013 | Azhar Khan | Ch 43 | Revises year edition of NFPA 259 |  |
|  | Not a glitch |  |  |  |
|  |  | Building |  |  |
| 2838 | Michael Hoover | 507.4 | Replaces reserved section with 2006 IBC language. |  |
|  |  | Mechanical |  |  |
| 2824 | Ronald Regueiro | 513.3 | Replaces submission language with reference to s. 909.18.8 |  |
| 3070 | Pete Quintela | 513.21 | Adds new section for annual smoke control system testing |  |
|  |  | Residential |  |  |
| 2976 | Becky Cordes | R311.5.8.3 | Adds width to tread depth of circular stairs |  |
| 2827 | Andrea Papageorge | R313.2, R313.3 | Adds new text and revises R313.2.2 and R313.3 to add carbon monoxide. |  |
|  | Withdrawn |  |  |  |
|  |  | Building |  |  |
| 2935 | Julie Hargrove | 304 | Adds interior designer. |  |
| 3009 | Shelley Siegel | 304 | Adds interior designer. |  |