| Mod | Proponent | Section | Summary | Comment |
| --- | --- | --- | --- | --- |
|  | Glitch |  |  |  |
|  |  | Building |  |  |
| 2862 | Mo Madani | Preface | Adds letter designation language from the 2006 I Codes. | Approved by the Code Admin TAC. |
| 2993 | Bradley Weatherholz | 1502.1 | Adds a definition for aggregate. |  |
| 2996 | Bradley Weatherholz | 1502.1 | Adds a definition for ballast. |  |
| 3186 | Lorraine Ross | 1503.1 | Revised to delete the word, maintained. |  |
| 3179 | Lorraine Ross | 1504.1.2 | Deletes section 1504.1.2 and Table 1504.1.2 |  |
| 3130 | Mo Madani | 1504.1.2 | Deletes section 1504.1.2 and Table 1504.1.2, see above. |  |
| 2884 | Mo Madani | 1504.4 | Revised to conform to 2006 IBC language. Comment revises the definition of aggregate. |  |
| 3203 | Lorraine Ross | 1504.4 | Added, “in accordance with. |  |
| 3048 | Mo Madani | 1504.8 | Adds definition for aggregate and ballast, and deletes Table 1504.8 Comment revises aggregate language. |  |
| 3204 | Lorraine Ross | 1504.8 | Deletes Section and Table 1504.8 |  |
| 2991 | Bradley Weatherholz | 1504.8 | Replacing gravel language. Deletes Table 1504.8 |  |
| 2969 | Karl Thomas | 1504.8 | Replaces gravel language. |  |
| 3188 | Lorraine Ross | 1507.2.5 | Replaces ASTM D 3161 with Table 1507.2.10 |  |
| 2852 | Mo Madani | 1507.2.7 | Revised to make the text Florida specific. |  |
| 2983 | Mo Madani | T 1507.4.3 | Revises the referenced standard. |  |
| 3035 | Mo Madani | 1507.5.6 | Revises the referenced Table number. |  |
| 3334 3335 | Lorraine Ross | Table 1507.10.2 | Adds ASTM D 2824 |  |
| 3279 | Jack Glenn | 1525 | Corrects the year edition of the code on the form. |  |
| 3046 | James Buckner | Ch 35 | Adds FM 4470 (1992). |  |
|  |  | Existing Building |  |  |
| 3147 | Mo Madani | 202, 410 | Adds definition of retrofit and a section on retrofitting. |  |
| 3208 | Lorraine Ross | 611.1 | Revises to add a reference to Chapter 9 of the Residential Volume. |  |
| 3050 | Mo Madani | 611.7 and 611.8, Building 105.15 | Incorporates the mitigation manual in the code per Rule 9B-3.0475. (no figures) |  |
| 3118 | Bradley Weatherholz | 611.7 and 611.8, Building 105.15 | Incorporates the mitigation manual in the code per Rule 9B-3.0475. (no figures), see above. |  |
| 3148 | Mo Madani | 1601 | Adds new chapter 16, Retrofitting |  |
| 3149 | Mo Madani | 1603 | Adds new chapter 16, Retrofitting |  |
| 3151 | Mo Madani | 1604 | Adds new chapter 16, Retrofitting, comment rearranged the figure components. |  |
| 3152 | Mo Madani | 1604 figures | Adds new chapter 16, Retrofitting |  |
| 3153 | Mo Madani | 1604.2.1 | Adds new chapter 16, Retrofitting [Comment changed the location of the strong back to be against the retrofit stud in Figure 1604.2.3] |  |
| 3154 | Mo Madani | 1604.2.5 | Adds new chapter 16, Retrofitting |  |
| 3155 | Mo Madani | 1604.2.6 | Adds new chapter 16, Retrofitting |  |
| 3156 | Mo Madani | 1604.2.8 | Adds new chapter 16, Retrofitting |  |
| 3158 | Mo Madani | 1604.3 | Adds new chapter 16, Retrofitting, comment corrects referenced sections in the figure. |  |
| 3159 | Mo Madani | 1604.3.8 | Adds new chapter 16, Retrofitting Comment corrects referenced section number in Table 1604.5.1. |  |
|  |  | Residential |  |  |
| 3209 | Lorraine Ross | R905.2.4.1 | Revises to replace the second sentence with a reference to R905.2.6.1 |  |
| 2874 | Mo Madani | R905.4.3 | Removes ICC language. |  |
| 2924 | Bradley Weatherholz | R905.7.8 | Increases the thickness of the metal. |  |
| 2925 | Bradley Weatherholz | R905.7.8.1 | Increases the thickness of the metal. |  |
| 2926 | Bradley Weatherholz | R905.8.10 | Increases the thickness of the metal. |  |
| 3281 | Jack Glenn | R4402.14 | Corrects year edition of the code. |  |
|  |  | Test Protocols |  |  |
| 3053 | Chris Schulte | RAS 118, 3.01 A, B, 3.03A, Drawing #4 | 3.01 A, B, 3.03A, were deleted. |  |
| 3057 | Chris Schulte | RAS 119, 3.01A, B, C | 3.01 A and B were deleted. C was revised. |  |
| 3047 | Mo Madani | RAS 118, RAS 119, RAS 120 | Editorial corrections. |  |
| 3058 | Chris Schulte | TAS 120, 3.01 A, B, 3.03 Note #5 | 3.01 A, B were deleted and 3.03 Note #5 was revised. |  |
| 2953 | Jaime Gascon | RAS 130 | Replaces “woof” with “roof”. |  |
| 2957 | Jaime Gascon | RAS 133, 5.4 | Revised to remove extrapolated design pressure. |  |
| 2954 | Jaime Gascon | TAS 103 | Replaces “greater” with “lesser”. |  |
| 2955 | Jaime Gascon | TAS 104 | Replaces “greater” with “lesser”. |  |
| 2958 | Jaime Gascon | TAS 124 | Revises the title and recording sheet. |  |
|  | Not a glitch |  |  |  |
|  |  | Building |  |  |
| 3269 | Bradley Weatherholz | 1507.2.2 | Revises roof slope language. |  |
| 3191 | Lorraine Ross | 1507.2.3 | Adds ASTM D 6757. |  |
| 2910 | Bradley Weatherholz | Table 1507.4.3 | Revises the thickness of steel. |  |
| 2878 | Bradley Weatherholz | 1507.7.3 | Adds Type II to ASTM D 4869. |  |
| 2899 | Bradley Weatherholz | 1507.8.3 | Adds Type I to ASTM D 4869. |  |
| 2900 | Bradley Weatherholz | 1507.8.7 | Revises and replaces prescriptive with reference to Table 1503.2 |  |
| 2901 | Bradley Weatherholz | 1507.9.3 | Adds Type I to ASTM D 4869. |  |
| 2906 | Bradley Weatherholz | 1507.9.8 | Revises and replaces prescriptive with reference to Table 1503.2 |  |
| 3206 | Lorraine Ross | 1507.11.2 | Revises to add ASTM D 6509. |  |
| 3207 | Lorraine Ross | 1507.15.2 | Revises to add “or ASTM D 6947.” |  |
| 2998 | Bradley Weatherholz | 1507.15.3 | Adds new section on limitations of liquid applied coatings. |  |
| 2908 | Bradley Weatherholz | 1510.3.1 | Adds new section for no recover application over existing shingles. |  |
| 3261 | Kenneth Everett | 1524.1 | Adds item 8, photovoltaic systems or solar systems. |  |
|  |  | Existing Building |  |  |
| 3001 | Bradley Weatherholz | 606.2.1 | Removes exception 3, addition of a second layer. |  |
| 2911 | Bradley Weatherholz | 611.3.1 | Adds new section for no recover application over existing shingles. |  |
|  |  | Residential |  |  |
| 2921 | Bradley Weatherholz | R905.2.8.6 | Reduces the inches of overlap to 2 inches. |  |
| 2922 | Bradley Weatherholz | R905.3.3.3 | Reserves the section. |  |
| 2923 | Bradley Weatherholz | Table R905.4.4 | Revises the thickness of steel. |  |
| 3049 | Scott Kriner | R905.4.5, R905.10.5 | Removes allowable uplift and installation instructions. |  |
| 2927 | Bradley Weatherholz | R905.10.4 | In item 3, adds: “all types of.” |  |
| 3210 | Lorraine Ross | Table R905.11.2 | Adds ASTM D 6509 to modified bitumen roof membrane |  |
| 2917 | Bradley Weatherholz | M2301.2.2 | Revises to remove fire retardant treated wood. |  |
| 3260 | Kenneth Everett | R4402.11.3 | Adds an exception for photovoltaic or solar panels. |  |
| 3262 | Kenneth Everett | R4402.13.1 | Adds 8. Photovoltaic systems or solar systems. |  |
|  |  | Test Protocols |  |  |
| 3321 | Steven Williams | RAS 109 | Revises change in slope, requiring letter from manufacturers. |  |
| 2956 | Jaime Gascon | RAS 120, 1.01 A | Revises to add free of debris language. |  |
| 3008 | Garry Walker | TAS 100, 10.4 | Adds a new section for roof tile load factor |  |
| 2961 | Jaime Gascon | TAS 110, s. 6 | Revises the referenced standards in the table. |  |
| 2959 | Jaime Gascon | TAS 110, 7.1 | Revises the referenced standard from “2939” to “1227.” |  |
| 2960 | Jaime Gascon | TAS 114, Appendix D, s. 5 | Adds section 5.5, “Not less than 3 test specimens…” |  |
| 3016 3019 | Kenneth Everett | TAS 124 | 3016 deletes section 6.1.3 and 3019 adds the text to new section 6.2.4 |  |
|  | Withdrawn |  |  |  |
|  |  | Building |  |  |